## Sample Details
Administrative Information
Export date | 25 May 2022 15:43:34
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_23_05_2022-0001.sample
Creation date | 23 May 2022 09:15:06
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0281-2
Information
Sample type | Sample
Injection date | 23 May 2022
Vial number | P2-C-3
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.095047 | 9.9818
0.016667 | -0.09815 | 9.9776
0.033333 | -0.10117 | 9.9027
0.05 | -0.099315 | 9.6738
0.066667 | -0.090443 | 9.6684
0.083333 | -0.085672 | 9.7166
0.1 | -0.089499 | 9.7906
0.11667 | -0.094648 | 9.8505
0.13333 | -0.097918 | 9.8969
0.15 | -0.099667 | 9.9259
0.16667 | -0.10092 | 9.9473
0.18333 | -0.10373 | 9.9459
0.2 | -0.10497 | 9.9512
0.21667 | -0.10497 | 9.9525
0.23333 | -0.10632 | 9.9583
0.25 | -0.10757 | 9.9621
0.26667 | -0.10931 | 9.9604
0.28333 | -0.11133 | 9.9561
0.3 | -0.11394 | 9.9656
0.31667 | -0.11565 | 9.9706
0.33333 | -0.11547 | 9.9598
0.35 | -0.116 | 9.9552
0.36667 | -0.11858 | 9.95
0.38333 | -0.12098 | 9.949
0.4 | -0.12301 | 9.9523
0.41667 | -0.12295 | 9.9525
0.43333 | -0.12284 | 9.9487
0.45 | -0.12381 | 9.9474
0.46667 | -0.1227 | 9.9441
0.48333 | -0.12393 | 9.9525
0.5 | -0.1267 | 9.957
0.51667 | -0.12694 | 9.9607
0.53333 | -0.12644 | 9.9581
0.55 | -0.1266 | 9.9574
0.56667 | -0.12863 | 9.9531
0.58333 | -0.1317 | 9.9494
0.6 | -0.13331 | 9.9563
0.61667 | -0.13308 | 9.9638
0.63333 | -0.13269 | 9.9635
0.65 | -0.13522 | 9.9647
0.66667 | -0.13842 | 9.9693
0.68333 | -0.13884 | 9.9738
0.7 | -0.13804 | 9.9714
0.71667 | -0.1376 | 9.968
0.73333 | -0.13955 | 9.9781
0.75 | -0.14194 | 9.9787
0.76667 | -0.1429 | 9.9786
0.78333 | -0.14384 | 9.9758
0.8 | -0.14566 | 9.9752
0.81667 | -0.1455 | 9.972
0.83333 | -0.14471 | 9.9697
0.85 | -0.14647 | 9.9682
0.86667 | -0.14938 | 9.9619
0.88333 | -0.15129 | 9.9561
0.9 | -0.15092 | 9.9543
0.91667 | -0.15038 | 9.9561
0.93333 | -0.15141 | 9.9506
0.95 | -0.15395 | 9.9432
0.96667 | -0.15623 | 9.9427
0.98333 | -0.15624 | 9.9343
1 | -0.15703 | 9.9354
1.0167 | -0.1579 | 9.9407
1.0333 | -0.15757 | 9.941
1.05 | -0.15944 | 9.9436
1.0667 | -0.1626 | 9.9439
1.0833 | -0.16356 | 9.9355
1.1 | -0.1639 | 9.9372
1.1167 | -0.16514 | 9.9351
1.1333 | -0.16435 | 9.9352
1.15 | -0.16464 | 9.9332
1.1667 | -0.16693 | 9.9288
1.1833 | -0.16759 | 9.9303
1.2 | -0.16833 | 9.9284
1.2167 | -0.17098 | 9.9296
1.2333 | -0.17203 | 9.9306
1.25 | -0.17174 | 9.9293
1.2667 | -0.17318 | 9.9311
1.2833 | -0.17405 | 9.9314
1.3 | -0.17417 | 9.9303
1.3167 | -0.17394 | 9.9368
1.3333 | -0.17475 | 9.9383
1.35 | -0.17818 | 9.9422
1.3667 | -0.18062 | 9.938
1.3833 | -0.18057 | 9.9342
1.4 | -0.18034 | 9.9326
1.4167 | -0.18126 | 9.9326
1.4333 | -0.18206 | 9.9306
1.45 | -0.18258 | 9.9351
1.4667 | -0.18448 | 9.9355
1.4833 | -0.18847 | 9.9319
1.5 | -0.19139 | 9.9302
1.5167 | -0.19144 | 9.9378
1.5333 | -0.19292 | 9.938
1.55 | -0.19473 | 9.9451
1.5667 | -0.19472 | 9.9468
1.5833 | -0.19342 | 9.9511
1.6 | -0.19304 | 9.9561
1.6167 | -0.19373 | 9.9534
1.6333 | -0.19479 | 9.9584
1.65 | -0.19559 | 9.954
1.6667 | -0.1957 | 9.9526
1.6833 | -0.1955 | 9.9445
1.7 | -0.19573 | 9.9433
1.7167 | -0.19585 | 9.9375
1.7333 | -0.19555 | 9.9369
1.75 | -0.19406 | 9.9317
1.7667 | -0.1925 | 9.9317
1.7833 | -0.19323 | 9.9349
1.8 | -0.19594 | 9.9387
1.8167 | -0.19808 | 9.9351
1.8333 | -0.19982 | 9.9317
1.85 | -0.20124 | 9.932
1.8667 | -0.20191 | 9.9328
1.8833 | -0.20299 | 9.9351
1.9 | -0.20436 | 9.9366
1.9167 | -0.20614 | 9.9293
1.9333 | -0.2069 | 9.9386
1.95 | -0.20697 | 9.943
1.9667 | -0.20765 | 9.9415
1.9833 | -0.20777 | 9.9412
2 | -0.20894 | 9.9422
2.0167 | -0.21204 | 9.9322
2.0333 | -0.21301 | 9.9426
2.05 | -0.21168 | 9.943
2.0667 | -0.2111 | 9.9334
2.0833 | -0.21236 | 9.9427
2.1 | -0.21562 | 9.9459
2.1167 | -0.21806 | 9.9433
2.1333 | -0.21792 | 9.9389
2.15 | -0.2184 | 9.9406
2.1667 | -0.21687 | 9.9445
2.1833 | -0.21573 | 9.9509
2.2 | -0.21876 | 9.9546
2.2167 | -0.2222 | 9.9567
2.2333 | -0.22316 | 9.9566
2.25 | -0.22145 | 9.9577
2.2667 | -0.22133 | 9.9508
2.2833 | -0.22353 | 9.9529
2.3 | -0.22477 | 9.9522
2.3167 | -0.22493 | 9.9554
2.3333 | -0.22556 | 9.9561
2.35 | -0.22616 | 9.9596
2.3667 | -0.22775 | 9.9639
2.3833 | -0.22929 | 9.9606
2.4 | -0.22863 | 9.9616
2.4167 | -0.22838 | 9.9628
2.4333 | -0.22832 | 9.9702
2.45 | -0.22845 | 9.9639
2.4667 | -0.23017 | 9.9758
2.4833 | -0.23079 | 9.9775
2.5 | -0.23093 | 9.976
2.5167 | -0.23176 | 9.9709
2.5333 | -0.23167 | 9.976
2.55 | -0.23068 | 9.9792
2.5667 | -0.23124 | 9.9775
2.5833 | -0.23267 | 9.9717
2.6 | -0.23402 | 9.9731
2.6167 | -0.23576 | 9.9599
2.6333 | -0.23748 | 9.966
2.65 | -0.23938 | 9.9648
2.6667 | -0.23885 | 9.9613
2.6833 | -0.2361 | 9.9644
2.7 | -0.23527 | 9.9668
2.7167 | -0.23713 | 9.9665
2.7333 | -0.23976 | 9.9714
2.75 | -0.24172 | 9.9735
2.7667 | -0.24365 | 9.9786
2.7833 | -0.24586 | 9.9793
2.8 | -0.24534 | 9.9793
2.8167 | -0.24357 | 9.9822
2.8333 | -0.24453 | 9.9824
2.85 | -0.24592 | 9.9767
2.8667 | -0.24729 | 9.9804
2.8833 | -0.24848 | 9.9775
2.9 | -0.25026 | 9.9714
2.9167 | -0.25237 | 9.97
2.9333 | -0.25233 | 9.9683
2.95 | -0.25303 | 9.9696
2.9667 | -0.25531 | 9.9644
2.9833 | -0.25574 | 9.9667
3 | -0.25528 | 9.9635
3.0167 | -0.25535 | 9.9667
3.0333 | -0.25554 | 9.9632
3.05 | -0.25699 | 9.9691
3.0667 | -0.25842 | 9.9662
3.0833 | -0.25988 | 9.9651
3.1 | -0.25945 | 9.9659
3.1167 | -0.25825 | 9.9685
3.1333 | -0.26014 | 9.9603
3.15 | -0.26267 | 9.9648
3.1667 | -0.26438 | 9.9567
3.1833 | -0.26585 | 9.9558
3.2 | -0.26535 | 9.9613
3.2167 | -0.2631 | 9.9644
3.2333 | -0.2635 | 9.9674
3.25 | -0.26629 | 9.9674
3.2667 | -0.26821 | 9.9587
3.2833 | -0.26942 | 9.9642
3.3 | -0.26967 | 9.9682
3.3167 | -0.26961 | 9.9673
3.3333 | -0.27095 | 9.9743
3.35 | -0.27143 | 9.9747
3.3667 | -0.27109 | 9.9712
3.3833 | -0.27366 | 9.9683
3.4 | -0.27527 | 9.9656
3.4167 | -0.27507 | 9.9636
3.4333 | -0.2758 | 9.968
3.45 | -0.27659 | 9.968
3.4667 | -0.27757 | 9.9659
3.4833 | -0.2782 | 9.959
3.5 | -0.2768 | 9.9656
3.5167 | -0.27546 | 9.9633
3.5333 | -0.27571 | 9.9755
3.55 | -0.27763 | 9.972
3.5667 | -0.27922 | 9.9671
3.5833 | -0.27849 | 9.9703
3.6 | -0.27736 | 9.9738
3.6167 | -0.27748 | 9.9738
3.6333 | -0.27826 | 9.9775
3.65 | -0.27865 | 9.9767
3.6667 | -0.27797 | 9.9772
3.6833 | -0.27585 | 9.9734
3.7 | -0.27523 | 9.9674
3.7167 | -0.27749 | 9.9776
3.7333 | -0.27886 | 9.9831
3.75 | -0.27861 | 9.9839
3.7667 | -0.27813 | 9.9854
3.7833 | -0.27855 | 9.9836
3.8 | -0.28153 | 9.987
3.8167 | -0.28549 | 9.9895
3.8333 | -0.28761 | 9.9876
3.85 | -0.28703 | 9.9947
3.8667 | -0.28574 | 9.9918
3.8833 | -0.28691 | 9.9937
3.9 | -0.2878 | 9.995
3.9167 | -0.28683 | 9.995
3.9333 | -0.2856 | 9.9856
3.95 | -0.28359 | 9.9847
3.9667 | -0.28349 | 9.9789
3.9833 | -0.28839 | 9.9749
4 | -0.29284 | 9.9709
4.0167 | -0.29333 | 9.9764
4.0333 | -0.29339 | 9.9734
4.05 | -0.29428 | 9.9766
4.0667 | -0.2956 | 9.9804
4.0833 | -0.29774 | 9.9859
4.1 | -0.29891 | 9.9862
4.1167 | -0.29889 | 9.9851
4.1333 | -0.30041 | 9.9851
4.15 | -0.30168 | 9.9834
4.1667 | -0.30051 | 9.9874
4.1833 | -0.29968 | 9.9853
4.2 | -0.30128 | 9.9824
4.2167 | -0.30317 | 9.9813
4.2333 | -0.30335 | 9.9815
4.25 | -0.30542 | 9.9801
4.2667 | -0.30771 | 9.9688
4.2833 | -0.30679 | 9.9525
4.3 | -0.30441 | 9.9505
4.3167 | -0.30445 | 9.9485
4.3333 | -0.30554 | 9.9491
4.35 | -0.30632 | 9.9516
4.3667 | -0.30709 | 9.9543
4.3833 | -0.3083 | 9.9503
4.4 | -0.3101 | 9.9581
4.4167 | -0.31109 | 9.9517
4.4333 | -0.31182 | 9.9538
4.45 | -0.3108 | 9.9592
4.4667 | -0.30825 | 9.9667
4.4833 | -0.30857 | 9.959
4.5 | -0.31092 | 9.9632
4.5167 | -0.31157 | 9.9607
4.5333 | -0.31152 | 9.9531
4.55 | -0.3126 | 9.956
4.5667 | -0.31353 | 9.9564
4.5833 | -0.31279 | 9.9578
4.6 | -0.31248 | 9.9569
4.6167 | -0.31302 | 9.9511
4.6333 | -0.31338 | 9.9526
4.65 | -0.31362 | 9.9509
4.6667 | -0.31387 | 9.959
4.6833 | -0.31374 | 9.9606
4.7 | -0.31287 | 9.9593
4.7167 | -0.31407 | 9.9578
4.7333 | -0.31699 | 9.9503
4.75 | -0.31783 | 9.9583
4.7667 | -0.3193 | 9.9546
4.7833 | -0.32038 | 9.9596
4.8 | -0.32006 | 9.9581
4.8167 | -0.32089 | 9.9731
4.8333 | -0.32226 | 9.9706
4.85 | -0.32367 | 9.972
4.8667 | -0.32316 | 9.9705
4.8833 | -0.32113 | 9.9653
4.9 | -0.32047 | 9.9688
4.9167 | -0.32144 | 9.9718
4.9333 | -0.32253 | 9.9718
4.95 | -0.32271 | 9.9628
4.9667 | -0.32137 | 9.9633
4.9833 | -0.32282 | 9.9676
5 | -0.3256 | 9.9686
5.0167 | -0.32603 | 9.9679
5.0333 | -0.32678 | 9.9705
5.05 | -0.3283 | 9.9709
5.0667 | -0.32906 | 9.9717
5.0833 | -0.32944 | 9.974
5.1 | -0.32893 | 9.9734
5.1167 | -0.3289 | 9.9731
5.1333 | -0.33032 | 9.9793
5.15 | -0.33047 | 9.9837
5.1667 | -0.32847 | 9.9839
5.1833 | -0.32764 | 9.9799
5.2 | -0.32786 | 9.9853
5.2167 | -0.32854 | 9.9851
5.2333 | -0.32934 | 9.9866
5.25 | -0.33066 | 9.9883
5.2667 | -0.33392 | 9.983
5.2833 | -0.33517 | 9.9894
5.3 | -0.3354 | 9.9795
5.3167 | -0.33616 | 9.9749
5.3333 | -0.33501 | 9.9795
5.35 | -0.33464 | 9.9773
5.3667 | -0.33738 | 9.9734
5.3833 | -0.33923 | 9.9722
5.4 | -0.33898 | 9.9737
5.4167 | -0.33756 | 9.9694
5.4333 | -0.33807 | 9.9664
5.45 | -0.33928 | 9.9633
5.4667 | -0.34034 | 9.9589
5.4833 | -0.34165 | 9.9657
5.5 | -0.34243 | 9.9735
5.5167 | -0.34235 | 9.9764
5.5333 | -0.34334 | 9.9732
5.55 | -0.34518 | 9.9728
5.5667 | -0.34736 | 9.9728
5.5833 | -0.34957 | 9.9764
5.6 | -0.35018 | 9.9712
5.6167 | -0.35034 | 9.9735
5.6333 | -0.35095 | 9.9627
5.65 | -0.35291 | 9.9706
5.6667 | -0.3537 | 9.9728
5.6833 | -0.35206 | 9.9767
5.7 | -0.35316 | 9.9737
5.7167 | -0.35446 | 9.9711
5.7333 | -0.35407 | 9.9714
5.75 | -0.35436 | 9.9711
5.7667 | -0.35607 | 9.9688
5.7833 | -0.35802 | 9.9638
5.8 | -0.35827 | 9.9612
5.8167 | -0.35755 | 9.9584
5.8333 | -0.3592 | 9.9555
5.85 | -0.36128 | 9.9607
5.8667 | -0.36017 | 9.9676
5.8833 | -0.35798 | 9.9638
5.9 | -0.3603 | 9.9743
5.9167 | -0.36403 | 9.9682
5.9333 | -0.36386 | 9.9744
5.95 | -0.36209 | 9.9725
5.9667 | -0.36226 | 9.985
5.9833 | -0.36393 | 9.9876
6 | -0.36449 | 9.9899
6.0167 | -0.36386 | 9.9825
6.0333 | -0.36272 | 9.9827
6.05 | -0.36146 | 9.9755
6.0667 | -0.36233 | 9.9754
6.0833 | -0.36455 | 9.9715
6.1 | -0.36584 | 9.9767
6.1167 | -0.3658 | 9.9728
6.1333 | -0.36713 | 9.9689
6.15 | -0.36954 | 9.9714
6.1667 | -0.36808 | 9.9741
6.1833 | -0.36574 | 9.9699
6.2 | -0.3675 | 9.9754
6.2167 | -0.36931 | 9.977
6.2333 | -0.37045 | 9.9728
6.25 | -0.37125 | 9.9717
6.2667 | -0.3711 | 9.9689
6.2833 | -0.36973 | 9.9717
6.3 | -0.36983 | 9.9688
6.3167 | -0.37084 | 9.9636
6.3333 | -0.37064 | 9.9627
6.35 | -0.37117 | 9.9638
6.3667 | -0.37406 | 9.9601
6.3833 | -0.37725 | 9.9622
6.4 | -0.37777 | 9.9693
6.4167 | -0.37641 | 9.9705
6.4333 | -0.3755 | 9.97
6.45 | -0.37509 | 9.9735
6.4667 | -0.37536 | 9.9664
6.4833 | -0.37593 | 9.9691
6.5 | -0.37744 | 9.9642
6.5167 | -0.37846 | 9.9653
6.5333 | -0.37883 | 9.9587
6.55 | -0.37832 | 9.9563
6.5667 | -0.37728 | 9.9545
6.5833 | -0.37911 | 9.958
6.6 | -0.38094 | 9.9511
6.6167 | -0.37994 | 9.954
6.6333 | -0.37916 | 9.958
6.65 | -0.37956 | 9.9584
6.6667 | -0.38091 | 9.9583
6.6833 | -0.38217 | 9.958
6.7 | -0.3839 | 9.959
6.7167 | -0.38528 | 9.9615
6.7333 | -0.38486 | 9.9688
6.75 | -0.38628 | 9.9656
6.7667 | -0.3873 | 9.9632
6.7833 | -0.38588 | 9.9557
6.8 | -0.38788 | 9.9596
6.8167 | -0.39118 | 9.9635
6.8333 | -0.39226 | 9.9705
6.85 | -0.39133 | 9.9645
6.8667 | -0.39076 | 9.9651
6.8833 | -0.39098 | 9.9555
6.9 | -0.39028 | 9.9494
6.9167 | -0.39149 | 9.9546
6.9333 | -0.39266 | 9.9606
6.95 | -0.39283 | 9.9525
6.9667 | -0.39283 | 9.9523
6.9833 | -0.39221 | 9.943
7 | -0.39301 | 9.9422
7.0167 | -0.39474 | 9.9422
7.0333 | -0.39466 | 9.9502
7.05 | -0.39384 | 9.9502
7.0667 | -0.39544 | 9.9534
7.0833 | -0.39583 | 9.958
7.1 | -0.3952 | 9.9612
7.1167 | -0.39712 | 9.9587
7.1333 | -0.39863 | 9.963
7.15 | -0.39785 | 9.9584
7.1667 | -0.39805 | 9.9599
7.1833 | -0.40027 | 9.9668
7.2 | -0.40072 | 9.9694
7.2167 | -0.40185 | 9.9683
7.2333 | -0.4034 | 9.9688
7.25 | -0.40245 | 9.9706
7.2667 | -0.40137 | 9.965
7.2833 | -0.39991 | 9.9686
7.3 | -0.39931 | 9.9622
7.3167 | -0.40073 | 9.9511
7.3333 | -0.40086 | 9.9436
7.35 | -0.40064 | 9.9487
7.3667 | -0.40149 | 9.9395
7.3833 | -0.40292 | 9.9403
7.4 | -0.40528 | 9.9433
7.4167 | -0.40519 | 9.9429
7.4333 | -0.40312 | 9.9432
7.45 | -0.40279 | 9.9378
7.4667 | -0.40309 | 9.9361
7.4833 | -0.4042 | 9.9349
7.5 | -0.40585 | 9.9343
7.5167 | -0.40625 | 9.929
7.5333 | -0.40665 | 9.9325
7.55 | -0.40775 | 9.9332
7.5667 | -0.40845 | 9.9403
7.5833 | -0.40897 | 9.9447
7.6 | -0.41105 | 9.9445
7.6167 | -0.41138 | 9.9395
7.6333 | -0.41051 | 9.9456
7.65 | -0.4106 | 9.9416
7.6667 | -0.41089 | 9.9306
7.6833 | -0.4118 | 9.9281
7.7 | -0.41269 | 9.9294
7.7167 | -0.412 | 9.9274
7.7333 | -0.41161 | 9.9348
7.75 | -0.41391 | 9.9387
7.7667 | -0.41457 | 9.9378
7.7833 | -0.41439 | 9.9413
7.8 | -0.41472 | 9.941
7.8167 | -0.41315 | 9.9368
7.8333 | -0.41283 | 9.94
7.85 | -0.41429 | 9.9361
7.8667 | -0.41533 | 9.9282
7.8833 | -0.41666 | 9.9264
7.9 | -0.4179 | 9.9209
7.9167 | -0.41623 | 9.922
7.9333 | -0.41587 | 9.9186
7.95 | -0.4185 | 9.9168
7.9667 | -0.41858 | 9.9265
7.9833 | -0.4188 | 9.9302
8 | -0.42077 | 9.9326
8.0167 | -0.42195 | 9.9302
8.0333 | -0.42324 | 9.9235
8.05 | -0.42454 | 9.9241
8.0667 | -0.42595 | 9.9216
8.0833 | -0.42743 | 9.9261
8.1 | -0.42796 | 9.92
8.1167 | -0.42725 | 9.9213
8.1333 | -0.42693 | 9.9216
8.15 | -0.42639 | 9.9223
8.1667 | -0.42423 | 9.9184
8.1833 | -0.42457 | 9.9262
8.2 | -0.42678 | 9.9369
8.2167 | -0.42884 | 9.939
8.2333 | -0.43055 | 9.9329
8.25 | -0.42951 | 9.9265
8.2667 | -0.42832 | 9.9316
8.2833 | -0.42915 | 9.9348
8.3 | -0.43012 | 9.9329
8.3167 | -0.43124 | 9.9326
8.3333 | -0.43104 | 9.9306
8.35 | -0.42824 | 9.9339
8.3667 | -0.42694 | 9.9296
8.3833 | -0.42953 | 9.932
8.4 | -0.43066 | 9.931
8.4167 | -0.42988 | 9.9335
8.4333 | -0.43055 | 9.9323
8.45 | -0.43012 | 9.9322
8.4667 | -0.42956 | 9.9294
8.4833 | -0.43193 | 9.9348
8.5 | -0.43261 | 9.9415
8.5167 | -0.43068 | 9.94
8.5333 | -0.43018 | 9.9403
8.55 | -0.43162 | 9.9361
8.5667 | -0.43273 | 9.9349
8.5833 | -0.43361 | 9.9261
8.6 | -0.4351 | 9.9285
8.6167 | -0.43574 | 9.9264
8.6333 | -0.43496 | 9.9378
8.65 | -0.4353 | 9.9288
8.6667 | -0.43555 | 9.93
8.6833 | -0.43559 | 9.9302
8.7 | -0.43796 | 9.9284
8.7167 | -0.43924 | 9.9184
8.7333 | -0.4384 | 9.9187
8.75 | -0.43767 | 9.9152
8.7667 | -0.43892 | 9.9096
8.7833 | -0.44067 | 9.9003
8.8 | -0.44082 | 9.8995
8.8167 | -0.4416 | 9.8986
8.8333 | -0.44243 | 9.8969
8.85 | -0.44218 | 9.8911
8.8667 | -0.44229 | 9.8789
8.8833 | -0.44307 | 9.8772
8.9 | -0.44247 | 9.8757
8.9167 | -0.44049 | 9.8725
8.9333 | -0.43863 | 9.8736
8.95 | -0.43921 | 9.8769
8.9667 | -0.44244 | 9.8765
8.9833 | -0.4451 | 9.8768
9 | -0.44555 | 9.8719
9.0167 | -0.44281 | 9.8727
9.0333 | -0.44112 | 9.867
9.05 | -0.44196 | 9.8673
9.0667 | -0.44106 | 9.8603
9.0833 | -0.4392 | 9.8656
9.1 | -0.4382 | 9.8689
9.1167 | -0.43941 | 9.8765
9.1333 | -0.44147 | 9.8801
9.15 | -0.44296 | 9.8759
9.1667 | -0.44481 | 9.8733
9.1833 | -0.44765 | 9.874
9.2 | -0.44966 | 9.8737
9.2167 | -0.44996 | 9.8777
9.2333 | -0.45017 | 9.8678
9.25 | -0.45069 | 9.873
9.2667 | -0.45269 | 9.876
9.2833 | -0.45583 | 9.8678
9.3 | -0.45698 | 9.8731
9.3167 | -0.45677 | 9.8721
9.3333 | -0.45673 | 9.8681
9.35 | -0.45705 | 9.8753
9.3667 | -0.45673 | 9.8786
9.3833 | -0.45604 | 9.8835
9.4 | -0.45676 | 9.8859
9.4167 | -0.45811 | 9.8861
9.4333 | -0.45687 | 9.8878
9.45 | -0.45579 | 9.8901
9.4667 | -0.45614 | 9.8994
9.4833 | -0.45744 | 9.9009
9.5 | -0.46036 | 9.901
9.5167 | -0.46205 | 9.8986
9.5333 | -0.46358 | 9.8946
9.55 | -0.46429 | 9.8954
9.5667 | -0.46339 | 9.8939
9.5833 | -0.46342 | 9.8994
9.6 | -0.46306 | 9.9047
9.6167 | -0.46234 | 9.8965
9.6333 | -0.46324 | 9.8963
9.65 | -0.46353 | 9.8928
9.6667 | -0.46274 | 9.8927
9.6833 | -0.46251 | 9.8867
9.7 | -0.46383 | 9.8852
9.7167 | -0.46632 | 9.8826
9.7333 | -0.4664 | 9.8858
9.75 | -0.46677 | 9.8913
9.7667 | -0.46912 | 9.8919
9.7833 | -0.46951 | 9.8846
9.8 | -0.46997 | 9.8817
9.8167 | -0.47163 | 9.8853
9.8333 | -0.47168 | 9.8835
9.85 | -0.46996 | 9.889
9.8667 | -0.47079 | 9.8833
9.8833 | -0.47159 | 9.8815
9.9 | -0.47161 | 9.8814
9.9167 | -0.47253 | 9.8916
9.9333 | -0.47404 | 9.8858
9.95 | -0.47335 | 9.8905
9.9667 | -0.47055 | 9.8881
9.9833 | -0.47097 | 9.8846
10 | -0.47312 | 9.88
10.0167 | -0.47404 | 9.8786
10.0333 | -0.47543 | 9.8798
10.05 | -0.47725 | 9.8798
10.0667 | -0.4787 | 9.8841
10.0833 | -0.4767 | 9.8898
10.1 | -0.47545 | 9.8913
10.1167 | -0.47826 | 9.8919
10.1333 | -0.48021 | 9.8942
10.15 | -0.47942 | 9.8809
10.1667 | -0.47828 | 9.8841
10.1833 | -0.47644 | 9.8847
10.2 | -0.47432 | 9.8991
10.2167 | -0.47529 | 9.8972
10.2333 | -0.47708 | 9.9018
10.25 | -0.47793 | 9.902
10.2667 | -0.47886 | 9.8978
10.2833 | -0.48021 | 9.8933
10.3 | -0.4809 | 9.8945
10.3167 | -0.48036 | 9.8928
10.3333 | -0.48104 | 9.8933
10.35 | -0.48217 | 9.8998
10.3667 | -0.48244 | 9.9088
10.3833 | -0.48446 | 9.9084
10.4 | -0.48574 | 9.9091
10.4167 | -0.48455 | 9.9032
10.4333 | -0.48397 | 9.9046
10.45 | -0.48472 | 9.9053
10.4667 | -0.48554 | 9.9036
10.4833 | -0.48715 | 9.9067
10.5 | -0.48862 | 9.9088
10.5167 | -0.48793 | 9.914
10.5333 | -0.48702 | 9.9171
10.55 | -0.48657 | 9.9201
10.5667 | -0.48807 | 9.9212
10.5833 | -0.48835 | 9.9197
10.6 | -0.48757 | 9.9197
10.6167 | -0.48977 | 9.9245
10.6333 | -0.49021 | 9.9233
10.65 | -0.48908 | 9.9262
10.6667 | -0.48912 | 9.9229
10.6833 | -0.48902 | 9.9181
10.7 | -0.49059 | 9.9218
10.7167 | -0.49294 | 9.9216
10.7333 | -0.49468 | 9.9145
10.75 | -0.49623 | 9.9172
10.7667 | -0.49506 | 9.9187
10.7833 | -0.49252 | 9.9191
10.8 | -0.49292 | 9.9177
10.8167 | -0.49429 | 9.9229
10.8333 | -0.49565 | 9.9261
10.85 | -0.49724 | 9.9313
10.8667 | -0.49838 | 9.9305
10.8833 | -0.49647 | 9.9281
10.9 | -0.49532 | 9.9247
10.9167 | -0.49749 | 9.9227
10.9333 | -0.49921 | 9.9203
10.95 | -0.49753 | 9.9174
10.9667 | -0.49626 | 9.923
10.9833 | -0.49659 | 9.9299
11 | -0.49717 | 9.9268
11.0167 | -0.49779 | 9.927
11.0333 | -0.49836 | 9.9265
11.05 | -0.49961 | 9.9218
11.0667 | -0.49977 | 9.9305
11.0833 | -0.49918 | 9.9274
11.1 | -0.49995 | 9.9268
11.1167 | -0.50023 | 9.9218
11.1333 | -0.49923 | 9.9268
11.15 | -0.49989 | 9.9245
11.1667 | -0.5029 | 9.9317
11.1833 | -0.50461 | 9.9201
11.2 | -0.50415 | 9.9191
11.2167 | -0.5044 | 9.9165
11.2333 | -0.50441 | 9.916
11.25 | -0.50366 | 9.9203
11.2667 | -0.50467 | 9.9165
11.2833 | -0.50461 | 9.9126
11.3 | -0.50431 | 9.9166
11.3167 | -0.50635 | 9.9137
11.3333 | -0.50727 | 9.9165
11.35 | -0.5063 | 9.9158
11.3667 | -0.5068 | 9.9073
11.3833 | -0.50837 | 9.9129
11.4 | -0.50848 | 9.9139
11.4167 | -0.50772 | 9.9085
11.4333 | -0.51074 | 9.9064
11.45 | -0.51392 | 9.9029
11.4667 | -0.5138 | 9.9073
11.4833 | -0.51418 | 9.9058
11.5 | -0.51432 | 9.9064
11.5167 | -0.51481 | 9.9131
11.5333 | -0.51641 | 9.9065
11.55 | -0.51913 | 9.9062
11.5667 | -0.5209 | 9.9091
11.5833 | -0.52125 | 9.9107
11.6 | -0.52029 | 9.9056
11.6167 | -0.51799 | 9.9123
11.6333 | -0.51738 | 9.9073
11.65 | -0.51908 | 9.9046
11.6667 | -0.52203 | 9.9061
11.6833 | -0.52423 | 9.9081
11.7 | -0.52424 | 9.9046
11.7167 | -0.52394 | 9.9055
11.7333 | -0.52365 | 9.9076
11.75 | -0.52399 | 9.9111
11.7667 | -0.52513 | 9.9184
11.7833 | -0.52517 | 9.9259
11.8 | -0.52473 | 9.9172
11.8167 | -0.52625 | 9.9168
11.8333 | -0.52759 | 9.9203
11.85 | -0.52855 | 9.9114
11.8667 | -0.5303 | 9.9085
11.8833 | -0.52989 | 9.912
11.9 | -0.52904 | 9.9181
11.9167 | -0.52961 | 9.9154
11.9333 | -0.52995 | 9.9221
11.95 | -0.52972 | 9.9256
11.9667 | -0.52985 | 9.9256
11.9833 | -0.53099 | 9.92
12 | -0.53197 | 9.9296
12.0167 | -0.53115 | 9.9274
12.0333 | -0.52945 | 9.9276
12.05 | -0.52817 | 9.9224
12.0667 | -0.52873 | 9.9221
12.0833 | -0.52994 | 9.9166
12.1 | -0.53081 | 9.9146
12.1167 | -0.53053 | 9.9134
12.1333 | -0.52997 | 9.9101
12.15 | -0.5314 | 9.9133
12.1667 | -0.53199 | 9.9143
12.1833 | -0.53141 | 9.9072
12.2 | -0.53124 | 9.9108
12.2167 | -0.53176 | 9.9097
12.2333 | -0.5332 | 9.918
12.25 | -0.53591 | 9.921
12.2667 | -0.53632 | 9.922
12.2833 | -0.53485 | 9.9238
12.3 | -0.53221 | 9.9235
12.3167 | -0.53258 | 9.9175
12.3333 | -0.5354 | 9.9163
12.35 | -0.53574 | 9.9126
12.3667 | -0.53573 | 9.914
12.3833 | -0.53627 | 9.9171
12.4 | -0.53755 | 9.9189
12.4167 | -0.53905 | 9.9136
12.4333 | -0.53971 | 9.9137
12.45 | -0.53934 | 9.916
12.4667 | -0.53852 | 9.9006
12.4833 | -0.53758 | 9.9047
12.5 | -0.53878 | 9.9
12.5167 | -0.5418 | 9.8995
12.5333 | -0.54272 | 9.9009
12.55 | -0.54268 | 9.8975
12.5667 | -0.54257 | 9.8939
12.5833 | -0.54124 | 9.9004
12.6 | -0.54069 | 9.9088
12.6167 | -0.54239 | 9.9134
12.6333 | -0.54398 | 9.9207
12.65 | -0.5444 | 9.9168
12.6667 | -0.54559 | 9.9125
12.6833 | -0.54678 | 9.914
12.7 | -0.54634 | 9.9187
12.7167 | -0.54477 | 9.9242
12.7333 | -0.54334 | 9.9241
12.75 | -0.5434 | 9.9194
12.7667 | -0.54597 | 9.914
12.7833 | -0.54829 | 9.9194
12.8 | -0.54657 | 9.9218
12.8167 | -0.54402 | 9.9133
12.8333 | -0.54447 | 9.9128
12.85 | -0.5476 | 9.9036
12.8667 | -0.54904 | 9.9059
12.8833 | -0.54829 | 9.9075
12.9 | -0.54814 | 9.9096
12.9167 | -0.54979 | 9.9142
12.9333 | -0.55172 | 9.9111
12.95 | -0.55343 | 9.9029
12.9667 | -0.55491 | 9.9035
12.9833 | -0.55366 | 9.9014
13 | -0.55242 | 9.8966
13.0167 | -0.55247 | 9.8914
13.0333 | -0.55239 | 9.8884
13.05 | -0.55353 | 9.8974
13.0667 | -0.55679 | 9.8956
13.0833 | -0.55981 | 9.894
13.1 | -0.56056 | 9.8975
13.1167 | -0.55924 | 9.9038
13.1333 | -0.55806 | 9.8981
13.15 | -0.55689 | 9.8914
13.1667 | -0.55659 | 9.8866
13.1833 | -0.55812 | 9.8952
13.2 | -0.55843 | 9.8902
13.2167 | -0.55757 | 9.8917
13.2333 | -0.55824 | 9.8824
13.25 | -0.5591 | 9.8827
13.2667 | -0.55947 | 9.8801
13.2833 | -0.56182 | 9.8794
13.3 | -0.56209 | 9.8786
13.3167 | -0.55897 | 9.889
13.3333 | -0.557 | 9.894
13.35 | -0.55662 | 9.8992
13.3667 | -0.55742 | 9.8907
13.3833 | -0.55814 | 9.8945
13.4 | -0.55941 | 9.889
13.4167 | -0.56047 | 9.8943
13.4333 | -0.55929 | 9.8986
13.45 | -0.55863 | 9.9027
13.4667 | -0.56003 | 9.9055
13.4833 | -0.56095 | 9.9091
13.5 | -0.56179 | 9.9093
13.5167 | -0.56135 | 9.9075
13.5333 | -0.55866 | 9.903
13.55 | -0.55563 | 9.8991
13.5667 | -0.55297 | 9.8954
13.5833 | -0.55315 | 9.8913
13.6 | -0.55515 | 9.8992
13.6167 | -0.55483 | 9.8995
13.6333 | -0.55226 | 9.8988
13.65 | -0.5482 | 9.8911
13.6667 | -0.54413 | 9.898
13.6833 | -0.54118 | 9.901
13.7 | -0.53782 | 9.8956
13.7167 | -0.53171 | 9.9006
13.7333 | -0.52244 | 9.9023
13.75 | -0.5114 | 9.8986
13.7667 | -0.49912 | 9.9039
13.7833 | -0.48385 | 9.9
13.8 | -0.46426 | 9.8989
13.8167 | -0.44175 | 9.8997
13.8333 | -0.4166 | 9.8997
13.85 | -0.38603 | 9.9006
13.8667 | -0.35064 | 9.9081
13.8833 | -0.31207 | 9.914
13.9 | -0.26874 | 9.9194
13.9167 | -0.21924 | 9.9191
13.9333 | -0.1627 | 9.9203
13.95 | -0.10008 | 9.9273
13.9667 | -0.030752 | 9.9276
13.9833 | 0.048357 | 9.931
14 | 0.13691 | 9.9363
14.0167 | 0.23252 | 9.9403
14.0333 | 0.33948 | 9.9398
14.05 | 0.46181 | 9.9473
14.0667 | 0.60034 | 9.9532
14.0833 | 0.7596 | 9.9621
14.1 | 0.94499 | 9.9718
14.1167 | 1.1584 | 9.9871
14.1333 | 1.4078 | 9.9982
14.15 | 1.7057 | 10.0132
14.1667 | 2.0587 | 10.0201
14.1833 | 2.4756 | 10.0433
14.2 | 2.9641 | 10.0707
14.2167 | 3.5335 | 10.1006
14.2333 | 4.1924 | 10.1231
14.25 | 4.9429 | 10.1524
14.2667 | 5.7866 | 10.1896
14.2833 | 6.7264 | 10.2401
14.3 | 7.7563 | 10.3013
14.3167 | 8.8603 | 10.3623
14.3333 | 10.0227 | 10.4362
14.35 | 11.2292 | 10.5193
14.3667 | 12.4548 | 10.6194
14.3833 | 13.6675 | 10.729
14.4 | 14.8398 | 10.843
14.4167 | 15.9394 | 10.9586
14.4333 | 16.9361 | 11.092
14.45 | 17.8058 | 11.2228
14.4667 | 18.5242 | 11.3595
14.4833 | 19.0742 | 11.4848
14.5 | 19.4418 | 11.6079
14.5167 | 19.6182 | 11.7152
14.5333 | 19.6071 | 11.8162
14.55 | 19.4173 | 11.8989
14.5667 | 19.0618 | 11.9651
14.5833 | 18.5576 | 12.0087
14.6 | 17.9243 | 12.0422
14.6167 | 17.185 | 12.0486
14.6333 | 16.3649 | 12.0359
14.65 | 15.4877 | 12.0094
14.6667 | 14.5799 | 11.9675
14.6833 | 13.66 | 11.9135
14.7 | 12.7422 | 11.847
14.7167 | 11.8412 | 11.7716
14.7333 | 10.972 | 11.694
14.75 | 10.1467 | 11.6207
14.7667 | 9.367 | 11.5434
14.7833 | 8.6348 | 11.4565
14.8 | 7.9526 | 11.3783
14.8167 | 7.3233 | 11.3007
14.8333 | 6.7474 | 11.2273
14.85 | 6.219 | 11.1706
14.8667 | 5.7357 | 11.1131
14.8833 | 5.297 | 11.0702
14.9 | 4.8965 | 11.0259
14.9167 | 4.5291 | 10.9985
14.9333 | 4.1944 | 10.964
14.95 | 3.8887 | 10.9385
14.9667 | 3.6061 | 10.9202
14.9833 | 3.345 | 10.9025
15 | 3.1035 | 10.8924
15.0167 | 2.8792 | 10.8839
15.0333 | 2.67 | 10.8823
15.05 | 2.4727 | 10.8796
15.0667 | 2.2865 | 10.8729
15.0833 | 2.1114 | 10.8663
15.1 | 1.9445 | 10.8562
15.1167 | 1.7851 | 10.8465
15.1333 | 1.6334 | 10.8321
15.15 | 1.4891 | 10.8274
15.1667 | 1.3519 | 10.8179
15.1833 | 1.2203 | 10.8007
15.2 | 1.0936 | 10.7838
15.2167 | 0.97427 | 10.7677
15.2333 | 0.86223 | 10.7533
15.25 | 0.75541 | 10.7307
15.2667 | 0.65299 | 10.7146
15.2833 | 0.55648 | 10.6927
15.3 | 0.46746 | 10.6722
15.3167 | 0.3848 | 10.648
15.3333 | 0.30852 | 10.6199
15.35 | 0.23777 | 10.5868
15.3667 | 0.17197 | 10.5701
15.3833 | 0.10978 | 10.5407
15.4 | 0.051749 | 10.5248
15.4167 | -0.0018716 | 10.4844
15.4333 | -0.05152 | 10.4598
15.45 | -0.096078 | 10.4313
15.4667 | -0.13541 | 10.4119
15.4833 | -0.17149 | 10.3823
15.5 | -0.20491 | 10.3602
15.5167 | -0.23627 | 10.3323
15.5333 | -0.26563 | 10.3208
15.55 | -0.28978 | 10.3008
15.5667 | -0.31057 | 10.2796
15.5833 | -0.33138 | 10.265
15.6 | -0.35148 | 10.2523
15.6167 | -0.36939 | 10.2363
15.6333 | -0.38535 | 10.2241
15.65 | -0.40046 | 10.2142
15.6667 | -0.41351 | 10.1951
15.6833 | -0.42562 | 10.1812
15.7 | -0.43714 | 10.1666
15.7167 | -0.44732 | 10.1566
15.7333 | -0.45735 | 10.1504
15.75 | -0.46716 | 10.142
15.7667 | -0.47448 | 10.1252
15.7833 | -0.47995 | 10.1218
15.8 | -0.48536 | 10.1102
15.8167 | -0.49286 | 10.1032
15.8333 | -0.50131 | 10.082
15.85 | -0.50622 | 10.0848
15.8667 | -0.50941 | 10.0765
15.8833 | -0.51338 | 10.0719
15.9 | -0.51689 | 10.057
15.9167 | -0.52095 | 10.0442
15.9333 | -0.52677 | 10.037
15.95 | -0.53193 | 10.0355
15.9667 | -0.53667 | 10.0315
15.9833 | -0.53988 | 10.0317
16 | -0.54277 | 10.024
16.0167 | -0.54749 | 10.0094
16.0333 | -0.5507 | 10.0053
16.05 | -0.55052 | 9.9984
16.0667 | -0.55199 | 9.9935
16.0833 | -0.55618 | 9.9871
16.1 | -0.55928 | 9.9813
16.1167 | -0.56003 | 9.9752
16.1333 | -0.56041 | 9.9792
16.15 | -0.56197 | 9.9775
16.1667 | -0.56392 | 9.9813
16.1833 | -0.56565 | 9.9726
16.2 | -0.56659 | 9.9696
16.2167 | -0.56823 | 9.9699
16.2333 | -0.56968 | 9.9761
16.25 | -0.57186 | 9.9751
16.2667 | -0.57448 | 9.9726
16.2833 | -0.57611 | 9.9708
16.3 | -0.57821 | 9.9746
16.3167 | -0.58011 | 9.967
16.3333 | -0.58174 | 9.9618
16.35 | -0.58498 | 9.9578
16.3667 | -0.58825 | 9.9615
16.3833 | -0.58838 | 9.9584
16.4 | -0.58776 | 9.9587
16.4167 | -0.58936 | 9.9656
16.4333 | -0.58926 | 9.9653
16.45 | -0.58877 | 9.9656
16.4667 | -0.58962 | 9.9674
16.4833 | -0.59051 | 9.9653
16.5 | -0.59209 | 9.9638
16.5167 | -0.59441 | 9.9641
16.5333 | -0.59507 | 9.9639
16.55 | -0.59679 | 9.9569
16.5667 | -0.59936 | 9.9593
16.5833 | -0.60027 | 9.9545
16.6 | -0.60213 | 9.9577
16.6167 | -0.60312 | 9.9628
16.6333 | -0.60362 | 9.9506
16.65 | -0.60509 | 9.9503
16.6667 | -0.60553 | 9.9493
16.6833 | -0.6048 | 9.9516
16.7 | -0.60455 | 9.9474
16.7167 | -0.60604 | 9.9506
16.7333 | -0.60779 | 9.9494
16.75 | -0.6075 | 9.9401
16.7667 | -0.6063 | 9.9406
16.7833 | -0.60727 | 9.9433
16.8 | -0.60946 | 9.9426
16.8167 | -0.61129 | 9.936
16.8333 | -0.61169 | 9.9323
16.85 | -0.6113 | 9.9285
16.8667 | -0.6122 | 9.9256
16.8833 | -0.61284 | 9.9216
16.9 | -0.61368 | 9.9215
16.9167 | -0.61425 | 9.9216
16.9333 | -0.61304 | 9.9168
16.95 | -0.61243 | 9.9155
16.9667 | -0.61299 | 9.9125
16.9833 | -0.61291 | 9.9154
17 | -0.61146 | 9.9206
17.0167 | -0.61196 | 9.9165
17.0333 | -0.61281 | 9.9184
17.05 | -0.61281 | 9.9262
17.0667 | -0.61385 | 9.9346
17.0833 | -0.61519 | 9.9285
17.1 | -0.61514 | 9.9287
17.1167 | -0.61367 | 9.9233
17.1333 | -0.61162 | 9.9267
17.15 | -0.60911 | 9.9204
17.1667 | -0.60774 | 9.9192
17.1833 | -0.6084 | 9.9195
17.2 | -0.60887 | 9.9226
17.2167 | -0.60859 | 9.9108
17.2333 | -0.60789 | 9.9131
17.25 | -0.60747 | 9.9178
17.2667 | -0.6086 | 9.9209
17.2833 | -0.60962 | 9.92
17.3 | -0.60923 | 9.9177
17.3167 | -0.6093 | 9.9151
17.3333 | -0.60934 | 9.9152
17.35 | -0.60748 | 9.9191
17.3667 | -0.6066 | 9.9224
17.3833 | -0.60667 | 9.9276
17.4 | -0.60575 | 9.9252
17.4167 | -0.60303 | 9.9276
17.4333 | -0.60015 | 9.9335
17.45 | -0.59835 | 9.9244
17.4667 | -0.59638 | 9.9157
17.4833 | -0.5928 | 9.9198
17.5 | -0.58719 | 9.9189
17.5167 | -0.58181 | 9.9252
17.5333 | -0.57789 | 9.9229
17.55 | -0.57397 | 9.9252
17.5667 | -0.56823 | 9.9249
17.5833 | -0.56158 | 9.9213
17.6 | -0.55562 | 9.9216
17.6167 | -0.54911 | 9.914
17.6333 | -0.54166 | 9.9174
17.65 | -0.53344 | 9.9158
17.6667 | -0.52634 | 9.9168
17.6833 | -0.52216 | 9.9216
17.7 | -0.51987 | 9.9256
17.7167 | -0.51488 | 9.9175
17.7333 | -0.50934 | 9.9052
17.75 | -0.50774 | 9.902
17.7667 | -0.50751 | 9.9018
17.7833 | -0.5082 | 9.898
17.8 | -0.50898 | 9.8905
17.8167 | -0.51028 | 9.8901
17.8333 | -0.51225 | 9.894
17.85 | -0.51405 | 9.8879
17.8667 | -0.51515 | 9.8948
17.8833 | -0.51499 | 9.8936
17.9 | -0.51575 | 9.891
17.9167 | -0.5172 | 9.8878
17.9333 | -0.51745 | 9.8841
17.95 | -0.51698 | 9.8785
17.9667 | -0.51609 | 9.8785
17.9833 | -0.51439 | 9.8786
18 | -0.51166 | 9.8827
18.0167 | -0.50819 | 9.8815
18.0333 | -0.50498 | 9.8928
18.05 | -0.50235 | 9.8969
18.0667 | -0.50268 | 9.9027
18.0833 | -0.49971 | 9.9082
18.1 | -0.49102 | 9.9136
18.1167 | -0.48378 | 9.9168
18.1333 | -0.47717 | 9.9209
18.15 | -0.46702 | 9.9306
18.1667 | -0.45481 | 9.9319
18.1833 | -0.44259 | 9.948
18.2 | -0.42883 | 9.9532
18.2167 | -0.41341 | 9.966
18.2333 | -0.39508 | 9.9694
18.25 | -0.37555 | 9.9769
18.2667 | -0.35473 | 9.983
18.2833 | -0.32962 | 9.9905
18.3 | -0.29986 | 9.9952
18.3167 | -0.26789 | 10.0008
18.3333 | -0.2358 | 10.0101
18.35 | -0.20398 | 10.0123
18.3667 | -0.17218 | 10.0069
18.3833 | -0.14411 | 10.0037
18.4 | -0.12081 | 9.9967
18.4167 | -0.099737 | 9.9892
18.4333 | -0.082592 | 9.9833
18.45 | -0.070648 | 9.9757
18.4667 | -0.065531 | 9.9682
18.4833 | -0.065603 | 9.9642
18.5 | -0.069101 | 9.9644
18.5167 | -0.077201 | 9.9548
18.5333 | -0.085455 | 9.9487
18.55 | -0.090371 | 9.9456
18.5667 | -0.091784 | 9.9479
18.5833 | -0.090287 | 9.9424
18.6 | -0.082766 | 9.9432
18.6167 | -0.066156 | 9.9464
18.6333 | -0.042003 | 9.9474
18.65 | -0.012972 | 9.9485
18.6667 | 0.020877 | 9.9554
18.6833 | 0.060238 | 9.9537
18.7 | 0.10296 | 9.9552
18.7167 | 0.14185 | 9.9622
18.7333 | 0.17433 | 9.9784
18.75 | 0.20404 | 9.9937
18.7667 | 0.22591 | 10.0088
18.7833 | 0.23424 | 10.0286
18.8 | 0.23208 | 10.0492
18.8167 | 0.22031 | 10.071
18.8333 | 0.19807 | 10.089
18.85 | 0.16564 | 10.1029
18.8667 | 0.12522 | 10.1217
18.8833 | 0.08103 | 10.1373
18.9 | 0.035489 | 10.1377
18.9167 | -0.010342 | 10.1267
18.9333 | -0.054215 | 10.118
18.95 | -0.096502 | 10.1049
18.9667 | -0.13593 | 10.098
18.9833 | -0.17037 | 10.0816
19 | -0.20231 | 10.0713
19.0167 | -0.23338 | 10.0558
19.0333 | -0.2637 | 10.0471
19.05 | -0.29569 | 10.0307
19.0667 | -0.33182 | 10.0103
19.0833 | -0.37287 | 9.995
19.1 | -0.42654 | 9.979
19.1167 | -0.50021 | 9.9711
19.1333 | -0.59913 | 9.954
19.15 | -0.72932 | 9.9412
19.1667 | -0.89578 | 9.9334
19.1833 | -1.1047 | 9.9308
19.2 | -1.3592 | 9.922
19.2167 | -1.6599 | 9.9139
19.2333 | -2.003 | 9.903
19.25 | -2.3791 | 9.8916
19.2667 | -2.7725 | 9.8843
19.2833 | -3.1623 | 9.8725
19.3 | -3.528 | 9.8637
19.3167 | -3.8455 | 9.8748
19.3333 | -4.0883 | 9.8997
19.35 | -4.2377 | 9.9546
19.3667 | -4.2804 | 10.0571
19.3833 | -4.2055 | 10.2358
19.4 | -4.0136 | 10.5334
19.4167 | -3.7119 | 10.973
19.4333 | -3.3143 | 11.5923
19.45 | -2.8412 | 12.4413
19.4667 | -2.3132 | 13.5497
19.4833 | -1.7597 | 14.9334
19.5 | -1.2098 | 16.6233
19.5167 | -0.6879 | 18.5787
19.5333 | -0.21872 | 20.7613
19.55 | 0.18118 | 23.0752
19.5667 | 0.50428 | 25.4163
19.5833 | 0.74205 | 27.6356
19.6 | 0.89407 | 29.4225
19.6167 | 0.97103 | 31.2046
19.6333 | 0.98617 | 32.3202
19.65 | 0.95166 | 32.882
19.6667 | 0.87958 | 32.879
19.6833 | 0.78447 | 32.3283
19.7 | 0.68017 | 31.2942
19.7167 | 0.57267 | 29.8603
19.7333 | 0.4662 | 28.1406
19.75 | 0.36592 | 26.2498
19.7667 | 0.27292 | 24.2988
19.7833 | 0.18863 | 22.383
19.8 | 0.11399 | 20.5784
19.8167 | 0.046149 | 18.9419
19.8333 | -0.017896 | 17.4906
19.85 | -0.075441 | 16.2237
19.8667 | -0.12573 | 15.1489
19.8833 | -0.17101 | 14.2489
19.9 | -0.21293 | 13.4982
19.9167 | -0.25021 | 12.8837
19.9333 | -0.28264 | 12.3736
19.95 | -0.31292 | 11.9575
19.9667 | -0.34214 | 11.6047
19.9833 | -0.37025 | 11.3038
20 | -0.39803 | 11.0491
20.0167 | -0.42618 | 10.8298
20.0333 | -0.4578 | 10.6159
20.05 | -0.49185 | 10.4162
20.0667 | -0.5282 | 10.2056
20.0833 | -0.56811 | 9.9799
20.1 | -0.61024 | 9.7247
20.1167 | -0.65354 | 9.4289
20.1333 | -0.69469 | 9.0842
20.15 | -0.73 | 8.6951
20.1667 | -0.76142 | 8.2529
20.1833 | -0.79186 | 7.7763
20.2 | -0.81595 | 7.2681
20.2167 | -0.82989 | 6.7616
20.2333 | -0.83548 | 6.2702
20.25 | -0.83381 | 5.8254
20.2667 | -0.82364 | 5.4523
20.2833 | -0.808 | 5.1688
20.3 | -0.78955 | 5.0079
20.3167 | -0.76651 | 4.9635
20.3333 | -0.73998 | 5.0449
20.35 | -0.71219 | 5.2369
20.3667 | -0.68385 | 5.5213
20.3833 | -0.65563 | 5.8749
20.4 | -0.62986 | 6.2843
20.4167 | -0.6056 | 6.7115
20.4333 | -0.58422 | 7.1348
20.45 | -0.5705 | 7.5338
20.4667 | -0.56295 | 7.9089
20.4833 | -0.56105 | 8.2302
20.5 | -0.56669 | 8.5078
20.5167 | -0.57874 | 8.7273
20.5333 | -0.59987 | 8.8917
20.55 | -0.62996 | 8.9985
20.5667 | -0.6683 | 9.0517
20.5833 | -0.71598 | 9.0479
20.6 | -0.77069 | 8.9947
20.6167 | -0.83411 | 8.8908
20.6333 | -0.91449 | 8.7386
20.65 | -1.0205 | 8.5493
20.6667 | -1.1637 | 8.3553
20.6833 | -1.3647 | 8.1126
20.7 | -1.6546 | 7.8522
20.7167 | -2.0747 | 7.6014
20.7333 | -2.6779 | 7.3586
20.75 | -3.5282 | 7.1461
20.7667 | -4.7023 | 6.9767
20.7833 | -6.2812 | 6.8601
20.8 | -8.3478 | 6.7843
20.8167 | -10.979 | 6.7696
20.8333 | -14.2329 | 6.8131
20.85 | -18.135 | 6.9183
20.8667 | -22.6683 | 7.0538
20.8833 | -27.7708 | 7.2416
20.9 | -33.3283 | 7.4503
20.9167 | -39.1674 | 7.6774
20.9333 | -45.0669 | 7.9096
20.95 | -50.772 | 8.1519
20.9667 | -56.0143 | 8.3764
20.9833 | -60.5353 | 8.585
21 | -64.1104 | 8.773
21.0167 | -66.5687 | 8.9402
21.0333 | -67.8022 | 9.0861
21.05 | -67.7807 | 9.217
21.0667 | -66.5528 | 9.3253
21.0833 | -64.2314 | 9.4186
21.1 | -60.9861 | 9.4862
21.1167 | -57.0184 | 9.5515
21.1333 | -52.5413 | 9.5954
21.15 | -47.7717 | 9.6293
21.1667 | -42.905 | 9.658
21.1833 | -38.1069 | 9.6807
21.2 | -33.5079 | 9.7016
21.2167 | -29.2 | 9.7216
21.2333 | -25.2481 | 9.7422
21.25 | -21.6871 | 9.7491
21.2667 | -18.5272 | 9.7613
21.2833 | -15.761 | 9.768
21.3 | -13.3658 | 9.7868
21.3167 | -11.3128 | 9.7936
21.3333 | -9.5664 | 9.8072
21.35 | -8.0937 | 9.8116
21.3667 | -6.8578 | 9.8225
21.3833 | -5.8237 | 9.8264
21.4 | -4.9668 | 9.8324
21.4167 | -4.259 | 9.8371
21.4333 | -3.6744 | 9.8444
21.45 | -3.1947 | 9.8501
21.4667 | -2.8024 | 9.8472
21.4833 | -2.4798 | 9.8431
21.5 | -2.2128 | 9.8421
21.5167 | -1.9955 | 9.8342
21.5333 | -1.8197 | 9.8209
21.55 | -1.6741 | 9.8156
21.5667 | -1.5549 | 9.8084
21.5833 | -1.4567 | 9.7869
21.6 | -1.374 | 9.7616
21.6167 | -1.3056 | 9.7375
21.6333 | -1.2475 | 9.6929
21.65 | -1.1985 | 9.6362
21.6667 | -1.1586 | 9.5632
21.6833 | -1.1241 | 9.4738
21.7 | -1.094 | 9.3513
21.7167 | -1.0697 | 9.2109
21.7333 | -1.0464 | 9.045
21.75 | -1.0254 | 8.8407
21.7667 | -1.0095 | 8.5923
21.7833 | -0.99505 | 8.3093
21.8 | -0.98185 | 7.9826
21.8167 | -0.96974 | 7.634
21.8333 | -0.9576 | 7.2579
21.85 | -0.94657 | 6.8598
21.8667 | -0.93604 | 6.4486
21.8833 | -0.92622 | 6.0415
21.9 | -0.91785 | 5.6557
21.9167 | -0.90888 | 5.297
21.9333 | -0.90149 | 4.9889
21.95 | -0.89628 | 4.7411
21.9667 | -0.89081 | 4.5631
21.9833 | -0.88739 | 4.4523
22 | -0.8822 | 4.4321
22.0167 | -0.8757 | 4.4836
22.0333 | -0.87347 | 4.6215
22.05 | -0.86992 | 4.8223
22.0667 | -0.86351 | 5.0858
22.0833 | -0.85906 | 5.4014
22.1 | -0.854 | 5.7545
22.1167 | -0.84731 | 6.1179
22.1333 | -0.83981 | 6.5078
22.15 | -0.83136 | 6.889
22.1667 | -0.82064 | 7.2532
22.1833 | -0.80575 | 7.5957
22.2 | -0.7856 | 7.9263
22.2167 | -0.75856 | 8.215
22.2333 | -0.72265 | 8.4763
22.25 | -0.67213 | 8.7089
22.2667 | -0.6023 | 8.9109
22.2833 | -0.50705 | 9.0742
22.3 | -0.37687 | 9.2179
22.3167 | -0.20474 | 9.3389
22.3333 | 0.018728 | 9.4262
22.35 | 0.30598 | 9.4996
22.3667 | 0.6668 | 9.5614
22.3833 | 1.1121 | 9.5951
22.4 | 1.6542 | 9.6201
22.4167 | 2.2995 | 9.633
22.4333 | 3.0543 | 9.6395
22.45 | 3.9242 | 9.6276
22.4667 | 4.9035 | 9.6009
22.4833 | 5.983 | 9.5606
22.5 | 7.151 | 9.5029
22.5167 | 8.3864 | 9.4381
22.5333 | 9.661 | 9.3551
22.55 | 10.9427 | 9.2629
22.5667 | 12.1944 | 9.1547
22.5833 | 13.3806 | 9.0249
22.6 | 14.4612 | 8.8911
22.6167 | 15.3957 | 8.7537
22.6333 | 16.152 | 8.6036
22.65 | 16.7038 | 8.4519
22.6667 | 17.031 | 8.3013
22.6833 | 17.1246 | 8.1675
22.7 | 16.9819 | 8.0279
22.7167 | 16.6087 | 7.9189
22.7333 | 16.0264 | 7.8259
22.75 | 15.2597 | 7.7564
22.7667 | 14.3361 | 7.7142
22.7833 | 13.2931 | 7.7007
22.8 | 12.165 | 7.7164
22.8167 | 10.9863 | 7.7558
22.8333 | 9.7918 | 7.8216
22.85 | 8.6124 | 7.9047
22.8667 | 7.4774 | 8.018
22.8833 | 6.4032 | 8.1437
22.9 | 5.4018 | 8.2754
22.9167 | 4.4894 | 8.4032
22.9333 | 3.6744 | 8.5488
22.95 | 2.9557 | 8.6866
22.9667 | 2.3285 | 8.8335
22.9833 | 1.7891 | 8.9574
23 | 1.3291 | 9.0833
23.0167 | 0.94198 | 9.1901
23.0333 | 0.62145 | 9.2916
23.05 | 0.35903 | 9.3737
23.0667 | 0.1459 | 9.4514
23.0833 | -0.026902 | 9.5194
23.1 | -0.16661 | 9.5756
23.1167 | -0.27741 | 9.6189
23.1333 | -0.36581 | 9.6558
23.15 | -0.43733 | 9.6812
23.1667 | -0.49374 | 9.7184
23.1833 | -0.53729 | 9.7388
23.2 | -0.57159 | 9.7523
23.2167 | -0.59998 | 9.7741
23.2333 | -0.62328 | 9.7848
23.25 | -0.64201 | 9.7945
23.2667 | -0.65546 | 9.8032
23.2833 | -0.66779 | 9.8112
23.3 | -0.68047 | 9.8188
23.3167 | -0.69006 | 9.8293
23.3333 | -0.69758 | 9.8389
23.35 | -0.70353 | 9.8454
23.3667 | -0.70845 | 9.8466
23.3833 | -0.71535 | 9.8536
23.4 | -0.72285 | 9.8571
23.4167 | -0.72687 | 9.8571
23.4333 | -0.7291 | 9.86
23.45 | -0.73197 | 9.858
23.4667 | -0.73437 | 9.8508
23.4833 | -0.7378 | 9.8505
23.5 | -0.74193 | 9.8528
23.5167 | -0.74516 | 9.8541
23.5333 | -0.74664 | 9.8499
23.55 | -0.74727 | 9.8537
23.5667 | -0.75088 | 9.8544
23.5833 | -0.75395 | 9.8563
23.6 | -0.75438 | 9.8646
23.6167 | -0.75578 | 9.86
23.6333 | -0.75806 | 9.8679
23.65 | -0.75955 | 9.8653
23.6667 | -0.76064 | 9.864
23.6833 | -0.7627 | 9.8638
23.7 | -0.7641 | 9.8598
23.7167 | -0.76442 | 9.8586
23.7333 | -0.76555 | 9.8617
23.75 | -0.76827 | 9.8626
23.7667 | -0.77035 | 9.8687
23.7833 | -0.77176 | 9.8602
23.8 | -0.77274 | 9.8672
23.8167 | -0.77333 | 9.873
23.8333 | -0.77425 | 9.8707
23.85 | -0.77564 | 9.8716
23.8667 | -0.77585 | 9.8617
23.8833 | -0.77517 | 9.8515
23.9 | -0.77559 | 9.8554
23.9167 | -0.77619 | 9.855
23.9333 | -0.7776 | 9.8594
23.95 | -0.77928 | 9.8631
23.9667 | -0.78052 | 9.864
23.9833 | -0.7834 | 9.8531
24 | -0.78444 | 9.855
24.0167 | -0.78405 | 9.8627
24.0333 | -0.78563 | 9.8603
24.05 | -0.78582 | 9.8522
24.0667 | -0.78494 | 9.8483
24.0833 | -0.78482 | 9.847
24.1 | -0.78443 | 9.8402
24.1167 | -0.78369 | 9.84
24.1333 | -0.78441 | 9.8338
24.15 | -0.78654 | 9.8362
24.1667 | -0.78851 | 9.8351
24.1833 | -0.78971 | 9.8396
24.2 | -0.78801 | 9.8356
24.2167 | -0.78579 | 9.836
24.2333 | -0.78523 | 9.8328
24.25 | -0.78562 | 9.8335
24.2667 | -0.78593 | 9.8331
24.2833 | -0.78713 | 9.8237
24.3 | -0.78887 | 9.8301
24.3167 | -0.78885 | 9.8429
24.3333 | -0.78839 | 9.8388
24.35 | -0.78952 | 9.8415
24.3667 | -0.79147 | 9.8441
24.3833 | -0.79188 | 9.8501
24.4 | -0.79068 | 9.8472
24.4167 | -0.7902 | 9.8504
24.4333 | -0.79147 | 9.851
24.45 | -0.79212 | 9.8551
24.4667 | -0.79311 | 9.8566
24.4833 | -0.79485 | 9.8507
24.5 | -0.7943 | 9.8478
24.5167 | -0.79329 | 9.8411
24.5333 | -0.7929 | 9.8467
24.55 | -0.79272 | 9.8447
24.5667 | -0.79405 | 9.8461
24.5833 | -0.79449 | 9.8548
24.6 | -0.79435 | 9.8512
24.6167 | -0.79533 | 9.8518
24.6333 | -0.7956 | 9.8483
24.65 | -0.79643 | 9.8484
24.6667 | -0.79762 | 9.8493
24.6833 | -0.79932 | 9.8377
24.7 | -0.80054 | 9.8383
24.7167 | -0.79984 | 9.8382
24.7333 | -0.79879 | 9.8386
24.75 | -0.79937 | 9.8399
24.7667 | -0.80143 | 9.8391
24.7833 | -0.80138 | 9.8307
24.8 | -0.80089 | 9.8312
24.8167 | -0.80108 | 9.8338
24.8333 | -0.80102 | 9.8251
24.85 | -0.80169 | 9.8249
24.8667 | -0.80267 | 9.8261
24.8833 | -0.80474 | 9.8209
24.9 | -0.80541 | 9.8248
24.9167 | -0.80431 | 9.8258
24.9333 | -0.8037 | 9.8306
24.95 | -0.80366 | 9.8301
24.9667 | -0.80292 | 9.8307
24.9833 | -0.8027 | 9.8318
25 | -0.80447 | 9.8342
25.0167 | -0.806 | 9.8365
25.0333 | -0.80573 | 9.8321
25.05 | -0.80526 | 9.835
25.0667 | -0.80532 | 9.8269
25.0833 | -0.80564 | 9.8214
25.1 | -0.80713 | 9.8209
25.1167 | -0.80832 | 9.8202
25.1333 | -0.80908 | 9.8232
25.15 | -0.80958 | 9.8226
25.1667 | -0.80897 | 9.8176
25.1833 | -0.80912 | 9.8185
25.2 | -0.80906 | 9.8211
25.2167 | -0.80978 | 9.824
25.2333 | -0.81093 | 9.8248
25.25 | -0.81216 | 9.8281
25.2667 | -0.81332 | 9.8219
25.2833 | -0.81338 | 9.8219
25.3 | -0.81355 | 9.8222
25.3167 | -0.81506 | 9.8267
25.3333 | -0.81564 | 9.829
25.35 | -0.81587 | 9.8277
25.3667 | -0.81691 | 9.8235
25.3833 | -0.81652 | 9.8212
25.4 | -0.81583 | 9.8219
25.4167 | -0.81536 | 9.824
25.4333 | -0.81525 | 9.829
25.45 | -0.81574 | 9.8281
25.4667 | -0.81455 | 9.8331
25.4833 | -0.81331 | 9.8283
25.5 | -0.81483 | 9.8296
25.5167 | -0.81768 | 9.8208
25.5333 | -0.81898 | 9.8284
25.55 | -0.81834 | 9.8244
25.5667 | -0.81822 | 9.8335
25.5833 | -0.81713 | 9.835
25.6 | -0.81684 | 9.8391
25.6167 | -0.81757 | 9.8359
25.6333 | -0.81802 | 9.8426
25.65 | -0.81974 | 9.8431
25.6667 | -0.8211 | 9.8428
25.6833 | -0.82077 | 9.8437
25.7 | -0.82195 | 9.8481
25.7167 | -0.82317 | 9.8403
25.7333 | -0.82194 | 9.8316
25.75 | -0.82299 | 9.8385
25.7667 | -0.8252 | 9.8444
25.7833 | -0.82442 | 9.8443
25.8 | -0.82375 | 9.8481
25.8167 | -0.82567 | 9.8508
25.8333 | -0.82725 | 9.8544
25.85 | -0.82649 | 9.8568
25.8667 | -0.82562 | 9.8508
25.8833 | -0.82462 | 9.8539
25.9 | -0.82457 | 9.855
25.9167 | -0.82655 | 9.8504
25.9333 | -0.82723 | 9.8391
25.95 | -0.82612 | 9.8354
25.9667 | -0.82605 | 9.8302
25.9833 | -0.8263 | 9.837
26 | -0.82564 | 9.8446
26.0167 | -0.82504 | 9.8385
26.0333 | -0.82563 | 9.8261
26.05 | -0.8254 | 9.8254
26.0667 | -0.82595 | 9.8234
26.0833 | -0.82705 | 9.8306
26.1 | -0.82872 | 9.8284
26.1167 | -0.829 | 9.8293
26.1333 | -0.82911 | 9.8341
26.15 | -0.82949 | 9.8357
26.1667 | -0.82871 | 9.8382
26.1833 | -0.82852 | 9.8344
26.2 | -0.82836 | 9.8309
26.2167 | -0.8297 | 9.8246
26.2333 | -0.83169 | 9.8307
26.25 | -0.83242 | 9.8193
26.2667 | -0.83302 | 9.8202
26.2833 | -0.8348 | 9.8173
26.3 | -0.83541 | 9.8244
26.3167 | -0.83387 | 9.8212
26.3333 | -0.83182 | 9.8254
26.35 | -0.831 | 9.8205
26.3667 | -0.83216 | 9.8219
26.3833 | -0.83381 | 9.8225
26.4 | -0.83374 | 9.8222
26.4167 | -0.83289 | 9.8161
26.4333 | -0.83264 | 9.8142
26.45 | -0.83227 | 9.8118
26.4667 | -0.83208 | 9.8116
26.4833 | -0.83202 | 9.8119
26.5 | -0.83273 | 9.809
26.5167 | -0.83419 | 9.8051
26.5333 | -0.83547 | 9.8025
26.55 | -0.83709 | 9.8034
26.5667 | -0.83916 | 9.8086
26.5833 | -0.83977 | 9.8054
26.6 | -0.83955 | 9.7996
26.6167 | -0.8385 | 9.8005
26.6333 | -0.83699 | 9.7977
26.65 | -0.83727 | 9.7965
26.6667 | -0.83796 | 9.7904
26.6833 | -0.83858 | 9.7895
26.7 | -0.84003 | 9.8011
26.7167 | -0.8416 | 9.8093
26.7333 | -0.8434 | 9.8164
26.75 | -0.84505 | 9.8215
26.7667 | -0.84391 | 9.8051
26.7833 | -0.84096 | 9.8054
26.8 | -0.84096 | 9.8051
26.8167 | -0.84247 | 9.8052
26.8333 | -0.84023 | 9.8023
26.85 | -0.83926 | 9.8058
26.8667 | -0.84274 | 9.8101
26.8833 | -0.84568 | 9.811
26.9 | -0.84494 | 9.8078
26.9167 | -0.84319 | 9.811
26.9333 | -0.84183 | 9.8081
26.95 | -0.84303 | 9.81
26.9667 | -0.84554 | 9.8096
26.9833 | -0.84544 | 9.8086
27 | -0.84447 | 9.8153
27.0167 | -0.84433 | 9.8115
27.0333 | -0.84787 | 9.8168
27.05 | -0.85324 | 9.8205
27.0667 | -0.85554 | 9.8188
27.0833 | -0.85512 | 9.8214
27.1 | -0.8542 | 9.8191
27.1167 | -0.85271 | 9.8186
27.1333 | -0.85183 | 9.8199
27.15 | -0.85168 | 9.8176
27.1667 | -0.8524 | 9.8196
27.1833 | -0.85329 | 9.8132
27.2 | -0.85277 | 9.8158
27.2167 | -0.85152 | 9.8205
27.2333 | -0.8514 | 9.8258
27.25 | -0.85258 | 9.8225
27.2667 | -0.853 | 9.8231
27.2833 | -0.85365 | 9.817
27.3 | -0.8552 | 9.8183
27.3167 | -0.85554 | 9.8142
27.3333 | -0.85503 | 9.8177
27.35 | -0.85531 | 9.8136
27.3667 | -0.85508 | 9.8226
27.3833 | -0.85498 | 9.8258
27.4 | -0.85612 | 9.8336
27.4167 | -0.85617 | 9.8261
27.4333 | -0.85616 | 9.8261
27.45 | -0.85594 | 9.8229
27.4667 | -0.85647 | 9.8228
27.4833 | -0.85635 | 9.8223
27.5 | -0.85626 | 9.8229
27.5167 | -0.85761 | 9.8252
27.5333 | -0.85621 | 9.824
27.55 | -0.85502 | 9.8197
27.5667 | -0.85426 | 9.8104
27.5833 | -0.85597 | 9.8151
27.6 | -0.85882 | 9.8159
27.6167 | -0.85997 | 9.818
27.6333 | -0.86147 | 9.8167
27.65 | -0.86167 | 9.8208
27.6667 | -0.86136 | 9.8255
27.6833 | -0.86146 | 9.8344
27.7 | -0.86138 | 9.8362
27.7167 | -0.85991 | 9.8444
27.7333 | -0.85876 | 9.8396
27.75 | -0.85866 | 9.8449
27.7667 | -0.8595 | 9.8505
27.7833 | -0.86225 | 9.851
27.8 | -0.86435 | 9.8521
27.8167 | -0.86376 | 9.8493
27.8333 | -0.86213 | 9.8449
27.85 | -0.86219 | 9.8441
27.8667 | -0.86272 | 9.8417
27.8833 | -0.86261 | 9.8399
27.9 | -0.86476 | 9.8484
27.9167 | -0.86717 | 9.8489
27.9333 | -0.86756 | 9.8463
27.95 | -0.86665 | 9.8438
27.9667 | -0.86595 | 9.8478
27.9833 | -0.86567 | 9.8455
28 | -0.8652 | 9.8475
28.0167 | -0.86656 | 9.8461
28.0333 | -0.86735 | 9.8531
28.05 | -0.86866 | 9.851
28.0667 | -0.87037 | 9.8548
28.0833 | -0.86836 | 9.8548
28.1 | -0.86954 | 9.8556
28.1167 | -0.87208 | 9.8492
28.1333 | -0.86981 | 9.8524
28.15 | -0.86782 | 9.8496
28.1667 | -0.86791 | 9.8455
28.1833 | -0.86974 | 9.8356
28.2 | -0.87124 | 9.8399
28.2167 | -0.87056 | 9.8367
28.2333 | -0.87129 | 9.8354
28.25 | -0.87361 | 9.8289
28.2667 | -0.87374 | 9.8254
28.2833 | -0.87292 | 9.8275
28.3 | -0.87329 | 9.8252
28.3167 | -0.87347 | 9.8185
28.3333 | -0.87272 | 9.8179
28.35 | -0.87277 | 9.8153
28.3667 | -0.87553 | 9.8145
28.3833 | -0.87728 | 9.8142
28.4 | -0.87597 | 9.8145
28.4167 | -0.87525 | 9.8043
28.4333 | -0.87484 | 9.7985
28.45 | -0.87484 | 9.8006
28.4667 | -0.876 | 9.8028
28.4833 | -0.8772 | 9.7982
28.5 | -0.87766 | 9.7977
28.5167 | -0.87596 | 9.7981
28.5333 | -0.87487 | 9.7961
28.55 | -0.87794 | 9.7955
28.5667 | -0.87995 | 9.797
28.5833 | -0.87924 | 9.8096
28.6 | -0.87998 | 9.8034
28.6167 | -0.87868 | 9.8075
28.6333 | -0.87588 | 9.8042
28.65 | -0.87492 | 9.8084
28.6667 | -0.87602 | 9.8069
28.6833 | -0.8782 | 9.8174
28.7 | -0.88036 | 9.8159
28.7167 | -0.88194 | 9.8121
28.7333 | -0.88124 | 9.8145
28.75 | -0.87985 | 9.8115
28.7667 | -0.88019 | 9.8028
28.7833 | -0.88018 | 9.7993
28.8 | -0.8798 | 9.7982
28.8167 | -0.88105 | 9.8057
28.8333 | -0.88152 | 9.8029
28.85 | -0.88042 | 9.8026
28.8667 | -0.87965 | 9.8087
28.8833 | -0.87971 | 9.8045
28.9 | -0.8796 | 9.8077
28.9167 | -0.8795 | 9.811
28.9333 | -0.88081 | 9.8109
28.95 | -0.8837 | 9.809
28.9667 | -0.88412 | 9.8043
28.9833 | -0.88353 | 9.7984
29 | -0.88502 | 9.7976
29.0167 | -0.88451 | 9.7947
29.0333 | -0.88343 | 9.7984
29.05 | -0.88534 | 9.7977
29.0667 | -0.88731 | 9.8045
29.0833 | -0.88826 | 9.7971
29.1 | -0.88839 | 9.7982
29.1167 | -0.88928 | 9.7994
29.1333 | -0.89035 | 9.8054
29.15 | -0.88969 | 9.8103
29.1667 | -0.88799 | 9.8078
29.1833 | -0.88809 | 9.8086
29.2 | -0.88961 | 9.8112
29.2167 | -0.89134 | 9.811
29.2333 | -0.8928 | 9.8151
29.25 | -0.89211 | 9.8231
29.2667 | -0.89178 | 9.8244
29.2833 | -0.89421 | 9.8215
29.3 | -0.89422 | 9.8154
29.3167 | -0.89291 | 9.8177
29.3333 | -0.89229 | 9.8226
29.35 | -0.89084 | 9.8261
29.3667 | -0.89188 | 9.8251
29.3833 | -0.89463 | 9.8292
29.4 | -0.89496 | 9.8295
29.4167 | -0.89382 | 9.8345
29.4333 | -0.89318 | 9.8321
29.45 | -0.89365 | 9.8405
29.4667 | -0.89528 | 9.8386
29.4833 | -0.89653 | 9.8298
29.5 | -0.89736 | 9.8287
29.5167 | -0.89753 | 9.8324
29.5333 | -0.89789 | 9.8281
29.55 | -0.89949 | 9.8299
29.5667 | -0.90184 | 9.819
29.5833 | -0.90201 | 9.8196
29.6 | -0.90075 | 9.8219
29.6167 | -0.90221 | 9.8142
29.6333 | -0.90359 | 9.8051
29.65 | -0.90077 | 9.7994
29.6667 | -0.89899 | 9.8081
29.6833 | -0.90093 | 9.8101
29.7 | -0.90378 | 9.8154
29.7167 | -0.90478 | 9.8197
29.7333 | -0.90375 | 9.8212
29.75 | -0.90436 | 9.8188
29.7667 | -0.90537 | 9.8258
29.7833 | -0.9061 | 9.8244
29.8 | -0.90776 | 9.8215
29.8167 | -0.90811 | 9.82
29.8333 | -0.90775 | 9.8226
29.85 | -0.90928 | 9.8193
29.8667 | -0.91067 | 9.819
29.8833 | -0.91059 | 9.8177
29.9 | -0.9111 | 9.8156
29.9167 | -0.91276 | 9.8113
29.9333 | -0.91399 | 9.8153
29.95 | -0.91428 | 9.8182
29.9667 | -0.91403 | 9.8215
29.9833 | -0.91396 | 9.8205
30 | -0.91205 | 9.8188
30.0167 | -0.90849

## MW Results
Administrative Information
File name | ICF_23_05_2022-0001.sample
Analysed by | Agilent GPC 1
Date of analysis | 25 May 2022 15:41:28
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 70200 | 43602 | 56801 | 68205 | 77542 | 55001 | 1.3027
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 9.8667 | 13.0833
Baseline region 2 | 25.95 | 29.15
Peaks | Start (mins) | End (mins)
Peak 1 | 13.9833 | 16.1167
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 14.5167 | 635.402 | 20.1962
| RI | 14.6167 | 96.3472 | 2.1562
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.3 | 20.0833
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 25 May 2022 15:41:28
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.65
FRCF | 0.99406
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
13.9833 | 0.6149 | 0.035019 | 0.037736 | 0.00036323 | 1 | 161482 | 5.2081 | 0.040465 | No | 1
14 | 0.70381 | 0.040453 | 0.042483 | 0.00041959 | 0.99961 | 157925 | 5.1985 | 0.045595 | No | 1
14.0167 | 0.79978 | 0.044513 | 0.044331 | 0.00046171 | 0.99917 | 154449 | 5.1888 | 0.047621 | No | 1
14.0333 | 0.90709 | 0.044149 | 0.047934 | 0.00045793 | 0.99871 | 151052 | 5.1791 | 0.051536 | No | 1
14.05 | 1.0298 | 0.051719 | 0.054741 | 0.00053644 | 0.99821 | 147733 | 5.1695 | 0.058906 | No | 1
14.0667 | 1.1687 | 0.057763 | 0.062234 | 0.00059913 | 0.99764 | 144489 | 5.1598 | 0.067029 | No | 1
14.0833 | 1.3283 | 0.066706 | 0.071635 | 0.00069189 | 0.997 | 141320 | 5.1502 | 0.077222 | No | 1
14.1 | 1.514 | 0.076564 | 0.08424 | 0.00079415 | 0.99625 | 138223 | 5.1406 | 0.09089 | No | 1
14.1167 | 1.7278 | 0.091916 | 0.097532 | 0.00095339 | 0.99538 | 135196 | 5.131 | 0.10532 | No | 1
14.1333 | 1.9776 | 0.10315 | 0.11067 | 0.0010699 | 0.99437 | 132238 | 5.1214 | 0.11962 | No | 1
14.15 | 2.2758 | 0.1182 | 0.12167 | 0.001226 | 0.99322 | 129347 | 5.1118 | 0.13162 | No | 1
14.1667 | 2.6291 | 0.12515 | 0.1368 | 0.0012981 | 0.99195 | 126522 | 5.1022 | 0.14811 | No | 1
14.1833 | 3.0464 | 0.14844 | 0.16222 | 0.0015397 | 0.99053 | 123761 | 5.0926 | 0.17579 | No | 1
14.2 | 3.5353 | 0.176 | 0.191 | 0.0018255 | 0.98885 | 121063 | 5.083 | 0.20716 | No | 1
14.2167 | 4.105 | 0.206 | 0.21726 | 0.0021367 | 0.98687 | 118426 | 5.0734 | 0.23585 | No | 1
14.2333 | 4.7643 | 0.22852 | 0.24322 | 0.0023703 | 0.98461 | 115848 | 5.0639 | 0.26426 | No | 1
14.25 | 5.5151 | 0.25791 | 0.27658 | 0.0026752 | 0.98209 | 113329 | 5.0543 | 0.30076 | No | 1
14.2667 | 6.3592 | 0.29524 | 0.32054 | 0.0030623 | 0.97922 | 110866 | 5.0448 | 0.34887 | No | 1
14.2833 | 7.2994 | 0.34584 | 0.37648 | 0.0035871 | 0.97589 | 108460 | 5.0353 | 0.41011 | No | 1
14.3 | 8.3296 | 0.40712 | 0.43768 | 0.0042228 | 0.97198 | 106107 | 5.0257 | 0.47719 | No | 1
14.3167 | 9.434 | 0.46825 | 0.50522 | 0.0048568 | 0.96744 | 103807 | 5.0162 | 0.55131 | No | 1
14.3333 | 10.5968 | 0.54219 | 0.58382 | 0.0056238 | 0.9622 | 101560 | 5.0067 | 0.63763 | No | 1
14.35 | 11.8036 | 0.62545 | 0.67554 | 0.0064873 | 0.95614 | 99362 | 4.9972 | 0.73844 | No | 1
14.3667 | 13.0295 | 0.72564 | 0.78046 | 0.0075265 | 0.94913 | 97215 | 4.9877 | 0.85387 | No | 1
14.3833 | 14.2427 | 0.83529 | 0.89233 | 0.0086639 | 0.94103 | 95115 | 4.9782 | 0.97709 | No | 1
14.4 | 15.4153 | 0.94936 | 1.0072 | 0.0098471 | 0.93176 | 93062 | 4.9688 | 1.1039 | No | 1
14.4167 | 16.5152 | 1.0651 | 1.1318 | 0.011048 | 0.92131 | 91056 | 4.9593 | 1.2415 | No | 1
14.4333 | 17.5123 | 1.1986 | 1.264 | 0.012432 | 0.90956 | 89094 | 4.9498 | 1.3877 | No | 1
14.45 | 18.3824 | 1.3294 | 1.3978 | 0.013789 | 0.89644 | 87176 | 4.9404 | 1.5359 | No | 1
14.4667 | 19.1011 | 1.4662 | 1.5289 | 0.015208 | 0.88193 | 85301 | 4.931 | 1.6814 | No | 1
14.4833 | 19.6514 | 1.5916 | 1.6532 | 0.016509 | 0.86607 | 83468 | 4.9215 | 1.8196 | No | 1
14.5 | 20.0194 | 1.7148 | 1.7685 | 0.017787 | 0.84891 | 81676 | 4.9121 | 1.9482 | No | 1
14.5167 | 20.1962 | 1.8222 | 1.8728 | 0.018901 | 0.83055 | 79924 | 4.9027 | 2.0648 | No | 1
14.5333 | 20.1854 | 1.9233 | 1.9647 | 0.019949 | 0.81111 | 78211 | 4.8933 | 2.168 | No | 1
14.55 | 19.996 | 2.0061 | 2.0393 | 0.020808 | 0.79072 | 76536 | 4.8839 | 2.2522 | No | 1
14.5667 | 19.6408 | 2.0724 | 2.0943 | 0.021496 | 0.76956 | 74899 | 4.8745 | 2.3149 | No | 1
14.5833 | 19.137 | 2.1162 | 2.1329 | 0.02195 | 0.74782 | 73297 | 4.8651 | 2.3596 | No | 1
14.6 | 18.5041 | 2.1497 | 2.1529 | 0.022297 | 0.72568 | 71731 | 4.8557 | 2.3838 | No | 1
14.6167 | 17.7651 | 2.1562 | 2.1499 | 0.022365 | 0.70333 | 70200 | 4.8463 | 2.3825 | No | 1
14.6333 | 16.9454 | 2.1436 | 2.1304 | 0.022234 | 0.68102 | 68703 | 4.837 | 2.3628 | No | 1
14.65 | 16.0685 | 2.1171 | 2.0963 | 0.02196 | 0.65891 | 67239 | 4.8276 | 2.327 | No | 1
14.6667 | 15.1611 | 2.0754 | 2.0485 | 0.021527 | 0.63715 | 65808 | 4.8183 | 2.2758 | No | 1
14.6833 | 14.2415 | 2.0215 | 1.9883 | 0.020968 | 0.61589 | 64408 | 4.8089 | 2.2109 | No | 1
14.7 | 13.3241 | 1.9551 | 1.9174 | 0.020279 | 0.59525 | 63039 | 4.7996 | 2.1339 | No | 1
14.7167 | 12.4235 | 1.8798 | 1.841 | 0.019498 | 0.57535 | 61700 | 4.7903 | 2.0505 | No | 1
14.7333 | 11.5547 | 1.8022 | 1.7656 | 0.018693 | 0.55624 | 60391 | 4.781 | 1.9683 | No | 1
14.75 | 10.7297 | 1.7291 | 1.6904 | 0.017934 | 0.53792 | 59111 | 4.7717 | 1.886 | No | 1
14.7667 | 9.9504 | 1.6518 | 1.6084 | 0.017133 | 0.52037 | 57858 | 4.7624 | 1.796 | No | 1
14.7833 | 9.2185 | 1.5651 | 1.526 | 0.016233 | 0.50368 | 56634 | 4.7531 | 1.7054 | No | 1
14.8 | 8.5366 | 1.4869 | 1.4482 | 0.015422 | 0.48784 | 55436 | 4.7438 | 1.6198 | No | 1
14.8167 | 7.9077 | 1.4095 | 1.3728 | 0.014619 | 0.47281 | 54265 | 4.7345 | 1.5368 | No | 1
14.8333 | 7.3321 | 1.3362 | 1.3078 | 0.013859 | 0.45856 | 53119 | 4.7252 | 1.4653 | No | 1
14.85 | 6.8042 | 1.2795 | 1.2508 | 0.013271 | 0.44499 | 51998 | 4.716 | 1.4025 | No | 1
14.8667 | 6.3211 | 1.2221 | 1.2007 | 0.012676 | 0.43201 | 50902 | 4.7067 | 1.3474 | No | 1
14.8833 | 5.8828 | 1.1793 | 1.1572 | 0.012232 | 0.41954 | 49830 | 4.6975 | 1.2997 | No | 1
14.9 | 5.4827 | 1.1351 | 1.1214 | 0.011774 | 0.40753 | 48781 | 4.6883 | 1.2606 | No | 1
14.9167 | 5.1157 | 1.1077 | 1.0905 | 0.01149 | 0.39589 | 47756 | 4.679 | 1.2269 | No | 1
14.9333 | 4.7813 | 1.0733 | 1.0606 | 0.011133 | 0.38458 | 46752 | 4.6698 | 1.1943 | No | 1
14.95 | 4.476 | 1.048 | 1.0388 | 0.01087 | 0.37357 | 45771 | 4.6606 | 1.1707 | No | 1
14.9667 | 4.1938 | 1.0297 | 1.0209 | 0.010681 | 0.36279 | 44811 | 4.6514 | 1.1515 | No | 1
14.9833 | 3.933 | 1.0121 | 1.0071 | 0.010498 | 0.35219 | 43872 | 4.6422 | 1.1369 | No | 1
15 | 3.6918 | 1.0022 | 0.99793 | 0.010395 | 0.34174 | 42953 | 4.633 | 1.1274 | No | 1
15.0167 | 3.4679 | 0.9937 | 0.99298 | 0.010307 | 0.33138 | 42054 | 4.6238 | 1.1227 | No | 1
15.0333 | 3.2591 | 0.99227 | 0.99094 | 0.010292 | 0.32107 | 41175 | 4.6146 | 1.1213 | No | 1
15.05 | 3.0622 | 0.98961 | 0.9863 | 0.010265 | 0.31079 | 40315 | 4.6055 | 1.117 | No | 1
15.0667 | 2.8763 | 0.98299 | 0.97976 | 0.010196 | 0.30055 | 39474 | 4.5963 | 1.1105 | No | 1
15.0833 | 2.7015 | 0.97653 | 0.97154 | 0.010129 | 0.29038 | 38650 | 4.5871 | 1.1021 | No | 1
15.1 | 2.535 | 0.96655 | 0.96171 | 0.010025 | 0.2803 | 37845 | 4.578 | 1.0919 | No | 1
15.1167 | 2.3759 | 0.95688 | 0.94975 | 0.009925 | 0.27032 | 37057 | 4.5689 | 1.0792 | No | 1
15.1333 | 2.2246 | 0.94263 | 0.94031 | 0.0097772 | 0.26046 | 36286 | 4.5597 | 1.0693 | No | 1
15.15 | 2.0807 | 0.93799 | 0.9333 | 0.0097291 | 0.2507 | 35532 | 4.5506 | 1.0622 | No | 1
15.1667 | 1.9438 | 0.92862 | 0.92005 | 0.009632 | 0.24101 | 34794 | 4.5415 | 1.048 | No | 1
15.1833 | 1.8126 | 0.91147 | 0.90305 | 0.0094541 | 0.23146 | 34071 | 4.5324 | 1.0294 | No | 1
15.2 | 1.6862 | 0.89463 | 0.88666 | 0.0092794 | 0.22209 | 33365 | 4.5233 | 1.0116 | No | 1
15.2167 | 1.5673 | 0.8787 | 0.8715 | 0.0091142 | 0.21289 | 32673 | 4.5142 | 0.99509 | No | 1
15.2333 | 1.4556 | 0.8643 | 0.85305 | 0.0089648 | 0.20384 | 31997 | 4.5051 | 0.97482 | No | 1
15.25 | 1.3491 | 0.84181 | 0.83384 | 0.0087315 | 0.19499 | 31335 | 4.496 | 0.95364 | No | 1
15.2667 | 1.2471 | 0.82588 | 0.81494 | 0.0085663 | 0.18633 | 30687 | 4.487 | 0.93278 | No | 1
15.2833 | 1.1509 | 0.804 | 0.79382 | 0.0083393 | 0.17787 | 30053 | 4.4779 | 0.90934 | No | 1
15.3 | 1.0622 | 0.78364 | 0.77156 | 0.0081282 | 0.16963 | 29433 | 4.4688 | 0.88456 | No | 1
15.3167 | 0.97994 | 0.75948 | 0.74548 | 0.0078775 | 0.16163 | 28826 | 4.4598 | 0.85535 | No | 1
15.3333 | 0.90402 | 0.73149 | 0.71498 | 0.0075873 | 0.15389 | 28232 | 4.4507 | 0.82102 | No | 1
15.35 | 0.83362 | 0.69847 | 0.6902 | 0.0072448 | 0.14647 | 27651 | 4.4417 | 0.7932 | No | 1
15.3667 | 0.76818 | 0.68193 | 0.66726 | 0.0070733 | 0.1393 | 27082 | 4.4327 | 0.76744 | No | 1
15.3833 | 0.70634 | 0.65258 | 0.64469 | 0.0067688 | 0.13238 | 26525 | 4.4237 | 0.74208 | No | 1
15.4 | 0.64867 | 0.6368 | 0.61663 | 0.0066051 | 0.12569 | 25981 | 4.4147 | 0.71035 | No | 1
15.4167 | 0.59541 | 0.59646 | 0.58422 | 0.0061867 | 0.11929 | 25447 | 4.4056 | 0.67356 | No | 1
15.4333 | 0.54612 | 0.57199 | 0.55777 | 0.0059328 | 0.11322 | 24925 | 4.3966 | 0.64357 | No | 1
15.45 | 0.50192 | 0.54355 | 0.5339 | 0.0056378 | 0.10743 | 24415 | 4.3877 | 0.61653 | No | 1
15.4667 | 0.46295 | 0.52426 | 0.5095 | 0.0054378 | 0.10189 | 23915 | 4.3787 | 0.58882 | No | 1
15.4833 | 0.42723 | 0.49475 | 0.48373 | 0.0051317 | 0.096605 | 23426 | 4.3697 | 0.55949 | No | 1
15.5 | 0.39416 | 0.47272 | 0.4588 | 0.0049032 | 0.091584 | 22947 | 4.3607 | 0.53107 | No | 1
15.5167 | 0.36316 | 0.44489 | 0.43921 | 0.0046145 | 0.086822 | 22478 | 4.3518 | 0.5088 | No | 1
15.5333 | 0.33415 | 0.43354 | 0.42359 | 0.0044968 | 0.082264 | 22019 | 4.3428 | 0.49109 | No | 1
15.55 | 0.31036 | 0.41364 | 0.40308 | 0.0042904 | 0.077867 | 21570 | 4.3339 | 0.46768 | No | 1
15.5667 | 0.28992 | 0.39252 | 0.38525 | 0.0040714 | 0.073684 | 21130 | 4.3249 | 0.44734 | No | 1
15.5833 | 0.26947 | 0.37797 | 0.37168 | 0.0039204 | 0.069685 | 20700 | 4.316 | 0.43193 | No | 1
15.6 | 0.24973 | 0.3654 | 0.35743 | 0.00379 | 0.065827 | 20279 | 4.307 | 0.4157 | No | 1
15.6167 | 0.23218 | 0.34947 | 0.34341 | 0.0036248 | 0.062117 | 19867 | 4.2981 | 0.39971 | No | 1
15.6333 | 0.21658 | 0.33735 | 0.33244 | 0.0034992 | 0.058553 | 19463 | 4.2892 | 0.38724 | No | 1
15.65 | 0.20183 | 0.32753 | 0.31804 | 0.0033972 | 0.055103 | 19068 | 4.2803 | 0.37076 | No | 1
15.6667 | 0.18914 | 0.30855 | 0.30165 | 0.0032004 | 0.051802 | 18681 | 4.2714 | 0.35193 | No | 1
15.6833 | 0.17738 | 0.29476 | 0.28748 | 0.0030573 | 0.048671 | 18303 | 4.2625 | 0.33566 | No | 1
15.7 | 0.16622 | 0.2802 | 0.27529 | 0.0029063 | 0.045687 | 17932 | 4.2536 | 0.32167 | No | 1
15.7167 | 0.1564 | 0.27038 | 0.26729 | 0.0028044 | 0.04283 | 17569 | 4.2447 | 0.31258 | No | 1
15.7333 | 0.14672 | 0.26421 | 0.26006 | 0.0027405 | 0.040055 | 17214 | 4.2359 | 0.30436 | No | 1
15.75 | 0.13727 | 0.25591 | 0.24757 | 0.0026544 | 0.037356 | 16866 | 4.227 | 0.28996 | No | 1
15.7667 | 0.13031 | 0.23922 | 0.23759 | 0.0024813 | 0.034787 | 16525 | 4.2181 | 0.27849 | No | 1
15.7833 | 0.1252 | 0.23596 | 0.23021 | 0.0024474 | 0.032321 | 16192 | 4.2093 | 0.27004 | No | 1
15.8 | 0.12014 | 0.22445 | 0.22099 | 0.0023281 | 0.029931 | 15866 | 4.2005 | 0.25943 | No | 1
15.8167 | 0.113 | 0.21753 | 0.20697 | 0.0022563 | 0.027638 | 15546 | 4.1916 | 0.24316 | No | 1
15.8333 | 0.10491 | 0.19641 | 0.19783 | 0.0020373 | 0.02549 | 15233 | 4.1828 | 0.2326 | No | 1
15.85 | 0.10036 | 0.19925 | 0.19518 | 0.0020667 | 0.023436 | 14927 | 4.174 | 0.22966 | No | 1
15.8667 | 0.097521 | 0.1911 | 0.18886 | 0.0019822 | 0.02141 | 14627 | 4.1652 | 0.2224 | No | 1
15.8833 | 0.093907 | 0.18662 | 0.17919 | 0.0019357 | 0.01945 | 14333 | 4.1563 | 0.21117 | No | 1
15.9 | 0.090761 | 0.17176 | 0.1654 | 0.0017816 | 0.01759 | 14045 | 4.1475 | 0.19507 | No | 1
15.9167 | 0.087057 | 0.15904 | 0.1555 | 0.0016496 | 0.015874 | 13764 | 4.1387 | 0.18353 | No | 1
15.9333 | 0.081597 | 0.15196 | 0.15124 | 0.0015761 | 0.01426 | 13488 | 4.1299 | 0.17864 | No | 1
15.95 | 0.076794 | 0.15052 | 0.14859 | 0.0015613 | 0.01269 | 13218 | 4.1212 | 0.17564 | No | 1
15.9667 | 0.072407 | 0.14665 | 0.14677 | 0.0015211 | 0.011148 | 12953 | 4.1124 | 0.17363 | No | 1
15.9833 | 0.069552 | 0.1469 | 0.14313 | 0.0015236 | 0.0096244 | 12694 | 4.1036 | 0.16945 | No | 1
16 | 0.067018 | 0.13936 | 0.13208 | 0.0014455 | 0.0081389 | 12441 | 4.0949 | 0.15649 | No | 1
16.0167 | 0.062659 | 0.1248 | 0.12279 | 0.0012945 | 0.006768 | 12192 | 4.0861 | 0.14559 | No | 1
16.0333 | 0.059811 | 0.12078 | 0.11739 | 0.0012527 | 0.0054936 | 11949 | 4.0773 | 0.13929 | No | 1
16.05 | 0.060343 | 0.114 | 0.11161 | 0.0011825 | 0.0042751 | 11711 | 4.0686 | 0.13253 | No | 1
16.0667 | 0.059233 | 0.10921 | 0.10606 | 0.0011328 | 0.0031167 | 11478 | 4.0599 | 0.12603 | No | 1
16.0833 | 0.055398 | 0.1029 | 0.10005 | 0.0010673 | 0.002016 | 11249 | 4.0511 | 0.11898 | No | 1
16.1 | 0.052656 | 0.097193 | 0.094188 | 0.0010081 | 0.00097759 | 11026 | 4.0424 | 0.1121 | No | 1
16.1167 | 0.052266 | 0.091183 | 0 | 0.00094578 | 0 | 10807 | 4.0337 | 0 | No | 1