## Sample Details
Administrative Information
Export date | 25 May 2022 15:44:04
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0010.sample
Creation date | 25 May 2022 14:07:45
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t1=15 min
Information
Sample type | Sample
Injection date | 25 May 2022
Vial number | P2-A-11
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | 0.021113 | 10.0241
0.016667 | 0.015021 | 10.0307
0.033333 | 0.014598 | 9.9813
0.05 | 0.021281 | 9.7506
0.066667 | 0.031328 | 9.7416
0.083333 | 0.038716 | 9.788
0.1 | 0.037819 | 9.8447
0.11667 | 0.033086 | 9.9
0.13333 | 0.029692 | 9.9415
0.15 | 0.027313 | 9.9689
0.16667 | 0.025804 | 9.9769
0.18333 | 0.025177 | 9.9889
0.2 | 0.024538 | 9.9937
0.21667 | 0.02503 | 10.008
0.23333 | 0.025765 | 10.0202
0.25 | 0.02579 | 10.03
0.26667 | 0.024737 | 10.0294
0.28333 | 0.022653 | 10.0367
0.3 | 0.022511 | 10.0307
0.31667 | 0.022441 | 10.0375
0.33333 | 0.020841 | 10.0396
0.35 | 0.019802 | 10.0375
0.36667 | 0.019457 | 10.0384
0.38333 | 0.021239 | 10.0317
0.4 | 0.024439 | 10.0318
0.41667 | 0.02525 | 10.0259
0.43333 | 0.022356 | 10.0239
0.45 | 0.020366 | 10.0243
0.46667 | 0.021568 | 10.0266
0.48333 | 0.022201 | 10.0167
0.5 | 0.021832 | 10.0159
0.51667 | 0.022378 | 10.0179
0.53333 | 0.021885 | 10.0253
0.55 | 0.021854 | 10.0193
0.56667 | 0.021882 | 10.0292
0.58333 | 0.020344 | 10.0249
0.6 | 0.019207 | 10.0298
0.61667 | 0.018893 | 10.0292
0.63333 | 0.01949 | 10.0237
0.65 | 0.020763 | 10.0285
0.66667 | 0.0224 | 10.0289
0.68333 | 0.023586 | 10.0182
0.7 | 0.022746 | 10.0224
0.71667 | 0.021774 | 10.0211
0.73333 | 0.021346 | 10.0123
0.75 | 0.020124 | 10.0132
0.76667 | 0.019959 | 10.0114
0.78333 | 0.021565 | 10.0224
0.8 | 0.022482 | 10.0237
0.81667 | 0.021753 | 10.0301
0.83333 | 0.02074 | 10.0249
0.85 | 0.020399 | 10.0265
0.86667 | 0.021074 | 10.0224
0.88333 | 0.019665 | 10.0248
0.9 | 0.018075 | 10.0233
0.91667 | 0.020145 | 10.0216
0.93333 | 0.021332 | 10.0159
0.95 | 0.020221 | 10.0185
0.96667 | 0.019019 | 10.0193
0.98333 | 0.019397 | 10.0263
1 | 0.020555 | 10.0277
1.0167 | 0.02022 | 10.0266
1.0333 | 0.020559 | 10.0263
1.05 | 0.022702 | 10.0364
1.0667 | 0.021975 | 10.0318
1.0833 | 0.018786 | 10.034
1.1 | 0.019264 | 10.0317
1.1167 | 0.022475 | 10.0291
1.1333 | 0.023506 | 10.0307
1.15 | 0.023383 | 10.0336
1.1667 | 0.022548 | 10.0312
1.1833 | 0.020949 | 10.0315
1.2 | 0.02118 | 10.0251
1.2167 | 0.022192 | 10.0253
1.2333 | 0.02182 | 10.0228
1.25 | 0.020935 | 10.0224
1.2667 | 0.021071 | 10.0314
1.2833 | 0.022785 | 10.0292
1.3 | 0.022291 | 10.0311
1.3167 | 0.020746 | 10.0277
1.3333 | 0.021103 | 10.0321
1.35 | 0.02184 | 10.0356
1.3667 | 0.021991 | 10.0411
1.3833 | 0.021636 | 10.0382
1.4 | 0.020375 | 10.0347
1.4167 | 0.020361 | 10.0326
1.4333 | 0.022098 | 10.0294
1.45 | 0.023246 | 10.0254
1.4667 | 0.024051 | 10.0315
1.4833 | 0.023344 | 10.0358
1.5 | 0.022858 | 10.0384
1.5167 | 0.023671 | 10.0332
1.5333 | 0.02246 | 10.0272
1.55 | 0.021414 | 10.0262
1.5667 | 0.022252 | 10.0291
1.5833 | 0.023129 | 10.0318
1.6 | 0.023634 | 10.0251
1.6167 | 0.021675 | 10.0263
1.6333 | 0.019649 | 10.0219
1.65 | 0.021501 | 10.0251
1.6667 | 0.02549 | 10.0306
1.6833 | 0.027602 | 10.0297
1.7 | 0.026051 | 10.0253
1.7167 | 0.026333 | 10.0211
1.7333 | 0.027447 | 10.0176
1.75 | 0.027705 | 10.0251
1.7667 | 0.028789 | 10.0254
1.7833 | 0.028153 | 10.0289
1.8 | 0.02664 | 10.0298
1.8167 | 0.026007 | 10.0411
1.8333 | 0.025365 | 10.033
1.85 | 0.025767 | 10.0356
1.8667 | 0.027021 | 10.0295
1.8833 | 0.028416 | 10.0257
1.9 | 0.029776 | 10.0245
1.9167 | 0.028614 | 10.0301
1.9333 | 0.026013 | 10.0288
1.95 | 0.02496 | 10.033
1.9667 | 0.025373 | 10.0329
1.9833 | 0.026051 | 10.0353
2 | 0.026791 | 10.0301
2.0167 | 0.026481 | 10.0318
2.0333 | 0.026503 | 10.0278
2.05 | 0.027202 | 10.0289
2.0667 | 0.027417 | 10.0233
2.0833 | 0.027165 | 10.0164
2.1 | 0.025758 | 10.0172
2.1167 | 0.025006 | 10.0204
2.1333 | 0.024886 | 10.0135
2.15 | 0.025872 | 10.0098
2.1667 | 0.026048 | 10.0126
2.1833 | 0.025315 | 10.0182
2.2 | 0.025215 | 10.0231
2.2167 | 0.024694 | 10.0231
2.2333 | 0.024337 | 10.0301
2.25 | 0.024603 | 10.0282
2.2667 | 0.023771 | 10.0237
2.2833 | 0.023644 | 10.0132
2.3 | 0.024192 | 10.0202
2.3167 | 0.022944 | 10.023
2.3333 | 0.021607 | 10.0217
2.35 | 0.022121 | 10.0228
2.3667 | 0.022744 | 10.0234
2.3833 | 0.023489 | 10.0217
2.4 | 0.023514 | 10.0224
2.4167 | 0.02207 | 10.0228
2.4333 | 0.023541 | 10.0205
2.45 | 0.025923 | 10.0187
2.4667 | 0.02667 | 10.0163
2.4833 | 0.026207 | 10.0138
2.5 | 0.025067 | 10.0097
2.5167 | 0.025555 | 10.0094
2.5333 | 0.026456 | 10.0007
2.55 | 0.02471 | 10.0025
2.5667 | 0.022598 | 9.9957
2.5833 | 0.023365 | 9.9929
2.6 | 0.024849 | 9.9906
2.6167 | 0.02456 | 9.9946
2.6333 | 0.023997 | 9.9973
2.65 | 0.02477 | 9.997
2.6667 | 0.02352 | 10.0048
2.6833 | 0.022306 | 10.0091
2.7 | 0.022574 | 10.0063
2.7167 | 0.022614 | 10.005
2.7333 | 0.025455 | 10.004
2.75 | 0.027809 | 10.0092
2.7667 | 0.026516 | 10.0034
2.7833 | 0.025699 | 10.0034
2.8 | 0.027529 | 9.997
2.8167 | 0.028376 | 9.996
2.8333 | 0.028359 | 9.9969
2.85 | 0.027468 | 9.997
2.8667 | 0.027425 | 9.9891
2.8833 | 0.029341 | 9.9902
2.9 | 0.029871 | 9.9882
2.9167 | 0.027826 | 9.9848
2.9333 | 0.025184 | 9.9934
2.95 | 0.024213 | 9.9905
2.9667 | 0.025233 | 9.9944
2.9833 | 0.026936 | 9.9958
3 | 0.026228 | 10.0015
3.0167 | 0.024747 | 9.9961
3.0333 | 0.02449 | 10.0034
3.05 | 0.025306 | 9.9993
3.0667 | 0.027199 | 9.9946
3.0833 | 0.029183 | 9.9929
3.1 | 0.028483 | 10.0048
3.1167 | 0.025221 | 10.005
3.1333 | 0.025188 | 10.0048
3.15 | 0.026507 | 9.9944
3.1667 | 0.026625 | 9.9966
3.1833 | 0.025755 | 9.9979
3.2 | 0.02369 | 9.9969
3.2167 | 0.022251 | 10.0039
3.2333 | 0.022256 | 10.0033
3.25 | 0.022733 | 9.9969
3.2667 | 0.023586 | 9.9943
3.2833 | 0.025184 | 9.9966
3.3 | 0.025693 | 9.99
3.3167 | 0.025343 | 9.9906
3.3333 | 0.023661 | 9.9978
3.35 | 0.02217 | 10.0126
3.3667 | 0.021613 | 10.01
3.3833 | 0.021512 | 10.0124
3.4 | 0.02293 | 10.0066
3.4167 | 0.023834 | 10.0036
3.4333 | 0.023327 | 10.0045
3.45 | 0.022836 | 10.0109
3.4667 | 0.021723 | 10.0034
3.4833 | 0.022808 | 10.0108
3.5 | 0.025389 | 10.0076
3.5167 | 0.025247 | 10.0066
3.5333 | 0.022233 | 10.0019
3.55 | 0.021928 | 10.0112
3.5667 | 0.02423 | 10.0083
3.5833 | 0.025543 | 10.0021
3.6 | 0.024653 | 10.0027
3.6167 | 0.022732 | 10.003
3.6333 | 0.022751 | 9.9946
3.65 | 0.023366 | 9.9941
3.6667 | 0.023972 | 9.9941
3.6833 | 0.022811 | 10.0047
3.7 | 0.021334 | 10.0034
3.7167 | 0.023022 | 9.9998
3.7333 | 0.025583 | 10.0039
3.75 | 0.02629 | 10.0074
3.7667 | 0.025935 | 10.0097
3.7833 | 0.02428 | 10.0079
3.8 | 0.022401 | 10.0086
3.8167 | 0.022535 | 10.0085
3.8333 | 0.023579 | 10.0175
3.85 | 0.025768 | 10.0134
3.8667 | 0.028694 | 10.0204
3.8833 | 0.028939 | 10.0134
3.9 | 0.027233 | 10.0091
3.9167 | 0.025201 | 10.0047
3.9333 | 0.024255 | 10.0085
3.95 | 0.0247 | 10.0088
3.9667 | 0.024951 | 10.0103
3.9833 | 0.025893 | 10.0126
4 | 0.026544 | 10.0098
4.0167 | 0.027058 | 10.0103
4.0333 | 0.028613 | 10.0192
4.05 | 0.029883 | 10.0164
4.0667 | 0.028492 | 10.0178
4.0833 | 0.02579 | 10.0111
4.1 | 0.025461 | 10.0101
4.1167 | 0.027142 | 10.0092
4.1333 | 0.028538 | 10.0129
4.15 | 0.02837 | 10.0143
4.1667 | 0.027832 | 10.014
4.1833 | 0.028252 | 10.0132
4.2 | 0.029542 | 10.0082
4.2167 | 0.03108 | 10.0021
4.2333 | 0.031536 | 9.9999
4.25 | 0.029261 | 10.001
4.2667 | 0.026378 | 9.9984
4.2833 | 0.027913 | 9.9958
4.3 | 0.031213 | 10.0008
4.3167 | 0.031672 | 10.004
4.3333 | 0.031309 | 10.0005
4.35 | 0.031654 | 10.0011
4.3667 | 0.030557 | 9.9967
4.3833 | 0.028321 | 9.9978
4.4 | 0.028283 | 9.9975
4.4167 | 0.030093 | 9.9975
4.4333 | 0.030885 | 9.9882
4.45 | 0.030709 | 9.9874
4.4667 | 0.031552 | 9.9888
4.4833 | 0.032095 | 9.9918
4.5 | 0.030923 | 9.9982
4.5167 | 0.031409 | 9.9947
4.5333 | 0.032508 | 9.9894
4.55 | 0.032837 | 9.9917
4.5667 | 0.034319 | 9.9912
4.5833 | 0.035233 | 9.9978
4.6 | 0.033954 | 9.9958
4.6167 | 0.032864 | 9.9929
4.6333 | 0.034692 | 9.9889
4.65 | 0.037175 | 9.99
4.6667 | 0.036841 | 9.9917
4.6833 | 0.035281 | 9.9915
4.7 | 0.034515 | 9.9947
4.7167 | 0.033412 | 10.0005
4.7333 | 0.032636 | 9.9969
4.75 | 0.031987 | 9.9961
4.7667 | 0.030902 | 10.0002
4.7833 | 0.031936 | 9.9935
4.8 | 0.032515 | 9.988
4.8167 | 0.031282 | 9.9862
4.8333 | 0.030673 | 9.9926
4.85 | 0.030182 | 9.9859
4.8667 | 0.030273 | 9.985
4.8833 | 0.031577 | 9.9888
4.9 | 0.032433 | 9.9953
4.9167 | 0.031891 | 9.9837
4.9333 | 0.030794 | 9.9825
4.95 | 0.030079 | 9.9769
4.9667 | 0.030253 | 9.983
4.9833 | 0.031675 | 9.9837
5 | 0.03334 | 9.985
5.0167 | 0.031656 | 9.986
5.0333 | 0.030462 | 9.9873
5.05 | 0.03259 | 9.9923
5.0667 | 0.034056 | 9.9874
5.0833 | 0.034031 | 9.9802
5.1 | 0.03385 | 9.9781
5.1167 | 0.03494 | 9.992
5.1333 | 0.037086 | 9.9862
5.15 | 0.035901 | 9.9845
5.1667 | 0.032349 | 9.9816
5.1833 | 0.031603 | 9.9914
5.2 | 0.032965 | 9.9963
5.2167 | 0.033379 | 9.992
5.2333 | 0.034103 | 9.9908
5.25 | 0.037004 | 9.987
5.2667 | 0.039451 | 9.9889
5.2833 | 0.039618 | 9.999
5.3 | 0.037663 | 9.9889
5.3167 | 0.035317 | 9.9833
5.3333 | 0.033813 | 9.9854
5.35 | 0.033988 | 9.985
5.3667 | 0.035292 | 9.9812
5.3833 | 0.035965 | 9.9801
5.4 | 0.036593 | 9.9734
5.4167 | 0.037279 | 9.9812
5.4333 | 0.036735 | 9.9825
5.45 | 0.036301 | 9.9801
5.4667 | 0.036207 | 9.9812
5.4833 | 0.036104 | 9.9827
5.5 | 0.038415 | 9.9812
5.5167 | 0.04037 | 9.9749
5.5333 | 0.039138 | 9.9755
5.55 | 0.037468 | 9.9714
5.5667 | 0.036785 | 9.9717
5.5833 | 0.038127 | 9.9717
5.6 | 0.039755 | 9.972
5.6167 | 0.037839 | 9.9744
5.6333 | 0.035856 | 9.9809
5.65 | 0.034544 | 9.976
5.6667 | 0.034165 | 9.9786
5.6833 | 0.035977 | 9.9741
5.7 | 0.035803 | 9.9787
5.7167 | 0.035634 | 9.9796
5.7333 | 0.037932 | 9.9876
5.75 | 0.038072 | 9.9836
5.7667 | 0.037132 | 9.992
5.7833 | 0.037107 | 9.9923
5.8 | 0.035394 | 9.9929
5.8167 | 0.034542 | 9.9888
5.8333 | 0.035821 | 9.9851
5.85 | 0.037383 | 9.9822
5.8667 | 0.037115 | 9.9911
5.8833 | 0.036132 | 9.9841
5.9 | 0.035788 | 9.9863
5.9167 | 0.03474 | 9.9906
5.9333 | 0.034196 | 9.9885
5.95 | 0.032986 | 9.9886
5.9667 | 0.031042 | 9.9857
5.9833 | 0.031343 | 9.9897
6 | 0.031462 | 9.9882
6.0167 | 0.032166 | 9.9946
6.0333 | 0.033489 | 9.9987
6.05 | 0.034312 | 10.003
6.0667 | 0.035917 | 10.004
6.0833 | 0.035466 | 10.0123
6.1 | 0.033465 | 10.0121
6.1167 | 0.033155 | 10.0152
6.1333 | 0.034035 | 10.0054
6.15 | 0.035607 | 10.0072
6.1667 | 0.037498 | 10.0079
6.1833 | 0.038236 | 10.0037
6.2 | 0.036845 | 10.0036
6.2167 | 0.036194 | 10.0071
6.2333 | 0.036749 | 10.0021
6.25 | 0.036989 | 10.0062
6.2667 | 0.037894 | 10.0054
6.2833 | 0.037952 | 10.0106
6.3 | 0.03773 | 10.017
6.3167 | 0.037884 | 10.0115
6.3333 | 0.036343 | 10.0187
6.35 | 0.036186 | 10.0216
6.3667 | 0.038895 | 10.03
6.3833 | 0.038989 | 10.0271
6.4 | 0.036594 | 10.0295
6.4167 | 0.034517 | 10.0253
6.4333 | 0.035351 | 10.033
6.45 | 0.03675 | 10.0291
6.4667 | 0.036637 | 10.0195
6.4833 | 0.036342 | 10.0181
6.5 | 0.035852 | 10.0188
6.5167 | 0.036108 | 10.0205
6.5333 | 0.036332 | 10.0314
6.55 | 0.035379 | 10.0355
6.5667 | 0.034851 | 10.0396
6.5833 | 0.034642 | 10.0459
6.6 | 0.033071 | 10.0469
6.6167 | 0.031958 | 10.0469
6.6333 | 0.033182 | 10.0481
6.65 | 0.034301 | 10.0405
6.6667 | 0.034127 | 10.0385
6.6833 | 0.034006 | 10.0468
6.7 | 0.03506 | 10.0462
6.7167 | 0.037822 | 10.0407
6.7333 | 0.040256 | 10.0352
6.75 | 0.040037 | 10.0358
6.7667 | 0.039571 | 10.0347
6.7833 | 0.042623 | 10.0391
6.8 | 0.047016 | 10.0312
6.8167 | 0.051202 | 10.0364
6.8333 | 0.056387 | 10.0437
6.85 | 0.063566 | 10.0358
6.8667 | 0.072676 | 10.0332
6.8833 | 0.082659 | 10.0309
6.9 | 0.092895 | 10.0303
6.9167 | 0.10492 | 10.0404
6.9333 | 0.11947 | 10.0399
6.95 | 0.13698 | 10.0426
6.9667 | 0.15664 | 10.033
6.9833 | 0.17402 | 10.0367
7 | 0.19134 | 10.0425
7.0167 | 0.21307 | 10.0509
7.0333 | 0.23583 | 10.0588
7.05 | 0.25693 | 10.0619
7.0667 | 0.2777 | 10.0591
7.0833 | 0.29829 | 10.0584
7.1 | 0.318 | 10.0579
7.1167 | 0.33597 | 10.0593
7.1333 | 0.35218 | 10.0614
7.15 | 0.36765 | 10.0567
7.1667 | 0.38164 | 10.0657
7.1833 | 0.3945 | 10.0596
7.2 | 0.40486 | 10.0594
7.2167 | 0.41364 | 10.0559
7.2333 | 0.4214 | 10.0565
7.25 | 0.42632 | 10.0584
7.2667 | 0.43021 | 10.0562
7.2833 | 0.43434 | 10.055
7.3 | 0.43564 | 10.0619
7.3167 | 0.43512 | 10.0628
7.3333 | 0.43649 | 10.0626
7.35 | 0.43741 | 10.0603
7.3667 | 0.43619 | 10.0556
7.3833 | 0.4371 | 10.0527
7.4 | 0.43835 | 10.0542
7.4167 | 0.43521 | 10.0597
7.4333 | 0.43052 | 10.0584
7.45 | 0.42638 | 10.0541
7.4667 | 0.42278 | 10.0587
7.4833 | 0.41957 | 10.0492
7.5 | 0.41572 | 10.0504
7.5167 | 0.41069 | 10.0567
7.5333 | 0.40682 | 10.0539
7.55 | 0.40299 | 10.0654
7.5667 | 0.3981 | 10.0603
7.5833 | 0.39379 | 10.0742
7.6 | 0.39098 | 10.0637
7.6167 | 0.38829 | 10.0622
7.6333 | 0.38432 | 10.0607
7.65 | 0.37991 | 10.0643
7.6667 | 0.37584 | 10.0628
7.6833 | 0.37182 | 10.0668
7.7 | 0.36821 | 10.0703
7.7167 | 0.36506 | 10.0701
7.7333 | 0.36053 | 10.0622
7.75 | 0.3571 | 10.0518
7.7667 | 0.35495 | 10.0478
7.7833 | 0.35145 | 10.0462
7.8 | 0.34748 | 10.0384
7.8167 | 0.34389 | 10.0465
7.8333 | 0.33976 | 10.0498
7.85 | 0.33587 | 10.0455
7.8667 | 0.3327 | 10.0498
7.8833 | 0.33036 | 10.0539
7.9 | 0.32794 | 10.051
7.9167 | 0.32476 | 10.0484
7.9333 | 0.32016 | 10.0449
7.95 | 0.31599 | 10.0422
7.9667 | 0.31312 | 10.0425
7.9833 | 0.30923 | 10.043
8 | 0.30442 | 10.046
8.0167 | 0.30085 | 10.0443
8.0333 | 0.29962 | 10.0474
8.05 | 0.29723 | 10.0582
8.0667 | 0.29289 | 10.0611
8.0833 | 0.28844 | 10.0544
8.1 | 0.28458 | 10.0608
8.1167 | 0.28283 | 10.0564
8.1333 | 0.28302 | 10.0565
8.15 | 0.28183 | 10.0549
8.1667 | 0.277 | 10.0622
8.1833 | 0.274 | 10.0603
8.2 | 0.27433 | 10.0648
8.2167 | 0.27229 | 10.0613
8.2333 | 0.26693 | 10.0593
8.25 | 0.26403 | 10.0579
8.2667 | 0.26323 | 10.0597
8.2833 | 0.26021 | 10.0602
8.3 | 0.2571 | 10.0642
8.3167 | 0.25571 | 10.0645
8.3333 | 0.25347 | 10.0671
8.35 | 0.25092 | 10.07
8.3667 | 0.24919 | 10.0657
8.3833 | 0.2466 | 10.0625
8.4 | 0.24357 | 10.0657
8.4167 | 0.24251 | 10.0642
8.4333 | 0.24222 | 10.0645
8.45 | 0.24115 | 10.0677
8.4667 | 0.23815 | 10.0686
8.4833 | 0.23493 | 10.0697
8.5 | 0.23345 | 10.0579
8.5167 | 0.23172 | 10.0657
8.5333 | 0.22924 | 10.0614
8.55 | 0.22616 | 10.0665
8.5667 | 0.22243 | 10.0686
8.5833 | 0.21971 | 10.0723
8.6 | 0.21969 | 10.075
8.6167 | 0.2196 | 10.0764
8.6333 | 0.2162 | 10.0703
8.65 | 0.21161 | 10.0736
8.6667 | 0.2112 | 10.0678
8.6833 | 0.21136 | 10.0695
8.7 | 0.20872 | 10.0584
8.7167 | 0.20653 | 10.0553
8.7333 | 0.20287 | 10.0559
8.75 | 0.19885 | 10.0546
8.7667 | 0.19619 | 10.0574
8.7833 | 0.19486 | 10.0561
8.8 | 0.19388 | 10.0568
8.8167 | 0.19072 | 10.0555
8.8333 | 0.18787 | 10.0474
8.85 | 0.18757 | 10.0394
8.8667 | 0.18847 | 10.0375
8.8833 | 0.18644 | 10.0434
8.9 | 0.18359 | 10.048
8.9167 | 0.18369 | 10.0488
8.9333 | 0.18343 | 10.048
8.95 | 0.18172 | 10.0477
8.9667 | 0.18142 | 10.0526
8.9833 | 0.18059 | 10.0445
9 | 0.1811 | 10.0494
9.0167 | 0.18306 | 10.0477
9.0333 | 0.18318 | 10.0503
9.05 | 0.1848 | 10.048
9.0667 | 0.18813 | 10.0404
9.0833 | 0.1896 | 10.0336
9.1 | 0.1881 | 10.0365
9.1167 | 0.1868 | 10.039
9.1333 | 0.18603 | 10.0423
9.15 | 0.1865 | 10.0442
9.1667 | 0.1887 | 10.0391
9.1833 | 0.1906 | 10.0365
9.2 | 0.19141 | 10.0352
9.2167 | 0.19136 | 10.0338
9.2333 | 0.19009 | 10.0311
9.25 | 0.18859 | 10.0358
9.2667 | 0.19014 | 10.0373
9.2833 | 0.1898 | 10.0419
9.3 | 0.18768 | 10.0353
9.3167 | 0.18813 | 10.035
9.3333 | 0.18937 | 10.0311
9.35 | 0.1903 | 10.0286
9.3667 | 0.1903 | 10.0327
9.3833 | 0.18823 | 10.0343
9.4 | 0.18581 | 10.0413
9.4167 | 0.18482 | 10.046
9.4333 | 0.18293 | 10.046
9.45 | 0.18038 | 10.0474
9.4667 | 0.17788 | 10.0408
9.4833 | 0.17573 | 10.0381
9.5 | 0.17408 | 10.0318
9.5167 | 0.17143 | 10.0433
9.5333 | 0.16977 | 10.0381
9.55 | 0.16933 | 10.0384
9.5667 | 0.16729 | 10.0414
9.5833 | 0.16463 | 10.0439
9.6 | 0.16124 | 10.0367
9.6167 | 0.15863 | 10.0344
9.6333 | 0.16006 | 10.0413
9.65 | 0.16001 | 10.0387
9.6667 | 0.15684 | 10.039
9.6833 | 0.15469 | 10.0405
9.7 | 0.15326 | 10.0376
9.7167 | 0.15194 | 10.0408
9.7333 | 0.15212 | 10.0405
9.75 | 0.15057 | 10.0364
9.7667 | 0.14624 | 10.0388
9.7833 | 0.14506 | 10.0309
9.8 | 0.14616 | 10.0291
9.8167 | 0.14517 | 10.0298
9.8333 | 0.14528 | 10.0275
9.85 | 0.14578 | 10.0204
9.8667 | 0.14304 | 10.0298
9.8833 | 0.13959 | 10.0262
9.9 | 0.13616 | 10.0268
9.9167 | 0.1337 | 10.0271
9.9333 | 0.13281 | 10.0277
9.95 | 0.13228 | 10.0286
9.9667 | 0.13166 | 10.0309
9.9833 | 0.12999 | 10.028
10 | 0.12705 | 10.0225
10.0167 | 0.12492 | 10.023
10.0333 | 0.12393 | 10.0329
10.05 | 0.12097 | 10.0295
10.0667 | 0.11854 | 10.0332
10.0833 | 0.1195 | 10.0292
10.1 | 0.12003 | 10.0286
10.1167 | 0.11934 | 10.0298
10.1333 | 0.11875 | 10.0291
10.15 | 0.11732 | 10.0329
10.1667 | 0.11516 | 10.0301
10.1833 | 0.11464 | 10.026
10.2 | 0.11494 | 10.0269
10.2167 | 0.11498 | 10.0314
10.2333 | 0.11412 | 10.028
10.25 | 0.11282 | 10.0256
10.2667 | 0.11306 | 10.0129
10.2833 | 0.11433 | 10.0179
10.3 | 0.11391 | 10.0167
10.3167 | 0.11187 | 10.0132
10.3333 | 0.11063 | 10.01
10.35 | 0.10802 | 10.0129
10.3667 | 0.10492 | 10.0163
10.3833 | 0.10388 | 10.0134
10.4 | 0.10375 | 10.0159
10.4167 | 0.10375 | 10.0196
10.4333 | 0.10507 | 10.0169
10.45 | 0.10554 | 10.0161
10.4667 | 0.10533 | 10.0187
10.4833 | 0.10582 | 10.0225
10.5 | 0.10584 | 10.0175
10.5167 | 0.10525 | 10.0103
10.5333 | 0.10351 | 10.008
10.55 | 0.10176 | 10.0137
10.5667 | 0.10226 | 10.0106
10.5833 | 0.10341 | 10.0166
10.6 | 0.10161 | 10.0158
10.6167 | 0.099217 | 10.0169
10.6333 | 0.099955 | 10.0236
10.65 | 0.10101 | 10.0153
10.6667 | 0.099405 | 10.0155
10.6833 | 0.098659 | 10.0155
10.7 | 0.099189 | 10.0153
10.7167 | 0.09864 | 10.0146
10.7333 | 0.098453 | 10.0179
10.75 | 0.10034 | 10.0138
10.7667 | 0.10106 | 10.0158
10.7833 | 0.097959 | 10.0175
10.8 | 0.095601 | 10.0304
10.8167 | 0.095309 | 10.0257
10.8333 | 0.094957 | 10.0245
10.85 | 0.093384 | 10.0201
10.8667 | 0.091721 | 10.0231
10.8833 | 0.090883 | 10.028
10.9 | 0.089238 | 10.0236
10.9167 | 0.08927 | 10.0217
10.9333 | 0.092077 | 10.026
10.95 | 0.094373 | 10.0304
10.9667 | 0.093777 | 10.0266
10.9833 | 0.092821 | 10.0217
11 | 0.091853 | 10.0207
11.0167 | 0.089898 | 10.0321
11.0333 | 0.08845 | 10.0243
11.05 | 0.086854 | 10.0262
11.0667 | 0.086153 | 10.0301
11.0833 | 0.085354 | 10.0271
11.1 | 0.085019 | 10.0214
11.1167 | 0.085158 | 10.0295
11.1333 | 0.084293 | 10.0294
11.15 | 0.084411 | 10.0303
11.1667 | 0.083471 | 10.0265
11.1833 | 0.081557 | 10.0323
11.2 | 0.083236 | 10.0318
11.2167 | 0.08583 | 10.0376
11.2333 | 0.086307 | 10.0405
11.25 | 0.086181 | 10.0419
11.2667 | 0.085993 | 10.0321
11.2833 | 0.085204 | 10.0282
11.3 | 0.083339 | 10.0278
11.3167 | 0.082981 | 10.0323
11.3333 | 0.084719 | 10.0369
11.35 | 0.0861 | 10.0405
11.3667 | 0.08574 | 10.0365
11.3833 | 0.086896 | 10.0312
11.4 | 0.089153 | 10.0352
11.4167 | 0.087058 | 10.0364
11.4333 | 0.083615 | 10.035
11.45 | 0.084935 | 10.034
11.4667 | 0.08806 | 10.0356
11.4833 | 0.088016 | 10.0358
11.5 | 0.087455 | 10.0361
11.5167 | 0.087643 | 10.0367
11.5333 | 0.086385 | 10.0352
11.55 | 0.085444 | 10.035
11.5667 | 0.085648 | 10.0367
11.5833 | 0.087189 | 10.0372
11.6 | 0.087752 | 10.0391
11.6167 | 0.085982 | 10.0379
11.6333 | 0.084144 | 10.0434
11.65 | 0.082345 | 10.0396
11.6667 | 0.081993 | 10.041
11.6833 | 0.082069 | 10.0349
11.7 | 0.080384 | 10.0341
11.7167 | 0.078744 | 10.0369
11.7333 | 0.079049 | 10.0349
11.75 | 0.080272 | 10.0275
11.7667 | 0.080836 | 10.0336
11.7833 | 0.082365 | 10.0333
11.8 | 0.082861 | 10.0396
11.8167 | 0.081374 | 10.0428
11.8333 | 0.080448 | 10.0423
11.85 | 0.079867 | 10.0474
11.8667 | 0.079208 | 10.0426
11.8833 | 0.079661 | 10.044
11.9 | 0.079708 | 10.0446
11.9167 | 0.080232 | 10.05
11.9333 | 0.080354 | 10.0475
11.95 | 0.079097 | 10.0486
11.9667 | 0.077223 | 10.0495
11.9833 | 0.07604 | 10.0481
12 | 0.076997 | 10.0466
12.0167 | 0.077714 | 10.0488
12.0333 | 0.077124 | 10.0411
12.05 | 0.075876 | 10.0369
12.0667 | 0.074948 | 10.0312
12.0833 | 0.076821 | 10.0314
12.1 | 0.078188 | 10.0286
12.1167 | 0.078259 | 10.0321
12.1333 | 0.077692 | 10.0292
12.15 | 0.076364 | 10.0283
12.1667 | 0.076357 | 10.0278
12.1833 | 0.07691 | 10.0318
12.2 | 0.077115 | 10.0288
12.2167 | 0.076785 | 10.0364
12.2333 | 0.07702 | 10.0446
12.25 | 0.078867 | 10.0442
12.2667 | 0.079631 | 10.05
12.2833 | 0.080016 | 10.0524
12.3 | 0.082459 | 10.0431
12.3167 | 0.084018 | 10.0436
12.3333 | 0.082065 | 10.0455
12.35 | 0.080242 | 10.037
12.3667 | 0.080238 | 10.041
12.3833 | 0.079705 | 10.0455
12.4 | 0.080421 | 10.0457
12.4167 | 0.082478 | 10.039
12.4333 | 0.080753 | 10.0356
12.45 | 0.078729 | 10.0329
12.4667 | 0.078035 | 10.0303
12.4833 | 0.077976 | 10.0347
12.5 | 0.079759 | 10.0324
12.5167 | 0.08025 | 10.0294
12.5333 | 0.079128 | 10.0333
12.55 | 0.078057 | 10.0335
12.5667 | 0.076759 | 10.0365
12.5833 | 0.076604 | 10.0379
12.6 | 0.078389 | 10.0378
12.6167 | 0.079811 | 10.0291
12.6333 | 0.080552 | 10.023
12.65 | 0.080103 | 10.0149
12.6667 | 0.079268 | 10.0059
12.6833 | 0.079575 | 10.0095
12.7 | 0.079386 | 10.0022
12.7167 | 0.081047 | 10.0022
12.7333 | 0.08468 | 10.0028
12.75 | 0.084266 | 10.0117
12.7667 | 0.081614 | 10.0057
12.7833 | 0.082072 | 10.0152
12.8 | 0.083906 | 10.015
12.8167 | 0.084484 | 10.0179
12.8333 | 0.083515 | 10.0146
12.85 | 0.084224 | 10.0112
12.8667 | 0.085155 | 10.0143
12.8833 | 0.083803 | 10.0156
12.9 | 0.08247 | 10.0126
12.9167 | 0.08141 | 10.0204
12.9333 | 0.081551 | 10.0198
12.95 | 0.083594 | 10.0249
12.9667 | 0.083954 | 10.0278
12.9833 | 0.081847 | 10.0233
13 | 0.080844 | 10.0224
13.0167 | 0.08026 | 10.0291
13.0333 | 0.081079 | 10.0277
13.05 | 0.08406 | 10.0222
13.0667 | 0.085249 | 10.0201
13.0833 | 0.083905 | 10.0251
13.1 | 0.083888 | 10.028
13.1167 | 0.084156 | 10.021
13.1333 | 0.084361 | 10.0163
13.15 | 0.084651 | 10.0027
13.1667 | 0.083766 | 10.0121
13.1833 | 0.082248 | 10.0091
13.2 | 0.081898 | 10.0051
13.2167 | 0.081968 | 9.9963
13.2333 | 0.082737 | 10.0028
13.25 | 0.082975 | 10.0047
13.2667 | 0.081807 | 10.013
13.2833 | 0.081615 | 10.0117
13.3 | 0.083433 | 10.0147
13.3167 | 0.085702 | 10.0089
13.3333 | 0.086454 | 10.0124
13.35 | 0.085227 | 10.0155
13.3667 | 0.084209 | 10.0249
13.3833 | 0.084778 | 10.0265
13.4 | 0.086057 | 10.0233
13.4167 | 0.086043 | 10.021
13.4333 | 0.086421 | 10.0269
13.45 | 0.088878 | 10.0286
13.4667 | 0.090383 | 10.0248
13.4833 | 0.090032 | 10.0202
13.5 | 0.089986 | 10.0239
13.5167 | 0.08928 | 10.0249
13.5333 | 0.089856 | 10.0153
13.55 | 0.092864 | 10.0227
13.5667 | 0.094292 | 10.021
13.5833 | 0.095946 | 10.0242
13.6 | 0.097428 | 10.0234
13.6167 | 0.096744 | 10.0268
13.6333 | 0.097211 | 10.0166
13.65 | 0.10027 | 10.0135
13.6667 | 0.10575 | 10.01
13.6833 | 0.11154 | 10.0101
13.7 | 0.11496 | 10.006
13.7167 | 0.11794 | 10.0155
13.7333 | 0.1236 | 10.0115
13.75 | 0.13266 | 10.0118
13.7667 | 0.14264 | 10.0031
13.7833 | 0.15246 | 10.0037
13.8 | 0.16432 | 9.9979
13.8167 | 0.18016 | 9.9897
13.8333 | 0.19987 | 9.9909
13.85 | 0.22221 | 10.0039
13.8667 | 0.24814 | 9.9995
13.8833 | 0.27775 | 10.0019
13.9 | 0.31054 | 10.0039
13.9167 | 0.34864 | 10.0068
13.9333 | 0.39473 | 10.0158
13.95 | 0.44622 | 10.0172
13.9667 | 0.50489 | 10.0175
13.9833 | 0.56928 | 10.0222
14 | 0.63811 | 10.0288
14.0167 | 0.7171 | 10.0352
14.0333 | 0.80618 | 10.0349
14.05 | 0.90556 | 10.0362
14.0667 | 1.0192 | 10.0411
14.0833 | 1.151 | 10.0488
14.1 | 1.3047 | 10.0559
14.1167 | 1.4831 | 10.0654
14.1333 | 1.6912 | 10.0822
14.15 | 1.9371 | 10.0938
14.1667 | 2.2267 | 10.1124
14.1833 | 2.566 | 10.1223
14.2 | 2.9677 | 10.1434
14.2167 | 3.4413 | 10.155
14.2333 | 3.9914 | 10.1766
14.25 | 4.6269 | 10.1969
14.2667 | 5.3544 | 10.2335
14.2833 | 6.1744 | 10.276
14.3 | 7.0837 | 10.3257
14.3167 | 8.0746 | 10.3814
14.3333 | 9.1402 | 10.4435
14.35 | 10.2663 | 10.5079
14.3667 | 11.4322 | 10.5874
14.3833 | 12.6156 | 10.6777
14.4 | 13.7923 | 10.7801
14.4167 | 14.9334 | 10.8877
14.4333 | 16.0069 | 11.0052
14.45 | 16.9857 | 11.1318
14.4667 | 17.8447 | 11.2492
14.4833 | 18.5603 | 11.3786
14.5 | 19.1158 | 11.4938
14.5167 | 19.5016 | 11.6109
14.5333 | 19.709 | 11.7171
14.55 | 19.7369 | 11.8107
14.5667 | 19.5959 | 11.8894
14.5833 | 19.2954 | 11.9549
14.6 | 18.8499 | 11.9907
14.6167 | 18.2821 | 12.0213
14.6333 | 17.6142 | 12.0255
14.65 | 16.8694 | 12.0196
14.6667 | 16.0688 | 11.9953
14.6833 | 15.2335 | 11.9617
14.7 | 14.383 | 11.917
14.7167 | 13.5358 | 11.8502
14.7333 | 12.7075 | 11.78
14.75 | 11.9099 | 11.7176
14.7667 | 11.1504 | 11.6405
14.7833 | 10.4336 | 11.5673
14.8 | 9.7638 | 11.4991
14.8167 | 9.1426 | 11.4216
14.8333 | 8.5693 | 11.3622
14.85 | 8.0417 | 11.3056
14.8667 | 7.5606 | 11.2502
14.8833 | 7.1205 | 11.2022
14.9 | 6.7169 | 11.1616
14.9167 | 6.3487 | 11.1245
14.9333 | 6.0111 | 11.106
14.95 | 5.7011 | 11.0799
14.9667 | 5.416 | 11.0633
14.9833 | 5.1506 | 11.0537
15 | 4.9027 | 11.0555
15.0167 | 4.6695 | 11.0535
15.0333 | 4.4475 | 11.0525
15.05 | 4.2344 | 11.04
15.0667 | 4.028 | 11.0361
15.0833 | 3.8301 | 11.0302
15.1 | 3.6377 | 11.0325
15.1167 | 3.4497 | 11.0392
15.1333 | 3.2663 | 11.04
15.15 | 3.0883 | 11.0322
15.1667 | 2.9179 | 11.0154
15.1833 | 2.7521 | 11.0024
15.2 | 2.5892 | 10.9949
15.2167 | 2.4315 | 10.9762
15.2333 | 2.2806 | 10.9626
15.25 | 2.136 | 10.9451
15.2667 | 1.9968 | 10.9184
15.2833 | 1.8636 | 10.8955
15.3 | 1.7362 | 10.8656
15.3167 | 1.6149 | 10.8358
15.3333 | 1.5016 | 10.8042
15.35 | 1.398 | 10.7784
15.3667 | 1.3019 | 10.7471
15.3833 | 1.2108 | 10.7215
15.4 | 1.1263 | 10.6831
15.4167 | 1.0489 | 10.6554
15.4333 | 0.97774 | 10.617
15.45 | 0.91314 | 10.5865
15.4667 | 0.85183 | 10.5608
15.4833 | 0.79357 | 10.5303
15.5 | 0.74169 | 10.5013
15.5167 | 0.695 | 10.471
15.5333 | 0.65274 | 10.4435
15.55 | 0.61522 | 10.4218
15.5667 | 0.57867 | 10.4121
15.5833 | 0.54471 | 10.3924
15.6 | 0.51574 | 10.3728
15.6167 | 0.48988 | 10.346
15.6333 | 0.46439 | 10.3269
15.65 | 0.43927 | 10.2991
15.6667 | 0.41837 | 10.2767
15.6833 | 0.40006 | 10.2625
15.7 | 0.38252 | 10.2462
15.7167 | 0.3655 | 10.2226
15.7333 | 0.34883 | 10.2195
15.75 | 0.33581 | 10.2065
15.7667 | 0.32273 | 10.2036
15.7833 | 0.30863 | 10.1992
15.8 | 0.29755 | 10.1933
15.8167 | 0.28916 | 10.1861
15.8333 | 0.28174 | 10.181
15.85 | 0.27376 | 10.1713
15.8667 | 0.26441 | 10.1623
15.8833 | 0.25575 | 10.1507
15.9 | 0.24823 | 10.146
15.9167 | 0.24076 | 10.1423
15.9333 | 0.23405 | 10.1426
15.95 | 0.22986 | 10.1432
15.9667 | 0.22453 | 10.1299
15.9833 | 0.21821 | 10.1177
16 | 0.21279 | 10.1106
16.0167 | 0.20794 | 10.1109
16.0333 | 0.20338 | 10.1058
16.05 | 0.19798 | 10.1046
16.0667 | 0.19254 | 10.0979
16.0833 | 0.18829 | 10.0892
16.1 | 0.18577 | 10.0941
16.1167 | 0.18313 | 10.099
16.1333 | 0.17918 | 10.0851
16.15 | 0.17521 | 10.0912
16.1667 | 0.17137 | 10.0845
16.1833 | 0.16887 | 10.0768
16.2 | 0.16766 | 10.0695
16.2167 | 0.16407 | 10.0785
16.2333 | 0.16004 | 10.0742
16.25 | 0.15859 | 10.0723
16.2667 | 0.15699 | 10.0687
16.2833 | 0.15578 | 10.0637
16.3 | 0.15586 | 10.0625
16.3167 | 0.15431 | 10.0672
16.3333 | 0.15127 | 10.0504
16.35 | 0.14917 | 10.0492
16.3667 | 0.14702 | 10.0465
16.3833 | 0.14549 | 10.0439
16.4 | 0.1441 | 10.0358
16.4167 | 0.1426 | 10.0355
16.4333 | 0.14276 | 10.0365
16.45 | 0.14172 | 10.0404
16.4667 | 0.13959 | 10.0425
16.4833 | 0.13812 | 10.0474
16.5 | 0.13616 | 10.0491
16.5167 | 0.13422 | 10.0466
16.5333 | 0.13297 | 10.0486
16.55 | 0.13203 | 10.0492
16.5667 | 0.13095 | 10.0529
16.5833 | 0.13073 | 10.0488
16.6 | 0.13091 | 10.0468
16.6167 | 0.13109 | 10.0503
16.6333 | 0.13134 | 10.0529
16.65 | 0.12969 | 10.0475
16.6667 | 0.12738 | 10.0567
16.6833 | 0.12742 | 10.0459
16.7 | 0.12949 | 10.0484
16.7167 | 0.13068 | 10.043
16.7333 | 0.13045 | 10.0419
16.75 | 0.13049 | 10.042
16.7667 | 0.12992 | 10.0356
16.7833 | 0.12953 | 10.0265
16.8 | 0.13198 | 10.0362
16.8167 | 0.13274 | 10.0323
16.8333 | 0.13195 | 10.0272
16.85 | 0.13236 | 10.026
16.8667 | 0.13319 | 10.0227
16.8833 | 0.13484 | 10.0219
16.9 | 0.13465 | 10.0222
16.9167 | 0.13357 | 10.0269
16.9333 | 0.13337 | 10.0248
16.95 | 0.13417 | 10.0312
16.9667 | 0.13486 | 10.028
16.9833 | 0.13602 | 10.0295
17 | 0.13915 | 10.0205
17.0167 | 0.14166 | 10.0153
17.0333 | 0.1402 | 10.0088
17.05 | 0.13866 | 10.0129
17.0667 | 0.13975 | 10.0124
17.0833 | 0.14259 | 10.015
17.1 | 0.14417 | 10.0056
17.1167 | 0.14505 | 10.0002
17.1333 | 0.14673 | 9.9975
17.15 | 0.14804 | 9.9964
17.1667 | 0.15005 | 9.9969
17.1833 | 0.15084 | 9.994
17.2 | 0.15055 | 9.994
17.2167 | 0.15273 | 9.9972
17.2333 | 0.15514 | 9.9969
17.25 | 0.15585 | 9.9937
17.2667 | 0.15669 | 9.9926
17.2833 | 0.1596 | 9.9883
17.3 | 0.16387 | 9.9911
17.3167 | 0.16623 | 9.995
17.3333 | 0.16882 | 9.9928
17.35 | 0.17267 | 9.9923
17.3667 | 0.17522 | 9.9934
17.3833 | 0.17783 | 9.9929
17.4 | 0.1816 | 9.9986
17.4167 | 0.18635 | 9.994
17.4333 | 0.19038 | 9.9906
17.45 | 0.19427 | 9.9825
17.4667 | 0.19915 | 9.9793
17.4833 | 0.2033 | 9.9767
17.5 | 0.20806 | 9.9844
17.5167 | 0.21382 | 9.9837
17.5333 | 0.22115 | 9.9882
17.55 | 0.22945 | 9.9934
17.5667 | 0.2386 | 9.9975
17.5833 | 0.24631 | 9.9859
17.6 | 0.25535 | 9.9879
17.6167 | 0.2681 | 9.9857
17.6333 | 0.27954 | 9.9844
17.65 | 0.28714 | 9.9828
17.6667 | 0.29318 | 9.9824
17.6833 | 0.30057 | 9.9723
17.7 | 0.30758 | 9.9751
17.7167 | 0.31373 | 9.9799
17.7333 | 0.32004 | 9.9783
17.75 | 0.3242 | 9.976
17.7667 | 0.32588 | 9.9847
17.7833 | 0.32672 | 9.9847
17.8 | 0.32632 | 9.9825
17.8167 | 0.32461 | 9.9841
17.8333 | 0.32399 | 9.9812
17.85 | 0.32329 | 9.985
17.8667 | 0.32066 | 9.9899
17.8833 | 0.31897 | 9.9924
17.9 | 0.31866 | 9.9958
17.9167 | 0.31767 | 9.9963
17.9333 | 0.31632 | 9.9888
17.95 | 0.31434 | 9.9947
17.9667 | 0.31426 | 10.001
17.9833 | 0.31763 | 10.0021
18 | 0.31925 | 9.9966
18.0167 | 0.31903 | 9.9979
18.0333 | 0.32104 | 9.9969
18.05 | 0.32554 | 9.9964
18.0667 | 0.32914 | 10.0002
18.0833 | 0.33128 | 10.0027
18.1 | 0.33516 | 10.0045
18.1167 | 0.34161 | 10.0016
18.1333 | 0.34876 | 10.0028
18.15 | 0.35685 | 10.0076
18.1667 | 0.36718 | 10.0106
18.1833 | 0.37665 | 10.0213
18.2 | 0.38573 | 10.0356
18.2167 | 0.39713 | 10.0414
18.2333 | 0.41208 | 10.0379
18.25 | 0.43184 | 10.0367
18.2667 | 0.45707 | 10.0437
18.2833 | 0.48588 | 10.051
18.3 | 0.519 | 10.0509
18.3167 | 0.55698 | 10.0571
18.3333 | 0.59844 | 10.064
18.35 | 0.64386 | 10.0677
18.3667 | 0.68994 | 10.07
18.3833 | 0.73332 | 10.0747
18.4 | 0.7734 | 10.075
18.4167 | 0.81008 | 10.0684
18.4333 | 0.84127 | 10.0707
18.45 | 0.86504 | 10.0658
18.4667 | 0.87979 | 10.0631
18.4833 | 0.88499 | 10.0597
18.5 | 0.88269 | 10.0542
18.5167 | 0.87508 | 10.0578
18.5333 | 0.86346 | 10.0517
18.55 | 0.8484 | 10.0523
18.5667 | 0.83272 | 10.0512
18.5833 | 0.81989 | 10.05
18.6 | 0.81302 | 10.053
18.6167 | 0.81146 | 10.0568
18.6333 | 0.81579 | 10.0504
18.65 | 0.82735 | 10.0474
18.6667 | 0.84678 | 10.0434
18.6833 | 0.87297 | 10.0472
18.7 | 0.90396 | 10.0495
18.7167 | 0.9375 | 10.0555
18.7333 | 0.97028 | 10.055
18.75 | 1.0023 | 10.0632
18.7667 | 1.0313 | 10.0761
18.7833 | 1.0545 | 10.0896
18.8 | 1.0712 | 10.1089
18.8167 | 1.0786 | 10.1283
18.8333 | 1.074 | 10.1456
18.85 | 1.0611 | 10.1682
18.8667 | 1.0419 | 10.1783
18.8833 | 1.0164 | 10.1989
18.9 | 0.98339 | 10.2044
18.9167 | 0.94348 | 10.203
18.9333 | 0.90098 | 10.2044
18.95 | 0.856 | 10.2056
18.9667 | 0.80856 | 10.1952
18.9833 | 0.76189 | 10.181
19 | 0.71413 | 10.1687
19.0167 | 0.66304 | 10.1543
19.0333 | 0.60789 | 10.1452
19.05 | 0.54732 | 10.1302
19.0667 | 0.48051 | 10.1122
19.0833 | 0.40684 | 10.0956
19.1 | 0.32024 | 10.0796
19.1167 | 0.21512 | 10.0599
19.1333 | 0.088942 | 10.0468
19.15 | -0.064406 | 10.0324
19.1667 | -0.25032 | 10.0288
19.1833 | -0.47447 | 10.0166
19.2 | -0.74588 | 10.0091
19.2167 | -1.0695 | 10.0002
19.2333 | -1.4465 | 9.9976
19.25 | -1.8744 | 9.9839
19.2667 | -2.3417 | 9.9776
19.2833 | -2.8324 | 9.963
19.3 | -3.3274 | 9.9554
19.3167 | -3.8045 | 9.9381
19.3333 | -4.2327 | 9.9306
19.35 | -4.5783 | 9.9416
19.3667 | -4.8168 | 9.9804
19.3833 | -4.9314 | 10.0481
19.4 | -4.9091 | 10.1838
19.4167 | -4.7431 | 10.404
19.4333 | -4.4372 | 10.7458
19.45 | -4.0093 | 11.2557
19.4667 | -3.4833 | 11.9393
19.4833 | -2.8862 | 12.8645
19.5 | -2.2494 | 14.0444
19.5167 | -1.6016 | 15.4943
19.5333 | -0.97204 | 17.1992
19.55 | -0.38755 | 19.1235
19.5667 | 0.13252 | 21.1964
19.5833 | 0.5722 | 23.3265
19.6 | 0.92213 | 25.3919
19.6167 | 1.1834 | 27.2753
19.6333 | 1.3654 | 28.845
19.65 | 1.476 | 30.001
19.6667 | 1.527 | 30.6588
19.6833 | 1.5333 | 30.8117
19.7 | 1.5028 | 30.458
19.7167 | 1.45 | 29.641
19.7333 | 1.3893 | 28.4397
19.75 | 1.323 | 26.9541
19.7667 | 1.2546 | 25.272
19.7833 | 1.1894 | 23.5206
19.8 | 1.1303 | 21.7834
19.8167 | 1.0735 | 20.1225
19.8333 | 1.0188 | 18.5894
19.85 | 0.97027 | 17.2219
19.8667 | 0.92657 | 16.0249
19.8833 | 0.88618 | 15.0051
19.9 | 0.85112 | 14.1434
19.9167 | 0.82252 | 13.4312
19.9333 | 0.79711 | 12.8439
19.95 | 0.77374 | 12.3566
19.9667 | 0.75458 | 11.9524
19.9833 | 0.73768 | 11.6178
20 | 0.72008 | 11.3429
20.0167 | 0.70002 | 11.0909
20.0333 | 0.67562 | 10.8781
20.05 | 0.64841 | 10.677
20.0667 | 0.61806 | 10.4864
20.0833 | 0.58248 | 10.2778
20.1 | 0.54196 | 10.0861
20.1167 | 0.49612 | 9.835
20.1333 | 0.44695 | 9.5516
20.15 | 0.39723 | 9.2123
20.1667 | 0.34928 | 8.8198
20.1833 | 0.30387 | 8.375
20.2 | 0.26399 | 7.8831
20.2167 | 0.23054 | 7.3519
20.2333 | 0.2041 | 6.8052
20.25 | 0.18646 | 6.2757
20.2667 | 0.17664 | 5.7803
20.2833 | 0.17424 | 5.3494
20.3 | 0.17907 | 5.0143
20.3167 | 0.19075 | 4.7884
20.3333 | 0.2065 | 4.6821
20.35 | 0.22462 | 4.7106
20.3667 | 0.24626 | 4.8554
20.3833 | 0.27385 | 5.1183
20.4 | 0.30514 | 5.4762
20.4167 | 0.34074 | 5.9031
20.4333 | 0.38608 | 6.3476
20.45 | 0.44185 | 6.8063
20.4667 | 0.50551 | 7.2582
20.4833 | 0.58009 | 7.6887
20.5 | 0.6708 | 8.0882
20.5167 | 0.77704 | 8.4541
20.5333 | 0.89841 | 8.7768
20.55 | 1.0329 | 9.0649
20.5667 | 1.1773 | 9.3153
20.5833 | 1.3297 | 9.5428
20.6 | 1.4832 | 9.7532
20.6167 | 1.6273 | 9.9561
20.6333 | 1.7516 | 10.156
20.65 | 1.8445 | 10.3461
20.6667 | 1.8895 | 10.53
20.6833 | 1.8643 | 10.7259
20.7 | 1.7455 | 10.9234
20.7167 | 1.5027 | 11.1218
20.7333 | 1.0971 | 11.3206
20.75 | 0.4822 | 11.5034
20.7667 | -0.40137 | 11.6683
20.7833 | -1.6213 | 11.8163
20.8 | -3.2486 | 11.9286
20.8167 | -5.3628 | 12.0065
20.8333 | -8.0367 | 12.0489
20.85 | -11.3248 | 12.046
20.8667 | -15.2566 | 12.0023
20.8833 | -19.8293 | 11.9233
20.9 | -24.9949 | 11.8172
20.9167 | -30.647 | 11.677
20.9333 | -36.627 | 11.5203
20.95 | -42.7291 | 11.3526
20.9667 | -48.7068 | 11.186
20.9833 | -54.2936 | 11.0139
21 | -59.2275 | 10.8495
21.0167 | -63.2679 | 10.6956
21.0333 | -66.2208 | 10.5672
21.05 | -67.9582 | 10.4409
21.0667 | -68.4261 | 10.3291
21.0833 | -67.6458 | 10.2372
21.1 | -65.7104 | 10.167
21.1167 | -62.7713 | 10.099
21.1333 | -59.0233 | 10.0436
21.15 | -54.6813 | 9.9963
21.1667 | -49.9604 | 9.9601
21.1833 | -45.0658 | 9.9293
21.2 | -40.175 | 9.911
21.2167 | -35.433 | 9.901
21.2333 | -30.9504 | 9.8992
21.25 | -26.8013 | 9.8951
21.2667 | -23.0294 | 9.8942
21.2833 | -19.6559 | 9.8898
21.3 | -16.6795 | 9.8882
21.3167 | -14.0808 | 9.8962
21.3333 | -11.834 | 9.9075
21.35 | -9.913 | 9.9094
21.3667 | -8.2824 | 9.9107
21.3833 | -6.904 | 9.9317
21.4 | -5.746 | 9.9302
21.4167 | -4.7796 | 9.9493
21.4333 | -3.9771 | 9.9555
21.45 | -3.3112 | 9.9633
21.4667 | -2.7617 | 9.9718
21.4833 | -2.3092 | 9.9758
21.5 | -1.9345 | 9.9786
21.5167 | -1.6265 | 9.9744
21.5333 | -1.3753 | 9.9783
21.55 | -1.1693 | 9.967
21.5667 | -0.99983 | 9.9659
21.5833 | -0.86158 | 9.9496
21.6 | -0.7473 | 9.9383
21.6167 | -0.65112 | 9.9146
21.6333 | -0.57079 | 9.8951
21.65 | -0.5048 | 9.8544
21.6667 | -0.45051 | 9.8019
21.6833 | -0.40495 | 9.7269
21.7 | -0.36457 | 9.6568
21.7167 | -0.32838 | 9.547
21.7333 | -0.29798 | 9.4083
21.75 | -0.27406 | 9.233
21.7667 | -0.25434 | 9.0307
21.7833 | -0.2335 | 8.7817
21.8 | -0.2138 | 8.4971
21.8167 | -0.19842 | 8.1835
21.8333 | -0.18519 | 7.8329
21.85 | -0.17266 | 7.407
21.8667 | -0.161 | 6.9965
21.8833 | -0.15022 | 6.5772
21.9 | -0.13953 | 6.1625
21.9167 | -0.12995 | 5.7601
21.9333 | -0.12225 | 5.3872
21.95 | -0.11547 | 5.0611
21.9667 | -0.1092 | 4.7938
21.9833 | -0.10287 | 4.5885
22 | -0.094923 | 4.4602
22.0167 | -0.088477 | 4.4144
22.0333 | -0.084206 | 4.4444
22.05 | -0.078064 | 4.5647
22.0667 | -0.071748 | 4.7591
22.0833 | -0.066849 | 5.0112
22.1 | -0.061445 | 5.3124
22.1167 | -0.055016 | 5.6615
22.1333 | -0.049962 | 6.0339
22.15 | -0.045499 | 6.4222
22.1667 | -0.039099 | 6.8075
22.1833 | -0.029373 | 7.1871
22.2 | -0.017007 | 7.5495
22.2167 | 0.00013726 | 7.8942
22.2333 | 0.026967 | 8.1731
22.25 | 0.06355 | 8.4496
22.2667 | 0.11292 | 8.6988
22.2833 | 0.17994 | 8.9161
22.3 | 0.27117 | 9.1016
22.3167 | 0.39262 | 9.2616
22.3333 | 0.55321 | 9.3822
22.35 | 0.76376 | 9.4894
22.3667 | 1.0331 | 9.5725
22.3833 | 1.3752 | 9.6267
22.4 | 1.8025 | 9.6751
22.4167 | 2.3221 | 9.7068
22.4333 | 2.9421 | 9.7298
22.45 | 3.6713 | 9.7375
22.4667 | 4.5162 | 9.7327
22.4833 | 5.4751 | 9.7115
22.5 | 6.5393 | 9.6731
22.5167 | 7.6955 | 9.6223
22.5333 | 8.9258 | 9.5641
22.55 | 10.2051 | 9.4834
22.5667 | 11.5023 | 9.3874
22.5833 | 12.7826 | 9.2782
22.6 | 14.0067 | 9.1648
22.6167 | 15.1364 | 9.0319
22.6333 | 16.1332 | 8.8949
22.65 | 16.9601 | 8.7446
22.6667 | 17.5879 | 8.5967
22.6833 | 17.9956 | 8.4447
22.7 | 18.1691 | 8.2978
22.7167 | 18.1023 | 8.1684
22.7333 | 17.8011 | 8.0535
22.75 | 17.2834 | 7.9581
22.7667 | 16.5709 | 7.8797
22.7833 | 15.6894 | 7.8365
22.8 | 14.6709 | 7.8159
22.8167 | 13.5533 | 7.8243
22.8333 | 12.3761 | 7.8556
22.85 | 11.1713 | 7.9171
22.8667 | 9.972 | 7.9977
22.8833 | 8.8072 | 8.0988
22.9 | 7.6981 | 8.209
22.9167 | 6.6616 | 8.345
22.9333 | 5.709 | 8.4876
22.95 | 4.847 | 8.6239
22.9667 | 4.0814 | 8.7617
22.9833 | 3.4127 | 8.9021
23 | 2.8353 | 9.0408
23.0167 | 2.3434 | 9.1694
23.0333 | 1.9292 | 9.2739
23.05 | 1.5831 | 9.3742
23.0667 | 1.2968 | 9.4675
23.0833 | 1.0632 | 9.5484
23.1 | 0.87369 | 9.618
23.1167 | 0.72037 | 9.6838
23.1333 | 0.59805 | 9.7285
23.15 | 0.5003 | 9.775
23.1667 | 0.42038 | 9.8066
23.1833 | 0.35721 | 9.836
23.2 | 0.30944 | 9.8591
23.2167 | 0.27216 | 9.8754
23.2333 | 0.24146 | 9.887
23.25 | 0.21692 | 9.8946
23.2667 | 0.19694 | 9.9075
23.2833 | 0.18162 | 9.9149
23.3 | 0.16917 | 9.9212
23.3167 | 0.15579 | 9.921
23.3333 | 0.14427 | 9.9294
23.35 | 0.13583 | 9.9267
23.3667 | 0.13063 | 9.9319
23.3833 | 0.12626 | 9.9403
23.4 | 0.12094 | 9.9491
23.4167 | 0.11636 | 9.9476
23.4333 | 0.11247 | 9.9506
23.45 | 0.10926 | 9.9442
23.4667 | 0.10489 | 9.9506
23.4833 | 0.10027 | 9.9426
23.5 | 0.098904 | 9.9483
23.5167 | 0.097222 | 9.954
23.5333 | 0.092974 | 9.9599
23.55 | 0.089427 | 9.9673
23.5667 | 0.088171 | 9.9639
23.5833 | 0.087041 | 9.9635
23.6 | 0.085429 | 9.968
23.6167 | 0.083631 | 9.9702
23.6333 | 0.080431 | 9.9799
23.65 | 0.078307 | 9.9812
23.6667 | 0.077451 | 9.9796
23.6833 | 0.075668 | 9.9735
23.7 | 0.074817 | 9.9741
23.7167 | 0.074071 | 9.9763
23.7333 | 0.073095 | 9.9697
23.75 | 0.072419 | 9.9709
23.7667 | 0.071057 | 9.9712
23.7833 | 0.069636 | 9.9697
23.8 | 0.067668 | 9.9685
23.8167 | 0.065906 | 9.9763
23.8333 | 0.065008 | 9.9761
23.85 | 0.063662 | 9.9751
23.8667 | 0.064088 | 9.9752
23.8833 | 0.064324 | 9.9767
23.9 | 0.062961 | 9.9694
23.9167 | 0.061825 | 9.9668
23.9333 | 0.061001 | 9.9596
23.95 | 0.059302 | 9.9615
23.9667 | 0.057885 | 9.9622
23.9833 | 0.058547 | 9.9662
24 | 0.061439 | 9.9689
24.0167 | 0.064058 | 9.9654
24.0333 | 0.063124 | 9.9612
24.05 | 0.059746 | 9.9551
24.0667 | 0.057899 | 9.9548
24.0833 | 0.058096 | 9.9606
24.1 | 0.058571 | 9.957
24.1167 | 0.05928 | 9.958
24.1333 | 0.058753 | 9.9557
24.15 | 0.057706 | 9.9612
24.1667 | 0.057316 | 9.9705
24.1833 | 0.057203 | 9.9754
24.2 | 0.057157 | 9.985
24.2167 | 0.057495 | 9.9789
24.2333 | 0.05725 | 9.9734
24.25 | 0.054909 | 9.977
24.2667 | 0.053443 | 9.9824
24.2833 | 0.053347 | 9.9775
24.3 | 0.053876 | 9.9816
24.3167 | 0.05632 | 9.9799
24.3333 | 0.057617 | 9.9725
24.35 | 0.056356 | 9.9703
24.3667 | 0.056008 | 9.9688
24.3833 | 0.056856 | 9.9664
24.4 | 0.05635 | 9.9667
24.4167 | 0.054761 | 9.9618
24.4333 | 0.055057 | 9.9607
24.45 | 0.055352 | 9.9577
24.4667 | 0.054601 | 9.9711
24.4833 | 0.053586 | 9.968
24.5 | 0.053053 | 9.9569
24.5167 | 0.053405 | 9.9564
24.5333 | 0.054503 | 9.9575
24.55 | 0.054581 | 9.9609
24.5667 | 0.05309 | 9.9606
24.5833 | 0.053288 | 9.9708
24.6 | 0.05446 | 9.9622
24.6167 | 0.055228 | 9.9621
24.6333 | 0.053735 | 9.9644
24.65 | 0.052416 | 9.9657
24.6667 | 0.052333 | 9.9624
24.6833 | 0.052682 | 9.9636
24.7 | 0.053278 | 9.9607
24.7167 | 0.051629 | 9.9616
24.7333 | 0.050193 | 9.9599
24.75 | 0.051383 | 9.9712
24.7667 | 0.052877 | 9.9682
24.7833 | 0.052858 | 9.9708
24.8 | 0.050838 | 9.9712
24.8167 | 0.048954 | 9.9673
24.8333 | 0.049973 | 9.9696
24.85 | 0.05151 | 9.9717
24.8667 | 0.052074 | 9.9711
24.8833 | 0.052704 | 9.9773
24.9 | 0.051262 | 9.9737
24.9167 | 0.048681 | 9.9691
24.9333 | 0.048332 | 9.9619
24.95 | 0.05008 | 9.963
24.9667 | 0.051243 | 9.9751
24.9833 | 0.051421 | 9.9793
25 | 0.050468 | 9.9889
25.0167 | 0.048505 | 9.9889
25.0333 | 0.048975 | 9.9921
25.05 | 0.050395 | 9.9934
25.0667 | 0.051351 | 9.9947
25.0833 | 0.050883 | 9.9982
25.1 | 0.049717 | 9.9999
25.1167 | 0.049215 | 10.0057
25.1333 | 0.049228 | 10.0105
25.15 | 0.050394 | 10.0076
25.1667 | 0.051283 | 9.9996
25.1833 | 0.051228 | 9.9963
25.2 | 0.05052 | 9.9953
25.2167 | 0.050429 | 9.999
25.2333 | 0.05032 | 10.0079
25.25 | 0.051975 | 10.0039
25.2667 | 0.053715 | 10.0042
25.2833 | 0.052698 | 9.9982
25.3 | 0.052184 | 9.9989
25.3167 | 0.05349 | 10.0004
25.3333 | 0.054149 | 10.008
25.35 | 0.052689 | 10.0105
25.3667 | 0.051552 | 10.0112
25.3833 | 0.051942 | 10.0153
25.4 | 0.051713 | 10.0063
25.4167 | 0.051887 | 10.0106
25.4333 | 0.051636 | 10.0083
25.45 | 0.05098 | 10.0111
25.4667 | 0.050444 | 9.9952
25.4833 | 0.050211 | 9.9944
25.5 | 0.050639 | 9.9908
25.5167 | 0.051277 | 9.9943
25.5333 | 0.052825 | 9.9946
25.55 | 0.054193 | 10.0022
25.5667 | 0.052628 | 10.0042
25.5833 | 0.049978 | 9.9973
25.6 | 0.048575 | 9.9899
25.6167 | 0.048666 | 9.9865
25.6333 | 0.051234 | 9.9917
25.65 | 0.052491 | 10.0011
25.6667 | 0.049807 | 10.0072
25.6833 | 0.049245 | 10.0004
25.7 | 0.049938 | 9.9934
25.7167 | 0.049206 | 9.9935
25.7333 | 0.049529 | 10.001
25.75 | 0.050797 | 10.0002
25.7667 | 0.05278 | 9.9993
25.7833 | 0.051925 | 9.9981
25.8 | 0.048882 | 10.0024
25.8167 | 0.047134 | 10.0063
25.8333 | 0.047074 | 10.006
25.85 | 0.048028 | 10.0083
25.8667 | 0.048714 | 10.0129
25.8833 | 0.050481 | 10.0082
25.9 | 0.050649 | 9.9931
25.9167 | 0.049579 | 9.9809
25.9333 | 0.050659 | 9.9815
25.95 | 0.051395 | 9.9845
25.9667 | 0.049127 | 9.9834
25.9833 | 0.046557 | 9.9781
26 | 0.046849 | 9.9786
26.0167 | 0.049086 | 9.9732
26.0333 | 0.050152 | 9.9793
26.05 | 0.050465 | 9.9708
26.0667 | 0.051153 | 9.9751
26.0833 | 0.050767 | 9.9766
26.1 | 0.05134 | 9.9714
26.1167 | 0.052177 | 9.9752
26.1333 | 0.052178 | 9.981
26.15 | 0.050916 | 9.9723
26.1667 | 0.050204 | 9.9737
26.1833 | 0.051092 | 9.9754
26.2 | 0.051422 | 9.978
26.2167 | 0.051198 | 9.9827
26.2333 | 0.051594 | 9.9792
26.25 | 0.052258 | 9.9715
26.2667 | 0.052449 | 9.9735
26.2833 | 0.052415 | 9.97
26.3 | 0.053449 | 9.9715
26.3167 | 0.054563 | 9.972
26.3333 | 0.054138 | 9.9715
26.35 | 0.053641 | 9.981
26.3667 | 0.054515 | 9.9775
26.3833 | 0.055772 | 9.9787
26.4 | 0.056237 | 9.9718
26.4167 | 0.05689 | 9.9717
26.4333 | 0.056345 | 9.9737
26.45 | 0.054855 | 9.9816
26.4667 | 0.054094 | 9.9679
26.4833 | 0.055873 | 9.9712
26.5 | 0.058609 | 9.9712
26.5167 | 0.058739 | 9.9738
26.5333 | 0.057168 | 9.9699
26.55 | 0.057229 | 9.9758
26.5667 | 0.056308 | 9.9755
26.5833 | 0.054176 | 9.9834
26.6 | 0.053065 | 9.9837
26.6167 | 0.052147 | 9.9868
26.6333 | 0.051633 | 9.9894
26.65 | 0.052157 | 9.9935
26.6667 | 0.052928 | 10.0007
26.6833 | 0.053329 | 9.9989
26.7 | 0.053184 | 9.9931
26.7167 | 0.053538 | 9.9863
26.7333 | 0.052746 | 9.9937
26.75 | 0.052432 | 9.9918
26.7667 | 0.052801 | 9.994
26.7833 | 0.051683 | 9.9891
26.8 | 0.049638 | 9.9886
26.8167 | 0.048505 | 9.9957
26.8333 | 0.048999 | 9.9892
26.85 | 0.050313 | 9.9847
26.8667 | 0.051994 | 9.986
26.8833 | 0.0518 | 9.9741
26.9 | 0.051061 | 9.9715
26.9167 | 0.051233 | 9.972
26.9333 | 0.052193 | 9.9816
26.95 | 0.053671 | 9.9815
26.9667 | 0.05505 | 9.9758
26.9833 | 0.056235 | 9.9775
27 | 0.055384 | 9.9793
27.0167 | 0.054522 | 9.9818
27.0333 | 0.05372 | 9.983
27.05 | 0.052672 | 9.9856
27.0667 | 0.054105 | 9.9821
27.0833 | 0.055766 | 9.9786
27.1 | 0.05496 | 9.9809
27.1167 | 0.053066 | 9.9856
27.1333 | 0.051585 | 9.9717
27.15 | 0.050981 | 9.9755
27.1667 | 0.051368 | 9.9781
27.1833 | 0.050131 | 9.9711
27.2 | 0.049923 | 9.9702
27.2167 | 0.051711 | 9.9744
27.2333 | 0.051689 | 9.9757
27.25 | 0.049452 | 9.983
27.2667 | 0.04922 | 9.9784
27.2833 | 0.051406 | 9.9821
27.3 | 0.05292 | 9.9821
27.3167 | 0.052995 | 9.9812
27.3333 | 0.051228 | 9.9807
27.35 | 0.049394 | 9.9906
27.3667 | 0.049695 | 9.9862
27.3833 | 0.052083 | 9.9859
27.4 | 0.053813 | 9.9848
27.4167 | 0.053968 | 9.9871
27.4333 | 0.053209 | 9.9895
27.45 | 0.05207 | 9.995
27.4667 | 0.050974 | 9.9941
27.4833 | 0.051239 | 9.9953
27.5 | 0.052516 | 9.9989
27.5167 | 0.05418 | 9.9981
27.5333 | 0.056867 | 9.9989
27.55 | 0.05577 | 9.999
27.5667 | 0.052968 | 9.9982
27.5833 | 0.051945 | 9.994
27.6 | 0.052562 | 9.9924
27.6167 | 0.055343 | 9.9909
27.6333 | 0.05694 | 9.9911
27.65 | 0.055583 | 9.988
27.6667 | 0.054225 | 10.0018
27.6833 | 0.054968 | 9.9899
27.7 | 0.055159 | 9.9967
27.7167 | 0.054193 | 9.9973
27.7333 | 0.054294 | 9.999
27.75 | 0.05554 | 9.9931
27.7667 | 0.056444 | 9.9972
27.7833 | 0.055309 | 9.9924
27.8 | 0.05404 | 9.9917
27.8167 | 0.054358 | 9.9967
27.8333 | 0.055236 | 10.003
27.85 | 0.055214 | 10.0025
27.8667 | 0.054999 | 9.9966
27.8833 | 0.054599 | 9.9958
27.9 | 0.053936 | 9.9932
27.9167 | 0.054579 | 9.9918
27.9333 | 0.056311 | 9.9895
27.95 | 0.057151 | 9.9842
27.9667 | 0.056092 | 9.9766
27.9833 | 0.054098 | 9.9789
28 | 0.052521 | 9.9781
28.0167 | 0.052122 | 9.9825
28.0333 | 0.051192 | 9.9752
28.05 | 0.051258 | 9.9744
28.0667 | 0.051402 | 9.9705
28.0833 | 0.050683 | 9.9746
28.1 | 0.052885 | 9.9696
28.1167 | 0.054276 | 9.9746
28.1333 | 0.052404 | 9.978
28.15 | 0.050498 | 9.9729
28.1667 | 0.049242 | 9.9673
28.1833 | 0.049385 | 9.9705
28.2 | 0.052284 | 9.9674
28.2167 | 0.054684 | 9.9598
28.2333 | 0.052725 | 9.9552
28.25 | 0.049374 | 9.9526
28.2667 | 0.048735 | 9.945
28.2833 | 0.049752 | 9.9474
28.3 | 0.050673 | 9.9558
28.3167 | 0.050339 | 9.9609
28.3333 | 0.050326 | 9.9632
28.35 | 0.049672 | 9.9563
28.3667 | 0.048544 | 9.9667
28.3833 | 0.048734 | 9.9651
28.4 | 0.049543 | 9.9662
28.4167 | 0.050497 | 9.9581
28.4333 | 0.049951 | 9.9569
28.45 | 0.049575 | 9.9581
28.4667 | 0.049674 | 9.9613
28.4833 | 0.050336 | 9.9638
28.5 | 0.052536 | 9.9728
28.5167 | 0.054438 | 9.9725
28.5333 | 0.052752 | 9.9702
28.55 | 0.05076 | 9.966
28.5667 | 0.049692 | 9.9693
28.5833 | 0.04841 | 9.9664
28.6 | 0.049113 | 9.9665
28.6167 | 0.050334 | 9.9639
28.6333 | 0.050227 | 9.9593
28.65 | 0.050572 | 9.948
28.6667 | 0.051013 | 9.9401
28.6833 | 0.052109 | 9.9522
28.7 | 0.052054 | 9.9554
28.7167 | 0.051609 | 9.952
28.7333 | 0.051802 | 9.9566
28.75 | 0.051144 | 9.9563
28.7667 | 0.050203 | 9.9587
28.7833 | 0.049966 | 9.9572
28.8 | 0.050316 | 9.9656
28.8167 | 0.049737 | 9.9659
28.8333 | 0.048327 | 9.965
28.85 | 0.048202 | 9.9656
28.8667 | 0.048666 | 9.9633
28.8833 | 0.049079 | 9.9662
28.9 | 0.049714 | 9.9592
28.9167 | 0.050686 | 9.9627
28.9333 | 0.051214 | 9.9598
28.95 | 0.049404 | 9.9561
28.9667 | 0.047772 | 9.956
28.9833 | 0.048063 | 9.9673
29 | 0.048633 | 9.9671
29.0167 | 0.050283 | 9.9725
29.0333 | 0.052645 | 9.9728
29.05 | 0.053254 | 9.9741
29.0667 | 0.051789 | 9.9703
29.0833 | 0.050051 | 9.9731
29.1 | 0.05042 | 9.9741
29.1167 | 0.052244 | 9.9738
29.1333 | 0.052075 | 9.977
29.15 | 0.051196 | 9.9839
29.1667 | 0.05149 | 9.981
29.1833 | 0.050356 | 9.9781
29.2 | 0.049028 | 9.983
29.2167 | 0.049247 | 9.9734
29.2333 | 0.051402 | 9.9773
29.25 | 0.053901 | 9.979
29.2667 | 0.05305 | 9.988
29.2833 | 0.050887 | 9.9834
29.3 | 0.051661 | 9.9786
29.3167 | 0.051978 | 9.9799
29.3333 | 0.050926 | 9.9866
29.35 | 0.052174 | 9.988
29.3667 | 0.053337 | 9.9868
29.3833 | 0.052784 | 9.977
29.4 | 0.052351 | 9.9783
29.4167 | 0.051728 | 9.9747
29.4333 | 0.052201 | 9.9793
29.45 | 0.052577 | 9.9781
29.4667 | 0.052568 | 9.9772
29.4833 | 0.052111 | 9.9778
29.5 | 0.052057 | 9.9754
29.5167 | 0.052295 | 9.9776
29.5333 | 0.052726 | 9.977
29.55 | 0.05288 | 9.9781
29.5667 | 0.050619 | 9.9775
29.5833 | 0.048125 | 9.9754
29.6 | 0.048236 | 9.9726
29.6167 | 0.049741 | 9.9699
29.6333 | 0.050234 | 9.9699
29.65 | 0.049759 | 9.9712
29.6667 | 0.050508 | 9.9728
29.6833 | 0.051052 | 9.9729
29.7 | 0.048912 | 9.9758
29.7167 | 0.046139 | 9.9741
29.7333 | 0.04661 | 9.9632
29.75 | 0.049946 | 9.9651
29.7667 | 0.051409 | 9.9625
29.7833 | 0.049663 | 9.9686
29.8 | 0.048032 | 9.9677
29.8167 | 0.047899 | 9.9723
29.8333 | 0.048567 | 9.9691
29.85 | 0.048557 | 9.9744
29.8667 | 0.048454 | 9.9746
29.8833 | 0.048591 | 9.9776
29.9 | 0.049125 | 9.9801
29.9167 | 0.050806 | 9.9747
29.9333 | 0.052521 | 9.9723
29.95 | 0.052036 | 9.9691
29.9667 | 0.049954 | 9.9607
29.9833 | 0.049765 | 9.9654
30 | 0.050684 | 9.9639
30.0167 | 0.049784

## MW Results
Administrative Information
File name | ICF_25_05_2022-0010.sample
Analysed by | Agilent GPC 1
Date of analysis | 25 May 2022 15:39:41
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 70942 | 43307 | 56206 | 67051 | 75621 | 54477 | 1.2979
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 5.8 | 12.4833
Baseline region 2 | 25.2 | 29.5833
Peaks | Start (mins) | End (mins)
Peak 1 | 14.1 | 16.3333
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 14.55 | 645.2121 | 19.61
| RI | 14.6333 | 92.0712 | 2.0052
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.3 | 20.1
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 25 May 2022 15:39:41
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6833
FRCF | 0.99238
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.1 | 1.1751 | 0.033938 | 0.038693 | 0.00036846 | 1 | 142682 | 5.1544 | 0.043705 | No | 1
14.1167 | 1.3536 | 0.043449 | 0.051866 | 0.00047172 | 0.99958 | 139559 | 5.1448 | 0.058636 | No | 1
14.1333 | 1.5618 | 0.060284 | 0.066107 | 0.0006545 | 0.99902 | 136507 | 5.1352 | 0.074801 | No | 1
14.15 | 1.8078 | 0.071931 | 0.081264 | 0.00078096 | 0.9983 | 133525 | 5.1256 | 0.092032 | No | 1
14.1667 | 2.0975 | 0.090597 | 0.095581 | 0.00098362 | 0.99742 | 130610 | 5.116 | 0.10834 | No | 1
14.1833 | 2.4369 | 0.10057 | 0.11112 | 0.0010918 | 0.99638 | 127761 | 5.1064 | 0.12606 | No | 1
14.2 | 2.8387 | 0.12167 | 0.1275 | 0.001321 | 0.99517 | 124976 | 5.0968 | 0.14477 | No | 1
14.2167 | 3.3124 | 0.13332 | 0.14418 | 0.0014475 | 0.99379 | 122255 | 5.0873 | 0.16385 | No | 1
14.2333 | 3.8626 | 0.15504 | 0.16521 | 0.0016833 | 0.99222 | 119595 | 5.0777 | 0.18792 | No | 1
14.25 | 4.4982 | 0.17538 | 0.19372 | 0.0019041 | 0.99043 | 116995 | 5.0682 | 0.22054 | No | 1
14.2667 | 5.2258 | 0.21205 | 0.23329 | 0.0023023 | 0.98832 | 114455 | 5.0586 | 0.26582 | No | 1
14.2833 | 6.0459 | 0.25452 | 0.27942 | 0.0027634 | 0.98579 | 111971 | 5.0491 | 0.31866 | No | 1
14.3 | 6.9553 | 0.30432 | 0.33219 | 0.003304 | 0.98275 | 109543 | 5.0396 | 0.37917 | No | 1
14.3167 | 7.9463 | 0.36006 | 0.39114 | 0.0039092 | 0.97915 | 107170 | 5.0301 | 0.44684 | No | 1
14.3333 | 9.012 | 0.42222 | 0.45444 | 0.004584 | 0.9749 | 104850 | 5.0206 | 0.5196 | No | 1
14.35 | 10.1382 | 0.48666 | 0.52643 | 0.0052837 | 0.96996 | 102583 | 5.0111 | 0.60244 | No | 1
14.3667 | 11.3042 | 0.56621 | 0.6114 | 0.0061474 | 0.96424 | 100366 | 5.0016 | 0.70027 | No | 1
14.3833 | 12.4878 | 0.65659 | 0.70781 | 0.0071287 | 0.9576 | 98200 | 4.9921 | 0.8114 | No | 1
14.4 | 13.6646 | 0.75903 | 0.81284 | 0.0082408 | 0.94992 | 96081 | 4.9826 | 0.9326 | No | 1
14.4167 | 14.8057 | 0.86665 | 0.92542 | 0.0094093 | 0.94109 | 94011 | 4.9732 | 1.0627 | No | 1
14.4333 | 15.8793 | 0.9842 | 1.0475 | 0.010685 | 0.93104 | 91986 | 4.9637 | 1.204 | No | 1
14.45 | 16.8582 | 1.1109 | 1.1696 | 0.012061 | 0.91966 | 90007 | 4.9543 | 1.3454 | No | 1
14.4667 | 17.7174 | 1.2283 | 1.293 | 0.013336 | 0.90696 | 88072 | 4.9448 | 1.4886 | No | 1
14.4833 | 18.433 | 1.3577 | 1.4154 | 0.014741 | 0.89291 | 86180 | 4.9354 | 1.6309 | No | 1
14.5 | 18.9886 | 1.473 | 1.5316 | 0.015992 | 0.87754 | 84331 | 4.926 | 1.7663 | No | 1
14.5167 | 19.3745 | 1.5902 | 1.6433 | 0.017265 | 0.8609 | 82523 | 4.9166 | 1.8968 | No | 1
14.5333 | 19.582 | 1.6965 | 1.7433 | 0.018419 | 0.84306 | 80755 | 4.9072 | 2.0139 | No | 1
14.55 | 19.61 | 1.7901 | 1.8295 | 0.019435 | 0.82412 | 79026 | 4.8978 | 2.1152 | No | 1
14.5667 | 19.4691 | 1.8688 | 1.9016 | 0.02029 | 0.80425 | 77336 | 4.8884 | 2.2005 | No | 1
14.5833 | 19.1687 | 1.9344 | 1.9523 | 0.021001 | 0.7836 | 75683 | 4.879 | 2.2611 | No | 1
14.6 | 18.7234 | 1.9703 | 1.9855 | 0.021391 | 0.76239 | 74067 | 4.8696 | 2.3016 | No | 1
14.6167 | 18.1556 | 2.0008 | 2.003 | 0.021723 | 0.74083 | 72487 | 4.8603 | 2.3238 | No | 1
14.6333 | 17.4878 | 2.0052 | 2.0022 | 0.02177 | 0.71907 | 70942 | 4.8509 | 2.3248 | No | 1
14.65 | 16.7431 | 1.9993 | 1.9872 | 0.021706 | 0.69733 | 69431 | 4.8416 | 2.3093 | No | 1
14.6667 | 15.9426 | 1.975 | 1.9583 | 0.021443 | 0.67574 | 67953 | 4.8322 | 2.2777 | No | 1
14.6833 | 15.1074 | 1.9415 | 1.9192 | 0.021079 | 0.65447 | 66508 | 4.8229 | 2.2341 | No | 1
14.7 | 14.2571 | 1.8969 | 1.8635 | 0.020594 | 0.63363 | 65095 | 4.8135 | 2.1711 | No | 1
14.7167 | 13.4099 | 1.8301 | 1.795 | 0.019869 | 0.61339 | 63713 | 4.8042 | 2.0931 | No | 1
14.7333 | 12.5817 | 1.7599 | 1.7288 | 0.019108 | 0.59389 | 62362 | 4.7949 | 2.0175 | No | 1
14.75 | 11.7842 | 1.6976 | 1.6591 | 0.018431 | 0.57512 | 61040 | 4.7856 | 1.9378 | No | 1
14.7667 | 11.0249 | 1.6206 | 1.584 | 0.017595 | 0.5571 | 59748 | 4.7763 | 1.8517 | No | 1
14.7833 | 10.3081 | 1.5474 | 1.5133 | 0.0168 | 0.53989 | 58484 | 4.767 | 1.7705 | No | 1
14.8 | 9.6384 | 1.4792 | 1.4405 | 0.01606 | 0.52346 | 57247 | 4.7578 | 1.6868 | No | 1
14.8167 | 9.0173 | 1.4018 | 1.3721 | 0.015219 | 0.50781 | 56038 | 4.7485 | 1.608 | No | 1
14.8333 | 8.4441 | 1.3425 | 1.3142 | 0.014575 | 0.49291 | 54855 | 4.7392 | 1.5414 | No | 1
14.85 | 7.9167 | 1.2859 | 1.2582 | 0.013961 | 0.47864 | 53699 | 4.73 | 1.477 | No | 1
14.8667 | 7.4357 | 1.2306 | 1.2066 | 0.01336 | 0.46497 | 52567 | 4.7207 | 1.4176 | No | 1
14.8833 | 6.9956 | 1.1825 | 1.1623 | 0.012839 | 0.45187 | 51461 | 4.7115 | 1.3667 | No | 1
14.9 | 6.5921 | 1.142 | 1.1235 | 0.012399 | 0.43924 | 50378 | 4.7022 | 1.3222 | No | 1
14.9167 | 6.2241 | 1.105 | 1.0958 | 0.011997 | 0.42704 | 49319 | 4.693 | 1.2906 | No | 1
14.9333 | 5.8866 | 1.0866 | 1.0735 | 0.011797 | 0.41514 | 48284 | 4.6838 | 1.2655 | No | 1
14.95 | 5.5767 | 1.0605 | 1.0522 | 0.011514 | 0.40348 | 47270 | 4.6746 | 1.2414 | No | 1
14.9667 | 5.2917 | 1.0439 | 1.0392 | 0.011334 | 0.39205 | 46279 | 4.6654 | 1.227 | No | 1
14.9833 | 5.0264 | 1.0344 | 1.0353 | 0.01123 | 0.38076 | 45310 | 4.6562 | 1.2235 | No | 1
15 | 4.7786 | 1.0363 | 1.0353 | 0.011251 | 0.36952 | 44361 | 4.647 | 1.2245 | No | 1
15.0167 | 4.5455 | 1.0343 | 1.0338 | 0.01123 | 0.35827 | 43434 | 4.6378 | 1.2237 | No | 1
15.0333 | 4.3236 | 1.0333 | 1.0271 | 0.011219 | 0.34705 | 42526 | 4.6287 | 1.2167 | No | 1
15.05 | 4.1105 | 1.0209 | 1.019 | 0.011083 | 0.33589 | 41638 | 4.6195 | 1.2081 | No | 1
15.0667 | 3.9043 | 1.0171 | 1.0141 | 0.011043 | 0.32482 | 40769 | 4.6103 | 1.2034 | No | 1
15.0833 | 3.7065 | 1.0112 | 1.0124 | 0.010979 | 0.31381 | 39919 | 4.6012 | 1.2023 | No | 1
15.1 | 3.5141 | 1.0135 | 1.0169 | 0.011004 | 0.30281 | 39088 | 4.592 | 1.2087 | No | 1
15.1167 | 3.3262 | 1.0203 | 1.0207 | 0.011077 | 0.29177 | 38274 | 4.5829 | 1.2142 | No | 1
15.1333 | 3.143 | 1.0211 | 1.0172 | 0.011086 | 0.28068 | 37478 | 4.5738 | 1.211 | No | 1
15.15 | 2.965 | 1.0134 | 1.005 | 0.011002 | 0.26963 | 36700 | 4.5647 | 1.1975 | No | 1
15.1667 | 2.7947 | 0.99664 | 0.99018 | 0.010821 | 0.25872 | 35938 | 4.5556 | 1.1807 | No | 1
15.1833 | 2.629 | 0.98372 | 0.98001 | 0.01068 | 0.24796 | 35192 | 4.5464 | 1.1696 | No | 1
15.2 | 2.4663 | 0.97629 | 0.96693 | 0.0106 | 0.23732 | 34463 | 4.5374 | 1.1549 | No | 1
15.2167 | 2.3086 | 0.95758 | 0.95081 | 0.010396 | 0.22682 | 33749 | 4.5283 | 1.1366 | No | 1
15.2333 | 2.1579 | 0.94405 | 0.9353 | 0.01025 | 0.21649 | 33050 | 4.5192 | 1.1189 | No | 1
15.25 | 2.0133 | 0.92655 | 0.91322 | 0.01006 | 0.20633 | 32367 | 4.5101 | 1.0934 | No | 1
15.2667 | 1.8743 | 0.8999 | 0.88848 | 0.0097702 | 0.19641 | 31698 | 4.501 | 1.0646 | No | 1
15.2833 | 1.7411 | 0.87706 | 0.86213 | 0.0095223 | 0.18676 | 31044 | 4.492 | 1.0339 | No | 1
15.3 | 1.6138 | 0.8472 | 0.83235 | 0.0091981 | 0.1774 | 30403 | 4.4829 | 0.99901 | No | 1
15.3167 | 1.4927 | 0.8175 | 0.80173 | 0.0088756 | 0.16836 | 29777 | 4.4739 | 0.96303 | No | 1
15.3333 | 1.3795 | 0.78596 | 0.77309 | 0.0085333 | 0.15965 | 29163 | 4.4648 | 0.92938 | No | 1
15.35 | 1.276 | 0.76022 | 0.74461 | 0.0082538 | 0.15126 | 28563 | 4.4558 | 0.89586 | No | 1
15.3667 | 1.18 | 0.72899 | 0.7162 | 0.0079148 | 0.14317 | 27976 | 4.4468 | 0.86238 | No | 1
15.3833 | 1.0889 | 0.70341 | 0.68421 | 0.007637 | 0.13539 | 27401 | 4.4378 | 0.82451 | No | 1
15.4 | 1.0046 | 0.66501 | 0.65122 | 0.0072201 | 0.12796 | 26838 | 4.4288 | 0.78539 | No | 1
15.4167 | 0.92722 | 0.63744 | 0.61824 | 0.0069207 | 0.12089 | 26288 | 4.4198 | 0.74621 | No | 1
15.4333 | 0.8562 | 0.59904 | 0.58381 | 0.0065038 | 0.11417 | 25749 | 4.4108 | 0.70521 | No | 1
15.45 | 0.7917 | 0.56857 | 0.55578 | 0.006173 | 0.10783 | 25221 | 4.4018 | 0.67189 | No | 1
15.4667 | 0.73049 | 0.54299 | 0.52775 | 0.0058953 | 0.10179 | 24705 | 4.3928 | 0.63852 | No | 1
15.4833 | 0.67233 | 0.51252 | 0.49805 | 0.0055645 | 0.096061 | 24200 | 4.3838 | 0.60306 | No | 1
15.5 | 0.62056 | 0.48358 | 0.46842 | 0.0052503 | 0.090652 | 23706 | 4.3749 | 0.56764 | No | 1
15.5167 | 0.57397 | 0.45326 | 0.43956 | 0.0049211 | 0.085564 | 23222 | 4.3659 | 0.53308 | No | 1
15.5333 | 0.53181 | 0.42585 | 0.41504 | 0.0046235 | 0.08079 | 22748 | 4.3569 | 0.50375 | No | 1
15.55 | 0.49439 | 0.40423 | 0.39937 | 0.0043888 | 0.076282 | 22284 | 4.348 | 0.48512 | No | 1
15.5667 | 0.45794 | 0.39452 | 0.3847 | 0.0042833 | 0.071944 | 21830 | 4.3391 | 0.46766 | No | 1
15.5833 | 0.42408 | 0.37488 | 0.36514 | 0.0040701 | 0.067766 | 21386 | 4.3301 | 0.44424 | No | 1
15.6 | 0.39521 | 0.3554 | 0.342 | 0.0038586 | 0.0638 | 20951 | 4.3212 | 0.41641 | No | 1
15.6167 | 0.36945 | 0.3286 | 0.31909 | 0.0035676 | 0.060086 | 20525 | 4.3123 | 0.38882 | No | 1
15.6333 | 0.34406 | 0.30957 | 0.29571 | 0.0033611 | 0.05662 | 20108 | 4.3034 | 0.36062 | No | 1
15.65 | 0.31904 | 0.28185 | 0.27066 | 0.0030601 | 0.053408 | 19700 | 4.2945 | 0.33033 | No | 1
15.6667 | 0.29824 | 0.25947 | 0.2524 | 0.0028171 | 0.050469 | 19301 | 4.2856 | 0.30829 | No | 1
15.6833 | 0.28003 | 0.24533 | 0.2372 | 0.0026636 | 0.047727 | 18910 | 4.2767 | 0.28994 | No | 1
15.7 | 0.26259 | 0.22906 | 0.21726 | 0.0024869 | 0.045151 | 18527 | 4.2678 | 0.26577 | No | 1
15.7167 | 0.24567 | 0.20546 | 0.20396 | 0.0022307 | 0.042791 | 18152 | 4.2589 | 0.2497 | No | 1
15.7333 | 0.2291 | 0.20246 | 0.196 | 0.0021981 | 0.040576 | 17785 | 4.2501 | 0.24014 | No | 1
15.75 | 0.21619 | 0.18954 | 0.18811 | 0.0020578 | 0.038447 | 17426 | 4.2412 | 0.23066 | No | 1
15.7667 | 0.2032 | 0.18669 | 0.1845 | 0.0020269 | 0.036404 | 17074 | 4.2323 | 0.2264 | No | 1
15.7833 | 0.1892 | 0.18231 | 0.17936 | 0.0019794 | 0.0344 | 16730 | 4.2235 | 0.22027 | No | 1
15.8 | 0.17823 | 0.17641 | 0.17285 | 0.0019153 | 0.032452 | 16393 | 4.2147 | 0.21244 | No | 1
15.8167 | 0.16994 | 0.16929 | 0.1668 | 0.001838 | 0.030575 | 16063 | 4.2058 | 0.20516 | No | 1
15.8333 | 0.16262 | 0.16431 | 0.15945 | 0.0017839 | 0.028763 | 15740 | 4.197 | 0.19627 | No | 1
15.85 | 0.15473 | 0.15459 | 0.15011 | 0.0016784 | 0.027031 | 15423 | 4.1882 | 0.18492 | No | 1
15.8667 | 0.14549 | 0.14564 | 0.13987 | 0.0015812 | 0.025401 | 15113 | 4.1794 | 0.17243 | No | 1
15.8833 | 0.13693 | 0.13409 | 0.13175 | 0.0014559 | 0.023882 | 14810 | 4.1706 | 0.16255 | No | 1
15.9 | 0.12951 | 0.12941 | 0.12761 | 0.001405 | 0.022451 | 14513 | 4.1618 | 0.15756 | No | 1
15.9167 | 0.12214 | 0.1258 | 0.12598 | 0.0013658 | 0.021065 | 14222 | 4.153 | 0.15567 | No | 1
15.9333 | 0.11553 | 0.12616 | 0.12649 | 0.0013697 | 0.019697 | 13937 | 4.1442 | 0.15642 | No | 1
15.95 | 0.11144 | 0.12682 | 0.12021 | 0.0013769 | 0.018323 | 13658 | 4.1354 | 0.14876 | No | 1
15.9667 | 0.10621 | 0.11359 | 0.10751 | 0.0012333 | 0.017017 | 13385 | 4.1266 | 0.13316 | No | 1
15.9833 | 0.099997 | 0.10144 | 0.097876 | 0.0011013 | 0.01585 | 13118 | 4.1179 | 0.12131 | No | 1
16 | 0.094676 | 0.094315 | 0.094493 | 0.001024 | 0.014787 | 12856 | 4.1091 | 0.11721 | No | 1
16.0167 | 0.089929 | 0.094671 | 0.092178 | 0.0010278 | 0.01376 | 12599 | 4.1003 | 0.11442 | No | 1
16.0333 | 0.085468 | 0.089686 | 0.0891 | 0.00097372 | 0.012759 | 12348 | 4.0916 | 0.11069 | No | 1
16.05 | 0.080162 | 0.088515 | 0.085184 | 0.00096102 | 0.011791 | 12102 | 4.0829 | 0.1059 | No | 1
16.0667 | 0.07483 | 0.081852 | 0.077528 | 0.00088867 | 0.010866 | 11861 | 4.0741 | 0.096456 | No | 1
16.0833 | 0.070679 | 0.073205 | 0.075671 | 0.00079479 | 0.010024 | 11625 | 4.0654 | 0.094217 | No | 1
16.1 | 0.068257 | 0.078138 | 0.080605 | 0.00084835 | 0.0092022 | 11394 | 4.0567 | 0.10044 | No | 1
16.1167 | 0.06572 | 0.083071 | 0.076154 | 0.00090191 | 0.0083268 | 11168 | 4.048 | 0.09496 | No | 1
16.1333 | 0.061873 | 0.069236 | 0.072313 | 0.0007517 | 0.0074996 | 10946 | 4.0393 | 0.090239 | No | 1
16.15 | 0.057998 | 0.07539 | 0.072059 | 0.00081852 | 0.0067142 | 10729 | 4.0306 | 0.089989 | No | 1
16.1667 | 0.054256 | 0.068727 | 0.064937 | 0.00074617 | 0.0059316 | 10516 | 4.0219 | 0.081156 | No | 1
16.1833 | 0.051857 | 0.061148 | 0.057511 | 0.00066389 | 0.0052263 | 10308 | 4.0132 | 0.071929 | No | 1
16.2 | 0.050749 | 0.053874 | 0.058401 | 0.00058492 | 0.0046017 | 10104 | 4.0045 | 0.073096 | No | 1
16.2167 | 0.047259 | 0.062927 | 0.060816 | 0.00068321 | 0.0039674 | 9904 | 3.9958 | 0.076176 | No | 1
16.2333 | 0.043334 | 0.058705 | 0.057739 | 0.00063737 | 0.0033068 | 9709 | 3.9872 | 0.072375 | No | 1
16.25 | 0.041984 | 0.056772 | 0.055043 | 0.00061638 | 0.0026797 | 9517 | 3.9785 | 0.069046 | No | 1
16.2667 | 0.040486 | 0.053313 | 0.05082 | 0.00057882 | 0.0020819 | 9329 | 3.9698 | 0.063797 | No | 1
16.2833 | 0.039377 | 0.048328 | 0.047743 | 0.0005247 | 0.0015299 | 9145 | 3.9612 | 0.059978 | No | 1
16.3 | 0.039554 | 0.047158 | 0.049548 | 0.000512 | 0.0010114 | 8965 | 3.9526 | 0.062292 | No | 1
16.3167 | 0.038111 | 0.051938 | 0.043571 | 0.0005639 | 0.00047324 | 8788 | 3.9439 | 0.054818 | No | 1
16.3333 | 0.035168 | 0.035204 | 0 | 0.00038222 | 0 | 8616 | 3.9353 | 0 | No | 1