## Sample Details
Administrative Information
Export date | 25 May 2022 15:47:01
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0001.sample
Creation date | 25 May 2022 09:23:09
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t10=240 min
Information
Sample type | Sample
Injection date | 25 May 2022
Vial number | P2-A-2
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.042966 | 9.9686
0.016667 | -0.045999 | 9.9714
0.033333 | -0.04513 | 9.9068
0.05 | -0.039995 | 9.6804
0.066667 | -0.032362 | 9.6674
0.083333 | -0.028695 | 9.7314
0.1 | -0.031003 | 9.8011
0.11667 | -0.033933 | 9.8544
0.13333 | -0.036372 | 9.9018
0.15 | -0.038859 | 9.9258
0.16667 | -0.040827 | 9.9468
0.18333 | -0.041039 | 9.9615
0.2 | -0.041109 | 9.9699
0.21667 | -0.042853 | 9.9755
0.23333 | -0.042616 | 9.9848
0.25 | -0.040338 | 9.9792
0.26667 | -0.041063 | 9.9859
0.28333 | -0.041086 | 9.9821
0.3 | -0.038981 | 9.9807
0.31667 | -0.038263 | 9.9758
0.33333 | -0.038148 | 9.987
0.35 | -0.037805 | 9.9822
0.36667 | -0.039059 | 9.9825
0.38333 | -0.04032 | 9.9792
0.4 | -0.038321 | 9.9792
0.41667 | -0.037793 | 9.9781
0.43333 | -0.039746 | 9.9839
0.45 | -0.040976 | 9.9786
0.46667 | -0.04229 | 9.9792
0.48333 | -0.042688 | 9.9865
0.5 | -0.041729 | 9.9815
0.51667 | -0.041362 | 9.9772
0.53333 | -0.041831 | 9.9708
0.55 | -0.042693 | 9.9699
0.56667 | -0.041348 | 9.9732
0.58333 | -0.040132 | 9.9751
0.6 | -0.040947 | 9.977
0.61667 | -0.04119 | 9.9781
0.63333 | -0.040638 | 9.979
0.65 | -0.038953 | 9.9819
0.66667 | -0.039114 | 9.9789
0.68333 | -0.040637 | 9.9883
0.7 | -0.041597 | 9.9934
0.71667 | -0.042645 | 9.9924
0.73333 | -0.043351 | 9.9903
0.75 | -0.045205 | 9.9897
0.76667 | -0.045883 | 9.9917
0.78333 | -0.043802 | 9.9976
0.8 | -0.043433 | 10.0015
0.81667 | -0.045089 | 10.0089
0.83333 | -0.045496 | 10.0025
0.85 | -0.044192 | 10.0054
0.86667 | -0.044756 | 10.0008
0.88333 | -0.048304 | 9.9999
0.9 | -0.049821 | 9.995
0.91667 | -0.048376 | 10.0002
0.93333 | -0.047585 | 10.0002
0.95 | -0.048165 | 9.9947
0.96667 | -0.048908 | 9.9886
0.98333 | -0.04971 | 9.9863
1 | -0.049873 | 9.9886
1.0167 | -0.047849 | 9.9928
1.0333 | -0.046027 | 9.9924
1.05 | -0.047141 | 9.9818
1.0667 | -0.047966 | 9.9853
1.0833 | -0.047175 | 9.9862
1.1 | -0.047378 | 9.9885
1.1167 | -0.048469 | 9.9792
1.1333 | -0.048104 | 9.9834
1.15 | -0.047592 | 9.9911
1.1667 | -0.047328 | 9.9982
1.1833 | -0.046613 | 9.9938
1.2 | -0.046929 | 10.001
1.2167 | -0.047424 | 9.9944
1.2333 | -0.046948 | 9.994
1.25 | -0.049741 | 9.9999
1.2667 | -0.052153 | 10.0031
1.2833 | -0.050167 | 10.0027
1.3 | -0.048633 | 10.01
1.3167 | -0.048579 | 10.0079
1.3333 | -0.048043 | 10.0089
1.35 | -0.047255 | 10.0118
1.3667 | -0.047376 | 10.0094
1.3833 | -0.049033 | 10.0086
1.4 | -0.051199 | 10.0043
1.4167 | -0.05249 | 10.0033
1.4333 | -0.051936 | 10.0015
1.45 | -0.050295 | 10.0025
1.4667 | -0.050613 | 10.005
1.4833 | -0.050845 | 10.0094
1.5 | -0.051135 | 10.0062
1.5167 | -0.051266 | 10.0024
1.5333 | -0.051205 | 9.9972
1.55 | -0.050746 | 10.0025
1.5667 | -0.049298 | 9.9963
1.5833 | -0.049054 | 10.0001
1.6 | -0.051599 | 10.0094
1.6167 | -0.054071 | 10.01
1.6333 | -0.053823 | 10.0089
1.65 | -0.05126 | 10.0204
1.6667 | -0.049904 | 10.0254
1.6833 | -0.049924 | 10.0243
1.7 | -0.050241 | 10.0315
1.7167 | -0.051592 | 10.0317
1.7333 | -0.054622 | 10.0324
1.75 | -0.055798 | 10.021
1.7667 | -0.055161 | 10.0207
1.7833 | -0.054782 | 10.0253
1.8 | -0.053735 | 10.0211
1.8167 | -0.053071 | 10.0227
1.8333 | -0.053421 | 10.0243
1.85 | -0.054714 | 10.0216
1.8667 | -0.055293 | 10.0268
1.8833 | -0.05446 | 10.0288
1.9 | -0.052958 | 10.0358
1.9167 | -0.053059 | 10.0379
1.9333 | -0.055418 | 10.0388
1.95 | -0.057346 | 10.0333
1.9667 | -0.057021 | 10.0318
1.9833 | -0.055688 | 10.0315
2 | -0.054227 | 10.0294
2.0167 | -0.054795 | 10.0207
2.0333 | -0.055329 | 10.0214
2.05 | -0.054296 | 10.0213
2.0667 | -0.055499 | 10.0306
2.0833 | -0.058219 | 10.032
2.1 | -0.057775 | 10.0344
2.1167 | -0.055789 | 10.0236
2.1333 | -0.05433 | 10.0228
2.15 | -0.054609 | 10.0275
2.1667 | -0.055628 | 10.0297
2.1833 | -0.054741 | 10.024
2.2 | -0.055234 | 10.0309
2.2167 | -0.056514 | 10.0282
2.2333 | -0.05526 | 10.0304
2.25 | -0.05405 | 10.026
2.2667 | -0.054917 | 10.0285
2.2833 | -0.056385 | 10.0248
2.3 | -0.056811 | 10.021
2.3167 | -0.05618 | 10.0352
2.3333 | -0.05491 | 10.0307
2.35 | -0.0534 | 10.0372
2.3667 | -0.054051 | 10.0379
2.3833 | -0.054341 | 10.0431
2.4 | -0.052988 | 10.0384
2.4167 | -0.052997 | 10.0282
2.4333 | -0.054554 | 10.0298
2.45 | -0.053274 | 10.0166
2.4667 | -0.05186 | 10.0111
2.4833 | -0.052814 | 10.0098
2.5 | -0.052667 | 10.0088
2.5167 | -0.052318 | 10.0124
2.5333 | -0.053775 | 10.0089
2.55 | -0.055895 | 10.0115
2.5667 | -0.057966 | 10.0002
2.5833 | -0.058016 | 9.9953
2.6 | -0.056544 | 10.0022
2.6167 | -0.055307 | 10.0095
2.6333 | -0.056383 | 10.0082
2.65 | -0.05945 | 10.0105
2.6667 | -0.060484 | 10.0066
2.6833 | -0.059785 | 10.005
2.7 | -0.059901 | 10.0092
2.7167 | -0.059702 | 10.0065
2.7333 | -0.058702 | 10.0149
2.75 | -0.059034 | 10.0146
2.7667 | -0.059673 | 10.0166
2.7833 | -0.059765 | 10.0158
2.8 | -0.060804 | 10.0144
2.8167 | -0.05981 | 10.0103
2.8333 | -0.057155 | 10.0092
2.85 | -0.056615 | 10.0127
2.8667 | -0.057867 | 10.015
2.8833 | -0.059489 | 10.0098
2.9 | -0.059546 | 10.0092
2.9167 | -0.059161 | 10.0063
2.9333 | -0.059007 | 10.0079
2.95 | -0.059642 | 10.0016
2.9667 | -0.061556 | 10.0043
2.9833 | -0.060646 | 9.999
3 | -0.058027 | 10.0047
3.0167 | -0.056857 | 10.0047
3.0333 | -0.056681 | 10.0072
3.05 | -0.057187 | 10.0042
3.0667 | -0.057903 | 9.9999
3.0833 | -0.057498 | 10.0004
3.1 | -0.056854 | 10.008
3.1167 | -0.057075 | 10.0123
3.1333 | -0.0565 | 10.0117
3.15 | -0.057052 | 10.0155
3.1667 | -0.05848 | 10.0208
3.1833 | -0.058419 | 10.0248
3.2 | -0.057921 | 10.0164
3.2167 | -0.058732 | 10.021
3.2333 | -0.059601 | 10.0202
3.25 | -0.06009 | 10.0187
3.2667 | -0.061883 | 10.0146
3.2833 | -0.06116 | 10.0146
3.3 | -0.060317 | 10.0169
3.3167 | -0.060365 | 10.0117
3.3333 | -0.05889 | 10.0039
3.35 | -0.058899 | 10.0089
3.3667 | -0.060794 | 10.0098
3.3833 | -0.061776 | 10.0105
3.4 | -0.062192 | 10.0048
3.4167 | -0.061896 | 10.0088
3.4333 | -0.060054 | 10.0039
3.45 | -0.058932 | 10.0033
3.4667 | -0.059772 | 10.0031
3.4833 | -0.060177 | 9.996
3.5 | -0.060129 | 9.9981
3.5167 | -0.060832 | 10.0001
3.5333 | -0.061303 | 9.9987
3.55 | -0.061848 | 9.9921
3.5667 | -0.061492 | 9.9918
3.5833 | -0.06055 | 9.9891
3.6 | -0.06135 | 9.9923
3.6167 | -0.062936 | 9.9958
3.6333 | -0.063537 | 10.0034
3.65 | -0.063714 | 10.0024
3.6667 | -0.063654 | 10.0117
3.6833 | -0.064196 | 10.0085
3.7 | -0.064 | 10.0092
3.7167 | -0.062078 | 10.0043
3.7333 | -0.061951 | 10.003
3.75 | -0.062819 | 9.9978
3.7667 | -0.063731 | 9.9966
3.7833 | -0.065828 | 9.9932
3.8 | -0.066969 | 9.9967
3.8167 | -0.06664 | 10.0031
3.8333 | -0.065956 | 10.0127
3.85 | -0.064934 | 10.0121
3.8667 | -0.065461 | 10.0159
3.8833 | -0.067376 | 10.0163
3.9 | -0.068487 | 10.0114
3.9167 | -0.06851 | 10.0118
3.9333 | -0.066527 | 10.0106
3.95 | -0.064812 | 10.0123
3.9667 | -0.064838 | 10.0088
3.9833 | -0.065954 | 10.0033
4 | -0.066043 | 9.9976
4.0167 | -0.065927 | 10.0062
4.0333 | -0.067187 | 10.0048
4.05 | -0.066728 | 10.0056
4.0667 | -0.066629 | 10.0039
4.0833 | -0.0672 | 10.005
4.1 | -0.067991 | 9.9987
4.1167 | -0.07016 | 10.0072
4.1333 | -0.070688 | 10.0047
4.15 | -0.07077 | 10.005
4.1667 | -0.071009 | 10.0027
4.1833 | -0.07093 | 10.0054
4.2 | -0.070068 | 10.0063
4.2167 | -0.069678 | 10.0045
4.2333 | -0.069381 | 9.9998
4.25 | -0.069663 | 9.9973
4.2667 | -0.070996 | 9.9926
4.2833 | -0.070119 | 9.9934
4.3 | -0.068202 | 9.9924
4.3167 | -0.0694 | 9.9961
4.3333 | -0.069969 | 9.9992
4.35 | -0.067913 | 10.0015
4.3667 | -0.067956 | 10.0025
4.3833 | -0.069529 | 10.0007
4.4 | -0.069626 | 10.0112
4.4167 | -0.069103 | 10.015
4.4333 | -0.069821 | 10.0205
4.45 | -0.070174 | 10.0175
4.4667 | -0.069549 | 10.0172
4.4833 | -0.069511 | 10.0019
4.5 | -0.068858 | 10.0043
4.5167 | -0.070166 | 10.0054
4.5333 | -0.071515 | 10.0115
4.55 | -0.070809 | 10.0134
4.5667 | -0.071139 | 10.0147
4.5833 | -0.070954 | 10.0185
4.6 | -0.07104 | 10.0193
4.6167 | -0.071242 | 10.0242
4.6333 | -0.069084 | 10.0259
4.65 | -0.068492 | 10.0217
4.6667 | -0.070541 | 10.0172
4.6833 | -0.072033 | 10.0156
4.7 | -0.072803 | 10.0146
4.7167 | -0.073814 | 10.0077
4.7333 | -0.075163 | 10.0101
4.75 | -0.074811 | 10.0121
4.7667 | -0.074461 | 10.0048
4.7833 | -0.075975 | 10.0002
4.8 | -0.074971 | 9.9967
4.8167 | -0.072641 | 9.9946
4.8333 | -0.073506 | 9.9943
4.85 | -0.075696 | 10.0059
4.8667 | -0.076465 | 10.0013
4.8833 | -0.07375 | 10.0034
4.9 | -0.072004 | 10.008
4.9167 | -0.074144 | 10.0192
4.9333 | -0.074502 | 10.0188
4.95 | -0.072243 | 10.0201
4.9667 | -0.071788 | 10.0231
4.9833 | -0.072875 | 10.0309
5 | -0.073068 | 10.0315
5.0167 | -0.073305 | 10.0268
5.0333 | -0.073897 | 10.0301
5.05 | -0.072631 | 10.0346
5.0667 | -0.072423 | 10.0277
5.0833 | -0.074148 | 10.0303
5.1 | -0.074773 | 10.0245
5.1167 | -0.075312 | 10.0208
5.1333 | -0.076115 | 10.0166
5.15 | -0.076499 | 10.0137
5.1667 | -0.076422 | 10.0121
5.1833 | -0.074901 | 10.0077
5.2 | -0.074014 | 10.0094
5.2167 | -0.07517 | 10.0057
5.2333 | -0.075489 | 10.0071
5.25 | -0.076278 | 10.0085
5.2667 | -0.078707 | 10.0079
5.2833 | -0.079568 | 10.0021
5.3 | -0.077157 | 10.0018
5.3167 | -0.073567 | 10.0033
5.3333 | -0.073911 | 10.0063
5.35 | -0.0758 | 10.0153
5.3667 | -0.075092 | 10.0167
5.3833 | -0.075469 | 10.0071
5.4 | -0.077112 | 10.0161
5.4167 | -0.079282 | 10.0146
5.4333 | -0.081658 | 10.0208
5.45 | -0.081915 | 10.0208
5.4667 | -0.080142 | 10.0259
5.4833 | -0.079766 | 10.0246
5.5 | -0.080556 | 10.0292
5.5167 | -0.080622 | 10.0202
5.5333 | -0.080147 | 10.0196
5.55 | -0.078812 | 10.0143
5.5667 | -0.07702 | 10.0159
5.5833 | -0.076347 | 10.0249
5.6 | -0.076892 | 10.0207
5.6167 | -0.077365 | 10.0249
5.6333 | -0.077899 | 10.0272
5.65 | -0.0785 | 10.0213
5.6667 | -0.078714 | 10.022
5.6833 | -0.078485 | 10.023
5.7 | -0.07975 | 10.0295
5.7167 | -0.079449 | 10.0321
5.7333 | -0.076534 | 10.0292
5.75 | -0.076312 | 10.0268
5.7667 | -0.080296 | 10.0269
5.7833 | -0.083213 | 10.0326
5.8 | -0.083674 | 10.0294
5.8167 | -0.085184 | 10.0385
5.8333 | -0.086524 | 10.0321
5.85 | -0.085371 | 10.0402
5.8667 | -0.08314 | 10.0359
5.8833 | -0.082458 | 10.0347
5.9 | -0.082287 | 10.0367
5.9167 | -0.08257 | 10.0385
5.9333 | -0.083155 | 10.0375
5.95 | -0.081979 | 10.0449
5.9667 | -0.079992 | 10.0457
5.9833 | -0.08207 | 10.0452
6 | -0.084808 | 10.0359
6.0167 | -0.083694 | 10.0365
6.0333 | -0.083102 | 10.0326
6.05 | -0.084654 | 10.0282
6.0667 | -0.08622 | 10.0321
6.0833 | -0.086379 | 10.0278
6.1 | -0.085529 | 10.0266
6.1167 | -0.085456 | 10.022
6.1333 | -0.083623 | 10.017
6.15 | -0.080773 | 10.0127
6.1667 | -0.081547 | 10.0072
6.1833 | -0.084061 | 10.0108
6.2 | -0.083551 | 10.014
6.2167 | -0.082235 | 10.0214
6.2333 | -0.083705 | 10.0164
6.25 | -0.08474 | 10.0082
6.2667 | -0.08349 | 10.0117
6.2833 | -0.082268 | 10.0153
6.3 | -0.083248 | 10.0155
6.3167 | -0.082039 | 10.0153
6.3333 | -0.079118 | 10.0132
6.35 | -0.078791 | 10.0155
6.3667 | -0.079697 | 10.026
6.3833 | -0.079898 | 10.0222
6.4 | -0.079416 | 10.0236
6.4167 | -0.079662 | 10.0225
6.4333 | -0.078946 | 10.0278
6.45 | -0.075265 | 10.0283
6.4667 | -0.069535 | 10.0314
6.4833 | -0.060833 | 10.0283
6.5 | -0.047464 | 10.0234
6.5167 | -0.026178 | 10.0243
6.5333 | 0.010893 | 10.0155
6.55 | 0.068696 | 10.0135
6.5667 | 0.15307 | 10.014
6.5833 | 0.27647 | 10.0129
6.6 | 0.45303 | 10.0089
6.6167 | 0.69546 | 10.0123
6.6333 | 1.0177 | 10.0166
6.65 | 1.4398 | 10.0185
6.6667 | 1.9785 | 10.0231
6.6833 | 2.6394 | 10.0318
6.7 | 3.4258 | 10.0306
6.7167 | 4.3363 | 10.0266
6.7333 | 5.3636 | 10.0309
6.75 | 6.4961 | 10.0445
6.7667 | 7.7156 | 10.0376
6.7833 | 8.9983 | 10.0495
6.8 | 10.3174 | 10.0524
6.8167 | 11.6417 | 10.057
6.8333 | 12.9423 | 10.0671
6.85 | 14.1989 | 10.0758
6.8667 | 15.386 | 10.0808
6.8833 | 16.4817 | 10.0878
6.9 | 17.4706 | 10.0959
6.9167 | 18.3422 | 10.1014
6.9333 | 19.0912 | 10.1157
6.95 | 19.7148 | 10.1209
6.9667 | 20.2092 | 10.1331
6.9833 | 20.5766 | 10.1478
7 | 20.8232 | 10.1565
7.0167 | 20.9593 | 10.1633
7.0333 | 20.997 | 10.1696
7.05 | 20.9446 | 10.1693
7.0667 | 20.8093 | 10.176
7.0833 | 20.6021 | 10.1751
7.1 | 20.3355 | 10.1797
7.1167 | 20.0164 | 10.1757
7.1333 | 19.6555 | 10.1778
7.15 | 19.2648 | 10.1827
7.1667 | 18.8504 | 10.1867
7.1833 | 18.4156 | 10.1788
7.2 | 17.9686 | 10.1829
7.2167 | 17.516 | 10.1781
7.2333 | 17.0589 | 10.1756
7.25 | 16.6031 | 10.1675
7.2667 | 16.1508 | 10.1604
7.2833 | 15.7045 | 10.158
7.3 | 15.2659 | 10.163
7.3167 | 14.8341 | 10.164
7.3333 | 14.4134 | 10.1597
7.35 | 14.0054 | 10.1623
7.3667 | 13.6062 | 10.158
7.3833 | 13.2179 | 10.1499
7.4 | 12.8436 | 10.1437
7.4167 | 12.4805 | 10.1444
7.4333 | 12.1293 | 10.1389
7.45 | 11.7899 | 10.1272
7.4667 | 11.4609 | 10.1223
7.4833 | 11.1444 | 10.1165
7.5 | 10.8383 | 10.1147
7.5167 | 10.5423 | 10.1244
7.5333 | 10.259 | 10.1261
7.55 | 9.9859 | 10.1273
7.5667 | 9.7211 | 10.1218
7.5833 | 9.4666 | 10.1254
7.6 | 9.2217 | 10.1223
7.6167 | 8.9847 | 10.1203
7.6333 | 8.7557 | 10.1067
7.65 | 8.5358 | 10.0967
7.6667 | 8.3223 | 10.0964
7.6833 | 8.1151 | 10.1014
7.7 | 7.918 | 10.1055
7.7167 | 7.7293 | 10.1115
7.7333 | 7.5459 | 10.1127
7.75 | 7.3691 | 10.1159
7.7667 | 7.1981 | 10.1144
7.7833 | 7.0318 | 10.1133
7.8 | 6.872 | 10.1087
7.8167 | 6.7159 | 10.1052
7.8333 | 6.5661 | 10.1069
7.85 | 6.4233 | 10.102
7.8667 | 6.2853 | 10.0964
7.8833 | 6.1509 | 10.0904
7.9 | 6.0199 | 10.0922
7.9167 | 5.8929 | 10.0957
7.9333 | 5.7701 | 10.098
7.95 | 5.6528 | 10.0878
7.9667 | 5.5408 | 10.0953
7.9833 | 5.4312 | 10.0927
8 | 5.3235 | 10.0904
8.0167 | 5.2203 | 10.0762
8.0333 | 5.1218 | 10.0762
8.05 | 5.0281 | 10.0802
8.0667 | 4.9352 | 10.0758
8.0833 | 4.8401 | 10.0726
8.1 | 4.7479 | 10.0677
8.1167 | 4.6627 | 10.0642
8.1333 | 4.5807 | 10.07
8.15 | 4.4984 | 10.0758
8.1667 | 4.4172 | 10.0784
8.1833 | 4.3392 | 10.082
8.2 | 4.2639 | 10.0831
8.2167 | 4.1905 | 10.08
8.2333 | 4.117 | 10.0727
8.25 | 4.0428 | 10.0758
8.2667 | 3.971 | 10.0724
8.2833 | 3.9026 | 10.0777
8.3 | 3.8344 | 10.0748
8.3167 | 3.7661 | 10.0782
8.3333 | 3.6992 | 10.0773
8.35 | 3.6328 | 10.0819
8.3667 | 3.569 | 10.0845
8.3833 | 3.5081 | 10.0758
8.4 | 3.448 | 10.0643
8.4167 | 3.388 | 10.0631
8.4333 | 3.3272 | 10.06
8.45 | 3.2689 | 10.0614
8.4667 | 3.215 | 10.0632
8.4833 | 3.1617 | 10.0695
8.5 | 3.1101 | 10.0672
8.5167 | 3.0611 | 10.0658
8.5333 | 3.0133 | 10.0614
8.55 | 2.9651 | 10.0623
8.5667 | 2.9169 | 10.0634
8.5833 | 2.8713 | 10.0628
8.6 | 2.8264 | 10.0658
8.6167 | 2.7827 | 10.066
8.6333 | 2.7413 | 10.0684
8.65 | 2.7015 | 10.0658
8.6667 | 2.6643 | 10.0661
8.6833 | 2.6303 | 10.0649
8.7 | 2.5966 | 10.0645
8.7167 | 2.5613 | 10.0668
8.7333 | 2.5248 | 10.0687
8.75 | 2.4901 | 10.0626
8.7667 | 2.4595 | 10.0636
8.7833 | 2.4317 | 10.0597
8.8 | 2.4055 | 10.0588
8.8167 | 2.3795 | 10.0626
8.8333 | 2.3555 | 10.0607
8.85 | 2.3332 | 10.0585
8.8667 | 2.3112 | 10.0587
8.8833 | 2.2906 | 10.055
8.9 | 2.2707 | 10.0607
8.9167 | 2.2538 | 10.0535
8.9333 | 2.2404 | 10.0475
8.95 | 2.229 | 10.051
8.9667 | 2.2216 | 10.051
8.9833 | 2.2183 | 10.0484
9 | 2.2186 | 10.0527
9.0167 | 2.2237 | 10.0472
9.0333 | 2.2336 | 10.0425
9.05 | 2.2438 | 10.037
9.0667 | 2.255 | 10.0381
9.0833 | 2.2703 | 10.0384
9.1 | 2.2859 | 10.0402
9.1167 | 2.303 | 10.0559
9.1333 | 2.3199 | 10.0546
9.15 | 2.3336 | 10.051
9.1667 | 2.3482 | 10.0529
9.1833 | 2.3647 | 10.0504
9.2 | 2.3792 | 10.0457
9.2167 | 2.3895 | 10.0465
9.2333 | 2.3975 | 10.0465
9.25 | 2.4045 | 10.0495
9.2667 | 2.407 | 10.05
9.2833 | 2.4049 | 10.0527
9.3 | 2.4025 | 10.0488
9.3167 | 2.3968 | 10.0469
9.3333 | 2.3851 | 10.0431
9.35 | 2.37 | 10.0405
9.3667 | 2.3535 | 10.0399
9.3833 | 2.3339 | 10.0317
9.4 | 2.3115 | 10.0243
9.4167 | 2.2867 | 10.0239
9.4333 | 2.2603 | 10.0303
9.45 | 2.2342 | 10.0266
9.4667 | 2.2069 | 10.0227
9.4833 | 2.1764 | 10.0178
9.5 | 2.1422 | 10.0216
9.5167 | 2.1088 | 10.0205
9.5333 | 2.0794 | 10.0178
9.55 | 2.0493 | 10.0192
9.5667 | 2.0172 | 10.0217
9.5833 | 1.9872 | 10.0254
9.6 | 1.9582 | 10.0271
9.6167 | 1.9292 | 10.0236
9.6333 | 1.8978 | 10.0242
9.65 | 1.8656 | 10.0254
9.6667 | 1.8354 | 10.0204
9.6833 | 1.8059 | 10.0169
9.7 | 1.7776 | 10.0214
9.7167 | 1.7493 | 10.0175
9.7333 | 1.7199 | 10.0153
9.75 | 1.6939 | 10.0179
9.7667 | 1.6701 | 10.0198
9.7833 | 1.6441 | 10.0161
9.8 | 1.6183 | 10.0231
9.8167 | 1.5929 | 10.0236
9.8333 | 1.5681 | 10.0156
9.85 | 1.5443 | 10.0098
9.8667 | 1.5206 | 10.0118
9.8833 | 1.4972 | 10.0121
9.9 | 1.4731 | 10.0127
9.9167 | 1.4518 | 10.0095
9.9333 | 1.4335 | 10.019
9.95 | 1.4152 | 10.017
9.9667 | 1.3958 | 10.019
9.9833 | 1.3769 | 10.0187
10 | 1.3584 | 10.0121
10.0167 | 1.3404 | 10.0184
10.0333 | 1.3245 | 10.0205
10.05 | 1.3081 | 10.0202
10.0667 | 1.2886 | 10.0153
10.0833 | 1.2698 | 10.0166
10.1 | 1.2531 | 10.0187
10.1167 | 1.2365 | 10.0123
10.1333 | 1.2199 | 10.0019
10.15 | 1.2044 | 10.0034
10.1667 | 1.1895 | 10.0025
10.1833 | 1.1755 | 10.0082
10.2 | 1.1621 | 10.0082
10.2167 | 1.1486 | 10.0091
10.2333 | 1.1343 | 10.0118
10.25 | 1.1192 | 10.0068
10.2667 | 1.1046 | 10.0015
10.2833 | 1.0929 | 9.9996
10.3 | 1.0818 | 10.0045
10.3167 | 1.0696 | 10.0001
10.3333 | 1.057 | 10.0008
10.35 | 1.0444 | 9.995
10.3667 | 1.0329 | 9.999
10.3833 | 1.023 | 9.9984
10.4 | 1.0117 | 10.0015
10.4167 | 1.0007 | 9.9961
10.4333 | 0.99138 | 9.9963
10.45 | 0.98182 | 9.9923
10.4667 | 0.97089 | 9.999
10.4833 | 0.95854 | 9.9972
10.5 | 0.94717 | 9.9918
10.5167 | 0.93799 | 9.9889
10.5333 | 0.92988 | 9.9909
10.55 | 0.92145 | 9.9946
10.5667 | 0.91295 | 9.9917
10.5833 | 0.90605 | 9.9879
10.6 | 0.9005 | 9.9941
10.6167 | 0.89295 | 9.9915
10.6333 | 0.88356 | 9.9932
10.65 | 0.87562 | 9.994
10.6667 | 0.86858 | 9.99
10.6833 | 0.86063 | 9.9807
10.7 | 0.85209 | 9.9833
10.7167 | 0.8444 | 9.9798
10.7333 | 0.8365 | 9.9784
10.75 | 0.82708 | 9.9809
10.7667 | 0.82039 | 9.9795
10.7833 | 0.81705 | 9.9821
10.8 | 0.813 | 9.9792
10.8167 | 0.80627 | 9.9868
10.8333 | 0.79797 | 9.9859
10.85 | 0.79075 | 9.9824
10.8667 | 0.78492 | 9.9798
10.8833 | 0.77852 | 9.978
10.9 | 0.77353 | 9.9841
10.9167 | 0.76975 | 9.9827
10.9333 | 0.76657 | 9.983
10.95 | 0.76187 | 9.9755
10.9667 | 0.75443 | 9.965
10.9833 | 0.74772 | 9.965
11 | 0.74188 | 9.9638
11.0167 | 0.73576 | 9.9717
11.0333 | 0.73173 | 9.9732
11.05 | 0.73039 | 9.967
11.0667 | 0.72637 | 9.9607
11.0833 | 0.71887 | 9.9664
11.1 | 0.71322 | 9.9664
11.1167 | 0.71049 | 9.9722
11.1333 | 0.70897 | 9.9647
11.15 | 0.70467 | 9.9665
11.1667 | 0.69732 | 9.9648
11.1833 | 0.69118 | 9.968
11.2 | 0.68859 | 9.9715
11.2167 | 0.68706 | 9.9764
11.2333 | 0.68348 | 9.9787
11.25 | 0.67773 | 9.974
11.2667 | 0.67323 | 9.9807
11.2833 | 0.66873 | 9.9798
11.3 | 0.66451 | 9.9891
11.3167 | 0.66223 | 9.9863
11.3333 | 0.66164 | 9.9891
11.35 | 0.65887 | 9.9879
11.3667 | 0.65472 | 9.992
11.3833 | 0.65363 | 9.9888
11.4 | 0.65328 | 9.9862
11.4167 | 0.65106 | 9.9776
11.4333 | 0.6469 | 9.9786
11.45 | 0.64172 | 9.9778
11.4667 | 0.63836 | 9.9761
11.4833 | 0.63517 | 9.9776
11.5 | 0.63252 | 9.9711
11.5167 | 0.63207 | 9.9651
11.5333 | 0.62985 | 9.9647
11.55 | 0.62558 | 9.9598
11.5667 | 0.62234 | 9.9545
11.5833 | 0.62059 | 9.9627
11.6 | 0.62064 | 9.9638
11.6167 | 0.6196 | 9.9671
11.6333 | 0.61591 | 9.968
11.65 | 0.61378 | 9.9751
11.6667 | 0.61322 | 9.9833
11.6833 | 0.61225 | 9.9908
11.7 | 0.61011 | 9.9871
11.7167 | 0.60744 | 9.9906
11.7333 | 0.60593 | 9.9963
11.75 | 0.60586 | 10.0068
11.7667 | 0.60508 | 10.0069
11.7833 | 0.6048 | 10.0085
11.8 | 0.60489 | 10.0053
11.8167 | 0.60487 | 10.0004
11.8333 | 0.60427 | 9.9996
11.85 | 0.60167 | 10.0018
11.8667 | 0.59828 | 10.0027
11.8833 | 0.59521 | 10.0033
11.9 | 0.59524 | 10.0088
11.9167 | 0.59532 | 10.0103
11.9333 | 0.59223 | 10.0025
11.95 | 0.58815 | 9.9958
11.9667 | 0.58668 | 9.9952
11.9833 | 0.58942 | 9.9961
12 | 0.59151 | 9.9943
12.0167 | 0.58933 | 9.9918
12.0333 | 0.587 | 10.0027
12.05 | 0.58675 | 10.0063
12.0667 | 0.58582 | 9.9996
12.0833 | 0.5821 | 9.9964
12.1 | 0.57822 | 9.9984
12.1167 | 0.57777 | 9.9989
12.1333 | 0.57795 | 9.996
12.15 | 0.57567 | 9.997
12.1667 | 0.57419 | 9.9973
12.1833 | 0.57501 | 9.9978
12.2 | 0.57823 | 9.999
12.2167 | 0.57818 | 9.9921
12.2333 | 0.57373 | 9.996
12.25 | 0.57179 | 9.9957
12.2667 | 0.57082 | 10.0015
12.2833 | 0.56919 | 10.0031
12.3 | 0.56894 | 10.0094
12.3167 | 0.56995 | 10.0091
12.3333 | 0.56928 | 10.0091
12.35 | 0.56727 | 10.0059
12.3667 | 0.56577 | 10.0018
12.3833 | 0.56561 | 9.9949
12.4 | 0.56696 | 9.9914
12.4167 | 0.56669 | 9.9998
12.4333 | 0.56383 | 9.9999
12.45 | 0.56067 | 9.9943
12.4667 | 0.5605 | 9.9816
12.4833 | 0.56195 | 9.9883
12.5 | 0.5597 | 9.9877
12.5167 | 0.559 | 9.9857
12.5333 | 0.56136 | 9.9879
12.55 | 0.56235 | 9.9857
12.5667 | 0.56183 | 9.9665
12.5833 | 0.55947 | 9.9752
12.6 | 0.55688 | 9.9728
12.6167 | 0.55645 | 9.976
12.6333 | 0.55791 | 9.9712
12.65 | 0.55683 | 9.97
12.6667 | 0.55629 | 9.968
12.6833 | 0.5587 | 9.9773
12.7 | 0.5593 | 9.9711
12.7167 | 0.55754 | 9.9714
12.7333 | 0.5578 | 9.9702
12.75 | 0.55864 | 9.9686
12.7667 | 0.55722 | 9.9738
12.7833 | 0.55641 | 9.9712
12.8 | 0.55664 | 9.9734
12.8167 | 0.55754 | 9.977
12.8333 | 0.55761 | 9.9754
12.85 | 0.5569 | 9.972
12.8667 | 0.55569 | 9.9728
12.8833 | 0.5553 | 9.9778
12.9 | 0.55602 | 9.9812
12.9167 | 0.55694 | 9.9831
12.9333 | 0.55835 | 9.9879
12.95 | 0.5604 | 9.9845
12.9667 | 0.56163 | 9.9883
12.9833 | 0.5617 | 9.9891
13 | 0.56339 | 9.996
13.0167 | 0.56644 | 9.9981
13.0333 | 0.56927 | 10.0043
13.05 | 0.57211 | 9.9975
13.0667 | 0.57569 | 10.0063
13.0833 | 0.57663 | 10.0011
13.1 | 0.57586 | 10.01
13.1167 | 0.57654 | 10.01
13.1333 | 0.57779 | 10.0112
13.15 | 0.57832 | 10.0036
13.1667 | 0.58058 | 10.0117
13.1833 | 0.58395 | 10.0076
13.2 | 0.58525 | 10.0047
13.2167 | 0.58718 | 10.0031
13.2333 | 0.59169 | 10.0072
13.25 | 0.59454 | 10.0124
13.2667 | 0.59685 | 10.0173
13.2833 | 0.60061 | 10.0198
13.3 | 0.6049 | 10.0192
13.3167 | 0.60834 | 10.0237
13.3333 | 0.61139 | 10.0283
13.35 | 0.61574 | 10.0314
13.3667 | 0.61961 | 10.0274
13.3833 | 0.62145 | 10.0315
13.4 | 0.62506 | 10.0237
13.4167 | 0.62992 | 10.0286
13.4333 | 0.63272 | 10.0275
13.45 | 0.63666 | 10.0298
13.4667 | 0.64255 | 10.0262
13.4833 | 0.64698 | 10.0347
13.5 | 0.64875 | 10.0329
13.5167 | 0.6508 | 10.0355
13.5333 | 0.65439 | 10.0298
13.55 | 0.65985 | 10.0297
13.5667 | 0.66579 | 10.0353
13.5833 | 0.67138 | 10.0344
13.6 | 0.6778 | 10.0323
13.6167 | 0.68271 | 10.039
13.6333 | 0.68791 | 10.0379
13.65 | 0.69562 | 10.0407
13.6667 | 0.70355 | 10.0408
13.6833 | 0.70909 | 10.0407
13.7 | 0.71461 | 10.0433
13.7167 | 0.72163 | 10.0484
13.7333 | 0.72802 | 10.0423
13.75 | 0.73489 | 10.0404
13.7667 | 0.74352 | 10.0433
13.7833 | 0.75349 | 10.041
13.8 | 0.76298 | 10.043
13.8167 | 0.77424 | 10.0425
13.8333 | 0.78695 | 10.0475
13.85 | 0.7982 | 10.0484
13.8667 | 0.80766 | 10.053
13.8833 | 0.81949 | 10.0509
13.9 | 0.83471 | 10.0529
13.9167 | 0.85111 | 10.0436
13.9333 | 0.86827 | 10.0452
13.95 | 0.88722 | 10.0442
13.9667 | 0.90702 | 10.0503
13.9833 | 0.92953 | 10.0513
14 | 0.95649 | 10.0527
14.0167 | 0.98626 | 10.0523
14.0333 | 1.0209 | 10.0413
14.05 | 1.0601 | 10.0399
14.0667 | 1.1038 | 10.0309
14.0833 | 1.1579 | 10.0324
14.1 | 1.224 | 10.0311
14.1167 | 1.3007 | 10.0356
14.1333 | 1.3931 | 10.0408
14.15 | 1.5059 | 10.0428
14.1667 | 1.6414 | 10.0448
14.1833 | 1.8039 | 10.048
14.2 | 1.9996 | 10.0513
14.2167 | 2.2323 | 10.0654
14.2333 | 2.5066 | 10.0718
14.25 | 2.8267 | 10.07
14.2667 | 3.1979 | 10.0813
14.2833 | 3.625 | 10.104
14.3 | 4.1079 | 10.1218
14.3167 | 4.6451 | 10.1508
14.3333 | 5.2344 | 10.1765
14.35 | 5.8703 | 10.2132
14.3667 | 6.5441 | 10.2401
14.3833 | 7.2452 | 10.2834
14.4 | 7.9631 | 10.331
14.4167 | 8.6855 | 10.3805
14.4333 | 9.3953 | 10.4356
14.45 | 10.0754 | 10.4995
14.4667 | 10.7117 | 10.5601
14.4833 | 11.2924 | 10.6271
14.5 | 11.8069 | 10.7003
14.5167 | 12.2456 | 10.7595
14.5333 | 12.6033 | 10.8308
14.55 | 12.8777 | 10.8987
14.5667 | 13.0694 | 10.9545
14.5833 | 13.183 | 11.0108
14.6 | 13.2251 | 11.0574
14.6167 | 13.2064 | 11.0912
14.6333 | 13.1382 | 11.123
14.65 | 13.0309 | 11.1489
14.6667 | 12.8972 | 11.1658
14.6833 | 12.7508 | 11.175
14.7 | 12.6002 | 11.1832
14.7167 | 12.4551 | 11.1933
14.7333 | 12.3273 | 11.191
14.75 | 12.2237 | 11.1869
14.7667 | 12.1461 | 11.1926
14.7833 | 12.0988 | 11.1864
14.8 | 12.0836 | 11.1942
14.8167 | 12.0975 | 11.2048
14.8333 | 12.1382 | 11.2251
14.85 | 12.2001 | 11.2411
14.8667 | 12.2797 | 11.2727
14.8833 | 12.375 | 11.2965
14.9 | 12.4763 | 11.3239
14.9167 | 12.5728 | 11.365
14.9333 | 12.6565 | 11.4108
14.95 | 12.723 | 11.4577
14.9667 | 12.7694 | 11.5166
14.9833 | 12.7901 | 11.5635
15 | 12.7785 | 11.6126
15.0167 | 12.7285 | 11.6639
15.0333 | 12.6396 | 11.711
15.05 | 12.5112 | 11.7622
15.0667 | 12.3402 | 11.8028
15.0833 | 12.1285 | 11.8339
15.1 | 11.8827 | 11.8588
15.1167 | 11.6028 | 11.8781
15.1333 | 11.29 | 11.8873
15.15 | 10.9509 | 11.8925
15.1667 | 10.5911 | 11.8876
15.1833 | 10.2145 | 11.8743
15.2 | 9.8246 | 11.8438
15.2167 | 9.4262 | 11.8177
15.2333 | 9.0246 | 11.7793
15.25 | 8.6261 | 11.7403
15.2667 | 8.2341 | 11.6877
15.2833 | 7.8499 | 11.6363
15.3 | 7.4754 | 11.5723
15.3167 | 7.1133 | 11.5154
15.3333 | 6.7679 | 11.4552
15.35 | 6.4368 | 11.3963
15.3667 | 6.1213 | 11.3435
15.3833 | 5.8247 | 11.2807
15.4 | 5.5459 | 11.2255
15.4167 | 5.2821 | 11.1648
15.4333 | 5.0331 | 11.1051
15.45 | 4.8002 | 11.0538
15.4667 | 4.582 | 10.9954
15.4833 | 4.3767 | 10.9347
15.5 | 4.1832 | 10.8808
15.5167 | 4.0013 | 10.8363
15.5333 | 3.829 | 10.7949
15.55 | 3.6661 | 10.7513
15.5667 | 3.5126 | 10.714
15.5833 | 3.3671 | 10.6754
15.6 | 3.2279 | 10.6466
15.6167 | 3.0945 | 10.6025
15.6333 | 2.9682 | 10.5747
15.65 | 2.8493 | 10.5454
15.6667 | 2.7366 | 10.525
15.6833 | 2.6283 | 10.492
15.7 | 2.5238 | 10.474
15.7167 | 2.4263 | 10.443
15.7333 | 2.3325 | 10.4174
15.75 | 2.2405 | 10.3965
15.7667 | 2.1557 | 10.3736
15.7833 | 2.076 | 10.3561
15.8 | 1.9976 | 10.3371
15.8167 | 1.9232 | 10.3194
15.8333 | 1.8543 | 10.3049
15.85 | 1.7899 | 10.2886
15.8667 | 1.7289 | 10.2787
15.8833 | 1.668 | 10.2691
15.9 | 1.6085 | 10.2589
15.9167 | 1.5537 | 10.2514
15.9333 | 1.5026 | 10.2311
15.95 | 1.4557 | 10.22
15.9667 | 1.4106 | 10.2117
15.9833 | 1.3668 | 10.1987
16 | 1.3262 | 10.1896
16.0167 | 1.2882 | 10.1875
16.0333 | 1.2515 | 10.1795
16.05 | 1.2143 | 10.1717
16.0667 | 1.1803 | 10.1591
16.0833 | 1.1506 | 10.1519
16.1 | 1.1203 | 10.1521
16.1167 | 1.0908 | 10.1525
16.1333 | 1.0644 | 10.1463
16.15 | 1.0405 | 10.1431
16.1667 | 1.0164 | 10.1337
16.1833 | 0.99272 | 10.1383
16.2 | 0.9723 | 10.1287
16.2167 | 0.95301 | 10.1272
16.2333 | 0.93519 | 10.1209
16.25 | 0.92057 | 10.1128
16.2667 | 0.90867 | 10.1157
16.2833 | 0.8958 | 10.1032
16.3 | 0.88246 | 10.0986
16.3167 | 0.87334 | 10.0974
16.3333 | 0.86523 | 10.0986
16.35 | 0.85637 | 10.0895
16.3667 | 0.85001 | 10.0845
16.3833 | 0.84564 | 10.078
16.4 | 0.84097 | 10.0834
16.4167 | 0.83522 | 10.0846
16.4333 | 0.82962 | 10.0829
16.45 | 0.82702 | 10.0808
16.4667 | 0.82847 | 10.0834
16.4833 | 0.82938 | 10.0721
16.5 | 0.8292 | 10.0727
16.5167 | 0.83158 | 10.0695
16.5333 | 0.83419 | 10.0675
16.55 | 0.83579 | 10.0631
16.5667 | 0.83774 | 10.0585
16.5833 | 0.84117 | 10.0587
16.6 | 0.84575 | 10.0546
16.6167 | 0.85262 | 10.0515
16.6333 | 0.86063 | 10.0498
16.65 | 0.86688 | 10.053
16.6667 | 0.87272 | 10.0562
16.6833 | 0.87939 | 10.0553
16.7 | 0.88718 | 10.0527
16.7167 | 0.89681 | 10.0455
16.7333 | 0.90613 | 10.0439
16.75 | 0.91376 | 10.0405
16.7667 | 0.92386 | 10.0327
16.7833 | 0.93688 | 10.0362
16.8 | 0.94931 | 10.0378
16.8167 | 0.96125 | 10.0367
16.8333 | 0.9739 | 10.0318
16.85 | 0.98845 | 10.0399
16.8667 | 1.0031 | 10.041
16.8833 | 1.0174 | 10.044
16.9 | 1.0338 | 10.0336
16.9167 | 1.051 | 10.0304
16.9333 | 1.0659 | 10.0361
16.95 | 1.0848 | 10.0411
16.9667 | 1.1094 | 10.0361
16.9833 | 1.1338 | 10.03
17 | 1.1584 | 10.0311
17.0167 | 1.1832 | 10.032
17.0333 | 1.2085 | 10.0373
17.05 | 1.2373 | 10.0369
17.0667 | 1.2678 | 10.0402
17.0833 | 1.2974 | 10.0399
17.1 | 1.3287 | 10.0399
17.1167 | 1.3619 | 10.0387
17.1333 | 1.3948 | 10.0382
17.15 | 1.43 | 10.0309
17.1667 | 1.4665 | 10.0349
17.1833 | 1.5035 | 10.0315
17.2 | 1.5434 | 10.0384
17.2167 | 1.5852 | 10.0327
17.2333 | 1.6275 | 10.0372
17.25 | 1.6727 | 10.0364
17.2667 | 1.7188 | 10.0399
17.2833 | 1.7628 | 10.0304
17.3 | 1.8086 | 10.0295
17.3167 | 1.8595 | 10.026
17.3333 | 1.9107 | 10.0277
17.35 | 1.9621 | 10.0192
17.3667 | 2.0161 | 10.0167
17.3833 | 2.0713 | 10.0137
17.4 | 2.1294 | 10.0085
17.4167 | 2.1885 | 10.0033
17.4333 | 2.2484 | 10.0025
17.45 | 2.3099 | 10.0043
17.4667 | 2.3725 | 10.0101
17.4833 | 2.4379 | 10.0105
17.5 | 2.5028 | 10.0143
17.5167 | 2.5691 | 10.0092
17.5333 | 2.6391 | 10.005
17.55 | 2.7108 | 10.0072
17.5667 | 2.7846 | 10.0068
17.5833 | 2.8607 | 10.0088
17.6 | 2.9383 | 10.0089
17.6167 | 3.0168 | 10.0164
17.6333 | 3.0972 | 10.0155
17.65 | 3.1786 | 10.0091
17.6667 | 3.2604 | 10.0079
17.6833 | 3.3431 | 10.0167
17.7 | 3.4263 | 10.0188
17.7167 | 3.5105 | 10.0234
17.7333 | 3.5945 | 10.0242
17.75 | 3.6814 | 10.026
17.7667 | 3.7714 | 10.019
17.7833 | 3.859 | 10.0277
17.8 | 3.9458 | 10.0295
17.8167 | 4.0341 | 10.0417
17.8333 | 4.122 | 10.0332
17.85 | 4.2083 | 10.0379
17.8667 | 4.2957 | 10.0391
17.8833 | 4.3864 | 10.0352
17.9 | 4.4788 | 10.0401
17.9167 | 4.5713 | 10.0365
17.9333 | 4.663 | 10.0332
17.95 | 4.7555 | 10.0271
17.9667 | 4.8512 | 10.0263
17.9833 | 4.9478 | 10.0222
18 | 5.0442 | 10.024
18.0167 | 5.1441 | 10.0231
18.0333 | 5.2448 | 10.021
18.05 | 5.3451 | 10.0233
18.0667 | 5.4486 | 10.0314
18.0833 | 5.5552 | 10.0266
18.1 | 5.6614 | 10.0333
18.1167 | 5.7673 | 10.0326
18.1333 | 5.8731 | 10.0471
18.15 | 5.9825 | 10.052
18.1667 | 6.0957 | 10.0694
18.1833 | 6.2093 | 10.0854
18.2 | 6.3248 | 10.1112
18.2167 | 6.4404 | 10.1246
18.2333 | 6.5565 | 10.156
18.25 | 6.6764 | 10.1739
18.2667 | 6.8002 | 10.1887
18.2833 | 6.9255 | 10.2026
18.3 | 7.0536 | 10.2158
18.3167 | 7.1834 | 10.2226
18.3333 | 7.3145 | 10.2398
18.35 | 7.4461 | 10.2428
18.3667 | 7.5758 | 10.2404
18.3833 | 7.7058 | 10.2335
18.4 | 7.8342 | 10.221
18.4167 | 7.9584 | 10.211
18.4333 | 8.08 | 10.1968
18.45 | 8.1992 | 10.1868
18.4667 | 8.3152 | 10.1778
18.4833 | 8.4259 | 10.1838
18.5 | 8.5336 | 10.1723
18.5167 | 8.6426 | 10.1612
18.5333 | 8.7526 | 10.1432
18.55 | 8.8654 | 10.1377
18.5667 | 8.984 | 10.1283
18.5833 | 9.111 | 10.1318
18.6 | 9.2481 | 10.1304
18.6167 | 9.3946 | 10.1356
18.6333 | 9.5529 | 10.1362
18.65 | 9.7221 | 10.1417
18.6667 | 9.9006 | 10.1421
18.6833 | 10.0855 | 10.1458
18.7 | 10.2721 | 10.1566
18.7167 | 10.4578 | 10.1699
18.7333 | 10.6368 | 10.1875
18.75 | 10.8033 | 10.212
18.7667 | 10.9551 | 10.2508
18.7833 | 11.089 | 10.281
18.8 | 11.2015 | 10.321
18.8167 | 11.2932 | 10.3613
18.8333 | 11.3662 | 10.4076
18.85 | 11.4214 | 10.444
18.8667 | 11.4618 | 10.4729
18.8833 | 11.4922 | 10.4916
18.9 | 11.5158 | 10.5015
18.9167 | 11.536 | 10.5027
18.9333 | 11.5555 | 10.5003
18.95 | 11.5778 | 10.485
18.9667 | 11.6051 | 10.4742
18.9833 | 11.6354 | 10.4461
19 | 11.6652 | 10.4144
19.0167 | 11.6932 | 10.3681
19.0333 | 11.7188 | 10.335
19.05 | 11.7377 | 10.3027
19.0667 | 11.7478 | 10.2731
19.0833 | 11.7433 | 10.2483
19.1 | 11.7154 | 10.2247
19.1167 | 11.6588 | 10.1925
19.1333 | 11.5662 | 10.1702
19.15 | 11.4289 | 10.1627
19.1667 | 11.2394 | 10.1411
19.1833 | 10.9871 | 10.1299
19.2 | 10.6636 | 10.1157
19.2167 | 10.2702 | 10.1044
19.2333 | 9.8106 | 10.0797
19.25 | 9.2924 | 10.0611
19.2667 | 8.7333 | 10.0399
19.2833 | 8.1585 | 10.0246
19.3 | 7.5998 | 9.9957
19.3167 | 7.0912 | 9.9917
19.3333 | 6.6706 | 9.9957
19.35 | 6.3772 | 10.0233
19.3667 | 6.2372 | 10.1075
19.3833 | 6.267 | 10.268
19.4 | 6.4772 | 10.525
19.4167 | 6.8664 | 10.9243
19.4333 | 7.4191 | 11.5166
19.45 | 8.1127 | 12.3598
19.4667 | 8.9179 | 13.4817
19.4833 | 9.8026 | 14.9203
19.5 | 10.7318 | 16.6788
19.5167 | 11.67 | 18.7722
19.5333 | 12.5878 | 21.1388
19.55 | 13.4599 | 23.6993
19.5667 | 14.2681 | 26.3325
19.5833 | 15.0017 | 28.9019
19.6 | 15.6558 | 31.2493
19.6167 | 16.2303 | 33.2177
19.6333 | 16.7257 | 34.6847
19.65 | 17.145 | 35.5526
19.6667 | 17.4937 | 35.7978
19.6833 | 17.7771 | 35.4067
19.7 | 17.9912 | 34.4401
19.7167 | 18.1302 | 32.9877
19.7333 | 18.1944 | 31.1788
19.75 | 18.1859 | 29.1354
19.7667 | 18.1066 | 26.9798
19.7833 | 17.9621 | 25.0306
19.8 | 17.7597 | 22.9581
19.8167 | 17.5126 | 21.0334
19.8333 | 17.2401 | 19.3102
19.85 | 16.9586 | 17.793
19.8667 | 16.6846 | 16.4951
19.8833 | 16.4384 | 15.4015
19.9 | 16.2339 | 14.4935
19.9167 | 16.0782 | 13.7405
19.9333 | 15.9767 | 13.1147
19.95 | 15.9304 | 12.5965
19.9667 | 15.9335 | 12.1687
19.9833 | 15.9761 | 11.8121
20 | 16.0434 | 11.5092
20.0167 | 16.1189 | 11.2371
20.0333 | 16.1832 | 10.9954
20.05 | 16.2181 | 10.7644
20.0667 | 16.2087 | 10.5311
20.0833 | 16.138 | 10.2848
20.1 | 15.9938 | 9.997
20.1167 | 15.7751 | 9.6679
20.1333 | 15.4835 | 9.2753
20.15 | 15.1251 | 8.8253
20.1667 | 14.7099 | 8.2999
20.1833 | 14.2506 | 7.7203
20.2 | 13.7607 | 7.0945
20.2167 | 13.2539 | 6.4613
20.2333 | 12.7456 | 5.8327
20.25 | 12.2483 | 5.2473
20.2667 | 11.7698 | 4.7346
20.2833 | 11.318 | 4.3331
20.3 | 10.9083 | 4.056
20.3167 | 10.5571 | 3.9289
20.3333 | 10.2813 | 3.9584
20.35 | 10.1046 | 4.1395
20.3667 | 10.0609 | 4.4315
20.3833 | 10.1936 | 4.8373
20.4 | 10.5536 | 5.3129
20.4167 | 11.1991 | 5.8331
20.4333 | 12.1924 | 6.3631
20.45 | 13.5993 | 6.8871
20.4667 | 15.4804 | 7.3879
20.4833 | 17.8784 | 7.8463
20.5 | 20.8079 | 8.2667
20.5167 | 24.2457 | 8.6352
20.5333 | 28.1351 | 8.9649
20.55 | 32.3708 | 9.2522
20.5667 | 36.7948 | 9.504
20.5833 | 41.2181 | 9.7323
20.6 | 45.427 | 9.9397
20.6167 | 49.1937 | 10.1395
20.6333 | 52.3011 | 10.3419
20.65 | 54.5663 | 10.5343
20.6667 | 55.8497 | 10.7397
20.6833 | 56.0682 | 10.939
20.7 | 55.1994 | 11.1362
20.7167 | 53.2726 | 11.3148
20.7333 | 50.3617 | 11.4933
20.75 | 46.5647 | 11.6544
20.7667 | 41.9914 | 11.7886
20.7833 | 36.7452 | 11.8966
20.8 | 30.9153 | 11.9633
20.8167 | 24.5753 | 12.0014
20.8333 | 17.7799 | 11.9997
20.85 | 10.5794 | 11.9619
20.8667 | 3.0247 | 11.8928
20.8833 | -4.818 | 11.7924
20.9 | -12.8454 | 11.6659
20.9167 | -20.9158 | 11.5229
20.9333 | -28.8473 | 11.3718
20.95 | -36.4223 | 11.2096
20.9667 | -43.4101 | 11.0441
20.9833 | -49.5776 | 10.8891
21 | -54.7068 | 10.7304
21.0167 | -58.6231 | 10.5972
21.0333 | -61.2115 | 10.4749
21.05 | -62.4293 | 10.3799
21.0667 | -62.3061 | 10.292
21.0833 | -60.9423 | 10.2181
21.1 | -58.4983 | 10.1472
21.1167 | -55.1735 | 10.1014
21.1333 | -51.1863 | 10.0591
21.15 | -46.7606 | 10.0227
21.1667 | -42.1108 | 10.0088
21.1833 | -37.4216 | 9.9854
21.2 | -32.8432 | 9.9712
21.2167 | -28.4946 | 9.9685
21.2333 | -24.4598 | 9.9601
21.25 | -20.7876 | 9.959
21.2667 | -17.5003 | 9.9596
21.2833 | -14.6006 | 9.9566
21.3 | -12.0759 | 9.9638
21.3167 | -9.9002 | 9.9728
21.3333 | -8.0456 | 9.9775
21.35 | -6.4812 | 9.9899
21.3667 | -5.1714 | 9.9986
21.3833 | -4.0848 | 10.005
21.4 | -3.1877 | 10.0013
21.4167 | -2.4511 | 10.0031
21.4333 | -1.8549 | 10.0135
21.45 | -1.3747 | 10.0149
21.4667 | -0.98727 | 10.0228
21.4833 | -0.67834 | 10.0256
21.5 | -0.43606 | 10.0275
21.5167 | -0.24792 | 10.026
21.5333 | -0.10209 | 10.026
21.55 | 0.01155 | 10.0134
21.5667 | 0.098007 | 10.003
21.5833 | 0.16085 | 9.9813
21.6 | 0.20843 | 9.9635
21.6167 | 0.24493 | 9.9343
21.6333 | 0.26967 | 9.8951
21.65 | 0.28563 | 9.844
21.6667 | 0.29591 | 9.77
21.6833 | 0.30104 | 9.6767
21.7 | 0.30159 | 9.5608
21.7167 | 0.29908 | 9.4183
21.7333 | 0.29665 | 9.2457
21.75 | 0.2952 | 9.0389
21.7667 | 0.29241 | 8.796
21.7833 | 0.28594 | 8.5131
21.8 | 0.27824 | 8.1838
21.8167 | 0.27115 | 7.83
21.8333 | 0.26388 | 7.439
21.85 | 0.25696 | 7.0283
21.8667 | 0.25085 | 6.6061
21.8833 | 0.24492 | 6.1857
21.9 | 0.23909 | 5.7731
21.9167 | 0.23209 | 5.4331
21.9333 | 0.22555 | 5.0951
21.95 | 0.22013 | 4.8196
21.9667 | 0.21426 | 4.6024
21.9833 | 0.20821 | 4.4616
22 | 0.20275 | 4.3978
22.0167 | 0.19732 | 4.4204
22.0333 | 0.1931 | 4.5271
22.05 | 0.19147 | 4.7067
22.0667 | 0.18992 | 4.9506
22.0833 | 0.18747 | 5.2517
22.1 | 0.18544 | 5.595
22.1167 | 0.18338 | 5.9736
22.1333 | 0.18156 | 6.3671
22.15 | 0.18061 | 6.7622
22.1667 | 0.18358 | 7.1493
22.1833 | 0.19213 | 7.5178
22.2 | 0.20476 | 7.8651
22.2167 | 0.22404 | 8.1768
22.2333 | 0.25343 | 8.4589
22.25 | 0.29673 | 8.711
22.2667 | 0.36032 | 8.933
22.2833 | 0.44755 | 9.1274
22.3 | 0.56443 | 9.2838
22.3167 | 0.72292 | 9.4112
22.3333 | 0.93119 | 9.5229
22.35 | 1.1987 | 9.6024
22.3667 | 1.5386 | 9.6766
22.3833 | 1.9642 | 9.7265
22.4 | 2.4841 | 9.764
22.4167 | 3.108 | 9.7768
22.4333 | 3.8437 | 9.7863
22.45 | 4.694 | 9.7723
22.4667 | 5.6597 | 9.755
22.4833 | 6.7365 | 9.7228
22.5 | 7.9102 | 9.6786
22.5167 | 9.1571 | 9.6156
22.5333 | 10.4568 | 9.5351
22.55 | 11.7796 | 9.4376
22.5667 | 13.0862 | 9.3327
22.5833 | 14.3376 | 9.2075
22.6 | 15.4941 | 9.0723
22.6167 | 16.5168 | 8.9216
22.6333 | 17.3666 | 8.7656
22.65 | 18.0135 | 8.6077
22.6667 | 18.439 | 8.4545
22.6833 | 18.6252 | 8.3105
22.7 | 18.566 | 8.1725
22.7167 | 18.2688 | 8.0556
22.7333 | 17.746 | 7.9411
22.75 | 17.02 | 7.8591
22.7667 | 16.1221 | 7.8004
22.7833 | 15.0876 | 7.7741
22.8 | 13.9538 | 7.779
22.8167 | 12.7536 | 7.8086
22.8333 | 11.5223 | 7.8696
22.85 | 10.2965 | 7.9575
22.8667 | 9.102 | 8.0618
22.8833 | 7.9636 | 8.1898
22.9 | 6.9014 | 8.3283
22.9167 | 5.9256 | 8.4754
22.9333 | 5.0441 | 8.6271
22.95 | 4.2605 | 8.7711
22.9667 | 3.5742 | 8.9173
22.9833 | 2.9818 | 9.0343
23 | 2.4753 | 9.1669
23.0167 | 2.0469 | 9.2858
23.0333 | 1.6903 | 9.4044
23.05 | 1.396 | 9.4987
23.0667 | 1.1532 | 9.5832
23.0833 | 0.95545 | 9.6476
23.1 | 0.79643 | 9.7114
23.1167 | 0.66838 | 9.7663
23.1333 | 0.56541 | 9.8119
23.15 | 0.48365 | 9.8499
23.1667 | 0.42006 | 9.8847
23.1833 | 0.36815 | 9.9006
23.2 | 0.32394 | 9.9157
23.2167 | 0.28923 | 9.9351
23.2333 | 0.26268 | 9.9598
23.25 | 0.24142 | 9.9683
23.2667 | 0.22547 | 9.9796
23.2833 | 0.2125 | 9.9738
23.3 | 0.19991 | 9.9848
23.3167 | 0.18743 | 9.9863
23.3333 | 0.17694 | 9.9857
23.35 | 0.16667 | 9.9883
23.3667 | 0.15888 | 9.9824
23.3833 | 0.1562 | 9.9772
23.4 | 0.15286 | 9.9725
23.4167 | 0.14518 | 9.9712
23.4333 | 0.13784 | 9.9702
23.45 | 0.13131 | 9.9743
23.4667 | 0.12681 | 9.9799
23.4833 | 0.12764 | 9.9868
23.5 | 0.1276 | 9.9822
23.5167 | 0.1231 | 9.9836
23.5333 | 0.12007 | 9.9778
23.55 | 0.11908 | 9.9778
23.5667 | 0.11681 | 9.9812
23.5833 | 0.11446 | 9.9825
23.6 | 0.11174 | 9.9773
23.6167 | 0.10805 | 9.9813
23.6333 | 0.10533 | 9.9717
23.65 | 0.10278 | 9.974
23.6667 | 0.10016 | 9.9761
23.6833 | 0.10033 | 9.979
23.7 | 0.10134 | 9.976
23.7167 | 0.10039 | 9.976
23.7333 | 0.098661 | 9.9706
23.75 | 0.097064 | 9.9781
23.7667 | 0.093634 | 9.9799
23.7833 | 0.08974 | 9.9787
23.8 | 0.087598 | 9.985
23.8167 | 0.085444 | 9.9821
23.8333 | 0.085501 | 9.9754
23.85 | 0.085967 | 9.9673
23.8667 | 0.083996 | 9.9712
23.8833 | 0.081744 | 9.9712
23.9 | 0.080918 | 9.9714
23.9167 | 0.080621 | 9.9741
23.9333 | 0.079591 | 9.9744
23.95 | 0.077171 | 9.9699
23.9667 | 0.075385 | 9.968
23.9833 | 0.075489 | 9.9682
24 | 0.075105 | 9.9618
24.0167 | 0.07468 | 9.9523
24.0333 | 0.074424 | 9.9506
24.05 | 0.073553 | 9.9566
24.0667 | 0.073649 | 9.9615
24.0833 | 0.072952 | 9.9641
24.1 | 0.070638 | 9.9717
24.1167 | 0.069703 | 9.9679
24.1333 | 0.069345 | 9.972
24.15 | 0.06932 | 9.9694
24.1667 | 0.069403 | 9.9644
24.1833 | 0.069635 | 9.9657
24.2 | 0.069923 | 9.9775
24.2167 | 0.069633 | 9.9786
24.2333 | 0.067681 | 9.9802
24.25 | 0.065285 | 9.9874
24.2667 | 0.065902 | 9.9911
24.2833 | 0.067603 | 9.9876
24.3 | 0.068803 | 9.987
24.3167 | 0.066958 | 9.9824
24.3333 | 0.063631 | 9.978
24.35 | 0.061615 | 9.9795
24.3667 | 0.05999 | 9.9758
24.3833 | 0.059426 | 9.9812
24.4 | 0.05825 | 9.9827
24.4167 | 0.056315 | 9.9877
24.4333 | 0.053925 | 9.9859
24.45 | 0.052425 | 9.9989
24.4667 | 0.051651 | 9.9952
24.4833 | 0.051932 | 10.0001
24.5 | 0.053743 | 9.9978
24.5167 | 0.053102 | 9.9984
24.5333 | 0.050286 | 9.9963
24.55 | 0.048632 | 9.9926
24.5667 | 0.048933 | 9.9947
24.5833 | 0.048007 | 9.9937
24.6 | 0.045146 | 9.9883
24.6167 | 0.044147 | 9.9908
24.6333 | 0.042549 | 9.9949
24.65 | 0.040398 | 9.9923
24.6667 | 0.040915 | 9.9911
24.6833 | 0.04064 | 9.9917
24.7 | 0.038563 | 9.9938
24.7167 | 0.038077 | 9.9947
24.7333 | 0.038928 | 9.9931
24.75 | 0.039148 | 9.996
24.7667 | 0.040298 | 9.9892
24.7833 | 0.041783 | 9.9964
24.8 | 0.039165 | 10.0059
24.8167 | 0.034845 | 10.0118
24.8333 | 0.032849 | 10.0109
24.85 | 0.031268 | 10.0146
24.8667 | 0.030332 | 10.0213
24.8833 | 0.030758 | 10.0271
24.9 | 0.031093 | 10.0353
24.9167 | 0.030166 | 10.0263
24.9333 | 0.029911 | 10.0249
24.95 | 0.030835 | 10.0147
24.9667 | 0.031171 | 10.0179
24.9833 | 0.030717 | 10.0161
25 | 0.028681 | 10.0199
25.0167 | 0.027335 | 10.0146
25.0333 | 0.028609 | 10.0214
25.05 | 0.029054 | 10.0159
25.0667 | 0.026279 | 10.0118
25.0833 | 0.023158 | 10.006
25.1 | 0.022097 | 10.01
25.1167 | 0.023235 | 9.9969
25.1333 | 0.024709 | 9.9912
25.15 | 0.024782 | 9.9944
25.1667 | 0.02399 | 10.0025
25.1833 | 0.024029 | 10.0137
25.2 | 0.023208 | 10.0176
25.2167 | 0.021516 | 10.021
25.2333 | 0.02066 | 10.022
25.25 | 0.019225 | 10.0169
25.2667 | 0.018173 | 10.0127
25.2833 | 0.018616 | 10.0167
25.3 | 0.019496 | 10.012
25.3167 | 0.019118 | 10.0175
25.3333 | 0.017649 | 10.0204
25.35 | 0.019268 | 10.0254
25.3667 | 0.021526 | 10.0179
25.3833 | 0.021246 | 10.0172
25.4 | 0.018524 | 10.0108
25.4167 | 0.016732 | 10.0182
25.4333 | 0.01861 | 10.021
25.45 | 0.020862 | 10.0292
25.4667 | 0.01844 | 10.0329
25.4833 | 0.016399 | 10.0265
25.5 | 0.017303 | 10.0216
25.5167 | 0.015735 | 10.017
25.5333 | 0.015342 | 10.0161
25.55 | 0.015813 | 10.0147
25.5667 | 0.01498 | 10.022
25.5833 | 0.015841 | 10.0228
25.6 | 0.017506 | 10.0208
25.6167 | 0.016415 | 10.0156
25.6333 | 0.013835 | 10.0236
25.65 | 0.012208 | 10.0243
25.6667 | 0.013274 | 10.0253
25.6833 | 0.015295 | 10.0205
25.7 | 0.014478 | 10.0239
25.7167 | 0.011891 | 10.0236
25.7333 | 0.010727 | 10.026
25.75 | 0.010561 | 10.0257
25.7667 | 0.0093023 | 10.0259
25.7833 | 0.0085529 | 10.0115
25.8 | 0.0087303 | 10.014
25.8167 | 0.0089995 | 10.006
25.8333 | 0.0091315 | 10.0027
25.85 | 0.0088532 | 9.9967
25.8667 | 0.0086077 | 9.9944
25.8833 | 0.0089703 | 9.9856
25.9 | 0.0095559 | 9.987
25.9167 | 0.010258 | 9.9873
25.9333 | 0.0097128 | 9.9938
25.95 | 0.010212 | 10.0047
25.9667 | 0.01174 | 9.9981
25.9833 | 0.01274 | 9.999
26 | 0.011529 | 10.0063
26.0167 | 0.007713 | 10.0011
26.0333 | 0.0046942 | 9.9996
26.05 | 0.0057561 | 9.9937
26.0667 | 0.0085612 | 9.994
26.0833 | 0.0082987 | 10.0007
26.1 | 0.0074464 | 9.9899
26.1167 | 0.0081539 | 9.9886
26.1333 | 0.0090943 | 9.9963
26.15 | 0.0082399 | 9.9957
26.1667 | 0.0065826 | 9.9964
26.1833 | 0.0059015 | 9.9992
26.2 | 0.0052409 | 9.9981
26.2167 | 0.0059048 | 9.9935
26.2333 | 0.0053003 | 9.9837
26.25 | 0.0030447 | 9.9935
26.2667 | 0.0022381 | 9.9979
26.2833 | 0.0020885 | 10.005
26.3 | 0.0026086 | 9.9981
26.3167 | 0.0032654 | 9.9987
26.3333 | 0.0017371 | 9.9938
26.35 | 0.0011474 | 9.9929
26.3667 | 0.0026571 | 9.9836
26.3833 | 0.0020771 | 9.9804
26.4 | 4.937e-05 | 9.9844
26.4167 | 0.00018496 | 9.9859
26.4333 | 0.0019734 | 9.9798
26.45 | 0.0014062 | 9.9776
26.4667 | -0.0017766 | 9.9831
26.4833 | -0.0028457 | 9.9873
26.5 | -0.0014491 | 9.9851
26.5167 | -0.00017191 | 9.9804
26.5333 | -0.00099558 | 9.986
26.55 | -0.0020371 | 9.9894
26.5667 | -0.0011646 | 9.9874
26.5833 | -0.00045139 | 9.9854
26.6 | 0.0002814 | 9.996
26.6167 | -0.00027583 | 9.9914
26.6333 | -0.0026698 | 9.9915
26.65 | -0.0043583 | 9.9883
26.6667 | -0.0040331 | 9.9914
26.6833 | -0.0026542 | 9.9947
26.7 | -0.0021888 | 9.9926
26.7167 | -0.0035434 | 9.9917
26.7333 | -0.0038273 | 9.9976
26.75 | -0.0029206 | 9.9944
26.7667 | -0.0035324 | 9.9957
26.7833 | -0.0045731 | 10.0004
26.8 | -0.0034046 | 10.0027
26.8167 | -0.0029585 | 10.0088
26.8333 | -0.0049041 | 10.0117
26.85 | -0.004004 | 10.0056
26.8667 | -0.0025937 | 10.0042
26.8833 | -0.0045429 | 10.0021
26.9 | -0.0068229 | 10.003
26.9167 | -0.0077884 | 10.0008
26.9333 | -0.0069008 | 9.9963
26.95 | -0.0049513 | 10.0015
26.9667 | -0.0039786 | 9.9943
26.9833 | -0.0024623 | 10.0025
27 | -0.0012971 | 9.9957
27.0167 | -0.0027871 | 9.994
27.0333 | -0.0047107 | 9.9908
27.05 | -0.0044583 | 9.9976
27.0667 | -0.0033889 | 9.9931
27.0833 | -0.0064712 | 9.9946
27.1 | -0.0086683 | 9.9947
27.1167 | -0.0069962 | 9.9992
27.1333 | -0.006931 | 9.9981
27.15 | -0.0085346 | 9.9966
27.1667 | -0.010664 | 9.9969
27.1833 | -0.011449 | 9.9966
27.2 | -0.011702 | 9.9964
27.2167 | -0.01206 | 9.9934
27.2333 | -0.010494 | 9.9964
27.25 | -0.0098062 | 10.0062
27.2667 | -0.0099466 | 10.0072
27.2833 | -0.010099 | 10.0037
27.3 | -0.0099871 | 9.9986
27.3167 | -0.010258 | 10.0042
27.3333 | -0.012787 | 10.0129
27.35 | -0.015251 | 10.0079
27.3667 | -0.016843 | 10.01
27.3833 | -0.016929 | 10.0124
27.4 | -0.014703 | 10.0153
27.4167 | -0.013529 | 10.0143
27.4333 | -0.013593 | 10.0208
27.45 | -0.014177 | 10.0155
27.4667 | -0.015361 | 10.0198
27.4833 | -0.014247 | 10.0207
27.5 | -0.013727 | 10.0248
27.5167 | -0.01456 | 10.0188
27.5333 | -0.013881 | 10.0214
27.55 | -0.01502 | 10.0246
27.5667 | -0.017558 | 10.0236
27.5833 | -0.017333 | 10.0192
27.6 | -0.015847 | 10.0155
27.6167 | -0.016094 | 10.0173
27.6333 | -0.016017 | 10.0098
27.65 | -0.014898 | 10.0051
27.6667 | -0.015301 | 10.0036
27.6833 | -0.016687 | 10.0025
27.7 | -0.017444 | 10.0094
27.7167 | -0.016302 | 10.0053
27.7333 | -0.014118 | 9.9998
27.75 | -0.014208 | 10.0004
27.7667 | -0.014307 | 9.9984
27.7833 | -0.014486 | 10.0042
27.8 | -0.017231 | 10.0028
27.8167 | -0.01743 | 10.01
27.8333 | -0.015306 | 10.0112
27.85 | -0.016179 | 10.0114
27.8667 | -0.019708 | 10.006
27.8833 | -0.021987 | 10.0101
27.9 | -0.020879 | 10.003
27.9167 | -0.019401 | 10.0105
27.9333 | -0.019136 | 10.0034
27.95 | -0.019317 | 9.9958
27.9667 | -0.01907 | 9.9972
27.9833 | -0.01877 | 9.9931
28 | -0.018892 | 9.987
28.0167 | -0.018999 | 9.9987
28.0333 | -0.019506 | 10.0079
28.05 | -0.018612 | 10.0101
28.0667 | -0.016956 | 10.0089
28.0833 | -0.016908 | 10.0085
28.1 | -0.018562 | 10.0103
28.1167 | -0.019671 | 10.0185
28.1333 | -0.020261 | 10.0179
28.15 | -0.020627 | 10.0123
28.1667 | -0.020326 | 10.0159
28.1833 | -0.01955 | 10.0185
28.2 | -0.019272 | 10.008
28.2167 | -0.019849 | 10.0051
28.2333 | -0.020085 | 9.9992
28.25 | -0.020252 | 9.9976
28.2667 | -0.021191 | 9.9986
28.2833 | -0.021764 | 10.0037
28.3 | -0.021337 | 10.004
28.3167 | -0.021366 | 10.0095
28.3333 | -0.021512 | 10.0152
28.35 | -0.021809 | 10.0108
28.3667 | -0.022629 | 10.0217
28.3833 | -0.021649 | 10.0201
28.4 | -0.019608 | 10.015
28.4167 | -0.019298 | 10.0167
28.4333 | -0.020009 | 10.0202
28.45 | -0.021742 | 10.0127
28.4667 | -0.023707 | 10.0103
28.4833 | -0.023792 | 10.0127
28.5 | -0.023823 | 10.0144
28.5167 | -0.025796 | 10.0143
28.5333 | -0.027088 | 10.0184
28.55 | -0.027179 | 10.0205
28.5667 | -0.027051 | 10.0175
28.5833 | -0.025058 | 10.024
28.6 | -0.025263 | 10.0195
28.6167 | -0.028326 | 10.0228
28.6333 | -0.027369 | 10.0195
28.65 | -0.024693 | 10.0222
28.6667 | -0.026085 | 10.0222
28.6833 | -0.02823 | 10.0172
28.7 | -0.028633 | 10.015
28.7167 | -0.02935 | 10.0155
28.7333 | -0.03062 | 10.0051
28.75 | -0.032196 | 10.0115
28.7667 | -0.030879 | 10.0094
28.7833 | -0.027835 | 10.0126
28.8 | -0.027712 | 10.0072
28.8167 | -0.028469 | 10.0152
28.8333 | -0.028516 | 10.0043
28.85 | -0.029252 | 10.004
28.8667 | -0.030309 | 10.0068
28.8833 | -0.031083 | 10.0117
28.9 | -0.030865 | 10.0164
28.9167 | -0.029479 | 10.0222
28.9333 | -0.028572 | 10.0213
28.95 | -0.028616 | 10.0216
28.9667 | -0.028594 | 10.0188
28.9833 | -0.02796 | 10.0111
29 | -0.027581 | 10.0153
29.0167 | -0.028723 | 10.0199
29.0333 | -0.028884 | 10.0178
29.05 | -0.028973 | 10.0118
29.0667 | -0.031135 | 10.0115
29.0833 | -0.032607 | 10.0118
29.1 | -0.032232 | 10.0216
29.1167 | -0.03035 | 10.0152
29.1333 | -0.028782 | 10.0176
29.15 | -0.02905 | 10.0083
29.1667 | -0.028986 | 10.0156
29.1833 | -0.027086 | 10.0127
29.2 | -0.02623 | 10.019
29.2167 | -0.025592 | 10.0224
29.2333 | -0.026769 | 10.0248
29.25 | -0.029786 | 10.0259
29.2667 | -0.032212 | 10.0249
29.2833 | -0.032587 | 10.0233
29.3 | -0.03145 | 10.0217
29.3167 | -0.03041 | 10.0216
29.3333 | -0.02901 | 10.023
29.35 | -0.030374 | 10.0204
29.3667 | -0.033017 | 10.0176
29.3833 | -0.032072 | 10.023
29.4 | -0.031097 | 10.0257
29.4167 | -0.031697 | 10.0239
29.4333 | -0.03026 | 10.0278
29.45 | -0.029114 | 10.0277
29.4667 | -0.029332 | 10.0298
29.4833 | -0.029549 | 10.0288
29.5 | -0.030231 | 10.0303
29.5167 | -0.029021 | 10.0311
29.5333 | -0.026727 | 10.0346
29.55 | -0.026528 | 10.0379
29.5667 | -0.026597 | 10.0303
29.5833 | -0.026146 | 10.0286
29.6 | -0.027363 | 10.0237
29.6167 | -0.026971 | 10.0195
29.6333 | -0.024542 | 10.0159
29.65 | -0.023016 | 10.0092
29.6667 | -0.023661 | 10.0111
29.6833 | -0.024004 | 10.0101
29.7 | -0.025987 | 10.0063
29.7167 | -0.028603 | 10.0047
29.7333 | -0.028266 | 10.0047
29.75 | -0.027091 | 10.0193
29.7667 | -0.026392 | 10.0201
29.7833 | -0.027462 | 10.0149
29.8 | -0.02904 | 10.008
29.8167 | -0.028726 | 10.0086
29.8333 | -0.028054 | 10.0053
29.85 | -0.026631 | 10.0089
29.8667 | -0.025112 | 10.0129
29.8833 | -0.026296 | 10.0153
29.9 | -0.027778 | 10.0121
29.9167 | -0.0278 | 10.0066
29.9333 | -0.028394 | 10.0036
29.95 | -0.028736 | 10.0089
29.9667 | -0.027099 | 10.0088
29.9833 | -0.02609 | 10.0118
30 | -0.027929 | 10.0233
30.0167 | -0.029756

## MW Results
Administrative Information
File name | ICF_25_05_2022-0001.sample
Analysed by | Agilent GPC 1
Date of analysis | 25 May 2022 15:34:53
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 36111 | 33558 | 43245 | 53495 | 63632 | 41777 | 1.2887
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 8.5833 | 13.1
Baseline region 2 | 25.3 | 29.6333
Peaks | Start (mins) | End (mins)
Peak 1 | 14.0833 | 16.3667
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 14.6 | 735.1949 | 12.2991
| RI | 15.15 | 102.9247 | 1.8863
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.2833 | 20.1
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 25 May 2022 15:34:53
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6667
FRCF | 0.99322
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.0833 | 0.19275 | 0.026378 | 0.02569 | 0.00025615 | 1 | 143582 | 5.1571 | 0.02593 | No | 1
14.1 | 0.26013 | 0.025003 | 0.027291 | 0.0002428 | 0.99975 | 140436 | 5.1475 | 0.02757 | No | 1
14.1167 | 0.33805 | 0.029579 | 0.032173 | 0.00028724 | 0.99949 | 137361 | 5.1379 | 0.032529 | No | 1
14.1333 | 0.43168 | 0.034766 | 0.035757 | 0.00033761 | 0.99917 | 134357 | 5.1283 | 0.036185 | No | 1
14.15 | 0.54581 | 0.036748 | 0.037739 | 0.00035686 | 0.99883 | 131420 | 5.1187 | 0.038225 | No | 1
14.1667 | 0.6826 | 0.03873 | 0.040332 | 0.00037611 | 0.99846 | 128551 | 5.1091 | 0.040886 | No | 1
14.1833 | 0.84634 | 0.041933 | 0.043611 | 0.00040721 | 0.99807 | 125746 | 5.0995 | 0.044249 | No | 1
14.2 | 1.0433 | 0.045289 | 0.052307 | 0.0004398 | 0.99764 | 123005 | 5.0899 | 0.053119 | No | 1
14.2167 | 1.2772 | 0.059326 | 0.062529 | 0.00057611 | 0.99713 | 120326 | 5.0804 | 0.063555 | No | 1
14.2333 | 1.5528 | 0.065733 | 0.064817 | 0.00063833 | 0.99653 | 117708 | 5.0708 | 0.065937 | No | 1
14.25 | 1.8742 | 0.063901 | 0.069546 | 0.00062053 | 0.9959 | 115149 | 5.0613 | 0.070809 | No | 1
14.2667 | 2.2467 | 0.075191 | 0.086558 | 0.00073017 | 0.99522 | 112647 | 5.0517 | 0.088207 | No | 1
14.2833 | 2.675 | 0.097925 | 0.10685 | 0.00095094 | 0.99438 | 110202 | 5.0422 | 0.10898 | No | 1
14.3 | 3.1591 | 0.11578 | 0.13027 | 0.0011243 | 0.99334 | 107812 | 5.0327 | 0.13298 | No | 1
14.3167 | 3.6976 | 0.14477 | 0.15758 | 0.0014058 | 0.99208 | 105476 | 5.0232 | 0.161 | No | 1
14.3333 | 4.2882 | 0.1704 | 0.18879 | 0.0016547 | 0.99055 | 103193 | 5.0137 | 0.19305 | No | 1
14.35 | 4.9253 | 0.20717 | 0.2206 | 0.0020118 | 0.98871 | 100961 | 5.0042 | 0.22578 | No | 1
14.3667 | 5.6004 | 0.23403 | 0.25569 | 0.0022726 | 0.98657 | 98779 | 4.9947 | 0.26192 | No | 1
14.3833 | 6.3027 | 0.27736 | 0.30116 | 0.0026934 | 0.98408 | 96646 | 4.9852 | 0.30876 | No | 1
14.4 | 7.0219 | 0.32497 | 0.34968 | 0.0031557 | 0.98116 | 94561 | 4.9757 | 0.35882 | No | 1
14.4167 | 7.7456 | 0.3744 | 0.40194 | 0.0036358 | 0.97776 | 92522 | 4.9662 | 0.4128 | No | 1
14.4333 | 8.4567 | 0.42949 | 0.46145 | 0.0041707 | 0.97386 | 90529 | 4.9568 | 0.47432 | No | 1
14.45 | 9.138 | 0.49342 | 0.52371 | 0.0047915 | 0.96937 | 88581 | 4.9473 | 0.53878 | No | 1
14.4667 | 9.7756 | 0.554 | 0.58749 | 0.0053798 | 0.96428 | 86677 | 4.9379 | 0.60491 | No | 1
14.4833 | 10.3576 | 0.62098 | 0.6576 | 0.0060303 | 0.95858 | 84814 | 4.9285 | 0.67768 | No | 1
14.5 | 10.8733 | 0.69422 | 0.72382 | 0.0067415 | 0.95219 | 82994 | 4.919 | 0.74656 | No | 1
14.5167 | 11.3133 | 0.75342 | 0.78905 | 0.0073164 | 0.94515 | 81214 | 4.9096 | 0.81454 | No | 1
14.5333 | 11.6723 | 0.82468 | 0.85863 | 0.0080084 | 0.93749 | 79473 | 4.9002 | 0.88712 | No | 1
14.55 | 11.948 | 0.89258 | 0.9205 | 0.0086678 | 0.92915 | 77772 | 4.8908 | 0.95186 | No | 1
14.5667 | 12.1409 | 0.94843 | 0.97658 | 0.0092101 | 0.9202 | 76108 | 4.8814 | 1.0107 | No | 1
14.5833 | 12.2558 | 1.0047 | 1.028 | 0.0097568 | 0.91071 | 74481 | 4.872 | 1.0648 | No | 1
14.6 | 12.2991 | 1.0513 | 1.0682 | 0.010209 | 0.90073 | 72890 | 4.8627 | 1.1074 | No | 1
14.6167 | 12.2817 | 1.0851 | 1.101 | 0.010538 | 0.89035 | 71335 | 4.8533 | 1.1424 | No | 1
14.6333 | 12.2147 | 1.1169 | 1.1298 | 0.010846 | 0.87965 | 69814 | 4.8439 | 1.1733 | No | 1
14.65 | 12.1087 | 1.1428 | 1.1513 | 0.011098 | 0.86867 | 68327 | 4.8346 | 1.1966 | No | 1
14.6667 | 11.9763 | 1.1598 | 1.1643 | 0.011262 | 0.85749 | 66872 | 4.8252 | 1.2112 | No | 1
14.6833 | 11.8311 | 1.1689 | 1.173 | 0.011351 | 0.84617 | 65450 | 4.8159 | 1.2212 | No | 1
14.7 | 11.6818 | 1.1771 | 1.1822 | 0.011431 | 0.83478 | 64059 | 4.8066 | 1.2318 | No | 1
14.7167 | 11.538 | 1.1872 | 1.1861 | 0.011529 | 0.82329 | 62699 | 4.7973 | 1.2369 | No | 1
14.7333 | 11.4114 | 1.1849 | 1.1829 | 0.011507 | 0.81177 | 61369 | 4.7879 | 1.2346 | No | 1
14.75 | 11.3091 | 1.1808 | 1.1836 | 0.011467 | 0.80028 | 60068 | 4.7786 | 1.2364 | No | 1
14.7667 | 11.2328 | 1.1864 | 1.1834 | 0.011521 | 0.78878 | 58796 | 4.7693 | 1.2372 | No | 1
14.7833 | 11.1867 | 1.1803 | 1.1842 | 0.011462 | 0.77728 | 57552 | 4.7601 | 1.2392 | No | 1
14.8 | 11.1727 | 1.1881 | 1.1934 | 0.011538 | 0.76577 | 56335 | 4.7508 | 1.2498 | No | 1
14.8167 | 11.1879 | 1.1987 | 1.2088 | 0.01164 | 0.75418 | 55145 | 4.7415 | 1.267 | No | 1
14.8333 | 11.2299 | 1.2189 | 1.227 | 0.011837 | 0.74243 | 53981 | 4.7322 | 1.2871 | No | 1
14.85 | 11.2931 | 1.235 | 1.2508 | 0.011993 | 0.73051 | 52842 | 4.723 | 1.3132 | No | 1
14.8667 | 11.374 | 1.2665 | 1.2784 | 0.012299 | 0.71836 | 51728 | 4.7137 | 1.3433 | No | 1
14.8833 | 11.4705 | 1.2904 | 1.3041 | 0.01253 | 0.70594 | 50639 | 4.7045 | 1.3714 | No | 1
14.9 | 11.573 | 1.3178 | 1.3383 | 0.012797 | 0.69327 | 49574 | 4.6953 | 1.4086 | No | 1
14.9167 | 11.6708 | 1.3589 | 1.3817 | 0.013196 | 0.68027 | 48532 | 4.686 | 1.4555 | No | 1
14.9333 | 11.7558 | 1.4046 | 1.4281 | 0.01364 | 0.66684 | 47512 | 4.6768 | 1.5056 | No | 1
14.95 | 11.8236 | 1.4516 | 1.4811 | 0.014097 | 0.65297 | 46515 | 4.6676 | 1.5627 | No | 1
14.9667 | 11.8713 | 1.5105 | 1.5339 | 0.014669 | 0.63858 | 45540 | 4.6584 | 1.6199 | No | 1
14.9833 | 11.8932 | 1.5574 | 1.5819 | 0.015123 | 0.62367 | 44585 | 4.6492 | 1.6719 | No | 1
15 | 11.8829 | 1.6065 | 1.6321 | 0.015601 | 0.6083 | 43652 | 4.64 | 1.7264 | No | 1
15.0167 | 11.8341 | 1.6578 | 1.6813 | 0.016098 | 0.59244 | 42739 | 4.6308 | 1.7799 | No | 1
15.0333 | 11.7465 | 1.7049 | 1.7305 | 0.016556 | 0.57611 | 41845 | 4.6216 | 1.8335 | No | 1
15.05 | 11.6194 | 1.756 | 1.7763 | 0.017053 | 0.5593 | 40972 | 4.6125 | 1.8836 | No | 1
15.0667 | 11.4496 | 1.7966 | 1.8122 | 0.017447 | 0.54204 | 40117 | 4.6033 | 1.9232 | No | 1
15.0833 | 11.2392 | 1.8277 | 1.8402 | 0.017749 | 0.52443 | 39280 | 4.5942 | 1.9545 | No | 1
15.1 | 10.9947 | 1.8526 | 1.8623 | 0.017991 | 0.50655 | 38462 | 4.585 | 1.9796 | No | 1
15.1167 | 10.716 | 1.872 | 1.8766 | 0.018179 | 0.48846 | 37661 | 4.5759 | 1.9964 | No | 1
15.1333 | 10.4045 | 1.8812 | 1.8837 | 0.018268 | 0.47022 | 36878 | 4.5668 | 2.0057 | No | 1
15.15 | 10.0666 | 1.8863 | 1.8839 | 0.018318 | 0.45192 | 36111 | 4.5576 | 2.0075 | No | 1
15.1667 | 9.7081 | 1.8815 | 1.8748 | 0.018271 | 0.43362 | 35361 | 4.5485 | 1.9995 | No | 1
15.1833 | 9.3327 | 1.8682 | 1.8529 | 0.018142 | 0.4154 | 34628 | 4.5394 | 1.9777 | No | 1
15.2 | 8.9441 | 1.8377 | 1.8246 | 0.017845 | 0.3974 | 33910 | 4.5303 | 1.9491 | No | 1
15.2167 | 8.547 | 1.8116 | 1.7923 | 0.017592 | 0.37967 | 33207 | 4.5212 | 1.9162 | No | 1
15.2333 | 8.1467 | 1.7731 | 1.7537 | 0.017218 | 0.36226 | 32520 | 4.5122 | 1.8763 | No | 1
15.25 | 7.7494 | 1.7342 | 1.7079 | 0.016841 | 0.34522 | 31847 | 4.5031 | 1.8288 | No | 1
15.2667 | 7.3587 | 1.6816 | 1.6558 | 0.016329 | 0.32863 | 31189 | 4.494 | 1.7746 | No | 1
15.2833 | 6.9757 | 1.6301 | 1.5982 | 0.01583 | 0.31254 | 30545 | 4.4849 | 1.7141 | No | 1
15.3 | 6.6025 | 1.5662 | 1.5377 | 0.015209 | 0.29701 | 29915 | 4.4759 | 1.6506 | No | 1
15.3167 | 6.2417 | 1.5093 | 1.4791 | 0.014656 | 0.28207 | 29298 | 4.4668 | 1.589 | No | 1
15.3333 | 5.8975 | 1.449 | 1.4196 | 0.014071 | 0.2677 | 28694 | 4.4578 | 1.5262 | No | 1
15.35 | 5.5677 | 1.3901 | 1.3637 | 0.013499 | 0.25391 | 28104 | 4.4488 | 1.4674 | No | 1
15.3667 | 5.2535 | 1.3373 | 1.306 | 0.012986 | 0.24066 | 27526 | 4.4397 | 1.4064 | No | 1
15.3833 | 4.9582 | 1.2746 | 1.247 | 0.012377 | 0.22797 | 26960 | 4.4307 | 1.3439 | No | 1
15.4 | 4.6806 | 1.2194 | 1.189 | 0.011841 | 0.21586 | 26406 | 4.4217 | 1.2825 | No | 1
15.4167 | 4.418 | 1.1586 | 1.1288 | 0.011251 | 0.2043 | 25864 | 4.4127 | 1.2185 | No | 1
15.4333 | 4.1703 | 1.099 | 1.0733 | 0.010672 | 0.19334 | 25334 | 4.4037 | 1.1596 | No | 1
15.45 | 3.9386 | 1.0477 | 1.0185 | 0.010174 | 0.18291 | 24815 | 4.3947 | 1.1012 | No | 1
15.4667 | 3.7218 | 0.98925 | 0.95888 | 0.0096065 | 0.17301 | 24307 | 4.3857 | 1.0376 | No | 1
15.4833 | 3.5177 | 0.92852 | 0.90158 | 0.0090167 | 0.1637 | 23810 | 4.3768 | 0.97634 | No | 1
15.5 | 3.3255 | 0.87465 | 0.85237 | 0.0084936 | 0.15494 | 23323 | 4.3678 | 0.92379 | No | 1
15.5167 | 3.1448 | 0.83009 | 0.80942 | 0.008061 | 0.14666 | 22847 | 4.3588 | 0.87793 | No | 1
15.5333 | 2.9738 | 0.78874 | 0.76692 | 0.0076594 | 0.13879 | 22381 | 4.3499 | 0.83249 | No | 1
15.55 | 2.8122 | 0.7451 | 0.72648 | 0.0072356 | 0.13134 | 21924 | 4.3409 | 0.78922 | No | 1
15.5667 | 2.66 | 0.70787 | 0.68856 | 0.006874 | 0.12428 | 21478 | 4.332 | 0.74862 | No | 1
15.5833 | 2.5157 | 0.66926 | 0.65484 | 0.0064991 | 0.11759 | 21040 | 4.323 | 0.71252 | No | 1
15.6 | 2.3778 | 0.64042 | 0.61837 | 0.0062191 | 0.11123 | 20612 | 4.3141 | 0.67336 | No | 1
15.6167 | 2.2456 | 0.59632 | 0.58243 | 0.0057908 | 0.10522 | 20193 | 4.3052 | 0.63473 | No | 1
15.6333 | 2.1206 | 0.56855 | 0.5539 | 0.0055211 | 0.099562 | 19783 | 4.2963 | 0.60411 | No | 1
15.65 | 2.003 | 0.53925 | 0.52903 | 0.0052366 | 0.094181 | 19382 | 4.2874 | 0.57743 | No | 1
15.6667 | 1.8915 | 0.5188 | 0.50232 | 0.005038 | 0.089041 | 18989 | 4.2785 | 0.54872 | No | 1
15.6833 | 1.7844 | 0.48584 | 0.47684 | 0.004718 | 0.08416 | 18604 | 4.2696 | 0.52129 | No | 1
15.7 | 1.6812 | 0.46783 | 0.45235 | 0.0045431 | 0.079527 | 18227 | 4.2607 | 0.4949 | No | 1
15.7167 | 1.585 | 0.43686 | 0.42404 | 0.0042423 | 0.075132 | 17858 | 4.2518 | 0.46429 | No | 1
15.7333 | 1.4924 | 0.41122 | 0.40077 | 0.0039933 | 0.071012 | 17497 | 4.243 | 0.43915 | No | 1
15.75 | 1.4017 | 0.39032 | 0.37887 | 0.0037903 | 0.067119 | 17144 | 4.2341 | 0.41548 | No | 1
15.7667 | 1.3182 | 0.36743 | 0.35865 | 0.003568 | 0.063438 | 16798 | 4.2253 | 0.39361 | No | 1
15.7833 | 1.2398 | 0.34988 | 0.34042 | 0.0033976 | 0.059953 | 16459 | 4.2164 | 0.37389 | No | 1
15.8 | 1.1626 | 0.33095 | 0.3221 | 0.0032139 | 0.056646 | 16127 | 4.2076 | 0.35405 | No | 1
15.8167 | 1.0895 | 0.31325 | 0.306 | 0.003042 | 0.053516 | 15802 | 4.1987 | 0.33661 | No | 1
15.8333 | 1.0218 | 0.29876 | 0.29059 | 0.0029012 | 0.050543 | 15484 | 4.1899 | 0.31991 | No | 1
15.85 | 0.95869 | 0.28243 | 0.27747 | 0.0027426 | 0.04772 | 15173 | 4.1811 | 0.30569 | No | 1
15.8667 | 0.89902 | 0.27251 | 0.2677 | 0.0026463 | 0.045024 | 14868 | 4.1723 | 0.29516 | No | 1
15.8833 | 0.83931 | 0.26289 | 0.25778 | 0.0025529 | 0.042423 | 14570 | 4.1635 | 0.28444 | No | 1
15.9 | 0.78107 | 0.25267 | 0.24893 | 0.0024536 | 0.039918 | 14277 | 4.1546 | 0.27488 | No | 1
15.9167 | 0.72758 | 0.24519 | 0.23504 | 0.002381 | 0.0375 | 13991 | 4.1458 | 0.25975 | No | 1
15.9333 | 0.67775 | 0.2249 | 0.21933 | 0.0021839 | 0.035216 | 13711 | 4.1371 | 0.24256 | No | 1
15.95 | 0.6321 | 0.21376 | 0.20963 | 0.0020758 | 0.033085 | 13436 | 4.1283 | 0.23202 | No | 1
15.9667 | 0.58825 | 0.20551 | 0.19903 | 0.0019957 | 0.031048 | 13168 | 4.1195 | 0.22045 | No | 1
15.9833 | 0.5457 | 0.19254 | 0.18796 | 0.0018698 | 0.029115 | 12904 | 4.1107 | 0.20836 | No | 1
16 | 0.50642 | 0.18339 | 0.18232 | 0.0017808 | 0.027288 | 12647 | 4.102 | 0.20225 | No | 1
16.0167 | 0.46967 | 0.18125 | 0.17728 | 0.0017601 | 0.025517 | 12394 | 4.0932 | 0.19681 | No | 1
16.0333 | 0.43418 | 0.17331 | 0.16942 | 0.001683 | 0.023795 | 12147 | 4.0845 | 0.18823 | No | 1
16.05 | 0.39829 | 0.16553 | 0.1592 | 0.0016074 | 0.022149 | 11905 | 4.0757 | 0.177 | No | 1
16.0667 | 0.36556 | 0.15286 | 0.14928 | 0.0014844 | 0.020602 | 11668 | 4.067 | 0.1661 | No | 1
16.0833 | 0.33711 | 0.14569 | 0.14577 | 0.0014148 | 0.019151 | 11436 | 4.0583 | 0.16231 | No | 1
16.1 | 0.30805 | 0.14584 | 0.14607 | 0.0014162 | 0.017735 | 11208 | 4.0495 | 0.16277 | No | 1
16.1167 | 0.27985 | 0.1463 | 0.14317 | 0.0014207 | 0.016316 | 10986 | 4.0408 | 0.15966 | No | 1
16.1333 | 0.25469 | 0.14004 | 0.13844 | 0.0013599 | 0.014925 | 10768 | 4.0321 | 0.1545 | No | 1
16.15 | 0.23209 | 0.13683 | 0.13218 | 0.0013288 | 0.01358 | 10554 | 4.0234 | 0.14763 | No | 1
16.1667 | 0.20927 | 0.12753 | 0.12981 | 0.0012384 | 0.012296 | 10345 | 4.0147 | 0.14509 | No | 1
16.1833 | 0.18682 | 0.1321 | 0.12729 | 0.0012828 | 0.011035 | 10140 | 4.006 | 0.14238 | No | 1
16.2 | 0.16766 | 0.12249 | 0.12172 | 0.0011895 | 0.0097978 | 9939 | 3.9973 | 0.13625 | No | 1
16.2167 | 0.14964 | 0.12096 | 0.11783 | 0.0011746 | 0.0086151 | 9743 | 3.9887 | 0.132 | No | 1
16.2333 | 0.13308 | 0.1147 | 0.11066 | 0.0011139 | 0.0074703 | 9550 | 3.98 | 0.12405 | No | 1
16.25 | 0.11972 | 0.10661 | 0.10806 | 0.0010353 | 0.0063952 | 9361 | 3.9713 | 0.12123 | No | 1
16.2667 | 0.10909 | 0.10951 | 0.10325 | 0.0010635 | 0.0053452 | 9177 | 3.9627 | 0.11592 | No | 1
16.2833 | 0.097482 | 0.096998 | 0.094709 | 0.00094194 | 0.004342 | 8996 | 3.954 | 0.10641 | No | 1
16.3 | 0.08541 | 0.092419 | 0.091808 | 0.00089747 | 0.0034219 | 8818 | 3.9454 | 0.10323 | No | 1
16.3167 | 0.07755 | 0.091197 | 0.091807 | 0.0008856 | 0.0025299 | 8645 | 3.9368 | 0.1033 | No | 1
16.3333 | 0.070701 | 0.092416 | 0.087838 | 0.00089745 | 0.0016379 | 8475 | 3.9281 | 0.098907 | No | 1
16.35 | 0.063111 | 0.08326 | 0.080741 | 0.00080853 | 0.00078447 | 8308 | 3.9195 | 0.090983 | No | 1
16.3667 | 0.058013 | 0.078223 | 0 | 0.00075961 | 0 | 8145 | 3.9109 | 0 | No | 1