## Sample Details
Administrative Information
Export date | 26 May 2022 11:54:53
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0012.sample
Creation date | 26 May 2022 09:43:01
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t11=300 min
Information
Sample type | Sample
Injection date | 26 May 2022
Vial number | P2-B-2
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 29.8333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1790
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 29.8333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1790
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.09985 | 9.9908
0.016667 | -0.10433 | 9.9984
0.033333 | -0.1056 | 9.9371
0.05 | -0.1029 | 9.6955
0.066667 | -0.096204 | 9.6798
0.083333 | -0.092504 | 9.7317
0.1 | -0.095337 | 9.8045
0.11667 | -0.099992 | 9.8586
0.13333 | -0.10177 | 9.9018
0.15 | -0.10329 | 9.9337
0.16667 | -0.10628 | 9.9526
0.18333 | -0.1083 | 9.9581
0.2 | -0.10851 | 9.9699
0.21667 | -0.10918 | 9.9751
0.23333 | -0.11267 | 9.9827
0.25 | -0.11401 | 9.9839
0.26667 | -0.11277 | 9.9905
0.28333 | -0.11167 | 9.9932
0.3 | -0.11173 | 9.9958
0.31667 | -0.1132 | 9.9932
0.33333 | -0.1143 | 9.9953
0.35 | -0.11503 | 10.0001
0.36667 | -0.11641 | 10.0053
0.38333 | -0.1179 | 10.0022
0.4 | -0.1194 | 10.0092
0.41667 | -0.12023 | 10.0047
0.43333 | -0.11997 | 10.0072
0.45 | -0.11954 | 10.013
0.46667 | -0.11885 | 10.013
0.48333 | -0.11986 | 10.0088
0.5 | -0.12243 | 10.0066
0.51667 | -0.12088 | 10.0028
0.53333 | -0.1169 | 10.0094
0.55 | -0.11774 | 10.0126
0.56667 | -0.12045 | 10.0085
0.58333 | -0.12076 | 9.9995
0.6 | -0.1221 | 10.0037
0.61667 | -0.12359 | 10.0004
0.63333 | -0.12362 | 9.9996
0.65 | -0.12337 | 10.0063
0.66667 | -0.12339 | 10.0054
0.68333 | -0.1242 | 9.9992
0.7 | -0.12497 | 9.9932
0.71667 | -0.12638 | 9.9957
0.73333 | -0.12777 | 9.987
0.75 | -0.12804 | 9.9911
0.76667 | -0.1294 | 9.9841
0.78333 | -0.13131 | 9.9834
0.8 | -0.12966 | 9.9816
0.81667 | -0.12929 | 9.9876
0.83333 | -0.13053 | 9.9902
0.85 | -0.12973 | 9.9908
0.86667 | -0.13082 | 9.9923
0.88333 | -0.13379 | 9.988
0.9 | -0.13669 | 9.9911
0.91667 | -0.13662 | 9.9931
0.93333 | -0.13578 | 9.9957
0.95 | -0.1366 | 9.9917
0.96667 | -0.13805 | 10.001
0.98333 | -0.13983 | 10.0071
1 | -0.14015 | 10.019
1.0167 | -0.13774 | 10.0134
1.0333 | -0.13633 | 10.0132
1.05 | -0.13831 | 10.0103
1.0667 | -0.13918 | 10.015
1.0833 | -0.14017 | 10.008
1.1 | -0.14215 | 10.0112
1.1167 | -0.14241 | 10.0138
1.1333 | -0.14379 | 10.0178
1.15 | -0.14504 | 10.0101
1.1667 | -0.14488 | 10.0138
1.1833 | -0.14426 | 10.0083
1.2 | -0.14436 | 10.0027
1.2167 | -0.14766 | 10.0028
1.2333 | -0.15097 | 10.0051
1.25 | -0.14987 | 10.0048
1.2667 | -0.14902 | 10.0076
1.2833 | -0.15231 | 10.0132
1.3 | -0.15353 | 10.0179
1.3167 | -0.15352 | 10.0217
1.3333 | -0.15439 | 10.0161
1.35 | -0.15394 | 10.0198
1.3667 | -0.15455 | 10.0202
1.3833 | -0.15513 | 10.0242
1.4 | -0.15394 | 10.0239
1.4167 | -0.15239 | 10.0274
1.4333 | -0.15353 | 10.0195
1.45 | -0.15564 | 10.0259
1.4667 | -0.15779 | 10.0172
1.4833 | -0.16002 | 10.0091
1.5 | -0.15944 | 10.0057
1.5167 | -0.15883 | 10.0094
1.5333 | -0.15886 | 9.9947
1.55 | -0.16006 | 9.9957
1.5667 | -0.16172 | 9.9908
1.5833 | -0.16292 | 9.9871
1.6 | -0.16288 | 9.9837
1.6167 | -0.16305 | 9.9819
1.6333 | -0.16337 | 9.978
1.65 | -0.16288 | 9.9705
1.6667 | -0.16277 | 9.9685
1.6833 | -0.16175 | 9.9732
1.7 | -0.1603 | 9.9802
1.7167 | -0.1611 | 9.9824
1.7333 | -0.16429 | 9.9805
1.75 | -0.16529 | 9.981
1.7667 | -0.16454 | 9.977
1.7833 | -0.16715 | 9.9722
1.8 | -0.16894 | 9.9807
1.8167 | -0.16886 | 9.9822
1.8333 | -0.16873 | 9.9923
1.85 | -0.16894 | 9.9946
1.8667 | -0.17024 | 10.0019
1.8833 | -0.17086 | 10.0005
1.9 | -0.16949 | 10.0008
1.9167 | -0.1678 | 10.0007
1.9333 | -0.16816 | 9.9957
1.95 | -0.17027 | 9.9961
1.9667 | -0.17222 | 9.9937
1.9833 | -0.17368 | 9.9834
2 | -0.17533 | 9.9786
2.0167 | -0.17777 | 9.9783
2.0333 | -0.17818 | 9.9848
2.05 | -0.17733 | 9.9828
2.0667 | -0.17922 | 9.981
2.0833 | -0.18034 | 9.9798
2.1 | -0.17849 | 9.9805
2.1167 | -0.17722 | 9.9807
2.1333 | -0.17538 | 9.9781
2.15 | -0.17451 | 9.9813
2.1667 | -0.17723 | 9.9816
2.1833 | -0.17902 | 9.9923
2.2 | -0.17887 | 9.9923
2.2167 | -0.17934 | 9.9934
2.2333 | -0.18039 | 9.992
2.25 | -0.18127 | 9.9886
2.2667 | -0.18313 | 9.9886
2.2833 | -0.18379 | 9.9897
2.3 | -0.18251 | 9.9834
2.3167 | -0.18251 | 9.9804
2.3333 | -0.18437 | 9.9737
2.35 | -0.18506 | 9.9747
2.3667 | -0.18476 | 9.9757
2.3833 | -0.1846 | 9.9749
2.4 | -0.18504 | 9.9714
2.4167 | -0.18539 | 9.97
2.4333 | -0.18685 | 9.9645
2.45 | -0.18976 | 9.9714
2.4667 | -0.18967 | 9.974
2.4833 | -0.18643 | 9.9697
2.5 | -0.18533 | 9.9665
2.5167 | -0.1865 | 9.976
2.5333 | -0.18763 | 9.9772
2.55 | -0.18956 | 9.9741
2.5667 | -0.19281 | 9.976
2.5833 | -0.19305 | 9.9773
2.6 | -0.1915 | 9.9824
2.6167 | -0.19253 | 9.9839
2.6333 | -0.19356 | 9.9929
2.65 | -0.19449 | 9.994
2.6667 | -0.19533 | 9.9953
2.6833 | -0.19568 | 9.9926
2.7 | -0.19786 | 9.9953
2.7167 | -0.19852 | 9.9831
2.7333 | -0.1979 | 9.9989
2.75 | -0.19955 | 10.0083
2.7667 | -0.20093 | 10.0059
2.7833 | -0.20036 | 10.0094
2.8 | -0.20125 | 10.0086
2.8167 | -0.20377 | 10.0117
2.8333 | -0.20472 | 10.0048
2.85 | -0.20206 | 10.005
2.8667 | -0.19857 | 10.0027
2.8833 | -0.19868 | 9.9992
2.9 | -0.20072 | 10.0011
2.9167 | -0.20264 | 9.9952
2.9333 | -0.20496 | 10.0021
2.95 | -0.20562 | 9.9908
2.9667 | -0.20563 | 9.9856
2.9833 | -0.20782 | 9.9799
3 | -0.2086 | 9.9807
3.0167 | -0.20763 | 9.9851
3.0333 | -0.20729 | 9.9953
3.05 | -0.20746 | 9.9999
3.0667 | -0.2095 | 9.9961
3.0833 | -0.21122 | 9.9953
3.1 | -0.21182 | 9.9972
3.1167 | -0.21393 | 10.001
3.1333 | -0.216 | 9.999
3.15 | -0.21587 | 10.0021
3.1667 | -0.21516 | 10.0043
3.1833 | -0.21512 | 10.0083
3.2 | -0.21561 | 10.0062
3.2167 | -0.21661 | 10.012
3.2333 | -0.21828 | 10.0059
3.25 | -0.21859 | 10.0077
3.2667 | -0.21719 | 10.0117
3.2833 | -0.21611 | 10.0076
3.3 | -0.21581 | 10.0054
3.3167 | -0.2149 | 10.0002
3.3333 | -0.21499 | 9.9949
3.35 | -0.217 | 9.9949
3.3667 | -0.21872 | 10.0019
3.3833 | -0.21879 | 10.0028
3.4 | -0.21949 | 10.0013
3.4167 | -0.22194 | 9.9952
3.4333 | -0.22281 | 10.0036
3.45 | -0.22293 | 10.0048
3.4667 | -0.22382 | 10.0095
3.4833 | -0.22544 | 9.9987
3.5 | -0.22631 | 9.9937
3.5167 | -0.22635 | 9.9915
3.5333 | -0.22748 | 9.995
3.55 | -0.22666 | 9.9987
3.5667 | -0.22549 | 10.0037
3.5833 | -0.2274 | 10.0043
3.6 | -0.22992 | 10.0085
3.6167 | -0.23137 | 10.0063
3.6333 | -0.23153 | 10.0074
3.65 | -0.23076 | 10.0063
3.6667 | -0.2311 | 10.0143
3.6833 | -0.23424 | 10.0123
3.7 | -0.23663 | 10.0097
3.7167 | -0.23518 | 10.0027
3.7333 | -0.23373 | 10.0047
3.75 | -0.23396 | 9.9978
3.7667 | -0.23581 | 10.0013
3.7833 | -0.23604 | 9.9996
3.8 | -0.23402 | 10.0036
3.8167 | -0.23289 | 9.9999
3.8333 | -0.23399 | 9.9944
3.85 | -0.23457 | 9.9947
3.8667 | -0.23648 | 9.9888
3.8833 | -0.23964 | 9.9851
3.9 | -0.2396 | 9.9895
3.9167 | -0.23842 | 9.994
3.9333 | -0.23944 | 10.0033
3.95 | -0.24079 | 10.0025
3.9667 | -0.24203 | 9.9981
3.9833 | -0.24209 | 10.0059
4 | -0.2417 | 10.0085
4.0167 | -0.24272 | 10.008
4.0333 | -0.2445 | 10.0066
4.05 | -0.24439 | 10.0057
4.0667 | -0.24355 | 10.001
4.0833 | -0.24455 | 10.0069
4.1 | -0.24516 | 10.0047
4.1167 | -0.24502 | 10.0129
4.1333 | -0.24532 | 10.0034
4.15 | -0.24644 | 10.0068
4.1667 | -0.24606 | 10.0024
4.1833 | -0.24582 | 10.0063
4.2 | -0.24561 | 10.0074
4.2167 | -0.24517 | 10.0091
4.2333 | -0.24712 | 10.0135
4.25 | -0.24879 | 10.0164
4.2667 | -0.2474 | 10.0159
4.2833 | -0.24647 | 10.0176
4.3 | -0.24794 | 10.0184
4.3167 | -0.25004 | 10.0141
4.3333 | -0.25066 | 10.0127
4.35 | -0.25203 | 10.0126
4.3667 | -0.25364 | 10.0195
4.3833 | -0.25534 | 10.0166
4.4 | -0.25555 | 10.0274
4.4167 | -0.25473 | 10.0282
4.4333 | -0.25375 | 10.0286
4.45 | -0.25336 | 10.0243
4.4667 | -0.2554 | 10.0285
4.4833 | -0.25754 | 10.0269
4.5 | -0.25732 | 10.028
4.5167 | -0.25634 | 10.0201
4.5333 | -0.25668 | 10.0217
4.55 | -0.25674 | 10.0204
4.5667 | -0.25567 | 10.0213
4.5833 | -0.25671 | 10.0188
4.6 | -0.25941 | 10.0182
4.6167 | -0.25967 | 10.022
4.6333 | -0.25897 | 10.0204
4.65 | -0.25989 | 10.0278
4.6667 | -0.26126 | 10.0265
4.6833 | -0.25949 | 10.0285
4.7 | -0.25641 | 10.0306
4.7167 | -0.25724 | 10.0237
4.7333 | -0.2599 | 10.026
4.75 | -0.26104 | 10.0288
4.7667 | -0.26129 | 10.033
4.7833 | -0.26038 | 10.0362
4.8 | -0.26104 | 10.0393
4.8167 | -0.26323 | 10.0393
4.8333 | -0.26448 | 10.0355
4.85 | -0.2642 | 10.0411
4.8667 | -0.26422 | 10.0396
4.8833 | -0.26663 | 10.0448
4.9 | -0.2699 | 10.0472
4.9167 | -0.27104 | 10.0523
4.9333 | -0.26863 | 10.0422
4.95 | -0.26713 | 10.0457
4.9667 | -0.26753 | 10.0459
4.9833 | -0.26751 | 10.0486
5 | -0.26823 | 10.0484
5.0167 | -0.27014 | 10.0439
5.0333 | -0.27079 | 10.0399
5.05 | -0.27079 | 10.0417
5.0667 | -0.2706 | 10.0384
5.0833 | -0.27202 | 10.0425
5.1 | -0.27733 | 10.0475
5.1167 | -0.27963 | 10.043
5.1333 | -0.27697 | 10.0367
5.15 | -0.27575 | 10.0294
5.1667 | -0.27734 | 10.0275
5.1833 | -0.27736 | 10.0227
5.2 | -0.27593 | 10.0224
5.2167 | -0.27601 | 10.0275
5.2333 | -0.27677 | 10.0362
5.25 | -0.27757 | 10.0384
5.2667 | -0.27882 | 10.0434
5.2833 | -0.2792 | 10.0375
5.3 | -0.2801 | 10.0381
5.3167 | -0.28203 | 10.0419
5.3333 | -0.28149 | 10.0512
5.35 | -0.28025 | 10.0419
5.3667 | -0.28065 | 10.0462
5.3833 | -0.28154 | 10.0463
5.4 | -0.28154 | 10.053
5.4167 | -0.28032 | 10.0574
5.4333 | -0.27904 | 10.0585
5.45 | -0.27891 | 10.0518
5.4667 | -0.27996 | 10.0466
5.4833 | -0.28183 | 10.0478
5.5 | -0.28302 | 10.0431
5.5167 | -0.28332 | 10.0407
5.5333 | -0.28465 | 10.0462
5.55 | -0.28637 | 10.0521
5.5667 | -0.28539 | 10.0498
5.5833 | -0.28557 | 10.0394
5.6 | -0.28661 | 10.0376
5.6167 | -0.28424 | 10.0475
5.6333 | -0.28273 | 10.0446
5.65 | -0.28434 | 10.0445
5.6667 | -0.28536 | 10.0384
5.6833 | -0.28736 | 10.0359
5.7 | -0.28979 | 10.0294
5.7167 | -0.28927 | 10.0318
5.7333 | -0.28855 | 10.0367
5.75 | -0.28987 | 10.0425
5.7667 | -0.29144 | 10.0388
5.7833 | -0.29089 | 10.0445
5.8 | -0.29119 | 10.0457
5.8167 | -0.29345 | 10.053
5.8333 | -0.2937 | 10.0503
5.85 | -0.29263 | 10.0538
5.8667 | -0.29271 | 10.0549
5.8833 | -0.29487 | 10.0585
5.9 | -0.29733 | 10.0622
5.9167 | -0.29846 | 10.0559
5.9333 | -0.2983 | 10.0628
5.95 | -0.29782 | 10.0591
5.9667 | -0.29722 | 10.061
5.9833 | -0.29748 | 10.0585
6 | -0.2996 | 10.06
6.0167 | -0.30005 | 10.0591
6.0333 | -0.29813 | 10.0591
6.05 | -0.29821 | 10.0585
6.0667 | -0.29993 | 10.055
6.0833 | -0.30041 | 10.0521
6.1 | -0.30066 | 10.0481
6.1167 | -0.30122 | 10.0483
6.1333 | -0.30184 | 10.0535
6.15 | -0.30074 | 10.0497
6.1667 | -0.2996 | 10.0517
6.1833 | -0.30184 | 10.0509
6.2 | -0.30342 | 10.0538
6.2167 | -0.30474 | 10.0538
6.2333 | -0.30689 | 10.0605
6.25 | -0.30714 | 10.0573
6.2667 | -0.30731 | 10.0616
6.2833 | -0.30592 | 10.0578
6.3 | -0.30518 | 10.0562
6.3167 | -0.30871 | 10.0581
6.3333 | -0.31218 | 10.0629
6.35 | -0.31221 | 10.0584
6.3667 | -0.311 | 10.0547
6.3833 | -0.31131 | 10.0549
6.4 | -0.3097 | 10.0506
6.4167 | -0.30676 | 10.0512
6.4333 | -0.30721 | 10.0486
6.45 | -0.31138 | 10.0416
6.4667 | -0.31313 | 10.0355
6.4833 | -0.31005 | 10.0346
6.5 | -0.3054 | 10.0288
6.5167 | -0.30083 | 10.0297
6.5333 | -0.29311 | 10.0346
6.55 | -0.27926 | 10.0358
6.5667 | -0.25643 | 10.0297
6.5833 | -0.22038 | 10.0291
6.6 | -0.16362 | 10.0153
6.6167 | -0.077147 | 10.0109
6.6333 | 0.052435 | 10.0071
6.65 | 0.23909 | 10.0117
6.6667 | 0.49849 | 10.0077
6.6833 | 0.84974 | 10.0127
6.7 | 1.3101 | 10.0172
6.7167 | 1.8926 | 10.0172
6.7333 | 2.6082 | 10.0159
6.75 | 3.4665 | 10.0101
6.7667 | 4.4678 | 10.0083
6.7833 | 5.6047 | 10.0146
6.8 | 6.8649 | 10.0195
6.8167 | 8.2287 | 10.0219
6.8333 | 9.6705 | 10.0311
6.85 | 11.1632 | 10.0394
6.8667 | 12.6784 | 10.0507
6.8833 | 14.1826 | 10.0608
6.9 | 15.6496 | 10.0729
6.9167 | 17.0551 | 10.0809
6.9333 | 18.3737 | 10.0887
6.95 | 19.5821 | 10.095
6.9667 | 20.6676 | 10.1092
6.9833 | 21.6232 | 10.1107
7 | 22.4381 | 10.1304
7.0167 | 23.1076 | 10.1398
7.0333 | 23.6357 | 10.144
7.05 | 24.0273 | 10.1485
7.0667 | 24.2856 | 10.1608
7.0833 | 24.4198 | 10.1676
7.1 | 24.443 | 10.1737
7.1167 | 24.3633 | 10.1727
7.1333 | 24.1903 | 10.1725
7.15 | 23.9377 | 10.1748
7.1667 | 23.6174 | 10.1745
7.1833 | 23.2379 | 10.1807
7.2 | 22.8111 | 10.1896
7.2167 | 22.3489 | 10.1852
7.2333 | 21.8589 | 10.185
7.25 | 21.3466 | 10.1838
7.2667 | 20.8187 | 10.1807
7.2833 | 20.2818 | 10.1737
7.3 | 19.74 | 10.1653
7.3167 | 19.1996 | 10.1562
7.3333 | 18.6645 | 10.1522
7.35 | 18.136 | 10.1542
7.3667 | 17.6151 | 10.1545
7.3833 | 17.1043 | 10.1507
7.4 | 16.606 | 10.1431
7.4167 | 16.1217 | 10.1514
7.4333 | 15.6514 | 10.1453
7.45 | 15.1934 | 10.1365
7.4667 | 14.7494 | 10.1286
7.4833 | 14.3217 | 10.1261
7.5 | 13.9096 | 10.1212
7.5167 | 13.51 | 10.1258
7.5333 | 13.1223 | 10.1186
7.55 | 12.7509 | 10.1188
7.5667 | 12.3925 | 10.1136
7.5833 | 12.0437 | 10.1139
7.6 | 11.709 | 10.0961
7.6167 | 11.3889 | 10.0875
7.6333 | 11.0793 | 10.0782
7.65 | 10.7809 | 10.0816
7.6667 | 10.4947 | 10.0762
7.6833 | 10.219 | 10.0822
7.7 | 9.9517 | 10.0813
7.7167 | 9.694 | 10.0895
7.7333 | 9.4478 | 10.0822
7.75 | 9.2097 | 10.0843
7.7667 | 8.9785 | 10.0796
7.7833 | 8.7569 | 10.0698
7.8 | 8.5454 | 10.0719
7.8167 | 8.3399 | 10.0665
7.8333 | 8.1405 | 10.0739
7.85 | 7.9493 | 10.0698
7.8667 | 7.765 | 10.0773
7.8833 | 7.5866 | 10.0712
7.9 | 7.4138 | 10.0762
7.9167 | 7.2469 | 10.0774
7.9333 | 7.0862 | 10.0806
7.95 | 6.9322 | 10.0794
7.9667 | 6.7838 | 10.0771
7.9833 | 6.6405 | 10.0745
8 | 6.5006 | 10.0674
8.0167 | 6.3657 | 10.0628
8.0333 | 6.2362 | 10.0611
8.05 | 6.1101 | 10.0607
8.0667 | 5.9881 | 10.0632
8.0833 | 5.8709 | 10.0605
8.1 | 5.7579 | 10.0491
8.1167 | 5.6482 | 10.044
8.1333 | 5.5416 | 10.0498
8.15 | 5.4381 | 10.0507
8.1667 | 5.3362 | 10.0455
8.1833 | 5.2374 | 10.0428
8.2 | 5.1405 | 10.0356
8.2167 | 5.0476 | 10.033
8.2333 | 4.9572 | 10.0263
8.25 | 4.8664 | 10.0288
8.2667 | 4.778 | 10.0231
8.2833 | 4.6915 | 10.0254
8.3 | 4.6082 | 10.0211
8.3167 | 4.5275 | 10.0198
8.3333 | 4.4476 | 10.0173
8.35 | 4.3703 | 10.0243
8.3667 | 4.2929 | 10.0266
8.3833 | 4.2151 | 10.0333
8.4 | 4.142 | 10.0262
8.4167 | 4.0693 | 10.0271
8.4333 | 3.9961 | 10.026
8.45 | 3.9268 | 10.0228
8.4667 | 3.8606 | 10.0243
8.4833 | 3.7944 | 10.0297
8.5 | 3.7275 | 10.0253
8.5167 | 3.6642 | 10.0315
8.5333 | 3.6039 | 10.0294
8.55 | 3.5447 | 10.0246
8.5667 | 3.4869 | 10.0295
8.5833 | 3.43 | 10.028
8.6 | 3.3731 | 10.0274
8.6167 | 3.316 | 10.0216
8.6333 | 3.2635 | 10.0231
8.65 | 3.2158 | 10.022
8.6667 | 3.1671 | 10.0234
8.6833 | 3.1191 | 10.0246
8.7 | 3.0728 | 10.0341
8.7167 | 3.0292 | 10.0364
8.7333 | 2.9867 | 10.0362
8.75 | 2.9432 | 10.0367
8.7667 | 2.9019 | 10.0401
8.7833 | 2.8642 | 10.0433
8.8 | 2.8269 | 10.0524
8.8167 | 2.7912 | 10.0486
8.8333 | 2.7576 | 10.0495
8.85 | 2.7243 | 10.0523
8.8667 | 2.6939 | 10.0527
8.8833 | 2.6671 | 10.0555
8.9 | 2.6418 | 10.0576
8.9167 | 2.6164 | 10.0561
8.9333 | 2.5919 | 10.0553
8.95 | 2.5735 | 10.0527
8.9667 | 2.5598 | 10.0529
8.9833 | 2.5479 | 10.0515
9 | 2.5387 | 10.0425
9.0167 | 2.5327 | 10.0404
9.0333 | 2.5301 | 10.0405
9.05 | 2.5327 | 10.0445
9.0667 | 2.5394 | 10.0358
9.0833 | 2.5481 | 10.0333
9.1 | 2.5566 | 10.0288
9.1167 | 2.5671 | 10.0295
9.1333 | 2.581 | 10.028
9.15 | 2.5947 | 10.0327
9.1667 | 2.6076 | 10.0397
9.1833 | 2.6206 | 10.052
9.2 | 2.6299 | 10.0417
9.2167 | 2.6362 | 10.041
9.2333 | 2.6438 | 10.0402
9.25 | 2.6505 | 10.0465
9.2667 | 2.654 | 10.0497
9.2833 | 2.6559 | 10.0539
9.3 | 2.6544 | 10.0454
9.3167 | 2.6485 | 10.0439
9.3333 | 2.6382 | 10.0483
9.35 | 2.6238 | 10.0448
9.3667 | 2.607 | 10.0428
9.3833 | 2.5882 | 10.0402
9.4 | 2.567 | 10.0309
9.4167 | 2.5431 | 10.0346
9.4333 | 2.5151 | 10.0396
9.45 | 2.4845 | 10.0463
9.4667 | 2.4548 | 10.0454
9.4833 | 2.4246 | 10.0329
9.5 | 2.3901 | 10.0286
9.5167 | 2.3533 | 10.0262
9.5333 | 2.3161 | 10.0298
9.55 | 2.2786 | 10.028
9.5667 | 2.2437 | 10.0336
9.5833 | 2.2083 | 10.0249
9.6 | 2.1708 | 10.0311
9.6167 | 2.135 | 10.0343
9.6333 | 2.1002 | 10.0449
9.65 | 2.0639 | 10.0449
9.6667 | 2.0274 | 10.0494
9.6833 | 1.9925 | 10.0474
9.7 | 1.9585 | 10.0503
9.7167 | 1.9244 | 10.0492
9.7333 | 1.8898 | 10.046
9.75 | 1.8558 | 10.0439
9.7667 | 1.8244 | 10.0362
9.7833 | 1.7954 | 10.0365
9.8 | 1.7653 | 10.0404
9.8167 | 1.7349 | 10.0397
9.8333 | 1.7058 | 10.0384
9.85 | 1.6768 | 10.0381
9.8667 | 1.6483 | 10.0329
9.8833 | 1.62 | 10.041
9.9 | 1.5919 | 10.0332
9.9167 | 1.5655 | 10.0411
9.9333 | 1.5393 | 10.0336
9.95 | 1.5147 | 10.0408
9.9667 | 1.4912 | 10.0408
9.9833 | 1.4657 | 10.0431
10 | 1.4404 | 10.0449
10.0167 | 1.4174 | 10.0471
10.0333 | 1.3953 | 10.0382
10.05 | 1.3742 | 10.0312
10.0667 | 1.353 | 10.0256
10.0833 | 1.3312 | 10.0277
10.1 | 1.3106 | 10.0286
10.1167 | 1.2908 | 10.0283
10.1333 | 1.2702 | 10.0282
10.15 | 1.2516 | 10.0262
10.1667 | 1.2361 | 10.0343
10.1833 | 1.217 | 10.035
10.2 | 1.1959 | 10.0298
10.2167 | 1.1782 | 10.0321
10.2333 | 1.1629 | 10.0289
10.25 | 1.1469 | 10.0275
10.2667 | 1.13 | 10.0179
10.2833 | 1.113 | 10.0251
10.3 | 1.097 | 10.0271
10.3167 | 1.0813 | 10.0228
10.3333 | 1.0664 | 10.0278
10.35 | 1.0521 | 10.0292
10.3667 | 1.0356 | 10.0321
10.3833 | 1.0204 | 10.0275
10.4 | 1.0068 | 10.0333
10.4167 | 0.99278 | 10.0271
10.4333 | 0.9801 | 10.0349
10.45 | 0.96865 | 10.0309
10.4667 | 0.9564 | 10.0349
10.4833 | 0.94386 | 10.0332
10.5 | 0.93349 | 10.0349
10.5167 | 0.92481 | 10.026
10.5333 | 0.91556 | 10.0306
10.55 | 0.90465 | 10.0278
10.5667 | 0.89302 | 10.0263
10.5833 | 0.88107 | 10.0265
10.6 | 0.86928 | 10.0283
10.6167 | 0.85956 | 10.0318
10.6333 | 0.84949 | 10.0304
10.65 | 0.8382 | 10.0333
10.6667 | 0.82739 | 10.0253
10.6833 | 0.81724 | 10.0144
10.7 | 0.80803 | 9.999
10.7167 | 0.79991 | 10.0001
10.7333 | 0.79184 | 9.9946
10.75 | 0.78352 | 10.0019
10.7667 | 0.77609 | 10.0013
10.7833 | 0.76797 | 10.0112
10.8 | 0.75788 | 10.0057
10.8167 | 0.74768 | 10.0101
10.8333 | 0.73911 | 10.0048
10.85 | 0.7315 | 10.0086
10.8667 | 0.72487 | 10.0005
10.8833 | 0.71814 | 10.0117
10.9 | 0.71001 | 10.0097
10.9167 | 0.70287 | 10.0065
10.9333 | 0.69572 | 10.0074
10.95 | 0.68748 | 10.006
10.9667 | 0.68042 | 10.0112
10.9833 | 0.67498 | 10.0106
11 | 0.66964 | 10.0059
11.0167 | 0.66426 | 10.008
11.0333 | 0.65947 | 10.0063
11.05 | 0.65329 | 10.0037
11.0667 | 0.64758 | 10.006
11.0833 | 0.64051 | 10.0077
11.1 | 0.63289 | 10.0129
11.1167 | 0.62752 | 10.0124
11.1333 | 0.6243 | 10.0161
11.15 | 0.62133 | 10.0172
11.1667 | 0.61609 | 10.0172
11.1833 | 0.60935 | 10.0182
11.2 | 0.60391 | 10.0192
11.2167 | 0.60052 | 10.0179
11.2333 | 0.59731 | 10.023
11.25 | 0.59294 | 10.0196
11.2667 | 0.58955 | 10.0202
11.2833 | 0.58626 | 10.0141
11.3 | 0.58127 | 10.0156
11.3167 | 0.57646 | 10.0117
11.3333 | 0.57085 | 10.0161
11.35 | 0.56473 | 10.0126
11.3667 | 0.56117 | 10.0146
11.3833 | 0.55778 | 10.0083
11.4 | 0.55387 | 10.0126
11.4167 | 0.55042 | 10.0103
11.4333 | 0.54717 | 10.0146
11.45 | 0.54415 | 10.013
11.4667 | 0.53949 | 10.0077
11.4833 | 0.53542 | 10.0057
11.5 | 0.53261 | 10.008
11.5167 | 0.52877 | 10.0053
11.5333 | 0.52649 | 10.008
11.55 | 0.5253 | 10.0007
11.5667 | 0.52307 | 9.9979
11.5833 | 0.51902 | 9.9967
11.6 | 0.51508 | 9.9976
11.6167 | 0.51266 | 10.0037
11.6333 | 0.51173 | 10.0083
11.65 | 0.51011 | 10.0164
11.6667 | 0.50807 | 10.0173
11.6833 | 0.50674 | 10.0111
11.7 | 0.50444 | 10.0002
11.7167 | 0.50219 | 10.0054
11.7333 | 0.49975 | 10.0007
11.75 | 0.49812 | 10.001
11.7667 | 0.49718 | 10.0043
11.7833 | 0.49643 | 10.0086
11.8 | 0.49567 | 10.0042
11.8167 | 0.4931 | 10.0077
11.8333 | 0.4904 | 10.0111
11.85 | 0.48899 | 10.01
11.8667 | 0.48683 | 10.0127
11.8833 | 0.4835 | 10.0192
11.9 | 0.48163 | 10.0224
11.9167 | 0.48188 | 10.0256
11.9333 | 0.48222 | 10.0228
11.95 | 0.48018 | 10.0228
11.9667 | 0.47756 | 10.0292
11.9833 | 0.47533 | 10.0207
12 | 0.47397 | 10.0242
12.0167 | 0.47144 | 10.023
12.0333 | 0.46863 | 10.0242
12.05 | 0.46707 | 10.0245
12.0667 | 0.46588 | 10.0211
12.0833 | 0.4646 | 10.0163
12.1 | 0.46275 | 10.0178
12.1167 | 0.46189 | 10.0163
12.1333 | 0.46292 | 10.0144
12.15 | 0.46478 | 10.014
12.1667 | 0.46415 | 10.0163
12.1833 | 0.46118 | 10.0155
12.2 | 0.46046 | 10.0246
12.2167 | 0.46046 | 10.0294
12.2333 | 0.45867 | 10.0336
12.25 | 0.45656 | 10.0303
12.2667 | 0.4565 | 10.035
12.2833 | 0.45728 | 10.0451
12.3 | 0.45518 | 10.0373
12.3167 | 0.45206 | 10.0332
12.3333 | 0.45128 | 10.0346
12.35 | 0.4517 | 10.0317
12.3667 | 0.4522 | 10.0225
12.3833 | 0.45249 | 10.0216
12.4 | 0.45142 | 10.0185
12.4167 | 0.45211 | 10.0187
12.4333 | 0.45294 | 10.0072
12.45 | 0.4527 | 10.0054
12.4667 | 0.45266 | 9.9989
12.4833 | 0.45077 | 10.0057
12.5 | 0.45108 | 10.0005
12.5167 | 0.45359 | 10.0039
12.5333 | 0.45277 | 10.0002
12.55 | 0.45075 | 10.0082
12.5667 | 0.4523 | 10.0013
12.5833 | 0.45456 | 10.0015
12.6 | 0.45269 | 9.9982
12.6167 | 0.45147 | 10.0033
12.6333 | 0.45222 | 10.0031
12.65 | 0.45083 | 10.0016
12.6667 | 0.45062 | 10.0048
12.6833 | 0.45271 | 10.0051
12.7 | 0.45335 | 10.0069
12.7167 | 0.45273 | 10.0108
12.7333 | 0.4522 | 10.0031
12.75 | 0.45178 | 10.0037
12.7667 | 0.45088 | 10.0002
12.7833 | 0.45147 | 10.0043
12.8 | 0.45426 | 10.0013
12.8167 | 0.45691 | 10.005
12.8333 | 0.45858 | 10.0088
12.85 | 0.45908 | 10.0117
12.8667 | 0.45881 | 10.0188
12.8833 | 0.45845 | 10.0228
12.9 | 0.46161 | 10.0309
12.9167 | 0.46515 | 10.0364
12.9333 | 0.46487 | 10.0425
12.95 | 0.46569 | 10.0431
12.9667 | 0.46874 | 10.046
12.9833 | 0.47129 | 10.0393
13 | 0.47403 | 10.0492
13.0167 | 0.47571 | 10.0382
13.0333 | 0.47735 | 10.0324
13.05 | 0.48071 | 10.0359
13.0667 | 0.48452 | 10.0367
13.0833 | 0.48586 | 10.0376
13.1 | 0.48707 | 10.0457
13.1167 | 0.49012 | 10.0364
13.1333 | 0.49417 | 10.0355
13.15 | 0.49665 | 10.0385
13.1667 | 0.4986 | 10.0343
13.1833 | 0.5019 | 10.0346
13.2 | 0.50574 | 10.0364
13.2167 | 0.50991 | 10.0297
13.2333 | 0.51327 | 10.0341
13.25 | 0.51591 | 10.0416
13.2667 | 0.5184 | 10.0437
13.2833 | 0.52223 | 10.0475
13.3 | 0.52426 | 10.0472
13.3167 | 0.52526 | 10.0396
13.3333 | 0.52801 | 10.0402
13.35 | 0.53243 | 10.0399
13.3667 | 0.5371 | 10.0298
13.3833 | 0.54129 | 10.0326
13.4 | 0.54623 | 10.0292
13.4167 | 0.54949 | 10.0295
13.4333 | 0.55265 | 10.0349
13.45 | 0.55746 | 10.0332
13.4667 | 0.56215 | 10.0326
13.4833 | 0.56715 | 10.0242
13.5 | 0.57336 | 10.0198
13.5167 | 0.57836 | 10.0228
13.5333 | 0.58388 | 10.0152
13.55 | 0.59013 | 10.0071
13.5667 | 0.5947 | 10.0056
13.5833 | 0.60012 | 10.01
13.6 | 0.60498 | 10.0031
13.6167 | 0.60959 | 9.9958
13.6333 | 0.61674 | 9.9905
13.65 | 0.62553 | 9.9885
13.6667 | 0.63394 | 9.9798
13.6833 | 0.64137 | 9.9752
13.7 | 0.64851 | 9.9783
13.7167 | 0.65614 | 9.9723
13.7333 | 0.66512 | 9.9708
13.75 | 0.67397 | 9.9705
13.7667 | 0.68276 | 9.9714
13.7833 | 0.69328 | 9.9764
13.8 | 0.70486 | 9.9842
13.8167 | 0.71597 | 9.9816
13.8333 | 0.7271 | 9.9894
13.85 | 0.74085 | 9.9871
13.8667 | 0.75773 | 9.988
13.8833 | 0.77346 | 9.9747
13.9 | 0.78784 | 9.9796
13.9167 | 0.80614 | 9.9812
13.9333 | 0.82614 | 9.9883
13.95 | 0.84676 | 9.9894
13.9667 | 0.87093 | 9.9964
13.9833 | 0.89672 | 10.0015
14 | 0.92476 | 9.9993
14.0167 | 0.95684 | 10.0036
14.0333 | 0.99304 | 10.0094
14.05 | 1.0316 | 10.0062
14.0667 | 1.0735 | 10.0063
14.0833 | 1.1238 | 10.0121
14.1 | 1.183 | 10.0108
14.1167 | 1.2526 | 10.0076
14.1333 | 1.3326 | 10.0143
14.15 | 1.426 | 10.0224
14.1667 | 1.5375 | 10.017
14.1833 | 1.6696 | 10.0179
14.2 | 1.8275 | 10.0196
14.2167 | 2.0143 | 10.0248
14.2333 | 2.2334 | 10.0295
14.25 | 2.4909 | 10.0364
14.2667 | 2.7897 | 10.0489
14.2833 | 3.1344 | 10.0658
14.3 | 3.5241 | 10.0706
14.3167 | 3.9578 | 10.0864
14.3333 | 4.4373 | 10.1051
14.35 | 4.9582 | 10.1298
14.3667 | 5.5133 | 10.1591
14.3833 | 6.0985 | 10.1987
14.4 | 6.7055 | 10.2279
14.4167 | 7.3216 | 10.2662
14.4333 | 7.9354 | 10.3077
14.45 | 8.5346 | 10.358
14.4667 | 9.1085 | 10.4166
14.4833 | 9.6468 | 10.4777
14.5 | 10.1394 | 10.541
14.5167 | 10.5762 | 10.5981
14.5333 | 10.9522 | 10.6461
14.55 | 11.2662 | 10.7055
14.5667 | 11.5159 | 10.7728
14.5833 | 11.7046 | 10.8306
14.6 | 11.8381 | 10.8756
14.6167 | 11.9237 | 10.9179
14.6333 | 11.9679 | 10.9621
14.65 | 11.98 | 10.9901
14.6667 | 11.9748 | 11.0157
14.6833 | 11.9608 | 11.0363
14.7 | 11.9425 | 11.0566
14.7167 | 11.931 | 11.0662
14.7333 | 11.9364 | 11.0809
14.75 | 11.9627 | 11.0908
14.7667 | 12.0147 | 11.1008
14.7833 | 12.0948 | 11.1193
14.8 | 12.2021 | 11.1239
14.8167 | 12.3371 | 11.1347
14.8333 | 12.4964 | 11.1619
14.85 | 12.675 | 11.1889
14.8667 | 12.8687 | 11.2304
14.8833 | 13.0726 | 11.2778
14.9 | 13.277 | 11.3236
14.9167 | 13.4735 | 11.3783
14.9333 | 13.6568 | 11.4347
14.95 | 13.8162 | 11.4948
14.9667 | 13.9461 | 11.5556
14.9833 | 14.0432 | 11.6207
15 | 14.1017 | 11.6842
15.0167 | 14.116 | 11.7527
15.0333 | 14.0809 | 11.8153
15.05 | 13.9955 | 11.8711
15.0667 | 13.8621 | 11.9158
15.0833 | 13.682 | 11.9627
15.1 | 13.4547 | 11.991
15.1167 | 13.1829 | 12.0216
15.1333 | 12.873 | 12.0365
15.15 | 12.5316 | 12.0444
15.1667 | 12.1613 | 12.0402
15.1833 | 11.7666 | 12.0329
15.2 | 11.3527 | 12.0089
15.2167 | 10.9287 | 11.9772
15.2333 | 10.4996 | 11.9341
15.25 | 10.0669 | 11.8877
15.2667 | 9.6376 | 11.8372
15.2833 | 9.2162 | 11.7791
15.3 | 8.8042 | 11.7155
15.3167 | 8.4037 | 11.6477
15.3333 | 8.0179 | 11.5853
15.35 | 7.6481 | 11.524
15.3667 | 7.2953 | 11.4574
15.3833 | 6.9604 | 11.3874
15.4 | 6.6434 | 11.3169
15.4167 | 6.3423 | 11.2464
15.4333 | 6.0564 | 11.1913
15.45 | 5.7842 | 11.1407
15.4667 | 5.5249 | 11.0778
15.4833 | 5.2813 | 11.0221
15.5 | 5.0516 | 10.9708
15.5167 | 4.8312 | 10.9284
15.5333 | 4.6206 | 10.8894
15.55 | 4.4209 | 10.8369
15.5667 | 4.2307 | 10.7827
15.5833 | 4.0503 | 10.7316
15.6 | 3.8783 | 10.6942
15.6167 | 3.7108 | 10.6571
15.6333 | 3.5478 | 10.6265
15.65 | 3.3927 | 10.5932
15.6667 | 3.2461 | 10.5718
15.6833 | 3.1059 | 10.5457
15.7 | 2.9702 | 10.5154
15.7167 | 2.8392 | 10.4899
15.7333 | 2.714 | 10.4642
15.75 | 2.5953 | 10.4383
15.7667 | 2.4828 | 10.4179
15.7833 | 2.3752 | 10.3988
15.8 | 2.2716 | 10.3761
15.8167 | 2.1709 | 10.3582
15.8333 | 2.0742 | 10.335
15.85 | 1.9831 | 10.3156
15.8667 | 1.8971 | 10.2927
15.8833 | 1.8145 | 10.2798
15.9 | 1.7353 | 10.2607
15.9167 | 1.6606 | 10.2502
15.9333 | 1.5898 | 10.2398
15.95 | 1.5219 | 10.2334
15.9667 | 1.4589 | 10.221
15.9833 | 1.3978 | 10.2145
16 | 1.339 | 10.2055
16.0167 | 1.2854 | 10.1926
16.0333 | 1.2338 | 10.1858
16.05 | 1.1836 | 10.1716
16.0667 | 1.1371 | 10.1577
16.0833 | 1.0924 | 10.1484
16.1 | 1.0476 | 10.1415
16.1167 | 1.0065 | 10.1368
16.1333 | 0.9689 | 10.1414
16.15 | 0.93375 | 10.1365
16.1667 | 0.90085 | 10.1228
16.1833 | 0.87107 | 10.1116
16.2 | 0.84316 | 10.1093
16.2167 | 0.81587 | 10.1026
16.2333 | 0.78942 | 10.0945
16.25 | 0.76569 | 10.0861
16.2667 | 0.74592 | 10.0762
16.2833 | 0.72834 | 10.0686
16.3 | 0.71193 | 10.0689
16.3167 | 0.69499 | 10.0654
16.3333 | 0.67719 | 10.062
16.35 | 0.66119 | 10.055
16.3667 | 0.64774 | 10.0536
16.3833 | 0.63709 | 10.0579
16.4 | 0.62698 | 10.0655
16.4167 | 0.61904 | 10.0593
16.4333 | 0.61542 | 10.0559
16.45 | 0.61259 | 10.0555
16.4667 | 0.60914 | 10.0561
16.4833 | 0.60677 | 10.0494
16.5 | 0.60495 | 10.0512
16.5167 | 0.60219 | 10.0468
16.5333 | 0.60067 | 10.0423
16.55 | 0.60038 | 10.0423
16.5667 | 0.60032 | 10.0457
16.5833 | 0.60318 | 10.0468
16.6 | 0.6093 | 10.0423
16.6167 | 0.61344 | 10.0417
16.6333 | 0.61578 | 10.0463
16.65 | 0.62003 | 10.046
16.6667 | 0.62758 | 10.0471
16.6833 | 0.63471 | 10.0433
16.7 | 0.64144 | 10.0414
16.7167 | 0.64944 | 10.0425
16.7333 | 0.65725 | 10.0359
16.75 | 0.66583 | 10.0369
16.7667 | 0.67604 | 10.0332
16.7833 | 0.68678 | 10.0359
16.8 | 0.69671 | 10.0333
16.8167 | 0.70867 | 10.0385
16.8333 | 0.72102 | 10.0364
16.85 | 0.73317 | 10.0372
16.8667 | 0.74728 | 10.0437
16.8833 | 0.76304 | 10.0475
16.9 | 0.77813 | 10.0465
16.9167 | 0.79469 | 10.0465
16.9333 | 0.81578 | 10.044
16.95 | 0.83836 | 10.0407
16.9667 | 0.86009 | 10.0359
16.9833 | 0.88246 | 10.0414
17 | 0.90817 | 10.0491
17.0167 | 0.93504 | 10.048
17.0333 | 0.96186 | 10.0469
17.05 | 0.99027 | 10.0451
17.0667 | 1.0196 | 10.051
17.0833 | 1.0522 | 10.0495
17.1 | 1.0861 | 10.0541
17.1167 | 1.1197 | 10.0541
17.1333 | 1.1571 | 10.0532
17.15 | 1.1976 | 10.0507
17.1667 | 1.2372 | 10.0539
17.1833 | 1.2769 | 10.057
17.2 | 1.319 | 10.0605
17.2167 | 1.3645 | 10.055
17.2333 | 1.4104 | 10.0616
17.25 | 1.4562 | 10.0564
17.2667 | 1.5046 | 10.0535
17.2833 | 1.5549 | 10.0504
17.3 | 1.6063 | 10.0526
17.3167 | 1.6602 | 10.046
17.3333 | 1.7148 | 10.0376
17.35 | 1.7698 | 10.0333
17.3667 | 1.8269 | 10.0344
17.3833 | 1.8831 | 10.0318
17.4 | 1.9404 | 10.0317
17.4167 | 2.0008 | 10.0311
17.4333 | 2.0618 | 10.0335
17.45 | 2.1253 | 10.0375
17.4667 | 2.1892 | 10.0381
17.4833 | 2.2528 | 10.039
17.5 | 2.3208 | 10.0376
17.5167 | 2.3918 | 10.0442
17.5333 | 2.4622 | 10.041
17.55 | 2.5338 | 10.0446
17.5667 | 2.6108 | 10.0477
17.5833 | 2.6895 | 10.0483
17.6 | 2.7706 | 10.0437
17.6167 | 2.8563 | 10.0413
17.6333 | 2.9418 | 10.0433
17.65 | 3.0271 | 10.0503
17.6667 | 3.1152 | 10.0472
17.6833 | 3.206 | 10.0561
17.7 | 3.2964 | 10.0571
17.7167 | 3.3859 | 10.0582
17.7333 | 3.4745 | 10.0603
17.75 | 3.5633 | 10.0562
17.7667 | 3.6553 | 10.0474
17.7833 | 3.7465 | 10.0536
17.8 | 3.8369 | 10.0498
17.8167 | 3.9285 | 10.055
17.8333 | 4.0194 | 10.0488
17.85 | 4.1109 | 10.0462
17.8667 | 4.2033 | 10.0401
17.8833 | 4.2971 | 10.0369
17.9 | 4.3943 | 10.0387
17.9167 | 4.4926 | 10.0405
17.9333 | 4.5912 | 10.0454
17.95 | 4.6913 | 10.0542
17.9667 | 4.7916 | 10.0546
17.9833 | 4.8925 | 10.0523
18 | 4.9963 | 10.0494
18.0167 | 5.1001 | 10.0457
18.0333 | 5.2024 | 10.0481
18.05 | 5.3093 | 10.0466
18.0667 | 5.42 | 10.055
18.0833 | 5.5296 | 10.0574
18.1 | 5.6401 | 10.0614
18.1167 | 5.753 | 10.0649
18.1333 | 5.8661 | 10.0658
18.15 | 5.9792 | 10.0703
18.1667 | 6.0982 | 10.0819
18.1833 | 6.2186 | 10.0871
18.2 | 6.337 | 10.0927
18.2167 | 6.46 | 10.0971
18.2333 | 6.589 | 10.1112
18.25 | 6.7237 | 10.1154
18.2667 | 6.8651 | 10.1153
18.2833 | 7.012 | 10.1223
18.3 | 7.164 | 10.1336
18.3167 | 7.3209 | 10.1345
18.3333 | 7.4808 | 10.1296
18.35 | 7.6429 | 10.1281
18.3667 | 7.8062 | 10.1286
18.3833 | 7.9695 | 10.1298
18.4 | 8.1295 | 10.1263
18.4167 | 8.283 | 10.1255
18.4333 | 8.4279 | 10.1211
18.45 | 8.5641 | 10.1159
18.4667 | 8.6928 | 10.1156
18.4833 | 8.8145 | 10.1197
18.5 | 8.9257 | 10.1124
18.5167 | 9.03 | 10.1133
18.5333 | 9.1335 | 10.1116
18.55 | 9.2355 | 10.1057
18.5667 | 9.3379 | 10.095
18.5833 | 9.4446 | 10.0941
18.6 | 9.5558 | 10.091
18.6167 | 9.6741 | 10.095
18.6333 | 9.8038 | 10.0895
18.65 | 9.9416 | 10.0929
18.6667 | 10.0843 | 10.0971
18.6833 | 10.2332 | 10.1002
18.7 | 10.3855 | 10.0916
18.7167 | 10.5372 | 10.0973
18.7333 | 10.6872 | 10.1077
18.75 | 10.8331 | 10.12
18.7667 | 10.9721 | 10.1357
18.7833 | 11.1016 | 10.1542
18.8 | 11.2198 | 10.1723
18.8167 | 11.3245 | 10.196
18.8333 | 11.4141 | 10.21
18.85 | 11.4939 | 10.23
18.8667 | 11.568 | 10.2465
18.8833 | 11.6339 | 10.2558
18.9 | 11.6957 | 10.266
18.9167 | 11.7559 | 10.2645
18.9333 | 11.8147 | 10.2656
18.95 | 11.8745 | 10.2554
18.9667 | 11.9359 | 10.2479
18.9833 | 11.9962 | 10.2265
19 | 12.0557 | 10.2178
19.0167 | 12.1151 | 10.198
19.0333 | 12.17 | 10.1798
19.05 | 12.2146 | 10.1571
19.0667 | 12.2476 | 10.1424
19.0833 | 12.2683 | 10.1283
19.1 | 12.2711 | 10.1165
19.1167 | 12.2499 | 10.108
19.1333 | 12.1983 | 10.1057
19.15 | 12.1102 | 10.0974
19.1667 | 11.9811 | 10.0852
19.1833 | 11.8053 | 10.0765
19.2 | 11.5749 | 10.0649
19.2167 | 11.2894 | 10.0524
19.2333 | 10.9527 | 10.0439
19.25 | 10.5691 | 10.0385
19.2667 | 10.1527 | 10.0286
19.2833 | 9.7239 | 10.012
19.3 | 9.3064 | 10.0001
19.3167 | 8.9303 | 9.9949
19.3333 | 8.6223 | 9.9882
19.35 | 8.4063 | 10.015
19.3667 | 8.3089 | 10.0753
19.3833 | 8.3487 | 10.189
19.4 | 8.5308 | 10.3785
19.4167 | 8.8534 | 10.685
19.4333 | 9.3094 | 11.1326
19.45 | 9.8814 | 11.7675
19.4667 | 10.5457 | 12.6173
19.4833 | 11.2743 | 13.7246
19.5 | 12.043 | 15.1017
19.5167 | 12.83 | 16.7405
19.5333 | 13.6072 | 18.6155
19.55 | 14.3533 | 20.6619
19.5667 | 15.056 | 22.7947
19.5833 | 15.706 | 24.8919
19.6 | 16.2962 | 26.8452
19.6167 | 16.827 | 28.522
19.6333 | 17.3025 | 29.8039
19.65 | 17.7195 | 30.6133
19.6667 | 18.0762 | 30.92
19.6833 | 18.3742 | 30.7027
19.7 | 18.6088 | 30.0083
19.7167 | 18.7744 | 28.9066
19.7333 | 18.8676 | 27.4853
19.75 | 18.8858 | 25.8553
19.7667 | 18.8305 | 24.118
19.7833 | 18.7038 | 22.3598
19.8 | 18.515 | 20.6622
19.8167 | 18.2796 | 18.9365
19.8333 | 18.0122 | 17.5404
19.85 | 17.7301 | 16.3123
19.8667 | 17.4509 | 15.2587
19.8833 | 17.1921 | 14.3673
19.9 | 16.9715 | 13.6272
19.9167 | 16.7961 | 13.0119
19.9333 | 16.6704 | 12.5013
19.95 | 16.5988 | 12.0875
19.9667 | 16.5762 | 11.7431
19.9833 | 16.5917 | 11.4458
20 | 16.6312 | 11.189
20.0167 | 16.6802 | 10.9667
20.0333 | 16.7216 | 10.7677
20.05 | 16.7333 | 10.5691
20.0667 | 16.6974 | 10.3687
20.0833 | 16.6025 | 10.1481
20.1 | 16.4378 | 9.9023
20.1167 | 16.1992 | 9.6113
20.1333 | 15.8896 | 9.2692
20.15 | 15.5134 | 8.8734
20.1667 | 15.0788 | 8.4623
20.1833 | 14.5967 | 7.9771
20.2 | 14.0794 | 7.4485
20.2167 | 13.5441 | 6.898
20.2333 | 13.0056 | 6.3461
20.25 | 12.4723 | 5.8379
20.2667 | 11.9545 | 5.387
20.2833 | 11.4668 | 5.0335
20.3 | 11.0198 | 4.7831
20.3167 | 10.6237 | 4.6679
20.3333 | 10.2977 | 4.6832
20.35 | 10.0687 | 4.8248
20.3667 | 9.9676 | 5.0684
20.3833 | 10.0324 | 5.415
20.4 | 10.3095 | 5.8257
20.4167 | 10.8542 | 6.2739
20.4333 | 11.7269 | 6.7423
20.45 | 12.9906 | 7.2031
20.4667 | 14.7026 | 7.6391
20.4833 | 16.9002 | 8.0363
20.5 | 19.5986 | 8.4022
20.5167 | 22.7843 | 8.7302
20.5333 | 26.4018 | 9.0226
20.55 | 30.3541 | 9.277
20.5667 | 34.4974 | 9.5075
20.5833 | 38.6529 | 9.7042
20.6 | 42.6204 | 9.8922
20.6167 | 46.1858 | 10.0665
20.6333 | 49.1468 | 10.2486
20.65 | 51.3265 | 10.4154
20.6667 | 52.589 | 10.5828
20.6833 | 52.8512 | 10.7545
20.7 | 52.0836 | 10.9272
20.7167 | 50.3073 | 11.0844
20.7333 | 47.5847 | 11.228
20.75 | 44.0055 | 11.3587
20.7667 | 39.6649 | 11.4726
20.7833 | 34.6577 | 11.5675
20.8 | 29.0664 | 11.6309
20.8167 | 22.9522 | 11.6535
20.8333 | 16.3648 | 11.6505
20.85 | 9.3473 | 11.6114
20.8667 | 1.9472 | 11.5469
20.8833 | -5.7677 | 11.4555
20.9 | -13.6973 | 11.3442
20.9167 | -21.7014 | 11.2234
20.9333 | -29.5998 | 11.088
20.95 | -37.1773 | 10.9533
20.9667 | -44.1943 | 10.8169
20.9833 | -50.408 | 10.6924
21 | -55.5987 | 10.5653
21.0167 | -59.5886 | 10.4487
21.0333 | -62.2554 | 10.3469
21.05 | -63.5466 | 10.268
21.0667 | -63.4859 | 10.1955
21.0833 | -62.1696 | 10.1368
21.1 | -59.7532 | 10.0867
21.1167 | -56.4338 | 10.0449
21.1333 | -52.4353 | 10.0137
21.15 | -47.9835 | 9.9934
21.1667 | -43.2909 | 9.9694
21.1833 | -38.5472 | 9.9587
21.2 | -33.9109 | 9.9398
21.2167 | -29.4998 | 9.9294
21.2333 | -25.3982 | 9.929
21.25 | -21.6597 | 9.9328
21.2667 | -18.3092 | 9.9369
21.2833 | -15.3517 | 9.9447
21.3 | -12.7768 | 9.9569
21.3167 | -10.5587 | 9.9636
21.3333 | -8.6653 | 9.9613
21.35 | -7.065 | 9.9715
21.3667 | -5.7248 | 9.9837
21.3833 | -4.611 | 10.0001
21.4 | -3.6921 | 10.0138
21.4167 | -2.9392 | 10.0175
21.4333 | -2.3292 | 10.0181
21.45 | -1.8378 | 10.0213
21.4667 | -1.4436 | 10.0251
21.4833 | -1.131 | 10.0239
21.5 | -0.88523 | 10.0214
21.5167 | -0.69235 | 10.0106
21.5333 | -0.54302 | 10.005
21.55 | -0.4314 | 9.9967
21.5667 | -0.34849 | 9.9786
21.5833 | -0.28463 | 9.9632
21.6 | -0.23835 | 9.9322
21.6167 | -0.20609 | 9.9093
21.6333 | -0.18198 | 9.873
21.65 | -0.16596 | 9.8306
21.6667 | -0.15819 | 9.7732
21.6833 | -0.15646 | 9.694
21.7 | -0.15652 | 9.5858
21.7167 | -0.15699 | 9.457
21.7333 | -0.15954 | 9.2944
21.75 | -0.16371 | 9.092
21.7667 | -0.1703 | 8.8511
21.7833 | -0.18011 | 8.5746
21.8 | -0.19068 | 8.2558
21.8167 | -0.19915 | 7.9133
21.8333 | -0.20584 | 7.533
21.85 | -0.21355 | 7.1331
21.8667 | -0.22069 | 6.7051
21.8833 | -0.22685 | 6.2865
21.9 | -0.23484 | 5.8767
21.9167 | -0.24409 | 5.5006
21.9333 | -0.25064 | 5.1546
21.95 | -0.25589 | 4.8684
21.9667 | -0.26143 | 4.6462
21.9833 | -0.26737 | 4.511
22 | -0.27316 | 4.4381
22.0167 | -0.27764 | 4.4544
22.0333 | -0.28153 | 4.5502
22.05 | -0.28692 | 4.7237
22.0667 | -0.29352 | 4.9607
22.0833 | -0.29798 | 5.2576
22.1 | -0.30077 | 5.5874
22.1167 | -0.30304 | 5.9544
22.1333 | -0.30334 | 6.3366
22.15 | -0.30105 | 6.7265
22.1667 | -0.29845 | 7.1119
22.1833 | -0.29411 | 7.4889
22.2 | -0.28493 | 7.8359
22.2167 | -0.26901 | 8.1515
22.2333 | -0.24356 | 8.4365
22.25 | -0.205 | 8.7002
22.2667 | -0.14683 | 8.9185
22.2833 | -0.06779 | 9.0952
22.3 | 0.040643 | 9.2554
22.3167 | 0.18903 | 9.3746
22.3333 | 0.38533 | 9.4958
22.35 | 0.63808 | 9.5855
22.3667 | 0.95803 | 9.6603
22.3833 | 1.3608 | 9.7054
22.4 | 1.8574 | 9.7465
22.4167 | 2.454 | 9.7636
22.4333 | 3.1588 | 9.7718
22.45 | 3.9782 | 9.7698
22.4667 | 4.9132 | 9.7594
22.4833 | 5.957 | 9.7272
22.5 | 7.097 | 9.6841
22.5167 | 8.3183 | 9.6229
22.5333 | 9.5981 | 9.5499
22.55 | 10.9008 | 9.4605
22.5667 | 12.1917 | 9.3667
22.5833 | 13.4375 | 9.2472
22.6 | 14.5963 | 9.1087
22.6167 | 15.6287 | 8.9655
22.6333 | 16.4976 | 8.8154
22.65 | 17.1722 | 8.6657
22.6667 | 17.6294 | 8.5117
22.6833 | 17.8506 | 8.3576
22.7 | 17.831 | 8.2177
22.7167 | 17.5764 | 8.0982
22.7333 | 17.0982 | 7.9928
22.75 | 16.4161 | 7.9118
22.7667 | 15.5577 | 7.8489
22.7833 | 14.5569 | 7.8185
22.8 | 13.4477 | 7.8117
22.8167 | 12.2677 | 7.844
22.8333 | 11.0561 | 7.891
22.85 | 9.8449 | 7.9737
22.8667 | 8.6613 | 8.0726
22.8833 | 7.5286 | 8.1905
22.9 | 6.4651 | 8.31
22.9167 | 5.4868 | 8.4539
22.9333 | 4.6021 | 8.6024
22.95 | 3.8125 | 8.744
22.9667 | 3.1167 | 8.8821
22.9833 | 2.5153 | 9.0188
23 | 2.0027 | 9.1344
23.0167 | 1.5688 | 9.25
23.0333 | 1.2056 | 9.3604
23.05 | 0.90417 | 9.4569
23.0667 | 0.65634 | 9.5406
23.0833 | 0.45549 | 9.6117
23.1 | 0.29215 | 9.6857
23.1167 | 0.16004 | 9.7282
23.1333 | 0.05517 | 9.7807
23.15 | -0.027429 | 9.8223
23.1667 | -0.093957 | 9.8537
23.1833 | -0.14842 | 9.8806
23.2 | -0.19247 | 9.9024
23.2167 | -0.22754 | 9.9166
23.2333 | -0.25404 | 9.9366
23.25 | -0.27651 | 9.9374
23.2667 | -0.29666 | 9.9418
23.2833 | -0.31107 | 9.9477
23.3 | -0.32235 | 9.9584
23.3167 | -0.33259 | 9.9598
23.3333 | -0.34208 | 9.9659
23.35 | -0.35201 | 9.9682
23.3667 | -0.36009 | 9.9596
23.3833 | -0.36653 | 9.9642
23.4 | -0.37159 | 9.9645
23.4167 | -0.37655 | 9.963
23.4333 | -0.38396 | 9.961
23.45 | -0.38965 | 9.9647
23.4667 | -0.39157 | 9.9656
23.4833 | -0.3949 | 9.9647
23.5 | -0.39944 | 9.9616
23.5167 | -0.40393 | 9.9673
23.5333 | -0.4064 | 9.9677
23.55 | -0.40848 | 9.9729
23.5667 | -0.41189 | 9.9653
23.5833 | -0.41503 | 9.9696
23.6 | -0.41825 | 9.9717
23.6167 | -0.42377 | 9.9668
23.6333 | -0.42933 | 9.9674
23.65 | -0.43178 | 9.9781
23.6667 | -0.43367 | 9.9786
23.6833 | -0.43635 | 9.9754
23.7 | -0.4385 | 9.9728
23.7167 | -0.44145 | 9.9807
23.7333 | -0.44404 | 9.9795
23.75 | -0.44468 | 9.9807
23.7667 | -0.44709 | 9.9839
23.7833 | -0.45169 | 9.9818
23.8 | -0.4545 | 9.9845
23.8167 | -0.45554 | 9.9807
23.8333 | -0.45688 | 9.9854
23.85 | -0.45906 | 9.9833
23.8667 | -0.4614 | 9.9908
23.8833 | -0.46188 | 9.9879
23.9 | -0.46301 | 9.9848
23.9167 | -0.46644 | 9.9737
23.9333 | -0.46893 | 9.9679
23.95 | -0.47026 | 9.9682
23.9667 | -0.47056 | 9.9706
23.9833 | -0.46969 | 9.9635
24 | -0.4695 | 9.966
24.0167 | -0.47282 | 9.9697
24.0333 | -0.47761 | 9.9749
24.05 | -0.48017 | 9.974
24.0667 | -0.48037 | 9.9755
24.0833 | -0.47888 | 9.9769
24.1 | -0.48047 | 9.9845
24.1167 | -0.484 | 9.9819
24.1333 | -0.48402 | 9.9831
24.15 | -0.48493 | 9.9868
24.1667 | -0.48689 | 9.987
24.1833 | -0.48656 | 9.9841
24.2 | -0.48582 | 9.981
24.2167 | -0.48632 | 9.9775
24.2333 | -0.48923 | 9.9876
24.25 | -0.49262 | 9.9894
24.2667 | -0.4938 | 9.9871
24.2833 | -0.49522 | 9.9859
24.3 | -0.49723 | 9.9917
24.3167 | -0.49865 | 9.9902
24.3333 | -0.49969 | 9.9889
24.35 | -0.49997 | 9.9879
24.3667 | -0.50071 | 9.9926
24.3833 | -0.50162 | 9.9987
24.4 | -0.50246 | 9.9895
24.4167 | -0.504 | 9.992
24.4333 | -0.50422 | 9.9953
24.45 | -0.50373 | 9.9953
24.4667 | -0.50481 | 9.9944
24.4833 | -0.50672 | 9.9979
24.5 | -0.50865 | 9.997
24.5167 | -0.51134 | 9.9979
24.5333 | -0.51292 | 9.9989
24.55 | -0.51289 | 9.9932
24.5667 | -0.51331 | 9.9937
24.5833 | -0.51558 | 9.9979
24.6 | -0.51714 | 9.999
24.6167 | -0.51625 | 10.0063
24.6333 | -0.51653 | 10.0057
24.65 | -0.51839 | 9.996
24.6667 | -0.51884 | 10.0048
24.6833 | -0.51734 | 10.0068
24.7 | -0.51548 | 10.0079
24.7167 | -0.51646 | 10.0045
24.7333 | -0.51913 | 10.0047
24.75 | -0.51985 | 9.9918
24.7667 | -0.51934 | 9.9908
24.7833 | -0.52055 | 9.9886
24.8 | -0.52231 | 9.9845
24.8167 | -0.52297 | 9.9833
24.8333 | -0.52325 | 9.9821
24.85 | -0.52515 | 9.9825
24.8667 | -0.526 | 9.9848
24.8833 | -0.52632 | 9.9871
24.9 | -0.52885 | 9.9873
24.9167 | -0.52854 | 9.9895
24.9333 | -0.52659 | 9.9882
24.95 | -0.52849 | 9.9857
24.9667 | -0.53184 | 9.9905
24.9833 | -0.53202 | 9.9888
25 | -0.53032 | 9.9909
25.0167 | -0.53116 | 9.9851
25.0333 | -0.53278 | 9.986
25.05 | -0.53254 | 9.9888
25.0667 | -0.53282 | 9.9805
25.0833 | -0.53537 | 9.9804
25.1 | -0.53624 | 9.9807
25.1167 | -0.53562 | 9.9764
25.1333 | -0.53693 | 9.9729
25.15 | -0.53853 | 9.9708
25.1667 | -0.53995 | 9.9709
25.1833 | -0.54021 | 9.9691
25.2 | -0.54128 | 9.9703
25.2167 | -0.54228 | 9.9802
25.2333 | -0.54201 | 9.9795
25.25 | -0.54343 | 9.9792
25.2667 | -0.54381 | 9.977
25.2833 | -0.54407 | 9.9854
25.3 | -0.54619 | 9.9848
25.3167 | -0.54769 | 9.9952
25.3333 | -0.54851 | 9.9841
25.35 | -0.54859 | 9.9888
25.3667 | -0.54805 | 9.9894
25.3833 | -0.54884 | 9.9911
25.4 | -0.55046 | 9.9874
25.4167 | -0.55148 | 9.9921
25.4333 | -0.55138 | 9.9874
25.45 | -0.55145 | 9.9923
25.4667 | -0.55278 | 9.9914
25.4833 | -0.55362 | 9.9963
25.5 | -0.55328 | 9.9928
25.5167 | -0.55382 | 9.9943
25.5333 | -0.5569 | 9.9967
25.55 | -0.55824 | 9.9949
25.5667 | -0.55727 | 10.0015
25.5833 | -0.55675 | 10.0002
25.6 | -0.55681 | 10.0039
25.6167 | -0.55919 | 9.999
25.6333 | -0.56155 | 10.0001
25.65 | -0.55949 | 10.0033
25.6667 | -0.55818 | 10.0047
25.6833 | -0.55998 | 10.0047
25.7 | -0.55989 | 10.0043
25.7167 | -0.56006 | 10.0115
25.7333 | -0.56263 | 10.0202
25.75 | -0.56183 | 10.0198
25.7667 | -0.5598 | 10.0227
25.7833 | -0.56084 | 10.0193
25.8 | -0.56281 | 10.0062
25.8167 | -0.56456 | 10.0057
25.8333 | -0.56527 | 10.0059
25.85 | -0.56704 | 9.9949
25.8667 | -0.56809 | 9.9883
25.8833 | -0.56793 | 9.9931
25.9 | -0.56877 | 9.9938
25.9167 | -0.56801 | 9.9911
25.9333 | -0.5669 | 9.9908
25.95 | -0.56784 | 9.9955
25.9667 | -0.56776 | 10.005
25.9833 | -0.56712 | 9.9999
26 | -0.56742 | 10.0018
26.0167 | -0.56891 | 9.9966
26.0333 | -0.57082 | 9.9984
26.05 | -0.57028 | 9.9973
26.0667 | -0.56936 | 9.9946
26.0833 | -0.57086 | 10.0036
26.1 | -0.57212 | 9.9966
26.1167 | -0.57264 | 9.9966
26.1333 | -0.57329 | 9.9937
26.15 | -0.57324 | 9.9979
26.1667 | -0.5727 | 9.9981
26.1833 | -0.57457 | 10.0053
26.2 | -0.57586 | 10.0013
26.2167 | -0.57643 | 10.006
26.2333 | -0.57748 | 9.994
26.25 | -0.57809 | 10.0019
26.2667 | -0.58019 | 10.0076
26.2833 | -0.58246 | 10.0112
26.3 | -0.58301 | 10.01
26.3167 | -0.5839 | 10.0033
26.3333 | -0.58561 | 10.0054
26.35 | -0.5857 | 10.0114
26.3667 | -0.58508 | 10.0098
26.3833 | -0.58522 | 10.012
26.4 | -0.58557 | 10.0054
26.4167 | -0.58593 | 10.0001
26.4333 | -0.58659 | 10.0048
26.45 | -0.58725 | 10.0036
26.4667 | -0.58745 | 10.0057
26.4833 | -0.58714 | 10.0028
26.5 | -0.58655 | 10.0028
26.5167 | -0.58635 | 9.9955
26.5333 | -0.58685 | 9.9976
26.55 | -0.58853 | 9.9918
26.5667 | -0.59146 | 9.9978
26.5833 | -0.59339 | 9.9944
26.6 | -0.59267 | 9.9923
26.6167 | -0.59057 | 9.9888
26.6333 | -0.59094 | 9.9973
26.65 | -0.59264 | 9.987
26.6667 | -0.59332 | 9.9874
26.6833 | -0.59341 | 9.9906
26.7 | -0.59312 | 9.9909
26.7167 | -0.59382 | 9.9848
26.7333 | -0.59322 | 9.988
26.75 | -0.59156 | 9.995
26.7667 | -0.59298 | 9.9947
26.7833 | -0.59454 | 10.0008
26.8 | -0.5952 | 9.9929
26.8167 | -0.59665 | 9.9914
26.8333 | -0.59768 | 9.9897
26.85 | -0.59807 | 9.9967
26.8667 | -0.59744 | 9.9924
26.8833 | -0.59818 | 9.9902
26.9 | -0.60154 | 9.9888
26.9167 | -0.60225 | 9.9902
26.9333 | -0.60051 | 9.9943
26.95 | -0.60074 | 10.0016
26.9667 | -0.60476 | 9.9973
26.9833 | -0.60719 | 9.9976
27 | -0.60555 | 9.9921
27.0167 | -0.60425 | 9.9873
27.0333 | -0.60449 | 9.9879
27.05 | -0.60551 | 9.9876
27.0667 | -0.60542 | 9.9799
27.0833 | -0.60488 | 9.981
27.1 | -0.60644 | 9.9778
27.1167 | -0.60744 | 9.9798
27.1333 | -0.60718 | 9.9709
27.15 | -0.60733 | 9.9715
27.1667 | -0.60814 | 9.9706
27.1833 | -0.60963 | 9.9711
27.2 | -0.61063 | 9.9729
27.2167 | -0.61184 | 9.9693
27.2333 | -0.61343 | 9.9699
27.25 | -0.61283 | 9.9778
27.2667 | -0.61122 | 9.9783
27.2833 | -0.61191 | 9.9856
27.3 | -0.61312 | 9.9877
27.3167 | -0.61328 | 9.9935
27.3333 | -0.61385 | 9.9935
27.35 | -0.61461 | 9.9964
27.3667 | -0.61572 | 10.0027
27.3833 | -0.61733 | 9.9931
27.4 | -0.61836 | 9.9941
27.4167 | -0.618 | 9.9905
27.4333 | -0.61824 | 9.9874
27.45 | -0.62161 | 9.9873
27.4667 | -0.62418 | 9.9906
27.4833 | -0.6242 | 9.9906
27.5 | -0.62274 | 9.9912
27.5167 | -0.62231 | 9.9886
27.5333 | -0.62371 | 9.9928
27.55 | -0.62409 | 9.9886
27.5667 | -0.62286 | 9.9874
27.5833 | -0.62183 | 9.983
27.6 | -0.62171 | 9.9915
27.6167 | -0.62344 | 9.9932
27.6333 | -0.62492 | 9.9949
27.65 | -0.62601 | 10.0036
27.6667 | -0.62889 | 10.0027
27.6833 | -0.62967 | 10.0054
27.7 | -0.62889 | 9.9986
27.7167 | -0.6305 | 9.9914
27.7333 | -0.63289 | 9.9885
27.75 | -0.63225 | 9.996
27.7667 | -0.63079 | 9.9984
27.7833 | -0.63179 | 10.003
27.8 | -0.63222 | 9.9941
27.8167 | -0.63249 | 9.9981
27.8333 | -0.63307 | 9.9957
27.85 | -0.6322 | 10.0036
27.8667 | -0.62961 | 10.006
27.8833 | -0.62894 | 10.0146
27.9 | -0.63119 | 10.0181
27.9167 | -0.63217 | 10.0147
27.9333 | -0.63192 | 10.0144
27.95 | -0.63187 | 10.0152
27.9667 | -0.63277 | 10.014
27.9833 | -0.63353 | 10.006
28 | -0.63358 | 10.0076
28.0167 | -0.63572 | 10.0097
28.0333 | -0.63629 | 10.0034
28.05 | -0.63559 | 10.0021
28.0667 | -0.63816 | 10.0018
28.0833 | -0.64016 | 10.006
28.1 | -0.63901 | 10.008
28.1167 | -0.63922 | 10.0045
28.1333 | -0.64162 | 9.9982
28.15 | -0.64265 | 9.995
28.1667 | -0.64183 | 9.9998
28.1833 | -0.64077 | 9.9964
28.2 | -0.64079 | 9.9957
28.2167 | -0.642 | 9.9935
28.2333 | -0.64281 | 9.9999
28.25 | -0.64508 | 9.9998
28.2667 | -0.64887 | 10.0072
28.2833 | -0.64965 | 10.0007
28.3 | -0.64857 | 9.9908
28.3167 | -0.64832 | 9.9847
28.3333 | -0.64767 | 9.9926
28.35 | -0.64643 | 9.9883
28.3667 | -0.64607 | 9.9918
28.3833 | -0.64702 | 9.9895
28.4 | -0.64932 | 9.9969
28.4167 | -0.65135 | 9.992
28.4333 | -0.65121 | 9.9899
28.45 | -0.65059 | 9.9848
28.4667 | -0.65155 | 9.9868
28.4833 | -0.65302 | 9.988
28.5 | -0.65336 | 9.9796
28.5167 | -0.65272 | 9.9778
28.5333 | -0.65269 | 9.9729
28.55 | -0.65348 | 9.9744
28.5667 | -0.65394 | 9.978
28.5833 | -0.65521 | 9.9828
28.6 | -0.65778 | 9.9792
28.6167 | -0.65887 | 9.9801
28.6333 | -0.65754 | 9.9781
28.65 | -0.65669 | 9.9839
28.6667 | -0.6594 | 9.9853
28.6833 | -0.66227 | 9.9943
28.7 | -0.66172 | 9.9892
28.7167 | -0.66017 | 9.9873
28.7333 | -0.65885 | 9.9866
28.75 | -0.66006 | 9.9903
28.7667 | -0.66207 | 9.9818
28.7833 | -0.66182 | 9.977
28.8 | -0.66167 | 9.9798
28.8167 | -0.66108 | 9.9784
28.8333 | -0.66058 | 9.9741
28.85 | -0.66274 | 9.972
28.8667 | -0.6643 | 9.9693
28.8833 | -0.66355 | 9.9657
28.9 | -0.66375 | 9.9628
28.9167 | -0.66513 | 9.9714
28.9333 | -0.66571 | 9.9764
28.95 | -0.66551 | 9.979
28.9667 | -0.66764 | 9.9755
28.9833 | -0.6691 | 9.9764
29 | -0.66814 | 9.9729
29.0167 | -0.66859 | 9.9741
29.0333 | -0.66988 | 9.9764
29.05 | -0.67064 | 9.9775
29.0667 | -0.67096 | 9.977
29.0833 | -0.67045 | 9.9815
29.1 | -0.66888 | 9.9853
29.1167 | -0.66941 | 9.9894
29.1333 | -0.67266 | 9.9918
29.15 | -0.67446 | 9.9949
29.1667 | -0.675 | 9.9989
29.1833 | -0.67641 | 9.9996
29.2 | -0.67682 | 10.0053
29.2167 | -0.67482 | 9.9966
29.2333 | -0.67439 | 9.992
29.25 | -0.67459 | 9.9932
29.2667 | -0.67464 | 9.9874
29.2833 | -0.67569 | 9.9822
29.3 | -0.67425 | 9.9865
29.3167 | -0.67242 | 9.9862
29.3333 | -0.67247 | 9.9909
29.35 | -0.67298 | 9.9833
29.3667 | -0.67443 | 9.9786
29.3833 | -0.67566 | 9.9964
29.4 | -0.67682 | 9.9928
29.4167 | -0.67899 | 9.9998
29.4333 | -0.68034 | 10.0007
29.45 | -0.68065 | 10.0071
29.4667 | -0.6816 | 10.0037
29.4833 | -0.68092 | 10.0034
29.5 | -0.67965 | 9.9992
29.5167 | -0.6804 | 10.0007
29.5333 | -0.68207 | 9.9937
29.55 | -0.68444 | 9.9932
29.5667 | -0.68656 | 9.988
29.5833 | -0.68586 | 9.9941
29.6 | -0.68381 | 9.9924
29.6167 | -0.68266 | 9.9906
29.6333 | -0.68436 | 9.9929
29.65 | -0.68511 | 10.0033
29.6667 | -0.68376 | 10.0007
29.6833 | -0.68451 | 9.999
29.7 | -0.68573 | 9.9952
29.7167 | -0.68646 | 9.9963
29.7333 | -0.68791 | 9.997
29.75 | -0.68985 | 10.0016
29.7667 | -0.69228 | 9.9992
29.7833 | -0.69262 | 9.997
29.8 | -0.69107 | 10.0027
29.8167 | -0.68894 | 10.0053

## MW Results
Administrative Information
File name | ICF_25_05_2022-0012.sample
Analysed by | Agilent GPC 1
Date of analysis | 26 May 2022 11:52:47
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 36111 | 32534 | 40840 | 49485 | 57960 | 39593 | 1.2553
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 9.1833 | 13.1
Baseline region 2 | 25.2333 | 29.5333
Peaks | Start (mins) | End (mins)
Peak 1 | 14.2333 | 16.4667
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 15.0167 | 792.6395 | 13.5109
| RI | 15.15 | 102.1254 | 2.0289
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.3 | 20.0667
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 26 May 2022 11:52:47
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6667
FRCF | 0.99322
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.2333 | 1.5495 | 0.012315 | 0.015764 | 0.00012056 | 1 | 117708 | 5.0708 | 0.016162 | No | 1
14.25 | 1.8086 | 0.019213 | 0.025484 | 0.00018808 | 0.99985 | 115149 | 5.0613 | 0.02615 | No | 1
14.2667 | 2.1092 | 0.031756 | 0.04024 | 0.00031087 | 0.9996 | 112647 | 5.0517 | 0.041328 | No | 1
14.2833 | 2.4555 | 0.048724 | 0.051105 | 0.00047697 | 0.9992 | 110202 | 5.0422 | 0.052532 | No | 1
14.3 | 2.8468 | 0.053485 | 0.061436 | 0.00052358 | 0.9987 | 107812 | 5.0327 | 0.063206 | No | 1
14.3167 | 3.2822 | 0.069386 | 0.078709 | 0.00067923 | 0.9981 | 105476 | 5.0232 | 0.081047 | No | 1
14.3333 | 3.7635 | 0.088032 | 0.10041 | 0.00086177 | 0.99733 | 103193 | 5.0137 | 0.10348 | No | 1
14.35 | 4.286 | 0.11278 | 0.12745 | 0.0011041 | 0.99635 | 100961 | 5.0042 | 0.13146 | No | 1
14.3667 | 4.8428 | 0.14211 | 0.16196 | 0.0013912 | 0.9951 | 98779 | 4.9947 | 0.16721 | No | 1
14.3833 | 5.4297 | 0.18181 | 0.1964 | 0.0017798 | 0.99351 | 96646 | 4.9852 | 0.20294 | No | 1
14.4 | 6.0383 | 0.21099 | 0.23016 | 0.0020654 | 0.99159 | 94561 | 4.9757 | 0.23802 | No | 1
14.4167 | 6.6561 | 0.24932 | 0.27009 | 0.0024407 | 0.98934 | 92522 | 4.9662 | 0.27955 | No | 1
14.4333 | 7.2716 | 0.29086 | 0.31605 | 0.0028473 | 0.98669 | 90529 | 4.9568 | 0.32741 | No | 1
14.45 | 7.8724 | 0.34124 | 0.37055 | 0.0033405 | 0.9836 | 88581 | 4.9473 | 0.3842 | No | 1
14.4667 | 8.448 | 0.39987 | 0.4304 | 0.0039144 | 0.97997 | 86677 | 4.9379 | 0.44663 | No | 1
14.4833 | 8.9881 | 0.46093 | 0.49261 | 0.0045122 | 0.97575 | 84814 | 4.9285 | 0.51163 | No | 1
14.5 | 9.4823 | 0.52429 | 0.55284 | 0.0051324 | 0.97093 | 82994 | 4.919 | 0.57467 | No | 1
14.5167 | 9.9208 | 0.58139 | 0.60543 | 0.0056913 | 0.96552 | 81214 | 4.9096 | 0.62988 | No | 1
14.5333 | 10.2984 | 0.62948 | 0.65918 | 0.0061621 | 0.95959 | 79473 | 4.9002 | 0.68638 | No | 1
14.55 | 10.6141 | 0.68887 | 0.72253 | 0.0067435 | 0.95313 | 77772 | 4.8908 | 0.75299 | No | 1
14.5667 | 10.8655 | 0.75619 | 0.78512 | 0.0074025 | 0.94606 | 76108 | 4.8814 | 0.81892 | No | 1
14.5833 | 11.0559 | 0.81405 | 0.83658 | 0.007969 | 0.93837 | 74481 | 4.872 | 0.87333 | No | 1
14.6 | 11.1911 | 0.8591 | 0.88025 | 0.0084099 | 0.93018 | 72890 | 4.8627 | 0.9197 | No | 1
14.6167 | 11.2783 | 0.9014 | 0.92354 | 0.008824 | 0.92156 | 71335 | 4.8533 | 0.96575 | No | 1
14.6333 | 11.3243 | 0.94568 | 0.95965 | 0.0092575 | 0.91252 | 69814 | 4.8439 | 1.0044 | No | 1
14.65 | 11.338 | 0.97363 | 0.98647 | 0.0095311 | 0.90312 | 68327 | 4.8346 | 1.0333 | No | 1
14.6667 | 11.3345 | 0.9993 | 1.0096 | 0.0097824 | 0.89346 | 66872 | 4.8252 | 1.0584 | No | 1
14.6833 | 11.3221 | 1.0199 | 1.0301 | 0.0099843 | 0.88357 | 65450 | 4.8159 | 1.0808 | No | 1
14.7 | 11.3055 | 1.0403 | 1.0451 | 0.010183 | 0.87349 | 64059 | 4.8066 | 1.0975 | No | 1
14.7167 | 11.2957 | 1.0499 | 1.0572 | 0.010278 | 0.86325 | 62699 | 4.7973 | 1.1112 | No | 1
14.7333 | 11.3028 | 1.0646 | 1.0696 | 0.010421 | 0.8529 | 61369 | 4.7879 | 1.1251 | No | 1
14.75 | 11.3308 | 1.0745 | 1.0796 | 0.010519 | 0.84243 | 60068 | 4.7786 | 1.1366 | No | 1
14.7667 | 11.3844 | 1.0846 | 1.0939 | 0.010618 | 0.83186 | 58796 | 4.7693 | 1.1526 | No | 1
14.7833 | 11.4662 | 1.1031 | 1.1054 | 0.010799 | 0.82115 | 57552 | 4.7601 | 1.1657 | No | 1
14.8 | 11.5752 | 1.1077 | 1.1132 | 0.010844 | 0.81032 | 56335 | 4.7508 | 1.1749 | No | 1
14.8167 | 11.7119 | 1.1186 | 1.1322 | 0.01095 | 0.79942 | 55145 | 4.7415 | 1.196 | No | 1
14.8333 | 11.8728 | 1.1458 | 1.1593 | 0.011216 | 0.78834 | 53981 | 4.7322 | 1.2256 | No | 1
14.85 | 12.0532 | 1.1728 | 1.1936 | 0.011481 | 0.77698 | 52842 | 4.723 | 1.2629 | No | 1
14.8667 | 12.2485 | 1.2144 | 1.2381 | 0.011888 | 0.7653 | 51728 | 4.7137 | 1.3111 | No | 1
14.8833 | 12.454 | 1.2618 | 1.2848 | 0.012353 | 0.75317 | 50639 | 4.7045 | 1.3617 | No | 1
14.9 | 12.6602 | 1.3077 | 1.335 | 0.012801 | 0.74059 | 49574 | 4.6953 | 1.4161 | No | 1
14.9167 | 12.8584 | 1.3623 | 1.3906 | 0.013336 | 0.72752 | 48532 | 4.686 | 1.4763 | No | 1
14.9333 | 13.0433 | 1.4188 | 1.4489 | 0.013889 | 0.71391 | 47512 | 4.6768 | 1.5395 | No | 1
14.95 | 13.2044 | 1.479 | 1.5093 | 0.014478 | 0.69972 | 46515 | 4.6676 | 1.605 | No | 1
14.9667 | 13.336 | 1.5397 | 1.5723 | 0.015073 | 0.68494 | 45540 | 4.6584 | 1.6734 | No | 1
14.9833 | 13.4348 | 1.6049 | 1.6367 | 0.015711 | 0.66954 | 44585 | 4.6492 | 1.7433 | No | 1
15 | 13.4949 | 1.6684 | 1.7027 | 0.016332 | 0.65352 | 43652 | 4.64 | 1.8151 | No | 1
15.0167 | 13.5109 | 1.7369 | 1.7682 | 0.017003 | 0.63685 | 42739 | 4.6308 | 1.8866 | No | 1
15.0333 | 13.4775 | 1.7995 | 1.8275 | 0.017616 | 0.61953 | 41845 | 4.6216 | 1.9514 | No | 1
15.05 | 13.3938 | 1.8554 | 1.8778 | 0.018163 | 0.60164 | 40972 | 4.6125 | 2.0068 | No | 1
15.0667 | 13.262 | 1.9002 | 1.9236 | 0.018601 | 0.58325 | 40117 | 4.6033 | 2.0574 | No | 1
15.0833 | 13.0836 | 1.947 | 1.9612 | 0.01906 | 0.56441 | 39280 | 4.5942 | 2.0994 | No | 1
15.1 | 12.858 | 1.9754 | 1.9907 | 0.019338 | 0.54521 | 38462 | 4.585 | 2.1327 | No | 1
15.1167 | 12.5879 | 2.006 | 2.0135 | 0.019637 | 0.52572 | 37661 | 4.5759 | 2.1589 | No | 1
15.1333 | 12.2796 | 2.021 | 2.025 | 0.019784 | 0.506 | 36878 | 4.5668 | 2.1729 | No | 1
15.15 | 11.9399 | 2.0289 | 2.0268 | 0.019862 | 0.48617 | 36111 | 4.5576 | 2.1767 | No | 1
15.1667 | 11.5713 | 2.0247 | 2.0211 | 0.01982 | 0.46633 | 35361 | 4.5485 | 2.1723 | No | 1
15.1833 | 11.1783 | 2.0174 | 2.0054 | 0.019749 | 0.44654 | 34628 | 4.5394 | 2.1573 | No | 1
15.2 | 10.766 | 1.9935 | 1.9776 | 0.019515 | 0.4269 | 33910 | 4.5303 | 2.1291 | No | 1
15.2167 | 10.3438 | 1.9618 | 1.9403 | 0.019204 | 0.40753 | 33207 | 4.5212 | 2.0906 | No | 1
15.2333 | 9.9163 | 1.9188 | 1.8956 | 0.018783 | 0.38853 | 32520 | 4.5122 | 2.0441 | No | 1
15.25 | 9.4853 | 1.8724 | 1.8472 | 0.01833 | 0.36997 | 31847 | 4.5031 | 1.9935 | No | 1
15.2667 | 9.0577 | 1.8219 | 1.7929 | 0.017835 | 0.35189 | 31189 | 4.494 | 1.9365 | No | 1
15.2833 | 8.638 | 1.7638 | 1.732 | 0.017267 | 0.33433 | 30545 | 4.4849 | 1.8723 | No | 1
15.3 | 8.2276 | 1.7002 | 1.6664 | 0.016644 | 0.31737 | 29915 | 4.4759 | 1.8027 | No | 1
15.3167 | 7.8287 | 1.6325 | 1.6013 | 0.015981 | 0.30105 | 29298 | 4.4668 | 1.7338 | No | 1
15.3333 | 7.4446 | 1.5702 | 1.5395 | 0.015371 | 0.28537 | 28694 | 4.4578 | 1.6682 | No | 1
15.35 | 7.0765 | 1.5088 | 1.4756 | 0.01477 | 0.2703 | 28104 | 4.4488 | 1.6002 | No | 1
15.3667 | 6.7254 | 1.4423 | 1.4073 | 0.014119 | 0.25585 | 27526 | 4.4397 | 1.5274 | No | 1
15.3833 | 6.3922 | 1.3723 | 1.3371 | 0.013434 | 0.24207 | 26960 | 4.4307 | 1.4523 | No | 1
15.4 | 6.0769 | 1.3019 | 1.2666 | 0.012744 | 0.22898 | 26406 | 4.4217 | 1.3769 | No | 1
15.4167 | 5.7774 | 1.2314 | 1.2039 | 0.012055 | 0.21657 | 25864 | 4.4127 | 1.3097 | No | 1
15.4333 | 5.4932 | 1.1764 | 1.151 | 0.011516 | 0.20479 | 25334 | 4.4037 | 1.2532 | No | 1
15.45 | 5.2227 | 1.1257 | 1.0943 | 0.01102 | 0.19351 | 24815 | 4.3947 | 1.1924 | No | 1
15.4667 | 4.9651 | 1.0629 | 1.0351 | 0.010405 | 0.1828 | 24307 | 4.3857 | 1.1288 | No | 1
15.4833 | 4.7231 | 1.0072 | 0.98161 | 0.00986 | 0.17266 | 23810 | 4.3768 | 1.0713 | No | 1
15.5 | 4.4951 | 0.95599 | 0.9348 | 0.0093584 | 0.16305 | 23323 | 4.3678 | 1.021 | No | 1
15.5167 | 4.2764 | 0.9136 | 0.89409 | 0.0089435 | 0.1539 | 22847 | 4.3588 | 0.97735 | No | 1
15.5333 | 4.0675 | 0.87457 | 0.84834 | 0.0085614 | 0.14514 | 22381 | 4.3499 | 0.92808 | No | 1
15.55 | 3.8694 | 0.82211 | 0.79504 | 0.0080478 | 0.13684 | 21924 | 4.3409 | 0.87046 | No | 1
15.5667 | 3.6809 | 0.76797 | 0.74243 | 0.0075179 | 0.12905 | 21478 | 4.332 | 0.8135 | No | 1
15.5833 | 3.5022 | 0.71689 | 0.69821 | 0.0070178 | 0.12178 | 21040 | 4.323 | 0.76565 | No | 1
15.6 | 3.3319 | 0.67953 | 0.66101 | 0.0066521 | 0.11495 | 20612 | 4.3141 | 0.72543 | No | 1
15.6167 | 3.1661 | 0.64249 | 0.62717 | 0.0062894 | 0.10847 | 20193 | 4.3052 | 0.68883 | No | 1
15.6333 | 3.0048 | 0.61185 | 0.59523 | 0.0059895 | 0.10233 | 19783 | 4.2963 | 0.65427 | No | 1
15.65 | 2.8513 | 0.57861 | 0.56795 | 0.0056642 | 0.096503 | 19382 | 4.2874 | 0.62477 | No | 1
15.6667 | 2.7064 | 0.55728 | 0.54425 | 0.0054554 | 0.090942 | 18989 | 4.2785 | 0.59917 | No | 1
15.6833 | 2.5679 | 0.53122 | 0.51605 | 0.0052003 | 0.085613 | 18604 | 4.2696 | 0.56857 | No | 1
15.7 | 2.4339 | 0.50089 | 0.48816 | 0.0049033 | 0.08056 | 18227 | 4.2607 | 0.53826 | No | 1
15.7167 | 2.3046 | 0.47544 | 0.46263 | 0.0046542 | 0.07578 | 17858 | 4.2518 | 0.51051 | No | 1
15.7333 | 2.181 | 0.44983 | 0.43688 | 0.0044035 | 0.07125 | 17497 | 4.243 | 0.48247 | No | 1
15.75 | 2.064 | 0.42392 | 0.41372 | 0.0041499 | 0.066972 | 17144 | 4.2341 | 0.45724 | No | 1
15.7667 | 1.9532 | 0.40351 | 0.39399 | 0.00395 | 0.062921 | 16798 | 4.2253 | 0.43578 | No | 1
15.7833 | 1.8472 | 0.38447 | 0.37311 | 0.0037636 | 0.059063 | 16459 | 4.2164 | 0.41301 | No | 1
15.8 | 1.7453 | 0.36176 | 0.35285 | 0.0035414 | 0.055409 | 16127 | 4.2076 | 0.39088 | No | 1
15.8167 | 1.6463 | 0.34394 | 0.33236 | 0.0033669 | 0.051954 | 15802 | 4.1987 | 0.36846 | No | 1
15.8333 | 1.5513 | 0.32078 | 0.3111 | 0.0031402 | 0.0487 | 15484 | 4.1899 | 0.34517 | No | 1
15.85 | 1.4618 | 0.30143 | 0.29 | 0.0029508 | 0.045654 | 15173 | 4.1811 | 0.322 | No | 1
15.8667 | 1.3775 | 0.27857 | 0.2721 | 0.002727 | 0.042814 | 14868 | 4.1723 | 0.30236 | No | 1
15.8833 | 1.2966 | 0.26563 | 0.25611 | 0.0026003 | 0.040149 | 14570 | 4.1635 | 0.28481 | No | 1
15.9 | 1.2191 | 0.24659 | 0.24134 | 0.0024139 | 0.037642 | 14277 | 4.1546 | 0.26859 | No | 1
15.9167 | 1.146 | 0.23609 | 0.23092 | 0.0023112 | 0.035278 | 13991 | 4.1458 | 0.25719 | No | 1
15.9333 | 1.0769 | 0.22575 | 0.22256 | 0.0022099 | 0.033017 | 13711 | 4.1371 | 0.24807 | No | 1
15.95 | 1.0107 | 0.21937 | 0.21321 | 0.0021475 | 0.030838 | 13436 | 4.1283 | 0.23782 | No | 1
15.9667 | 0.94939 | 0.20704 | 0.20378 | 0.0020268 | 0.02875 | 13168 | 4.1195 | 0.22748 | No | 1
15.9833 | 0.88998 | 0.20051 | 0.19603 | 0.0019629 | 0.026755 | 12904 | 4.1107 | 0.21899 | No | 1
16 | 0.83281 | 0.19154 | 0.18515 | 0.001875 | 0.024835 | 12647 | 4.102 | 0.207 | No | 1
16.0167 | 0.7809 | 0.17875 | 0.17534 | 0.0017499 | 0.023023 | 12394 | 4.0932 | 0.19618 | No | 1
16.0333 | 0.73099 | 0.17192 | 0.16484 | 0.001683 | 0.021306 | 12147 | 4.0845 | 0.18457 | No | 1
16.05 | 0.68248 | 0.15776 | 0.15083 | 0.0015443 | 0.019692 | 11905 | 4.0757 | 0.16902 | No | 1
16.0667 | 0.63771 | 0.1439 | 0.13927 | 0.0014087 | 0.018215 | 11668 | 4.067 | 0.15617 | No | 1
16.0833 | 0.59461 | 0.13463 | 0.13121 | 0.0013179 | 0.016851 | 11436 | 4.0583 | 0.14725 | No | 1
16.1 | 0.55148 | 0.12779 | 0.12544 | 0.001251 | 0.015566 | 11208 | 4.0495 | 0.14088 | No | 1
16.1167 | 0.51211 | 0.12309 | 0.1254 | 0.001205 | 0.014338 | 10986 | 4.0408 | 0.14094 | No | 1
16.1333 | 0.47617 | 0.1277 | 0.12528 | 0.0012501 | 0.01311 | 10768 | 4.0321 | 0.14091 | No | 1
16.15 | 0.44271 | 0.12285 | 0.116 | 0.0012026 | 0.011883 | 10554 | 4.0234 | 0.13057 | No | 1
16.1667 | 0.41148 | 0.10915 | 0.10359 | 0.0010685 | 0.010747 | 10345 | 4.0147 | 0.11669 | No | 1
16.1833 | 0.38337 | 0.098041 | 0.096912 | 0.00095974 | 0.0097331 | 10140 | 4.006 | 0.10925 | No | 1
16.2 | 0.35714 | 0.095783 | 0.092441 | 0.00093764 | 0.0087841 | 9939 | 3.9973 | 0.10429 | No | 1
16.2167 | 0.33153 | 0.0891 | 0.085072 | 0.00087222 | 0.0078789 | 9743 | 3.9887 | 0.096044 | No | 1
16.2333 | 0.30676 | 0.081044 | 0.076863 | 0.00079336 | 0.0070459 | 9550 | 3.98 | 0.086841 | No | 1
16.25 | 0.28471 | 0.072683 | 0.067739 | 0.00071151 | 0.0062933 | 9361 | 3.9713 | 0.076589 | No | 1
16.2667 | 0.26661 | 0.062795 | 0.058996 | 0.00061472 | 0.00563 | 9177 | 3.9627 | 0.066754 | No | 1
16.2833 | 0.25071 | 0.055197 | 0.055365 | 0.00054034 | 0.0050523 | 8996 | 3.954 | 0.062692 | No | 1
16.3 | 0.23598 | 0.055533 | 0.053794 | 0.00054363 | 0.0045102 | 8818 | 3.9454 | 0.060957 | No | 1
16.3167 | 0.22071 | 0.052055 | 0.050392 | 0.00050958 | 0.0039834 | 8645 | 3.9368 | 0.057144 | No | 1
16.3333 | 0.20459 | 0.048729 | 0.045235 | 0.00047702 | 0.00349 | 8475 | 3.9281 | 0.051334 | No | 1
16.35 | 0.19027 | 0.041741 | 0.04107 | 0.00040861 | 0.0030471 | 8308 | 3.9195 | 0.046641 | No | 1
16.3667 | 0.1785 | 0.040399 | 0.042551 | 0.00039547 | 0.0026449 | 8145 | 3.9109 | 0.048358 | No | 1
16.3833 | 0.16952 | 0.044702 | 0.048533 | 0.0004376 | 0.0022283 | 7985 | 3.9023 | 0.055197 | No | 1
16.4 | 0.16109 | 0.052363 | 0.04925 | 0.00051259 | 0.001753 | 7828 | 3.8937 | 0.056054 | No | 1
16.4167 | 0.15482 | 0.046138 | 0.044475 | 0.00045165 | 0.0012708 | 7675 | 3.8851 | 0.050656 | No | 1
16.4333 | 0.15289 | 0.042812 | 0.042598 | 0.00041909 | 0.00083529 | 7524 | 3.8764 | 0.048554 | No | 1
16.45 | 0.15174 | 0.042385 | 0.042706 | 0.00041492 | 0.00041817 | 7377 | 3.8679 | 0.048712 | No | 1
16.4667 | 0.14996 | 0.043026 | 0 | 0.0004212 | 0 | 7233 | 3.8593 | 0 | No | 1