## Sample Details
Administrative Information
Export date | 26 May 2022 11:55:10
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0013.sample
Creation date | 26 May 2022 10:14:37
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t12=360 min
Information
Sample type | Sample
Injection date | 26 May 2022
Vial number | P2-B-3
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 29.8333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1790
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 29.8333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1790
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.016107 | 9.9997
0.016667 | -0.018622 | 10.01
0.033333 | -0.018792 | 9.9538
0.05 | -0.015844 | 9.7067
0.066667 | -0.0091594 | 9.6993
0.083333 | -0.0035187 | 9.7533
0.1 | -0.0038877 | 9.8119
0.11667 | -0.0084122 | 9.8679
0.13333 | -0.01246 | 9.9078
0.15 | -0.014424 | 9.9355
0.16667 | -0.01659 | 9.9488
0.18333 | -0.018301 | 9.957
0.2 | -0.018937 | 9.9732
0.21667 | -0.019385 | 9.9836
0.23333 | -0.020362 | 9.9895
0.25 | -0.021268 | 9.9879
0.26667 | -0.020751 | 9.994
0.28333 | -0.02024 | 9.9908
0.3 | -0.021506 | 9.996
0.31667 | -0.022483 | 9.9877
0.33333 | -0.021906 | 9.9856
0.35 | -0.022126 | 9.9813
0.36667 | -0.022848 | 9.9813
0.38333 | -0.024008 | 9.9815
0.4 | -0.025577 | 9.9815
0.41667 | -0.025393 | 9.9842
0.43333 | -0.025616 | 9.9906
0.45 | -0.02822 | 9.9902
0.46667 | -0.029141 | 9.9886
0.48333 | -0.027697 | 9.9873
0.5 | -0.026852 | 9.9848
0.51667 | -0.027529 | 9.9853
0.53333 | -0.026716 | 9.9844
0.55 | -0.027083 | 9.9889
0.56667 | -0.029774 | 9.9883
0.58333 | -0.030828 | 9.9949
0.6 | -0.029914 | 10.0076
0.61667 | -0.028106 | 10.0126
0.63333 | -0.027918 | 10.0072
0.65 | -0.029799 | 10.0098
0.66667 | -0.03052 | 10.0053
0.68333 | -0.030654 | 10.0091
0.7 | -0.031511 | 10.0071
0.71667 | -0.032606 | 10.0076
0.73333 | -0.033164 | 9.9992
0.75 | -0.032391 | 9.9984
0.76667 | -0.031485 | 9.9987
0.78333 | -0.031687 | 9.9992
0.8 | -0.031204 | 10.0004
0.81667 | -0.029481 | 9.9938
0.83333 | -0.028996 | 9.9972
0.85 | -0.030176 | 9.9969
0.86667 | -0.031277 | 9.9917
0.88333 | -0.031104 | 9.9987
0.9 | -0.031572 | 9.9949
0.91667 | -0.03418 | 9.9952
0.93333 | -0.035137 | 9.9995
0.95 | -0.034045 | 10.005
0.96667 | -0.032218 | 10.0021
0.98333 | -0.032312 | 10.0019
1 | -0.034453 | 10.0013
1.0167 | -0.035034 | 10.0039
1.0333 | -0.034081 | 10.0085
1.05 | -0.03312 | 10.0054
1.0667 | -0.035092 | 10.0156
1.0833 | -0.037405 | 10.0091
1.1 | -0.036514 | 10.0069
1.1167 | -0.03582 | 10.004
1.1333 | -0.036002 | 10.0085
1.15 | -0.036564 | 10.0079
1.1667 | -0.038991 | 10.0051
1.1833 | -0.041445 | 10.005
1.2 | -0.040057 | 10.0115
1.2167 | -0.038426 | 10.01
1.2333 | -0.039538 | 10.0074
1.25 | -0.040432 | 10.0036
1.2667 | -0.041502 | 10.0007
1.2833 | -0.042072 | 9.996
1.3 | -0.040939 | 9.9935
1.3167 | -0.041318 | 9.9973
1.3333 | -0.043439 | 10.0027
1.35 | -0.046305 | 9.9979
1.3667 | -0.04845 | 9.9998
1.3833 | -0.048349 | 10.0065
1.4 | -0.046777 | 10.0005
1.4167 | -0.045956 | 10.0024
1.4333 | -0.047932 | 9.9949
1.45 | -0.049556 | 9.9883
1.4667 | -0.050194 | 9.9932
1.4833 | -0.052126 | 9.9993
1.5 | -0.051957 | 9.9987
1.5167 | -0.050535 | 9.9992
1.5333 | -0.050656 | 9.9993
1.55 | -0.051859 | 9.9943
1.5667 | -0.051134 | 10.0027
1.5833 | -0.048513 | 10.0025
1.6 | -0.047952 | 9.9931
1.6167 | -0.04876 | 9.9955
1.6333 | -0.051868 | 9.9937
1.65 | -0.054716 | 9.9964
1.6667 | -0.053775 | 9.9953
1.6833 | -0.052112 | 9.994
1.7 | -0.051969 | 9.9926
1.7167 | -0.053055 | 9.9917
1.7333 | -0.053601 | 9.9941
1.75 | -0.054721 | 9.9923
1.7667 | -0.054726 | 9.9976
1.7833 | -0.053401 | 10.0019
1.8 | -0.053398 | 10.0098
1.8167 | -0.05505 | 9.9995
1.8333 | -0.056882 | 10.0025
1.85 | -0.057925 | 10.0025
1.8667 | -0.057073 | 10.0095
1.8833 | -0.054493 | 10.0076
1.9 | -0.05371 | 10.0054
1.9167 | -0.05545 | 10.0013
1.9333 | -0.057235 | 10.01
1.95 | -0.057528 | 10.003
1.9667 | -0.05923 | 10.0076
1.9833 | -0.060396 | 10.0011
2 | -0.06001 | 10.0059
2.0167 | -0.0609 | 10.0089
2.0333 | -0.061291 | 10.0144
2.05 | -0.061066 | 10.0077
2.0667 | -0.061807 | 10.0123
2.0833 | -0.062137 | 10.0159
2.1 | -0.061314 | 10.0227
2.1167 | -0.061679 | 10.0153
2.1333 | -0.063697 | 10.0144
2.15 | -0.064929 | 10.0161
2.1667 | -0.064632 | 10.0185
2.1833 | -0.063189 | 10.015
2.2 | -0.061204 | 10.0159
2.2167 | -0.061358 | 10.0225
2.2333 | -0.064006 | 10.0198
2.25 | -0.064183 | 10.0181
2.2667 | -0.063398 | 10.0179
2.2833 | -0.066147 | 10.0254
2.3 | -0.069027 | 10.0295
2.3167 | -0.070058 | 10.0324
2.3333 | -0.070444 | 10.0277
2.35 | -0.071251 | 10.0304
2.3667 | -0.071248 | 10.0256
2.3833 | -0.071048 | 10.0323
2.4 | -0.07033 | 10.0263
2.4167 | -0.069983 | 10.0396
2.4333 | -0.070758 | 10.0314
2.45 | -0.069816 | 10.0372
2.4667 | -0.070018 | 10.033
2.4833 | -0.072718 | 10.0289
2.5 | -0.074098 | 10.0329
2.5167 | -0.073455 | 10.0312
2.5333 | -0.072801 | 10.0369
2.55 | -0.072876 | 10.0448
2.5667 | -0.072794 | 10.0439
2.5833 | -0.070221 | 10.0376
2.6 | -0.068672 | 10.0439
2.6167 | -0.072458 | 10.0509
2.6333 | -0.075319 | 10.0536
2.65 | -0.074524 | 10.0452
2.6667 | -0.073395 | 10.0488
2.6833 | -0.072614 | 10.0472
2.7 | -0.073464 | 10.0459
2.7167 | -0.075676 | 10.0426
2.7333 | -0.077323 | 10.0426
2.75 | -0.078498 | 10.0431
2.7667 | -0.076958 | 10.0442
2.7833 | -0.0753 | 10.0333
2.8 | -0.077141 | 10.0373
2.8167 | -0.078637 | 10.0384
2.8333 | -0.077531 | 10.0379
2.85 | -0.077019 | 10.0407
2.8667 | -0.077485 | 10.0448
2.8833 | -0.07556 | 10.0369
2.9 | -0.074249 | 10.0428
2.9167 | -0.076141 | 10.0411
2.9333 | -0.07962 | 10.0428
2.95 | -0.080858 | 10.037
2.9667 | -0.079386 | 10.0446
2.9833 | -0.078924 | 10.0408
3 | -0.079736 | 10.0419
3.0167 | -0.079073 | 10.0407
3.0333 | -0.077839 | 10.0416
3.05 | -0.078385 | 10.0433
3.0667 | -0.082029 | 10.0477
3.0833 | -0.084171 | 10.0571
3.1 | -0.081578 | 10.0576
3.1167 | -0.080164 | 10.0565
3.1333 | -0.081899 | 10.0552
3.15 | -0.081731 | 10.0582
3.1667 | -0.079697 | 10.0597
3.1833 | -0.080536 | 10.0617
3.2 | -0.082951 | 10.0593
3.2167 | -0.08431 | 10.0603
3.2333 | -0.083985 | 10.0602
3.25 | -0.083992 | 10.0652
3.2667 | -0.084711 | 10.0631
3.2833 | -0.083733 | 10.0643
3.3 | -0.082432 | 10.0681
3.3167 | -0.082084 | 10.0672
3.3333 | -0.083353 | 10.0651
3.35 | -0.083615 | 10.0681
3.3667 | -0.08337 | 10.0677
3.3833 | -0.085194 | 10.0646
3.4 | -0.086954 | 10.0694
3.4167 | -0.087226 | 10.0695
3.4333 | -0.086854 | 10.0665
3.45 | -0.087227 | 10.0674
3.4667 | -0.089336 | 10.0689
3.4833 | -0.091719 | 10.0602
3.5 | -0.09083 | 10.0593
3.5167 | -0.089072 | 10.0617
3.5333 | -0.09012 | 10.0619
3.55 | -0.091459 | 10.0536
3.5667 | -0.091707 | 10.0513
3.5833 | -0.090382 | 10.0497
3.6 | -0.088461 | 10.0547
3.6167 | -0.087236 | 10.0434
3.6333 | -0.0874 | 10.0469
3.65 | -0.087748 | 10.0486
3.6667 | -0.087288 | 10.0497
3.6833 | -0.089453 | 10.0491
3.7 | -0.092431 | 10.048
3.7167 | -0.091798 | 10.0448
3.7333 | -0.090839 | 10.0439
3.75 | -0.092704 | 10.044
3.7667 | -0.093751 | 10.0417
3.7833 | -0.092562 | 10.0404
3.8 | -0.093181 | 10.0388
3.8167 | -0.096144 | 10.0448
3.8333 | -0.09677 | 10.0466
3.85 | -0.095636 | 10.0507
3.8667 | -0.095611 | 10.0509
3.8833 | -0.095584 | 10.0477
3.9 | -0.096592 | 10.0486
3.9167 | -0.098887 | 10.0481
3.9333 | -0.098931 | 10.0465
3.95 | -0.097623 | 10.0454
3.9667 | -0.09919 | 10.0408
3.9833 | -0.10113 | 10.0445
4 | -0.10135 | 10.0443
4.0167 | -0.10133 | 10.0491
4.0333 | -0.10094 | 10.053
4.05 | -0.099487 | 10.0546
4.0667 | -0.10033 | 10.0594
4.0833 | -0.10299 | 10.0716
4.1 | -0.10349 | 10.0697
4.1167 | -0.10402 | 10.066
4.1333 | -0.10624 | 10.064
4.15 | -0.10708 | 10.0695
4.1667 | -0.10618 | 10.0666
4.1833 | -0.10552 | 10.069
4.2 | -0.10501 | 10.0646
4.2167 | -0.10419 | 10.0648
4.2333 | -0.10382 | 10.0527
4.25 | -0.10477 | 10.0517
4.2667 | -0.10731 | 10.0474
4.2833 | -0.1077 | 10.0451
4.3 | -0.10622 | 10.0446
4.3167 | -0.10808 | 10.0495
4.3333 | -0.1103 | 10.051
4.35 | -0.10944 | 10.053
4.3667 | -0.10785 | 10.0565
4.3833 | -0.10681 | 10.055
4.4 | -0.10596 | 10.0526
4.4167 | -0.10598 | 10.043
4.4333 | -0.10709 | 10.0454
4.45 | -0.10838 | 10.0494
4.4667 | -0.10961 | 10.0477
4.4833 | -0.11006 | 10.0457
4.5 | -0.10902 | 10.0513
4.5167 | -0.10804 | 10.0501
4.5333 | -0.10927 | 10.051
4.55 | -0.10982 | 10.0483
4.5667 | -0.10983 | 10.0617
4.5833 | -0.1107 | 10.0564
4.6 | -0.11256 | 10.0584
4.6167 | -0.11417 | 10.0562
4.6333 | -0.11363 | 10.0613
4.65 | -0.11316 | 10.0622
4.6667 | -0.1138 | 10.0549
4.6833 | -0.11465 | 10.0504
4.7 | -0.11615 | 10.0426
4.7167 | -0.1164 | 10.0484
4.7333 | -0.11518 | 10.0498
4.75 | -0.11408 | 10.0526
4.7667 | -0.11393 | 10.0512
4.7833 | -0.11432 | 10.0475
4.8 | -0.11408 | 10.0442
4.8167 | -0.11469 | 10.0443
4.8333 | -0.11546 | 10.0436
4.85 | -0.11487 | 10.0495
4.8667 | -0.11575 | 10.046
4.8833 | -0.11762 | 10.0521
4.9 | -0.1183 | 10.0622
4.9167 | -0.11824 | 10.0602
4.9333 | -0.11748 | 10.0526
4.95 | -0.11719 | 10.0549
4.9667 | -0.11827 | 10.0541
4.9833 | -0.11927 | 10.0613
5 | -0.11959 | 10.0564
5.0167 | -0.11891 | 10.0559
5.0333 | -0.11861 | 10.0594
5.05 | -0.11899 | 10.0582
5.0667 | -0.1194 | 10.055
5.0833 | -0.12005 | 10.0629
5.1 | -0.12053 | 10.0713
5.1167 | -0.12053 | 10.0747
5.1333 | -0.12201 | 10.0835
5.15 | -0.12313 | 10.0822
5.1667 | -0.12305 | 10.0805
5.1833 | -0.12281 | 10.0742
5.2 | -0.12275 | 10.0736
5.2167 | -0.12332 | 10.0654
5.2333 | -0.12387 | 10.0645
5.25 | -0.12526 | 10.0648
5.2667 | -0.12766 | 10.0594
5.2833 | -0.12826 | 10.053
5.3 | -0.12683 | 10.0532
5.3167 | -0.12553 | 10.0526
5.3333 | -0.12567 | 10.0587
5.35 | -0.12793 | 10.0561
5.3667 | -0.12942 | 10.0541
5.3833 | -0.12802 | 10.057
5.4 | -0.12744 | 10.0594
5.4167 | -0.12875 | 10.0533
5.4333 | -0.12885 | 10.059
5.45 | -0.12787 | 10.0573
5.4667 | -0.12719 | 10.0547
5.4833 | -0.12758 | 10.0568
5.5 | -0.12788 | 10.0625
5.5167 | -0.12851 | 10.0536
5.5333 | -0.12899 | 10.0489
5.55 | -0.12817 | 10.0462
5.5667 | -0.12759 | 10.0451
5.5833 | -0.12795 | 10.0416
5.6 | -0.1281 | 10.0449
5.6167 | -0.12889 | 10.0483
5.6333 | -0.12898 | 10.0495
5.65 | -0.12995 | 10.0562
5.6667 | -0.1324 | 10.051
5.6833 | -0.13413 | 10.0552
5.7 | -0.13496 | 10.0515
5.7167 | -0.13433 | 10.0489
5.7333 | -0.13433 | 10.0488
5.75 | -0.13383 | 10.0573
5.7667 | -0.13089 | 10.0568
5.7833 | -0.13027 | 10.0628
5.8 | -0.133 | 10.0594
5.8167 | -0.1345 | 10.0567
5.8333 | -0.13461 | 10.0492
5.85 | -0.13425 | 10.0555
5.8667 | -0.13405 | 10.0636
5.8833 | -0.13446 | 10.0599
5.9 | -0.13543 | 10.0574
5.9167 | -0.1358 | 10.0567
5.9333 | -0.13611 | 10.0547
5.95 | -0.137 | 10.0481
5.9667 | -0.13863 | 10.0481
5.9833 | -0.13831 | 10.0512
6 | -0.13712 | 10.0541
6.0167 | -0.13719 | 10.053
6.0333 | -0.1371 | 10.055
6.05 | -0.13691 | 10.0465
6.0667 | -0.13733 | 10.0465
6.0833 | -0.13855 | 10.043
6.1 | -0.13943 | 10.0515
6.1167 | -0.13983 | 10.0629
6.1333 | -0.13903 | 10.0626
6.15 | -0.13688 | 10.0565
6.1667 | -0.13745 | 10.0613
6.1833 | -0.14081 | 10.0468
6.2 | -0.14293 | 10.048
6.2167 | -0.14164 | 10.0483
6.2333 | -0.14022 | 10.0559
6.25 | -0.14026 | 10.0527
6.2667 | -0.14023 | 10.043
6.2833 | -0.14143 | 10.039
6.3 | -0.14345 | 10.0411
6.3167 | -0.14484 | 10.0396
6.3333 | -0.14498 | 10.0385
6.35 | -0.14436 | 10.0361
6.3667 | -0.14368 | 10.0407
6.3833 | -0.14413 | 10.0355
6.4 | -0.14609 | 10.0381
6.4167 | -0.14722 | 10.0405
6.4333 | -0.14869 | 10.032
6.45 | -0.14935 | 10.033
6.4667 | -0.14635 | 10.0391
6.4833 | -0.14359 | 10.0353
6.5 | -0.14107 | 10.0352
6.5167 | -0.13432 | 10.0355
6.5333 | -0.12082 | 10.0378
6.55 | -0.097186 | 10.0486
6.5667 | -0.058008 | 10.0365
6.5833 | 0.0046817 | 10.0285
6.6 | 0.099597 | 10.0343
6.6167 | 0.24006 | 10.0393
6.6333 | 0.44624 | 10.0399
6.65 | 0.73907 | 10.041
6.6667 | 1.1404 | 10.0379
6.6833 | 1.6716 | 10.0434
6.7 | 2.3529 | 10.0413
6.7167 | 3.2006 | 10.0376
6.7333 | 4.2266 | 10.0404
6.75 | 5.4335 | 10.0356
6.7667 | 6.8131 | 10.0404
6.7833 | 8.3489 | 10.0536
6.8 | 10.0169 | 10.0581
6.8167 | 11.7843 | 10.0558
6.8333 | 13.6166 | 10.0552
6.85 | 15.4801 | 10.0603
6.8667 | 17.3363 | 10.0776
6.8833 | 19.1474 | 10.0924
6.9 | 20.8843 | 10.1031
6.9167 | 22.5171 | 10.115
6.9333 | 24.018 | 10.1279
6.95 | 25.3682 | 10.1336
6.9667 | 26.5562 | 10.1556
6.9833 | 27.5723 | 10.1693
7 | 28.4085 | 10.1859
7.0167 | 29.0692 | 10.1936
7.0333 | 29.5603 | 10.212
7.05 | 29.8874 | 10.2172
7.0667 | 30.0615 | 10.2241
7.0833 | 30.0918 | 10.2256
7.1 | 29.992 | 10.2279
7.1167 | 29.7773 | 10.2256
7.1333 | 29.4599 | 10.2314
7.15 | 29.0531 | 10.2349
7.1667 | 28.5707 | 10.2389
7.1833 | 28.0304 | 10.2254
7.2 | 27.4436 | 10.2238
7.2167 | 26.8131 | 10.2184
7.2333 | 26.1527 | 10.212
7.25 | 25.4766 | 10.2082
7.2667 | 24.7893 | 10.2068
7.2833 | 24.0954 | 10.2004
7.3 | 23.4043 | 10.1929
7.3167 | 22.7192 | 10.1971
7.3333 | 22.0435 | 10.1911
7.35 | 21.3793 | 10.1957
7.3667 | 20.7285 | 10.1936
7.3833 | 20.0945 | 10.1893
7.4 | 19.4748 | 10.1905
7.4167 | 18.8744 | 10.1801
7.4333 | 18.2959 | 10.1652
7.45 | 17.7358 | 10.1597
7.4667 | 17.1925 | 10.1476
7.4833 | 16.6688 | 10.146
7.5 | 16.1658 | 10.1463
7.5167 | 15.6805 | 10.1441
7.5333 | 15.2132 | 10.1336
7.55 | 14.7668 | 10.1356
7.5667 | 14.3378 | 10.1363
7.5833 | 13.9249 | 10.1325
7.6 | 13.5273 | 10.1244
7.6167 | 13.145 | 10.1165
7.6333 | 12.7793 | 10.1217
7.65 | 12.4253 | 10.1179
7.6667 | 12.0842 | 10.1162
7.6833 | 11.76 | 10.1151
7.7 | 11.4485 | 10.1151
7.7167 | 11.1473 | 10.1089
7.7333 | 10.859 | 10.1063
7.75 | 10.5829 | 10.1073
7.7667 | 10.3166 | 10.0993
7.7833 | 10.0589 | 10.0973
7.8 | 9.8115 | 10.0994
7.8167 | 9.5738 | 10.0884
7.8333 | 9.345 | 10.0875
7.85 | 9.1235 | 10.0857
7.8667 | 8.9082 | 10.0887
7.8833 | 8.7029 | 10.0858
7.9 | 8.5086 | 10.0951
7.9167 | 8.3199 | 10.0962
7.9333 | 8.1366 | 10.0935
7.95 | 7.9607 | 10.0861
7.9667 | 7.7915 | 10.0838
7.9833 | 7.6274 | 10.0712
8 | 7.4689 | 10.0715
8.0167 | 7.3147 | 10.0625
8.0333 | 7.1672 | 10.061
8.05 | 7.0272 | 10.0648
8.0667 | 6.8911 | 10.0655
8.0833 | 6.7591 | 10.0626
8.1 | 6.6315 | 10.0686
8.1167 | 6.5094 | 10.0619
8.1333 | 6.3897 | 10.0579
8.15 | 6.2711 | 10.053
8.1667 | 6.1574 | 10.0454
8.1833 | 6.0472 | 10.0451
8.2 | 5.9398 | 10.0451
8.2167 | 5.8353 | 10.042
8.2333 | 5.734 | 10.0288
8.25 | 5.6353 | 10.0335
8.2667 | 5.5373 | 10.035
8.2833 | 5.4408 | 10.0385
8.3 | 5.3476 | 10.0274
8.3167 | 5.2576 | 10.0312
8.3333 | 5.1684 | 10.0317
8.35 | 5.0801 | 10.0367
8.3667 | 4.9936 | 10.0355
8.3833 | 4.9092 | 10.0407
8.4 | 4.8263 | 10.0346
8.4167 | 4.7441 | 10.0399
8.4333 | 4.664 | 10.0329
8.45 | 4.5866 | 10.0378
8.4667 | 4.5116 | 10.0384
8.4833 | 4.4373 | 10.0431
8.5 | 4.3637 | 10.0477
8.5167 | 4.292 | 10.0463
8.5333 | 4.2223 | 10.0451
8.55 | 4.1563 | 10.0506
8.5667 | 4.0946 | 10.046
8.5833 | 4.0325 | 10.0475
8.6 | 3.971 | 10.0414
8.6167 | 3.9129 | 10.035
8.6333 | 3.8567 | 10.0413
8.65 | 3.801 | 10.0289
8.6667 | 3.7465 | 10.0282
8.6833 | 3.6958 | 10.0169
8.7 | 3.6488 | 10.0208
8.7167 | 3.6023 | 10.0164
8.7333 | 3.5551 | 10.0228
8.75 | 3.5089 | 10.021
8.7667 | 3.4647 | 10.0198
8.7833 | 3.4236 | 10.0134
8.8 | 3.3853 | 10.0164
8.8167 | 3.3466 | 10.0172
8.8333 | 3.3121 | 10.024
8.85 | 3.2803 | 10.0184
8.8667 | 3.2466 | 10.0187
8.8833 | 3.2133 | 10.0201
8.9 | 3.1825 | 10.0263
8.9167 | 3.1563 | 10.0233
8.9333 | 3.1335 | 10.022
8.95 | 3.1136 | 10.0141
8.9667 | 3.0963 | 10.0176
8.9833 | 3.0814 | 10.0242
9 | 3.0728 | 10.023
9.0167 | 3.0699 | 10.0181
9.0333 | 3.0704 | 10.0108
9.05 | 3.0746 | 10.0127
9.0667 | 3.0832 | 10.019
9.0833 | 3.0937 | 10.0199
9.1 | 3.1059 | 10.0108
9.1167 | 3.1196 | 10.0124
9.1333 | 3.1342 | 10.0063
9.15 | 3.15 | 10.0043
9.1667 | 3.1657 | 10.0056
9.1833 | 3.1806 | 10.0011
9.2 | 3.1959 | 9.994
9.2167 | 3.2129 | 9.9915
9.2333 | 3.2263 | 9.986
9.25 | 3.2321 | 9.9865
9.2667 | 3.2369 | 9.9908
9.2833 | 3.24 | 9.9928
9.3 | 3.2382 | 9.9943
9.3167 | 3.2345 | 9.988
9.3333 | 3.2257 | 9.9902
9.35 | 3.2104 | 9.9894
9.3667 | 3.1924 | 9.9837
9.3833 | 3.1729 | 9.983
9.4 | 3.1479 | 9.981
9.4167 | 3.1174 | 9.9844
9.4333 | 3.0867 | 9.9726
9.45 | 3.0553 | 9.9726
9.4667 | 3.0204 | 9.9775
9.4833 | 2.9807 | 9.9715
9.5 | 2.9391 | 9.9734
9.5167 | 2.8978 | 9.9741
9.5333 | 2.8546 | 9.9706
9.55 | 2.8114 | 9.9731
9.5667 | 2.7704 | 9.9786
9.5833 | 2.728 | 9.9798
9.6 | 2.6831 | 9.9717
9.6167 | 2.6376 | 9.9671
9.6333 | 2.5943 | 9.9743
9.65 | 2.5528 | 9.9722
9.6667 | 2.5132 | 9.9746
9.6833 | 2.4743 | 9.9682
9.7 | 2.4348 | 9.9644
9.7167 | 2.3957 | 9.9633
9.7333 | 2.3566 | 9.9647
9.75 | 2.3182 | 9.9615
9.7667 | 2.282 | 9.9549
9.7833 | 2.2488 | 9.9523
9.8 | 2.2151 | 9.9485
9.8167 | 2.1794 | 9.9537
9.8333 | 2.1455 | 9.9561
9.85 | 2.1128 | 9.952
9.8667 | 2.0791 | 9.9467
9.8833 | 2.0473 | 9.9476
9.9 | 2.0178 | 9.9537
9.9167 | 1.9877 | 9.9554
9.9333 | 1.9572 | 9.9563
9.95 | 1.9274 | 9.9606
9.9667 | 1.9003 | 9.9599
9.9833 | 1.8751 | 9.9627
10 | 1.8493 | 9.9587
10.0167 | 1.8231 | 9.966
10.0333 | 1.7975 | 9.9599
10.05 | 1.7722 | 9.9621
10.0667 | 1.7479 | 9.9589
10.0833 | 1.7247 | 9.9632
10.1 | 1.703 | 9.9609
10.1167 | 1.6832 | 9.9653
10.1333 | 1.6632 | 9.9558
10.15 | 1.6408 | 9.9625
10.1667 | 1.6183 | 9.9592
10.1833 | 1.5984 | 9.9664
10.2 | 1.5798 | 9.9693
10.2167 | 1.5594 | 9.9735
10.2333 | 1.5401 | 9.9729
10.25 | 1.5225 | 9.9827
10.2667 | 1.5055 | 9.9792
10.2833 | 1.4872 | 9.9693
10.3 | 1.4678 | 9.9587
10.3167 | 1.4514 | 9.9603
10.3333 | 1.4359 | 9.9613
10.35 | 1.4204 | 9.9589
10.3667 | 1.4051 | 9.9592
10.3833 | 1.3903 | 9.9667
10.4 | 1.3765 | 9.9706
10.4167 | 1.3628 | 9.9609
10.4333 | 1.3489 | 9.9566
10.45 | 1.3342 | 9.9462
10.4667 | 1.3208 | 9.94
10.4833 | 1.3059 | 9.9358
10.5 | 1.2903 | 9.9435
10.5167 | 1.2775 | 9.9456
10.5333 | 1.2668 | 9.9545
10.55 | 1.2561 | 9.9436
10.5667 | 1.2437 | 9.9427
10.5833 | 1.2318 | 9.9383
10.6 | 1.2202 | 9.9369
10.6167 | 1.2083 | 9.9316
10.6333 | 1.1974 | 9.9371
10.65 | 1.1875 | 9.9363
10.6667 | 1.1786 | 9.9409
10.6833 | 1.1703 | 9.943
10.7 | 1.1608 | 9.9419
10.7167 | 1.1512 | 9.9422
10.7333 | 1.1422 | 9.9433
10.75 | 1.1312 | 9.9557
10.7667 | 1.1208 | 9.9467
10.7833 | 1.1136 | 9.952
10.8 | 1.1061 | 9.9508
10.8167 | 1.0975 | 9.9543
10.8333 | 1.0897 | 9.9537
10.85 | 1.0817 | 9.958
10.8667 | 1.0727 | 9.9583
10.8833 | 1.0645 | 9.9604
10.9 | 1.0576 | 9.9564
10.9167 | 1.0499 | 9.9651
10.9333 | 1.0417 | 9.9616
10.95 | 1.0362 | 9.9624
10.9667 | 1.0316 | 9.9674
10.9833 | 1.0242 | 9.966
11 | 1.0168 | 9.9609
11.0167 | 1.0117 | 9.9619
11.0333 | 1.0066 | 9.963
11.05 | 0.99993 | 9.9645
11.0667 | 0.99462 | 9.9647
11.0833 | 0.99038 | 9.9592
11.1 | 0.98621 | 9.9647
11.1167 | 0.98129 | 9.9609
11.1333 | 0.97522 | 9.965
11.15 | 0.96842 | 9.9557
11.1667 | 0.96263 | 9.9593
11.1833 | 0.95717 | 9.9529
11.2 | 0.95138 | 9.9607
11.2167 | 0.94609 | 9.9642
11.2333 | 0.94134 | 9.9654
11.25 | 0.93686 | 9.9627
11.2667 | 0.93284 | 9.9677
11.2833 | 0.92909 | 9.9656
11.3 | 0.92458 | 9.9651
11.3167 | 0.92004 | 9.9638
11.3333 | 0.9159 | 9.9711
11.35 | 0.9114 | 9.974
11.3667 | 0.90796 | 9.9866
11.3833 | 0.90515 | 9.9889
11.4 | 0.90175 | 9.9984
11.4167 | 0.89854 | 10.003
11.4333 | 0.89497 | 10.0011
11.45 | 0.8921 | 9.9984
11.4667 | 0.89105 | 9.9952
11.4833 | 0.8898 | 9.9967
11.5 | 0.88503 | 9.9895
11.5167 | 0.88003 | 9.9894
11.5333 | 0.87786 | 9.9769
11.55 | 0.87382 | 9.9821
11.5667 | 0.8685 | 9.9836
11.5833 | 0.86565 | 9.9866
11.6 | 0.86578 | 9.983
11.6167 | 0.86593 | 9.9827
11.6333 | 0.86419 | 9.9865
11.65 | 0.86185 | 9.9882
11.6667 | 0.86039 | 9.9813
11.6833 | 0.86031 | 9.983
11.7 | 0.86 | 9.9769
11.7167 | 0.85829 | 9.9866
11.7333 | 0.85585 | 9.9804
11.75 | 0.85393 | 9.9883
11.7667 | 0.8533 | 9.9856
11.7833 | 0.85408 | 9.9917
11.8 | 0.85374 | 9.9932
11.8167 | 0.85122 | 9.992
11.8333 | 0.85001 | 9.994
11.85 | 0.85148 | 9.9987
11.8667 | 0.85252 | 9.9975
11.8833 | 0.85127 | 9.9992
11.9 | 0.85138 | 10.0077
11.9167 | 0.8505 | 10.0037
11.9333 | 0.84751 | 10.0066
11.95 | 0.84641 | 10.0156
11.9667 | 0.84598 | 10.013
11.9833 | 0.84479 | 10.0094
12 | 0.84514 | 10.0077
12.0167 | 0.84719 | 10.0053
12.0333 | 0.84678 | 10.0045
12.05 | 0.84609 | 10.0083
12.0667 | 0.84708 | 10.0021
12.0833 | 0.8465 | 10.0047
12.1 | 0.84441 | 10.0048
12.1167 | 0.84163 | 10.0047
12.1333 | 0.83942 | 10.001
12.15 | 0.8399 | 9.9995
12.1667 | 0.84135 | 9.9978
12.1833 | 0.84087 | 9.9899
12.2 | 0.84001 | 9.9976
12.2167 | 0.84054 | 10.0005
12.2333 | 0.84081 | 10.0124
12.25 | 0.84015 | 10.0132
12.2667 | 0.84009 | 10.0195
12.2833 | 0.83843 | 10.019
12.3 | 0.83537 | 10.014
12.3167 | 0.83509 | 10.0166
12.3333 | 0.83633 | 10.0245
12.35 | 0.83551 | 10.0283
12.3667 | 0.83337 | 10.024
12.3833 | 0.83283 | 10.0242
12.4 | 0.83382 | 10.0173
12.4167 | 0.83593 | 10.0178
12.4333 | 0.8371 | 10.0143
12.45 | 0.83565 | 10.0156
12.4667 | 0.8338 | 10.0161
12.4833 | 0.83569 | 10.0076
12.5 | 0.83803 | 10.0098
12.5167 | 0.83831 | 10.0121
12.5333 | 0.83726 | 10.0098
12.55 | 0.83751 | 10.0134
12.5667 | 0.83961 | 10.008
12.5833 | 0.83977 | 10.0106
12.6 | 0.83869 | 10.0129
12.6167 | 0.83853 | 10.0076
12.6333 | 0.83986 | 10.0042
12.65 | 0.84223 | 10.0065
12.6667 | 0.84406 | 10.0137
12.6833 | 0.84468 | 10.0051
12.7 | 0.84578 | 10.0028
12.7167 | 0.84832 | 10.0137
12.7333 | 0.85092 | 10.0098
12.75 | 0.8522 | 10.0141
12.7667 | 0.85399 | 10.0172
12.7833 | 0.85566 | 10.0121
12.8 | 0.85708 | 10.0192
12.8167 | 0.86033 | 10.0193
12.8333 | 0.86232 | 10.0204
12.85 | 0.86251 | 10.0175
12.8667 | 0.86343 | 10.0184
12.8833 | 0.86436 | 10.0175
12.9 | 0.86834 | 10.0193
12.9167 | 0.87422 | 10.0237
12.9333 | 0.87859 | 10.019
12.95 | 0.88113 | 10.0176
12.9667 | 0.88315 | 10.0225
12.9833 | 0.88713 | 10.0275
13 | 0.89153 | 10.0233
13.0167 | 0.89563 | 10.0265
13.0333 | 0.90024 | 10.0333
13.05 | 0.90506 | 10.0298
13.0667 | 0.90967 | 10.0231
13.0833 | 0.91261 | 10.028
13.1 | 0.91602 | 10.0291
13.1167 | 0.91962 | 10.0315
13.1333 | 0.92234 | 10.0323
13.15 | 0.92728 | 10.0375
13.1667 | 0.93487 | 10.0402
13.1833 | 0.94051 | 10.0407
13.2 | 0.94264 | 10.043
13.2167 | 0.94484 | 10.0382
13.2333 | 0.94866 | 10.0376
13.25 | 0.95519 | 10.0394
13.2667 | 0.96207 | 10.0404
13.2833 | 0.96751 | 10.0405
13.3 | 0.97252 | 10.0397
13.3167 | 0.978 | 10.0326
13.3333 | 0.98396 | 10.0242
13.35 | 0.98855 | 10.0272
13.3667 | 0.99317 | 10.0303
13.3833 | 0.99692 | 10.0353
13.4 | 1.0014 | 10.033
13.4167 | 1.0095 | 10.0321
13.4333 | 1.0187 | 10.0207
13.45 | 1.0282 | 10.0224
13.4667 | 1.0354 | 10.0251
13.4833 | 1.0406 | 10.0306
13.5 | 1.0463 | 10.0344
13.5167 | 1.0526 | 10.0288
13.5333 | 1.06 | 10.033
13.55 | 1.0689 | 10.033
13.5667 | 1.077 | 10.0388
13.5833 | 1.0853 | 10.041
13.6 | 1.096 | 10.0333
13.6167 | 1.1072 | 10.035
13.6333 | 1.1172 | 10.0353
13.65 | 1.1272 | 10.0324
13.6667 | 1.1369 | 10.0356
13.6833 | 1.1449 | 10.0306
13.7 | 1.1543 | 10.0321
13.7167 | 1.1672 | 10.0327
13.7333 | 1.1801 | 10.0341
13.75 | 1.1922 | 10.0367
13.7667 | 1.2057 | 10.0367
13.7833 | 1.2208 | 10.032
13.8 | 1.2364 | 10.0303
13.8167 | 1.2533 | 10.0274
13.8333 | 1.2724 | 10.0314
13.85 | 1.2907 | 10.0278
13.8667 | 1.3092 | 10.0326
13.8833 | 1.3306 | 10.0297
13.9 | 1.3532 | 10.0301
13.9167 | 1.3772 | 10.0282
13.9333 | 1.4047 | 10.0176
13.95 | 1.4343 | 10.0164
13.9667 | 1.4651 | 10.014
13.9833 | 1.4969 | 10.0117
14 | 1.5305 | 10.0146
14.0167 | 1.5667 | 10.0141
14.0333 | 1.6072 | 10.014
14.05 | 1.6506 | 10.015
14.0667 | 1.698 | 10.0135
14.0833 | 1.7516 | 10.0108
14.1 | 1.8109 | 10.013
14.1167 | 1.8784 | 10.0172
14.1333 | 1.9552 | 10.0213
14.15 | 2.0409 | 10.0199
14.1667 | 2.1386 | 10.0208
14.1833 | 2.2515 | 10.0283
14.2 | 2.3821 | 10.0283
14.2167 | 2.533 | 10.032
14.2333 | 2.7077 | 10.0378
14.25 | 2.9108 | 10.0475
14.2667 | 3.1456 | 10.0564
14.2833 | 3.4128 | 10.0623
14.3 | 3.7151 | 10.0712
14.3167 | 4.0539 | 10.0796
14.3333 | 4.4297 | 10.0982
14.35 | 4.8414 | 10.1232
14.3667 | 5.2862 | 10.1514
14.3833 | 5.7594 | 10.1771
14.4 | 6.2537 | 10.2064
14.4167 | 6.7648 | 10.2332
14.4333 | 7.2832 | 10.259
14.45 | 7.7982 | 10.293
14.4667 | 8.3031 | 10.3378
14.4833 | 8.7885 | 10.3838
14.5 | 9.2476 | 10.433
14.5167 | 9.6731 | 10.4809
14.5333 | 10.0583 | 10.5285
14.55 | 10.4012 | 10.5753
14.5667 | 10.7008 | 10.6213
14.5833 | 10.956 | 10.6683
14.6 | 11.169 | 10.7101
14.6167 | 11.3457 | 10.7525
14.6333 | 11.4904 | 10.7914
14.65 | 11.6107 | 10.819
14.6667 | 11.7175 | 10.8527
14.6833 | 11.8166 | 10.877
14.7 | 11.9174 | 10.9025
14.7167 | 12.0286 | 10.9202
14.7333 | 12.1518 | 10.9361
14.75 | 12.2928 | 10.947
14.7667 | 12.4587 | 10.9679
14.7833 | 12.6498 | 10.9893
14.8 | 12.8664 | 11.0224
14.8167 | 13.1085 | 11.0569
14.8333 | 13.3732 | 11.0909
14.85 | 13.6581 | 11.133
14.8667 | 13.9597 | 11.1857
14.8833 | 14.2658 | 11.2394
14.9 | 14.5678 | 11.2939
14.9167 | 14.8642 | 11.3543
14.9333 | 15.1457 | 11.4144
14.95 | 15.4016 | 11.4864
14.9667 | 15.6252 | 11.5592
14.9833 | 15.8081 | 11.6288
15 | 15.9452 | 11.6998
15.0167 | 16.0331 | 11.7706
15.0333 | 16.069 | 11.8386
15.05 | 16.0499 | 11.901
15.0667 | 15.9733 | 11.9491
15.0833 | 15.839 | 12.0089
15.1 | 15.6517 | 12.0492
15.1167 | 15.415 | 12.0776
15.1333 | 15.1315 | 12.0983
15.15 | 14.8078 | 12.1169
15.1667 | 14.4473 | 12.113
15.1833 | 14.055 | 12.1046
15.2 | 13.6397 | 12.0914
15.2167 | 13.2084 | 12.0699
15.2333 | 12.7645 | 12.0229
15.25 | 12.3147 | 11.9767
15.2667 | 11.8645 | 11.9296
15.2833 | 11.4186 | 11.8768
15.3 | 10.9813 | 11.8136
15.3167 | 10.5518 | 11.7603
15.3333 | 10.1328 | 11.697
15.35 | 9.7289 | 11.6209
15.3667 | 9.3394 | 11.5574
15.3833 | 8.9668 | 11.4918
15.4 | 8.6131 | 11.4234
15.4167 | 8.2739 | 11.3554
15.4333 | 7.9478 | 11.2914
15.45 | 7.6371 | 11.2275
15.4667 | 7.3428 | 11.1642
15.4833 | 7.06 | 11.1012
15.5 | 6.7856 | 11.0412
15.5167 | 6.5241 | 10.9834
15.5333 | 6.2752 | 10.9397
15.55 | 6.0322 | 10.8891
15.5667 | 5.7968 | 10.8437
15.5833 | 5.5716 | 10.7938
15.6 | 5.3545 | 10.7502
15.6167 | 5.1433 | 10.704
15.6333 | 4.9386 | 10.6689
15.65 | 4.7411 | 10.638
15.6667 | 4.5488 | 10.6001
15.6833 | 4.3643 | 10.5672
15.7 | 4.1866 | 10.5468
15.7167 | 4.0137 | 10.5225
15.7333 | 3.847 | 10.5001
15.75 | 3.6891 | 10.4725
15.7667 | 3.5388 | 10.4482
15.7833 | 3.3911 | 10.4288
15.8 | 3.2481 | 10.4025
15.8167 | 3.1138 | 10.3838
15.8333 | 2.9859 | 10.3594
15.85 | 2.8634 | 10.3454
15.8667 | 2.7463 | 10.328
15.8833 | 2.6351 | 10.3063
15.9 | 2.5296 | 10.2934
15.9167 | 2.4279 | 10.2689
15.9333 | 2.33 | 10.2613
15.95 | 2.2368 | 10.2511
15.9667 | 2.1474 | 10.2299
15.9833 | 2.0626 | 10.218
16 | 1.9835 | 10.2106
16.0167 | 1.9074 | 10.2055
16.0333 | 1.8357 | 10.1951
16.05 | 1.7668 | 10.1884
16.0667 | 1.7007 | 10.1804
16.0833 | 1.6408 | 10.1727
16.1 | 1.584 | 10.1664
16.1167 | 1.5297 | 10.1608
16.1333 | 1.4787 | 10.1467
16.15 | 1.4289 | 10.138
16.1667 | 1.3816 | 10.1292
16.1833 | 1.339 | 10.1232
16.2 | 1.299 | 10.1141
16.2167 | 1.2593 | 10.1096
16.2333 | 1.2257 | 10.1154
16.25 | 1.1981 | 10.1099
16.2667 | 1.171 | 10.1005
16.2833 | 1.1445 | 10.0964
16.3 | 1.1187 | 10.0964
16.3167 | 1.0936 | 10.0895
16.3333 | 1.0718 | 10.0838
16.35 | 1.0531 | 10.0788
16.3667 | 1.0359 | 10.0817
16.3833 | 1.0222 | 10.0806
16.4 | 1.0097 | 10.0712
16.4167 | 0.99769 | 10.0665
16.4333 | 0.98843 | 10.0555
16.45 | 0.98032 | 10.0497
16.4667 | 0.97152 | 10.051
16.4833 | 0.96509 | 10.0446
16.5 | 0.96094 | 10.0507
16.5167 | 0.95645 | 10.0497
16.5333 | 0.95371 | 10.0462
16.55 | 0.95328 | 10.044
16.5667 | 0.95278 | 10.0413
16.5833 | 0.95282 | 10.0443
16.6 | 0.95414 | 10.0474
16.6167 | 0.95433 | 10.0474
16.6333 | 0.95529 | 10.0515
16.65 | 0.95928 | 10.0561
16.6667 | 0.96432 | 10.0544
16.6833 | 0.96858 | 10.0494
16.7 | 0.97342 | 10.042
16.7167 | 0.98032 | 10.0396
16.7333 | 0.98902 | 10.0306
16.75 | 0.99834 | 10.0343
16.7667 | 1.0055 | 10.0283
16.7833 | 1.0133 | 10.0336
16.8 | 1.0236 | 10.0327
16.8167 | 1.0355 | 10.0376
16.8333 | 1.048 | 10.0372
16.85 | 1.0605 | 10.0321
16.8667 | 1.0761 | 10.0289
16.8833 | 1.0938 | 10.037
16.9 | 1.1117 | 10.0359
16.9167 | 1.1285 | 10.0378
16.9333 | 1.1452 | 10.0323
16.95 | 1.1671 | 10.0344
16.9667 | 1.1912 | 10.0271
16.9833 | 1.2119 | 10.0204
17 | 1.2345 | 10.0185
17.0167 | 1.2612 | 10.0277
17.0333 | 1.2903 | 10.0291
17.05 | 1.321 | 10.0306
17.0667 | 1.3513 | 10.0286
17.0833 | 1.3836 | 10.0352
17.1 | 1.4186 | 10.0373
17.1167 | 1.4561 | 10.0437
17.1333 | 1.497 | 10.0413
17.15 | 1.5378 | 10.037
17.1667 | 1.5782 | 10.0378
17.1833 | 1.6197 | 10.0326
17.2 | 1.6644 | 10.0291
17.2167 | 1.7121 | 10.0248
17.2333 | 1.7607 | 10.0259
17.25 | 1.8073 | 10.0204
17.2667 | 1.8549 | 10.0196
17.2833 | 1.9082 | 10.0239
17.3 | 1.9629 | 10.0277
17.3167 | 2.0165 | 10.024
17.3333 | 2.0708 | 10.0253
17.35 | 2.1292 | 10.0185
17.3667 | 2.1891 | 10.0179
17.3833 | 2.2471 | 10.0169
17.4 | 2.3066 | 10.0153
17.4167 | 2.3685 | 10.0184
17.4333 | 2.4325 | 10.022
17.45 | 2.4995 | 10.022
17.4667 | 2.5675 | 10.0178
17.4833 | 2.6375 | 10.0124
17.5 | 2.7091 | 10.0103
17.5167 | 2.7836 | 10.0062
17.5333 | 2.8598 | 9.9989
17.55 | 2.9351 | 10.0001
17.5667 | 3.0129 | 10.0015
17.5833 | 3.0965 | 10.0004
17.6 | 3.1834 | 9.9996
17.6167 | 3.2699 | 10.0124
17.6333 | 3.3586 | 10.0176
17.65 | 3.4497 | 10.0179
17.6667 | 3.5424 | 10.0105
17.6833 | 3.636 | 10.0172
17.7 | 3.7294 | 10.0219
17.7167 | 3.825 | 10.0289
17.7333 | 3.9217 | 10.0249
17.75 | 4.0173 | 10.0233
17.7667 | 4.112 | 10.0245
17.7833 | 4.208 | 10.0239
17.8 | 4.3062 | 10.0163
17.8167 | 4.4043 | 10.0167
17.8333 | 4.5021 | 10.0196
17.85 | 4.6006 | 10.0219
17.8667 | 4.7015 | 10.0216
17.8833 | 4.8038 | 10.0239
17.9 | 4.9074 | 10.019
17.9167 | 5.0133 | 10.0239
17.9333 | 5.1186 | 10.0239
17.95 | 5.2234 | 10.019
17.9667 | 5.3306 | 10.0147
17.9833 | 5.4408 | 10.0201
18 | 5.5524 | 10.0137
18.0167 | 5.6638 | 10.0129
18.0333 | 5.7751 | 10.0181
18.05 | 5.889 | 10.0201
18.0667 | 6.0075 | 10.0253
18.0833 | 6.1284 | 10.0268
18.1 | 6.2494 | 10.0297
18.1167 | 6.3706 | 10.0359
18.1333 | 6.4932 | 10.0425
18.15 | 6.6185 | 10.0524
18.1667 | 6.7467 | 10.0616
18.1833 | 6.8763 | 10.0694
18.2 | 7.0074 | 10.0918
18.2167 | 7.14 | 10.1134
18.2333 | 7.2757 | 10.129
18.25 | 7.4162 | 10.1443
18.2667 | 7.56 | 10.1591
18.2833 | 7.7063 | 10.1733
18.3 | 7.8569 | 10.1826
18.3167 | 8.0099 | 10.1871
18.3333 | 8.1659 | 10.1894
18.35 | 8.327 | 10.1931
18.3667 | 8.4877 | 10.1992
18.3833 | 8.6459 | 10.1899
18.4 | 8.8025 | 10.1783
18.4167 | 8.9557 | 10.1649
18.4333 | 9.1049 | 10.1565
18.45 | 9.2519 | 10.146
18.4667 | 9.3945 | 10.1272
18.4833 | 9.5289 | 10.1144
18.5 | 9.6597 | 10.1037
18.5167 | 9.7905 | 10.1026
18.5333 | 9.9212 | 10.0948
18.55 | 10.0523 | 10.1008
18.5667 | 10.1868 | 10.095
18.5833 | 10.329 | 10.0951
18.6 | 10.4794 | 10.0872
18.6167 | 10.6392 | 10.091
18.6333 | 10.811 | 10.091
18.65 | 10.9926 | 10.0919
18.6667 | 11.184 | 10.0866
18.6833 | 11.3842 | 10.0964
18.7 | 11.5886 | 10.1061
18.7167 | 11.7942 | 10.1208
18.7333 | 11.9965 | 10.1394
18.75 | 12.1922 | 10.1653
18.7667 | 12.3775 | 10.198
18.7833 | 12.5471 | 10.2302
18.8 | 12.7006 | 10.2723
18.8167 | 12.8335 | 10.3069
18.8333 | 12.9461 | 10.3509
18.85 | 13.046 | 10.3828
18.8667 | 13.1358 | 10.4073
18.8833 | 13.2134 | 10.4249
18.9 | 13.2803 | 10.4395
18.9167 | 13.3443 | 10.4371
18.9333 | 13.4055 | 10.4275
18.95 | 13.4657 | 10.405
18.9667 | 13.529 | 10.3884
18.9833 | 13.5931 | 10.3663
19 | 13.657 | 10.3361
19.0167 | 13.7191 | 10.3051
19.0333 | 13.7775 | 10.2807
19.05 | 13.8283 | 10.2477
19.0667 | 13.8683 | 10.2132
19.0833 | 13.8962 | 10.1826
19.1 | 13.9063 | 10.1629
19.1167 | 13.8904 | 10.1449
19.1333 | 13.8408 | 10.1296
19.15 | 13.7538 | 10.1197
19.1667 | 13.6254 | 10.1083
19.1833 | 13.4451 | 10.0883
19.2 | 13.2044 | 10.0735
19.2167 | 12.9012 | 10.0636
19.2333 | 12.538 | 10.0442
19.25 | 12.1224 | 10.0298
19.2667 | 11.6641 | 10.008
19.2833 | 11.1814 | 9.9989
19.3 | 10.703 | 9.9758
19.3167 | 10.2599 | 9.9569
19.3333 | 9.882 | 9.9534
19.35 | 9.6021 | 9.9776
19.3667 | 9.4491 | 10.0243
19.3833 | 9.4415 | 10.1217
19.4 | 9.5946 | 10.3107
19.4167 | 9.9107 | 10.6017
19.4333 | 10.3773 | 11.0494
19.45 | 10.9772 | 11.6988
19.4667 | 11.689 | 12.5639
19.4833 | 12.4849 | 13.6976
19.5 | 13.334 | 15.1145
19.5167 | 14.2059 | 16.8119
19.5333 | 15.0737 | 18.7771
19.55 | 15.9158 | 20.9419
19.5667 | 16.7133 | 23.1991
19.5833 | 17.4516 | 25.4487
19.6 | 18.1229 | 27.3597
19.6167 | 18.7244 | 29.2258
19.6333 | 19.2584 | 30.7066
19.65 | 19.7286 | 31.7066
19.6667 | 20.1323 | 32.1668
19.6833 | 20.47 | 32.0843
19.7 | 20.7395 | 31.4756
19.7167 | 20.9373 | 30.4111
19.7333 | 21.0636 | 28.9822
19.75 | 21.1161 | 27.2897
19.7667 | 21.0916 | 25.4687
19.7833 | 20.9953 | 23.5941
19.8 | 20.8388 | 21.7739
19.8167 | 20.6349 | 20.053
19.8333 | 20.3984 | 18.4959
19.85 | 20.1474 | 17.12
19.8667 | 19.9008 | 15.9357
19.8833 | 19.6785 | 14.9314
19.9 | 19.4964 | 14.0966
19.9167 | 19.366 | 13.3955
19.9333 | 19.2937 | 12.8197
19.95 | 19.2822 | 12.3429
19.9667 | 19.3289 | 11.9492
19.9833 | 19.4213 | 11.6164
20 | 19.544 | 11.3367
20.0167 | 19.6802 | 11.0973
20.0333 | 19.8096 | 10.8897
20.05 | 19.9103 | 10.6911
20.0667 | 19.9589 | 10.4813
20.0833 | 19.9372 | 10.2644
20.1 | 19.8348 | 10.0269
20.1167 | 19.6461 | 9.7677
20.1333 | 19.3658 | 9.4469
20.15 | 18.9961 | 9.0733
20.1667 | 18.5518 | 8.6443
20.1833 | 18.0443 | 8.1734
20.2 | 17.4857 | 7.6574
20.2167 | 16.8946 | 7.1221
20.2333 | 16.288 | 6.5844
20.25 | 15.6803 | 6.0764
20.2667 | 15.0873 | 5.6109
20.2833 | 14.522 | 5.2424
20.3 | 13.9967 | 4.9676
20.3167 | 13.5282 | 4.8127
20.3333 | 13.1401 | 4.781
20.35 | 12.8653 | 4.8809
20.3667 | 12.7441 | 5.0842
20.3833 | 12.8238 | 5.398
20.4 | 13.1672 | 5.7893
20.4167 | 13.8493 | 6.2202
20.4333 | 14.9496 | 6.6666
20.45 | 16.551 | 7.1224
20.4667 | 18.7327 | 7.5675
20.4833 | 21.5555 | 7.9678
20.5 | 25.0521 | 8.3395
20.5167 | 29.2135 | 8.6742
20.5333 | 33.9803 | 8.9742
20.55 | 39.2385 | 9.2358
20.5667 | 44.8118 | 9.4762
20.5833 | 50.4697 | 9.7009
20.6 | 55.9446 | 9.9133
20.6167 | 60.955 | 10.1131
20.6333 | 65.2211 | 10.3234
20.65 | 68.4914 | 10.532
20.6667 | 70.5739 | 10.7261
20.6833 | 71.3417 | 10.9342
20.7 | 70.7467 | 11.1446
20.7167 | 68.8164 | 11.35
20.7333 | 65.6365 | 11.5522
20.75 | 61.3404 | 11.7364
20.7667 | 56.0835 | 11.8935
20.7833 | 50.0219 | 12.0194
20.8 | 43.2999 | 12.111
20.8167 | 36.0368 | 12.1543
20.8333 | 28.3277 | 12.1648
20.85 | 20.246 | 12.1377
20.8667 | 11.8593 | 12.0647
20.8833 | 3.2417 | 11.9537
20.9 | -5.5145 | 11.8148
20.9167 | -14.2816 | 11.6486
20.9333 | -22.8951 | 11.4686
20.95 | -31.1541 | 11.3027
20.9667 | -38.8342 | 11.1189
20.9833 | -45.705 | 10.9428
21 | -51.5468 | 10.7795
21.0167 | -56.1773 | 10.631
21.0333 | -59.4638 | 10.4971
21.05 | -61.3404 | 10.3823
21.0667 | -61.8202 | 10.2758
21.0833 | -60.9868 | 10.1971
21.1 | -58.9837 | 10.1162
21.1167 | -56.0003 | 10.0582
21.1333 | -52.2582 | 10.01
21.15 | -47.9871 | 9.977
21.1667 | -43.4086 | 9.9398
21.1833 | -38.72 | 9.921
21.2 | -34.0887 | 9.9058
21.2167 | -29.6492 | 9.9082
21.2333 | -25.4987 | 9.9081
21.25 | -21.6932 | 9.9014
21.2667 | -18.266 | 9.8978
21.2833 | -15.2314 | 9.8969
21.3 | -12.5792 | 9.9014
21.3167 | -10.2883 | 9.9061
21.3333 | -8.3303 | 9.9229
21.35 | -6.6755 | 9.9329
21.3667 | -5.2892 | 9.9397
21.3833 | -4.1388 | 9.9462
21.4 | -3.1936 | 9.9558
21.4167 | -2.4204 | 9.9543
21.4333 | -1.791 | 9.9671
21.45 | -1.287 | 9.965
21.4667 | -0.88824 | 9.9656
21.4833 | -0.57274 | 9.9657
21.5 | -0.32527 | 9.9706
21.5167 | -0.13714 | 9.9648
21.5333 | 0.0036794 | 9.9709
21.55 | 0.11111 | 9.9604
21.5667 | 0.19039 | 9.948
21.5833 | 0.24709 | 9.9305
21.6 | 0.28628 | 9.9152
21.6167 | 0.30979 | 9.8872
21.6333 | 0.32249 | 9.8551
21.65 | 0.32758 | 9.8042
21.6667 | 0.3275 | 9.7364
21.6833 | 0.32536 | 9.6583
21.7 | 0.3203 | 9.5588
21.7167 | 0.31207 | 9.4166
21.7333 | 0.29974 | 9.2594
21.75 | 0.28512 | 9.0926
21.7667 | 0.27265 | 8.8668
21.7833 | 0.26082 | 8.597
21.8 | 0.24915 | 8.2938
21.8167 | 0.23763 | 7.9531
21.8333 | 0.22612 | 7.5808
21.85 | 0.21509 | 7.1906
21.8667 | 0.20199 | 6.7738
21.8833 | 0.18739 | 6.3477
21.9 | 0.17485 | 5.9132
21.9167 | 0.16563 | 5.519
21.9333 | 0.15804 | 5.1514
21.95 | 0.14889 | 4.8428
21.9667 | 0.13926 | 4.5889
21.9833 | 0.12862 | 4.4062
22 | 0.11865 | 4.3209
22.0167 | 0.11187 | 4.3189
22.0333 | 0.10631 | 4.4016
22.05 | 0.10115 | 4.5647
22.0667 | 0.094875 | 4.7906
22.0833 | 0.086996 | 5.0787
22.1 | 0.080487 | 5.4116
22.1167 | 0.076176 | 5.7795
22.1333 | 0.072852 | 6.1652
22.15 | 0.068429 | 6.5668
22.1667 | 0.066116 | 6.9576
22.1833 | 0.071532 | 7.3371
22.2 | 0.083037 | 7.6986
22.2167 | 0.097315 | 8.025
22.2333 | 0.11894 | 8.3242
22.25 | 0.15567 | 8.5841
22.2667 | 0.20831 | 8.8129
22.2833 | 0.28071 | 9.0096
22.3 | 0.38169 | 9.1851
22.3167 | 0.52111 | 9.3151
22.3333 | 0.70669 | 9.4308
22.35 | 0.94714 | 9.5168
22.3667 | 1.2556 | 9.5976
22.3833 | 1.6433 | 9.6522
22.4 | 2.1202 | 9.6859
22.4167 | 2.6975 | 9.7062
22.4333 | 3.3852 | 9.7225
22.45 | 4.1867 | 9.7265
22.4667 | 5.1018 | 9.7109
22.4833 | 6.1291 | 9.6777
22.5 | 7.2586 | 9.6304
22.5167 | 8.4725 | 9.577
22.5333 | 9.7493 | 9.5123
22.55 | 11.0602 | 9.425
22.5667 | 12.3718 | 9.3151
22.5833 | 13.6442 | 9.1888
22.6 | 14.8363 | 9.0568
22.6167 | 15.9111 | 8.9188
22.6333 | 16.8305 | 8.7667
22.65 | 17.5587 | 8.6147
22.6667 | 18.0699 | 8.4533
22.6833 | 18.3475 | 8.2995
22.7 | 18.3847 | 8.1623
22.7167 | 18.184 | 8.0331
22.7333 | 17.7512 | 7.9107
22.75 | 17.1045 | 7.8265
22.7667 | 16.2761 | 7.7552
22.7833 | 15.2963 | 7.7248
22.8 | 14.1984 | 7.7139
22.8167 | 13.0226 | 7.7352
22.8333 | 11.8056 | 7.7898
22.85 | 10.5795 | 7.8603
22.8667 | 9.3768 | 7.9501
22.8833 | 8.2206 | 8.0674
22.9 | 7.1288 | 8.1991
22.9167 | 6.1197 | 8.3411
22.9333 | 5.2036 | 8.4898
22.95 | 4.3861 | 8.6311
22.9667 | 3.6657 | 8.7763
22.9833 | 3.0373 | 8.9199
23 | 2.4979 | 9.0501
23.0167 | 2.0392 | 9.1714
23.0333 | 1.6542 | 9.2808
23.05 | 1.3353 | 9.3757
23.0667 | 1.0735 | 9.4689
23.0833 | 0.85976 | 9.5499
23.1 | 0.68846 | 9.6148
23.1167 | 0.5515 | 9.6682
23.1333 | 0.44116 | 9.7106
23.15 | 0.35146 | 9.7501
23.1667 | 0.27945 | 9.7767
23.1833 | 0.22535 | 9.7987
23.2 | 0.18242 | 9.8211
23.2167 | 0.14554 | 9.8374
23.2333 | 0.11545 | 9.8475
23.25 | 0.09037 | 9.8528
23.2667 | 0.069093 | 9.8597
23.2833 | 0.052911 | 9.8621
23.3 | 0.039695 | 9.8746
23.3167 | 0.028107 | 9.8869
23.3333 | 0.017653 | 9.8949
23.35 | 0.0088193 | 9.8934
23.3667 | 0.0002314 | 9.8923
23.3833 | -0.0076208 | 9.8988
23.4 | -0.014178 | 9.8978
23.4167 | -0.019813 | 9.9158
23.4333 | -0.023893 | 9.9224
23.45 | -0.027659 | 9.9273
23.4667 | -0.032411 | 9.9355
23.4833 | -0.037847 | 9.9404
23.5 | -0.042731 | 9.9364
23.5167 | -0.046797 | 9.9392
23.5333 | -0.051167 | 9.9374
23.55 | -0.055808 | 9.9363
23.5667 | -0.058925 | 9.9306
23.5833 | -0.060514 | 9.9229
23.6 | -0.063197 | 9.9166
23.6167 | -0.067696 | 9.9145
23.6333 | -0.070457 | 9.911
23.65 | -0.074364 | 9.9152
23.6667 | -0.079718 | 9.9087
23.6833 | -0.081791 | 9.9139
23.7 | -0.081468 | 9.9076
23.7167 | -0.082799 | 9.9102
23.7333 | -0.085397 | 9.9023
23.75 | -0.087311 | 9.9097
23.7667 | -0.089193 | 9.9029
23.7833 | -0.090231 | 9.9046
23.8 | -0.092194 | 9.9081
23.8167 | -0.094655 | 9.9056
23.8333 | -0.096073 | 9.9093
23.85 | -0.098926 | 9.9116
23.8667 | -0.10245 | 9.9099
23.8833 | -0.10451 | 9.9101
23.9 | -0.10528 | 9.9177
23.9167 | -0.10591 | 9.9238
23.9333 | -0.10744 | 9.9267
23.95 | -0.11034 | 9.9245
23.9667 | -0.11326 | 9.9169
23.9833 | -0.11394 | 9.9107
24 | -0.11509 | 9.9218
24.0167 | -0.11788 | 9.925
24.0333 | -0.11873 | 9.9409
24.05 | -0.11922 | 9.9447
24.0667 | -0.12185 | 9.9499
24.0833 | -0.12364 | 9.9494
24.1 | -0.12305 | 9.9494
24.1167 | -0.12397 | 9.9439
24.1333 | -0.12498 | 9.9474
24.15 | -0.1249 | 9.9432
24.1667 | -0.12553 | 9.9485
24.1833 | -0.12632 | 9.9438
24.2 | -0.127 | 9.947
24.2167 | -0.12926 | 9.9499
24.2333 | -0.13132 | 9.9483
24.25 | -0.13124 | 9.9416
24.2667 | -0.13307 | 9.9439
24.2833 | -0.13702 | 9.9453
24.3 | -0.13797 | 9.9403
24.3167 | -0.13751 | 9.9462
24.3333 | -0.139 | 9.9456
24.35 | -0.13981 | 9.9554
24.3667 | -0.13999 | 9.9467
24.3833 | -0.14032 | 9.9404
24.4 | -0.1424 | 9.9348
24.4167 | -0.14521 | 9.943
24.4333 | -0.1452 | 9.9473
24.45 | -0.14513 | 9.9444
24.4667 | -0.14669 | 9.9398
24.4833 | -0.14753 | 9.9381
24.5 | -0.14674 | 9.9322
24.5167 | -0.14703 | 9.9361
24.5333 | -0.14995 | 9.9303
24.55 | -0.15198 | 9.9374
24.5667 | -0.15312 | 9.9357
24.5833 | -0.15424 | 9.9369
24.6 | -0.1554 | 9.9416
24.6167 | -0.15461 | 9.943
24.6333 | -0.15175 | 9.9416
24.65 | -0.15068 | 9.9468
24.6667 | -0.15205 | 9.947
24.6833 | -0.15336 | 9.9502
24.7 | -0.15457 | 9.9494
24.7167 | -0.15584 | 9.952
24.7333 | -0.15707 | 9.9471
24.75 | -0.15913 | 9.9566
24.7667 | -0.15961 | 9.9618
24.7833 | -0.15884 | 9.9561
24.8 | -0.15955 | 9.9487
24.8167 | -0.15891 | 9.9474
24.8333 | -0.15925 | 9.9508
24.85 | -0.1615 | 9.9432
24.8667 | -0.16153 | 9.9496
24.8833 | -0.16155 | 9.9526
24.9 | -0.16353 | 9.9558
24.9167 | -0.16445 | 9.9531
24.9333 | -0.16451 | 9.9538
24.95 | -0.16419 | 9.9519
24.9667 | -0.16429 | 9.9549
24.9833 | -0.16612 | 9.9517
25 | -0.16724 | 9.9519
25.0167 | -0.16845 | 9.9447
25.0333 | -0.16969 | 9.9473
25.05 | -0.16996 | 9.9487
25.0667 | -0.169 | 9.9531
25.0833 | -0.16844 | 9.9473
25.1 | -0.16887 | 9.9537
25.1167 | -0.16993 | 9.959
25.1333 | -0.17067 | 9.9572
25.15 | -0.17158 | 9.9546
25.1667 | -0.17435 | 9.9514
25.1833 | -0.17703 | 9.9538
25.2 | -0.17747 | 9.9563
25.2167 | -0.17649 | 9.9628
25.2333 | -0.17629 | 9.9592
25.25 | -0.17836 | 9.9599
25.2667 | -0.17922 | 9.9587
25.2833 | -0.17872 | 9.9549
25.3 | -0.1804 | 9.9587
25.3167 | -0.18152 | 9.9575
25.3333 | -0.18194 | 9.9593
25.35 | -0.18192 | 9.9627
25.3667 | -0.18127 | 9.9621
25.3833 | -0.18247 | 9.9601
25.4 | -0.18503 | 9.9575
25.4167 | -0.18659 | 9.9593
25.4333 | -0.18652 | 9.9529
25.45 | -0.1866 | 9.958
25.4667 | -0.18848 | 9.9525
25.4833 | -0.1897 | 9.9531
25.5 | -0.18805 | 9.9491
25.5167 | -0.18774 | 9.9421
25.5333 | -0.18882 | 9.9503
25.55 | -0.18854 | 9.9471
25.5667 | -0.18929 | 9.9499
25.5833 | -0.19055 | 9.949
25.6 | -0.19041 | 9.9465
25.6167 | -0.1914 | 9.9503
25.6333 | -0.1912 | 9.9592
25.65 | -0.19064 | 9.9519
25.6667 | -0.1897 | 9.9505
25.6833 | -0.18729 | 9.9487
25.7 | -0.1873 | 9.9609
25.7167 | -0.18999 | 9.9601
25.7333 | -0.19109 | 9.9567
25.75 | -0.19195 | 9.9543
25.7667 | -0.19489 | 9.9514
25.7833 | -0.19638 | 9.9502
25.8 | -0.19634 | 9.9552
25.8167 | -0.19658 | 9.9549
25.8333 | -0.19534 | 9.9534
25.85 | -0.19389 | 9.9578
25.8667 | -0.19496 | 9.9525
25.8833 | -0.19613 | 9.9528
25.9 | -0.19588 | 9.9551
25.9167 | -0.19646 | 9.9619
25.9333 | -0.1988 | 9.9592
25.95 | -0.20076 | 9.9548
25.9667 | -0.2007 | 9.9554
25.9833 | -0.19979 | 9.9552
26 | -0.20071 | 9.9592
26.0167 | -0.20143 | 9.9653
26.0333 | -0.20056 | 9.9599
26.05 | -0.20083 | 9.9601
26.0667 | -0.20148 | 9.9516
26.0833 | -0.20268 | 9.9545
26.1 | -0.20568 | 9.9554
26.1167 | -0.20723 | 9.9657
26.1333 | -0.20538 | 9.9642
26.15 | -0.20377 | 9.9711
26.1667 | -0.20404 | 9.9688
26.1833 | -0.20432 | 9.9641
26.2 | -0.20442 | 9.9577
26.2167 | -0.20459 | 9.9621
26.2333 | -0.20401 | 9.961
26.25 | -0.20585 | 9.9674
26.2667 | -0.21005 | 9.9622
26.2833 | -0.21127 | 9.9595
26.3 | -0.20917 | 9.959
26.3167 | -0.20855 | 9.9625
26.3333 | -0.21017 | 9.9651
26.35 | -0.21157 | 9.9665
26.3667 | -0.21336 | 9.9659
26.3833 | -0.21501 | 9.966
26.4 | -0.21458 | 9.9689
26.4167 | -0.21429 | 9.9653
26.4333 | -0.21565 | 9.9647
26.45 | -0.21668 | 9.9638
26.4667 | -0.21726 | 9.9662
26.4833 | -0.2187 | 9.9651
26.5 | -0.21918 | 9.9725
26.5167 | -0.21751 | 9.9751
26.5333 | -0.21816 | 9.9734
26.55 | -0.22082 | 9.9647
26.5667 | -0.22033 | 9.958
26.5833 | -0.2167 | 9.9569
26.6 | -0.21697 | 9.9554
26.6167 | -0.221 | 9.948
26.6333 | -0.22336 | 9.9511
26.65 | -0.22496 | 9.9572
26.6667 | -0.22564 | 9.9628
26.6833 | -0.22467 | 9.9712
26.7 | -0.22394 | 9.9671
26.7167 | -0.22326 | 9.9657
26.7333 | -0.22304 | 9.9731
26.75 | -0.22401 | 9.9775
26.7667 | -0.22683 | 9.976
26.7833 | -0.2267 | 9.9837
26.8 | -0.22326 | 9.9926
26.8167 | -0.22354 | 9.9908
26.8333 | -0.22593 | 9.9906
26.85 | -0.22624 | 9.9831
26.8667 | -0.2254 | 9.9828
26.8833 | -0.22413 | 9.9781
26.9 | -0.22371 | 9.981
26.9167 | -0.2255 | 9.9834
26.9333 | -0.22863 | 9.9911
26.95 | -0.22854 | 9.9909
26.9667 | -0.22694 | 9.988
26.9833 | -0.22824 | 9.983
27 | -0.22989 | 9.9761
27.0167 | -0.22911 | 9.9783
27.0333 | -0.22967 | 9.9738
27.05 | -0.23153 | 9.9729
27.0667 | -0.23199 | 9.9596
27.0833 | -0.23075 | 9.9563
27.1 | -0.2307 | 9.9506
27.1167 | -0.23028 | 9.9557
27.1333 | -0.23025 | 9.9612
27.15 | -0.23225 | 9.9569
27.1667 | -0.23219 | 9.9567
27.1833 | -0.23091 | 9.9548
27.2 | -0.23137 | 9.9516
27.2167 | -0.23391 | 9.9465
27.2333 | -0.23472 | 9.9409
27.25 | -0.23328 | 9.9451
27.2667 | -0.23253 | 9.945
27.2833 | -0.23461 | 9.9471
27.3 | -0.23726 | 9.9494
27.3167 | -0.2376 | 9.9532
27.3333 | -0.23781 | 9.9543
27.35 | -0.23887 | 9.9491
27.3667 | -0.23988 | 9.9564
27.3833 | -0.24004 | 9.9506
27.4 | -0.23991 | 9.9561
27.4167 | -0.24003 | 9.956
27.4333 | -0.24025 | 9.9596
27.45 | -0.24024 | 9.9596
27.4667 | -0.23909 | 9.9677
27.4833 | -0.23708 | 9.9711
27.5 | -0.23769 | 9.9728
27.5167 | -0.24139 | 9.9732
27.5333 | -0.24199 | 9.9758
27.55 | -0.24088 | 9.9726
27.5667 | -0.24074 | 9.9738
27.5833 | -0.24098 | 9.9761
27.6 | -0.24241 | 9.9795
27.6167 | -0.24228 | 9.9842
27.6333 | -0.24146 | 9.9831
27.65 | -0.24025 | 9.9854
27.6667 | -0.23966 | 9.9802
27.6833 | -0.24134 | 9.9769
27.7 | -0.24225 | 9.9761
27.7167 | -0.24311 | 9.9738
27.7333 | -0.24424 | 9.9728
27.75 | -0.24533 | 9.9693
27.7667 | -0.24575 | 9.9673
27.7833 | -0.24583 | 9.9752
27.8 | -0.24516 | 9.9664
27.8167 | -0.24449 | 9.9741
27.8333 | -0.24497 | 9.9795
27.85 | -0.24593 | 9.9844
27.8667 | -0.24616 | 9.9844
27.8833 | -0.24507 | 9.9743
27.9 | -0.24589 | 9.9723
27.9167 | -0.24795 | 9.9693
27.9333 | -0.2493 | 9.9642
27.95 | -0.25053 | 9.972
27.9667 | -0.25092 | 9.9738
27.9833 | -0.25137 | 9.9715
28 | -0.25171 | 9.9711
28.0167 | -0.25177 | 9.976
28.0333 | -0.25183 | 9.972
28.05 | -0.25151 | 9.972
28.0667 | -0.25214 | 9.9723
28.0833 | -0.25334 | 9.9706
28.1 | -0.25131 | 9.9715
28.1167 | -0.24929 | 9.9796
28.1333 | -0.24967 | 9.9802
28.15 | -0.24914 | 9.9851
28.1667 | -0.24759 | 9.9876
28.1833 | -0.24769 | 9.9848
28.2 | -0.24992 | 9.9923
28.2167 | -0.25208 | 9.9946
28.2333 | -0.25161 | 9.9958
28.25 | -0.25079 | 9.9888
28.2667 | -0.25064 | 9.992
28.2833 | -0.25071 | 9.9914
28.3 | -0.24994 | 9.9947
28.3167 | -0.24993 | 9.9932
28.3333 | -0.2524 | 9.9976
28.35 | -0.25431 | 9.9895
28.3667 | -0.25355 | 9.9963
28.3833 | -0.25266 | 9.9978
28.4 | -0.25259 | 9.995
28.4167 | -0.25232 | 9.9947
28.4333 | -0.25389 | 9.9889
28.45 | -0.25559 | 9.9851
28.4667 | -0.25585 | 9.9827
28.4833 | -0.25568 | 9.9839
28.5 | -0.25636 | 9.9821
28.5167 | -0.25702 | 9.9842
28.5333 | -0.25701 | 9.9859
28.55 | -0.25765 | 9.9851
28.5667 | -0.25866 | 9.9801
28.5833 | -0.25922 | 9.9821
28.6 | -0.25843 | 9.9804
28.6167 | -0.25738 | 9.9799
28.6333 | -0.25809 | 9.9822
28.65 | -0.25861 | 9.9862
28.6667 | -0.25917 | 9.9816
28.6833 | -0.26109 | 9.9824
28.7 | -0.26182 | 9.9751
28.7167 | -0.26113 | 9.9773
28.7333 | -0.25982 | 9.9781
28.75 | -0.25794 | 9.9781
28.7667 | -0.25785 | 9.9795
28.7833 | -0.25908 | 9.99
28.8 | -0.2591 | 9.9828
28.8167 | -0.25644 | 9.9854
28.8333 | -0.25492 | 9.9851
28.85 | -0.25717 | 9.9868
28.8667 | -0.2593 | 9.9824
28.8833 | -0.25882 | 9.9776
28.9 | -0.2582 | 9.9749
28.9167 | -0.25902 | 9.9728
28.9333 | -0.25923 | 9.9784
28.95 | -0.25813 | 9.9796
28.9667 | -0.25889 | 9.9746
28.9833 | -0.26136 | 9.9732
29 | -0.26299 | 9.9776
29.0167 | -0.26216 | 9.979
29.0333 | -0.26156 | 9.9783
29.05 | -0.26096 | 9.966
29.0667 | -0.25944 | 9.9747
29.0833 | -0.25806 | 9.9758
29.1 | -0.25832 | 9.9772
29.1167 | -0.25955 | 9.974
29.1333 | -0.26166 | 9.9758
29.15 | -0.26461 | 9.974
29.1667 | -0.26478 | 9.9809
29.1833 | -0.26207 | 9.9773
29.2 | -0.26073 | 9.9816
29.2167 | -0.25971 | 9.977
29.2333 | -0.25834 | 9.9818
29.25 | -0.25969 | 9.9854
29.2667 | -0.26268 | 9.9894
29.2833 | -0.26363 | 9.9821
29.3 | -0.26193 | 9.9841
29.3167 | -0.26028 | 9.9816
29.3333 | -0.26012 | 9.9865
29.35 | -0.26164 | 9.9816
29.3667 | -0.26337 | 9.9725
29.3833 | -0.26409 | 9.9654
29.4 | -0.26431 | 9.9664
29.4167 | -0.26475 | 9.9705
29.4333 | -0.26492 | 9.9671
29.45 | -0.26528 | 9.9689
29.4667 | -0.26548 | 9.9709
29.4833 | -0.26531 | 9.9743
29.5 | -0.2642 | 9.9738
29.5167 | -0.26482 | 9.9725
29.5333 | -0.26575 | 9.9604
29.55 | -0.26479 | 9.9657
29.5667 | -0.26545 | 9.9639
29.5833 | -0.26598 | 9.9665
29.6 | -0.26597 | 9.9738
29.6167 | -0.26729 | 9.9702
29.6333 | -0.26807 | 9.9677
29.65 | -0.26701 | 9.9758
29.6667 | -0.26656 | 9.9747
29.6833 | -0.2675 | 9.9766
29.7 | -0.26902 | 9.9685
29.7167 | -0.27131 | 9.97
29.7333 | -0.27073 | 9.9696
29.75 | -0.2697 | 9.966
29.7667 | -0.27061 | 9.9712
29.7833 | -0.27109 | 9.9749
29.8 | -0.27126 | 9.9741
29.8167 | -0.27112 | 9.9754

## MW Results
Administrative Information
File name | ICF_25_05_2022-0013.sample
Analysed by | Agilent GPC 1
Date of analysis | 26 May 2022 11:53:19
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 36111 | 29619 | 38986 | 48291 | 57585 | 37642 | 1.3162
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 10.15 | 12.9
Baseline region 2 | 25.2667 | 28.7667
Peaks | Start (mins) | End (mins)
Peak 1 | 14.2333 | 16.7167
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 15.0333 | 897.6299 | 15.3481
| RI | 15.15 | 108.3901 | 2.1382
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.3 | 20.0667
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 26 May 2022 11:53:19
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6667
FRCF | 0.99322
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.2333 | 1.9236 | 0.05842 | 0.063309 | 0.00053868 | 1 | 117708 | 5.0708 | 0.061155 | No | 1
14.25 | 2.1279 | 0.068197 | 0.072629 | 0.00062884 | 0.99942 | 115149 | 5.0613 | 0.070219 | No | 1
14.2667 | 2.3641 | 0.07706 | 0.080041 | 0.00071055 | 0.99875 | 112647 | 5.0517 | 0.077453 | No | 1
14.2833 | 2.6326 | 0.083023 | 0.087454 | 0.00076554 | 0.99801 | 110202 | 5.0422 | 0.0847 | No | 1
14.3 | 2.9362 | 0.091885 | 0.096087 | 0.00084725 | 0.9972 | 107812 | 5.0327 | 0.093142 | No | 1
14.3167 | 3.2764 | 0.10029 | 0.1096 | 0.00092475 | 0.99631 | 105476 | 5.0232 | 0.10634 | No | 1
14.3333 | 3.6535 | 0.11892 | 0.13144 | 0.0010965 | 0.9953 | 103193 | 5.0137 | 0.12763 | No | 1
14.35 | 4.0665 | 0.14395 | 0.15807 | 0.0013274 | 0.99409 | 100961 | 5.0042 | 0.15363 | No | 1
14.3667 | 4.5126 | 0.17219 | 0.18502 | 0.0015878 | 0.99263 | 98779 | 4.9947 | 0.17997 | No | 1
14.3833 | 4.9871 | 0.19784 | 0.2125 | 0.0018243 | 0.99092 | 96646 | 4.9852 | 0.20687 | No | 1
14.4 | 5.4828 | 0.22715 | 0.24058 | 0.0020945 | 0.98896 | 94561 | 4.9757 | 0.23442 | No | 1
14.4167 | 5.9951 | 0.25402 | 0.26692 | 0.0023422 | 0.98674 | 92522 | 4.9662 | 0.2603 | No | 1
14.4333 | 6.5149 | 0.27982 | 0.29684 | 0.0025801 | 0.98428 | 90529 | 4.9568 | 0.28973 | No | 1
14.45 | 7.0312 | 0.31386 | 0.33622 | 0.002894 | 0.98154 | 88581 | 4.9473 | 0.32845 | No | 1
14.4667 | 7.5374 | 0.35858 | 0.38162 | 0.0033064 | 0.97844 | 86677 | 4.9379 | 0.37313 | No | 1
14.4833 | 8.0242 | 0.40467 | 0.42924 | 0.0037314 | 0.97492 | 84814 | 4.9285 | 0.42005 | No | 1
14.5 | 8.4846 | 0.45382 | 0.47778 | 0.0041845 | 0.97096 | 82994 | 4.919 | 0.46794 | No | 1
14.5167 | 8.9113 | 0.50174 | 0.52555 | 0.0046265 | 0.96655 | 81214 | 4.9096 | 0.51517 | No | 1
14.5333 | 9.2979 | 0.54936 | 0.57279 | 0.0050655 | 0.9617 | 79473 | 4.9002 | 0.56195 | No | 1
14.55 | 9.6421 | 0.59622 | 0.61919 | 0.0054976 | 0.95642 | 77772 | 4.8908 | 0.60799 | No | 1
14.5667 | 9.943 | 0.64216 | 0.66566 | 0.0059212 | 0.95071 | 76108 | 4.8814 | 0.65419 | No | 1
14.5833 | 10.1995 | 0.68917 | 0.71008 | 0.0063547 | 0.94457 | 74481 | 4.872 | 0.69843 | No | 1
14.6 | 10.4139 | 0.73099 | 0.7522 | 0.0067403 | 0.93801 | 72890 | 4.8627 | 0.74049 | No | 1
14.6167 | 10.5918 | 0.77342 | 0.79288 | 0.0071316 | 0.93107 | 71335 | 4.8533 | 0.7812 | No | 1
14.6333 | 10.7379 | 0.81234 | 0.82616 | 0.0074904 | 0.92376 | 69814 | 4.8439 | 0.81468 | No | 1
14.65 | 10.8595 | 0.83997 | 0.85684 | 0.0077452 | 0.91614 | 68327 | 4.8346 | 0.84565 | No | 1
14.6667 | 10.9676 | 0.87371 | 0.88584 | 0.0080563 | 0.90823 | 66872 | 4.8252 | 0.87501 | No | 1
14.6833 | 11.068 | 0.89798 | 0.91073 | 0.0082801 | 0.90006 | 65450 | 4.8159 | 0.90035 | No | 1
14.7 | 11.1701 | 0.92347 | 0.93233 | 0.0085152 | 0.89166 | 64059 | 4.8066 | 0.92249 | No | 1
14.7167 | 11.2826 | 0.94119 | 0.94913 | 0.0086785 | 0.88306 | 62699 | 4.7973 | 0.9399 | No | 1
14.7333 | 11.4072 | 0.95707 | 0.96257 | 0.0088249 | 0.8743 | 61369 | 4.7879 | 0.95401 | No | 1
14.75 | 11.5495 | 0.96807 | 0.97852 | 0.0089263 | 0.86542 | 60068 | 4.7786 | 0.97065 | No | 1
14.7667 | 11.7167 | 0.98898 | 0.99967 | 0.0091192 | 0.85639 | 58796 | 4.7693 | 0.99246 | No | 1
14.7833 | 11.9092 | 1.0104 | 1.0269 | 0.0093163 | 0.84717 | 57552 | 4.7601 | 1.0204 | No | 1
14.8 | 12.1271 | 1.0435 | 1.0607 | 0.0096217 | 0.83769 | 56335 | 4.7508 | 1.0548 | No | 1
14.8167 | 12.3705 | 1.078 | 1.095 | 0.0099398 | 0.82791 | 55145 | 4.7415 | 1.0898 | No | 1
14.8333 | 12.6365 | 1.112 | 1.1331 | 0.010254 | 0.81781 | 53981 | 4.7322 | 1.1287 | No | 1
14.85 | 12.9228 | 1.1541 | 1.1805 | 0.010642 | 0.80735 | 52842 | 4.723 | 1.1769 | No | 1
14.8667 | 13.2257 | 1.2068 | 1.2337 | 0.011128 | 0.79646 | 51728 | 4.7137 | 1.2309 | No | 1
14.8833 | 13.5331 | 1.2605 | 1.2878 | 0.011623 | 0.78508 | 50639 | 4.7045 | 1.286 | No | 1
14.9 | 13.8364 | 1.315 | 1.3452 | 0.012125 | 0.7732 | 49574 | 4.6953 | 1.3445 | No | 1
14.9167 | 14.1341 | 1.3754 | 1.4055 | 0.012683 | 0.76079 | 48532 | 4.686 | 1.4059 | No | 1
14.9333 | 14.4169 | 1.4356 | 1.4716 | 0.013237 | 0.74782 | 47512 | 4.6768 | 1.4732 | No | 1
14.95 | 14.6741 | 1.5076 | 1.544 | 0.013901 | 0.73424 | 46515 | 4.6676 | 1.547 | No | 1
14.9667 | 14.8991 | 1.5804 | 1.6152 | 0.014573 | 0.72 | 45540 | 4.6584 | 1.6197 | No | 1
14.9833 | 15.0833 | 1.65 | 1.6855 | 0.015214 | 0.7051 | 44585 | 4.6492 | 1.6915 | No | 1
15 | 15.2216 | 1.721 | 1.7564 | 0.015869 | 0.68955 | 43652 | 4.64 | 1.7641 | No | 1
15.0167 | 15.3109 | 1.7918 | 1.8258 | 0.016522 | 0.67334 | 42739 | 4.6308 | 1.8354 | No | 1
15.0333 | 15.3481 | 1.8598 | 1.8911 | 0.017149 | 0.6565 | 41845 | 4.6216 | 1.9026 | No | 1
15.05 | 15.3303 | 1.9223 | 1.9463 | 0.017725 | 0.63905 | 40972 | 4.6125 | 1.9598 | No | 1
15.0667 | 15.2551 | 1.9703 | 2.0003 | 0.018168 | 0.62109 | 40117 | 4.6033 | 2.0157 | No | 1
15.0833 | 15.1221 | 2.0302 | 2.0503 | 0.01872 | 0.60264 | 39280 | 4.5942 | 2.0679 | No | 1
15.1 | 14.9361 | 2.0705 | 2.0847 | 0.019091 | 0.58372 | 38462 | 4.585 | 2.1043 | No | 1
15.1167 | 14.7007 | 2.0989 | 2.1092 | 0.019353 | 0.56449 | 37661 | 4.5759 | 2.1308 | No | 1
15.1333 | 14.4185 | 2.1196 | 2.1289 | 0.019545 | 0.54503 | 36878 | 4.5668 | 2.1525 | No | 1
15.15 | 14.0961 | 2.1382 | 2.1363 | 0.019716 | 0.52539 | 36111 | 4.5576 | 2.1616 | No | 1
15.1667 | 13.737 | 2.1343 | 2.1301 | 0.01968 | 0.50568 | 35361 | 4.5485 | 2.1572 | No | 1
15.1833 | 13.346 | 2.1259 | 2.1194 | 0.019603 | 0.48603 | 34628 | 4.5394 | 2.148 | No | 1
15.2 | 12.932 | 2.1128 | 2.102 | 0.019482 | 0.46648 | 33910 | 4.5303 | 2.1322 | No | 1
15.2167 | 12.502 | 2.0913 | 2.0678 | 0.019283 | 0.44708 | 33207 | 4.5212 | 2.0992 | No | 1
15.2333 | 12.0595 | 2.0443 | 2.0212 | 0.01885 | 0.428 | 32520 | 4.5122 | 2.0536 | No | 1
15.25 | 11.6109 | 1.9981 | 1.9745 | 0.018424 | 0.40936 | 31847 | 4.5031 | 2.0078 | No | 1
15.2667 | 11.1621 | 1.951 | 1.9246 | 0.017989 | 0.39114 | 31189 | 4.494 | 1.9585 | No | 1
15.2833 | 10.7175 | 1.8982 | 1.8666 | 0.017503 | 0.37338 | 30545 | 4.4849 | 1.9011 | No | 1
15.3 | 10.2816 | 1.835 | 1.8084 | 0.01692 | 0.35616 | 29915 | 4.4759 | 1.8433 | No | 1
15.3167 | 9.8534 | 1.7818 | 1.7501 | 0.016429 | 0.33948 | 29298 | 4.4668 | 1.7853 | No | 1
15.3333 | 9.4357 | 1.7185 | 1.6804 | 0.015846 | 0.32333 | 28694 | 4.4578 | 1.7156 | No | 1
15.35 | 9.0331 | 1.6423 | 1.6106 | 0.015144 | 0.30783 | 28104 | 4.4488 | 1.6456 | No | 1
15.3667 | 8.6449 | 1.5789 | 1.5461 | 0.014558 | 0.29297 | 27526 | 4.4397 | 1.581 | No | 1
15.3833 | 8.2736 | 1.5133 | 1.4791 | 0.013954 | 0.27871 | 26960 | 4.4307 | 1.5137 | No | 1
15.4 | 7.9213 | 1.4449 | 1.4109 | 0.013323 | 0.26506 | 26406 | 4.4217 | 1.4451 | No | 1
15.4167 | 7.5833 | 1.3769 | 1.3449 | 0.012696 | 0.25204 | 25864 | 4.4127 | 1.3786 | No | 1
15.4333 | 7.2586 | 1.313 | 1.281 | 0.012106 | 0.23964 | 25334 | 4.4037 | 1.3141 | No | 1
15.45 | 6.9492 | 1.249 | 1.2174 | 0.011517 | 0.22782 | 24815 | 4.3947 | 1.2499 | No | 1
15.4667 | 6.6562 | 1.1857 | 1.1542 | 0.010933 | 0.21659 | 24307 | 4.3857 | 1.186 | No | 1
15.4833 | 6.3747 | 1.1227 | 1.0927 | 0.010352 | 0.20594 | 23810 | 4.3768 | 1.1237 | No | 1
15.5 | 6.1017 | 1.0628 | 1.0338 | 0.0097995 | 0.19586 | 23323 | 4.3678 | 1.064 | No | 1
15.5167 | 5.8414 | 1.0049 | 0.98312 | 0.0092663 | 0.18632 | 22847 | 4.3588 | 1.0126 | No | 1
15.5333 | 5.5938 | 0.96131 | 0.93599 | 0.0088641 | 0.17725 | 22381 | 4.3499 | 0.96478 | No | 1
15.55 | 5.3522 | 0.91066 | 0.88801 | 0.008397 | 0.16861 | 21924 | 4.3409 | 0.91606 | No | 1
15.5667 | 5.1181 | 0.86536 | 0.84041 | 0.0079793 | 0.16042 | 21478 | 4.332 | 0.86764 | No | 1
15.5833 | 4.8942 | 0.81547 | 0.79366 | 0.0075193 | 0.15267 | 21040 | 4.323 | 0.82002 | No | 1
15.6 | 4.6785 | 0.77184 | 0.74873 | 0.007117 | 0.14534 | 20612 | 4.3141 | 0.77421 | No | 1
15.6167 | 4.4686 | 0.72562 | 0.70808 | 0.0066908 | 0.13844 | 20193 | 4.3052 | 0.73275 | No | 1
15.6333 | 4.2652 | 0.69054 | 0.67513 | 0.0063673 | 0.1319 | 19783 | 4.2963 | 0.6992 | No | 1
15.65 | 4.069 | 0.65973 | 0.64074 | 0.0060832 | 0.12567 | 19382 | 4.2874 | 0.6641 | No | 1
15.6667 | 3.878 | 0.62175 | 0.60535 | 0.005733 | 0.11976 | 18989 | 4.2785 | 0.62791 | No | 1
15.6833 | 3.6948 | 0.58895 | 0.57873 | 0.0054306 | 0.11418 | 18604 | 4.2696 | 0.60078 | No | 1
15.7 | 3.5185 | 0.56852 | 0.55639 | 0.0052422 | 0.10884 | 18227 | 4.2607 | 0.57804 | No | 1
15.7167 | 3.3469 | 0.54427 | 0.53306 | 0.0050186 | 0.10371 | 17858 | 4.2518 | 0.55423 | No | 1
15.7333 | 3.1815 | 0.52185 | 0.50805 | 0.0048119 | 0.098787 | 17497 | 4.243 | 0.52863 | No | 1
15.75 | 3.0249 | 0.49424 | 0.48212 | 0.0045573 | 0.0941 | 17144 | 4.2341 | 0.50204 | No | 1
15.7667 | 2.8759 | 0.46999 | 0.46031 | 0.0043337 | 0.089652 | 16798 | 4.2253 | 0.47971 | No | 1
15.7833 | 2.7296 | 0.45063 | 0.43743 | 0.0041551 | 0.085405 | 16459 | 4.2164 | 0.45622 | No | 1
15.8 | 2.5879 | 0.42424 | 0.41494 | 0.0039118 | 0.08137 | 16127 | 4.2076 | 0.43309 | No | 1
15.8167 | 2.4549 | 0.40564 | 0.39344 | 0.0037403 | 0.077542 | 15802 | 4.1987 | 0.41097 | No | 1
15.8333 | 2.3283 | 0.38124 | 0.37422 | 0.0035153 | 0.073912 | 15484 | 4.1899 | 0.3912 | No | 1
15.85 | 2.2071 | 0.36721 | 0.35852 | 0.003386 | 0.070459 | 15173 | 4.1811 | 0.37507 | No | 1
15.8667 | 2.0913 | 0.34983 | 0.339 | 0.0032257 | 0.067152 | 14868 | 4.1723 | 0.35492 | No | 1
15.8833 | 1.9815 | 0.32817 | 0.32169 | 0.003026 | 0.064024 | 14570 | 4.1635 | 0.33706 | No | 1
15.9 | 1.8772 | 0.31521 | 0.30301 | 0.0029065 | 0.061056 | 14277 | 4.1546 | 0.31773 | No | 1
15.9167 | 1.7769 | 0.29081 | 0.287 | 0.0026815 | 0.05826 | 13991 | 4.1458 | 0.30118 | No | 1
15.9333 | 1.6803 | 0.28319 | 0.27809 | 0.0026113 | 0.055613 | 13711 | 4.1371 | 0.29205 | No | 1
15.95 | 1.5884 | 0.27298 | 0.26238 | 0.0025171 | 0.053047 | 13436 | 4.1283 | 0.27576 | No | 1
15.9667 | 1.5003 | 0.25178 | 0.24584 | 0.0023217 | 0.050626 | 13168 | 4.1195 | 0.25857 | No | 1
15.9833 | 1.4169 | 0.2399 | 0.23624 | 0.002212 | 0.048358 | 12904 | 4.1107 | 0.24866 | No | 1
16 | 1.3391 | 0.23258 | 0.23 | 0.0021446 | 0.046179 | 12647 | 4.102 | 0.24228 | No | 1
16.0167 | 1.2643 | 0.22741 | 0.22223 | 0.0020969 | 0.044057 | 12394 | 4.0932 | 0.23427 | No | 1
16.0333 | 1.1939 | 0.21704 | 0.21369 | 0.0020013 | 0.042006 | 12147 | 4.0845 | 0.22544 | No | 1
16.05 | 1.1263 | 0.21034 | 0.20638 | 0.0019395 | 0.040035 | 11905 | 4.0757 | 0.21789 | No | 1
16.0667 | 1.0616 | 0.20242 | 0.19853 | 0.0018665 | 0.038131 | 11668 | 4.067 | 0.20977 | No | 1
16.0833 | 1.003 | 0.19465 | 0.19153 | 0.0017948 | 0.036299 | 11436 | 4.0583 | 0.20252 | No | 1
16.1 | 0.9475 | 0.18841 | 0.18559 | 0.0017372 | 0.034532 | 11208 | 4.0495 | 0.19639 | No | 1
16.1167 | 0.89446 | 0.18277 | 0.17576 | 0.0016853 | 0.03282 | 10986 | 4.0408 | 0.18612 | No | 1
16.1333 | 0.84477 | 0.16875 | 0.1644 | 0.001556 | 0.031198 | 10768 | 4.0321 | 0.17423 | No | 1
16.15 | 0.79637 | 0.16006 | 0.15564 | 0.0014759 | 0.029682 | 10554 | 4.0234 | 0.16507 | No | 1
16.1667 | 0.75032 | 0.15122 | 0.14825 | 0.0013944 | 0.028246 | 10345 | 4.0147 | 0.15735 | No | 1
16.1833 | 0.70906 | 0.14528 | 0.14071 | 0.0013396 | 0.026878 | 10140 | 4.006 | 0.14946 | No | 1
16.2 | 0.67038 | 0.13614 | 0.13393 | 0.0012553 | 0.02558 | 9939 | 3.9973 | 0.14236 | No | 1
16.2167 | 0.63198 | 0.13173 | 0.13463 | 0.0012146 | 0.024344 | 9743 | 3.9887 | 0.14321 | No | 1
16.2333 | 0.59972 | 0.13754 | 0.1348 | 0.0012682 | 0.023102 | 9550 | 3.98 | 0.14349 | No | 1
16.25 | 0.57345 | 0.13206 | 0.12733 | 0.0012177 | 0.021858 | 9361 | 3.9713 | 0.13565 | No | 1
16.2667 | 0.54769 | 0.12261 | 0.12055 | 0.0011305 | 0.020684 | 9177 | 3.9627 | 0.12852 | No | 1
16.2833 | 0.52246 | 0.1185 | 0.11851 | 0.0010927 | 0.019571 | 8996 | 3.954 | 0.12643 | No | 1
16.3 | 0.49799 | 0.11851 | 0.11509 | 0.0010928 | 0.018478 | 8818 | 3.9454 | 0.12287 | No | 1
16.3167 | 0.4742 | 0.11166 | 0.10884 | 0.0010296 | 0.017416 | 8645 | 3.9368 | 0.11629 | No | 1
16.3333 | 0.45378 | 0.10602 | 0.10351 | 0.00097763 | 0.016412 | 8475 | 3.9281 | 0.11068 | No | 1
16.35 | 0.4364 | 0.101 | 0.10246 | 0.00093131 | 0.015457 | 8308 | 3.9195 | 0.10963 | No | 1
16.3667 | 0.4205 | 0.10391 | 0.10338 | 0.00095815 | 0.014512 | 8145 | 3.9109 | 0.1107 | No | 1
16.3833 | 0.40807 | 0.10286 | 0.098132 | 0.00094842 | 0.013558 | 7985 | 3.9023 | 0.10516 | No | 1
16.4 | 0.39694 | 0.093408 | 0.091049 | 0.0008613 | 0.012653 | 7828 | 3.8937 | 0.097638 | No | 1
16.4167 | 0.38622 | 0.08869 | 0.083203 | 0.00081779 | 0.011813 | 7675 | 3.8851 | 0.089289 | No | 1
16.4333 | 0.37828 | 0.077715 | 0.074822 | 0.0007166 | 0.011045 | 7524 | 3.8764 | 0.080354 | No | 1
16.45 | 0.37148 | 0.071929 | 0.072622 | 0.00066325 | 0.010355 | 7377 | 3.8679 | 0.078048 | No | 1
16.4667 | 0.364 | 0.073315 | 0.070116 | 0.00067602 | 0.0096848 | 7233 | 3.8593 | 0.075409 | No | 1
16.4833 | 0.35889 | 0.066918 | 0.069976 | 0.00061704 | 0.0090379 | 7091 | 3.8507 | 0.075313 | No | 1
16.5 | 0.35606 | 0.073034 | 0.072506 | 0.00067343 | 0.0083923 | 6953 | 3.8422 | 0.078092 | No | 1
16.5167 | 0.35289 | 0.071978 | 0.070229 | 0.00066369 | 0.0077234 | 6817 | 3.8336 | 0.075694 | No | 1
16.5333 | 0.35146 | 0.06848 | 0.067418 | 0.00063144 | 0.0070754 | 6684 | 3.825 | 0.072717 | No | 1
16.55 | 0.35235 | 0.066356 | 0.064989 | 0.00061186 | 0.0064534 | 6554 | 3.8165 | 0.070147 | No | 1
16.5667 | 0.35316 | 0.063621 | 0.065153 | 0.00058664 | 0.0058538 | 6426 | 3.8079 | 0.070375 | No | 1
16.5833 | 0.35453 | 0.066685 | 0.068217 | 0.00061489 | 0.0052527 | 6301 | 3.7994 | 0.073737 | No | 1
16.6 | 0.35716 | 0.069749 | 0.069755 | 0.00064314 | 0.0046234 | 6178 | 3.7908 | 0.075454 | No | 1
16.6167 | 0.35867 | 0.069761 | 0.071827 | 0.00064326 | 0.0039798 | 6058 | 3.7823 | 0.07775 | No | 1
16.6333 | 0.36095 | 0.073893 | 0.076188 | 0.00068136 | 0.0033172 | 5940 | 3.7738 | 0.082529 | No | 1
16.65 | 0.36626 | 0.078483 | 0.07765 | 0.00072368 | 0.0026142 | 5825 | 3.7653 | 0.084172 | No | 1
16.6667 | 0.37262 | 0.076817 | 0.074305 | 0.00070831 | 0.0018979 | 5712 | 3.7568 | 0.080604 | No | 1
16.6833 | 0.37819 | 0.071793 | 0.068137 | 0.00066199 | 0.0012123 | 5601 | 3.7483 | 0.073965 | No | 1
16.7 | 0.38435 | 0.064481 | 0.063266 | 0.00059457 | 0.00058369 | 5493 | 3.7398 | 0.068727 | No | 1
16.7167 | 0.39257 | 0.062052 | 0 | 0.00057217 | 0 | 5387 | 3.7313 | 0 | No | 1