## Sample Details
Administrative Information
Export date | 26 May 2022 11:55:31
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0014.sample
Creation date | 26 May 2022 10:46:14
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t13=420 min
Information
Sample type | Sample
Injection date | 26 May 2022
Vial number | P2-B-4
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.0095715 | 10.0106
0.016667 | -0.013707 | 10.0074
0.033333 | -0.014506 | 9.9418
0.05 | -0.0095769 | 9.7134
0.066667 | -0.0019101 | 9.7039
0.083333 | 0.0013206 | 9.7549
0.1 | 0.0010064 | 9.8186
0.11667 | 0.00021065 | 9.8818
0.13333 | -0.0021386 | 9.9221
0.15 | -0.0051176 | 9.948
0.16667 | -0.0068043 | 9.9621
0.18333 | -0.0059432 | 9.9769
0.2 | -0.0064125 | 9.9833
0.21667 | -0.0088075 | 9.9874
0.23333 | -0.010377 | 9.9866
0.25 | -0.0088241 | 9.987
0.26667 | -0.0058032 | 9.9883
0.28333 | -0.0055703 | 9.9895
0.3 | -0.0074152 | 9.9873
0.31667 | -0.0081172 | 9.9944
0.33333 | -0.0092106 | 9.9931
0.35 | -0.01031 | 9.9877
0.36667 | -0.0095711 | 9.9868
0.38333 | -0.0081519 | 9.9877
0.4 | -0.01004 | 9.9847
0.41667 | -0.015213 | 9.9816
0.43333 | -0.016001 | 9.9833
0.45 | -0.013671 | 9.9815
0.46667 | -0.012206 | 9.9862
0.48333 | -0.011738 | 9.9955
0.5 | -0.011688 | 9.9964
0.51667 | -0.01248 | 9.9963
0.53333 | -0.013415 | 9.9917
0.55 | -0.012854 | 9.9883
0.56667 | -0.012777 | 9.9837
0.58333 | -0.013958 | 9.9737
0.6 | -0.013821 | 9.9728
0.61667 | -0.014203 | 9.9764
0.63333 | -0.014594 | 9.9747
0.65 | -0.01395 | 9.9712
0.66667 | -0.016228 | 9.9783
0.68333 | -0.019209 | 9.9821
0.7 | -0.017768 | 9.9863
0.71667 | -0.015232 | 9.9897
0.73333 | -0.015096 | 9.9894
0.75 | -0.015488 | 9.9831
0.76667 | -0.01459 | 9.983
0.78333 | -0.014545 | 9.9805
0.8 | -0.013854 | 9.9778
0.81667 | -0.012824 | 9.9734
0.83333 | -0.014459 | 9.9685
0.85 | -0.015016 | 9.9734
0.86667 | -0.015276 | 9.9728
0.88333 | -0.016297 | 9.9783
0.9 | -0.018533 | 9.9689
0.91667 | -0.020998 | 9.9671
0.93333 | -0.02055 | 9.9654
0.95 | -0.020951 | 9.9703
0.96667 | -0.022678 | 9.9659
0.98333 | -0.023793 | 9.9656
1 | -0.023709 | 9.9657
1.0167 | -0.021947 | 9.9778
1.0333 | -0.019209 | 9.9746
1.05 | -0.018743 | 9.9696
1.0667 | -0.020964 | 9.9577
1.0833 | -0.022113 | 9.9522
1.1 | -0.020692 | 9.9477
1.1167 | -0.017407 | 9.95
1.1333 | -0.016293 | 9.9459
1.15 | -0.018833 | 9.9461
1.1667 | -0.021426 | 9.9456
1.1833 | -0.021623 | 9.9476
1.2 | -0.020673 | 9.9453
1.2167 | -0.0207 | 9.9436
1.2333 | -0.021595 | 9.9386
1.25 | -0.022186 | 9.9427
1.2667 | -0.02297 | 9.9447
1.2833 | -0.023902 | 9.9502
1.3 | -0.021998 | 9.9546
1.3167 | -0.019585 | 9.9551
1.3333 | -0.019128 | 9.9545
1.35 | -0.018649 | 9.9601
1.3667 | -0.01873 | 9.9639
1.3833 | -0.019807 | 9.9665
1.4 | -0.020021 | 9.9718
1.4167 | -0.019914 | 9.9699
1.4333 | -0.020512 | 9.9639
1.45 | -0.02062 | 9.9583
1.4667 | -0.020325 | 9.9612
1.4833 | -0.021069 | 9.9603
1.5 | -0.022414 | 9.97
1.5167 | -0.021127 | 9.9714
1.5333 | -0.02065 | 9.9751
1.55 | -0.02213 | 9.9656
1.5667 | -0.02186 | 9.9644
1.5833 | -0.02183 | 9.9673
1.6 | -0.023386 | 9.9691
1.6167 | -0.02341 | 9.9732
1.6333 | -0.022948 | 9.9709
1.65 | -0.023129 | 9.9668
1.6667 | -0.022628 | 9.9712
1.6833 | -0.021434 | 9.9688
1.7 | -0.021001 | 9.9731
1.7167 | -0.022685 | 9.9682
1.7333 | -0.0239 | 9.9671
1.75 | -0.023041 | 9.9722
1.7667 | -0.022358 | 9.97
1.7833 | -0.023264 | 9.9757
1.8 | -0.022928 | 9.9802
1.8167 | -0.022913 | 9.9848
1.8333 | -0.025066 | 9.987
1.85 | -0.024448 | 9.9815
1.8667 | -0.022024 | 9.978
1.8833 | -0.022382 | 9.9789
1.9 | -0.024102 | 9.9725
1.9167 | -0.024498 | 9.97
1.9333 | -0.024433 | 9.9659
1.95 | -0.023831 | 9.9723
1.9667 | -0.023612 | 9.9688
1.9833 | -0.023646 | 9.9754
2 | -0.022201 | 9.981
2.0167 | -0.021401 | 9.9749
2.0333 | -0.022324 | 9.9784
2.05 | -0.023858 | 9.9767
2.0667 | -0.023944 | 9.9825
2.0833 | -0.022684 | 9.988
2.1 | -0.021875 | 9.9809
2.1167 | -0.022933 | 9.9764
2.1333 | -0.02549 | 9.9752
2.15 | -0.025846 | 9.9744
2.1667 | -0.024296 | 9.979
2.1833 | -0.024152 | 9.972
2.2 | -0.024556 | 9.9772
2.2167 | -0.024929 | 9.9813
2.2333 | -0.025876 | 9.9761
2.25 | -0.025627 | 9.9804
2.2667 | -0.026694 | 9.9792
2.2833 | -0.02949 | 9.9787
2.3 | -0.031005 | 9.986
2.3167 | -0.030488 | 9.9818
2.3333 | -0.028706 | 9.9865
2.35 | -0.029238 | 9.9903
2.3667 | -0.030834 | 9.9929
2.3833 | -0.031983 | 9.9921
2.4 | -0.033376 | 9.9932
2.4167 | -0.030056 | 9.985
2.4333 | -0.024974 | 9.9895
2.45 | -0.024093 | 9.988
2.4667 | -0.02524 | 9.9928
2.4833 | -0.027099 | 9.9886
2.5 | -0.028808 | 9.9886
2.5167 | -0.029573 | 9.9909
2.5333 | -0.029311 | 9.9848
2.55 | -0.029037 | 9.9845
2.5667 | -0.029626 | 9.9866
2.5833 | -0.029194 | 9.9866
2.6 | -0.029225 | 9.9844
2.6167 | -0.030726 | 9.9909
2.6333 | -0.031351 | 9.9935
2.65 | -0.030498 | 9.9958
2.6667 | -0.029183 | 9.9906
2.6833 | -0.027742 | 9.9995
2.7 | -0.025343 | 9.994
2.7167 | -0.024035 | 9.9931
2.7333 | -0.026472 | 9.9895
2.75 | -0.029663 | 9.9839
2.7667 | -0.029343 | 9.986
2.7833 | -0.027901 | 9.99
2.8 | -0.029962 | 9.9918
2.8167 | -0.029642 | 9.9879
2.8333 | -0.026967 | 9.9804
2.85 | -0.025858 | 9.9804
2.8667 | -0.02539 | 9.9801
2.8833 | -0.025713 | 9.9879
2.9 | -0.028077 | 9.9857
2.9167 | -0.031278 | 9.9909
2.9333 | -0.031928 | 9.99
2.95 | -0.02988 | 9.9963
2.9667 | -0.02879 | 10.0004
2.9833 | -0.029157 | 9.9984
3 | -0.029397 | 10.005
3.0167 | -0.03036 | 10.0034
3.0333 | -0.030876 | 9.9943
3.05 | -0.030692 | 9.9969
3.0667 | -0.031004 | 9.995
3.0833 | -0.031721 | 9.9975
3.1 | -0.032128 | 9.9975
3.1167 | -0.032309 | 9.9935
3.1333 | -0.03243 | 10.0015
3.15 | -0.032976 | 9.9955
3.1667 | -0.033316 | 10.0033
3.1833 | -0.032645 | 10.0037
3.2 | -0.032501 | 10.005
3.2167 | -0.033635 | 9.9978
3.2333 | -0.033668 | 9.9938
3.25 | -0.033435 | 9.9914
3.2667 | -0.032507 | 9.9992
3.2833 | -0.029991 | 9.9999
3.3 | -0.029354 | 9.999
3.3167 | -0.032432 | 9.9877
3.3333 | -0.034386 | 9.9923
3.35 | -0.03305 | 9.9915
3.3667 | -0.032312 | 9.9914
3.3833 | -0.032849 | 9.9909
3.4 | -0.032345 | 9.9953
3.4167 | -0.03165 | 9.9975
3.4333 | -0.032076 | 9.992
3.45 | -0.032375 | 9.9993
3.4667 | -0.033467 | 10.005
3.4833 | -0.034269 | 10.0072
3.5 | -0.033543 | 10.0094
3.5167 | -0.033574 | 10.0127
3.5333 | -0.034897 | 10.0106
3.55 | -0.035574 | 10.0094
3.5667 | -0.033921 | 10.0089
3.5833 | -0.030891 | 10.0043
3.6 | -0.030433 | 10.0015
3.6167 | -0.033322 | 10.0083
3.6333 | -0.035478 | 10.0082
3.65 | -0.035273 | 10.0108
3.6667 | -0.035369 | 10.0013
3.6833 | -0.037417 | 10.0005
3.7 | -0.038984 | 10.001
3.7167 | -0.037192 | 10.0053
3.7333 | -0.034289 | 10.0071
3.75 | -0.033013 | 10.0047
3.7667 | -0.033398 | 10.0001
3.7833 | -0.034397 | 9.9955
3.8 | -0.033653 | 9.9891
3.8167 | -0.033026 | 9.9943
3.8333 | -0.034736 | 9.9958
3.85 | -0.036189 | 10.0008
3.8667 | -0.036499 | 10.0088
3.8833 | -0.037982 | 10.0126
3.9 | -0.036723 | 10.0095
3.9167 | -0.033823 | 10.0152
3.9333 | -0.034007 | 10.0135
3.95 | -0.035607 | 10.0117
3.9667 | -0.037118 | 10.0109
3.9833 | -0.040163 | 10.0092
4 | -0.040685 | 10.0153
4.0167 | -0.039574 | 10.0134
4.0333 | -0.039881 | 10.0126
4.05 | -0.039558 | 10.008
4.0667 | -0.038376 | 10.0134
4.0833 | -0.038641 | 10.023
4.1 | -0.039154 | 10.0224
4.1167 | -0.037745 | 10.024
4.1333 | -0.035924 | 10.0246
4.15 | -0.036573 | 10.013
4.1667 | -0.03854 | 10.0192
4.1833 | -0.040012 | 10.0147
4.2 | -0.040229 | 10.0091
4.2167 | -0.040364 | 10.0105
4.2333 | -0.040831 | 10.0089
4.25 | -0.040884 | 10.0043
4.2667 | -0.040205 | 10.0134
4.2833 | -0.038113 | 10.0086
4.3 | -0.038186 | 10.0085
4.3167 | -0.041487 | 10.0117
4.3333 | -0.042959 | 10.0211
4.35 | -0.040967 | 10.0202
4.3667 | -0.039445 | 10.0188
4.3833 | -0.038723 | 10.0134
4.4 | -0.037843 | 10.0117
4.4167 | -0.03853 | 10.0181
4.4333 | -0.039901 | 10.0121
4.45 | -0.040773 | 10.0109
4.4667 | -0.040037 | 10.008
4.4833 | -0.040193 | 10.0036
4.5 | -0.041503 | 10.006
4.5167 | -0.041351 | 10.0132
4.5333 | -0.04015 | 10.0103
4.55 | -0.03895 | 10.0163
4.5667 | -0.037227 | 10.01
4.5833 | -0.037955 | 10.0095
4.6 | -0.040809 | 10.0034
4.6167 | -0.041173 | 10.0045
4.6333 | -0.040025 | 10.0028
4.65 | -0.037863 | 10.0071
4.6667 | -0.036288 | 10.0028
4.6833 | -0.036369 | 10.0004
4.7 | -0.037964 | 9.9923
4.7167 | -0.040994 | 9.994
4.7333 | -0.0419 | 9.9908
4.75 | -0.041779 | 10.0007
4.7667 | -0.041106 | 10.0034
4.7833 | -0.040171 | 9.9993
4.8 | -0.040843 | 9.9967
4.8167 | -0.040436 | 9.997
4.8333 | -0.038043 | 9.9914
4.85 | -0.035659 | 9.9819
4.8667 | -0.03372 | 9.9915
4.8833 | -0.034982 | 9.9877
4.9 | -0.037698 | 9.9923
4.9167 | -0.038156 | 9.9949
4.9333 | -0.039373 | 10.0018
4.95 | -0.040836 | 9.9937
4.9667 | -0.040895 | 9.9982
4.9833 | -0.041812 | 10.0013
5 | -0.042736 | 10.0025
5.0167 | -0.041752 | 9.9944
5.0333 | -0.040087 | 9.996
5.05 | -0.039577 | 9.9961
5.0667 | -0.040198 | 9.9999
5.0833 | -0.042053 | 10.0022
5.1 | -0.042177 | 9.9946
5.1167 | -0.040873 | 9.9963
5.1333 | -0.041201 | 9.9976
5.15 | -0.041228 | 9.9969
5.1667 | -0.039303 | 9.9961
5.1833 | -0.038636 | 9.9976
5.2 | -0.039839 | 10.0001
5.2167 | -0.041156 | 10.0088
5.2333 | -0.042273 | 10.0053
5.25 | -0.042011 | 10.0053
5.2667 | -0.041401 | 10.0008
5.2833 | -0.039535 | 10.0072
5.3 | -0.038457 | 10.0059
5.3167 | -0.039956 | 10.015
5.3333 | -0.039917 | 10.0091
5.35 | -0.039218 | 10.0066
5.3667 | -0.03916 | 10.01
5.3833 | -0.03941 | 10.0135
5.4 | -0.040815 | 10.0066
5.4167 | -0.043735 | 10.0092
5.4333 | -0.043769 | 10.0127
5.45 | -0.041463 | 10.0213
5.4667 | -0.04199 | 10.0289
5.4833 | -0.042915 | 10.0309
5.5 | -0.042186 | 10.0309
5.5167 | -0.041962 | 10.0249
5.5333 | -0.041278 | 10.0301
5.55 | -0.040239 | 10.0234
5.5667 | -0.041817 | 10.0248
5.5833 | -0.042369 | 10.0295
5.6 | -0.042081 | 10.0289
5.6167 | -0.041705 | 10.0289
5.6333 | -0.041439 | 10.0355
5.65 | -0.043438 | 10.0288
5.6667 | -0.044824 | 10.0242
5.6833 | -0.044267 | 10.0227
5.7 | -0.043491 | 10.0231
5.7167 | -0.041744 | 10.0249
5.7333 | -0.040166 | 10.0225
5.75 | -0.041345 | 10.0254
5.7667 | -0.043173 | 10.0253
5.7833 | -0.043261 | 10.0225
5.8 | -0.042175 | 10.0312
5.8167 | -0.041304 | 10.0307
5.8333 | -0.041736 | 10.0356
5.85 | -0.042513 | 10.0369
5.8667 | -0.042795 | 10.0359
5.8833 | -0.042546 | 10.0326
5.9 | -0.042019 | 10.0365
5.9167 | -0.042447 | 10.033
5.9333 | -0.041999 | 10.0295
5.95 | -0.040807 | 10.0358
5.9667 | -0.03961 | 10.0321
5.9833 | -0.039304 | 10.0311
6 | -0.041223 | 10.032
6.0167 | -0.042205 | 10.0367
6.0333 | -0.042503 | 10.0355
6.05 | -0.043104 | 10.042
6.0667 | -0.043945 | 10.0474
6.0833 | -0.044528 | 10.0431
6.1 | -0.044285 | 10.0405
6.1167 | -0.044837 | 10.0414
6.1333 | -0.045056 | 10.0397
6.15 | -0.044698 | 10.042
6.1667 | -0.044456 | 10.0459
6.1833 | -0.043919 | 10.0423
6.2 | -0.044061 | 10.0349
6.2167 | -0.044526 | 10.0387
6.2333 | -0.044402 | 10.041
6.25 | -0.044661 | 10.043
6.2667 | -0.046481 | 10.0405
6.2833 | -0.048351 | 10.0466
6.3 | -0.047293 | 10.0419
6.3167 | -0.046991 | 10.0413
6.3333 | -0.049027 | 10.0449
6.35 | -0.049514 | 10.0311
6.3667 | -0.047828 | 10.0324
6.3833 | -0.047168 | 10.037
6.4 | -0.049457 | 10.0417
6.4167 | -0.050357 | 10.0356
6.4333 | -0.049398 | 10.034
6.45 | -0.049681 | 10.0358
6.4667 | -0.051524 | 10.0404
6.4833 | -0.050163 | 10.0356
6.5 | -0.043415 | 10.0265
6.5167 | -0.035623 | 10.0198
6.5333 | -0.026589 | 10.0153
6.55 | -0.0076207 | 10.0149
6.5667 | 0.02561 | 10.0245
6.5833 | 0.076289 | 10.0211
6.6 | 0.1579 | 10.0268
6.6167 | 0.28567 | 10.0239
6.6333 | 0.47499 | 10.0283
6.65 | 0.74536 | 10.0327
6.6667 | 1.1221 | 10.0367
6.6833 | 1.6341 | 10.0384
6.7 | 2.3067 | 10.041
6.7167 | 3.1634 | 10.0445
6.7333 | 4.22 | 10.0433
6.75 | 5.4827 | 10.0468
6.7667 | 6.948 | 10.0523
6.7833 | 8.6055 | 10.0561
6.8 | 10.4352 | 10.0578
6.8167 | 12.4077 | 10.0555
6.8333 | 14.4897 | 10.0573
6.85 | 16.6434 | 10.0628
6.8667 | 18.8289 | 10.0739
6.8833 | 21.0052 | 10.0855
6.9 | 23.1321 | 10.0985
6.9167 | 25.171 | 10.1098
6.9333 | 27.0951 | 10.12
6.95 | 28.8844 | 10.1402
6.9667 | 30.5107 | 10.1612
6.9833 | 31.9589 | 10.1698
7 | 33.2232 | 10.1792
7.0167 | 34.2965 | 10.19
7.0333 | 35.1785 | 10.2038
7.05 | 35.8731 | 10.2212
7.0667 | 36.3852 | 10.2345
7.0833 | 36.7221 | 10.2468
7.1 | 36.897 | 10.2489
7.1167 | 36.9222 | 10.2555
7.1333 | 36.8099 | 10.2552
7.15 | 36.5755 | 10.263
7.1667 | 36.2323 | 10.2607
7.1833 | 35.7933 | 10.2671
7.2 | 35.2723 | 10.272
7.2167 | 34.6826 | 10.2721
7.2333 | 34.0376 | 10.2637
7.25 | 33.3468 | 10.2581
7.2667 | 32.6227 | 10.256
7.2833 | 31.8773 | 10.2503
7.3 | 31.1154 | 10.2491
7.3167 | 30.3428 | 10.241
7.3333 | 29.5641 | 10.2375
7.35 | 28.7857 | 10.2267
7.3667 | 28.0147 | 10.2253
7.3833 | 27.2548 | 10.216
7.4 | 26.5082 | 10.2146
7.4167 | 25.7772 | 10.201
7.4333 | 25.0635 | 10.1962
7.45 | 24.3687 | 10.1893
7.4667 | 23.6915 | 10.1878
7.4833 | 23.0326 | 10.1778
7.5 | 22.393 | 10.1736
7.5167 | 21.7727 | 10.1707
7.5333 | 21.1736 | 10.1669
7.55 | 20.5959 | 10.1591
7.5667 | 20.0384 | 10.16
7.5833 | 19.5014 | 10.1516
7.6 | 18.9818 | 10.149
7.6167 | 18.4793 | 10.1485
7.6333 | 17.9949 | 10.1429
7.65 | 17.5273 | 10.1379
7.6667 | 17.0772 | 10.1325
7.6833 | 16.6433 | 10.1243
7.7 | 16.2256 | 10.1246
7.7167 | 15.8236 | 10.1249
7.7333 | 15.4372 | 10.1232
7.75 | 15.0651 | 10.1232
7.7667 | 14.7064 | 10.1115
7.7833 | 14.3612 | 10.1176
7.8 | 14.0264 | 10.1142
7.8167 | 13.7023 | 10.1151
7.8333 | 13.3916 | 10.1096
7.85 | 13.0921 | 10.1112
7.8667 | 12.8017 | 10.1075
7.8833 | 12.5205 | 10.1098
7.9 | 12.2507 | 10.1092
7.9167 | 11.993 | 10.1067
7.9333 | 11.7433 | 10.0951
7.95 | 11.502 | 10.1014
7.9667 | 11.2701 | 10.0991
7.9833 | 11.0451 | 10.097
8 | 10.8287 | 10.1002
8.0167 | 10.6205 | 10.0974
8.0333 | 10.4194 | 10.0909
8.05 | 10.2239 | 10.0794
8.0667 | 10.0348 | 10.0771
8.0833 | 9.8539 | 10.0735
8.1 | 9.6785 | 10.0703
8.1167 | 9.5085 | 10.0732
8.1333 | 9.3447 | 10.0712
8.15 | 9.1843 | 10.0665
8.1667 | 9.0298 | 10.0649
8.1833 | 8.882 | 10.0605
8.2 | 8.7364 | 10.0668
8.2167 | 8.592 | 10.0674
8.2333 | 8.4518 | 10.0674
8.25 | 8.3165 | 10.0695
8.2667 | 8.1834 | 10.0674
8.2833 | 8.0509 | 10.0611
8.3 | 7.9208 | 10.059
8.3167 | 7.7927 | 10.0602
8.3333 | 7.6676 | 10.0631
8.35 | 7.5471 | 10.0622
8.3667 | 7.4297 | 10.0683
8.3833 | 7.3141 | 10.0706
8.4 | 7.1994 | 10.0756
8.4167 | 7.0849 | 10.07
8.4333 | 6.9736 | 10.0727
8.45 | 6.8648 | 10.0715
8.4667 | 6.7578 | 10.08
8.4833 | 6.6551 | 10.073
8.5 | 6.5553 | 10.0745
8.5167 | 6.4575 | 10.0605
8.5333 | 6.3608 | 10.0593
8.55 | 6.2666 | 10.0538
8.5667 | 6.1753 | 10.0484
8.5833 | 6.0863 | 10.0602
8.6 | 6.0028 | 10.0568
8.6167 | 5.9235 | 10.0581
8.6333 | 5.8444 | 10.0602
8.65 | 5.7644 | 10.0629
8.6667 | 5.6864 | 10.0625
8.6833 | 5.6131 | 10.0617
8.7 | 5.5419 | 10.0564
8.7167 | 5.4734 | 10.0597
8.7333 | 5.4074 | 10.0623
8.75 | 5.3444 | 10.0681
8.7667 | 5.2844 | 10.0697
8.7833 | 5.2254 | 10.0687
8.8 | 5.1675 | 10.0721
8.8167 | 5.1108 | 10.0755
8.8333 | 5.0558 | 10.0684
8.85 | 5.0036 | 10.0649
8.8667 | 4.9567 | 10.0567
8.8833 | 4.9118 | 10.0573
8.9 | 4.8676 | 10.0584
8.9167 | 4.827 | 10.0559
8.9333 | 4.7893 | 10.0611
8.95 | 4.7543 | 10.0603
8.9667 | 4.7245 | 10.0603
8.9833 | 4.7014 | 10.0561
9 | 4.6815 | 10.0614
9.0167 | 4.6643 | 10.0565
9.0333 | 4.6556 | 10.0651
9.05 | 4.6539 | 10.0697
9.0667 | 4.6559 | 10.0697
9.0833 | 4.6615 | 10.0581
9.1 | 4.6699 | 10.0631
9.1167 | 4.6822 | 10.0761
9.1333 | 4.6985 | 10.0797
9.15 | 4.7167 | 10.0784
9.1667 | 4.7358 | 10.0913
9.1833 | 4.7525 | 10.0846
9.2 | 4.7686 | 10.0842
9.2167 | 4.7847 | 10.0782
9.2333 | 4.7993 | 10.0758
9.25 | 4.8131 | 10.0655
9.2667 | 4.8217 | 10.0761
9.2833 | 4.8237 | 10.0791
9.3 | 4.8225 | 10.0771
9.3167 | 4.8197 | 10.0729
9.3333 | 4.8134 | 10.0715
9.35 | 4.8006 | 10.079
9.3667 | 4.7809 | 10.0806
9.3833 | 4.7566 | 10.0822
9.4 | 4.7278 | 10.082
9.4167 | 4.6944 | 10.0831
9.4333 | 4.6558 | 10.0791
9.45 | 4.6101 | 10.08
9.4667 | 4.562 | 10.0727
9.4833 | 4.5143 | 10.0715
9.5 | 4.4634 | 10.0634
9.5167 | 4.406 | 10.0651
9.5333 | 4.3449 | 10.068
9.55 | 4.284 | 10.0654
9.5667 | 4.2233 | 10.0625
9.5833 | 4.1624 | 10.0686
9.6 | 4.1025 | 10.0597
9.6167 | 4.0431 | 10.0526
9.6333 | 3.9832 | 10.0556
9.65 | 3.9247 | 10.0623
9.6667 | 3.8672 | 10.0561
9.6833 | 3.8121 | 10.0665
9.7 | 3.7581 | 10.0645
9.7167 | 3.701 | 10.07
9.7333 | 3.6435 | 10.0753
9.75 | 3.5883 | 10.0735
9.7667 | 3.536 | 10.0707
9.7833 | 3.4873 | 10.0706
9.8 | 3.4386 | 10.0727
9.8167 | 3.39 | 10.0648
9.8333 | 3.345 | 10.0665
9.85 | 3.3007 | 10.0585
9.8667 | 3.2555 | 10.059
9.8833 | 3.211 | 10.0556
9.9 | 3.1682 | 10.0619
9.9167 | 3.1256 | 10.0558
9.9333 | 3.0835 | 10.052
9.95 | 3.0425 | 10.0549
9.9667 | 3.0024 | 10.0558
9.9833 | 2.964 | 10.046
10 | 2.9267 | 10.0466
10.0167 | 2.8901 | 10.0503
10.0333 | 2.8543 | 10.0539
10.05 | 2.8205 | 10.0443
10.0667 | 2.7866 | 10.0436
10.0833 | 2.7523 | 10.0361
10.1 | 2.7198 | 10.0311
10.1167 | 2.6886 | 10.0292
10.1333 | 2.6571 | 10.0361
10.15 | 2.6258 | 10.0414
10.1667 | 2.5949 | 10.0361
10.1833 | 2.5655 | 10.0344
10.2 | 2.537 | 10.0405
10.2167 | 2.5088 | 10.0471
10.2333 | 2.4822 | 10.0459
10.25 | 2.4559 | 10.0416
10.2667 | 2.4285 | 10.0436
10.2833 | 2.4009 | 10.0471
10.3 | 2.3759 | 10.0365
10.3167 | 2.3539 | 10.0303
10.3333 | 2.3328 | 10.0301
10.35 | 2.3106 | 10.0333
10.3667 | 2.2849 | 10.0288
10.3833 | 2.262 | 10.0246
10.4 | 2.2432 | 10.014
10.4167 | 2.223 | 10.0205
10.4333 | 2.2016 | 10.0199
10.45 | 2.1823 | 10.0134
10.4667 | 2.1637 | 10.0137
10.4833 | 2.1442 | 10.0175
10.5 | 2.1256 | 10.0274
10.5167 | 2.1084 | 10.0306
10.5333 | 2.0921 | 10.0262
10.55 | 2.0755 | 10.0237
10.5667 | 2.059 | 10.0236
10.5833 | 2.0437 | 10.0295
10.6 | 2.0274 | 10.033
10.6167 | 2.0108 | 10.0286
10.6333 | 1.9954 | 10.0292
10.65 | 1.9815 | 10.023
10.6667 | 1.9673 | 10.0286
10.6833 | 1.953 | 10.0309
10.7 | 1.9397 | 10.0318
10.7167 | 1.9258 | 10.0288
10.7333 | 1.9133 | 10.0318
10.75 | 1.9011 | 10.0323
10.7667 | 1.888 | 10.0317
10.7833 | 1.8755 | 10.0295
10.8 | 1.8612 | 10.0315
10.8167 | 1.8473 | 10.0288
10.8333 | 1.8366 | 10.0277
10.85 | 1.8263 | 10.0265
10.8667 | 1.8148 | 10.0262
10.8833 | 1.8033 | 10.0294
10.9 | 1.7932 | 10.0379
10.9167 | 1.7833 | 10.039
10.9333 | 1.7732 | 10.0399
10.95 | 1.7629 | 10.0393
10.9667 | 1.7536 | 10.043
10.9833 | 1.7457 | 10.0413
11 | 1.7363 | 10.0457
11.0167 | 1.7254 | 10.0448
11.0333 | 1.7156 | 10.0484
11.05 | 1.7081 | 10.0495
11.0667 | 1.6998 | 10.0475
11.0833 | 1.6903 | 10.0468
11.1 | 1.6825 | 10.0452
11.1167 | 1.6757 | 10.0451
11.1333 | 1.6687 | 10.0539
11.15 | 1.6612 | 10.0538
11.1667 | 1.6535 | 10.0571
11.1833 | 1.6472 | 10.0613
11.2 | 1.6416 | 10.0559
11.2167 | 1.6345 | 10.0619
11.2333 | 1.6275 | 10.0655
11.25 | 1.6229 | 10.0707
11.2667 | 1.6183 | 10.0666
11.2833 | 1.6129 | 10.0665
11.3 | 1.6067 | 10.0581
11.3167 | 1.5997 | 10.0526
11.3333 | 1.5935 | 10.0498
11.35 | 1.5867 | 10.0463
11.3667 | 1.5804 | 10.0452
11.3833 | 1.5771 | 10.0506
11.4 | 1.5731 | 10.0513
11.4167 | 1.5682 | 10.0568
11.4333 | 1.565 | 10.0558
11.45 | 1.56 | 10.0651
11.4667 | 1.5542 | 10.0723
11.4833 | 1.5517 | 10.0671
11.5 | 1.5493 | 10.0617
11.5167 | 1.5466 | 10.0581
11.5333 | 1.5442 | 10.0573
11.55 | 1.5412 | 10.0524
11.5667 | 1.5391 | 10.0517
11.5833 | 1.5364 | 10.05
11.6 | 1.5348 | 10.0472
11.6167 | 1.5349 | 10.0413
11.6333 | 1.5316 | 10.0362
11.65 | 1.5273 | 10.0257
11.6667 | 1.5254 | 10.0262
11.6833 | 1.5235 | 10.0224
11.7 | 1.5221 | 10.0292
11.7167 | 1.5211 | 10.0365
11.7333 | 1.5194 | 10.0397
11.75 | 1.519 | 10.0362
11.7667 | 1.5192 | 10.0399
11.7833 | 1.518 | 10.046
11.8 | 1.515 | 10.0475
11.8167 | 1.5107 | 10.0468
11.8333 | 1.5085 | 10.0422
11.85 | 1.5086 | 10.0423
11.8667 | 1.5073 | 10.0404
11.8833 | 1.5053 | 10.0364
11.9 | 1.5037 | 10.0399
11.9167 | 1.5024 | 10.039
11.9333 | 1.5019 | 10.0394
11.95 | 1.5012 | 10.0401
11.9667 | 1.4999 | 10.0382
11.9833 | 1.4996 | 10.0423
12 | 1.4989 | 10.0446
12.0167 | 1.4985 | 10.0451
12.0333 | 1.4999 | 10.0439
12.05 | 1.4991 | 10.0408
12.0667 | 1.4967 | 10.032
12.0833 | 1.4969 | 10.035
12.1 | 1.4974 | 10.0367
12.1167 | 1.4993 | 10.0349
12.1333 | 1.5015 | 10.0324
12.15 | 1.5001 | 10.0315
12.1667 | 1.4975 | 10.0268
12.1833 | 1.4965 | 10.0347
12.2 | 1.4967 | 10.0358
12.2167 | 1.497 | 10.0333
12.2333 | 1.4952 | 10.037
12.25 | 1.4939 | 10.0394
12.2667 | 1.4956 | 10.0367
12.2833 | 1.496 | 10.0399
12.3 | 1.4944 | 10.0394
12.3167 | 1.4922 | 10.0361
12.3333 | 1.4906 | 10.0379
12.35 | 1.4914 | 10.0344
12.3667 | 1.4925 | 10.0295
12.3833 | 1.4919 | 10.0307
12.4 | 1.4907 | 10.0248
12.4167 | 1.491 | 10.0265
12.4333 | 1.4926 | 10.0271
12.45 | 1.4934 | 10.0257
12.4667 | 1.4931 | 10.0286
12.4833 | 1.4943 | 10.0289
12.5 | 1.4956 | 10.0304
12.5167 | 1.4964 | 10.0274
12.5333 | 1.4969 | 10.0249
12.55 | 1.4973 | 10.0207
12.5667 | 1.4989 | 10.021
12.5833 | 1.5 | 10.0124
12.6 | 1.5007 | 10.0098
12.6167 | 1.5027 | 10.0115
12.6333 | 1.5054 | 10.0155
12.65 | 1.5075 | 10.0098
12.6667 | 1.5085 | 10.0108
12.6833 | 1.5088 | 10.0077
12.7 | 1.5086 | 10.006
12.7167 | 1.5098 | 10.0143
12.7333 | 1.5125 | 10.019
12.75 | 1.5147 | 10.0228
12.7667 | 1.5182 | 10.017
12.7833 | 1.5227 | 10.0178
12.8 | 1.5267 | 10.0254
12.8167 | 1.5306 | 10.0283
12.8333 | 1.5337 | 10.0269
12.85 | 1.537 | 10.022
12.8667 | 1.5405 | 10.0211
12.8833 | 1.5444 | 10.0263
12.9 | 1.5502 | 10.0275
12.9167 | 1.5539 | 10.0282
12.9333 | 1.5554 | 10.0219
12.95 | 1.5605 | 10.0222
12.9667 | 1.5671 | 10.0213
12.9833 | 1.572 | 10.0184
13 | 1.5765 | 10.0205
13.0167 | 1.5811 | 10.0196
13.0333 | 1.5846 | 10.0173
13.05 | 1.5897 | 10.0246
13.0667 | 1.5955 | 10.0278
13.0833 | 1.6009 | 10.0372
13.1 | 1.6074 | 10.0347
13.1167 | 1.6142 | 10.0387
13.1333 | 1.6215 | 10.0382
13.15 | 1.6289 | 10.0379
13.1667 | 1.6353 | 10.0376
13.1833 | 1.6427 | 10.0355
13.2 | 1.6501 | 10.0394
13.2167 | 1.6571 | 10.0451
13.2333 | 1.6629 | 10.0472
13.25 | 1.6681 | 10.0431
13.2667 | 1.6756 | 10.0459
13.2833 | 1.6834 | 10.0465
13.3 | 1.6905 | 10.0455
13.3167 | 1.6971 | 10.0454
13.3333 | 1.706 | 10.0477
13.35 | 1.7146 | 10.0417
13.3667 | 1.7207 | 10.0382
13.3833 | 1.729 | 10.0335
13.4 | 1.7418 | 10.0307
13.4167 | 1.7541 | 10.0268
13.4333 | 1.7629 | 10.0288
13.45 | 1.7722 | 10.0166
13.4667 | 1.7824 | 10.0219
13.4833 | 1.7915 | 10.0179
13.5 | 1.8015 | 10.0266
13.5167 | 1.8116 | 10.0217
13.5333 | 1.8206 | 10.0173
13.55 | 1.8312 | 10.0166
13.5667 | 1.8436 | 10.0227
13.5833 | 1.8561 | 10.0179
13.6 | 1.8692 | 10.0152
13.6167 | 1.8841 | 10.0182
13.6333 | 1.8984 | 10.0152
13.65 | 1.9133 | 10.0179
13.6667 | 1.9298 | 10.0178
13.6833 | 1.9468 | 10.0227
13.7 | 1.9638 | 10.0181
13.7167 | 1.9809 | 10.0277
13.7333 | 1.9997 | 10.0272
13.75 | 2.0213 | 10.0304
13.7667 | 2.0445 | 10.0295
13.7833 | 2.0681 | 10.0336
13.8 | 2.0929 | 10.0297
13.8167 | 2.1176 | 10.0327
13.8333 | 2.1431 | 10.0382
13.85 | 2.1722 | 10.0416
13.8667 | 2.2024 | 10.042
13.8833 | 2.2316 | 10.0497
13.9 | 2.2629 | 10.0404
13.9167 | 2.2985 | 10.0405
13.9333 | 2.3359 | 10.0361
13.95 | 2.3759 | 10.0338
13.9667 | 2.4216 | 10.0332
13.9833 | 2.4694 | 10.0332
14 | 2.5177 | 10.0385
14.0167 | 2.5703 | 10.043
14.0333 | 2.6274 | 10.0376
14.05 | 2.6894 | 10.035
14.0667 | 2.7559 | 10.0304
14.0833 | 2.8261 | 10.032
14.1 | 2.9014 | 10.0304
14.1167 | 2.9838 | 10.0365
14.1333 | 3.0744 | 10.0416
14.15 | 3.1763 | 10.0414
14.1667 | 3.2925 | 10.0449
14.1833 | 3.4207 | 10.0428
14.2 | 3.5633 | 10.0558
14.2167 | 3.7246 | 10.0637
14.2333 | 3.9075 | 10.0694
14.25 | 4.1165 | 10.0672
14.2667 | 4.3556 | 10.0701
14.2833 | 4.6274 | 10.0681
14.3 | 4.9325 | 10.0788
14.3167 | 5.2725 | 10.0932
14.3333 | 5.6485 | 10.1077
14.35 | 6.0602 | 10.1232
14.3667 | 6.5058 | 10.1508
14.3833 | 6.9862 | 10.1731
14.4 | 7.4978 | 10.1954
14.4167 | 8.0291 | 10.2233
14.4333 | 8.5758 | 10.2552
14.45 | 9.1314 | 10.2848
14.4667 | 9.6839 | 10.3179
14.4833 | 10.2243 | 10.362
14.5 | 10.7471 | 10.4095
14.5167 | 11.2454 | 10.4531
14.5333 | 11.7132 | 10.4983
14.55 | 12.1475 | 10.5491
14.5667 | 12.5444 | 10.5941
14.5833 | 12.9021 | 10.6437
14.6 | 13.2235 | 10.6985
14.6167 | 13.5137 | 10.7488
14.6333 | 13.7752 | 10.7906
14.65 | 14.014 | 10.8327
14.6667 | 14.2394 | 10.8727
14.6833 | 14.4595 | 10.911
14.7 | 14.6841 | 10.9461
14.7167 | 14.9206 | 10.978
14.7333 | 15.1732 | 10.9966
14.75 | 15.4475 | 11.0319
14.7667 | 15.7523 | 11.0671
14.7833 | 16.089 | 11.1053
14.8 | 16.456 | 11.1378
14.8167 | 16.8528 | 11.1782
14.8333 | 17.2792 | 11.228
14.85 | 17.73 | 11.2743
14.8667 | 18.196 | 11.3403
14.8833 | 18.6687 | 11.4164
14.9 | 19.1401 | 11.4965
14.9167 | 19.6016 | 11.582
14.9333 | 20.0431 | 11.6737
14.95 | 20.4542 | 11.7631
14.9667 | 20.8221 | 11.8604
14.9833 | 21.1397 | 11.9602
15 | 21.4022 | 12.0486
15.0167 | 21.6001 | 12.1453
15.0333 | 21.7256 | 12.2398
15.05 | 21.7753 | 12.3199
15.0667 | 21.7495 | 12.3997
15.0833 | 21.6492 | 12.4664
15.1 | 21.4754 | 12.5298
15.1167 | 21.2309 | 12.58
15.1333 | 20.9234 | 12.6241
15.15 | 20.5566 | 12.6469
15.1667 | 20.1345 | 12.6577
15.1833 | 19.6687 | 12.6572
15.2 | 19.1684 | 12.6449
15.2167 | 18.6417 | 12.6238
15.2333 | 18.0929 | 12.5881
15.25 | 17.5301 | 12.5372
15.2667 | 16.9645 | 12.4838
15.2833 | 16.4013 | 12.4093
15.3 | 15.8423 | 12.3463
15.3167 | 15.2906 | 12.2718
15.3333 | 14.7522 | 12.188
15.35 | 14.2298 | 12.0976
15.3667 | 13.7235 | 12.0028
15.3833 | 13.2364 | 11.9163
15.4 | 12.7672 | 11.8264
15.4167 | 12.3136 | 11.7411
15.4333 | 11.8788 | 11.6563
15.45 | 11.4595 | 11.5827
15.4667 | 11.0537 | 11.5054
15.4833 | 10.6653 | 11.4285
15.5 | 10.2912 | 11.3457
15.5167 | 9.9281 | 11.2742
15.5333 | 9.5732 | 11.2096
15.55 | 9.2271 | 11.1507
15.5667 | 8.893 | 11.0836
15.5833 | 8.5693 | 11.0261
15.6 | 8.2522 | 10.9722
15.6167 | 7.9424 | 10.9287
15.6333 | 7.6401 | 10.8721
15.65 | 7.3464 | 10.8285
15.6667 | 7.0623 | 10.7874
15.6833 | 6.7852 | 10.7446
15.7 | 6.5163 | 10.7027
15.7167 | 6.257 | 10.6754
15.7333 | 6.0047 | 10.6495
15.75 | 5.7611 | 10.6167
15.7667 | 5.5256 | 10.584
15.7833 | 5.2998 | 10.5537
15.8 | 5.0852 | 10.5158
15.8167 | 4.8779 | 10.4862
15.8333 | 4.6772 | 10.4722
15.85 | 4.4874 | 10.4517
15.8667 | 4.3074 | 10.4304
15.8833 | 4.133 | 10.4105
15.9 | 3.9661 | 10.3905
15.9167 | 3.8056 | 10.3672
15.9333 | 3.6531 | 10.3446
15.95 | 3.5104 | 10.3248
15.9667 | 3.3743 | 10.3136
15.9833 | 3.2447 | 10.2903
16 | 3.1219 | 10.2749
16.0167 | 3.0059 | 10.2552
16.0333 | 2.8948 | 10.2419
16.05 | 2.7877 | 10.2277
16.0667 | 2.6878 | 10.2134
16.0833 | 2.5938 | 10.1997
16.1 | 2.5036 | 10.1815
16.1167 | 2.4188 | 10.171
16.1333 | 2.3401 | 10.1577
16.15 | 2.2663 | 10.1528
16.1667 | 2.1962 | 10.1466
16.1833 | 2.13 | 10.1322
16.2 | 2.0685 | 10.1241
16.2167 | 2.0116 | 10.1202
16.2333 | 1.9594 | 10.1086
16.25 | 1.9102 | 10.1057
16.2667 | 1.8646 | 10.0948
16.2833 | 1.8233 | 10.0871
16.3 | 1.7851 | 10.0835
16.3167 | 1.7484 | 10.0806
16.3333 | 1.7148 | 10.079
16.35 | 1.6836 | 10.0811
16.3667 | 1.656 | 10.0658
16.3833 | 1.6334 | 10.0617
16.4 | 1.6122 | 10.053
16.4167 | 1.5928 | 10.0568
16.4333 | 1.5755 | 10.0478
16.45 | 1.5595 | 10.0475
16.4667 | 1.5467 | 10.0431
16.4833 | 1.538 | 10.0422
16.5 | 1.5295 | 10.0353
16.5167 | 1.5205 | 10.0344
16.5333 | 1.5143 | 10.0301
16.55 | 1.5109 | 10.0216
16.5667 | 1.5079 | 10.0147
16.5833 | 1.5054 | 10.0146
16.6 | 1.5037 | 10.0079
16.6167 | 1.5033 | 10.0028
16.6333 | 1.5046 | 10.0051
16.65 | 1.5074 | 10.001
16.6667 | 1.5112 | 9.9982
16.6833 | 1.5156 | 9.9923
16.7 | 1.5208 | 9.9953
16.7167 | 1.5274 | 9.9918
16.7333 | 1.5339 | 9.9886
16.75 | 1.5428 | 9.9834
16.7667 | 1.5544 | 9.9895
16.7833 | 1.5667 | 9.9888
16.8 | 1.579 | 9.9853
16.8167 | 1.5909 | 9.9787
16.8333 | 1.6068 | 9.9783
16.85 | 1.6253 | 9.9805
16.8667 | 1.6431 | 9.9854
16.8833 | 1.6629 | 9.9786
16.9 | 1.6837 | 9.987
16.9167 | 1.703 | 9.9856
16.9333 | 1.7245 | 9.9873
16.95 | 1.7506 | 9.9894
16.9667 | 1.7795 | 9.9914
16.9833 | 1.8087 | 9.9848
17 | 1.8399 | 9.9923
17.0167 | 1.8771 | 9.9905
17.0333 | 1.9175 | 9.9938
17.05 | 1.9568 | 9.996
17.0667 | 1.9957 | 9.9934
17.0833 | 2.037 | 9.9941
17.1 | 2.0814 | 9.9926
17.1167 | 2.1273 | 9.9928
17.1333 | 2.1748 | 9.9889
17.15 | 2.226 | 9.9854
17.1667 | 2.2797 | 9.9805
17.1833 | 2.336 | 9.9892
17.2 | 2.3951 | 9.9856
17.2167 | 2.4554 | 9.9961
17.2333 | 2.5174 | 9.9944
17.25 | 2.5816 | 9.9934
17.2667 | 2.6475 | 9.9952
17.2833 | 2.7168 | 10.0051
17.3 | 2.7876 | 10.0053
17.3167 | 2.8581 | 10.0098
17.3333 | 2.9328 | 10.008
17.35 | 3.0115 | 10.012
17.3667 | 3.0885 | 10.0184
17.3833 | 3.1659 | 10.019
17.4 | 3.2469 | 10.0207
17.4167 | 3.3287 | 10.0198
17.4333 | 3.4103 | 10.0144
17.45 | 3.4968 | 10.0141
17.4667 | 3.5886 | 10.0108
17.4833 | 3.6825 | 10.0179
17.5 | 3.7782 | 10.0242
17.5167 | 3.8763 | 10.0175
17.5333 | 3.9785 | 10.0185
17.55 | 4.0832 | 10.0134
17.5667 | 4.1908 | 10.0092
17.5833 | 4.3011 | 10.0155
17.6 | 4.4135 | 10.0193
17.6167 | 4.5288 | 10.0153
17.6333 | 4.6463 | 10.0208
17.65 | 4.7651 | 10.0169
17.6667 | 4.885 | 10.0137
17.6833 | 5.0073 | 10.0163
17.7 | 5.132 | 10.0231
17.7167 | 5.2575 | 10.0246
17.7333 | 5.3835 | 10.0217
17.75 | 5.5107 | 10.0204
17.7667 | 5.6401 | 10.0251
17.7833 | 5.7704 | 10.0173
17.8 | 5.9 | 10.0185
17.8167 | 6.0313 | 10.0205
17.8333 | 6.1653 | 10.0195
17.85 | 6.3012 | 10.0173
17.8667 | 6.4386 | 10.0103
17.8833 | 6.5748 | 10.0056
17.9 | 6.7124 | 10.0161
17.9167 | 6.8538 | 10.0163
17.9333 | 6.9973 | 10.0184
17.95 | 7.1398 | 10.0266
17.9667 | 7.2826 | 10.0204
17.9833 | 7.4327 | 10.0201
18 | 7.5862 | 10.0188
18.0167 | 7.738 | 10.0257
18.0333 | 7.8915 | 10.0376
18.05 | 8.0488 | 10.0414
18.0667 | 8.2069 | 10.0436
18.0833 | 8.3644 | 10.0478
18.1 | 8.5245 | 10.0367
18.1167 | 8.6877 | 10.0391
18.1333 | 8.8537 | 10.0533
18.15 | 9.0225 | 10.0744
18.1667 | 9.192 | 10.0855
18.1833 | 9.3639 | 10.1078
18.2 | 9.5389 | 10.1203
18.2167 | 9.719 | 10.1429
18.2333 | 9.903 | 10.1557
18.25 | 10.0897 | 10.1722
18.2667 | 10.2819 | 10.194
18.2833 | 10.4769 | 10.2135
18.3 | 10.6746 | 10.2271
18.3167 | 10.8786 | 10.2378
18.3333 | 11.0897 | 10.2444
18.35 | 11.3044 | 10.2485
18.3667 | 11.5215 | 10.2514
18.3833 | 11.7399 | 10.2396
18.4 | 11.9566 | 10.236
18.4167 | 12.1697 | 10.2264
18.4333 | 12.3783 | 10.2111
18.45 | 12.5839 | 10.1949
18.4667 | 12.7861 | 10.1882
18.4833 | 12.9801 | 10.1789
18.5 | 13.1662 | 10.174
18.5167 | 13.3498 | 10.1585
18.5333 | 13.5343 | 10.1629
18.55 | 13.721 | 10.1591
18.5667 | 13.9089 | 10.151
18.5833 | 14.104 | 10.1479
18.6 | 14.3098 | 10.1516
18.6167 | 14.5254 | 10.1463
18.6333 | 14.7532 | 10.1421
18.65 | 14.9938 | 10.1426
18.6667 | 15.2454 | 10.1527
18.6833 | 15.5057 | 10.1666
18.7 | 15.7731 | 10.1765
18.7167 | 16.0434 | 10.1975
18.7333 | 16.31 | 10.2265
18.75 | 16.5688 | 10.2605
18.7667 | 16.8137 | 10.303
18.7833 | 17.0406 | 10.3463
18.8 | 17.2492 | 10.3965
18.8167 | 17.4345 | 10.4446
18.8333 | 17.5972 | 10.4836
18.85 | 17.7426 | 10.5248
18.8667 | 17.8699 | 10.5595
18.8833 | 17.9831 | 10.5894
18.9 | 18.0882 | 10.5988
18.9167 | 18.1879 | 10.6023
18.9333 | 18.2868 | 10.5999
18.95 | 18.3872 | 10.5862
18.9667 | 18.4904 | 10.5511
18.9833 | 18.5993 | 10.5305
19 | 18.7115 | 10.4891
19.0167 | 18.8236 | 10.4525
19.0333 | 18.9332 | 10.4198
19.05 | 19.0364 | 10.3884
19.0667 | 19.1309 | 10.3454
19.0833 | 19.2108 | 10.3138
19.1 | 19.2701 | 10.2857
19.1167 | 19.3057 | 10.2567
19.1333 | 19.3083 | 10.2328
19.15 | 19.2698 | 10.2058
19.1667 | 19.187 | 10.1873
19.1833 | 19.0499 | 10.1736
19.2 | 18.8493 | 10.1591
19.2167 | 18.5844 | 10.1392
19.2333 | 18.2581 | 10.1281
19.25 | 17.8719 | 10.1066
19.2667 | 17.4374 | 10.0909
19.2833 | 16.975 | 10.0723
19.3 | 16.5107 | 10.0642
19.3167 | 16.0756 | 10.0472
19.3333 | 15.703 | 10.0387
19.35 | 15.4221 | 10.0472
19.3667 | 15.2611 | 10.0886
19.3833 | 15.2468 | 10.1777
19.4 | 15.3945 | 10.3561
19.4167 | 15.7073 | 10.6341
19.4333 | 16.182 | 11.0632
19.45 | 16.8064 | 11.6689
19.4667 | 17.5576 | 12.5071
19.4833 | 18.4085 | 13.6179
19.5 | 19.3285 | 15.0178
19.5167 | 20.2849 | 16.7213
19.5333 | 21.252 | 18.7054
19.55 | 22.2068 | 20.9238
19.5667 | 23.1259 | 23.2858
19.5833 | 23.9915 | 25.6785
19.6 | 24.7967 | 27.9543
19.6167 | 25.5346 | 29.9792
19.6333 | 26.2015 | 31.6317
19.65 | 26.7982 | 32.7955
19.6667 | 27.3228 | 33.4026
19.6833 | 27.7727 | 33.4217
19.7 | 28.1431 | 32.8902
19.7167 | 28.4269 | 31.8609
19.7333 | 28.6232 | 30.4227
19.75 | 28.7302 | 28.6926
19.7667 | 28.7403 | 26.7822
19.7833 | 28.6612 | 24.8119
19.8 | 28.5066 | 22.8703
19.8167 | 28.2915 | 21.0394
19.8333 | 28.034 | 19.3681
19.85 | 27.7565 | 17.8896
19.8667 | 27.4855 | 16.6012
19.8833 | 27.245 | 15.5067
19.9 | 27.0565 | 14.5753
19.9167 | 26.9377 | 13.8038
19.9333 | 26.8994 | 13.1705
19.95 | 26.9435 | 12.6463
19.9667 | 27.0662 | 12.2152
19.9833 | 27.2584 | 11.8543
20 | 27.5012 | 11.5221
20.0167 | 27.7673 | 11.2673
20.0333 | 28.0294 | 11.0441
20.05 | 28.2589 | 10.8363
20.0667 | 28.4237 | 10.6274
20.0833 | 28.4979 | 10.4087
20.1 | 28.461 | 10.1991
20.1167 | 28.2987 | 9.9287
20.1333 | 28.006 | 9.6133
20.15 | 27.5884 | 9.2402
20.1667 | 27.0558 | 8.8227
20.1833 | 26.424 | 8.3431
20.2 | 25.7121 | 7.8271
20.2167 | 24.9411 | 7.2776
20.2333 | 24.1352 | 6.7242
20.25 | 23.3135 | 6.1877
20.2667 | 22.4924 | 5.703
20.2833 | 21.6964 | 5.293
20.3 | 20.9508 | 4.9848
20.3167 | 20.2797 | 4.8005
20.3333 | 19.715 | 4.744
20.35 | 19.2993 | 4.8179
20.3667 | 19.0877 | 5.0134
20.3833 | 19.1524 | 5.3118
20.4 | 19.5839 | 5.6849
20.4167 | 20.4913 | 6.1184
20.4333 | 21.993 | 6.5842
20.45 | 24.215 | 7.0431
20.4667 | 27.2746 | 7.4931
20.4833 | 31.2668 | 7.9154
20.5 | 36.2526 | 8.298
20.5167 | 42.2361 | 8.6504
20.5333 | 49.1484 | 8.9521
20.55 | 56.8315 | 9.2327
20.5667 | 65.0428 | 9.4804
20.5833 | 73.462 | 9.7004
20.6 | 81.7018 | 9.9009
20.6167 | 89.3436 | 10.0933
20.6333 | 95.9693 | 10.2743
20.65 | 101.2006 | 10.461
20.6667 | 104.7323 | 10.6544
20.6833 | 106.3621 | 10.8517
20.7 | 106.0058 | 11.0395
20.7167 | 103.6939 | 11.2241
20.7333 | 99.5629 | 11.404
20.75 | 93.8224 | 11.5678
20.7667 | 86.7268 | 11.7081
20.7833 | 78.5525 | 11.8233
20.8 | 69.5606 | 11.9056
20.8167 | 59.9743 | 11.9566
20.8333 | 49.977 | 11.9689
20.85 | 39.7133 | 11.9373
20.8667 | 29.297 | 11.8703
20.8833 | 18.8245 | 11.7751
20.9 | 8.3932 | 11.6569
20.9167 | -1.8776 | 11.5127
20.9333 | -11.8415 | 11.3636
20.95 | -21.3224 | 11.2061
20.9667 | -30.118 | 11.0456
20.9833 | -38.0146 | 10.8881
21 | -44.8055 | 10.7397
21.0167 | -50.3124 | 10.6049
21.0333 | -54.4093 | 10.4874
21.05 | -57.0322 | 10.3747
21.0667 | -58.1844 | 10.2802
21.0833 | -57.9432 | 10.1992
21.1 | -56.4487 | 10.138
21.1167 | -53.8894 | 10.0919
21.1333 | -50.4892 | 10.0539
21.15 | -46.4832 | 10.0159
21.1667 | -42.0982 | 9.9833
21.1833 | -37.5431 | 9.9578
21.2 | -32.9952 | 9.9415
21.2167 | -28.598 | 9.9274
21.2333 | -24.4602 | 9.9221
21.25 | -20.6512 | 9.9104
21.2667 | -17.2097 | 9.907
21.2833 | -14.1546 | 9.9232
21.3 | -11.4826 | 9.9212
21.3167 | -9.1746 | 9.923
21.3333 | -7.2047 | 9.9218
21.35 | -5.5435 | 9.9285
21.3667 | -4.1592 | 9.9369
21.3833 | -3.0144 | 9.9508
21.4 | -2.0779 | 9.9612
21.4167 | -1.3228 | 9.9703
21.4333 | -0.72102 | 9.9737
21.45 | -0.24615 | 9.9714
21.4667 | 0.12467 | 9.9722
21.4833 | 0.40984 | 9.9743
21.5 | 0.62335 | 9.9714
21.5167 | 0.77613 | 9.9644
21.5333 | 0.88459 | 9.9604
21.55 | 0.96128 | 9.958
21.5667 | 1.0086 | 9.9441
21.5833 | 1.0315 | 9.9384
21.6 | 1.0379 | 9.9226
21.6167 | 1.0317 | 9.9027
21.6333 | 1.0166 | 9.8623
21.65 | 0.995 | 9.817
21.6667 | 0.96909 | 9.7619
21.6833 | 0.94257 | 9.6874
21.7 | 0.91599 | 9.5956
21.7167 | 0.88914 | 9.4639
21.7333 | 0.85988 | 9.3151
21.75 | 0.82839 | 9.1254
21.7667 | 0.79773 | 8.8963
21.7833 | 0.77002 | 8.6274
21.8 | 0.74433 | 8.3305
21.8167 | 0.71669 | 7.9913
21.8333 | 0.6889 | 7.6148
21.85 | 0.66496 | 7.2053
21.8667 | 0.64405 | 6.7779
21.8833 | 0.62221 | 6.3409
21.9 | 0.60166 | 5.9167
21.9167 | 0.58427 | 5.5094
21.9333 | 0.56466 | 5.1379
21.95 | 0.54468 | 4.8186
21.9667 | 0.52756 | 4.5617
21.9833 | 0.51164 | 4.3671
22 | 0.49524 | 4.267
22.0167 | 0.47974 | 4.2522
22.0333 | 0.46743 | 4.3122
22.05 | 0.45471 | 4.4526
22.0667 | 0.44088 | 4.6702
22.0833 | 0.42853 | 4.9577
22.1 | 0.41836 | 5.2938
22.1167 | 0.40834 | 5.6597
22.1333 | 0.39944 | 6.045
22.15 | 0.39293 | 6.4483
22.1667 | 0.38936 | 6.8499
22.1833 | 0.38937 | 7.2392
22.2 | 0.39247 | 7.6037
22.2167 | 0.40059 | 7.9418
22.2333 | 0.41839 | 8.2561
22.25 | 0.44868 | 8.5102
22.2667 | 0.4947 | 8.7441
22.2833 | 0.56329 | 8.9538
22.3 | 0.65798 | 9.1308
22.3167 | 0.78483 | 9.2857
22.3333 | 0.95734 | 9.4128
22.35 | 1.1863 | 9.5277
22.3667 | 1.4809 | 9.6104
22.3833 | 1.8531 | 9.6688
22.4 | 2.3158 | 9.7065
22.4167 | 2.8779 | 9.7347
22.4333 | 3.5485 | 9.7526
22.45 | 4.3362 | 9.7645
22.4667 | 5.2402 | 9.7427
22.4833 | 6.2572 | 9.7205
22.5 | 7.3797 | 9.6786
22.5167 | 8.5934 | 9.6256
22.5333 | 9.8773 | 9.5551
22.55 | 11.2017 | 9.4778
22.5667 | 12.5298 | 9.3842
22.5833 | 13.8274 | 9.2681
22.6 | 15.054 | 9.1384
22.6167 | 16.1672 | 9.0038
22.6333 | 17.1293 | 8.8573
22.65 | 17.9054 | 8.7087
22.6667 | 18.4691 | 8.5586
22.6833 | 18.801 | 8.3981
22.7 | 18.8899 | 8.2574
22.7167 | 18.7308 | 8.1283
22.7333 | 18.3353 | 8.0111
22.75 | 17.7229 | 7.9101
22.7667 | 16.9178 | 7.8368
22.7833 | 15.9522 | 7.795
22.8 | 14.8609 | 7.7895
22.8167 | 13.6816 | 7.8033
22.8333 | 12.4532 | 7.8486
22.85 | 11.2091 | 7.9127
22.8667 | 9.9812 | 8.0129
22.8833 | 8.7976 | 8.1199
22.9 | 7.6784 | 8.25
22.9167 | 6.6393 | 8.384
22.9333 | 5.69 | 8.5279
22.95 | 4.8373 | 8.6901
22.9667 | 4.0843 | 8.8277
22.9833 | 3.4284 | 8.9738
23 | 2.8646 | 9.1073
23.0167 | 2.3846 | 9.2309
23.0333 | 1.9787 | 9.3377
23.05 | 1.6415 | 9.4404
23.0667 | 1.3648 | 9.5271
23.0833 | 1.1376 | 9.6159
23.1 | 0.95412 | 9.6871
23.1167 | 0.80658 | 9.7535
23.1333 | 0.68622 | 9.7981
23.15 | 0.58949 | 9.8309
23.1667 | 0.51268 | 9.8594
23.1833 | 0.45145 | 9.8844
23.2 | 0.40399 | 9.9064
23.2167 | 0.36579 | 9.9253
23.2333 | 0.33383 | 9.9386
23.25 | 0.30723 | 9.9554
23.2667 | 0.28623 | 9.9593
23.2833 | 0.26955 | 9.9632
23.3 | 0.2557 | 9.9627
23.3167 | 0.24276 | 9.9691
23.3333 | 0.23027 | 9.9689
23.35 | 0.21964 | 9.9589
23.3667 | 0.21105 | 9.9688
23.3833 | 0.20494 | 9.9844
23.4 | 0.19891 | 9.9821
23.4167 | 0.1935 | 9.9848
23.4333 | 0.18743 | 9.9879
23.45 | 0.17897 | 9.9909
23.4667 | 0.17333 | 9.9906
23.4833 | 0.17096 | 9.9961
23.5 | 0.16764 | 9.9973
23.5167 | 0.16146 | 10.0016
23.5333 | 0.15524 | 10.0021
23.55 | 0.15176 | 9.9984
23.5667 | 0.14735 | 10.0053
23.5833 | 0.14122 | 9.9989
23.6 | 0.13733 | 10.0043
23.6167 | 0.13421 | 10.0109
23.6333 | 0.12881 | 10.0146
23.65 | 0.12392 | 10.0092
23.6667 | 0.12236 | 10.0077
23.6833 | 0.12138 | 9.9999
23.7 | 0.11799 | 9.9972
23.7167 | 0.11281 | 9.9973
23.7333 | 0.10987 | 10.0013
23.75 | 0.10753 | 9.9986
23.7667 | 0.10387 | 9.9953
23.7833 | 0.09995 | 9.992
23.8 | 0.097179 | 9.9972
23.8167 | 0.095951 | 10.0013
23.8333 | 0.094861 | 10.003
23.85 | 0.092635 | 10.0048
23.8667 | 0.089828 | 10.0019
23.8833 | 0.087165 | 9.9969
23.9 | 0.085869 | 9.9946
23.9167 | 0.083744 | 9.9953
23.9333 | 0.079784 | 9.9937
23.95 | 0.076186 | 10.0027
23.9667 | 0.074908 | 9.9976
23.9833 | 0.074066 | 9.9981
24 | 0.072567 | 9.9918
24.0167 | 0.070593 | 9.9958
24.0333 | 0.068197 | 10.0036
24.05 | 0.065211 | 10.004
24.0667 | 0.06278 | 10.0033
24.0833 | 0.060329 | 10.0124
24.1 | 0.057907 | 10.0001
24.1167 | 0.056671 | 9.9972
24.1333 | 0.056395 | 9.9964
24.15 | 0.0573 | 9.995
24.1667 | 0.057572 | 9.9935
24.1833 | 0.057025 | 9.9992
24.2 | 0.055694 | 9.9909
24.2167 | 0.052928 | 9.9894
24.2333 | 0.051142 | 9.9921
24.25 | 0.05192 | 9.9984
24.2667 | 0.049509 | 10.0011
24.2833 | 0.045301 | 10.0036
24.3 | 0.043673 | 10.0033
24.3167 | 0.04309 | 10.0056
24.3333 | 0.042963 | 9.9969
24.35 | 0.0412 | 9.9937
24.3667 | 0.038581 | 9.9934
24.3833 | 0.035761 | 9.9947
24.4 | 0.033481 | 9.9984
24.4167 | 0.033499 | 10.005
24.4333 | 0.032701 | 10.0088
24.45 | 0.031692 | 9.9979
24.4667 | 0.029992 | 10.005
24.4833 | 0.027884 | 10.008
24.5 | 0.029062 | 10.0051
24.5167 | 0.028728 | 10.0011
24.5333 | 0.023921 | 10.0138
24.55 | 0.020668 | 10.0123
24.5667 | 0.021807 | 10.0158
24.5833 | 0.024475 | 10.0166
24.6 | 0.024707 | 10.0164
24.6167 | 0.021929 | 10.0214
24.6333 | 0.017989 | 10.0239
24.65 | 0.015913 | 10.022
24.6667 | 0.016514 | 10.0233
24.6833 | 0.01627 | 10.0182
24.7 | 0.017076 | 10.0068
24.7167 | 0.017938 | 10.0024
24.7333 | 0.017147 | 10.0069
24.75 | 0.015762 | 10.005
24.7667 | 0.013673 | 10.0019
24.7833 | 0.01257 | 10.0031
24.8 | 0.012268 | 10.0034
24.8167 | 0.011172 | 10.0031
24.8333 | 0.0092077 | 10.0031
24.85 | 0.0090292 | 9.9999
24.8667 | 0.011362 | 9.9975
24.8833 | 0.011037 | 10.0016
24.9 | 0.0075604 | 9.9938
24.9167 | 0.0044809 | 10.0015
24.9333 | 0.0027279 | 10.0076
24.95 | 0.0029903 | 10.012
24.9667 | 0.0032125 | 10.0053
24.9833 | 0.0028493 | 10.013
25 | 0.0021254 | 10.0101
25.0167 | 0.00062122 | 10.0202
25.0333 | -0.0011629 | 10.0181
25.05 | -0.0023941 | 10.0227
25.0667 | -0.0020024 | 10.017
25.0833 | -0.00088194 | 10.0172
25.1 | -0.0013977 | 10.0146
25.1167 | -0.0030093 | 10.0129
25.1333 | -0.004559 | 10.0141
25.15 | -0.0058615 | 10.0126
25.1667 | -0.0061249 | 10.0166
25.1833 | -0.0049901 | 10.015
25.2 | -0.0053332 | 10.0204
25.2167 | -0.007058 | 10.0169
25.2333 | -0.0075656 | 10.0127
25.25 | -0.0072084 | 10.0164
25.2667 | -0.0074005 | 10.014
25.2833 | -0.0075648 | 10.0051
25.3 | -0.0068354 | 10.0082
25.3167 | -0.0060198 | 10.013
25.3333 | -0.0070115 | 10.0166
25.35 | -0.00897 | 10.0153
25.3667 | -0.010085 | 10.0195
25.3833 | -0.010743 | 10.0149
25.4 | -0.012068 | 10.0199
25.4167 | -0.01306 | 10.0161
25.4333 | -0.013483 | 10.0207
25.45 | -0.013953 | 10.0199
25.4667 | -0.014129 | 10.0234
25.4833 | -0.014239 | 10.0243
25.5 | -0.01358 | 10.0242
25.5167 | -0.014098 | 10.0207
25.5333 | -0.015815 | 10.0301
25.55 | -0.016096 | 10.0253
25.5667 | -0.016959 | 10.0254
25.5833 | -0.018558 | 10.0259
25.6 | -0.018403 | 10.0216
25.6167 | -0.018564 | 10.0202
25.6333 | -0.020225 | 10.0126
25.65 | -0.020134 | 10.0129
25.6667 | -0.020037 | 10.0118
25.6833 | -0.021994 | 10.0169
25.7 | -0.02557 | 10.014
25.7167 | -0.027121 | 10.0166
25.7333 | -0.02552 | 10.0161
25.75 | -0.022855 | 10.0175
25.7667 | -0.023289 | 10.0166
25.7833 | -0.025596 | 10.0147
25.8 | -0.025 | 10.0065
25.8167 | -0.023969 | 10.0036
25.8333 | -0.026038 | 10.0013
25.85 | -0.027969 | 10.003
25.8667 | -0.027326 | 10.0016
25.8833 | -0.026354 | 10.0004
25.9 | -0.028791 | 9.996
25.9167 | -0.03113 | 10.0005
25.9333 | -0.031415 | 10.0013
25.95 | -0.031283 | 9.9972
25.9667 | -0.030746 | 9.9928
25.9833 | -0.031257 | 9.9923
26 | -0.033553 | 9.9996
26.0167 | -0.03504 | 9.9976
26.0333 | -0.033148 | 9.9993
26.05 | -0.031838 | 9.9911
26.0667 | -0.033534 | 9.9995
26.0833 | -0.034449 | 9.9924
26.1 | -0.033598 | 9.995
26.1167 | -0.032771 | 9.986
26.1333 | -0.032553 | 9.9856
26.15 | -0.033523 | 9.988
26.1667 | -0.034957 | 9.983
26.1833 | -0.036384 | 9.9792
26.2 | -0.037142 | 9.9844
26.2167 | -0.037688 | 9.9825
26.2333 | -0.039561 | 9.9912
26.25 | -0.041326 | 9.9891
26.2667 | -0.041227 | 9.9928
26.2833 | -0.040048 | 9.9914
26.3 | -0.04098 | 9.9992
26.3167 | -0.041525 | 9.9995
26.3333 | -0.040035 | 9.9976
26.35 | -0.040252 | 9.9969
26.3667 | -0.040585 | 9.9946
26.3833 | -0.040476 | 9.9978
26.4 | -0.041383 | 9.9912
26.4167 | -0.04202 | 9.9964
26.4333 | -0.042157 | 9.9993
26.45 | -0.044711 | 9.9976
26.4667 | -0.04752 | 9.9975
26.4833 | -0.04639 | 10.0011
26.5 | -0.045322 | 10.003
26.5167 | -0.047919 | 10.0074
26.5333 | -0.049166 | 10.0011
26.55 | -0.048632 | 10.0048
26.5667 | -0.049684 | 9.9911
26.5833 | -0.051902 | 9.9862
26.6 | -0.053783 | 9.985
26.6167 | -0.053438 | 9.987
26.6333 | -0.051344 | 9.9899
26.65 | -0.050366 | 9.9905
26.6667 | -0.051109 | 9.9892
26.6833 | -0.052415 | 9.9914
26.7 | -0.053795 | 9.9912
26.7167 | -0.055886 | 9.9982
26.7333 | -0.056866 | 9.9963
26.75 | -0.056494 | 9.9999
26.7667 | -0.056088 | 9.9973
26.7833 | -0.056583 | 9.9943
26.8 | -0.05716 | 9.9995
26.8167 | -0.056673 | 10.0027
26.8333 | -0.056141 | 10.0053
26.85 | -0.056044 | 10.0059
26.8667 | -0.057997 | 10.0063
26.8833 | -0.060646 | 10.0079
26.9 | -0.061459 | 10.0132
26.9167 | -0.062002 | 10.0069
26.9333 | -0.061918 | 10.0069
26.95 | -0.061824 | 10.0108
26.9667 | -0.062835 | 10.0126
26.9833 | -0.062399 | 10.005
27 | -0.063409 | 10.0071
27.0167 | -0.065638 | 10.0088
27.0333 | -0.06507 | 10.0137
27.05 | -0.0651 | 10.0076
27.0667 | -0.066616 | 10.0141
27.0833 | -0.069062 | 10.0054
27.1 | -0.069791 | 10.0121
27.1167 | -0.069556 | 10.013
27.1333 | -0.069065 | 10.01
27.15 | -0.068239 | 10.0108
27.1667 | -0.068377 | 10.0089
27.1833 | -0.06922 | 10.0042
27.2 | -0.070543 | 10.0059
27.2167 | -0.071892 | 10.0141
27.2333 | -0.070767 | 10.01
27.25 | -0.06926 | 10.0123
27.2667 | -0.071102 | 10.0129
27.2833 | -0.073639 | 10.0094
27.3 | -0.073588 | 10.0068
27.3167 | -0.07216 | 10.0158
27.3333 | -0.071411 | 10.0138
27.35 | -0.072763 | 10.0188
27.3667 | -0.07501 | 10.0121
27.3833 | -0.075143 | 10.0163
27.4 | -0.073526 | 10.0164
27.4167 | -0.073954 | 10.0219
27.4333 | -0.076815 | 10.0121
27.45 | -0.077281 | 10.0071
27.4667 | -0.075433 | 9.9982
27.4833 | -0.074927 | 9.9984
27.5 | -0.074853 | 10.0051
27.5167 | -0.074444 | 10.0019
27.5333 | -0.074762 | 10.003
27.55 | -0.076459 | 10.0089
27.5667 | -0.079268 | 10.0042
27.5833 | -0.08126 | 10.0109
27.6 | -0.081168 | 10.0105
27.6167 | -0.080082 | 10.0092
27.6333 | -0.079024 | 10.0111
27.65 | -0.078919 | 10.0111
27.6667 | -0.078604 | 9.9972
27.6833 | -0.078582 | 9.9883
27.7 | -0.081126 | 9.9897
27.7167 | -0.083287 | 9.9847
27.7333 | -0.083316 | 9.9857
27.75 | -0.082785 | 9.995
27.7667 | -0.083109 | 9.9984
27.7833 | -0.08405 | 9.997
27.8 | -0.084353 | 10.0021
27.8167 | -0.086543 | 10.0031
27.8333 | -0.088334 | 9.9912
27.85 | -0.086989 | 9.9935
27.8667 | -0.086261 | 9.9949
27.8833 | -0.087772 | 9.9917
27.9 | -0.08881 | 9.9955
27.9167 | -0.088076 | 9.9921
27.9333 | -0.08744 | 9.9989
27.95 | -0.088306 | 9.9996
27.9667 | -0.089969 | 10.0047
27.9833 | -0.090352 | 10.0008
28 | -0.089447 | 10.0076
28.0167 | -0.088569 | 10.0126
28.0333 | -0.089873 | 10.0074
28.05 | -0.091866 | 10.0007
28.0667 | -0.09117 | 9.9978
28.0833 | -0.091218 | 9.9953
28.1 | -0.092951 | 9.9943
28.1167 | -0.093882 | 10.0053
28.1333 | -0.093637 | 10.0105
28.15 | -0.094323 | 10.0161
28.1667 | -0.095927 | 10.0101
28.1833 | -0.096505 | 10.0159
28.2 | -0.097045 | 10.0063
28.2167 | -0.096907 | 10.0063
28.2333 | -0.096318 | 10.0037
28.25 | -0.096757 | 10.004
28.2667 | -0.097459 | 10.0101
28.2833 | -0.09795 | 10.0155
28.3 | -0.099764 | 10.0143
28.3167 | -0.10146 | 10.0231
28.3333 | -0.10168 | 10.0179
28.35 | -0.10188 | 10.0275
28.3667 | -0.10296 | 10.0216
28.3833 | -0.10366 | 10.0243
28.4 | -0.10377 | 10.0265
28.4167 | -0.10322 | 10.0259
28.4333 | -0.10178 | 10.0329
28.45 | -0.10171 | 10.0268
28.4667 | -0.10289 | 10.0311
28.4833 | -0.10238 | 10.0329
28.5 | -0.10181 | 10.0289
28.5167 | -0.10211 | 10.0182
28.5333 | -0.1016 | 10.0192
28.55 | -0.10049 | 10.0135
28.5667 | -0.10099 | 10.0166
28.5833 | -0.10304 | 10.0169
28.6 | -0.10493 | 10.0187
28.6167 | -0.10532 | 10.0115
28.6333 | -0.10495 | 10.0124
28.65 | -0.10412 | 10.0132
28.6667 | -0.10476 | 10.0187
28.6833 | -0.10622 | 10.0286
28.7 | -0.10498 | 10.0323
28.7167 | -0.10365 | 10.028
28.7333 | -0.10451 | 10.026
28.75 | -0.10502 | 10.0143
28.7667 | -0.10442 | 10.0089
28.7833 | -0.10444 | 10.0109
28.8 | -0.10516 | 10.0141
28.8167 | -0.1052 | 10.0182
28.8333 | -0.10496 | 10.0318
28.85 | -0.10399 | 10.0321
28.8667 | -0.10398 | 10.0289
28.8833 | -0.10583 | 10.0315
28.9 | -0.10615 | 10.0265
28.9167 | -0.10586 | 10.0266
28.9333 | -0.10511 | 10.0217
28.95 | -0.1037 | 10.0155
28.9667 | -0.10519 | 10.0137
28.9833 | -0.10773 | 10.0205
29 | -0.10706 | 10.0236
29.0167 | -0.10444 | 10.0275
29.0333 | -0.10317 | 10.0166
29.05 | -0.10417 | 10.0153
29.0667 | -0.10655 | 10.0185
29.0833 | -0.10735 | 10.023
29.1 | -0.10772 | 10.0192
29.1167 | -0.1094 | 10.0271
29.1333 | -0.10966 | 10.0263
29.15 | -0.10872 | 10.0251
29.1667 | -0.10922 | 10.0198
29.1833 | -0.11071 | 10.0153
29.2 | -0.11084 | 10.0108
29.2167 | -0.10756 | 10.0085
29.2333 | -0.10434 | 10.0077
29.25 | -0.10537 | 10.001
29.2667 | -0.10836 | 10.0037
29.2833 | -0.11121 | 10.0042
29.3 | -0.11315 | 10.0089
29.3167 | -0.11348 | 10.0042
29.3333 | -0.11324 | 10.0037
29.35 | -0.11282 | 10.0069
29.3667 | -0.11203 | 10.0127
29.3833 | -0.11018 | 10.014
29.4 | -0.10938 | 10.015
29.4167 | -0.10974 | 10.0208
29.4333 | -0.11096 | 10.0297
29.45 | -0.11218 | 10.0265
29.4667 | -0.11212 | 10.0265
29.4833 | -0.11298 | 10.0222
29.5 | -0.11477 | 10.0262
29.5167 | -0.11663 | 10.0277
29.5333 | -0.11827 | 10.0315
29.55 | -0.11793 | 10.0263
29.5667 | -0.11651 | 10.0318
29.5833 | -0.11679 | 10.0314
29.6 | -0.11717 | 10.0278
29.6167 | -0.11641 | 10.0233
29.6333 | -0.11874 | 10.021
29.65 | -0.12015 | 10.0266
29.6667 | -0.11903 | 10.0282
29.6833 | -0.12049 | 10.0272
29.7 | -0.12099 | 10.0268
29.7167 | -0.12027 | 10.0286
29.7333 | -0.12004 | 10.0278
29.75 | -0.11961 | 10.0306
29.7667 | -0.1194 | 10.0327
29.7833 | -0.1198 | 10.0237
29.8 | -0.1187 | 10.0233
29.8167 | -0.11797 | 10.022
29.8333 | -0.11824 | 10.0217
29.85 | -0.11668 | 10.0239
29.8667 | -0.11734 | 10.0216
29.8833 | -0.12015 | 10.0239
29.9 | -0.12148 | 10.0274
29.9167 | -0.12037 | 10.0259
29.9333 | -0.1189 | 10.0234
29.95 | -0.11837 | 10.026
29.9667 | -0.11821 | 10.0164
29.9833 | -0.1193 | 10.0204
30 | -0.1209 | 10.0109
30.0167 | -0.12124

## MW Results
Administrative Information
File name | ICF_25_05_2022-0014.sample
Analysed by | Agilent GPC 1
Date of analysis | 26 May 2022 11:53:49
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 35938 | 31647 | 38715 | 46553 | 55083 | 37621 | 1.2233
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 9.9833 | 12.5833
Baseline region 2 | 25.0667 | 29.25
Peaks | Start (mins) | End (mins)
Peak 1 | 14.15 | 16.4333
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 15.05 | 1172.1045 | 20.4132
| RI | 15.1667 | 122.2477 | 2.6268
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.25 | 20.1667
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 26 May 2022 11:53:49
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6833
FRCF | 0.99238
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.15 | 1.7083 | 0.0086272 | 0.010397 | 7.0563e-05 | 1 | 133525 | 5.1256 | 0.0088683 | No | 1
14.1667 | 1.8264 | 0.012167 | 0.011114 | 9.9517e-05 | 0.99991 | 130610 | 5.116 | 0.0094882 | No | 1
14.1833 | 1.9565 | 0.010061 | 0.016562 | 8.2294e-05 | 0.99982 | 127761 | 5.1064 | 0.014151 | No | 1
14.2 | 2.1011 | 0.023062 | 0.027044 | 0.00018863 | 0.99969 | 124976 | 5.0968 | 0.023128 | No | 1
14.2167 | 2.2643 | 0.031027 | 0.033865 | 0.00025377 | 0.99947 | 122255 | 5.0873 | 0.028986 | No | 1
14.2333 | 2.4493 | 0.036703 | 0.03565 | 0.0003002 | 0.99919 | 119595 | 5.0777 | 0.030541 | No | 1
14.25 | 2.6602 | 0.034597 | 0.036062 | 0.00028298 | 0.9989 | 116995 | 5.0682 | 0.03092 | No | 1
14.2667 | 2.9012 | 0.037527 | 0.03655 | 0.00030694 | 0.9986 | 114455 | 5.0586 | 0.031366 | No | 1
14.2833 | 3.1751 | 0.035574 | 0.040929 | 0.00029096 | 0.9983 | 111971 | 5.0491 | 0.035155 | No | 1
14.3 | 3.4821 | 0.046285 | 0.053472 | 0.00037858 | 0.99797 | 109543 | 5.0396 | 0.045968 | No | 1
14.3167 | 3.824 | 0.060659 | 0.067922 | 0.00049614 | 0.99753 | 107170 | 5.0301 | 0.05844 | No | 1
14.3333 | 4.202 | 0.075185 | 0.082982 | 0.00061495 | 0.99698 | 104850 | 5.0206 | 0.07146 | No | 1
14.35 | 4.6157 | 0.09078 | 0.1046 | 0.0007425 | 0.9963 | 102583 | 5.0111 | 0.090157 | No | 1
14.3667 | 5.0632 | 0.11843 | 0.12958 | 0.00096865 | 0.99544 | 100366 | 5.0016 | 0.11178 | No | 1
14.3833 | 5.5456 | 0.14074 | 0.15189 | 0.0011511 | 0.99438 | 98200 | 4.9921 | 0.13114 | No | 1
14.4 | 6.0591 | 0.16305 | 0.17702 | 0.0013336 | 0.99314 | 96081 | 4.9826 | 0.15297 | No | 1
14.4167 | 6.5925 | 0.191 | 0.20696 | 0.0015622 | 0.99169 | 94011 | 4.9732 | 0.17899 | No | 1
14.4333 | 7.1411 | 0.22292 | 0.23774 | 0.0018233 | 0.99 | 91986 | 4.9637 | 0.20579 | No | 1
14.45 | 7.6986 | 0.25255 | 0.26912 | 0.0020657 | 0.98805 | 90007 | 4.9543 | 0.23316 | No | 1
14.4667 | 8.2531 | 0.28569 | 0.30776 | 0.0023368 | 0.98585 | 88072 | 4.9448 | 0.26686 | No | 1
14.4833 | 8.7955 | 0.32982 | 0.35357 | 0.0026977 | 0.98334 | 86180 | 4.9354 | 0.30684 | No | 1
14.5 | 9.3203 | 0.37731 | 0.39914 | 0.0030861 | 0.98044 | 84331 | 4.926 | 0.34669 | No | 1
14.5167 | 9.8205 | 0.42098 | 0.44358 | 0.0034433 | 0.97718 | 82523 | 4.9166 | 0.38561 | No | 1
14.5333 | 10.2902 | 0.46618 | 0.4916 | 0.0038129 | 0.97355 | 80755 | 4.9072 | 0.42772 | No | 1
14.55 | 10.7266 | 0.51702 | 0.53954 | 0.0042288 | 0.96953 | 79026 | 4.8978 | 0.46983 | No | 1
14.5667 | 11.1254 | 0.56206 | 0.58687 | 0.0045972 | 0.96511 | 77336 | 4.8884 | 0.51149 | No | 1
14.5833 | 11.4851 | 0.61168 | 0.63909 | 0.0050031 | 0.96031 | 75683 | 4.879 | 0.55747 | No | 1
14.6 | 11.8084 | 0.66649 | 0.69168 | 0.0054514 | 0.95509 | 74067 | 4.8696 | 0.60386 | No | 1
14.6167 | 12.1005 | 0.71688 | 0.7378 | 0.0058635 | 0.94943 | 72487 | 4.8603 | 0.64467 | No | 1
14.6333 | 12.364 | 0.75872 | 0.77979 | 0.0062057 | 0.94339 | 70942 | 4.8509 | 0.68194 | No | 1
14.65 | 12.6048 | 0.80086 | 0.82087 | 0.0065504 | 0.93701 | 69431 | 4.8416 | 0.71847 | No | 1
14.6667 | 12.8322 | 0.84087 | 0.86003 | 0.0068776 | 0.9303 | 67953 | 4.8322 | 0.75339 | No | 1
14.6833 | 13.0542 | 0.8792 | 0.89676 | 0.0071911 | 0.92326 | 66508 | 4.8229 | 0.78622 | No | 1
14.7 | 13.2808 | 0.91433 | 0.93029 | 0.0074784 | 0.91593 | 65095 | 4.8135 | 0.8163 | No | 1
14.7167 | 13.5193 | 0.94625 | 0.95557 | 0.0077395 | 0.90832 | 63713 | 4.8042 | 0.8392 | No | 1
14.7333 | 13.7738 | 0.96489 | 0.98253 | 0.007892 | 0.9005 | 62362 | 4.7949 | 0.8636 | No | 1
14.75 | 14.0501 | 1.0002 | 1.0178 | 0.0081806 | 0.89246 | 61040 | 4.7856 | 0.89536 | No | 1
14.7667 | 14.3568 | 1.0354 | 1.0545 | 0.0084691 | 0.88414 | 59748 | 4.7763 | 0.92845 | No | 1
14.7833 | 14.6955 | 1.0736 | 1.0899 | 0.0087814 | 0.87551 | 58484 | 4.767 | 0.96039 | No | 1
14.8 | 15.0645 | 1.1062 | 1.1264 | 0.0090475 | 0.8666 | 57247 | 4.7578 | 0.99338 | No | 1
14.8167 | 15.4632 | 1.1466 | 1.1715 | 0.0093785 | 0.85738 | 56038 | 4.7485 | 1.034 | No | 1
14.8333 | 15.8915 | 1.1964 | 1.2196 | 0.0097856 | 0.8478 | 54855 | 4.7392 | 1.0774 | No | 1
14.85 | 16.3443 | 1.2428 | 1.2758 | 0.010165 | 0.83782 | 53699 | 4.73 | 1.128 | No | 1
14.8667 | 16.8123 | 1.3088 | 1.3469 | 0.010705 | 0.82739 | 52567 | 4.7207 | 1.1918 | No | 1
14.8833 | 17.287 | 1.3849 | 1.425 | 0.011328 | 0.81637 | 51461 | 4.7115 | 1.262 | No | 1
14.9 | 17.7604 | 1.4651 | 1.5078 | 0.011983 | 0.80471 | 50378 | 4.7022 | 1.3364 | No | 1
14.9167 | 18.2237 | 1.5506 | 1.5964 | 0.012682 | 0.79238 | 49319 | 4.693 | 1.4162 | No | 1
14.9333 | 18.6673 | 1.6423 | 1.687 | 0.013433 | 0.77932 | 48284 | 4.6838 | 1.4978 | No | 1
14.95 | 19.0803 | 1.7317 | 1.7804 | 0.014164 | 0.76552 | 47270 | 4.6746 | 1.582 | No | 1
14.9667 | 19.4501 | 1.8291 | 1.879 | 0.014961 | 0.75096 | 46279 | 4.6654 | 1.671 | No | 1
14.9833 | 19.7698 | 1.9289 | 1.9731 | 0.015777 | 0.73559 | 45310 | 4.6562 | 1.7561 | No | 1
15 | 20.0342 | 2.0173 | 2.0657 | 0.0165 | 0.71945 | 44361 | 4.647 | 1.8401 | No | 1
15.0167 | 20.2341 | 2.1141 | 2.1613 | 0.017292 | 0.70255 | 43434 | 4.6378 | 1.9268 | No | 1
15.0333 | 20.3615 | 2.2086 | 2.2486 | 0.018064 | 0.68487 | 42526 | 4.6287 | 2.0063 | No | 1
15.05 | 20.4132 | 2.2887 | 2.3286 | 0.01872 | 0.66647 | 41638 | 4.6195 | 2.0794 | No | 1
15.0667 | 20.3894 | 2.3685 | 2.4019 | 0.019373 | 0.64742 | 40769 | 4.6103 | 2.1466 | No | 1
15.0833 | 20.291 | 2.4353 | 2.467 | 0.019918 | 0.62778 | 39919 | 4.6012 | 2.2066 | No | 1
15.1 | 20.1191 | 2.4988 | 2.5239 | 0.020438 | 0.6076 | 39088 | 4.592 | 2.2593 | No | 1
15.1167 | 19.8766 | 2.549 | 2.5711 | 0.020849 | 0.58695 | 38274 | 4.5829 | 2.3034 | No | 1
15.1333 | 19.5711 | 2.5931 | 2.6045 | 0.02121 | 0.56592 | 37478 | 4.5738 | 2.3353 | No | 1
15.15 | 19.2062 | 2.6159 | 2.6213 | 0.021396 | 0.54461 | 36700 | 4.5647 | 2.3523 | No | 1
15.1667 | 18.7861 | 2.6268 | 2.6265 | 0.021485 | 0.52317 | 35938 | 4.5556 | 2.3589 | No | 1
15.1833 | 18.3222 | 2.6263 | 2.6202 | 0.021481 | 0.50169 | 35192 | 4.5464 | 2.3551 | No | 1
15.2 | 17.8239 | 2.614 | 2.6035 | 0.02138 | 0.48025 | 34463 | 4.5374 | 2.342 | No | 1
15.2167 | 17.2992 | 2.593 | 2.5751 | 0.021208 | 0.45896 | 33749 | 4.5283 | 2.3184 | No | 1
15.2333 | 16.7524 | 2.5573 | 2.5318 | 0.020917 | 0.43789 | 33050 | 4.5192 | 2.2813 | No | 1
15.25 | 16.1916 | 2.5064 | 2.4797 | 0.0205 | 0.41718 | 32367 | 4.5101 | 2.2361 | No | 1
15.2667 | 15.6279 | 2.453 | 2.4158 | 0.020063 | 0.3969 | 31698 | 4.501 | 2.1802 | No | 1
15.2833 | 15.0667 | 2.3786 | 2.3471 | 0.019455 | 0.37714 | 31044 | 4.492 | 2.1199 | No | 1
15.3 | 14.5096 | 2.3156 | 2.2784 | 0.018939 | 0.35794 | 30403 | 4.4829 | 2.0595 | No | 1
15.3167 | 13.9599 | 2.2411 | 2.1993 | 0.018331 | 0.3393 | 29777 | 4.4739 | 1.9896 | No | 1
15.3333 | 13.4234 | 2.1574 | 2.1122 | 0.017646 | 0.32131 | 29163 | 4.4648 | 1.9124 | No | 1
15.35 | 12.903 | 2.0669 | 2.0196 | 0.016906 | 0.30403 | 28563 | 4.4558 | 1.83 | No | 1
15.3667 | 12.3987 | 1.9722 | 1.929 | 0.016131 | 0.28751 | 27976 | 4.4468 | 1.7493 | No | 1
15.3833 | 11.9135 | 1.8857 | 1.8408 | 0.015424 | 0.27173 | 27401 | 4.4378 | 1.6707 | No | 1
15.4 | 11.4463 | 1.7959 | 1.7533 | 0.014689 | 0.25667 | 26838 | 4.4288 | 1.5925 | No | 1
15.4167 | 10.9946 | 1.7106 | 1.6682 | 0.013991 | 0.24233 | 26288 | 4.4198 | 1.5165 | No | 1
15.4333 | 10.5618 | 1.6258 | 1.5891 | 0.013298 | 0.22869 | 25749 | 4.4108 | 1.4457 | No | 1
15.45 | 10.1444 | 1.5523 | 1.5136 | 0.012696 | 0.21569 | 25221 | 4.4018 | 1.3782 | No | 1
15.4667 | 9.7407 | 1.475 | 1.4365 | 0.012064 | 0.2033 | 24705 | 4.3928 | 1.309 | No | 1
15.4833 | 9.3542 | 1.3981 | 1.3568 | 0.011435 | 0.19155 | 24200 | 4.3838 | 1.2373 | No | 1
15.5 | 8.9821 | 1.3154 | 1.2796 | 0.010759 | 0.18046 | 23706 | 4.3749 | 1.1679 | No | 1
15.5167 | 8.6209 | 1.2439 | 1.2116 | 0.010174 | 0.16999 | 23222 | 4.3659 | 1.1067 | No | 1
15.5333 | 8.268 | 1.1794 | 1.1499 | 0.0096463 | 0.16008 | 22748 | 4.3569 | 1.0512 | No | 1
15.55 | 7.9239 | 1.1205 | 1.0869 | 0.0091648 | 0.15067 | 22284 | 4.348 | 0.99439 | No | 1
15.5667 | 7.5917 | 1.0534 | 1.0246 | 0.0086159 | 0.14178 | 21830 | 4.3391 | 0.93814 | No | 1
15.5833 | 7.2699 | 0.9959 | 0.96898 | 0.0081456 | 0.1334 | 21386 | 4.3301 | 0.88787 | No | 1
15.6 | 6.9548 | 0.94206 | 0.92033 | 0.0077053 | 0.12547 | 20951 | 4.3212 | 0.84396 | No | 1
15.6167 | 6.647 | 0.89861 | 0.87032 | 0.0073499 | 0.11794 | 20525 | 4.3123 | 0.79872 | No | 1
15.6333 | 6.3466 | 0.84203 | 0.82022 | 0.0068871 | 0.11082 | 20108 | 4.3034 | 0.75334 | No | 1
15.65 | 6.0549 | 0.79842 | 0.77791 | 0.0065304 | 0.10411 | 19700 | 4.2945 | 0.71504 | No | 1
15.6667 | 5.7728 | 0.7574 | 0.73598 | 0.0061949 | 0.09775 | 19301 | 4.2856 | 0.67703 | No | 1
15.6833 | 5.4976 | 0.71455 | 0.69366 | 0.0058445 | 0.09173 | 18910 | 4.2767 | 0.6386 | No | 1
15.7 | 5.2307 | 0.67277 | 0.65913 | 0.0055027 | 0.086055 | 18527 | 4.2678 | 0.60729 | No | 1
15.7167 | 4.9733 | 0.64549 | 0.63254 | 0.0052796 | 0.080664 | 18152 | 4.2589 | 0.58324 | No | 1
15.7333 | 4.7231 | 0.61958 | 0.60319 | 0.0050677 | 0.075489 | 17785 | 4.2501 | 0.55661 | No | 1
15.75 | 4.4813 | 0.58681 | 0.57049 | 0.0047996 | 0.070555 | 17426 | 4.2412 | 0.52685 | No | 1
15.7667 | 4.2478 | 0.55418 | 0.53902 | 0.0045328 | 0.065888 | 17074 | 4.2323 | 0.49817 | No | 1
15.7833 | 4.024 | 0.52385 | 0.50494 | 0.0042847 | 0.061479 | 16730 | 4.2235 | 0.46704 | No | 1
15.8 | 3.8113 | 0.48604 | 0.47125 | 0.0039754 | 0.057349 | 16393 | 4.2147 | 0.43621 | No | 1
15.8167 | 3.606 | 0.45647 | 0.44946 | 0.0037335 | 0.053494 | 16063 | 4.2058 | 0.41636 | No | 1
15.8333 | 3.4073 | 0.44246 | 0.43225 | 0.0036189 | 0.049817 | 15740 | 4.197 | 0.40073 | No | 1
15.85 | 3.2195 | 0.42204 | 0.41138 | 0.003452 | 0.046281 | 15423 | 4.1882 | 0.38167 | No | 1
15.8667 | 3.0414 | 0.40071 | 0.39081 | 0.0032775 | 0.042916 | 15113 | 4.1794 | 0.36287 | No | 1
15.8833 | 2.869 | 0.3809 | 0.37092 | 0.0031155 | 0.039719 | 14810 | 4.1706 | 0.34467 | No | 1
15.9 | 2.704 | 0.36095 | 0.34929 | 0.0029522 | 0.036685 | 14513 | 4.1618 | 0.32481 | No | 1
15.9167 | 2.5455 | 0.33763 | 0.32635 | 0.0027615 | 0.033828 | 14222 | 4.153 | 0.30372 | No | 1
15.9333 | 2.3949 | 0.31508 | 0.30517 | 0.0025771 | 0.031158 | 13937 | 4.1442 | 0.28423 | No | 1
15.95 | 2.2542 | 0.29527 | 0.28972 | 0.0024151 | 0.028662 | 13658 | 4.1354 | 0.27004 | No | 1
15.9667 | 2.1201 | 0.28416 | 0.2725 | 0.0023242 | 0.026292 | 13385 | 4.1266 | 0.25419 | No | 1
15.9833 | 1.9924 | 0.26085 | 0.25316 | 0.0021335 | 0.024063 | 13118 | 4.1179 | 0.23632 | No | 1
16 | 1.8716 | 0.24547 | 0.23564 | 0.0020077 | 0.021992 | 12856 | 4.1091 | 0.22013 | No | 1
16.0167 | 1.7576 | 0.22581 | 0.21919 | 0.001847 | 0.020065 | 12599 | 4.1003 | 0.20492 | No | 1
16.0333 | 1.6484 | 0.21257 | 0.20549 | 0.0017386 | 0.018272 | 12348 | 4.0916 | 0.19226 | No | 1
16.05 | 1.5433 | 0.19841 | 0.19125 | 0.0016228 | 0.016591 | 12102 | 4.0829 | 0.17907 | No | 1
16.0667 | 1.4454 | 0.1841 | 0.17724 | 0.0015057 | 0.015026 | 11861 | 4.0741 | 0.16608 | No | 1
16.0833 | 1.3533 | 0.17039 | 0.16133 | 0.0013937 | 0.013576 | 11625 | 4.0654 | 0.15128 | No | 1
16.1 | 1.2651 | 0.15227 | 0.14702 | 0.0012454 | 0.012257 | 11394 | 4.0567 | 0.13797 | No | 1
16.1167 | 1.1823 | 0.14177 | 0.13514 | 0.0011595 | 0.011054 | 11168 | 4.048 | 0.12692 | No | 1
16.1333 | 1.1055 | 0.12852 | 0.1261 | 0.0010512 | 0.0099486 | 10946 | 4.0393 | 0.11851 | No | 1
16.15 | 1.0336 | 0.12367 | 0.12056 | 0.0010115 | 0.0089171 | 10729 | 4.0306 | 0.11339 | No | 1
16.1667 | 0.96549 | 0.11744 | 0.11029 | 0.0009606 | 0.0079309 | 10516 | 4.0219 | 0.10381 | No | 1
16.1833 | 0.90131 | 0.10313 | 0.099103 | 0.00084353 | 0.0070288 | 10308 | 4.0132 | 0.093351 | No | 1
16.2 | 0.84173 | 0.095075 | 0.093106 | 0.00077763 | 0.0062181 | 10104 | 4.0045 | 0.087768 | No | 1
16.2167 | 0.78686 | 0.091138 | 0.085355 | 0.00074543 | 0.0054565 | 9904 | 3.9958 | 0.080521 | No | 1
16.2333 | 0.73656 | 0.079572 | 0.078137 | 0.00065083 | 0.0047583 | 9709 | 3.9872 | 0.073767 | No | 1
16.25 | 0.68935 | 0.076703 | 0.071301 | 0.00062737 | 0.0041191 | 9517 | 3.9785 | 0.067363 | No | 1
16.2667 | 0.64572 | 0.0659 | 0.062024 | 0.000539 | 0.0035358 | 9329 | 3.9698 | 0.058642 | No | 1
16.2833 | 0.60634 | 0.058148 | 0.056409 | 0.0004756 | 0.0030285 | 9145 | 3.9612 | 0.053372 | No | 1
16.3 | 0.57013 | 0.054669 | 0.053235 | 0.00044715 | 0.002567 | 8965 | 3.9526 | 0.050406 | No | 1
16.3167 | 0.53542 | 0.0518 | 0.050976 | 0.00042368 | 0.0021316 | 8788 | 3.9439 | 0.048303 | No | 1
16.3333 | 0.50376 | 0.050152 | 0.051236 | 0.0004102 | 0.0017146 | 8616 | 3.9353 | 0.048585 | No | 1
16.35 | 0.47447 | 0.052319 | 0.044705 | 0.00042793 | 0.0012955 | 8446 | 3.9267 | 0.042423 | No | 1
16.3667 | 0.44882 | 0.037091 | 0.035046 | 0.00030337 | 0.00092978 | 8280 | 3.918 | 0.033281 | No | 1
16.3833 | 0.42819 | 0.033001 | 0.028668 | 0.00026992 | 0.0006431 | 8118 | 3.9094 | 0.027244 | No | 1
16.4 | 0.40895 | 0.024334 | 0.026257 | 0.00019903 | 0.00040859 | 7958 | 3.9008 | 0.024971 | No | 1
16.4167 | 0.39159 | 0.028179 | 0.023693 | 0.00023048 | 0.00019381 | 7802 | 3.8922 | 0.022549 | No | 1
16.4333 | 0.37617 | 0.019207 | 0 | 0.0001571 | 0 | 7650 | 3.8837 | 0 | No | 1