## Sample Details
Administrative Information
Export date | 26 May 2022 11:55:48
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0015.sample
Creation date | 26 May 2022 11:17:51
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t14=480 min
Information
Sample type | Sample
Injection date | 26 May 2022
Vial number | P2-B-5
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.0020767 | 10.0236
0.016667 | -0.0050141 | 10.0214
0.033333 | -0.0045182 | 9.9537
0.05 | -0.00031716 | 9.725
0.066667 | 0.0067753 | 9.7176
0.083333 | 0.010799 | 9.7733
0.1 | 0.0096928 | 9.8412
0.11667 | 0.0050982 | 9.9007
0.13333 | 0.0016524 | 9.9364
0.15 | -0.00090888 | 9.9616
0.16667 | -0.0025053 | 9.9709
0.18333 | -0.0015372 | 9.9915
0.2 | 6.43e-05 | 9.9993
0.21667 | -0.00024383 | 10.0117
0.23333 | -0.00071134 | 10.0144
0.25 | 0.0013285 | 10.0187
0.26667 | 0.0028588 | 10.013
0.28333 | 0.00081401 | 10.0159
0.3 | -0.0018581 | 10.0219
0.31667 | -0.0016584 | 10.0239
0.33333 | 0.00018336 | 10.0193
0.35 | -0.0009703 | 10.0137
0.36667 | -0.0040104 | 10.0135
0.38333 | -0.0054837 | 10.0164
0.4 | -0.0044025 | 10.0198
0.41667 | -0.0037576 | 10.0324
0.43333 | -0.0056199 | 10.0349
0.45 | -0.0072109 | 10.0346
0.46667 | -0.0060758 | 10.028
0.48333 | -0.0071667 | 10.0228
0.5 | -0.0090644 | 10.0239
0.51667 | -0.0084526 | 10.0155
0.53333 | -0.0060062 | 10.0137
0.55 | -0.0050733 | 10.0166
0.56667 | -0.0078325 | 10.0195
0.58333 | -0.011278 | 10.0158
0.6 | -0.011737 | 10.012
0.61667 | -0.010061 | 10.0152
0.63333 | -0.0082778 | 10.0114
0.65 | -0.0078695 | 10.0129
0.66667 | -0.0088905 | 10.0144
0.68333 | -0.010016 | 10.0112
0.7 | -0.0092301 | 10.0106
0.71667 | -0.0084077 | 10.0172
0.73333 | -0.0097258 | 10.014
0.75 | -0.01085 | 10.0059
0.76667 | -0.011572 | 10.0031
0.78333 | -0.013296 | 10.0071
0.8 | -0.012323 | 10.008
0.81667 | -0.0098228 | 10.014
0.83333 | -0.009065 | 10.0198
0.85 | -0.01068 | 10.0172
0.86667 | -0.011443 | 10.0112
0.88333 | -0.011086 | 10.0127
0.9 | -0.011027 | 10.014
0.91667 | -0.01133 | 10.0132
0.93333 | -0.012103 | 10.0152
0.95 | -0.012038 | 10.0202
0.96667 | -0.01174 | 10.0176
0.98333 | -0.011383 | 10.0124
1 | -0.011926 | 10.0103
1.0167 | -0.012153 | 10.0135
1.0333 | -0.010361 | 10.0159
1.05 | -0.01008 | 10.0179
1.0667 | -0.011209 | 10.0134
1.0833 | -0.011146 | 10.0076
1.1 | -0.012352 | 10.0077
1.1167 | -0.014012 | 10.0033
1.1333 | -0.013525 | 10.0015
1.15 | -0.013418 | 10.004
1.1667 | -0.015211 | 10.0072
1.1833 | -0.015732 | 10.0062
1.2 | -0.015198 | 10.0077
1.2167 | -0.014955 | 10.0056
1.2333 | -0.013279 | 10.005
1.25 | -0.011616 | 10.0158
1.2667 | -0.011631 | 10.0224
1.2833 | -0.013725 | 10.0233
1.3 | -0.01562 | 10.026
1.3167 | -0.014166 | 10.0242
1.3333 | -0.010772 | 10.0228
1.35 | -0.0095382 | 10.0283
1.3667 | -0.010318 | 10.0263
1.3833 | -0.011331 | 10.0204
1.4 | -0.012528 | 10.0249
1.4167 | -0.014072 | 10.0278
1.4333 | -0.01364 | 10.032
1.45 | -0.012457 | 10.0263
1.4667 | -0.013782 | 10.0315
1.4833 | -0.014899 | 10.0303
1.5 | -0.014304 | 10.0307
1.5167 | -0.015329 | 10.0278
1.5333 | -0.01621 | 10.0393
1.55 | -0.015493 | 10.0397
1.5667 | -0.014955 | 10.0474
1.5833 | -0.013156 | 10.0416
1.6 | -0.010113 | 10.0451
1.6167 | -0.0078009 | 10.0472
1.6333 | -0.0078119 | 10.048
1.65 | -0.0082259 | 10.0385
1.6667 | -0.008527 | 10.0423
1.6833 | -0.0089425 | 10.0355
1.7 | -0.0093623 | 10.0367
1.7167 | -0.010497 | 10.0387
1.7333 | -0.011208 | 10.0466
1.75 | -0.011383 | 10.0465
1.7667 | -0.010778 | 10.0515
1.7833 | -0.0091116 | 10.042
1.8 | -0.0094884 | 10.0431
1.8167 | -0.011151 | 10.0472
1.8333 | -0.010842 | 10.0426
1.85 | -0.010977 | 10.0442
1.8667 | -0.013673 | 10.0443
1.8833 | -0.016824 | 10.046
1.9 | -0.018541 | 10.0362
1.9167 | -0.01775 | 10.0326
1.9333 | -0.015728 | 10.0361
1.95 | -0.015199 | 10.0413
1.9667 | -0.015439 | 10.0364
1.9833 | -0.015799 | 10.0428
2 | -0.016635 | 10.0451
2.0167 | -0.017104 | 10.0489
2.0333 | -0.016568 | 10.0462
2.05 | -0.016269 | 10.0397
2.0667 | -0.015913 | 10.0407
2.0833 | -0.017004 | 10.0405
2.1 | -0.020104 | 10.0338
2.1167 | -0.020732 | 10.033
2.1333 | -0.018163 | 10.032
2.15 | -0.016385 | 10.0326
2.1667 | -0.015734 | 10.0291
2.1833 | -0.015252 | 10.022
2.2 | -0.013759 | 10.0304
2.2167 | -0.012873 | 10.034
2.2333 | -0.013235 | 10.0254
2.25 | -0.014018 | 10.0144
2.2667 | -0.016949 | 10.0242
2.2833 | -0.018231 | 10.0224
2.3 | -0.016263 | 10.0294
2.3167 | -0.016095 | 10.026
2.3333 | -0.015792 | 10.0291
2.35 | -0.016586 | 10.0298
2.3667 | -0.01842 | 10.03
2.3833 | -0.017332 | 10.0292
2.4 | -0.015364 | 10.032
2.4167 | -0.013223 | 10.0246
2.4333 | -0.013779 | 10.0277
2.45 | -0.014541 | 10.0277
2.4667 | -0.014071 | 10.0356
2.4833 | -0.016774 | 10.0369
2.5 | -0.019256 | 10.0399
2.5167 | -0.018168 | 10.0326
2.5333 | -0.016985 | 10.0312
2.55 | -0.016806 | 10.0283
2.5667 | -0.016932 | 10.0272
2.5833 | -0.018671 | 10.0251
2.6 | -0.021177 | 10.0242
2.6167 | -0.02337 | 10.0262
2.6333 | -0.02137 | 10.0285
2.65 | -0.016545 | 10.0256
2.6667 | -0.01394 | 10.0242
2.6833 | -0.014319 | 10.0295
2.7 | -0.017966 | 10.0283
2.7167 | -0.020627 | 10.0248
2.7333 | -0.019356 | 10.0202
2.75 | -0.017218 | 10.0283
2.7667 | -0.016509 | 10.0306
2.7833 | -0.016697 | 10.0256
2.8 | -0.01879 | 10.0233
2.8167 | -0.019783 | 10.0277
2.8333 | -0.01769 | 10.0321
2.85 | -0.017539 | 10.0336
2.8667 | -0.020397 | 10.0301
2.8833 | -0.019769 | 10.0336
2.9 | -0.017162 | 10.0249
2.9167 | -0.018795 | 10.0204
2.9333 | -0.020866 | 10.0192
2.95 | -0.021283 | 10.0262
2.9667 | -0.021996 | 10.0208
2.9833 | -0.021995 | 10.0152
3 | -0.021991 | 10.0094
3.0167 | -0.020432 | 10.0068
3.0333 | -0.018889 | 10.0072
3.05 | -0.01872 | 10.0166
3.0667 | -0.0201 | 10.0164
3.0833 | -0.021883 | 10.0135
3.1 | -0.022233 | 10.0161
3.1167 | -0.022535 | 10.0097
3.1333 | -0.02349 | 10.0086
3.15 | -0.024141 | 10.0005
3.1667 | -0.024078 | 10.0129
3.1833 | -0.024143 | 10.0098
3.2 | -0.024677 | 10.0172
3.2167 | -0.024252 | 10.0166
3.2333 | -0.022938 | 10.0234
3.25 | -0.02115 | 10.023
3.2667 | -0.019903 | 10.0327
3.2833 | -0.018886 | 10.0353
3.3 | -0.017457 | 10.0359
3.3167 | -0.016687 | 10.0335
3.3333 | -0.016029 | 10.0278
3.35 | -0.015557 | 10.022
3.3667 | -0.015616 | 10.0277
3.3833 | -0.016101 | 10.0233
3.4 | -0.018009 | 10.0274
3.4167 | -0.016665 | 10.0298
3.4333 | -0.012921 | 10.0301
3.45 | -0.013424 | 10.0324
3.4667 | -0.014901 | 10.0265
3.4833 | -0.0134 | 10.0214
3.5 | -0.013665 | 10.0138
3.5167 | -0.017065 | 10.0222
3.5333 | -0.017934 | 10.0185
3.55 | -0.015717 | 10.0225
3.5667 | -0.013101 | 10.019
3.5833 | -0.012158 | 10.0161
3.6 | -0.011618 | 10.0176
3.6167 | -0.010365 | 10.0216
3.6333 | -0.010136 | 10.0149
3.65 | -0.011273 | 10.0137
3.6667 | -0.012342 | 10.0108
3.6833 | -0.012576 | 10.0198
3.7 | -0.012757 | 10.0237
3.7167 | -0.013419 | 10.023
3.7333 | -0.01533 | 10.0204
3.75 | -0.015123 | 10.0146
3.7667 | -0.011366 | 10.0187
3.7833 | -0.01122 | 10.0277
3.8 | -0.01384 | 10.0243
3.8167 | -0.014482 | 10.0192
3.8333 | -0.013822 | 10.0144
3.85 | -0.013232 | 10.0161
3.8667 | -0.014198 | 10.0187
3.8833 | -0.015257 | 10.0187
3.9 | -0.014539 | 10.0182
3.9167 | -0.01485 | 10.014
3.9333 | -0.015975 | 10.0126
3.95 | -0.014709 | 10.0083
3.9667 | -0.013774 | 10.0164
3.9833 | -0.015507 | 10.0163
4 | -0.015129 | 10.0178
4.0167 | -0.014005 | 10.0207
4.0333 | -0.013644 | 10.015
4.05 | -0.013053 | 10.0089
4.0667 | -0.013048 | 10.0112
4.0833 | -0.011734 | 10.0121
4.1 | -0.012051 | 10.0155
4.1167 | -0.014019 | 10.0137
4.1333 | -0.015262 | 10.0166
4.15 | -0.014712 | 10.014
4.1667 | -0.012688 | 10.0117
4.1833 | -0.012884 | 10.0097
4.2 | -0.014611 | 9.9981
4.2167 | -0.015622 | 9.9963
4.2333 | -0.016033 | 9.9953
4.25 | -0.015071 | 10.0025
4.2667 | -0.01394 | 10.0069
4.2833 | -0.012508 | 10.0091
4.3 | -0.012706 | 10.0079
4.3167 | -0.014611 | 9.9979
4.3333 | -0.015322 | 10.0037
4.35 | -0.015857 | 10.0074
4.3667 | -0.016099 | 10.0114
4.3833 | -0.018076 | 10.0034
4.4 | -0.019425 | 10.0028
4.4167 | -0.016667 | 9.9995
4.4333 | -0.014062 | 9.9978
4.45 | -0.014792 | 10.0043
4.4667 | -0.016039 | 10.0048
4.4833 | -0.015848 | 10.0045
4.5 | -0.014717 | 10.0033
4.5167 | -0.015088 | 10.0027
4.5333 | -0.015914 | 10.0056
4.55 | -0.015193 | 10.0053
4.5667 | -0.014785 | 10.0028
4.5833 | -0.01556 | 10.0031
4.6 | -0.015493 | 10.001
4.6167 | -0.0152 | 9.9998
4.6333 | -0.015858 | 10.0019
4.65 | -0.015671 | 10.0072
4.6667 | -0.014779 | 10.015
4.6833 | -0.015206 | 10.0117
4.7 | -0.016517 | 10.0089
4.7167 | -0.017291 | 10.0085
4.7333 | -0.019152 | 10.0121
4.75 | -0.022187 | 10.0072
4.7667 | -0.022767 | 10.0123
4.7833 | -0.023015 | 10.0065
4.8 | -0.02342 | 10.0027
4.8167 | -0.021926 | 10.0037
4.8333 | -0.022002 | 10.008
4.85 | -0.02319 | 10.0059
4.8667 | -0.023004 | 10.0089
4.8833 | -0.023253 | 10.0082
4.9 | -0.024441 | 10.0153
4.9167 | -0.024013 | 10.0103
4.9333 | -0.023367 | 10.0179
4.95 | -0.024206 | 10.0187
4.9667 | -0.024254 | 10.0185
4.9833 | -0.02336 | 10.0091
5 | -0.022709 | 10.0109
5.0167 | -0.023309 | 10.0196
5.0333 | -0.023243 | 10.0227
5.05 | -0.023611 | 10.0268
5.0667 | -0.024135 | 10.0317
5.0833 | -0.022762 | 10.0327
5.1 | -0.023497 | 10.03
5.1167 | -0.025277 | 10.0329
5.1333 | -0.024789 | 10.0346
5.15 | -0.024077 | 10.0324
5.1667 | -0.023661 | 10.0266
5.1833 | -0.023786 | 10.0257
5.2 | -0.023898 | 10.017
5.2167 | -0.023246 | 10.0199
5.2333 | -0.024328 | 10.0266
5.25 | -0.025092 | 10.0332
5.2667 | -0.024677 | 10.0327
5.2833 | -0.024917 | 10.0381
5.3 | -0.025035 | 10.0341
5.3167 | -0.025212 | 10.0227
5.3333 | -0.024251 | 10.0278
5.35 | -0.023606 | 10.0292
5.3667 | -0.024622 | 10.0277
5.3833 | -0.024974 | 10.0333
5.4 | -0.025156 | 10.0289
5.4167 | -0.025512 | 10.0321
5.4333 | -0.025391 | 10.0323
5.45 | -0.025452 | 10.035
5.4667 | -0.02521 | 10.0336
5.4833 | -0.024733 | 10.0402
5.5 | -0.024078 | 10.0335
5.5167 | -0.024206 | 10.0372
5.5333 | -0.02588 | 10.0356
5.55 | -0.027124 | 10.0326
5.5667 | -0.027238 | 10.0256
5.5833 | -0.026879 | 10.0231
5.6 | -0.026584 | 10.021
5.6167 | -0.027607 | 10.0225
5.6333 | -0.029096 | 10.022
5.65 | -0.030105 | 10.0213
5.6667 | -0.030458 | 10.0193
5.6833 | -0.030638 | 10.0195
5.7 | -0.031056 | 10.0138
5.7167 | -0.031357 | 10.0101
5.7333 | -0.032554 | 10.0152
5.75 | -0.033499 | 10.0185
5.7667 | -0.033739 | 10.0248
5.7833 | -0.034215 | 10.0225
5.8 | -0.03391 | 10.0254
5.8167 | -0.033135 | 10.0249
5.8333 | -0.032542 | 10.0282
5.85 | -0.032968 | 10.0257
5.8667 | -0.033374 | 10.0242
5.8833 | -0.032181 | 10.0195
5.9 | -0.032854 | 10.0204
5.9167 | -0.034876 | 10.0163
5.9333 | -0.034622 | 10.0164
5.95 | -0.033012 | 10.0068
5.9667 | -0.032426 | 10.0112
5.9833 | -0.032787 | 10.0074
6 | -0.033261 | 10.0105
6.0167 | -0.033499 | 10.017
6.0333 | -0.034523 | 10.0153
6.05 | -0.036365 | 10.0228
6.0667 | -0.03545 | 10.0292
6.0833 | -0.033672 | 10.0303
6.1 | -0.033376 | 10.0312
6.1167 | -0.032238 | 10.0307
6.1333 | -0.031472 | 10.0207
6.15 | -0.032554 | 10.0213
6.1667 | -0.03404 | 10.017
6.1833 | -0.034993 | 10.0176
6.2 | -0.034861 | 10.0173
6.2167 | -0.033253 | 10.0222
6.2333 | -0.033506 | 10.0231
6.25 | -0.035479 | 10.024
6.2667 | -0.037864 | 10.0199
6.2833 | -0.03916 | 10.0222
6.3 | -0.037596 | 10.0256
6.3167 | -0.035696 | 10.0285
6.3333 | -0.035403 | 10.0336
6.35 | -0.034438 | 10.0399
6.3667 | -0.031816 | 10.0297
6.3833 | -0.031783 | 10.0321
6.4 | -0.034828 | 10.0329
6.4167 | -0.036905 | 10.0315
6.4333 | -0.037911 | 10.0266
6.45 | -0.036276 | 10.0272
6.4667 | -0.031196 | 10.0259
6.4833 | -0.025778 | 10.0304
6.5 | -0.019073 | 10.0263
6.5167 | -0.004102 | 10.024
6.5333 | 0.023949 | 10.0277
6.55 | 0.071243 | 10.0318
6.5667 | 0.14745 | 10.0361
6.5833 | 0.26622 | 10.0309
6.6 | 0.45114 | 10.0315
6.6167 | 0.73064 | 10.0301
6.6333 | 1.1325 | 10.0272
6.65 | 1.691 | 10.0271
6.6667 | 2.441 | 10.0277
6.6833 | 3.4124 | 10.0286
6.7 | 4.6335 | 10.024
6.7167 | 6.1223 | 10.0201
6.7333 | 7.884 | 10.0199
6.75 | 9.9136 | 10.0231
6.7667 | 12.1876 | 10.0318
6.7833 | 14.6746 | 10.0384
6.8 | 17.3376 | 10.0538
6.8167 | 20.1326 | 10.0645
6.8333 | 23.0134 | 10.0744
6.85 | 25.929 | 10.0843
6.8667 | 28.8287 | 10.1054
6.8833 | 31.6657 | 10.1261
6.9 | 34.4014 | 10.1421
6.9167 | 37.0051 | 10.1589
6.9333 | 39.4458 | 10.1853
6.95 | 41.6978 | 10.2082
6.9667 | 43.7449 | 10.2189
6.9833 | 45.5762 | 10.239
7 | 47.182 | 10.2552
7.0167 | 48.555 | 10.2702
7.0333 | 49.7003 | 10.2796
7.05 | 50.6267 | 10.2946
7.0667 | 51.3343 | 10.3082
7.0833 | 51.8325 | 10.3259
7.1 | 52.1342 | 10.3356
7.1167 | 52.2518 | 10.3455
7.1333 | 52.2014 | 10.355
7.15 | 51.9962 | 10.3671
7.1667 | 51.649 | 10.3661
7.1833 | 51.1737 | 10.3645
7.2 | 50.5865 | 10.3567
7.2167 | 49.9026 | 10.3465
7.2333 | 49.1364 | 10.3471
7.25 | 48.3003 | 10.3397
7.2667 | 47.405 | 10.3327
7.2833 | 46.4627 | 10.3303
7.3 | 45.4869 | 10.3197
7.3167 | 44.4868 | 10.3132
7.3333 | 43.4674 | 10.3053
7.35 | 42.4366 | 10.3028
7.3667 | 41.4054 | 10.3025
7.3833 | 40.379 | 10.2908
7.4 | 39.359 | 10.2888
7.4167 | 38.3487 | 10.283
7.4333 | 37.3546 | 10.2822
7.45 | 36.3788 | 10.2755
7.4667 | 35.4214 | 10.2697
7.4833 | 34.4857 | 10.2561
7.5 | 33.5729 | 10.252
7.5167 | 32.6822 | 10.2395
7.5333 | 31.8156 | 10.2361
7.55 | 30.9753 | 10.2297
7.5667 | 30.1617 | 10.2256
7.5833 | 29.3748 | 10.2268
7.6 | 28.6106 | 10.2216
7.6167 | 27.868 | 10.2097
7.6333 | 27.1517 | 10.2045
7.65 | 26.4624 | 10.1949
7.6667 | 25.7949 | 10.1826
7.6833 | 25.1502 | 10.1791
7.7 | 24.5287 | 10.1728
7.7167 | 23.927 | 10.1612
7.7333 | 23.3448 | 10.1545
7.75 | 22.7859 | 10.1482
7.7667 | 22.248 | 10.1534
7.7833 | 21.7257 | 10.1519
7.8 | 21.2206 | 10.1453
7.8167 | 20.7334 | 10.1525
7.8333 | 20.2615 | 10.1487
7.85 | 19.805 | 10.1368
7.8667 | 19.366 | 10.1286
7.8833 | 18.9445 | 10.122
7.9 | 18.5358 | 10.1176
7.9167 | 18.1398 | 10.1205
7.9333 | 17.7577 | 10.1214
7.95 | 17.3901 | 10.1197
7.9667 | 17.0363 | 10.1202
7.9833 | 16.6932 | 10.1182
8 | 16.3613 | 10.1229
8.0167 | 16.0425 | 10.1214
8.0333 | 15.7362 | 10.1226
8.05 | 15.4409 | 10.1269
8.0667 | 15.1559 | 10.1174
8.0833 | 14.8799 | 10.1124
8.1 | 14.6126 | 10.1196
8.1167 | 14.3538 | 10.1142
8.1333 | 14.104 | 10.1084
8.15 | 13.8605 | 10.0967
8.1667 | 13.6231 | 10.0957
8.1833 | 13.3958 | 10.091
8.2 | 13.1755 | 10.0874
8.2167 | 12.9572 | 10.082
8.2333 | 12.7439 | 10.0816
8.25 | 12.5363 | 10.0834
8.2667 | 12.3321 | 10.0872
8.2833 | 12.1326 | 10.0762
8.3 | 11.937 | 10.0785
8.3167 | 11.7442 | 10.0764
8.3333 | 11.554 | 10.0759
8.35 | 11.3675 | 10.066
8.3667 | 11.1848 | 10.0629
8.3833 | 11.0042 | 10.0489
8.4 | 10.8267 | 10.0547
8.4167 | 10.6558 | 10.0504
8.4333 | 10.4903 | 10.0541
8.45 | 10.3265 | 10.0591
8.4667 | 10.1666 | 10.0625
8.4833 | 10.0108 | 10.0607
8.5 | 9.8562 | 10.0607
8.5167 | 9.7052 | 10.0579
8.5333 | 9.5587 | 10.0562
8.55 | 9.4159 | 10.0521
8.5667 | 9.2774 | 10.0494
8.5833 | 9.144 | 10.0442
8.6 | 9.0152 | 10.043
8.6167 | 8.8895 | 10.0489
8.6333 | 8.7679 | 10.0434
8.65 | 8.6511 | 10.0477
8.6667 | 8.5352 | 10.0468
8.6833 | 8.4241 | 10.052
8.7 | 8.3185 | 10.0434
8.7167 | 8.2152 | 10.0393
8.7333 | 8.1158 | 10.0362
8.75 | 8.0194 | 10.0401
8.7667 | 7.9263 | 10.0347
8.7833 | 7.8367 | 10.0396
8.8 | 7.7523 | 10.0413
8.8167 | 7.6703 | 10.0481
8.8333 | 7.589 | 10.0518
8.85 | 7.514 | 10.0509
8.8667 | 7.442 | 10.0492
8.8833 | 7.3685 | 10.0504
8.9 | 7.3002 | 10.0524
8.9167 | 7.239 | 10.0573
8.9333 | 7.1794 | 10.0471
8.95 | 7.1238 | 10.0437
8.9667 | 7.0741 | 10.0439
8.9833 | 7.0278 | 10.048
9 | 6.9872 | 10.0484
9.0167 | 6.9554 | 10.0503
9.0333 | 6.9321 | 10.0538
9.05 | 6.9157 | 10.0517
9.0667 | 6.9067 | 10.0512
9.0833 | 6.9041 | 10.0567
9.1 | 6.9074 | 10.0613
9.1167 | 6.9165 | 10.0625
9.1333 | 6.929 | 10.0614
9.15 | 6.9454 | 10.0668
9.1667 | 6.9645 | 10.0706
9.1833 | 6.9841 | 10.0724
9.2 | 7.0034 | 10.0771
9.2167 | 7.0227 | 10.0716
9.2333 | 7.0403 | 10.0695
9.25 | 7.0571 | 10.0669
9.2667 | 7.0745 | 10.0588
9.2833 | 7.0883 | 10.0579
9.3 | 7.0955 | 10.0483
9.3167 | 7.0975 | 10.0513
9.3333 | 7.0936 | 10.0555
9.35 | 7.0828 | 10.0524
9.3667 | 7.0659 | 10.0495
9.3833 | 7.0381 | 10.0468
9.4 | 6.9999 | 10.0425
9.4167 | 6.9568 | 10.0352
9.4333 | 6.9083 | 10.042
9.45 | 6.8528 | 10.0462
9.4667 | 6.7902 | 10.0468
9.4833 | 6.7224 | 10.0445
9.5 | 6.6499 | 10.0397
9.5167 | 6.572 | 10.0343
9.5333 | 6.4904 | 10.0385
9.55 | 6.4055 | 10.0426
9.5667 | 6.3202 | 10.0387
9.5833 | 6.2352 | 10.0387
9.6 | 6.1475 | 10.0358
9.6167 | 6.0585 | 10.0381
9.6333 | 5.9711 | 10.0362
9.65 | 5.8854 | 10.0455
9.6667 | 5.7995 | 10.0449
9.6833 | 5.7151 | 10.0452
9.7 | 5.6334 | 10.0375
9.7167 | 5.5507 | 10.0414
9.7333 | 5.4689 | 10.0355
9.75 | 5.3925 | 10.0449
9.7667 | 5.3166 | 10.0353
9.7833 | 5.2383 | 10.0274
9.8 | 5.1623 | 10.0205
9.8167 | 5.0914 | 10.0254
9.8333 | 5.0231 | 10.0298
9.85 | 4.9548 | 10.0259
9.8667 | 4.8861 | 10.0321
9.8833 | 4.8186 | 10.0303
9.9 | 4.7538 | 10.0295
9.9167 | 4.6924 | 10.0336
9.9333 | 4.6331 | 10.039
9.95 | 4.5743 | 10.035
9.9667 | 4.5161 | 10.0384
9.9833 | 4.4591 | 10.0369
10 | 4.4024 | 10.0407
10.0167 | 4.3458 | 10.042
10.0333 | 4.2926 | 10.0426
10.05 | 4.2431 | 10.0358
10.0667 | 4.193 | 10.0401
10.0833 | 4.1409 | 10.0391
10.1 | 4.0899 | 10.0349
10.1167 | 4.0416 | 10.039
10.1333 | 3.9955 | 10.0446
10.15 | 3.9502 | 10.0394
10.1667 | 3.9064 | 10.0402
10.1833 | 3.8644 | 10.0318
10.2 | 3.8217 | 10.0282
10.2167 | 3.7789 | 10.0336
10.2333 | 3.7385 | 10.0259
10.25 | 3.7006 | 10.0236
10.2667 | 3.6626 | 10.0202
10.2833 | 3.6246 | 10.0234
10.3 | 3.5889 | 10.0243
10.3167 | 3.5541 | 10.0227
10.3333 | 3.5186 | 10.0317
10.35 | 3.4828 | 10.0382
10.3667 | 3.4469 | 10.0475
10.3833 | 3.4146 | 10.0517
10.4 | 3.3855 | 10.0498
10.4167 | 3.3555 | 10.0451
10.4333 | 3.3244 | 10.0401
10.45 | 3.2925 | 10.0474
10.4667 | 3.2629 | 10.0404
10.4833 | 3.2359 | 10.0439
10.5 | 3.2089 | 10.0388
10.5167 | 3.1805 | 10.0423
10.5333 | 3.1512 | 10.0341
10.55 | 3.1247 | 10.0365
10.5667 | 3.1019 | 10.0303
10.5833 | 3.0795 | 10.0359
10.6 | 3.0565 | 10.0282
10.6167 | 3.0333 | 10.0298
10.6333 | 3.0103 | 10.0329
10.65 | 2.9883 | 10.041
10.6667 | 2.9675 | 10.0352
10.6833 | 2.9463 | 10.034
10.7 | 2.9248 | 10.0375
10.7167 | 2.9044 | 10.0349
10.7333 | 2.8831 | 10.0326
10.75 | 2.8639 | 10.026
10.7667 | 2.8469 | 10.0283
10.7833 | 2.827 | 10.0224
10.8 | 2.8077 | 10.0185
10.8167 | 2.7918 | 10.0181
10.8333 | 2.776 | 10.0278
10.85 | 2.7595 | 10.0286
10.8667 | 2.741 | 10.028
10.8833 | 2.722 | 10.0222
10.9 | 2.7062 | 10.0213
10.9167 | 2.6938 | 10.0283
10.9333 | 2.6792 | 10.0243
10.95 | 2.6624 | 10.0234
10.9667 | 2.6459 | 10.0256
10.9833 | 2.6318 | 10.0253
11 | 2.6189 | 10.0295
11.0167 | 2.6046 | 10.0346
11.0333 | 2.5899 | 10.026
11.05 | 2.5759 | 10.0259
11.0667 | 2.565 | 10.0265
11.0833 | 2.5547 | 10.0295
11.1 | 2.543 | 10.0256
11.1167 | 2.5315 | 10.0317
11.1333 | 2.5198 | 10.0335
11.15 | 2.5098 | 10.0301
11.1667 | 2.5003 | 10.0253
11.1833 | 2.4896 | 10.0265
11.2 | 2.4795 | 10.0263
11.2167 | 2.4685 | 10.0207
11.2333 | 2.4588 | 10.021
11.25 | 2.4521 | 10.0286
11.2667 | 2.4441 | 10.0202
11.2833 | 2.4342 | 10.033
11.3 | 2.4254 | 10.026
11.3167 | 2.4188 | 10.0307
11.3333 | 2.4114 | 10.0333
11.35 | 2.4028 | 10.0326
11.3667 | 2.3943 | 10.0266
11.3833 | 2.3858 | 10.0217
11.4 | 2.3797 | 10.0193
11.4167 | 2.3744 | 10.0248
11.4333 | 2.3666 | 10.0208
11.45 | 2.3582 | 10.0196
11.4667 | 2.3513 | 10.0141
11.4833 | 2.3467 | 10.0207
11.5 | 2.3433 | 10.0253
11.5167 | 2.3403 | 10.0236
11.5333 | 2.3366 | 10.0269
11.55 | 2.3316 | 10.0317
11.5667 | 2.3278 | 10.0338
11.5833 | 2.3222 | 10.0362
11.6 | 2.3156 | 10.0338
11.6167 | 2.3132 | 10.0286
11.6333 | 2.3109 | 10.0352
11.65 | 2.3069 | 10.0304
11.6667 | 2.3067 | 10.0288
11.6833 | 2.306 | 10.0246
11.7 | 2.3027 | 10.0286
11.7167 | 2.2981 | 10.0214
11.7333 | 2.2928 | 10.0231
11.75 | 2.2912 | 10.0253
11.7667 | 2.2937 | 10.0201
11.7833 | 2.2937 | 10.0172
11.8 | 2.292 | 10.0216
11.8167 | 2.2916 | 10.0249
11.8333 | 2.2892 | 10.0294
11.85 | 2.2859 | 10.0278
11.8667 | 2.2851 | 10.0278
11.8833 | 2.2852 | 10.0269
11.9 | 2.2848 | 10.0211
11.9167 | 2.2845 | 10.0192
11.9333 | 2.2837 | 10.0103
11.95 | 2.2823 | 10.0146
11.9667 | 2.2824 | 10.0164
11.9833 | 2.2834 | 10.0138
12 | 2.2827 | 10.0175
12.0167 | 2.2821 | 10.0156
12.0333 | 2.2805 | 10.0059
12.05 | 2.2779 | 10.0036
12.0667 | 2.278 | 10.0076
12.0833 | 2.2791 | 10.0047
12.1 | 2.2778 | 10.0121
12.1167 | 2.2751 | 10.013
12.1333 | 2.2746 | 10.0159
12.15 | 2.2749 | 10.0188
12.1667 | 2.2745 | 10.0161
12.1833 | 2.2751 | 10.0227
12.2 | 2.2746 | 10.0185
12.2167 | 2.2727 | 10.0138
12.2333 | 2.2705 | 10.0089
12.25 | 2.2697 | 10.0124
12.2667 | 2.27 | 10.0172
12.2833 | 2.2691 | 10.0188
12.3 | 2.2677 | 10.0205
12.3167 | 2.2674 | 10.0193
12.3333 | 2.2679 | 10.0175
12.35 | 2.2686 | 10.022
12.3667 | 2.2687 | 10.0277
12.3833 | 2.2677 | 10.0159
12.4 | 2.2684 | 10.0188
12.4167 | 2.2692 | 10.0169
12.4333 | 2.2686 | 10.0207
12.45 | 2.2697 | 10.021
12.4667 | 2.2705 | 10.0301
12.4833 | 2.2699 | 10.0361
12.5 | 2.2696 | 10.0326
12.5167 | 2.2693 | 10.0364
12.5333 | 2.2701 | 10.0364
12.55 | 2.2726 | 10.0327
12.5667 | 2.2748 | 10.033
12.5833 | 2.2761 | 10.0309
12.6 | 2.2786 | 10.0323
12.6167 | 2.2811 | 10.0285
12.6333 | 2.2835 | 10.0324
12.65 | 2.2866 | 10.0323
12.6667 | 2.2889 | 10.0239
12.6833 | 2.2901 | 10.0278
12.7 | 2.2918 | 10.0343
12.7167 | 2.295 | 10.0346
12.7333 | 2.2992 | 10.0292
12.75 | 2.3019 | 10.0291
12.7667 | 2.303 | 10.0361
12.7833 | 2.3058 | 10.0396
12.8 | 2.3096 | 10.0332
12.8167 | 2.313 | 10.0323
12.8333 | 2.3194 | 10.0301
12.85 | 2.3255 | 10.0275
12.8667 | 2.329 | 10.0306
12.8833 | 2.334 | 10.0304
12.9 | 2.3387 | 10.0333
12.9167 | 2.3436 | 10.0335
12.9333 | 2.3483 | 10.0307
12.95 | 2.3532 | 10.0236
12.9667 | 2.3609 | 10.0196
12.9833 | 2.3683 | 10.0149
13 | 2.3758 | 10.01
13.0167 | 2.3838 | 10.0043
13.0333 | 2.3915 | 10.0027
13.05 | 2.399 | 10.0056
13.0667 | 2.4057 | 10.0086
13.0833 | 2.412 | 10.0097
13.1 | 2.4194 | 10.0053
13.1167 | 2.4266 | 9.999
13.1333 | 2.4338 | 9.997
13.15 | 2.4429 | 9.9955
13.1667 | 2.4523 | 10.005
13.1833 | 2.4608 | 10.0019
13.2 | 2.471 | 9.9996
13.2167 | 2.4807 | 10.0004
13.2333 | 2.4886 | 10.0034
13.25 | 2.4964 | 9.995
13.2667 | 2.5049 | 9.9918
13.2833 | 2.515 | 9.9953
13.3 | 2.5268 | 9.9935
13.3167 | 2.5391 | 9.9928
13.3333 | 2.5497 | 9.9982
13.35 | 2.5598 | 9.9938
13.3667 | 2.5708 | 9.9964
13.3833 | 2.583 | 9.9963
13.4 | 2.5957 | 9.9963
13.4167 | 2.6082 | 9.9912
13.4333 | 2.6201 | 9.9972
13.45 | 2.6317 | 10.0071
13.4667 | 2.6426 | 10.0053
13.4833 | 2.6537 | 9.9975
13.5 | 2.6673 | 9.9978
13.5167 | 2.6825 | 9.999
13.5333 | 2.6959 | 10.0001
13.55 | 2.7087 | 9.9979
13.5667 | 2.7239 | 10.0021
13.5833 | 2.741 | 10.0016
13.6 | 2.7578 | 10.0048
13.6167 | 2.7756 | 10.013
13.6333 | 2.7947 | 10.0117
13.65 | 2.814 | 10.0149
13.6667 | 2.8346 | 10.0155
13.6833 | 2.8528 | 10.0163
13.7 | 2.8701 | 10.0167
13.7167 | 2.8913 | 10.0143
13.7333 | 2.9155 | 10.0129
13.75 | 2.9418 | 10.017
13.7667 | 2.9689 | 10.0127
13.7833 | 2.9965 | 10.015
13.8 | 3.0254 | 10.01
13.8167 | 3.0549 | 10.0184
13.8333 | 3.087 | 10.0182
13.85 | 3.1241 | 10.0208
13.8667 | 3.1615 | 10.0216
13.8833 | 3.1992 | 10.0256
13.9 | 3.2392 | 10.0207
13.9167 | 3.2833 | 10.0275
13.9333 | 3.3296 | 10.0205
13.95 | 3.3782 | 10.0208
13.9667 | 3.4326 | 10.0147
13.9833 | 3.4908 | 10.0135
14 | 3.5507 | 10.0141
14.0167 | 3.6139 | 10.0167
14.0333 | 3.6818 | 10.017
14.05 | 3.7543 | 10.0181
14.0667 | 3.8321 | 10.0138
14.0833 | 3.9169 | 10.0181
14.1 | 4.0073 | 10.0208
14.1167 | 4.1041 | 10.0185
14.1333 | 4.2102 | 10.0181
14.15 | 4.3262 | 10.021
14.1667 | 4.4551 | 10.0233
14.1833 | 4.5995 | 10.0307
14.2 | 4.7601 | 10.0286
14.2167 | 4.9385 | 10.0324
14.2333 | 5.1384 | 10.0379
14.25 | 5.3649 | 10.0414
14.2667 | 5.6232 | 10.0495
14.2833 | 5.9156 | 10.0574
14.3 | 6.242 | 10.0608
14.3167 | 6.6046 | 10.0648
14.3333 | 7.0099 | 10.0819
14.35 | 7.4588 | 10.1005
14.3667 | 7.9484 | 10.1165
14.3833 | 8.4738 | 10.1402
14.4 | 9.034 | 10.174
14.4167 | 9.6272 | 10.2
14.4333 | 10.2447 | 10.2239
14.45 | 10.8779 | 10.2674
14.4667 | 11.522 | 10.3103
14.4833 | 12.166 | 10.3585
14.5 | 12.8012 | 10.3999
14.5167 | 13.4237 | 10.4595
14.5333 | 14.0225 | 10.5091
14.55 | 14.5918 | 10.5665
14.5667 | 15.1309 | 10.6197
14.5833 | 15.639 | 10.6806
14.6 | 16.1139 | 10.7421
14.6167 | 16.5596 | 10.8007
14.6333 | 16.9848 | 10.8559
14.65 | 17.3932 | 10.9019
14.6667 | 17.7919 | 10.9589
14.6833 | 18.1927 | 11.0079
14.7 | 18.6034 | 11.0496
14.7167 | 19.0289 | 11.097
14.7333 | 19.4771 | 11.1396
14.75 | 19.9603 | 11.1861
14.7667 | 20.4835 | 11.2324
14.7833 | 21.0452 | 11.2896
14.8 | 21.6483 | 11.3529
14.8167 | 22.293 | 11.4242
14.8333 | 22.9759 | 11.5028
14.85 | 23.6896 | 11.5861
14.8667 | 24.4259 | 11.675
14.8833 | 25.1739 | 11.7722
14.9 | 25.9211 | 11.8815
14.9167 | 26.6561 | 11.9999
14.9333 | 27.3637 | 12.1178
14.95 | 28.0295 | 12.2561
14.9667 | 28.6417 | 12.3994
14.9833 | 29.1882 | 12.5442
15 | 29.6563 | 12.6812
15.0167 | 30.0352 | 12.8178
15.0333 | 30.3139 | 12.9487
15.05 | 30.4874 | 13.0654
15.0667 | 30.5568 | 13.1791
15.0833 | 30.5182 | 13.2911
15.1 | 30.3733 | 13.3794
15.1167 | 30.1298 | 13.4516
15.1333 | 29.7937 | 13.5139
15.15 | 29.3709 | 13.5506
15.1667 | 28.8703 | 13.5787
15.1833 | 28.3034 | 13.5874
15.2 | 27.6803 | 13.5799
15.2167 | 27.0124 | 13.5493
15.2333 | 26.311 | 13.5088
15.25 | 25.5843 | 13.447
15.2667 | 24.8424 | 13.3689
15.2833 | 24.0966 | 13.2806
15.3 | 23.3515 | 13.2009
15.3167 | 22.6142 | 13.1011
15.3333 | 21.8921 | 12.9975
15.35 | 21.1863 | 12.8844
15.3667 | 20.4982 | 12.7699
15.3833 | 19.8311 | 12.6563
15.4 | 19.1845 | 12.5478
15.4167 | 18.5582 | 12.4458
15.4333 | 17.9524 | 12.3344
15.45 | 17.367 | 12.2279
15.4667 | 16.7995 | 12.1282
15.4833 | 16.2453 | 12.029
15.5 | 15.7037 | 11.9273
15.5167 | 15.1762 | 11.833
15.5333 | 14.6632 | 11.7385
15.55 | 14.1616 | 11.6604
15.5667 | 13.6692 | 11.5807
15.5833 | 13.1863 | 11.5044
15.6 | 12.7122 | 11.4353
15.6167 | 12.2465 | 11.3691
15.6333 | 11.7904 | 11.2963
15.65 | 11.3465 | 11.2283
15.6667 | 10.9165 | 11.1619
15.6833 | 10.4943 | 11.105
15.7 | 10.0776 | 11.0514
15.7167 | 9.6761 | 11.0069
15.7333 | 9.2909 | 10.9571
15.75 | 8.9147 | 10.9002
15.7667 | 8.5503 | 10.8483
15.7833 | 8.2015 | 10.805
15.8 | 7.8655 | 10.7627
15.8167 | 7.5415 | 10.7197
15.8333 | 7.2316 | 10.6904
15.85 | 6.9337 | 10.6582
15.8667 | 6.6466 | 10.6225
15.8833 | 6.3737 | 10.5871
15.9 | 6.1141 | 10.5563
15.9167 | 5.8659 | 10.5305
15.9333 | 5.6295 | 10.5064
15.95 | 5.4045 | 10.4838
15.9667 | 5.1907 | 10.4665
15.9833 | 4.9872 | 10.4365
16 | 4.7946 | 10.4104
16.0167 | 4.6106 | 10.3913
16.0333 | 4.4357 | 10.3699
16.05 | 4.2706 | 10.346
16.0667 | 4.1147 | 10.3257
16.0833 | 3.9677 | 10.3101
16.1 | 3.8294 | 10.3033
16.1167 | 3.6986 | 10.2792
16.1333 | 3.5739 | 10.2676
16.15 | 3.4576 | 10.2477
16.1667 | 3.3502 | 10.2322
16.1833 | 3.2492 | 10.2222
16.2 | 3.1538 | 10.21
16.2167 | 3.0651 | 10.2024
16.2333 | 2.9837 | 10.1971
16.25 | 2.9078 | 10.187
16.2667 | 2.8345 | 10.1771
16.2833 | 2.7667 | 10.1743
16.3 | 2.7072 | 10.1637
16.3167 | 2.6535 | 10.1594
16.3333 | 2.6039 | 10.1516
16.35 | 2.558 | 10.1456
16.3667 | 2.5163 | 10.1353
16.3833 | 2.4798 | 10.1313
16.4 | 2.4455 | 10.1292
16.4167 | 2.414 | 10.1266
16.4333 | 2.3883 | 10.1246
16.45 | 2.3685 | 10.1234
16.4667 | 2.3526 | 10.1162
16.4833 | 2.3357 | 10.115
16.5 | 2.3186 | 10.1096
16.5167 | 2.3066 | 10.098
16.5333 | 2.297 | 10.0924
16.55 | 2.2885 | 10.0881
16.5667 | 2.2828 | 10.0895
16.5833 | 2.2808 | 10.0861
16.6 | 2.2804 | 10.0796
16.6167 | 2.2819 | 10.0773
16.6333 | 2.2863 | 10.0823
16.65 | 2.2917 | 10.0767
16.6667 | 2.2958 | 10.0811
16.6833 | 2.2998 | 10.0788
16.7 | 2.3074 | 10.0733
16.7167 | 2.3182 | 10.0701
16.7333 | 2.3292 | 10.0658
16.75 | 2.3402 | 10.0684
16.7667 | 2.3529 | 10.0726
16.7833 | 2.3684 | 10.0753
16.8 | 2.3863 | 10.077
16.8167 | 2.406 | 10.066
16.8333 | 2.4283 | 10.0649
16.85 | 2.4499 | 10.053
16.8667 | 2.471 | 10.0538
16.8833 | 2.4968 | 10.0489
16.9 | 2.5272 | 10.0477
16.9167 | 2.5601 | 10.051
16.9333 | 2.5956 | 10.0503
16.95 | 2.6333 | 10.0501
16.9667 | 2.6726 | 10.0411
16.9833 | 2.7156 | 10.0355
17 | 2.7627 | 10.0359
17.0167 | 2.8112 | 10.0379
17.0333 | 2.8624 | 10.0335
17.05 | 2.9187 | 10.035
17.0667 | 2.9776 | 10.039
17.0833 | 3.038 | 10.0394
17.1 | 3.1026 | 10.0408
17.1167 | 3.1704 | 10.0472
17.1333 | 3.2402 | 10.0457
17.15 | 3.3138 | 10.044
17.1667 | 3.3903 | 10.039
17.1833 | 3.4694 | 10.0376
17.2 | 3.5513 | 10.0317
17.2167 | 3.6372 | 10.0437
17.2333 | 3.7283 | 10.0504
17.25 | 3.8219 | 10.0542
17.2667 | 3.9149 | 10.0495
17.2833 | 4.0098 | 10.0472
17.3 | 4.1094 | 10.0417
17.3167 | 4.2123 | 10.0436
17.3333 | 4.3184 | 10.0405
17.35 | 4.427 | 10.0425
17.3667 | 4.5368 | 10.041
17.3833 | 4.6487 | 10.0446
17.4 | 4.7651 | 10.0423
17.4167 | 4.8853 | 10.0437
17.4333 | 5.0079 | 10.0423
17.45 | 5.1322 | 10.0495
17.4667 | 5.2602 | 10.046
17.4833 | 5.3932 | 10.0423
17.5 | 5.5303 | 10.0416
17.5167 | 5.6716 | 10.0394
17.5333 | 5.8166 | 10.0405
17.55 | 5.9653 | 10.0437
17.5667 | 6.1175 | 10.0546
17.5833 | 6.2717 | 10.0553
17.6 | 6.4304 | 10.0654
17.6167 | 6.5949 | 10.0568
17.6333 | 6.7613 | 10.0608
17.65 | 6.9303 | 10.0593
17.6667 | 7.1041 | 10.0544
17.6833 | 7.2809 | 10.0542
17.7 | 7.4596 | 10.0666
17.7167 | 7.6401 | 10.0669
17.7333 | 7.8219 | 10.0675
17.75 | 8.0067 | 10.0654
17.7667 | 8.1935 | 10.0605
17.7833 | 8.382 | 10.0553
17.8 | 8.5716 | 10.0637
17.8167 | 8.7624 | 10.068
17.8333 | 8.9565 | 10.0694
17.85 | 9.1541 | 10.0768
17.8667 | 9.3533 | 10.0759
17.8833 | 9.5539 | 10.0776
17.9 | 9.7568 | 10.0813
17.9167 | 9.9627 | 10.0813
17.9333 | 10.1717 | 10.0796
17.95 | 10.3816 | 10.0726
17.9667 | 10.5937 | 10.0744
17.9833 | 10.8097 | 10.0826
18 | 11.0267 | 10.0803
18.0167 | 11.2432 | 10.0855
18.0333 | 11.4613 | 10.0733
18.05 | 11.681 | 10.0687
18.0667 | 11.9029 | 10.0768
18.0833 | 12.128 | 10.0774
18.1 | 12.3547 | 10.0756
18.1167 | 12.5829 | 10.0837
18.1333 | 12.8165 | 10.0875
18.15 | 13.0539 | 10.1017
18.1667 | 13.2933 | 10.1156
18.1833 | 13.5386 | 10.1286
18.2 | 13.7891 | 10.1405
18.2167 | 14.0445 | 10.1681
18.2333 | 14.3082 | 10.1829
18.25 | 14.5789 | 10.2108
18.2667 | 14.8536 | 10.2305
18.2833 | 15.1344 | 10.2427
18.3 | 15.425 | 10.2537
18.3167 | 15.7243 | 10.2714
18.3333 | 16.0324 | 10.2799
18.35 | 16.3476 | 10.2847
18.3667 | 16.6645 | 10.295
18.3833 | 16.9844 | 10.2934
18.4 | 17.3067 | 10.281
18.4167 | 17.6244 | 10.2677
18.4333 | 17.9366 | 10.265
18.45 | 18.245 | 10.2573
18.4667 | 18.5482 | 10.2546
18.4833 | 18.8437 | 10.243
18.5 | 19.1309 | 10.2386
18.5167 | 19.4134 | 10.2329
18.5333 | 19.6954 | 10.2297
18.55 | 19.9783 | 10.2267
18.5667 | 20.2643 | 10.2308
18.5833 | 20.5563 | 10.2261
18.6 | 20.8552 | 10.2268
18.6167 | 21.1658 | 10.2306
18.6333 | 21.4903 | 10.2358
18.65 | 21.8281 | 10.2291
18.6667 | 22.1775 | 10.2357
18.6833 | 22.5387 | 10.246
18.7 | 22.9085 | 10.2683
18.7167 | 23.2789 | 10.2921
18.7333 | 23.6446 | 10.3063
18.75 | 24.0021 | 10.3312
18.7667 | 24.345 | 10.3721
18.7833 | 24.6686 | 10.4194
18.8 | 24.9707 | 10.4711
18.8167 | 25.25 | 10.5125
18.8333 | 25.5075 | 10.5598
18.85 | 25.7459 | 10.6022
18.8667 | 25.9665 | 10.6356
18.8833 | 26.1728 | 10.6631
18.9 | 26.3709 | 10.6722
18.9167 | 26.5661 | 10.6785
18.9333 | 26.7608 | 10.6789
18.95 | 26.9568 | 10.6704
18.9667 | 27.1573 | 10.6472
18.9833 | 27.3629 | 10.6295
19 | 27.5722 | 10.588
19.0167 | 27.7824 | 10.5531
19.0333 | 27.9894 | 10.512
19.05 | 28.1903 | 10.4679
19.0667 | 28.3816 | 10.4205
19.0833 | 28.5539 | 10.3875
19.1 | 28.7019 | 10.3625
19.1167 | 28.8257 | 10.335
19.1333 | 28.9159 | 10.3143
19.15 | 28.9652 | 10.2952
19.1667 | 28.9719 | 10.2715
19.1833 | 28.9293 | 10.2541
19.2 | 28.8286 | 10.2427
19.2167 | 28.6676 | 10.2293
19.2333 | 28.4468 | 10.2148
19.25 | 28.168 | 10.1934
19.2667 | 27.8442 | 10.1812
19.2833 | 27.4925 | 10.1632
19.3 | 27.1309 | 10.1458
19.3167 | 26.7876 | 10.1295
19.3333 | 26.4926 | 10.1237
19.35 | 26.2767 | 10.142
19.3667 | 26.1703 | 10.1818
19.3833 | 26.1972 | 10.2581
19.4 | 26.3745 | 10.4171
19.4167 | 26.7077 | 10.659
19.4333 | 27.1922 | 11.0436
19.45 | 27.8205 | 11.5902
19.4667 | 28.5834 | 12.3463
19.4833 | 29.4601 | 13.344
19.5 | 30.4209 | 14.6098
19.5167 | 31.4357 | 16.1457
19.5333 | 32.4831 | 17.9311
19.55 | 33.5443 | 19.934
19.5667 | 34.5943 | 22.0686
19.5833 | 35.6156 | 24.0121
19.6 | 36.596 | 26.09
19.6167 | 37.5264 | 27.9546
19.6333 | 38.4006 | 29.4752
19.65 | 39.2109 | 30.5697
19.6667 | 39.9491 | 31.1747
19.6833 | 40.6064 | 31.2594
19.7 | 41.171 | 30.8253
19.7167 | 41.6321 | 29.9383
19.7333 | 41.979 | 28.6666
19.75 | 42.2034 | 27.1232
19.7667 | 42.3062 | 25.4066
19.7833 | 42.2915 | 23.6279
19.8 | 42.172 | 21.8676
19.8167 | 41.9704 | 20.2061
19.8333 | 41.7153 | 18.6781
19.85 | 41.4393 | 17.3197
19.8667 | 41.1798 | 16.1407
19.8833 | 40.9706 | 15.1366
19.9 | 40.8411 | 14.2889
19.9167 | 40.8163 | 13.5816
19.9333 | 40.9121 | 12.9996
19.95 | 41.1343 | 12.5228
19.9667 | 41.4812 | 12.1285
19.9833 | 41.9401 | 11.795
20 | 42.484 | 11.5191
20.0167 | 43.0743 | 11.2821
20.0333 | 43.6681 | 11.0703
20.05 | 44.2182 | 10.8767
20.0667 | 44.6759 | 10.6892
20.0833 | 45.0019 | 10.483
20.1 | 45.1618 | 10.2715
20.1167 | 45.1306 | 10.0132
20.1333 | 44.8952 | 9.7124
20.15 | 44.4538 | 9.3496
20.1667 | 43.8239 | 8.9458
20.1833 | 43.0285 | 8.4782
20.2 | 42.0949 | 7.9665
20.2167 | 41.0556 | 7.418
20.2333 | 39.9395 | 6.8589
20.25 | 38.7769 | 6.3085
20.2667 | 37.6008 | 5.8117
20.2833 | 36.4456 | 5.3819
20.3 | 35.3462 | 5.0642
20.3167 | 34.3477 | 4.8695
20.3333 | 33.5078 | 4.7947
20.35 | 32.8924 | 4.8568
20.3667 | 32.5955 | 5.0314
20.3833 | 32.7379 | 5.3196
20.4 | 33.4617 | 5.698
20.4167 | 34.9407 | 6.1259
20.4333 | 37.3758 | 6.5801
20.45 | 40.9717 | 7.0506
20.4667 | 45.9221 | 7.5028
20.4833 | 52.3884 | 7.9308
20.5 | 60.4734 | 8.3237
20.5167 | 70.1942 | 8.6849
20.5333 | 81.4459 | 9.0026
20.55 | 93.985 | 9.2876
20.5667 | 107.4283 | 9.5301
20.5833 | 121.2568 | 9.7538
20.6 | 134.842 | 9.9645
20.6167 | 147.4985 | 10.1762
20.6333 | 158.5429 | 10.3831
20.65 | 167.348 | 10.5624
20.6667 | 173.4109 | 10.7635
20.6833 | 176.3997 | 10.9693
20.7 | 176.1696 | 11.1681
20.7167 | 172.7763 | 11.3628
20.7333 | 166.4553 | 11.5572
20.75 | 157.5757 | 11.7348
20.7667 | 146.6006 | 11.8848
20.7833 | 134.027 | 12.0069
20.8 | 120.3333 | 12.0997
20.8167 | 105.9521 | 12.1465
20.8333 | 91.2415 | 12.1563
20.85 | 76.4802 | 12.123
20.8667 | 61.8727 | 12.057
20.8833 | 47.5682 | 11.9646
20.9 | 33.6879 | 11.8453
20.9167 | 20.349 | 11.7023
20.9333 | 7.6772 | 11.5453
20.95 | -4.1846 | 11.372
20.9667 | -15.0704 | 11.2022
20.9833 | -24.7983 | 11.0363
21 | -33.1945 | 10.8837
21.0167 | -40.1116 | 10.7432
21.0333 | -45.4426 | 10.6184
21.05 | -49.135 | 10.5077
21.0667 | -51.211 | 10.4136
21.0833 | -51.7626 | 10.3262
21.1 | -50.9374 | 10.2671
21.1167 | -48.9363 | 10.2013
21.1333 | -45.9914 | 10.1557
21.15 | -42.3481 | 10.1156
21.1667 | -38.2482 | 10.0831
21.1833 | -33.9121 | 10.0658
21.2 | -29.5333 | 10.0449
21.2167 | -25.2662 | 10.0321
21.2333 | -21.2233 | 10.0224
21.25 | -17.488 | 10.013
21.2667 | -14.1138 | 10.0152
21.2833 | -11.1198 | 10.0129
21.3 | -8.5048 | 10.0141
21.3167 | -6.2546 | 10.0181
21.3333 | -4.347 | 10.0249
21.35 | -2.7569 | 10.0358
21.3667 | -1.4521 | 10.0359
21.3833 | -0.39367 | 10.044
21.4 | 0.45093 | 10.0533
21.4167 | 1.1097 | 10.0703
21.4333 | 1.6122 | 10.0729
21.45 | 1.9827 | 10.0799
21.4667 | 2.2438 | 10.079
21.4833 | 2.4199 | 10.0791
21.5 | 2.5273 | 10.069
21.5167 | 2.5798 | 10.0655
21.5333 | 2.5899 | 10.0622
21.55 | 2.566 | 10.0564
21.5667 | 2.5182 | 10.0474
21.5833 | 2.4546 | 10.033
21.6 | 2.3803 | 10.0141
21.6167 | 2.3008 | 9.9912
21.6333 | 2.2195 | 9.9567
21.65 | 2.1374 | 9.9155
21.6667 | 2.0525 | 9.8521
21.6833 | 1.9691 | 9.775
21.7 | 1.8916 | 9.6784
21.7167 | 1.8177 | 9.5716
21.7333 | 1.7467 | 9.4247
21.75 | 1.6792 | 9.2437
21.7667 | 1.615 | 9.0273
21.7833 | 1.555 | 8.7652
21.8 | 1.4969 | 8.4632
21.8167 | 1.4411 | 8.1223
21.8333 | 1.3896 | 7.7467
21.85 | 1.3395 | 7.3403
21.8667 | 1.2912 | 6.9257
21.8833 | 1.2468 | 6.4867
21.9 | 1.2043 | 6.0656
21.9167 | 1.1627 | 5.6576
21.9333 | 1.1248 | 5.2859
21.95 | 1.0901 | 4.9537
21.9667 | 1.0579 | 4.6906
21.9833 | 1.027 | 4.4846
22 | 0.99736 | 4.3659
22.0167 | 0.9684 | 4.3301
22.0333 | 0.94135 | 4.3745
22.05 | 0.91537 | 4.5075
22.0667 | 0.89251 | 4.7033
22.0833 | 0.87272 | 4.9781
22.1 | 0.85137 | 5.2973
22.1167 | 0.83096 | 5.6643
22.1333 | 0.81597 | 6.0508
22.15 | 0.80279 | 6.4495
22.1667 | 0.78969 | 6.8513
22.1833 | 0.78006 | 7.2451
22.2 | 0.77509 | 7.6237
22.2167 | 0.77711 | 7.9993
22.2333 | 0.78862 | 8.3164
22.25 | 0.81188 | 8.5987
22.2667 | 0.84978 | 8.8398
22.2833 | 0.90894 | 9.0586
22.3 | 0.99472 | 9.2406
22.3167 | 1.1152 | 9.3922
22.3333 | 1.2797 | 9.5115
22.35 | 1.4966 | 9.6226
22.3667 | 1.7797 | 9.7091
22.3833 | 2.1408 | 9.7634
22.4 | 2.5909 | 9.8089
22.4167 | 3.1415 | 9.8365
22.4333 | 3.7976 | 9.8591
22.45 | 4.5653 | 9.8635
22.4667 | 5.451 | 9.8493
22.4833 | 6.453 | 9.815
22.5 | 7.5616 | 9.7808
22.5167 | 8.761 | 9.7239
22.5333 | 10.0308 | 9.6572
22.55 | 11.342 | 9.5699
22.5667 | 12.6626 | 9.4741
22.5833 | 13.9565 | 9.3539
22.6 | 15.1837 | 9.23
22.6167 | 16.3029 | 9.0907
22.6333 | 17.2744 | 8.9346
22.65 | 18.0632 | 8.7765
22.6667 | 18.6415 | 8.6228
22.6833 | 18.9908 | 8.4658
22.7 | 19.0994 | 8.3181
22.7167 | 18.9636 | 8.1849
22.7333 | 18.5905 | 8.0619
22.75 | 17.9972 | 7.9661
22.7667 | 17.2081 | 7.8971
22.7833 | 16.2563 | 7.8661
22.8 | 15.1776 | 7.8513
22.8167 | 14.0071 | 7.859
22.8333 | 12.7846 | 7.906
22.85 | 11.5457 | 7.9755
22.8667 | 10.3206 | 8.065
22.8833 | 9.1349 | 8.1713
22.9 | 8.0099 | 8.2928
22.9167 | 6.9641 | 8.4347
22.9333 | 6.0092 | 8.5809
22.95 | 5.1493 | 8.7246
22.9667 | 4.3871 | 8.8712
22.9833 | 3.7225 | 9.0102
23 | 3.1489 | 9.1392
23.0167 | 2.6595 | 9.2716
23.0333 | 2.249 | 9.3876
23.05 | 1.9071 | 9.4888
23.0667 | 1.6231 | 9.5751
23.0833 | 1.3933 | 9.6531
23.1 | 1.2072 | 9.7192
23.1167 | 1.0538 | 9.7776
23.1333 | 0.9301 | 9.827
23.15 | 0.83309 | 9.8754
23.1667 | 0.75589 | 9.9088
23.1833 | 0.69345 | 9.9348
23.2 | 0.64321 | 9.9552
23.2167 | 0.60178 | 9.9781
23.2333 | 0.56898 | 9.9938
23.25 | 0.54291 | 10.0103
23.2667 | 0.5207 | 10.0167
23.2833 | 0.50122 | 10.0192
23.3 | 0.48329 | 10.0214
23.3167 | 0.46865 | 10.0289
23.3333 | 0.45794 | 10.0259
23.35 | 0.4481 | 10.0304
23.3667 | 0.43725 | 10.042
23.3833 | 0.42653 | 10.0404
23.4 | 0.41911 | 10.0414
23.4167 | 0.41446 | 10.0431
23.4333 | 0.40746 | 10.0431
23.45 | 0.39991 | 10.0442
23.4667 | 0.39449 | 10.0471
23.4833 | 0.38859 | 10.0513
23.5 | 0.38347 | 10.0535
23.5167 | 0.3784 | 10.0542
23.5333 | 0.37388 | 10.05
23.55 | 0.37054 | 10.0434
23.5667 | 0.3666 | 10.0362
23.5833 | 0.36177 | 10.0425
23.6 | 0.35755 | 10.0475
23.6167 | 0.35475 | 10.0489
23.6333 | 0.35122 | 10.0523
23.65 | 0.34537 | 10.0478
23.6667 | 0.3405 | 10.0553
23.6833 | 0.33873 | 10.0559
23.7 | 0.33705 | 10.064
23.7167 | 0.33262 | 10.0561
23.7333 | 0.32587 | 10.051
23.75 | 0.31945 | 10.0503
23.7667 | 0.31559 | 10.0552
23.7833 | 0.31278 | 10.052
23.8 | 0.30842 | 10.0472
23.8167 | 0.30474 | 10.0488
23.8333 | 0.30344 | 10.0466
23.85 | 0.30243 | 10.0451
23.8667 | 0.30111 | 10.0472
23.8833 | 0.29794 | 10.053
23.9 | 0.29407 | 10.0488
23.9167 | 0.29139 | 10.0434
23.9333 | 0.28762 | 10.035
23.95 | 0.28262 | 10.0378
23.9667 | 0.27912 | 10.0335
23.9833 | 0.27721 | 10.0379
24 | 0.27446 | 10.0376
24.0167 | 0.27124 | 10.039
24.0333 | 0.27043 | 10.039
24.05 | 0.27042 | 10.0382
24.0667 | 0.26779 | 10.0375
24.0833 | 0.26564 | 10.0436
24.1 | 0.26163 | 10.0454
24.1167 | 0.25622 | 10.0512
24.1333 | 0.25499 | 10.0546
24.15 | 0.25354 | 10.0562
24.1667 | 0.25051 | 10.0593
24.1833 | 0.2495 | 10.0594
24.2 | 0.24884 | 10.0608
24.2167 | 0.24813 | 10.0585
24.2333 | 0.24651 | 10.0513
24.25 | 0.24407 | 10.0468
24.2667 | 0.24192 | 10.0542
24.2833 | 0.23924 | 10.0518
24.3 | 0.23746 | 10.0524
24.3167 | 0.23789 | 10.0518
24.3333 | 0.23775 | 10.0555
24.35 | 0.23555 | 10.0559
24.3667 | 0.23442 | 10.0573
24.3833 | 0.23334 | 10.0556
24.4 | 0.23138 | 10.061
24.4167 | 0.23091 | 10.0539
24.4333 | 0.23 | 10.0518
24.45 | 0.22761 | 10.0419
24.4667 | 0.22524 | 10.0526
24.4833 | 0.22471 | 10.0564
24.5 | 0.22489 | 10.0474
24.5167 | 0.22356 | 10.0455
24.5333 | 0.22124 | 10.0376
24.55 | 0.21765 | 10.0446
24.5667 | 0.21312 | 10.0491
24.5833 | 0.211 | 10.0408
24.6 | 0.2107 | 10.0408
24.6167 | 0.21094 | 10.0488
24.6333 | 0.20974 | 10.0527
24.65 | 0.20849 | 10.0452
24.6667 | 0.20868 | 10.0376
24.6833 | 0.20927 | 10.0489
24.7 | 0.20921 | 10.0443
24.7167 | 0.20915 | 10.041
24.7333 | 0.20813 | 10.0399
24.75 | 0.20526 | 10.0397
24.7667 | 0.20366 | 10.0375
24.7833 | 0.20283 | 10.0343
24.8 | 0.20206 | 10.0278
24.8167 | 0.20146 | 10.0312
24.8333 | 0.20147 | 10.0288
24.85 | 0.20127 | 10.0321
24.8667 | 0.19853 | 10.0388
24.8833 | 0.19759 | 10.0373
24.9 | 0.19909 | 10.0341
24.9167 | 0.19835 | 10.0405
24.9333 | 0.19567 | 10.0385
24.95 | 0.19395 | 10.0442
24.9667 | 0.19305 | 10.0404
24.9833 | 0.19216 | 10.0388
25 | 0.19109 | 10.0376
25.0167 | 0.19146 | 10.0439
25.0333 | 0.19126 | 10.0452
25.05 | 0.18899 | 10.0481
25.0667 | 0.18775 | 10.0459
25.0833 | 0.18643 | 10.0474
25.1 | 0.18621 | 10.0486
25.1167 | 0.18758 | 10.0484
25.1333 | 0.18703 | 10.0396
25.15 | 0.18464 | 10.0451
25.1667 | 0.18172 | 10.0451
25.1833 | 0.18072 | 10.0411
25.2 | 0.18162 | 10.0448
25.2167 | 0.18233 | 10.0401
25.2333 | 0.18221 | 10.0416
25.25 | 0.18089 | 10.0433
25.2667 | 0.17946 | 10.0451
25.2833 | 0.17826 | 10.0385
25.3 | 0.17582 | 10.0469
25.3167 | 0.17542 | 10.046
25.3333 | 0.17613 | 10.0439
25.35 | 0.17595 | 10.0385
25.3667 | 0.17487 | 10.0423
25.3833 | 0.17291 | 10.0437
25.4 | 0.17304 | 10.0506
25.4167 | 0.17375 | 10.0556
25.4333 | 0.17309 | 10.0529
25.45 | 0.17201 | 10.0582
25.4667 | 0.17052 | 10.0573
25.4833 | 0.16831 | 10.0567
25.5 | 0.16562 | 10.061
25.5167 | 0.16331 | 10.0523
25.5333 | 0.16326 | 10.0481
25.55 | 0.16422 | 10.0497
25.5667 | 0.16451 | 10.05
25.5833 | 0.163 | 10.0574
25.6 | 0.16056 | 10.0626
25.6167 | 0.15986 | 10.0695
25.6333 | 0.16106 | 10.0631
25.65 | 0.16134 | 10.0628
25.6667 | 0.15913 | 10.0652
25.6833 | 0.15621 | 10.069
25.7 | 0.15569 | 10.0726
25.7167 | 0.15556 | 10.0835
25.7333 | 0.15515 | 10.084
25.75 | 0.15479 | 10.0837
25.7667 | 0.15402 | 10.0846
25.7833 | 0.15366 | 10.0802
25.8 | 0.15324 | 10.0791
25.8167 | 0.15396 | 10.0837
25.8333 | 0.15316 | 10.0793
25.85 | 0.14911 | 10.0878
25.8667 | 0.14735 | 10.0866
25.8833 | 0.14782 | 10.088
25.9 | 0.14722 | 10.0845
25.9167 | 0.14776 | 10.0768
25.9333 | 0.14751 | 10.0748
25.95 | 0.14663 | 10.0755
25.9667 | 0.14693 | 10.0684
25.9833 | 0.14572 | 10.0701
26 | 0.14394 | 10.0707
26.0167 | 0.14455 | 10.0613
26.0333 | 0.1452 | 10.0652
26.05 | 0.14598 | 10.0675
26.0667 | 0.14645 | 10.0689
26.0833 | 0.14573 | 10.0681
26.1 | 0.14489 | 10.0729
26.1167 | 0.1431 | 10.0721
26.1333 | 0.14228 | 10.0718
26.15 | 0.14173 | 10.0698
26.1667 | 0.13982 | 10.0726
26.1833 | 0.13996 | 10.0694
26.2 | 0.14048 | 10.0726
26.2167 | 0.13881 | 10.0703
26.2333 | 0.13841 | 10.0753
26.25 | 0.13917 | 10.0742
26.2667 | 0.13695 | 10.0733
26.2833 | 0.13531 | 10.0755
26.3 | 0.1368 | 10.0672
26.3167 | 0.13691 | 10.0661
26.3333 | 0.13595 | 10.068
26.35 | 0.13596 | 10.0675
26.3667 | 0.13637 | 10.0677
26.3833 | 0.13451 | 10.0591
26.4 | 0.13195 | 10.0651
26.4167 | 0.13143 | 10.0668
26.4333 | 0.13287 | 10.0642
26.45 | 0.13513 | 10.0555
26.4667 | 0.13553 | 10.0509
26.4833 | 0.13398 | 10.0509
26.5 | 0.13297 | 10.0507
26.5167 | 0.13208 | 10.0529
26.5333 | 0.13203 | 10.0558
26.55 | 0.13304 | 10.0532
26.5667 | 0.13243 | 10.0471
26.5833 | 0.1316 | 10.0477
26.6 | 0.13082 | 10.0576
26.6167 | 0.12958 | 10.0582
26.6333 | 0.13001 | 10.0587
26.65 | 0.13119 | 10.0565
26.6667 | 0.13028 | 10.0532
26.6833 | 0.12796 | 10.0515
26.7 | 0.12672 | 10.0475
26.7167 | 0.12696 | 10.0507
26.7333 | 0.12485 | 10.0433
26.75 | 0.1229 | 10.0399
26.7667 | 0.12212 | 10.0344
26.7833 | 0.12009 | 10.0428
26.8 | 0.11969 | 10.039
26.8167 | 0.12016 | 10.0423
26.8333 | 0.11926 | 10.0436
26.85 | 0.11915 | 10.0497
26.8667 | 0.12017 | 10.053
26.8833 | 0.12058 | 10.0478
26.9 | 0.12178 | 10.0477
26.9167 | 0.12273 | 10.0527
26.9333 | 0.1217 | 10.0495
26.95 | 0.11925 | 10.0425
26.9667 | 0.11687 | 10.043
26.9833 | 0.11515 | 10.0378
27 | 0.1151 | 10.0426
27.0167 | 0.11618 | 10.0526
27.0333 | 0.11641 | 10.0451
27.05 | 0.11556 | 10.0448
27.0667 | 0.11293 | 10.0495
27.0833 | 0.1108 | 10.0492
27.1 | 0.11152 | 10.0478
27.1167 | 0.11073 | 10.0407
27.1333 | 0.10943 | 10.0455
27.15 | 0.1092 | 10.0497
27.1667 | 0.11004 | 10.0501
27.1833 | 0.11135 | 10.0533
27.2 | 0.1108 | 10.0512
27.2167 | 0.10979 | 10.0513
27.2333 | 0.10895 | 10.0504
27.25 | 0.10902 | 10.0521
27.2667 | 0.10997 | 10.0498
27.2833 | 0.10786 | 10.0503
27.3 | 0.10549 | 10.055
27.3167 | 0.10538 | 10.0517
27.3333 | 0.1052 | 10.051
27.35 | 0.10508 | 10.0526
27.3667 | 0.10347 | 10.0506
27.3833 | 0.10336 | 10.0562
27.4 | 0.10437 | 10.0533
27.4167 | 0.10485 | 10.06
27.4333 | 0.10424 | 10.0605
27.45 | 0.10245 | 10.0571
27.4667 | 0.10253 | 10.061
27.4833 | 0.10359 | 10.0694
27.5 | 0.10245 | 10.0663
27.5167 | 0.10097 | 10.0681
27.5333 | 0.10187 | 10.0603
27.55 | 0.10246 | 10.057
27.5667 | 0.10096 | 10.0538
27.5833 | 0.099535 | 10.0532
27.6 | 0.099301 | 10.052
27.6167 | 0.098458 | 10.0552
27.6333 | 0.097031 | 10.0574
27.65 | 0.096737 | 10.0634
27.6667 | 0.095958 | 10.0675
27.6833 | 0.095791 | 10.0709
27.7 | 0.097401 | 10.0636
27.7167 | 0.097144 | 10.0694
27.7333 | 0.095422 | 10.0739
27.75 | 0.095548 | 10.078
27.7667 | 0.095486 | 10.078
27.7833 | 0.094758 | 10.08
27.8 | 0.091167 | 10.0761
27.8167 | 0.087787 | 10.0707
27.8333 | 0.08732 | 10.0777
27.85 | 0.08666 | 10.0761
27.8667 | 0.087514 | 10.0752
27.8833 | 0.090011 | 10.0782
27.9 | 0.089634 | 10.0809
27.9167 | 0.087181 | 10.0834
27.9333 | 0.083243 | 10.0863
27.95 | 0.080464 | 10.0745
27.9667 | 0.082756 | 10.071
27.9833 | 0.08644 | 10.0756
28 | 0.086477 | 10.0729
28.0167 | 0.084447 | 10.0692
28.0333 | 0.082784 | 10.0716
28.05 | 0.082736 | 10.068
28.0667 | 0.083267 | 10.0718
28.0833 | 0.08315 | 10.0726
28.1 | 0.083987 | 10.0735
28.1167 | 0.083616 | 10.0709
28.1333 | 0.082368 | 10.0745
28.15 | 0.081955 | 10.0756
28.1667 | 0.082622 | 10.0665
28.1833 | 0.083985 | 10.0698
28.2 | 0.083259 | 10.0681
28.2167 | 0.081711 | 10.0668
28.2333 | 0.081001 | 10.0663
28.25 | 0.080457 | 10.0651
28.2667 | 0.077825 | 10.0536
28.2833 | 0.076658 | 10.0578
28.3 | 0.078869 | 10.0558
28.3167 | 0.07951 | 10.0625
28.3333 | 0.078554 | 10.0584
28.35 | 0.078327 | 10.0594
28.3667 | 0.080421 | 10.0603
28.3833 | 0.080992 | 10.0623
28.4 | 0.078063 | 10.0706
28.4167 | 0.075749 | 10.0726
28.4333 | 0.07492 | 10.0689
28.45 | 0.074743 | 10.0698
28.4667 | 0.074806 | 10.0782
28.4833 | 0.075766 | 10.0813
28.5 | 0.076532 | 10.0809
28.5167 | 0.075934 | 10.0871
28.5333 | 0.075876 | 10.0837
28.55 | 0.075033 | 10.0724
28.5667 | 0.073848 | 10.078
28.5833 | 0.073853 | 10.0857
28.6 | 0.073787 | 10.0858
28.6167 | 0.072468 | 10.0884
28.6333 | 0.071286 | 10.0912
28.65 | 0.072251 | 10.0953
28.6667 | 0.073798 | 10.0977
28.6833 | 0.073606 | 10.1
28.7 | 0.073016 | 10.104
28.7167 | 0.073551 | 10.099
28.7333 | 0.071986 | 10.0977
28.75 | 0.070573 | 10.0871
28.7667 | 0.07165 | 10.0872
28.7833 | 0.071339 | 10.0829
28.8 | 0.069184 | 10.0777
28.8167 | 0.066931 | 10.0721
28.8333 | 0.068506 | 10.0695
28.85 | 0.071477 | 10.0712
28.8667 | 0.071819 | 10.0628
28.8833 | 0.071592 | 10.069
28.9 | 0.073808 | 10.0639
28.9167 | 0.074736 | 10.0611
28.9333 | 0.071618 | 10.0657
28.95 | 0.068112 | 10.0661
28.9667 | 0.066754 | 10.0631
28.9833 | 0.066819 | 10.0639
29 | 0.066815 | 10.0593
29.0167 | 0.066456 | 10.0582
29.0333 | 0.065796 | 10.0553
29.05 | 0.064243 | 10.0584
29.0667 | 0.062638 | 10.0541
29.0833 | 0.062411 | 10.0565
29.1 | 0.06427 | 10.0527
29.1167 | 0.066224 | 10.0488
29.1333 | 0.064774 | 10.0439
29.15 | 0.063063 | 10.0454
29.1667 | 0.064383 | 10.042
29.1833 | 0.064121 | 10.0504
29.2 | 0.061558 | 10.051
29.2167 | 0.060256 | 10.0455
29.2333 | 0.059541 | 10.0426
29.25 | 0.05961 | 10.0361
29.2667 | 0.060743 | 10.0359
29.2833 | 0.060913 | 10.0329
29.3 | 0.060497 | 10.0358
29.3167 | 0.06038 | 10.0376
29.3333 | 0.060741 | 10.0411
29.35 | 0.061634 | 10.0402
29.3667 | 0.061146 | 10.0439
29.3833 | 0.060081 | 10.042
29.4 | 0.060742 | 10.0399
29.4167 | 0.060973 | 10.0349
29.4333 | 0.059951 | 10.0353
29.45 | 0.056961 | 10.0346
29.4667 | 0.054594 | 10.043
29.4833 | 0.055683 | 10.0436
29.5 | 0.057348 | 10.0416
29.5167 | 0.058421 | 10.0362
29.5333 | 0.060815 | 10.0381
29.55 | 0.062768 | 10.0388
29.5667 | 0.062224 | 10.0388
29.5833 | 0.062229 | 10.0391
29.6 | 0.062163 | 10.0384
29.6167 | 0.060968 | 10.039
29.6333 | 0.059655 | 10.0394
29.65 | 0.058045 | 10.028
29.6667 | 0.05722 | 10.0263
29.6833 | 0.057763 | 10.0263
29.7 | 0.058113 | 10.0233
29.7167 | 0.057214 | 10.0181
29.7333 | 0.056926 | 10.0202
29.75 | 0.057941 | 10.0225
29.7667 | 0.057267 | 10.0175
29.7833 | 0.055491 | 10.0249
29.8 | 0.05748 | 10.0184
29.8167 | 0.059486 | 10.0196
29.8333 | 0.058221 | 10.0141
29.85 | 0.056319 | 10.0138
29.8667 | 0.056512 | 10.0039
29.8833 | 0.057578 | 10.006
29.9 | 0.056796 | 10.0097
29.9167 | 0.055603 | 10.0172
29.9333 | 0.054351 | 10.0207
29.95 | 0.052981 | 10.0156
29.9667 | 0.052696 | 10.0222
29.9833 | 0.054189 | 10.0367
30 | 0.053631 | 10.0344
30.0167 | 0.050055

## MW Results
Administrative Information
File name | ICF_25_05_2022-0015.sample
Analysed by | Agilent GPC 1
Date of analysis | 26 May 2022 11:54:33
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 35192 | 29701 | 36711 | 43902 | 51391 | 35679 | 1.236
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 9.5833 | 13.0667
Baseline region 2 | 24.5833 | 28.8333
Peaks | Start (mins) | End (mins)
Peak 1 | 14.2 | 16.65
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 15.0667 | 1575.3755 | 28.2646
| RI | 15.1833 | 163.8158 | 3.5513
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.2833 | 20.1167
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 26 May 2022 11:54:33
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6833
FRCF | 0.99238
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.2 | 2.3054 | -0.0053611 | 0 | 0 | 1 | 124976 | 5.0968 | 0 | No | 1
14.2167 | 2.487 | -0.0015819 | 0.0019378 | 0 | 1 | 122255 | 5.0873 | 0.0012378 | No | 1
14.2333 | 2.6899 | 0.0038757 | 0.0056127 | 2.3656e-05 | 0.99999 | 119595 | 5.0777 | 0.0035881 | No | 1
14.25 | 2.9195 | 0.0073496 | 0.011375 | 4.486e-05 | 0.99995 | 116995 | 5.0682 | 0.0072786 | No | 1
14.2667 | 3.181 | 0.015401 | 0.019351 | 9.4005e-05 | 0.99988 | 114455 | 5.0586 | 0.012392 | No | 1
14.2833 | 3.4765 | 0.0233 | 0.024961 | 0.00014222 | 0.99977 | 111971 | 5.0491 | 0.015999 | No | 1
14.3 | 3.806 | 0.026622 | 0.028587 | 0.00016249 | 0.99961 | 109543 | 5.0396 | 0.018339 | No | 1
14.3167 | 4.1718 | 0.030553 | 0.03908 | 0.00018649 | 0.99944 | 107170 | 5.0301 | 0.025093 | No | 1
14.3333 | 4.5802 | 0.047608 | 0.056898 | 0.00029058 | 0.9992 | 104850 | 5.0206 | 0.036564 | No | 1
14.35 | 5.0323 | 0.066188 | 0.074181 | 0.00040399 | 0.99885 | 102583 | 5.0111 | 0.047712 | No | 1
14.3667 | 5.525 | 0.082174 | 0.093982 | 0.00050157 | 0.9984 | 100366 | 5.0016 | 0.0605 | No | 1
14.3833 | 6.0535 | 0.10579 | 0.12271 | 0.00064571 | 0.99783 | 98200 | 4.9921 | 0.079061 | No | 1
14.4 | 6.6168 | 0.13963 | 0.15258 | 0.00085225 | 0.99708 | 96081 | 4.9826 | 0.098391 | No | 1
14.4167 | 7.2131 | 0.16553 | 0.17749 | 0.0010104 | 0.99615 | 94011 | 4.9732 | 0.11455 | No | 1
14.4333 | 7.8338 | 0.18945 | 0.21118 | 0.0011564 | 0.99506 | 91986 | 4.9637 | 0.13641 | No | 1
14.45 | 8.4701 | 0.23291 | 0.25433 | 0.0014216 | 0.99377 | 90007 | 4.9543 | 0.16443 | No | 1
14.4667 | 9.1173 | 0.27575 | 0.29984 | 0.0016831 | 0.99222 | 88072 | 4.9448 | 0.19402 | No | 1
14.4833 | 9.7644 | 0.32393 | 0.34459 | 0.0019772 | 0.99039 | 86180 | 4.9354 | 0.22316 | No | 1
14.5 | 10.4028 | 0.36525 | 0.39506 | 0.0022294 | 0.98829 | 84331 | 4.926 | 0.25607 | No | 1
14.5167 | 11.0284 | 0.42487 | 0.44965 | 0.0025933 | 0.98588 | 82523 | 4.9166 | 0.2917 | No | 1
14.5333 | 11.6303 | 0.47443 | 0.5031 | 0.0028958 | 0.98313 | 80755 | 4.9072 | 0.32665 | No | 1
14.55 | 12.2027 | 0.53176 | 0.55837 | 0.0032457 | 0.98006 | 79026 | 4.8978 | 0.36285 | No | 1
14.5667 | 12.7449 | 0.58498 | 0.61541 | 0.0035706 | 0.97665 | 77336 | 4.8884 | 0.40026 | No | 1
14.5833 | 13.2562 | 0.64583 | 0.67656 | 0.003942 | 0.97289 | 75683 | 4.879 | 0.4404 | No | 1
14.6 | 13.7342 | 0.70729 | 0.73657 | 0.0043171 | 0.96876 | 74067 | 4.8696 | 0.47987 | No | 1
14.6167 | 14.183 | 0.76584 | 0.79345 | 0.0046745 | 0.96427 | 72487 | 4.8603 | 0.51737 | No | 1
14.6333 | 14.6114 | 0.82105 | 0.84399 | 0.0050114 | 0.95942 | 70942 | 4.8509 | 0.55079 | No | 1
14.65 | 15.0229 | 0.86694 | 0.89546 | 0.0052916 | 0.95427 | 69431 | 4.8416 | 0.58487 | No | 1
14.6667 | 15.4247 | 0.92397 | 0.94844 | 0.0056397 | 0.94881 | 67953 | 4.8322 | 0.62001 | No | 1
14.6833 | 15.8286 | 0.97292 | 0.99373 | 0.0059384 | 0.94302 | 66508 | 4.8229 | 0.65016 | No | 1
14.7 | 16.2425 | 1.0145 | 1.0382 | 0.0061925 | 0.93695 | 65095 | 4.8135 | 0.67986 | No | 1
14.7167 | 16.6711 | 1.062 | 1.0832 | 0.0064819 | 0.93061 | 63713 | 4.8042 | 0.70991 | No | 1
14.7333 | 17.1224 | 1.1045 | 1.1277 | 0.0067415 | 0.924 | 62362 | 4.7949 | 0.73971 | No | 1
14.75 | 17.6088 | 1.151 | 1.1741 | 0.0070254 | 0.91712 | 61040 | 4.7856 | 0.77076 | No | 1
14.7667 | 18.135 | 1.1972 | 1.2258 | 0.0073073 | 0.90995 | 59748 | 4.7763 | 0.80537 | No | 1
14.7833 | 18.6999 | 1.2544 | 1.286 | 0.0076564 | 0.90247 | 58484 | 4.767 | 0.84566 | No | 1
14.8 | 19.3061 | 1.3177 | 1.3533 | 0.0080427 | 0.89462 | 57247 | 4.7578 | 0.89063 | No | 1
14.8167 | 19.9539 | 1.3889 | 1.4282 | 0.0084774 | 0.88635 | 56038 | 4.7485 | 0.94071 | No | 1
14.8333 | 20.6399 | 1.4674 | 1.5091 | 0.0089568 | 0.87764 | 54855 | 4.7392 | 0.99483 | No | 1
14.85 | 21.3568 | 1.5507 | 1.5952 | 0.0094651 | 0.86842 | 53699 | 4.73 | 1.0525 | No | 1
14.8667 | 22.0962 | 1.6396 | 1.6882 | 0.010008 | 0.85869 | 52567 | 4.7207 | 1.1148 | No | 1
14.8833 | 22.8473 | 1.7368 | 1.7914 | 0.010601 | 0.84838 | 51461 | 4.7115 | 1.1839 | No | 1
14.9 | 23.5976 | 1.846 | 1.9052 | 0.011268 | 0.83745 | 50378 | 4.7022 | 1.2602 | No | 1
14.9167 | 24.3358 | 1.9644 | 2.0234 | 0.01199 | 0.82582 | 49319 | 4.693 | 1.3394 | No | 1
14.9333 | 25.0465 | 2.0823 | 2.1514 | 0.01271 | 0.81346 | 48284 | 4.6838 | 1.4254 | No | 1
14.95 | 25.7154 | 2.2205 | 2.2921 | 0.013553 | 0.80033 | 47270 | 4.6746 | 1.5199 | No | 1
14.9667 | 26.3307 | 2.3638 | 2.4361 | 0.014428 | 0.78634 | 46279 | 4.6654 | 1.6167 | No | 1
14.9833 | 26.8804 | 2.5085 | 2.577 | 0.015311 | 0.77147 | 45310 | 4.6562 | 1.7116 | No | 1
15 | 27.3516 | 2.6455 | 2.7138 | 0.016148 | 0.75574 | 44361 | 4.647 | 1.8039 | No | 1
15.0167 | 27.7337 | 2.7821 | 2.8475 | 0.016981 | 0.73917 | 43434 | 4.6378 | 1.8944 | No | 1
15.0333 | 28.0154 | 2.9129 | 2.9713 | 0.01778 | 0.72179 | 42526 | 4.6287 | 1.9784 | No | 1
15.05 | 28.1921 | 3.0296 | 3.0865 | 0.018492 | 0.70365 | 41638 | 4.6195 | 2.0567 | No | 1
15.0667 | 28.2646 | 3.1433 | 3.1993 | 0.019186 | 0.68481 | 40769 | 4.6103 | 2.1337 | No | 1
15.0833 | 28.2291 | 3.2552 | 3.2994 | 0.019869 | 0.66528 | 39919 | 4.6012 | 2.2023 | No | 1
15.1 | 28.0873 | 3.3435 | 3.3796 | 0.020408 | 0.64514 | 39088 | 4.592 | 2.2577 | No | 1
15.1167 | 27.847 | 3.4157 | 3.4468 | 0.020848 | 0.62451 | 38274 | 4.5829 | 2.3044 | No | 1
15.1333 | 27.514 | 3.4779 | 3.4963 | 0.021228 | 0.60347 | 37478 | 4.5738 | 2.3394 | No | 1
15.15 | 27.0943 | 3.5146 | 3.5287 | 0.021452 | 0.58213 | 36700 | 4.5647 | 2.363 | No | 1
15.1667 | 26.5969 | 3.5427 | 3.547 | 0.021624 | 0.56058 | 35938 | 4.5556 | 2.3772 | No | 1
15.1833 | 26.0331 | 3.5513 | 3.5476 | 0.021676 | 0.53893 | 35192 | 4.5464 | 2.3796 | No | 1
15.2 | 25.4131 | 3.5438 | 3.5285 | 0.021631 | 0.51728 | 34463 | 4.5374 | 2.3687 | No | 1
15.2167 | 24.7483 | 3.5131 | 3.4929 | 0.021443 | 0.49574 | 33749 | 4.5283 | 2.3467 | No | 1
15.2333 | 24.0501 | 3.4727 | 3.4417 | 0.021196 | 0.47441 | 33050 | 4.5192 | 2.3142 | No | 1
15.25 | 23.3264 | 3.4108 | 3.3717 | 0.020819 | 0.4534 | 32367 | 4.5101 | 2.269 | No | 1
15.2667 | 22.5877 | 3.3327 | 3.2885 | 0.020342 | 0.43282 | 31698 | 4.501 | 2.2147 | No | 1
15.2833 | 21.845 | 3.2443 | 3.2044 | 0.019802 | 0.41275 | 31044 | 4.492 | 2.1599 | No | 1
15.3 | 21.103 | 3.1646 | 3.1147 | 0.019316 | 0.39319 | 30403 | 4.4829 | 2.1011 | No | 1
15.3167 | 20.3689 | 3.0648 | 3.0129 | 0.018706 | 0.37417 | 29777 | 4.4739 | 2.0341 | No | 1
15.3333 | 19.6499 | 2.9611 | 2.9046 | 0.018074 | 0.35578 | 29163 | 4.4648 | 1.9625 | No | 1
15.35 | 18.9472 | 2.848 | 2.7907 | 0.017384 | 0.33805 | 28563 | 4.4558 | 1.8871 | No | 1
15.3667 | 18.2622 | 2.7334 | 2.6766 | 0.016684 | 0.32102 | 27976 | 4.4468 | 1.8114 | No | 1
15.3833 | 17.5982 | 2.6198 | 2.5656 | 0.015991 | 0.30468 | 27401 | 4.4378 | 1.7376 | No | 1
15.4 | 16.9548 | 2.5113 | 2.4602 | 0.015328 | 0.28901 | 26838 | 4.4288 | 1.6676 | No | 1
15.4167 | 16.3316 | 2.4092 | 2.3535 | 0.014705 | 0.274 | 26288 | 4.4198 | 1.5965 | No | 1
15.4333 | 15.7289 | 2.2978 | 2.2445 | 0.014025 | 0.25963 | 25749 | 4.4108 | 1.5238 | No | 1
15.45 | 15.1466 | 2.1912 | 2.1414 | 0.013375 | 0.24593 | 25221 | 4.4018 | 1.455 | No | 1
15.4667 | 14.5822 | 2.0915 | 2.0419 | 0.012766 | 0.23286 | 24705 | 4.3928 | 1.3885 | No | 1
15.4833 | 14.0312 | 1.9923 | 1.9414 | 0.012161 | 0.22039 | 24200 | 4.3838 | 1.3212 | No | 1
15.5 | 13.4928 | 1.8905 | 1.8433 | 0.011539 | 0.20854 | 23706 | 4.3749 | 1.2555 | No | 1
15.5167 | 12.9684 | 1.7962 | 1.7489 | 0.010963 | 0.19729 | 23222 | 4.3659 | 1.1921 | No | 1
15.5333 | 12.4585 | 1.7017 | 1.6626 | 0.010387 | 0.18661 | 22748 | 4.3569 | 1.1342 | No | 1
15.55 | 11.96 | 1.6235 | 1.5837 | 0.0099096 | 0.17646 | 22284 | 4.348 | 1.0812 | No | 1
15.5667 | 11.4708 | 1.5438 | 1.5057 | 0.0094232 | 0.16679 | 21830 | 4.3391 | 1.0288 | No | 1
15.5833 | 10.9909 | 1.4675 | 1.4329 | 0.0089573 | 0.1576 | 21386 | 4.3301 | 0.97982 | No | 1
15.6 | 10.52 | 1.3984 | 1.3652 | 0.0085352 | 0.14886 | 20951 | 4.3212 | 0.93426 | No | 1
15.6167 | 10.0574 | 1.3321 | 1.2957 | 0.0081308 | 0.14052 | 20525 | 4.3123 | 0.88737 | No | 1
15.6333 | 9.6044 | 1.2593 | 1.2252 | 0.0076863 | 0.13261 | 20108 | 4.3034 | 0.83978 | No | 1
15.65 | 9.1637 | 1.1912 | 1.158 | 0.0072707 | 0.12513 | 19700 | 4.2945 | 0.79431 | No | 1
15.6667 | 8.7368 | 1.1248 | 1.0963 | 0.0068653 | 0.11806 | 19301 | 4.2856 | 0.75259 | No | 1
15.6833 | 8.3177 | 1.0678 | 1.041 | 0.0065177 | 0.11137 | 18910 | 4.2767 | 0.7152 | No | 1
15.7 | 7.9041 | 1.0142 | 0.99194 | 0.0061906 | 0.10502 | 18527 | 4.2678 | 0.68201 | No | 1
15.7167 | 7.5057 | 0.96964 | 0.94475 | 0.0059184 | 0.098962 | 18152 | 4.2589 | 0.65007 | No | 1
15.7333 | 7.1237 | 0.91986 | 0.89139 | 0.0056146 | 0.093195 | 17785 | 4.2501 | 0.61383 | No | 1
15.75 | 6.7505 | 0.86291 | 0.83696 | 0.005267 | 0.087754 | 17426 | 4.2412 | 0.5768 | No | 1
15.7667 | 6.3893 | 0.811 | 0.78931 | 0.0049501 | 0.082645 | 17074 | 4.2323 | 0.54438 | No | 1
15.7833 | 6.0437 | 0.76763 | 0.74648 | 0.0046854 | 0.077826 | 16730 | 4.2235 | 0.51524 | No | 1
15.8 | 5.7108 | 0.72533 | 0.70379 | 0.0044272 | 0.073269 | 16393 | 4.2147 | 0.48615 | No | 1
15.8167 | 5.3899 | 0.68226 | 0.66759 | 0.0041643 | 0.068973 | 16063 | 4.2058 | 0.46151 | No | 1
15.8333 | 5.0831 | 0.65293 | 0.63681 | 0.0039853 | 0.064898 | 15740 | 4.197 | 0.44057 | No | 1
15.85 | 4.7883 | 0.6207 | 0.60283 | 0.0037886 | 0.061011 | 15423 | 4.1882 | 0.41738 | No | 1
15.8667 | 4.5044 | 0.58495 | 0.56724 | 0.0035704 | 0.057331 | 15113 | 4.1794 | 0.39304 | No | 1
15.8833 | 4.2346 | 0.54952 | 0.53409 | 0.0033541 | 0.053868 | 14810 | 4.1706 | 0.37035 | No | 1
15.9 | 3.9782 | 0.51866 | 0.50575 | 0.0031658 | 0.050608 | 14513 | 4.1618 | 0.35097 | No | 1
15.9167 | 3.733 | 0.49284 | 0.48077 | 0.0030081 | 0.04752 | 14222 | 4.153 | 0.33389 | No | 1
15.9333 | 3.4998 | 0.46869 | 0.45738 | 0.0028608 | 0.044586 | 13937 | 4.1442 | 0.31789 | No | 1
15.95 | 3.2779 | 0.44607 | 0.43744 | 0.0027227 | 0.041794 | 13658 | 4.1354 | 0.30426 | No | 1
15.9667 | 3.0672 | 0.4288 | 0.41375 | 0.0026173 | 0.039123 | 13385 | 4.1266 | 0.288 | No | 1
15.9833 | 2.8668 | 0.3987 | 0.38564 | 0.0024336 | 0.036598 | 13118 | 4.1179 | 0.26864 | No | 1
16 | 2.6773 | 0.37257 | 0.36302 | 0.0022741 | 0.034244 | 12856 | 4.1091 | 0.25308 | No | 1
16.0167 | 2.4965 | 0.35346 | 0.34276 | 0.0021574 | 0.032028 | 12599 | 4.1003 | 0.23914 | No | 1
16.0333 | 2.3247 | 0.33207 | 0.32007 | 0.0020268 | 0.029935 | 12348 | 4.0916 | 0.22347 | No | 1
16.05 | 2.1628 | 0.30807 | 0.29791 | 0.0018804 | 0.027981 | 12102 | 4.0829 | 0.20816 | No | 1
16.0667 | 2.01 | 0.28774 | 0.27994 | 0.0017563 | 0.026163 | 11861 | 4.0741 | 0.19575 | No | 1
16.0833 | 1.8661 | 0.27214 | 0.26869 | 0.0016611 | 0.024454 | 11625 | 4.0654 | 0.18803 | No | 1
16.1 | 1.7309 | 0.26524 | 0.25317 | 0.001619 | 0.022814 | 11394 | 4.0567 | 0.1773 | No | 1
16.1167 | 1.6033 | 0.2411 | 0.23528 | 0.0014716 | 0.021268 | 11168 | 4.048 | 0.1649 | No | 1
16.1333 | 1.4817 | 0.22947 | 0.21953 | 0.0014006 | 0.019832 | 10946 | 4.0393 | 0.15397 | No | 1
16.15 | 1.3685 | 0.20959 | 0.20179 | 0.0012793 | 0.018492 | 10729 | 4.0306 | 0.14164 | No | 1
16.1667 | 1.2642 | 0.19399 | 0.18902 | 0.0011841 | 0.01726 | 10516 | 4.0219 | 0.13277 | No | 1
16.1833 | 1.1663 | 0.18404 | 0.17792 | 0.0011233 | 0.016106 | 10308 | 4.0132 | 0.12507 | No | 1
16.2 | 1.074 | 0.1718 | 0.16797 | 0.0010486 | 0.01502 | 10104 | 4.0045 | 0.11816 | No | 1
16.2167 | 0.98843 | 0.16413 | 0.16145 | 0.0010018 | 0.013995 | 9904 | 3.9958 | 0.11366 | No | 1
16.2333 | 0.91018 | 0.15876 | 0.1537 | 0.00096901 | 0.013009 | 9709 | 3.9872 | 0.10829 | No | 1
16.25 | 0.83739 | 0.14865 | 0.14367 | 0.00090732 | 0.012071 | 9517 | 3.9785 | 0.10129 | No | 1
16.2667 | 0.76722 | 0.1387 | 0.13731 | 0.00084657 | 0.011194 | 9329 | 3.9698 | 0.096877 | No | 1
16.2833 | 0.70256 | 0.13591 | 0.13056 | 0.00082959 | 0.010356 | 9145 | 3.9612 | 0.092183 | No | 1
16.3 | 0.64619 | 0.1252 | 0.12304 | 0.00076417 | 0.0095587 | 8965 | 3.9526 | 0.086943 | No | 1
16.3167 | 0.59564 | 0.12089 | 0.11698 | 0.00073788 | 0.0088076 | 8788 | 3.9439 | 0.08272 | No | 1
16.3333 | 0.5492 | 0.11307 | 0.11008 | 0.00069016 | 0.0080935 | 8616 | 3.9353 | 0.077896 | No | 1
16.35 | 0.50639 | 0.10709 | 0.10188 | 0.00065362 | 0.0074215 | 8446 | 3.9267 | 0.072147 | No | 1
16.3667 | 0.46782 | 0.096674 | 0.094673 | 0.00059007 | 0.0067996 | 8280 | 3.918 | 0.067093 | No | 1
16.3833 | 0.43437 | 0.092672 | 0.091586 | 0.00056564 | 0.0062217 | 8118 | 3.9094 | 0.064952 | No | 1
16.4 | 0.40324 | 0.0905 | 0.089185 | 0.00055239 | 0.0056626 | 7958 | 3.9008 | 0.063296 | No | 1
16.4167 | 0.37486 | 0.08787 | 0.086861 | 0.00053634 | 0.0051182 | 7802 | 3.8922 | 0.061691 | No | 1
16.4333 | 0.35227 | 0.085851 | 0.085223 | 0.00052401 | 0.0045879 | 7650 | 3.8837 | 0.060572 | No | 1
16.45 | 0.33564 | 0.084595 | 0.080991 | 0.00051634 | 0.0040677 | 7500 | 3.8751 | 0.057606 | No | 1
16.4667 | 0.3228 | 0.077388 | 0.076759 | 0.00047235 | 0.0035733 | 7353 | 3.8665 | 0.054636 | No | 1
16.4833 | 0.3091 | 0.076131 | 0.073443 | 0.00046468 | 0.0031047 | 7209 | 3.8579 | 0.052313 | No | 1
16.5 | 0.29514 | 0.070755 | 0.064939 | 0.00043187 | 0.0026564 | 7069 | 3.8494 | 0.046289 | No | 1
16.5167 | 0.28626 | 0.059123 | 0.056282 | 0.00036087 | 0.00226 | 6931 | 3.8408 | 0.040147 | No | 1
16.5333 | 0.27979 | 0.053442 | 0.051288 | 0.00032619 | 0.0019164 | 6795 | 3.8322 | 0.036611 | No | 1
16.55 | 0.27434 | 0.049134 | 0.049802 | 0.0002999 | 0.0016033 | 6663 | 3.8237 | 0.035576 | No | 1
16.5667 | 0.27177 | 0.050471 | 0.048775 | 0.00030806 | 0.0012993 | 6533 | 3.8151 | 0.034867 | No | 1
16.5833 | 0.27288 | 0.047079 | 0.04378 | 0.00028736 | 0.0010016 | 6406 | 3.8066 | 0.031319 | No | 1
16.6 | 0.2756 | 0.040482 | 0.03932 | 0.00024709 | 0.00073432 | 6281 | 3.798 | 0.028148 | No | 1
16.6167 | 0.28023 | 0.038158 | 0.040657 | 0.0002329 | 0.0004943 | 6159 | 3.7895 | 0.029127 | No | 1
16.6333 | 0.28778 | 0.043157 | 0.040317 | 0.00026342 | 0.00024611 | 6040 | 3.781 | 0.028903 | No | 1
16.65 | 0.29627 | 0.037476 | 0 | 0.00022874 | 0 | 5923 | 3.7725 | 0 | No | 1