## Sample Details
Administrative Information
Export date | 25 May 2022 15:44:47
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0008.sample
Creation date | 25 May 2022 13:04:29
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t3=45 min
Information
Sample type | Sample
Injection date | 25 May 2022
Vial number | P2-A-9
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.0046959 | 10.0279
0.016667 | -0.0062554 | 10.0303
0.033333 | -0.0052585 | 9.9705
0.05 | -0.0015843 | 9.7494
0.066667 | 0.005202 | 9.7379
0.083333 | 0.0098251 | 9.7852
0.1 | 0.0082478 | 9.8527
0.11667 | 0.0047266 | 9.911
0.13333 | 0.0029878 | 9.9491
0.15 | 0.0016777 | 9.9747
0.16667 | 0.00048422 | 9.9879
0.18333 | -0.00047413 | 9.9943
0.2 | 5.126e-05 | 9.997
0.21667 | 0.00071894 | 10.0034
0.23333 | -0.00088396 | 10.0143
0.25 | -0.0014927 | 10.0118
0.26667 | -0.00083651 | 10.0121
0.28333 | -0.00030166 | 10.0076
0.3 | 0.00023696 | 10.0155
0.31667 | -0.00070605 | 10.0134
0.33333 | -0.0011399 | 10.0222
0.35 | 0.001002 | 10.0285
0.36667 | 0.0011981 | 10.03
0.38333 | 0.00083279 | 10.0352
0.4 | 0.0010771 | 10.0362
0.41667 | 0.00018283 | 10.0324
0.43333 | 0.00041542 | 10.0341
0.45 | -0.00022622 | 10.0353
0.46667 | -0.0026116 | 10.0352
0.48333 | -0.0037495 | 10.0336
0.5 | -0.0049966 | 10.0391
0.51667 | -0.0061387 | 10.035
0.53333 | -0.0052573 | 10.0294
0.55 | -0.0028764 | 10.0277
0.56667 | -0.0014921 | 10.03
0.58333 | -0.0014908 | 10.0291
0.6 | -0.00095708 | 10.0236
0.61667 | -0.00012657 | 10.0243
0.63333 | 0.0013626 | 10.026
0.65 | 0.001968 | 10.0275
0.66667 | 0.0015535 | 10.0195
0.68333 | 0.00095686 | 10.0129
0.7 | 0.00077433 | 10.0169
0.71667 | 0.00036132 | 10.0175
0.73333 | 5.7815e-05 | 10.0143
0.75 | 0.00065561 | 10.0164
0.76667 | -0.00046441 | 10.0233
0.78333 | -0.0023745 | 10.0297
0.8 | -0.0028658 | 10.0338
0.81667 | -0.00061783 | 10.0289
0.83333 | 0.0023735 | 10.0208
0.85 | 0.0019801 | 10.0199
0.86667 | 0.00035571 | 10.0161
0.88333 | 0.0033085 | 10.0219
0.9 | 0.0067861 | 10.0234
0.91667 | 0.005682 | 10.0231
0.93333 | 0.0015194 | 10.0239
0.95 | -0.0021329 | 10.0288
0.96667 | -0.0029227 | 10.033
0.98333 | -0.0021521 | 10.0268
1 | -0.00089999 | 10.0231
1.0167 | -6.2673e-05 | 10.0195
1.0333 | -0.00011828 | 10.0199
1.05 | -0.00035394 | 10.019
1.0667 | -0.0017155 | 10.0196
1.0833 | -0.0030419 | 10.0089
1.1 | -0.0015022 | 10.0103
1.1167 | -0.0010043 | 10.0076
1.1333 | -0.0032059 | 10.0124
1.15 | -0.0042336 | 10.01
1.1667 | -0.0031698 | 10.0143
1.1833 | -0.0018515 | 10.0095
1.2 | -0.0019024 | 10.0112
1.2167 | -0.0021488 | 10.0097
1.2333 | -0.00060944 | 10.0085
1.25 | 0.0010071 | 9.9989
1.2667 | 0.001666 | 9.9993
1.2833 | 0.0014973 | 10.0034
1.3 | -0.00017115 | 10.0043
1.3167 | 0.0002849 | 10.0068
1.3333 | 0.0024922 | 10.0024
1.35 | 0.0038699 | 10.0062
1.3667 | 0.0037062 | 10.0089
1.3833 | 0.0015608 | 10.0147
1.4 | 0.00094993 | 10.0201
1.4167 | 0.00072312 | 10.0211
1.4333 | -0.00047494 | 10.013
1.45 | 0.00052509 | 10.0153
1.4667 | 0.0019632 | 10.0167
1.4833 | 0.001615 | 10.0173
1.5 | 0.00059999 | 10.0091
1.5167 | 0.0012984 | 10.0175
1.5333 | 0.0030345 | 10.0196
1.55 | 0.0018059 | 10.0173
1.5667 | -0.0012365 | 10.0199
1.5833 | -0.0022063 | 10.0256
1.6 | -0.0016713 | 10.0216
1.6167 | -0.001612 | 10.0269
1.6333 | 0.00021844 | 10.0234
1.65 | 0.0029724 | 10.0301
1.6667 | 0.0018648 | 10.0271
1.6833 | -0.00046776 | 10.0271
1.7 | -0.0013074 | 10.0277
1.7167 | -0.0013167 | 10.0314
1.7333 | -0.00024044 | 10.0291
1.75 | -0.0015932 | 10.0268
1.7667 | -0.003161 | 10.0214
1.7833 | -0.0019158 | 10.0217
1.8 | -0.0012535 | 10.0266
1.8167 | -0.0003064 | 10.026
1.8333 | 0.00053851 | 10.022
1.85 | -0.00058653 | 10.0239
1.8667 | -0.0017229 | 10.0225
1.8833 | -0.0024407 | 10.0192
1.9 | -0.0023862 | 10.0266
1.9167 | -0.0025588 | 10.0195
1.9333 | -0.0036904 | 10.0179
1.95 | -0.0038198 | 10.0207
1.9667 | -0.0032205 | 10.023
1.9833 | -0.0031014 | 10.022
2 | -0.0023901 | 10.0233
2.0167 | -0.0019656 | 10.017
2.0333 | -0.0027965 | 10.0164
2.05 | -0.0028054 | 10.0082
2.0667 | -0.0025579 | 10.0047
2.0833 | -0.00363 | 10.0011
2.1 | -0.0035242 | 10.0022
2.1167 | -0.0023304 | 9.9998
2.1333 | -0.002085 | 10.0024
2.15 | -0.0020859 | 10.0019
2.1667 | -0.0019679 | 10.0047
2.1833 | -0.0016715 | 10.0141
2.2 | -0.0019 | 10.0143
2.2167 | -0.0035662 | 10.0178
2.2333 | -0.0044112 | 10.0175
2.25 | -0.0044082 | 10.0149
2.2667 | -0.0051776 | 10.0111
2.2833 | -0.0070203 | 10.013
2.3 | -0.0090511 | 10.0124
2.3167 | -0.0088911 | 10.0141
2.3333 | -0.0066269 | 10.0108
2.35 | -0.0060752 | 10.0127
2.3667 | -0.007267 | 10.006
2.3833 | -0.0066295 | 10.0079
2.4 | -0.0042432 | 10.0132
2.4167 | -0.003749 | 10.012
2.4333 | -0.0059445 | 10.0101
2.45 | -0.0074528 | 10.0101
2.4667 | -0.0056199 | 10.0079
2.4833 | -0.0041105 | 10.0167
2.5 | -0.0057672 | 10.0158
2.5167 | -0.0070329 | 10.0294
2.5333 | -0.0070305 | 10.0327
2.55 | -0.0081589 | 10.0359
2.5667 | -0.0075267 | 10.0303
2.5833 | -0.0046615 | 10.0362
2.6 | -0.0048743 | 10.0294
2.6167 | -0.0071435 | 10.0311
2.6333 | -0.0078673 | 10.0318
2.65 | -0.0082802 | 10.0327
2.6667 | -0.008879 | 10.0362
2.6833 | -0.0086441 | 10.0362
2.7 | -0.0085789 | 10.0385
2.7167 | -0.0094129 | 10.0393
2.7333 | -0.0097755 | 10.0423
2.75 | -0.0096582 | 10.0329
2.7667 | -0.0093605 | 10.0301
2.7833 | -0.0080595 | 10.0318
2.8 | -0.0058492 | 10.039
2.8167 | -0.0055415 | 10.0343
2.8333 | -0.0048343 | 10.0419
2.85 | -0.0048165 | 10.037
2.8667 | -0.0067909 | 10.0433
2.8833 | -0.0050844 | 10.0419
2.9 | -0.0038669 | 10.0443
2.9167 | -0.0061264 | 10.0378
2.9333 | -0.0070929 | 10.0343
2.95 | -0.0075672 | 10.0356
2.9667 | -0.0074557 | 10.0361
2.9833 | -0.0072055 | 10.0382
3 | -0.0091082 | 10.0414
3.0167 | -0.0090733 | 10.0401
3.0333 | -0.0064503 | 10.0428
3.05 | -0.0056019 | 10.0391
3.0667 | -0.0064268 | 10.051
3.0833 | -0.0083948 | 10.0529
3.1 | -0.0081184 | 10.0457
3.1167 | -0.0063809 | 10.0437
3.1333 | -0.0073218 | 10.044
3.15 | -0.007461 | 10.0442
3.1667 | -0.0050799 | 10.0437
3.1833 | -0.0048192 | 10.0436
3.2 | -0.0059594 | 10.0448
3.2167 | -0.0055447 | 10.0413
3.2333 | -0.0054842 | 10.0347
3.25 | -0.0048937 | 10.0353
3.2667 | -0.0042362 | 10.0283
3.2833 | -0.0042284 | 10.0286
3.3 | -0.0050043 | 10.0225
3.3167 | -0.0041796 | 10.0263
3.3333 | -0.0034003 | 10.0123
3.35 | -0.0028068 | 10.0085
3.3667 | -0.0023802 | 10.0129
3.3833 | -0.0038036 | 10.0166
3.4 | -0.0052404 | 10.0147
3.4167 | -0.0058937 | 10.0074
3.4333 | -0.007795 | 10.0094
3.45 | -0.0089423 | 10.0138
3.4667 | -0.0079924 | 10.0219
3.4833 | -0.0078048 | 10.0256
3.5 | -0.007929 | 10.0271
3.5167 | -0.0070997 | 10.0234
3.5333 | -0.0064979 | 10.0243
3.55 | -0.0067304 | 10.0278
3.5667 | -0.007976 | 10.0291
3.5833 | -0.0094738 | 10.0246
3.6 | -0.0093596 | 10.0309
3.6167 | -0.0097669 | 10.0384
3.6333 | -0.010491 | 10.0416
3.65 | -0.0090168 | 10.0437
3.6667 | -0.0061554 | 10.0431
3.6833 | -0.0045349 | 10.0433
3.7 | -0.0045264 | 10.0391
3.7167 | -0.0057704 | 10.0263
3.7333 | -0.0077969 | 10.0236
3.75 | -0.008293 | 10.0207
3.7667 | -0.0062745 | 10.0242
3.7833 | -0.0039452 | 10.0291
3.8 | -0.0029794 | 10.03
3.8167 | -0.0041004 | 10.0282
3.8333 | -0.0058375 | 10.028
3.85 | -0.0049023 | 10.0309
3.8667 | -0.0031031 | 10.0275
3.8833 | -0.0030992 | 10.0251
3.9 | -0.0025673 | 10.0211
3.9167 | -0.0020276 | 10.0196
3.9333 | -0.0021432 | 10.0193
3.95 | -0.0025627 | 10.0198
3.9667 | -0.0030929 | 10.0146
3.9833 | -0.0046997 | 10.0134
4 | -0.0051302 | 10.0101
4.0167 | -0.0047076 | 10.0153
4.0333 | -0.0050676 | 10.0225
4.05 | -0.0038873 | 10.0178
4.0667 | -0.0019729 | 10.0112
4.0833 | -0.0027275 | 10.0141
4.1 | -0.0045858 | 10.0074
4.1167 | -0.0038829 | 10.014
4.1333 | -0.0031583 | 10.0066
4.15 | -0.0036322 | 10.0106
4.1667 | -0.004229 | 10.0091
4.1833 | -0.0041185 | 10.0057
4.2 | -0.0022756 | 9.9993
4.2167 | -0.0021395 | 10.006
4.2333 | -0.0033334 | 10.0057
4.25 | -0.0042815 | 9.999
4.2667 | -0.0061311 | 10.0037
4.2833 | -0.0062055 | 10.0085
4.3 | -0.0053654 | 10.0137
4.3167 | -0.0056028 | 10.0137
4.3333 | -0.0053059 | 10.0159
4.35 | -0.0060715 | 10.0152
4.3667 | -0.0072649 | 10.0068
4.3833 | -0.0085738 | 10.0112
4.4 | -0.0095379 | 10.0117
4.4167 | -0.0086491 | 10.0126
4.4333 | -0.0075763 | 10.0211
4.45 | -0.0068555 | 10.0303
4.4667 | -0.0072104 | 10.0318
4.4833 | -0.0070357 | 10.0364
4.5 | -0.0078564 | 10.0384
4.5167 | -0.0097069 | 10.0286
4.5333 | -0.010309 | 10.0365
4.55 | -0.011374 | 10.0338
4.5667 | -0.012516 | 10.033
4.5833 | -0.011042 | 10.0222
4.6 | -0.0084176 | 10.0282
4.6167 | -0.0074494 | 10.0285
4.6333 | -0.007984 | 10.0358
4.65 | -0.0073999 | 10.0326
4.6667 | -0.0056145 | 10.0298
4.6833 | -0.0042987 | 10.0381
4.7 | -0.0031648 | 10.0367
4.7167 | -0.0027409 | 10.0324
4.7333 | -0.0037428 | 10.0297
4.75 | -0.0057715 | 10.0292
4.7667 | -0.0055527 | 10.0285
4.7833 | -0.0039989 | 10.0324
4.8 | -0.0039874 | 10.0396
4.8167 | -0.005 | 10.0353
4.8333 | -0.005779 | 10.037
4.85 | -0.006256 | 10.0434
4.8667 | -0.0063815 | 10.0405
4.8833 | -0.0047832 | 10.0478
4.9 | -0.0026295 | 10.0439
4.9167 | -0.0034987 | 10.044
4.9333 | -0.0066611 | 10.0405
4.95 | -0.0066879 | 10.0459
4.9667 | -0.0043633 | 10.0492
4.9833 | -0.0035164 | 10.0472
5 | -0.0038695 | 10.0425
5.0167 | -0.0048203 | 10.0352
5.0333 | -0.0057195 | 10.0314
5.05 | -0.0056671 | 10.0391
5.0667 | -0.0041865 | 10.0387
5.0833 | -0.0016251 | 10.0481
5.1 | 0.00011512 | 10.0492
5.1167 | -0.00035184 | 10.0558
5.1333 | -0.00089276 | 10.053
5.15 | -0.00053893 | 10.0509
5.1667 | -0.00029686 | 10.0469
5.1833 | -0.00024174 | 10.0481
5.2 | 0.00083008 | 10.0455
5.2167 | 0.0001326 | 10.0397
5.2333 | -0.002604 | 10.0364
5.25 | -0.0057035 | 10.0304
5.2667 | -0.0073904 | 10.0341
5.2833 | -0.0055617 | 10.0376
5.3 | -0.0037564 | 10.0341
5.3167 | -0.005759 | 10.0394
5.3333 | -0.0086956 | 10.044
5.35 | -0.0069936 | 10.041
5.3667 | -0.0054767 | 10.0405
5.3833 | -0.0075019 | 10.0323
5.4 | -0.0059831 | 10.0373
5.4167 | -0.0026348 | 10.0379
5.4333 | -0.002555 | 10.0314
5.45 | -0.0044608 | 10.026
5.4667 | -0.0044209 | 10.0311
5.4833 | -0.0025112 | 10.0344
5.5 | -0.0023818 | 10.0369
5.5167 | -0.0018553 | 10.0439
5.5333 | -0.0011886 | 10.0364
5.55 | -0.0023169 | 10.0372
5.5667 | -0.0025675 | 10.0391
5.5833 | -0.0014957 | 10.0483
5.6 | -0.00089679 | 10.0385
5.6167 | -0.0005963 | 10.0393
5.6333 | -0.0012457 | 10.0396
5.65 | -0.0020852 | 10.0445
5.6667 | -0.0015559 | 10.0303
5.6833 | -1.1335e-05 | 10.0315
5.7 | 0.0014836 | 10.0307
5.7167 | 0.0019074 | 10.0367
5.7333 | 0.0016134 | 10.0307
5.75 | 0.0008411 | 10.0332
5.7667 | -0.00052634 | 10.0277
5.7833 | -0.001669 | 10.0251
5.8 | -0.00037083 | 10.0172
5.8167 | 0.0012495 | 10.0112
5.8333 | 0.00083895 | 10.0086
5.85 | 0.0010626 | 10.0144
5.8667 | 0.0037958 | 10.0127
5.8833 | 0.0052497 | 10.0085
5.9 | 0.0026453 | 10.0103
5.9167 | -0.0001692 | 10.01
5.9333 | -0.00012505 | 10.0089
5.95 | 0.00047891 | 10.0042
5.9667 | -0.0016494 | 10.0083
5.9833 | -0.0040496 | 10.0134
6 | -0.0031688 | 10.0118
6.0167 | -0.002443 | 10.0103
6.0333 | -0.0032104 | 9.9992
6.05 | -0.0048197 | 10.0022
6.0667 | -0.0054817 | 10.006
6.0833 | -0.0057206 | 10.0089
6.1 | -0.0048401 | 10.0103
6.1167 | -0.0031041 | 10.0013
6.1333 | -0.0036863 | 10.0021
6.15 | -0.0041762 | 9.9955
6.1667 | -0.0031059 | 9.9978
6.1833 | -0.0024471 | 10.0002
6.2 | -0.0013225 | 10.0053
6.2167 | 0.00011517 | 10.0045
6.2333 | -0.00040937 | 10.0114
6.25 | -0.00089768 | 10.0025
6.2667 | 0.00029096 | 10.0083
6.2833 | 0.00047798 | 10.0095
6.3 | 0.001006 | 10.0074
6.3167 | 0.0020239 | 10.0036
6.3333 | 0.0018514 | 10.013
6.35 | 0.0011352 | 10.0106
6.3667 | 0.0016014 | 10.0062
6.3833 | 0.0032674 | 9.9999
6.4 | 0.0043472 | 9.9931
6.4167 | 0.0045902 | 9.988
6.4333 | 0.0040577 | 9.9944
6.45 | 0.0032212 | 10.0031
6.4667 | 0.00298 | 10.0074
6.4833 | 0.0028054 | 10.0043
6.5 | 0.0020312 | 10.0092
6.5167 | 0.0018438 | 10.0123
6.5333 | 0.0028534 | 10.0118
6.55 | 0.0038104 | 10.0106
6.5667 | 0.0042927 | 10.01
6.5833 | 0.0034073 | 10.0101
6.6 | 0.0016766 | 10.0147
6.6167 | 0.0017219 | 10.0153
6.6333 | 0.0026797 | 10.0098
6.65 | 0.0029173 | 10.0175
6.6667 | 0.0046883 | 10.0251
6.6833 | 0.0094962 | 10.0239
6.7 | 0.016878 | 10.0254
6.7167 | 0.024865 | 10.0282
6.7333 | 0.033907 | 10.0237
6.75 | 0.047169 | 10.0253
6.7667 | 0.064375 | 10.0298
6.7833 | 0.085853 | 10.0343
6.8 | 0.11524 | 10.0268
6.8167 | 0.15304 | 10.0274
6.8333 | 0.19823 | 10.0213
6.85 | 0.25206 | 10.0225
6.8667 | 0.3127 | 10.0246
6.8833 | 0.38119 | 10.0182
6.9 | 0.46146 | 10.0173
6.9167 | 0.55018 | 10.0137
6.9333 | 0.64166 | 10.0082
6.95 | 0.73699 | 10.0051
6.9667 | 0.83776 | 10.0063
6.9833 | 0.93957 | 10.0083
7 | 1.0394 | 10.0011
7.0167 | 1.1371 | 10.0065
7.0333 | 1.2295 | 10.0062
7.05 | 1.3158 | 10.0054
7.0667 | 1.3976 | 10.0091
7.0833 | 1.471 | 10.0018
7.1 | 1.5336 | 10.0031
7.1167 | 1.5881 | 9.9937
7.1333 | 1.634 | 9.9964
7.15 | 1.6708 | 9.9944
7.1667 | 1.6997 | 10.0042
7.1833 | 1.7216 | 10.0033
7.2 | 1.7363 | 10.003
7.2167 | 1.7439 | 10.0004
7.2333 | 1.7463 | 10.0054
7.25 | 1.7438 | 10.0002
7.2667 | 1.737 | 10.0028
7.2833 | 1.727 | 10.0034
7.3 | 1.7145 | 10.0033
7.3167 | 1.7009 | 9.9984
7.3333 | 1.6861 | 10.0001
7.35 | 1.669 | 10.01
7.3667 | 1.6487 | 10.0118
7.3833 | 1.6278 | 10.0143
7.4 | 1.6051 | 10.005
7.4167 | 1.5826 | 10.0042
7.4333 | 1.5641 | 10.0083
7.45 | 1.546 | 10.0178
7.4667 | 1.5237 | 10.0115
7.4833 | 1.5015 | 10.0198
7.5 | 1.4822 | 10.0178
7.5167 | 1.4629 | 10.0172
7.5333 | 1.4431 | 10.0152
7.55 | 1.4245 | 10.0137
7.5667 | 1.4064 | 10.0114
7.5833 | 1.387 | 10.0105
7.6 | 1.3688 | 10.0178
7.6167 | 1.3509 | 10.0153
7.6333 | 1.3318 | 10.0199
7.65 | 1.3136 | 10.0141
7.6667 | 1.296 | 9.9999
7.6833 | 1.2797 | 10.0059
7.7 | 1.2628 | 10.0042
7.7167 | 1.2454 | 10.0092
7.7333 | 1.2313 | 10.0111
7.75 | 1.2168 | 10.0109
7.7667 | 1.2013 | 10.017
7.7833 | 1.1882 | 10.0063
7.8 | 1.1755 | 10.0082
7.8167 | 1.162 | 10.0127
7.8333 | 1.1485 | 10.012
7.85 | 1.1329 | 10.01
7.8667 | 1.1177 | 10.0118
7.8833 | 1.1054 | 10.0036
7.9 | 1.0913 | 10.0059
7.9167 | 1.0757 | 10.0068
7.9333 | 1.0631 | 10.0089
7.95 | 1.0533 | 10.0042
7.9667 | 1.043 | 9.996
7.9833 | 1.0299 | 9.9931
8 | 1.0193 | 10.0005
8.0167 | 1.0092 | 10.0013
8.0333 | 0.99561 | 10.0019
8.05 | 0.98254 | 10.005
8.0667 | 0.97256 | 10.0086
8.0833 | 0.9644 | 10.0034
8.1 | 0.95464 | 9.9953
8.1167 | 0.94296 | 9.9996
8.1333 | 0.93145 | 10.0062
8.15 | 0.92173 | 10.0047
8.1667 | 0.91207 | 10.006
8.1833 | 0.90183 | 10.0057
8.2 | 0.89174 | 10.0051
8.2167 | 0.88558 | 10.0124
8.2333 | 0.87887 | 10.0129
8.25 | 0.86815 | 10.0152
8.2667 | 0.85754 | 10.0134
8.2833 | 0.84634 | 10.0173
8.3 | 0.83654 | 10.013
8.3167 | 0.82832 | 10.0066
8.3333 | 0.81938 | 9.9992
8.35 | 0.80885 | 9.9999
8.3667 | 0.79752 | 9.9999
8.3833 | 0.78732 | 10.006
8.4 | 0.77778 | 10.0024
8.4167 | 0.76937 | 10.0059
8.4333 | 0.76014 | 10.0051
8.45 | 0.74983 | 10.0065
8.4667 | 0.74034 | 10.0019
8.4833 | 0.73153 | 10.0072
8.5 | 0.72193 | 10.0011
8.5167 | 0.7131 | 9.9976
8.5333 | 0.70399 | 10.0005
8.55 | 0.69427 | 10.0037
8.5667 | 0.68563 | 10.0028
8.5833 | 0.67681 | 10.0045
8.6 | 0.66798 | 10.0092
8.6167 | 0.66029 | 10.0069
8.6333 | 0.65248 | 9.9996
8.65 | 0.64467 | 10.0076
8.6667 | 0.63746 | 10.004
8.6833 | 0.62865 | 10.004
8.7 | 0.62088 | 10.0057
8.7167 | 0.61504 | 9.9989
8.7333 | 0.60742 | 10.0071
8.75 | 0.59978 | 10.0022
8.7667 | 0.59565 | 10.0008
8.7833 | 0.59179 | 9.9984
8.8 | 0.58554 | 9.9981
8.8167 | 0.57856 | 9.9937
8.8333 | 0.57431 | 9.992
8.85 | 0.56956 | 9.9914
8.8667 | 0.56165 | 9.9906
8.8833 | 0.55513 | 9.996
8.9 | 0.55071 | 9.9957
8.9167 | 0.54683 | 9.9912
8.9333 | 0.54421 | 9.9938
8.95 | 0.54182 | 9.9986
8.9667 | 0.5405 | 9.9993
8.9833 | 0.54138 | 10.0034
9 | 0.54275 | 10.0059
9.0167 | 0.54447 | 10.0063
9.0333 | 0.54751 | 9.9953
9.05 | 0.54919 | 9.9982
9.0667 | 0.55179 | 9.9958
9.0833 | 0.55703 | 10.0021
9.1 | 0.56074 | 9.9952
9.1167 | 0.56407 | 9.9934
9.1333 | 0.56866 | 9.9957
9.15 | 0.5729 | 9.9961
9.1667 | 0.57647 | 10.0033
9.1833 | 0.58082 | 9.9972
9.2 | 0.58565 | 9.9969
9.2167 | 0.58852 | 10.0045
9.2333 | 0.58955 | 10.005
9.25 | 0.58961 | 10.0043
9.2667 | 0.58961 | 9.9996
9.2833 | 0.58897 | 10.0001
9.3 | 0.58558 | 10.0001
9.3167 | 0.58164 | 10.0059
9.3333 | 0.5786 | 10.0018
9.35 | 0.57568 | 10.0141
9.3667 | 0.57229 | 10.0106
9.3833 | 0.56611 | 10.0059
9.4 | 0.55913 | 10.0071
9.4167 | 0.55388 | 10.0114
9.4333 | 0.54675 | 10.0089
9.45 | 0.53887 | 10.0143
9.4667 | 0.53261 | 10.012
9.4833 | 0.52629 | 10.0056
9.5 | 0.51932 | 10.0031
9.5167 | 0.51169 | 10.0059
9.5333 | 0.50531 | 10.0069
9.55 | 0.49793 | 9.997
9.5667 | 0.48982 | 10.004
9.5833 | 0.4826 | 10.0072
9.6 | 0.47599 | 10.0045
9.6167 | 0.46742 | 10.0015
9.6333 | 0.45794 | 10.006
9.65 | 0.45006 | 10.0037
9.6667 | 0.44237 | 10.0019
9.6833 | 0.43551 | 9.995
9.7 | 0.42896 | 9.9892
9.7167 | 0.42068 | 9.9883
9.7333 | 0.41357 | 9.9949
9.75 | 0.40968 | 9.9891
9.7667 | 0.40535 | 9.985
9.7833 | 0.39904 | 9.987
9.8 | 0.39301 | 9.9859
9.8167 | 0.38836 | 9.9859
9.8333 | 0.38294 | 9.9979
9.85 | 0.37774 | 9.9995
9.8667 | 0.37256 | 9.9921
9.8833 | 0.36643 | 9.9946
9.9 | 0.36006 | 9.9914
9.9167 | 0.35249 | 9.9868
9.9333 | 0.34479 | 9.9857
9.95 | 0.33977 | 9.99
9.9667 | 0.33596 | 9.9856
9.9833 | 0.33161 | 9.9853
10 | 0.32796 | 9.9888
10.0167 | 0.32428 | 9.995
10.0333 | 0.31939 | 9.987
10.05 | 0.31527 | 9.9798
10.0667 | 0.31134 | 9.974
10.0833 | 0.30805 | 9.9732
10.1 | 0.3052 | 9.9665
10.1167 | 0.2995 | 9.9673
10.1333 | 0.29353 | 9.9667
10.15 | 0.28922 | 9.9744
10.1667 | 0.28659 | 9.9648
10.1833 | 0.2851 | 9.9683
10.2 | 0.28125 | 9.9735
10.2167 | 0.27647 | 9.9799
10.2333 | 0.27472 | 9.979
10.25 | 0.27289 | 9.9824
10.2667 | 0.26884 | 9.9807
10.2833 | 0.26591 | 9.9778
10.3 | 0.26211 | 9.9865
10.3167 | 0.25823 | 9.9833
10.3333 | 0.25471 | 9.9895
10.35 | 0.25231 | 9.9926
10.3667 | 0.25255 | 9.9934
10.3833 | 0.25048 | 9.9931
10.4 | 0.24536 | 9.9938
10.4167 | 0.24183 | 9.9886
10.4333 | 0.24039 | 9.9996
10.45 | 0.23843 | 9.9964
10.4667 | 0.2364 | 9.9986
10.4833 | 0.23592 | 9.9952
10.5 | 0.23515 | 9.9943
10.5167 | 0.23166 | 9.992
10.5333 | 0.22582 | 9.9981
10.55 | 0.22322 | 9.9941
10.5667 | 0.22352 | 10.0031
10.5833 | 0.22056 | 10.0039
10.6 | 0.2178 | 10.0085
10.6167 | 0.21732 | 10.0053
10.6333 | 0.21708 | 10.0015
10.65 | 0.21525 | 10.0004
10.6667 | 0.21215 | 10.0005
10.6833 | 0.20941 | 9.9899
10.7 | 0.20548 | 9.9876
10.7167 | 0.20201 | 9.9946
10.7333 | 0.2017 | 10.0015
10.75 | 0.20248 | 10.0039
10.7667 | 0.20024 | 10.001
10.7833 | 0.19647 | 9.9967
10.8 | 0.19544 | 9.9928
10.8167 | 0.19693 | 9.9993
10.8333 | 0.1957 | 9.9889
10.85 | 0.19224 | 9.992
10.8667 | 0.19098 | 9.9905
10.8833 | 0.19032 | 9.9932
10.9 | 0.18902 | 9.9999
10.9167 | 0.1874 | 9.9957
10.9333 | 0.18592 | 9.9966
10.95 | 0.18236 | 10.0051
10.9667 | 0.17924 | 10.006
10.9833 | 0.17763 | 10.0071
11 | 0.17661 | 10.0101
11.0167 | 0.17614 | 10.0076
11.0333 | 0.1756 | 10.0024
11.05 | 0.17459 | 10.0051
11.0667 | 0.17139 | 10.0045
11.0833 | 0.16869 | 10.0079
11.1 | 0.16868 | 10.0011
11.1167 | 0.16703 | 9.9996
11.1333 | 0.16398 | 9.999
11.15 | 0.1632 | 9.9984
11.1667 | 0.16426 | 9.9966
11.1833 | 0.1651 | 9.9928
11.2 | 0.16469 | 9.994
11.2167 | 0.16356 | 9.9841
11.2333 | 0.16231 | 9.9873
11.25 | 0.16106 | 9.9839
11.2667 | 0.15863 | 9.9943
11.2833 | 0.1567 | 9.983
11.3 | 0.15717 | 9.9859
11.3167 | 0.15736 | 9.9847
11.3333 | 0.15635 | 9.987
11.35 | 0.15492 | 9.9859
11.3667 | 0.15431 | 9.9871
11.3833 | 0.15532 | 9.9847
11.4 | 0.15605 | 9.9882
11.4167 | 0.15475 | 9.9862
11.4333 | 0.15307 | 9.986
11.45 | 0.15217 | 9.9796
11.4667 | 0.15123 | 9.9831
11.4833 | 0.1495 | 9.9812
11.5 | 0.14877 | 9.9752
11.5167 | 0.14884 | 9.9747
11.5333 | 0.14747 | 9.9686
11.55 | 0.14793 | 9.967
11.5667 | 0.14925 | 9.9699
11.5833 | 0.14724 | 9.9697
11.6 | 0.14456 | 9.9734
11.6167 | 0.14288 | 9.9783
11.6333 | 0.1437 | 9.9767
11.65 | 0.14443 | 9.9804
11.6667 | 0.1414 | 9.9755
11.6833 | 0.13906 | 9.9705
11.7 | 0.13876 | 9.9734
11.7167 | 0.13982 | 9.9837
11.7333 | 0.14126 | 9.9766
11.75 | 0.14026 | 9.9743
11.7667 | 0.13853 | 9.9747
11.7833 | 0.1384 | 9.9731
11.8 | 0.13775 | 9.9723
11.8167 | 0.13709 | 9.9781
11.8333 | 0.13833 | 9.9711
11.85 | 0.13865 | 9.9703
11.8667 | 0.13604 | 9.9717
11.8833 | 0.13352 | 9.9787
11.9 | 0.13375 | 9.9758
11.9167 | 0.135 | 9.978
11.9333 | 0.13566 | 9.9749
11.95 | 0.13507 | 9.9882
11.9667 | 0.13406 | 9.9841
11.9833 | 0.13228 | 9.9812
12 | 0.12876 | 9.9734
12.0167 | 0.12861 | 9.9726
12.0333 | 0.13076 | 9.9694
12.05 | 0.13125 | 9.9731
12.0667 | 0.13172 | 9.9769
12.0833 | 0.13114 | 9.9761
12.1 | 0.12923 | 9.9825
12.1167 | 0.12745 | 9.9807
12.1333 | 0.12636 | 9.9851
12.15 | 0.12843 | 9.9862
12.1667 | 0.1297 | 9.9813
12.1833 | 0.12922 | 9.979
12.2 | 0.12893 | 9.9842
12.2167 | 0.12691 | 9.9836
12.2333 | 0.12571 | 9.9854
12.25 | 0.12553 | 9.9865
12.2667 | 0.12523 | 9.985
12.2833 | 0.12558 | 9.9871
12.3 | 0.12695 | 9.9844
12.3167 | 0.12643 | 9.9842
12.3333 | 0.12305 | 9.9786
12.35 | 0.12023 | 9.979
12.3667 | 0.11897 | 9.983
12.3833 | 0.11944 | 9.9812
12.4 | 0.12081 | 9.9891
12.4167 | 0.12023 | 9.9908
12.4333 | 0.12028 | 9.9902
12.45 | 0.12123 | 9.9918
12.4667 | 0.12118 | 9.981
12.4833 | 0.11958 | 9.9851
12.5 | 0.11802 | 9.9831
12.5167 | 0.11867 | 9.9905
12.5333 | 0.11839 | 9.988
12.55 | 0.11642 | 9.9853
12.5667 | 0.11487 | 9.9813
12.5833 | 0.11267 | 9.9783
12.6 | 0.11116 | 9.979
12.6167 | 0.11216 | 9.9828
12.6333 | 0.1139 | 9.9761
12.65 | 0.11385 | 9.9813
12.6667 | 0.11378 | 9.9778
12.6833 | 0.11473 | 9.974
12.7 | 0.11598 | 9.974
12.7167 | 0.11682 | 9.9746
12.7333 | 0.11653 | 9.9747
12.75 | 0.11676 | 9.9712
12.7667 | 0.11736 | 9.97
12.7833 | 0.11819 | 9.9755
12.8 | 0.11879 | 9.9641
12.8167 | 0.11837 | 9.9598
12.8333 | 0.11932 | 9.9572
12.85 | 0.11987 | 9.9633
12.8667 | 0.11916 | 9.9647
12.8833 | 0.11773 | 9.9676
12.9 | 0.11647 | 9.9711
12.9167 | 0.11818 | 9.9726
12.9333 | 0.12146 | 9.9796
12.95 | 0.12261 | 9.9683
12.9667 | 0.12195 | 9.9755
12.9833 | 0.12177 | 9.9775
13 | 0.12219 | 9.9747
13.0167 | 0.12213 | 9.9738
13.0333 | 0.12207 | 9.9732
13.05 | 0.12296 | 9.9755
13.0667 | 0.12279 | 9.9804
13.0833 | 0.12231 | 9.9854
13.1 | 0.12355 | 9.986
13.1167 | 0.12498 | 9.9895
13.1333 | 0.12606 | 9.9844
13.15 | 0.12754 | 9.9766
13.1667 | 0.12833 | 9.9802
13.1833 | 0.12815 | 9.9866
13.2 | 0.12797 | 9.9837
13.2167 | 0.12732 | 9.9743
13.2333 | 0.12684 | 9.9758
13.25 | 0.1279 | 9.9839
13.2667 | 0.12951 | 9.9834
13.2833 | 0.13 | 9.9905
13.3 | 0.12923 | 10.0008
13.3167 | 0.12958 | 9.9982
13.3333 | 0.13023 | 9.9897
13.35 | 0.13006 | 9.9932
13.3667 | 0.12994 | 9.9889
13.3833 | 0.13012 | 9.9865
13.4 | 0.13088 | 9.9816
13.4167 | 0.13302 | 9.976
13.4333 | 0.13441 | 9.9697
13.45 | 0.13465 | 9.9694
13.4667 | 0.13541 | 9.9673
13.4833 | 0.13666 | 9.9764
13.5 | 0.13768 | 9.9741
13.5167 | 0.1384 | 9.9754
13.5333 | 0.13976 | 9.9787
13.55 | 0.1419 | 9.9883
13.5667 | 0.14394 | 9.9848
13.5833 | 0.14572 | 9.9847
13.6 | 0.14934 | 9.9789
13.6167 | 0.15394 | 9.9679
13.6333 | 0.15592 | 9.967
13.65 | 0.15692 | 9.967
13.6667 | 0.16032 | 9.9746
13.6833 | 0.16248 | 9.9784
13.7 | 0.16407 | 9.9793
13.7167 | 0.16853 | 9.9805
13.7333 | 0.17383 | 9.9757
13.75 | 0.18238 | 9.9654
13.7667 | 0.19347 | 9.9717
13.7833 | 0.20266 | 9.9741
13.8 | 0.21265 | 9.9743
13.8167 | 0.22734 | 9.9712
13.8333 | 0.24522 | 9.9837
13.85 | 0.26375 | 9.981
13.8667 | 0.28406 | 9.979
13.8833 | 0.30699 | 9.9841
13.9 | 0.33484 | 9.9885
13.9167 | 0.36813 | 9.9809
13.9333 | 0.40601 | 9.986
13.95 | 0.4496 | 9.9833
13.9667 | 0.50016 | 9.9863
13.9833 | 0.55699 | 9.9805
14 | 0.62042 | 9.9859
14.0167 | 0.69413 | 9.9879
14.0333 | 0.77948 | 9.9905
14.05 | 0.8759 | 9.9961
14.0667 | 0.98696 | 10.0024
14.0833 | 1.1185 | 10.0088
14.1 | 1.2727 | 10.0149
14.1167 | 1.4524 | 10.033
14.1333 | 1.6658 | 10.0449
14.15 | 1.9218 | 10.055
14.1667 | 2.2271 | 10.0674
14.1833 | 2.5907 | 10.0851
14.2 | 3.019 | 10.102
14.2167 | 3.5194 | 10.1238
14.2333 | 4.1085 | 10.1466
14.25 | 4.7934 | 10.1778
14.2667 | 5.5742 | 10.2029
14.2833 | 6.4543 | 10.252
14.3 | 7.4345 | 10.3008
14.3167 | 8.51 | 10.3692
14.3333 | 9.6671 | 10.4319
14.35 | 10.8911 | 10.5041
14.3667 | 12.167 | 10.5901
14.3833 | 13.469 | 10.6911
14.4 | 14.7661 | 10.7973
14.4167 | 16.0286 | 10.9112
14.4333 | 17.2271 | 11.0304
14.45 | 18.3326 | 11.1617
14.4667 | 19.3149 | 11.2878
14.4833 | 20.1471 | 11.4256
14.5 | 20.8102 | 11.5643
14.5167 | 21.2917 | 11.6944
14.5333 | 21.583 | 11.8107
14.55 | 21.6838 | 11.9195
14.5667 | 21.6015 | 12.0095
14.5833 | 21.3457 | 12.0798
14.6 | 20.9334 | 12.136
14.6167 | 20.386 | 12.1807
14.6333 | 19.7284 | 12.2022
14.65 | 18.9849 | 12.2047
14.6667 | 18.1775 | 12.1929
14.6833 | 17.331 | 12.161
14.7 | 16.4697 | 12.1192
14.7167 | 15.6105 | 12.0766
14.7333 | 14.7685 | 12.0158
14.75 | 13.9569 | 11.9405
14.7667 | 13.1852 | 11.8726
14.7833 | 12.461 | 11.7989
14.8 | 11.7889 | 11.7344
14.8167 | 11.1714 | 11.6625
14.8333 | 10.6058 | 11.6006
14.85 | 10.0898 | 11.5484
14.8667 | 9.6214 | 11.502
14.8833 | 9.1965 | 11.4544
14.9 | 8.8122 | 11.4234
14.9167 | 8.4611 | 11.3992
14.9333 | 8.1369 | 11.3851
14.95 | 7.836 | 11.3645
14.9667 | 7.5548 | 11.3549
14.9833 | 7.2902 | 11.3537
15 | 7.0382 | 11.3578
15.0167 | 6.7918 | 11.3651
15.0333 | 6.5485 | 11.3726
15.05 | 6.3102 | 11.3822
15.0667 | 6.0719 | 11.3886
15.0833 | 5.8324 | 11.3979
15.1 | 5.5928 | 11.4002
15.1167 | 5.3521 | 11.3979
15.1333 | 5.1116 | 11.3882
15.15 | 4.8708 | 11.3895
15.1667 | 4.6305 | 11.3746
15.1833 | 4.3917 | 11.3522
15.2 | 4.1557 | 11.3326
15.2167 | 3.9245 | 11.309
15.2333 | 3.6984 | 11.2788
15.25 | 3.4774 | 11.2525
15.2667 | 3.2641 | 11.2168
15.2833 | 3.0609 | 11.1814
15.3 | 2.8664 | 11.1405
15.3167 | 2.6801 | 11.1044
15.3333 | 2.5036 | 11.0665
15.35 | 2.339 | 11.0244
15.3667 | 2.1832 | 10.9782
15.3833 | 2.0382 | 10.9316
15.4 | 1.9045 | 10.8942
15.4167 | 1.7791 | 10.8627
15.4333 | 1.6616 | 10.8273
15.45 | 1.5528 | 10.7876
15.4667 | 1.4529 | 10.749
15.4833 | 1.3605 | 10.7034
15.5 | 1.2769 | 10.6664
15.5167 | 1.1998 | 10.631
15.5333 | 1.1286 | 10.6023
15.55 | 1.0627 | 10.5665
15.5667 | 1.0025 | 10.5495
15.5833 | 0.94804 | 10.514
15.6 | 0.89688 | 10.4911
15.6167 | 0.84906 | 10.4682
15.6333 | 0.80599 | 10.4491
15.65 | 0.7674 | 10.4235
15.6667 | 0.73092 | 10.4021
15.6833 | 0.69539 | 10.3803
15.7 | 0.66258 | 10.3587
15.7167 | 0.63407 | 10.3355
15.7333 | 0.60777 | 10.3214
15.75 | 0.58208 | 10.2998
15.7667 | 0.55521 | 10.2773
15.7833 | 0.53079 | 10.2547
15.8 | 0.5117 | 10.2386
15.8167 | 0.49217 | 10.2331
15.8333 | 0.47177 | 10.22
15.85 | 0.4537 | 10.219
15.8667 | 0.43735 | 10.2052
15.8833 | 0.42387 | 10.192
15.9 | 0.41117 | 10.1827
15.9167 | 0.39718 | 10.1719
15.9333 | 0.38145 | 10.1633
15.95 | 0.36801 | 10.1592
15.9667 | 0.35834 | 10.1556
15.9833 | 0.34846 | 10.1507
16 | 0.33708 | 10.1481
16.0167 | 0.32557 | 10.1388
16.0333 | 0.31572 | 10.131
16.05 | 0.30944 | 10.1273
16.0667 | 0.30261 | 10.1196
16.0833 | 0.29344 | 10.1162
16.1 | 0.28307 | 10.1107
16.1167 | 0.27375 | 10.1134
16.1333 | 0.26731 | 10.1121
16.15 | 0.26022 | 10.1156
16.1667 | 0.25383 | 10.1081
16.1833 | 0.2474 | 10.1119
16.2 | 0.24101 | 10.1067
16.2167 | 0.23672 | 10.1095
16.2333 | 0.23189 | 10.1109
16.25 | 0.22801 | 10.1025
16.2667 | 0.22421 | 10.1035
16.2833 | 0.21701 | 10.0957
16.3 | 0.21085 | 10.0921
16.3167 | 0.20892 | 10.0884
16.3333 | 0.20726 | 10.0817
16.35 | 0.20422 | 10.08
16.3667 | 0.20172 | 10.0808
16.3833 | 0.19868 | 10.0741
16.4 | 0.19546 | 10.0808
16.4167 | 0.19272 | 10.0738
16.4333 | 0.1911 | 10.0666
16.45 | 0.18979 | 10.0587
16.4667 | 0.18807 | 10.0539
16.4833 | 0.18574 | 10.055
16.5 | 0.18353 | 10.0547
16.5167 | 0.18157 | 10.0549
16.5333 | 0.1806 | 10.0494
16.55 | 0.18031 | 10.0434
16.5667 | 0.17805 | 10.042
16.5833 | 0.17679 | 10.0343
16.6 | 0.17549 | 10.0208
16.6167 | 0.17364 | 10.0204
16.6333 | 0.17268 | 10.0214
16.65 | 0.17232 | 10.0253
16.6667 | 0.17232 | 10.024
16.6833 | 0.17072 | 10.0277
16.7 | 0.16964 | 10.0274
16.7167 | 0.16969 | 10.0303
16.7333 | 0.17165 | 10.0275
16.75 | 0.17356 | 10.0315
16.7667 | 0.17334 | 10.0318
16.7833 | 0.17309 | 10.0355
16.8 | 0.17487 | 10.0394
16.8167 | 0.17625 | 10.0404
16.8333 | 0.17642 | 10.0356
16.85 | 0.17797 | 10.042
16.8667 | 0.17893 | 10.0338
16.8833 | 0.17905 | 10.0388
16.9 | 0.18076 | 10.0361
16.9167 | 0.18446 | 10.0336
16.9333 | 0.18661 | 10.0298
16.95 | 0.18822 | 10.0295
16.9667 | 0.19114 | 10.0292
16.9833 | 0.19311 | 10.0263
17 | 0.19483 | 10.0311
17.0167 | 0.19733 | 10.0321
17.0333 | 0.20084 | 10.0309
17.05 | 0.20431 | 10.0335
17.0667 | 0.20645 | 10.0372
17.0833 | 0.21096 | 10.0404
17.1 | 0.21675 | 10.0372
17.1167 | 0.22057 | 10.0367
17.1333 | 0.22492 | 10.0413
17.15 | 0.23004 | 10.0393
17.1667 | 0.23558 | 10.035
17.1833 | 0.23942 | 10.0343
17.2 | 0.24221 | 10.0352
17.2167 | 0.24739 | 10.0335
17.2333 | 0.25193 | 10.0346
17.25 | 0.25715 | 10.0333
17.2667 | 0.26596 | 10.0338
17.2833 | 0.27378 | 10.0256
17.3 | 0.28075 | 10.0236
17.3167 | 0.28743 | 10.0225
17.3333 | 0.29481 | 10.0272
17.35 | 0.30434 | 10.0236
17.3667 | 0.31359 | 10.0253
17.3833 | 0.32039 | 10.03
17.4 | 0.32842 | 10.0326
17.4167 | 0.33813 | 10.0388
17.4333 | 0.34791 | 10.0393
17.45 | 0.3581 | 10.0372
17.4667 | 0.36806 | 10.0442
17.4833 | 0.37895 | 10.0513
17.5 | 0.39152 | 10.0494
17.5167 | 0.40421 | 10.0538
17.5333 | 0.42069 | 10.0544
17.55 | 0.43894 | 10.0544
17.5667 | 0.45492 | 10.0552
17.5833 | 0.47089 | 10.0602
17.6 | 0.48734 | 10.0544
17.6167 | 0.50509 | 10.0526
17.6333 | 0.52399 | 10.0521
17.65 | 0.54164 | 10.0489
17.6667 | 0.55786 | 10.0512
17.6833 | 0.57484 | 10.051
17.7 | 0.59236 | 10.0574
17.7167 | 0.60936 | 10.0652
17.7333 | 0.62203 | 10.0727
17.75 | 0.63263 | 10.075
17.7667 | 0.64513 | 10.0759
17.7833 | 0.65932 | 10.075
17.8 | 0.67162 | 10.0747
17.8167 | 0.68004 | 10.0724
17.8333 | 0.68909 | 10.0738
17.85 | 0.69845 | 10.0753
17.8667 | 0.70626 | 10.0707
17.8833 | 0.71525 | 10.0689
17.9 | 0.72527 | 10.0733
17.9167 | 0.7338 | 10.0748
17.9333 | 0.74367 | 10.0645
17.95 | 0.75678 | 10.0582
17.9667 | 0.76942 | 10.0578
17.9833 | 0.7814 | 10.0578
18 | 0.79491 | 10.0634
18.0167 | 0.8113 | 10.0608
18.0333 | 0.82651 | 10.0613
18.05 | 0.84051 | 10.0574
18.0667 | 0.85612 | 10.0596
18.0833 | 0.87422 | 10.0623
18.1 | 0.89489 | 10.0796
18.1167 | 0.9151 | 10.0802
18.1333 | 0.93708 | 10.0848
18.15 | 0.96004 | 10.0957
18.1667 | 0.98125 | 10.1046
18.1833 | 1.0057 | 10.1098
18.2 | 1.0332 | 10.1252
18.2167 | 1.0631 | 10.1368
18.2333 | 1.0962 | 10.151
18.25 | 1.1308 | 10.1693
18.2667 | 1.1688 | 10.1876
18.2833 | 1.2118 | 10.2033
18.3 | 1.2586 | 10.2201
18.3167 | 1.3091 | 10.2331
18.3333 | 1.3639 | 10.243
18.35 | 1.4214 | 10.2529
18.3667 | 1.481 | 10.2532
18.3833 | 1.5409 | 10.2451
18.4 | 1.5964 | 10.2308
18.4167 | 1.648 | 10.2268
18.4333 | 1.6943 | 10.2123
18.45 | 1.7305 | 10.2039
18.4667 | 1.7585 | 10.196
18.4833 | 1.7808 | 10.1876
18.5 | 1.7953 | 10.1786
18.5167 | 1.8016 | 10.1731
18.5333 | 1.8059 | 10.1586
18.55 | 1.8131 | 10.1603
18.5667 | 1.8231 | 10.1521
18.5833 | 1.8377 | 10.1472
18.6 | 1.862 | 10.1359
18.6167 | 1.898 | 10.1347
18.6333 | 1.9458 | 10.1322
18.65 | 2.007 | 10.1348
18.6667 | 2.0818 | 10.133
18.6833 | 2.1682 | 10.1412
18.7 | 2.2624 | 10.1507
18.7167 | 2.3591 | 10.1716
18.7333 | 2.4559 | 10.1902
18.75 | 2.5454 | 10.2177
18.7667 | 2.6225 | 10.2509
18.7833 | 2.6865 | 10.2993
18.8 | 2.7293 | 10.3429
18.8167 | 2.7484 | 10.3796
18.8333 | 2.7489 | 10.4214
18.85 | 2.7281 | 10.4667
18.8667 | 2.6875 | 10.5111
18.8833 | 2.6325 | 10.5379
18.9 | 2.5662 | 10.5601
18.9167 | 2.493 | 10.5636
18.9333 | 2.4174 | 10.5634
18.95 | 2.3417 | 10.5529
18.9667 | 2.2669 | 10.5384
18.9833 | 2.1939 | 10.5099
19 | 2.1232 | 10.4722
19.0167 | 2.0555 | 10.4362
19.0333 | 1.9886 | 10.4093
19.05 | 1.921 | 10.3635
19.0667 | 1.8498 | 10.3301
19.0833 | 1.7678 | 10.2923
19.1 | 1.6723 | 10.265
19.1167 | 1.5601 | 10.2349
19.1333 | 1.4236 | 10.2184
19.15 | 1.2563 | 10.1949
19.1667 | 1.0472 | 10.1702
19.1833 | 0.78803 | 10.1484
19.2 | 0.4741 | 10.1321
19.2167 | 0.099394 | 10.106
19.2333 | -0.33565 | 10.0875
19.25 | -0.828 | 10.068
19.2667 | -1.3694 | 10.0524
19.2833 | -1.9385 | 10.0365
19.3 | -2.5108 | 10.012
19.3167 | -3.0564 | 9.9967
19.3333 | -3.5437 | 9.9831
19.35 | -3.9381 | 9.983
19.3667 | -4.208 | 10.0161
19.3833 | -4.3327 | 10.1089
19.4 | -4.2989 | 10.259
19.4167 | -4.1021 | 10.5071
19.4333 | -3.7491 | 10.8933
19.45 | -3.257 | 11.4663
19.4667 | -2.6531 | 12.2642
19.4833 | -1.9697 | 13.319
19.5 | -1.2407 | 14.6638
19.5167 | -0.50103 | 16.3197
19.5333 | 0.2169 | 18.2481
19.55 | 0.88391 | 20.4232
19.5667 | 1.4773 | 22.7569
19.5833 | 1.981 | 25.1354
19.6 | 2.3891 | 27.4422
19.6167 | 2.7008 | 29.522
19.6333 | 2.9195 | 31.2511
19.65 | 3.059 | 32.5063
19.6667 | 3.1361 | 33.2235
19.6833 | 3.1618 | 33.3602
19.7 | 3.1459 | 32.9333
19.7167 | 3.1027 | 31.9898
19.7333 | 3.0451 | 30.6237
19.75 | 2.9795 | 28.9381
19.7667 | 2.9081 | 27.058
19.7833 | 2.8347 | 25.0919
19.8 | 2.7613 | 23.1442
19.8167 | 2.6873 | 21.2859
19.8333 | 2.6151 | 19.5876
19.85 | 2.5475 | 18.0683
19.8667 | 2.4878 | 16.7521
19.8833 | 2.4356 | 15.6194
19.9 | 2.3878 | 14.6671
19.9167 | 2.3468 | 13.8651
19.9333 | 2.3146 | 13.2171
19.95 | 2.2909 | 12.6762
19.9667 | 2.2737 | 12.2323
19.9833 | 2.2597 | 11.8641
20 | 2.2486 | 11.5467
20.0167 | 2.2391 | 11.2753
20.0333 | 2.2267 | 11.0441
20.05 | 2.2081 | 10.8298
20.0667 | 2.1816 | 10.6216
20.0833 | 2.145 | 10.4073
20.1 | 2.098 | 10.1746
20.1167 | 2.0422 | 9.9055
20.1333 | 1.9761 | 9.5995
20.15 | 1.901 | 9.2506
20.1667 | 1.8202 | 8.8418
20.1833 | 1.7385 | 8.3903
20.2 | 1.6596 | 7.8936
20.2167 | 1.5829 | 7.3609
20.2333 | 1.5104 | 6.8108
20.25 | 1.4428 | 6.2832
20.2667 | 1.3837 | 5.8004
20.2833 | 1.3365 | 5.3811
20.3 | 1.2953 | 5.0561
20.3167 | 1.2606 | 4.8534
20.3333 | 1.2372 | 4.7819
20.35 | 1.2254 | 4.8368
20.3667 | 1.2242 | 5.0034
20.3833 | 1.2397 | 5.2502
20.4 | 1.2781 | 5.5961
20.4167 | 1.3427 | 6.0027
20.4333 | 1.441 | 6.4532
20.45 | 1.5812 | 6.9105
20.4667 | 1.7696 | 7.3624
20.4833 | 2.0129 | 7.7906
20.5 | 2.316 | 8.1799
20.5167 | 2.6803 | 8.5358
20.5333 | 3.1037 | 8.8456
20.55 | 3.5787 | 9.1201
20.5667 | 4.092 | 9.3702
20.5833 | 4.6271 | 9.5925
20.6 | 5.1592 | 9.7965
20.6167 | 5.661 | 9.9798
20.6333 | 6.1026 | 10.1702
20.65 | 6.4493 | 10.3555
20.6667 | 6.6694 | 10.5436
20.6833 | 6.7383 | 10.7319
20.7 | 6.6253 | 10.9234
20.7167 | 6.2973 | 11.1085
20.7333 | 5.7243 | 11.2925
20.75 | 4.8677 | 11.4695
20.7667 | 3.6827 | 11.6341
20.7833 | 2.1195 | 11.7573
20.8 | 0.11933 | 11.8475
20.8167 | -2.381 | 11.9062
20.8333 | -5.4404 | 11.9439
20.85 | -9.1017 | 11.9386
20.8667 | -13.3847 | 11.8914
20.8833 | -18.2788 | 11.8165
20.9 | -23.7272 | 11.7095
20.9167 | -29.6195 | 11.5769
20.9333 | -35.7933 | 11.4277
20.95 | -42.0396 | 11.2716
20.9667 | -48.1129 | 11.1121
20.9833 | -53.7483 | 10.9608
21 | -58.6894 | 10.8038
21.0167 | -62.7044 | 10.6556
21.0333 | -65.6045 | 10.5212
21.05 | -67.2704 | 10.4079
21.0667 | -67.6591 | 10.3051
21.0833 | -66.8029 | 10.2222
21.1 | -64.8035 | 10.1446
21.1167 | -61.8179 | 10.0898
21.1333 | -58.0408 | 10.0436
21.15 | -53.6881 | 10.0091
21.1667 | -48.9756 | 9.9752
21.1833 | -44.105 | 9.9537
21.2 | -39.252 | 9.932
21.2167 | -34.5589 | 9.9177
21.2333 | -30.1321 | 9.9082
21.25 | -26.0444 | 9.9036
21.2667 | -22.338 | 9.9085
21.2833 | -19.0291 | 9.9212
21.3 | -16.1124 | 9.923
21.3167 | -13.5696 | 9.9314
21.3333 | -11.3762 | 9.9349
21.35 | -9.5027 | 9.9343
21.3667 | -7.9147 | 9.938
21.3833 | -6.5754 | 9.9487
21.4 | -5.453 | 9.9654
21.4167 | -4.5173 | 9.9773
21.4333 | -3.7415 | 9.9902
21.45 | -3.1007 | 9.9854
21.4667 | -2.5741 | 9.9928
21.4833 | -2.1424 | 9.9947
21.5 | -1.7871 | 9.9953
21.5167 | -1.497 | 9.9886
21.5333 | -1.2611 | 9.9941
21.55 | -1.0668 | 9.9848
21.5667 | -0.90796 | 9.9737
21.5833 | -0.77786 | 9.9633
21.6 | -0.67032 | 9.9468
21.6167 | -0.58283 | 9.92
21.6333 | -0.51157 | 9.8962
21.65 | -0.45315 | 9.8545
21.6667 | -0.4057 | 9.8002
21.6833 | -0.36573 | 9.7279
21.7 | -0.33047 | 9.6342
21.7167 | -0.30123 | 9.5234
21.7333 | -0.27706 | 9.3845
21.75 | -0.25648 | 9.2091
21.7667 | -0.2377 | 8.9872
21.7833 | -0.21874 | 8.7342
21.8 | -0.20333 | 8.444
21.8167 | -0.19223 | 8.1116
21.8333 | -0.18092 | 7.7555
21.85 | -0.16976 | 7.3618
21.8667 | -0.16157 | 6.9482
21.8833 | -0.15478 | 6.5281
21.9 | -0.14769 | 6.0992
21.9167 | -0.14018 | 5.6892
21.9333 | -0.1332 | 5.3106
21.95 | -0.12688 | 4.9781
21.9667 | -0.12103 | 4.7004
21.9833 | -0.1146 | 4.4915
22 | -0.10798 | 4.3575
22.0167 | -0.10238 | 4.3116
22.0333 | -0.097246 | 4.3426
22.05 | -0.092945 | 4.4592
22.0667 | -0.08949 | 4.6479
22.0833 | -0.085088 | 4.9062
22.1 | -0.080019 | 5.2143
22.1167 | -0.075958 | 5.5698
22.1333 | -0.071856 | 5.9547
22.15 | -0.064961 | 6.3503
22.1667 | -0.05585 | 6.7484
22.1833 | -0.045845 | 7.1326
22.2 | -0.032227 | 7.5126
22.2167 | -0.013782 | 7.8577
22.2333 | 0.011787 | 8.1786
22.25 | 0.049962 | 8.4696
22.2667 | 0.10315 | 8.7226
22.2833 | 0.17283 | 8.9422
22.3 | 0.26581 | 9.1288
22.3167 | 0.39413 | 9.2861
22.3333 | 0.56562 | 9.4256
22.35 | 0.78642 | 9.531
22.3667 | 1.0691 | 9.6204
22.3833 | 1.4279 | 9.6795
22.4 | 1.8735 | 9.7282
22.4167 | 2.4137 | 9.7561
22.4333 | 3.0575 | 9.7742
22.45 | 3.8147 | 9.7764
22.4667 | 4.6891 | 9.7666
22.4833 | 5.6763 | 9.7529
22.5 | 6.7684 | 9.7108
22.5167 | 7.955 | 9.6552
22.5333 | 9.2171 | 9.5847
22.55 | 10.5257 | 9.5092
22.5667 | 11.8465 | 9.4164
22.5833 | 13.1447 | 9.3111
22.6 | 14.3816 | 9.1886
22.6167 | 15.5163 | 9.0493
22.6333 | 16.5099 | 8.8973
22.65 | 17.3278 | 8.7502
22.6667 | 17.9406 | 8.5862
22.6833 | 18.3287 | 8.4312
22.7 | 18.4785 | 8.2807
22.7167 | 18.3833 | 8.1486
22.7333 | 18.0485 | 8.0279
22.75 | 17.4921 | 7.9249
22.7667 | 16.7409 | 7.8425
22.7833 | 15.8246 | 7.7979
22.8 | 14.7767 | 7.7726
22.8167 | 13.6307 | 7.7811
22.8333 | 12.4251 | 7.8156
22.85 | 11.1994 | 7.88
22.8667 | 9.9807 | 7.9678
22.8833 | 8.7948 | 8.0776
22.9 | 7.67 | 8.2003
22.9167 | 6.6234 | 8.3353
22.9333 | 5.6626 | 8.4803
22.95 | 4.7969 | 8.6286
22.9667 | 4.0342 | 8.7791
22.9833 | 3.3693 | 8.9159
23 | 2.7925 | 9.0476
23.0167 | 2.2994 | 9.1732
23.0333 | 1.8838 | 9.2872
23.05 | 1.5386 | 9.3903
23.0667 | 1.2548 | 9.481
23.0833 | 1.0229 | 9.5567
23.1 | 0.8335 | 9.6197
23.1167 | 0.68034 | 9.6741
23.1333 | 0.55923 | 9.7286
23.15 | 0.46354 | 9.7678
23.1667 | 0.38708 | 9.809
23.1833 | 0.32655 | 9.8391
23.2 | 0.27815 | 9.8685
23.2167 | 0.23816 | 9.8869
23.2333 | 0.20753 | 9.9094
23.25 | 0.18348 | 9.9133
23.2667 | 0.16236 | 9.9216
23.2833 | 0.14517 | 9.9393
23.3 | 0.13027 | 9.9438
23.3167 | 0.11725 | 9.9445
23.3333 | 0.10846 | 9.9523
23.35 | 0.1012 | 9.9554
23.3667 | 0.093151 | 9.9618
23.3833 | 0.086638 | 9.9676
23.4 | 0.081927 | 9.974
23.4167 | 0.076039 | 9.9734
23.4333 | 0.069356 | 9.9818
23.45 | 0.06487 | 9.9795
23.4667 | 0.062596 | 9.9801
23.4833 | 0.061398 | 9.9831
23.5 | 0.059683 | 9.977
23.5167 | 0.055345 | 9.9819
23.5333 | 0.051451 | 9.9844
23.55 | 0.050434 | 9.9902
23.5667 | 0.048116 | 9.9879
23.5833 | 0.047497 | 9.9911
23.6 | 0.048166 | 9.9876
23.6167 | 0.046091 | 9.9955
23.6333 | 0.043706 | 9.9982
23.65 | 0.040437 | 9.9973
23.6667 | 0.036261 | 9.9967
23.6833 | 0.034453 | 10.0016
23.7 | 0.034511 | 9.9976
23.7167 | 0.033508 | 10.0063
23.7333 | 0.031661 | 10.012
23.75 | 0.030169 | 10.0118
23.7667 | 0.028916 | 10.0004
23.7833 | 0.02772 | 10.003
23.8 | 0.028065 | 10.0015
23.8167 | 0.029322 | 10.0039
23.8333 | 0.028209 | 10.0004
23.85 | 0.026111 | 10.0037
23.8667 | 0.027226 | 10.004
23.8833 | 0.02855 | 10.0077
23.9 | 0.028197 | 10.0005
23.9167 | 0.028075 | 9.9982
23.9333 | 0.028073 | 10.0004
23.95 | 0.027844 | 10.0027
23.9667 | 0.02541 | 10.0031
23.9833 | 0.024138 | 10.0001
24 | 0.024798 | 10.0086
24.0167 | 0.02314 | 10.0106
24.0333 | 0.022173 | 10.0181
24.05 | 0.022117 | 10.017
24.0667 | 0.021401 | 10.015
24.0833 | 0.020986 | 10.0071
24.1 | 0.019737 | 10.0088
24.1167 | 0.018955 | 10.0076
24.1333 | 0.018837 | 10.0121
24.15 | 0.018183 | 10.0086
24.1667 | 0.018002 | 10.0193
24.1833 | 0.017825 | 10.0185
24.2 | 0.017583 | 10.0193
24.2167 | 0.017354 | 10.0205
24.2333 | 0.014921 | 10.0228
24.25 | 0.012526 | 10.0225
24.2667 | 0.012037 | 10.0219
24.2833 | 0.012572 | 10.0266
24.3 | 0.01352 | 10.0324
24.3167 | 0.016075 | 10.0343
24.3333 | 0.017353 | 10.0349
24.35 | 0.013919 | 10.0379
24.3667 | 0.0098476 | 10.0379
24.3833 | 0.010001 | 10.0327
24.4 | 0.012031 | 10.0243
24.4167 | 0.012579 | 10.0312
24.4333 | 0.011454 | 10.0303
24.45 | 0.0097844 | 10.0352
24.4667 | 0.0087636 | 10.0365
24.4833 | 0.0092895 | 10.0376
24.5 | 0.010604 | 10.0349
24.5167 | 0.010968 | 10.0303
24.5333 | 0.010907 | 10.0242
24.55 | 0.010971 | 10.0288
24.5667 | 0.0094304 | 10.0285
24.5833 | 0.0084649 | 10.0317
24.6 | 0.0082907 | 10.0234
24.6167 | 0.0073333 | 10.0163
24.6333 | 0.0079773 | 10.019
24.65 | 0.0092329 | 10.0202
24.6667 | 0.0094792 | 10.019
24.6833 | 0.0092981 | 10.0219
24.7 | 0.0090642 | 10.0224
24.7167 | 0.0074637 | 10.0224
24.7333 | 0.0060215 | 10.0245
24.75 | 0.0064337 | 10.0202
24.7667 | 0.0066152 | 10.0176
24.7833 | 0.007206 | 10.0135
24.8 | 0.0082822 | 10.0147
24.8167 | 0.0082839 | 10.0057
24.8333 | 0.0092292 | 10.0092
24.85 | 0.010076 | 10.0156
24.8667 | 0.008478 | 10.019
24.8833 | 0.0065053 | 10.0228
24.9 | 0.0058428 | 10.0298
24.9167 | 0.0065483 | 10.0275
24.9333 | 0.0079199 | 10.0315
24.95 | 0.0090513 | 10.0314
24.9667 | 0.01025 | 10.0297
24.9833 | 0.010012 | 10.022
25 | 0.011487 | 10.0208
25.0167 | 0.013587 | 10.015
25.0333 | 0.011765 | 10.0118
25.05 | 0.0079458 | 10.012
25.0667 | 0.0070874 | 10.0144
25.0833 | 0.0082805 | 10.0195
25.1 | 0.008113 | 10.0199
25.1167 | 0.00692 | 10.0196
25.1333 | 0.0068497 | 10.0217
25.15 | 0.0076265 | 10.0166
25.1667 | 0.007631 | 10.0208
25.1833 | 0.0069198 | 10.0262
25.2 | 0.0061998 | 10.0254
25.2167 | 0.0066124 | 10.03
25.2333 | 0.0068566 | 10.0237
25.25 | 0.0066149 | 10.0193
25.2667 | 0.0070306 | 10.0166
25.2833 | 0.0072717 | 10.0152
25.3 | 0.0073885 | 10.0164
25.3167 | 0.0082208 | 10.0265
25.3333 | 0.008583 | 10.0265
25.35 | 0.0085829 | 10.0259
25.3667 | 0.008113 | 10.0196
25.3833 | 0.0066881 | 10.0234
25.4 | 0.0044239 | 10.0211
25.4167 | 0.0031607 | 10.0346
25.4333 | 0.0043364 | 10.0349
25.45 | 0.006427 | 10.0306
25.4667 | 0.006443 | 10.0277
25.4833 | 0.0060165 | 10.026
25.5 | 0.0073821 | 10.0224
25.5167 | 0.0085178 | 10.0236
25.5333 | 0.0096452 | 10.0224
25.55 | 0.011081 | 10.0228
25.5667 | 0.011503 | 10.0312
25.5833 | 0.01186 | 10.0327
25.6 | 0.011864 | 10.0323
25.6167 | 0.011385 | 10.0347
25.6333 | 0.012387 | 10.0393
25.65 | 0.014355 | 10.0311
25.6667 | 0.015141 | 10.0277
25.6833 | 0.01402 | 10.0251
25.7 | 0.011401 | 10.0321
25.7167 | 0.010425 | 10.0343
25.7333 | 0.01244 | 10.039
25.75 | 0.014594 | 10.0367
25.7667 | 0.014849 | 10.0396
25.7833 | 0.013181 | 10.0402
25.8 | 0.012932 | 10.0419
25.8167 | 0.012704 | 10.0344
25.8333 | 0.011625 | 10.0401
25.85 | 0.011799 | 10.0394
25.8667 | 0.011158 | 10.0335
25.8833 | 0.0083624 | 10.0304
25.9 | 0.0069128 | 10.0315
25.9167 | 0.0073903 | 10.0253
25.9333 | 0.0075642 | 10.0222
25.95 | 0.0096374 | 10.0222
25.9667 | 0.012561 | 10.0236
25.9833 | 0.013828 | 10.0233
26 | 0.012415 | 10.0236
26.0167 | 0.0097281 | 10.0167
26.0333 | 0.0094691 | 10.015
26.05 | 0.010429 | 10.0236
26.0667 | 0.01043 | 10.0228
26.0833 | 0.011258 | 10.0352
26.1 | 0.012039 | 10.0362
26.1167 | 0.012098 | 10.0382
26.1333 | 0.01234 | 10.0283
26.15 | 0.01151 | 10.0268
26.1667 | 0.011499 | 10.0274
26.1833 | 0.011923 | 10.0304
26.2 | 0.011328 | 10.0225
26.2167 | 0.01138 | 10.0301
26.2333 | 0.011978 | 10.0274
26.25 | 0.011808 | 10.0272
26.2667 | 0.010616 | 10.0268
26.2833 | 0.010366 | 10.0271
26.3 | 0.011377 | 10.0282
26.3167 | 0.011453 | 10.0253
26.3333 | 0.0095469 | 10.0254
26.35 | 0.0091715 | 10.0338
26.3667 | 0.011484 | 10.032
26.3833 | 0.014057 | 10.0257
26.4 | 0.014015 | 10.026
26.4167 | 0.012644 | 10.0253
26.4333 | 0.012393 | 10.0224
26.45 | 0.01435 | 10.0163
26.4667 | 0.01609 | 10.0195
26.4833 | 0.015858 | 10.021
26.5 | 0.015793 | 10.0219
26.5167 | 0.015741 | 10.0236
26.5333 | 0.014729 | 10.0227
26.55 | 0.013718 | 10.0185
26.5667 | 0.012169 | 10.0144
26.5833 | 0.011326 | 10.0132
26.6 | 0.011677 | 10.0114
26.6167 | 0.013632 | 10.0115
26.6333 | 0.016085 | 10.0137
26.65 | 0.016453 | 10.0141
26.6667 | 0.016098 | 10.0173
26.6833 | 0.014556 | 10.0163
26.7 | 0.012763 | 10.0214
26.7167 | 0.011924 | 10.014
26.7333 | 0.012035 | 10.0149
26.75 | 0.013107 | 10.0108
26.7667 | 0.013944 | 10.0192
26.7833 | 0.013479 | 10.0127
26.8 | 0.012399 | 10.0111
26.8167 | 0.012929 | 10.013
26.8333 | 0.013057 | 10.0208
26.85 | 0.012459 | 10.0211
26.8667 | 0.012808 | 10.0198
26.8833 | 0.014298 | 10.0263
26.9 | 0.013782 | 10.0228
26.9167 | 0.011277 | 10.0236
26.9333 | 0.010255 | 10.0196
26.95 | 0.0097191 | 10.0233
26.9667 | 0.009652 | 10.0166
26.9833 | 0.010308 | 10.0123
27 | 0.010431 | 10.0205
27.0167 | 0.010728 | 10.0228
27.0333 | 0.011201 | 10.0178
27.05 | 0.012212 | 10.0204
27.0667 | 0.012638 | 10.0213
27.0833 | 0.011747 | 10.0155
27.1 | 0.011737 | 10.0094
27.1167 | 0.012397 | 10.0147
27.1333 | 0.011808 | 10.013
27.15 | 0.011027 | 10.0098
27.1667 | 0.011793 | 10.0115
27.1833 | 0.013875 | 10.0167
27.2 | 0.014903 | 10.013
27.2167 | 0.014364 | 10.0144
27.2333 | 0.015429 | 10.0169
27.25 | 0.015683 | 10.008
27.2667 | 0.014017 | 10.0076
27.2833 | 0.013113 | 10.0086
27.3 | 0.013704 | 10.0118
27.3167 | 0.01442 | 10.0121
27.3333 | 0.014782 | 10.0245
27.35 | 0.014309 | 10.0187
27.3667 | 0.013478 | 10.0207
27.3833 | 0.011877 | 10.0234
27.4 | 0.0090171 | 10.0205
27.4167 | 0.0072748 | 10.0213
27.4333 | 0.0076209 | 10.0222
27.45 | 0.0097019 | 10.0155
27.4667 | 0.011021 | 10.012
27.4833 | 0.011799 | 10.0196
27.5 | 0.010862 | 10.021
27.5167 | 0.0087087 | 10.0182
27.5333 | 0.0090522 | 10.0216
27.55 | 0.01001 | 10.0231
27.5667 | 0.010013 | 10.0245
27.5833 | 0.010777 | 10.024
27.6 | 0.012333 | 10.0213
27.6167 | 0.012462 | 10.0213
27.6333 | 0.011626 | 10.0175
27.65 | 0.012208 | 10.0153
27.6667 | 0.01459 | 10.0144
27.6833 | 0.014853 | 10.0144
27.7 | 0.012294 | 10.0155
27.7167 | 0.010732 | 10.015
27.7333 | 0.010373 | 10.0114
27.75 | 0.0098976 | 10.0092
27.7667 | 0.0094822 | 10.0184
27.7833 | 0.0085299 | 10.0175
27.8 | 0.0088114 | 10.0143
27.8167 | 0.011191 | 10.0195
27.8333 | 0.012459 | 10.0195
27.85 | 0.01098 | 10.0185
27.8667 | 0.010012 | 10.0085
27.8833 | 0.01067 | 10.0111
27.9 | 0.0097273 | 10.0143
27.9167 | 0.0080539 | 10.0095
27.9333 | 0.0073332 | 10.0077
27.95 | 0.0072709 | 10.0085
27.9667 | 0.0076835 | 10.0021
27.9833 | 0.0090511 | 10.0083
28 | 0.0093027 | 10.0001
28.0167 | 0.0087641 | 10.0059
28.0333 | 0.0087031 | 10.0015
28.05 | 0.0082901 | 10.0059
28.0667 | 0.0063356 | 10.0053
28.0833 | 0.0044137 | 9.9984
28.1 | 0.0051215 | 9.9932
28.1167 | 0.0045418 | 9.9894
28.1333 | 0.0026873 | 9.9961
28.15 | 0.0032127 | 9.9928
28.1667 | 0.0031062 | 9.9958
28.1833 | 0.0019719 | 9.9924
28.2 | 0.0019621 | 9.9931
28.2167 | 0.0030898 | 9.9905
28.2333 | 0.0045811 | 9.9902
28.25 | 0.0055431 | 9.9879
28.2667 | 0.0041884 | 9.9938
28.2833 | 0.002266 | 9.9859
28.3 | 0.0044468 | 9.99
28.3167 | 0.007265 | 9.9871
28.3333 | 0.0070969 | 9.9885
28.35 | 0.0069142 | 9.9886
28.3667 | 0.0067942 | 9.9972
28.3833 | 0.0072093 | 9.9976
28.4 | 0.0073316 | 9.995
28.4167 | 0.0067997 | 9.9947
28.4333 | 0.0060833 | 9.9952
28.45 | 0.0060752 | 9.9952
28.4667 | 0.0071459 | 9.9978
28.4833 | 0.0075113 | 9.9935
28.5 | 0.0072727 | 9.9999
28.5167 | 0.0073911 | 9.9995
28.5333 | 0.0066862 | 10.0002
28.55 | 0.0048953 | 10.0048
28.5667 | 0.0049983 | 10.0059
28.5833 | 0.0066672 | 10.0004
28.6 | 0.0065103 | 10.0001
28.6167 | 0.0034776 | 10.0085
28.6333 | 0.0013721 | 10.006
28.65 | 0.0028413 | 10.0062
28.6667 | 0.0064174 | 10.0025
28.6833 | 0.0085184 | 10.0076
28.7 | 0.0087617 | 10.0103
28.7167 | 0.0084663 | 10.0106
28.7333 | 0.0075781 | 10.0089
28.75 | 0.0060893 | 10.0132
28.7667 | 0.0048348 | 10.0106
28.7833 | 0.0042323 | 10.0112
28.8 | 0.0047635 | 10.0101
28.8167 | 0.0048345 | 10.0147
28.8333 | 0.0029325 | 10.0141
28.85 | 0.0034383 | 10.0092
28.8667 | 0.0073101 | 10.0094
28.8833 | 0.0084103 | 10.0147
28.9 | 0.0068064 | 10.0057
28.9167 | 0.005195 | 10.0063
28.9333 | 0.0039985 | 10.0085
28.95 | 0.0039883 | 10.0106
28.9667 | 0.0048826 | 9.9989
28.9833 | 0.0048906 | 9.99
29 | 0.0047663 | 9.9931
29.0167 | 0.0057169 | 10.0053
29.0333 | 0.0066087 | 10.0072
29.05 | 0.0079801 | 10.0036
29.0667 | 0.007463 | 10.0077
29.0833 | 0.0060759 | 10.0106
29.1 | 0.0083266 | 10.0187
29.1167 | 0.0096589 | 10.013
29.1333 | 0.0081201 | 10.0173
29.15 | 0.0059113 | 10.0182
29.1667 | 0.0057732 | 10.0208
29.1833 | 0.007265 | 10.019
29.2 | 0.0076875 | 10.0216
29.2167 | 0.0085775 | 10.0127
29.2333 | 0.0085913 | 10.0132
29.25 | 0.0066864 | 10.0138
29.2667 | 0.0066069 | 10.0227
29.2833 | 0.0091038 | 10.0123
29.3 | 0.010609 | 10.0143
29.3167 | 0.010312 | 10.0063
29.3333 | 0.010902 | 10.0045
29.35 | 0.011152 | 10.0022
29.3667 | 0.009255 | 10.0065
29.3833 | 0.0072766 | 10.0077
29.4 | 0.0075634 | 10.0085
29.4167 | 0.0079862 | 10.0051
29.4333 | 0.0084595 | 10.0007
29.45 | 0.0092955 | 9.9979
29.4667 | 0.0093002 | 9.9987
29.4833 | 0.0089435 | 10.0019
29.5 | 0.0082897 | 9.9996
29.5167 | 0.0078073 | 10.0062
29.5333 | 0.0089288 | 10.0033
29.55 | 0.010371 | 10.0103
29.5667 | 0.0083027 | 10.0085
29.5833 | 0.0069101 | 10.0056
29.6 | 0.0081016 | 10.0047
29.6167 | 0.0076985 | 10.006
29.6333 | 0.0058534 | 10.0025
29.65 | 0.0051783 | 10.0001
29.6667 | 0.0078487 | 9.9938
29.6833 | 0.0095929 | 9.9958
29.7 | 0.010362 | 9.9841
29.7167 | 0.01097 | 9.9874
29.7333 | 0.0094882 | 9.9917
29.75 | 0.0079922 | 9.9917
29.7667 | 0.007745 | 9.995
29.7833 | 0.0083459 | 9.9963
29.8 | 0.0076914 | 9.9941
29.8167 | 0.0079802 | 9.9944
29.8333 | 0.0090534 | 9.994
29.85 | 0.010187 | 9.995
29.8667 | 0.010082 | 9.9931
29.8833 | 0.0082361 | 9.9915
29.9 | 0.0070927 | 9.9906
29.9167 | 0.0083296 | 9.9831
29.9333 | 0.01072 | 9.9866
29.95 | 0.01056 | 9.997
29.9667 | 0.0086506 | 10.0005
29.9833 | 0.0084569 | 9.9963
30 | 0.0094584 | 10.0018
30.0167 | 0.0088389

## MW Results
Administrative Information
File name | ICF_25_05_2022-0008.sample
Analysed by | Agilent GPC 1
Date of analysis | 25 May 2022 15:38:30
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 69431 | 41054 | 53498 | 64474 | 73335 | 51777 | 1.3031
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 6.1833 | 12.7833
Baseline region 2 | 24.8833 | 29.15
Peaks | Start (mins) | End (mins)
Peak 1 | 14.05 | 16.2833
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 14.55 | 744.7983 | 21.3292
| RI | 14.65 | 111.6535 | 2.2017
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.3 | 20.1167
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 25 May 2022 15:38:30
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6833
FRCF | 0.99238
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.05 | 0.50639 | -0.0063096 | 0 | 0 | 1 | 152495 | 5.1833 | 0 | No | 1
14.0667 | 0.61794 | -6.775e-05 | 0.0031633 | 0 | 1 | 149148 | 5.1736 | 0.0029413 | No | 1
14.0833 | 0.75002 | 0.0063267 | 0.0093713 | 5.664e-05 | 0.99997 | 145878 | 5.164 | 0.0087211 | No | 1
14.1 | 0.9047 | 0.012416 | 0.021488 | 0.00011115 | 0.99989 | 142682 | 5.1544 | 0.020014 | No | 1
14.1167 | 1.0848 | 0.03056 | 0.036503 | 0.00027359 | 0.9997 | 139559 | 5.1448 | 0.03403 | No | 1
14.1333 | 1.2988 | 0.042447 | 0.047475 | 0.00038001 | 0.99937 | 136507 | 5.1352 | 0.044298 | No | 1
14.15 | 1.5552 | 0.052504 | 0.058676 | 0.00047005 | 0.99894 | 133525 | 5.1256 | 0.054797 | No | 1
14.1667 | 1.8611 | 0.064849 | 0.073692 | 0.00058057 | 0.99842 | 130610 | 5.116 | 0.06888 | No | 1
14.1833 | 2.2252 | 0.082535 | 0.090996 | 0.0007389 | 0.99776 | 127761 | 5.1064 | 0.085128 | No | 1
14.2 | 2.654 | 0.099458 | 0.11036 | 0.00089041 | 0.99694 | 124976 | 5.0968 | 0.10333 | No | 1
14.2167 | 3.1548 | 0.12126 | 0.13262 | 0.0010856 | 0.99595 | 122255 | 5.0873 | 0.12429 | No | 1
14.2333 | 3.7445 | 0.14399 | 0.15962 | 0.001289 | 0.99477 | 119595 | 5.0777 | 0.14972 | No | 1
14.25 | 4.4299 | 0.17525 | 0.18776 | 0.001569 | 0.99334 | 116995 | 5.0682 | 0.17626 | No | 1
14.2667 | 5.2111 | 0.20026 | 0.22482 | 0.0017929 | 0.99166 | 114455 | 5.0586 | 0.21124 | No | 1
14.2833 | 6.0917 | 0.24938 | 0.27379 | 0.0022326 | 0.98964 | 111971 | 5.0491 | 0.25747 | No | 1
14.3 | 7.0725 | 0.29819 | 0.33237 | 0.0026696 | 0.98719 | 109543 | 5.0396 | 0.31283 | No | 1
14.3167 | 8.1485 | 0.36654 | 0.39789 | 0.0032815 | 0.98421 | 107170 | 5.0301 | 0.37483 | No | 1
14.3333 | 9.3061 | 0.42924 | 0.46532 | 0.0038428 | 0.98065 | 104850 | 5.0206 | 0.43873 | No | 1
14.35 | 10.5305 | 0.5014 | 0.54442 | 0.0044888 | 0.97648 | 102583 | 5.0111 | 0.51375 | No | 1
14.3667 | 11.807 | 0.58744 | 0.63794 | 0.0052592 | 0.97161 | 100366 | 5.0016 | 0.60253 | No | 1
14.3833 | 13.1095 | 0.68844 | 0.74154 | 0.0061634 | 0.96589 | 98200 | 4.9921 | 0.70097 | No | 1
14.4 | 14.407 | 0.79463 | 0.85154 | 0.007114 | 0.95925 | 96081 | 4.9826 | 0.80565 | No | 1
14.4167 | 15.67 | 0.90845 | 0.96802 | 0.008133 | 0.95162 | 94011 | 4.9732 | 0.91665 | No | 1
14.4333 | 16.8691 | 1.0276 | 1.0933 | 0.0091997 | 0.94295 | 91986 | 4.9637 | 1.0361 | No | 1
14.45 | 17.9751 | 1.159 | 1.222 | 0.010376 | 0.93316 | 90007 | 4.9543 | 1.1591 | No | 1
14.4667 | 18.9579 | 1.285 | 1.3539 | 0.011504 | 0.92222 | 88072 | 4.9448 | 1.2853 | No | 1
14.4833 | 19.7906 | 1.4228 | 1.4921 | 0.012737 | 0.91009 | 86180 | 4.9354 | 1.4178 | No | 1
14.5 | 20.4542 | 1.5615 | 1.6265 | 0.013979 | 0.89673 | 84331 | 4.926 | 1.5468 | No | 1
14.5167 | 20.9362 | 1.6916 | 1.7497 | 0.015144 | 0.88216 | 82523 | 4.9166 | 1.6654 | No | 1
14.5333 | 21.228 | 1.8079 | 1.8622 | 0.016185 | 0.86649 | 80755 | 4.9072 | 1.774 | No | 1
14.55 | 21.3292 | 1.9166 | 1.9616 | 0.017159 | 0.84981 | 79026 | 4.8978 | 1.8703 | No | 1
14.5667 | 21.2475 | 2.0066 | 2.0418 | 0.017965 | 0.83224 | 77336 | 4.8884 | 1.9484 | No | 1
14.5833 | 20.9922 | 2.077 | 2.105 | 0.018594 | 0.81396 | 75683 | 4.879 | 2.0104 | No | 1
14.6 | 20.5804 | 2.1331 | 2.1555 | 0.019097 | 0.7951 | 74067 | 4.8696 | 2.0603 | No | 1
14.6167 | 20.0334 | 2.1778 | 2.1886 | 0.019497 | 0.7758 | 72487 | 4.8603 | 2.0937 | No | 1
14.6333 | 19.3764 | 2.1993 | 2.2005 | 0.01969 | 0.7562 | 70942 | 4.8509 | 2.107 | No | 1
14.65 | 18.6334 | 2.2017 | 2.1959 | 0.019711 | 0.73649 | 69431 | 4.8416 | 2.1043 | No | 1
14.6667 | 17.8265 | 2.19 | 2.174 | 0.019606 | 0.71682 | 67953 | 4.8322 | 2.0851 | No | 1
14.6833 | 16.9805 | 2.1581 | 2.1372 | 0.01932 | 0.69735 | 66508 | 4.8229 | 2.0515 | No | 1
14.7 | 16.1197 | 2.1162 | 2.0949 | 0.018946 | 0.67821 | 65095 | 4.8135 | 2.0127 | No | 1
14.7167 | 15.261 | 2.0737 | 2.0432 | 0.018565 | 0.65945 | 63713 | 4.8042 | 1.9646 | No | 1
14.7333 | 14.4195 | 2.0128 | 1.9751 | 0.018019 | 0.64115 | 62362 | 4.7949 | 1.9008 | No | 1
14.75 | 13.6083 | 1.9375 | 1.9036 | 0.017346 | 0.62346 | 61040 | 4.7856 | 1.8334 | No | 1
14.7667 | 12.8372 | 1.8696 | 1.8327 | 0.016738 | 0.60641 | 59748 | 4.7763 | 1.7667 | No | 1
14.7833 | 12.1135 | 1.7959 | 1.7636 | 0.016078 | 0.58999 | 58484 | 4.767 | 1.7015 | No | 1
14.8 | 11.4419 | 1.7313 | 1.6954 | 0.0155 | 0.5742 | 57247 | 4.7578 | 1.6371 | No | 1
14.8167 | 10.8249 | 1.6594 | 1.6285 | 0.014856 | 0.55901 | 56038 | 4.7485 | 1.5738 | No | 1
14.8333 | 10.2598 | 1.5975 | 1.5714 | 0.014302 | 0.54443 | 54855 | 4.7392 | 1.5199 | No | 1
14.85 | 9.7443 | 1.5453 | 1.5221 | 0.013834 | 0.53035 | 53699 | 4.73 | 1.4734 | No | 1
14.8667 | 9.2763 | 1.4989 | 1.4751 | 0.013419 | 0.51672 | 52567 | 4.7207 | 1.4291 | No | 1
14.8833 | 8.852 | 1.4513 | 1.4358 | 0.012993 | 0.50351 | 51461 | 4.7115 | 1.3922 | No | 1
14.9 | 8.4681 | 1.4203 | 1.4081 | 0.012715 | 0.49065 | 50378 | 4.7022 | 1.3665 | No | 1
14.9167 | 8.1175 | 1.396 | 1.389 | 0.012498 | 0.47804 | 49319 | 4.693 | 1.349 | No | 1
14.9333 | 7.7938 | 1.3819 | 1.3716 | 0.012372 | 0.4656 | 48284 | 4.6838 | 1.3333 | No | 1
14.95 | 7.4934 | 1.3613 | 1.3565 | 0.012187 | 0.45332 | 47270 | 4.6746 | 1.3197 | No | 1
14.9667 | 7.2128 | 1.3517 | 1.3511 | 0.012101 | 0.44117 | 46279 | 4.6654 | 1.3155 | No | 1
14.9833 | 6.9487 | 1.3505 | 1.3525 | 0.01209 | 0.42907 | 45310 | 4.6562 | 1.318 | No | 1
15 | 6.6972 | 1.3546 | 1.3582 | 0.012127 | 0.41695 | 44361 | 4.647 | 1.3247 | No | 1
15.0167 | 6.4512 | 1.3619 | 1.3656 | 0.012192 | 0.40479 | 43434 | 4.6378 | 1.333 | No | 1
15.0333 | 6.2085 | 1.3693 | 1.3741 | 0.012259 | 0.39256 | 42526 | 4.6287 | 1.3424 | No | 1
15.05 | 5.9706 | 1.3789 | 1.3821 | 0.012345 | 0.38025 | 41638 | 4.6195 | 1.3513 | No | 1
15.0667 | 5.7328 | 1.3853 | 1.39 | 0.012402 | 0.36787 | 40769 | 4.6103 | 1.3601 | No | 1
15.0833 | 5.4939 | 1.3946 | 1.3958 | 0.012486 | 0.35542 | 39919 | 4.6012 | 1.3669 | No | 1
15.1 | 5.2547 | 1.3969 | 1.3958 | 0.012506 | 0.34292 | 39088 | 4.592 | 1.368 | No | 1
15.1167 | 5.0146 | 1.3946 | 1.3897 | 0.012485 | 0.33042 | 38274 | 4.5829 | 1.3632 | No | 1
15.1333 | 4.7746 | 1.3848 | 1.3855 | 0.012398 | 0.31797 | 37478 | 4.5738 | 1.3602 | No | 1
15.15 | 4.5343 | 1.3862 | 1.3787 | 0.01241 | 0.30556 | 36700 | 4.5647 | 1.3546 | No | 1
15.1667 | 4.2944 | 1.3712 | 1.36 | 0.012276 | 0.29322 | 35938 | 4.5556 | 1.3373 | No | 1
15.1833 | 4.0561 | 1.3488 | 1.339 | 0.012075 | 0.28104 | 35192 | 4.5464 | 1.3177 | No | 1
15.2 | 3.8206 | 1.3292 | 1.3174 | 0.0119 | 0.26904 | 34463 | 4.5374 | 1.2975 | No | 1
15.2167 | 3.59 | 1.3056 | 1.2904 | 0.011688 | 0.25724 | 33749 | 4.5283 | 1.272 | No | 1
15.2333 | 3.3643 | 1.2753 | 1.2622 | 0.011418 | 0.24569 | 33050 | 4.5192 | 1.2452 | No | 1
15.25 | 3.1439 | 1.2491 | 1.2312 | 0.011182 | 0.23438 | 32367 | 4.5101 | 1.2156 | No | 1
15.2667 | 2.9311 | 1.2134 | 1.1956 | 0.010863 | 0.22336 | 31698 | 4.501 | 1.1814 | No | 1
15.2833 | 2.7283 | 1.1779 | 1.1575 | 0.010546 | 0.21265 | 31044 | 4.492 | 1.1447 | No | 1
15.3 | 2.5344 | 1.137 | 1.1189 | 0.010179 | 0.20228 | 30403 | 4.4829 | 1.1074 | No | 1
15.3167 | 2.3485 | 1.1009 | 1.0819 | 0.0098555 | 0.19226 | 29777 | 4.4739 | 1.0717 | No | 1
15.3333 | 2.1726 | 1.063 | 1.0419 | 0.0095166 | 0.18257 | 29163 | 4.4648 | 1.0329 | No | 1
15.35 | 2.0085 | 1.0209 | 0.99774 | 0.0091394 | 0.17324 | 28563 | 4.4558 | 0.98988 | No | 1
15.3667 | 1.8532 | 0.97462 | 0.95134 | 0.0087254 | 0.1643 | 27976 | 4.4468 | 0.9446 | No | 1
15.3833 | 1.7086 | 0.92806 | 0.90937 | 0.0083086 | 0.15578 | 27401 | 4.4378 | 0.90365 | No | 1
15.4 | 1.5755 | 0.89067 | 0.87487 | 0.0079738 | 0.14764 | 26838 | 4.4288 | 0.87006 | No | 1
15.4167 | 1.4505 | 0.85907 | 0.84136 | 0.0076909 | 0.1398 | 26288 | 4.4198 | 0.83741 | No | 1
15.4333 | 1.3336 | 0.82365 | 0.80381 | 0.0073738 | 0.13226 | 25749 | 4.4108 | 0.80067 | No | 1
15.45 | 1.2253 | 0.78396 | 0.76465 | 0.0070185 | 0.12507 | 25221 | 4.4018 | 0.76228 | No | 1
15.4667 | 1.1259 | 0.74535 | 0.72253 | 0.0066728 | 0.11822 | 24705 | 4.3928 | 0.72086 | No | 1
15.4833 | 1.034 | 0.69971 | 0.68124 | 0.0062642 | 0.11175 | 24200 | 4.3838 | 0.6802 | No | 1
15.5 | 0.95084 | 0.66277 | 0.64506 | 0.0059335 | 0.10564 | 23706 | 4.3749 | 0.64459 | No | 1
15.5167 | 0.87429 | 0.62735 | 0.613 | 0.0056164 | 0.099867 | 23222 | 4.3659 | 0.61304 | No | 1
15.5333 | 0.80353 | 0.59865 | 0.58072 | 0.0053595 | 0.094377 | 22748 | 4.3569 | 0.58122 | No | 1
15.55 | 0.73819 | 0.56278 | 0.5543 | 0.0050383 | 0.089176 | 22284 | 4.348 | 0.55522 | No | 1
15.5667 | 0.67851 | 0.54583 | 0.52804 | 0.0048866 | 0.084211 | 21830 | 4.3391 | 0.52934 | No | 1
15.5833 | 0.62451 | 0.51026 | 0.49881 | 0.0045682 | 0.079482 | 21386 | 4.3301 | 0.50042 | No | 1
15.6 | 0.57385 | 0.48736 | 0.47591 | 0.0043631 | 0.075015 | 20951 | 4.3212 | 0.47782 | No | 1
15.6167 | 0.52652 | 0.46446 | 0.45491 | 0.0041581 | 0.070752 | 20525 | 4.3123 | 0.4571 | No | 1
15.6333 | 0.48395 | 0.44537 | 0.43254 | 0.0039872 | 0.066678 | 20108 | 4.3034 | 0.43497 | No | 1
15.65 | 0.44587 | 0.41972 | 0.40903 | 0.0037576 | 0.062804 | 19700 | 4.2945 | 0.41165 | No | 1
15.6667 | 0.40988 | 0.39834 | 0.38742 | 0.0035662 | 0.059141 | 19301 | 4.2856 | 0.39021 | No | 1
15.6833 | 0.37485 | 0.37651 | 0.36567 | 0.0033707 | 0.055671 | 18910 | 4.2767 | 0.36858 | No | 1
15.7 | 0.34254 | 0.35483 | 0.34322 | 0.0031766 | 0.052396 | 18527 | 4.2678 | 0.34623 | No | 1
15.7167 | 0.31453 | 0.33162 | 0.32459 | 0.0029688 | 0.049322 | 18152 | 4.2589 | 0.32769 | No | 1
15.7333 | 0.28873 | 0.31757 | 0.30672 | 0.002843 | 0.046415 | 17785 | 4.2501 | 0.30989 | No | 1
15.75 | 0.26355 | 0.29588 | 0.28466 | 0.0026489 | 0.043668 | 17426 | 4.2412 | 0.28783 | No | 1
15.7667 | 0.23717 | 0.27344 | 0.26214 | 0.002448 | 0.041118 | 17074 | 4.2323 | 0.26526 | No | 1
15.7833 | 0.21325 | 0.25084 | 0.24275 | 0.0022457 | 0.03877 | 16730 | 4.2235 | 0.24583 | No | 1
15.8 | 0.19466 | 0.23465 | 0.2319 | 0.0021008 | 0.036596 | 16393 | 4.2147 | 0.23502 | No | 1
15.8167 | 0.17563 | 0.22915 | 0.22258 | 0.0020515 | 0.034519 | 16063 | 4.2058 | 0.22575 | No | 1
15.8333 | 0.15573 | 0.21601 | 0.21554 | 0.0019338 | 0.032526 | 15740 | 4.197 | 0.21879 | No | 1
15.85 | 0.13816 | 0.21508 | 0.20813 | 0.0019255 | 0.030595 | 15423 | 4.1882 | 0.21142 | No | 1
15.8667 | 0.12231 | 0.20118 | 0.19461 | 0.0018011 | 0.028731 | 15113 | 4.1794 | 0.19784 | No | 1
15.8833 | 0.10933 | 0.18804 | 0.18338 | 0.0016835 | 0.026988 | 14810 | 4.1706 | 0.18657 | No | 1
15.9 | 0.097135 | 0.17872 | 0.1733 | 0.0016 | 0.025346 | 14513 | 4.1618 | 0.17645 | No | 1
15.9167 | 0.083642 | 0.16787 | 0.16359 | 0.0015029 | 0.023794 | 14222 | 4.153 | 0.16669 | No | 1
15.9333 | 0.068408 | 0.15931 | 0.15725 | 0.0014263 | 0.022328 | 13937 | 4.1442 | 0.16035 | No | 1
15.95 | 0.055468 | 0.15518 | 0.15334 | 0.0013893 | 0.02092 | 13658 | 4.1354 | 0.15649 | No | 1
15.9667 | 0.046301 | 0.1515 | 0.14905 | 0.0013563 | 0.019547 | 13385 | 4.1266 | 0.15223 | No | 1
15.9833 | 0.036915 | 0.14661 | 0.1453 | 0.0013125 | 0.018212 | 13118 | 4.1179 | 0.14851 | No | 1
16 | 0.026037 | 0.144 | 0.13934 | 0.0012892 | 0.01691 | 12856 | 4.1091 | 0.14252 | No | 1
16.0167 | 0.01503 | 0.13468 | 0.13078 | 0.0012057 | 0.015662 | 12599 | 4.1003 | 0.13387 | No | 1
16.0333 | 0.0056746 | 0.12688 | 0.12504 | 0.0011359 | 0.014491 | 12348 | 4.0916 | 0.12809 | No | 1
16.05 | -9.9608e-05 | 0.1232 | 0.1193 | 0.001103 | 0.013371 | 12102 | 4.0829 | 0.12231 | No | 1
16.0667 | -0.006436 | 0.11541 | 0.11372 | 0.0010332 | 0.012303 | 11861 | 4.0741 | 0.11667 | No | 1
16.0833 | -0.015106 | 0.11204 | 0.10928 | 0.001003 | 0.011284 | 11625 | 4.0654 | 0.1122 | No | 1
16.1 | -0.024973 | 0.10653 | 0.10789 | 0.0009537 | 0.010306 | 11394 | 4.0567 | 0.11086 | No | 1
16.1167 | -0.033792 | 0.10926 | 0.10857 | 0.00097816 | 0.0093392 | 11168 | 4.048 | 0.11163 | No | 1
16.1333 | -0.039735 | 0.10787 | 0.10962 | 0.00096574 | 0.0083668 | 10946 | 4.0393 | 0.1128 | No | 1
16.15 | -0.046323 | 0.11137 | 0.10762 | 0.00099703 | 0.007385 | 10729 | 4.0306 | 0.11083 | No | 1
16.1667 | -0.052209 | 0.10388 | 0.10578 | 0.00092997 | 0.0064212 | 10516 | 4.0219 | 0.10901 | No | 1
16.1833 | -0.058139 | 0.10768 | 0.10508 | 0.00096399 | 0.0054738 | 10308 | 4.0132 | 0.10837 | No | 1
16.2 | -0.06403 | 0.10247 | 0.10384 | 0.00091742 | 0.0045327 | 10104 | 4.0045 | 0.10718 | No | 1
16.2167 | -0.067826 | 0.10521 | 0.10589 | 0.00094188 | 0.0036027 | 9904 | 3.9958 | 0.10937 | No | 1
16.2333 | -0.07215 | 0.10657 | 0.10236 | 0.00095405 | 0.0026543 | 9709 | 3.9872 | 0.10581 | No | 1
16.25 | -0.075538 | 0.098159 | 0.098686 | 0.00087878 | 0.0017375 | 9517 | 3.9785 | 0.10208 | No | 1
16.2667 | -0.078835 | 0.099213 | 0.095315 | 0.00088822 | 0.00085367 | 9329 | 3.9698 | 0.098668 | No | 1
16.2833 | -0.085535 | 0.091417 | 0 | 0.00081842 | 0 | 9145 | 3.9612 | 0 | No | 1