## Sample Details
Administrative Information
Export date | 25 May 2022 15:45:06
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0007.sample
Creation date | 25 May 2022 12:32:50
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t4=60 min
Information
Sample type | Sample
Injection date | 25 May 2022
Vial number | P2-A-8
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 29.8333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1790
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 29.8333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1790
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.010904 | 9.9945
0.016667 | -0.015274 | 9.9999
0.033333 | -0.016742 | 9.9323
0.05 | -0.01237 | 9.708
0.066667 | -0.0043816 | 9.6952
0.083333 | 0.00038969 | 9.744
0.1 | 0.00033127 | 9.8008
0.11667 | -0.0020474 | 9.8594
0.13333 | -0.0050978 | 9.8942
0.15 | -0.0077635 | 9.9256
0.16667 | -0.01048 | 9.9426
0.18333 | -0.014009 | 9.9456
0.2 | -0.015393 | 9.9494
0.21667 | -0.013365 | 9.9592
0.23333 | -0.011387 | 9.9664
0.25 | -0.012493 | 9.9668
0.26667 | -0.015463 | 9.9693
0.28333 | -0.016197 | 9.9693
0.3 | -0.013867 | 9.9764
0.31667 | -0.011422 | 9.9732
0.33333 | -0.011596 | 9.9758
0.35 | -0.013399 | 9.976
0.36667 | -0.014433 | 9.9807
0.38333 | -0.014847 | 9.9853
0.4 | -0.013934 | 9.9851
0.41667 | -0.013429 | 9.9792
0.43333 | -0.015 | 9.977
0.45 | -0.015473 | 9.9773
0.46667 | -0.014118 | 9.9804
0.48333 | -0.013797 | 9.9746
0.5 | -0.014162 | 9.9784
0.51667 | -0.013737 | 9.9732
0.53333 | -0.012739 | 9.9807
0.55 | -0.013386 | 9.9702
0.56667 | -0.014318 | 9.966
0.58333 | -0.013761 | 9.9641
0.6 | -0.013477 | 9.9627
0.61667 | -0.013199 | 9.9708
0.63333 | -0.012751 | 9.9688
0.65 | -0.012482 | 9.9606
0.66667 | -0.013236 | 9.9583
0.68333 | -0.014015 | 9.9714
0.7 | -0.014194 | 9.9735
0.71667 | -0.012358 | 9.9668
0.73333 | -0.010324 | 9.9601
0.75 | -0.011163 | 9.9581
0.76667 | -0.011485 | 9.9546
0.78333 | -0.0093572 | 9.9548
0.8 | -0.0098424 | 9.9517
0.81667 | -0.011021 | 9.9487
0.83333 | -0.0091956 | 9.9455
0.85 | -0.0081268 | 9.9461
0.86667 | -0.008627 | 9.9528
0.88333 | -0.0088785 | 9.9589
0.9 | -0.010146 | 9.9532
0.91667 | -0.011546 | 9.9581
0.93333 | -0.011616 | 9.9525
0.95 | -0.010842 | 9.9526
0.96667 | -0.010932 | 9.9529
0.98333 | -0.013041 | 9.9462
1 | -0.014748 | 9.9374
1.0167 | -0.012885 | 9.9416
1.0333 | -0.011432 | 9.94
1.05 | -0.011896 | 9.945
1.0667 | -0.012723 | 9.9398
1.0833 | -0.015069 | 9.941
1.1 | -0.016442 | 9.9403
1.1167 | -0.014459 | 9.9424
1.1333 | -0.013044 | 9.9436
1.15 | -0.012416 | 9.9448
1.1667 | -0.012964 | 9.9455
1.1833 | -0.01435 | 9.943
1.2 | -0.015202 | 9.9503
1.2167 | -0.016199 | 9.9448
1.2333 | -0.014832 | 9.9471
1.25 | -0.013007 | 9.9479
1.2667 | -0.012999 | 9.9508
1.2833 | -0.012912 | 9.9494
1.3 | -0.012008 | 9.9581
1.3167 | -0.0099903 | 9.9587
1.3333 | -0.0093882 | 9.9609
1.35 | -0.010164 | 9.9541
1.3667 | -0.012034 | 9.9624
1.3833 | -0.012916 | 9.9654
1.4 | -0.011763 | 9.9633
1.4167 | -0.010307 | 9.9546
1.4333 | -0.0093692 | 9.9569
1.45 | -0.010473 | 9.9584
1.4667 | -0.0124 | 9.9616
1.4833 | -0.011456 | 9.9635
1.5 | -0.0095109 | 9.9603
1.5167 | -0.0094248 | 9.9641
1.5333 | -0.010324 | 9.9613
1.55 | -0.010917 | 9.9615
1.5667 | -0.010872 | 9.9589
1.5833 | -0.011756 | 9.957
1.6 | -0.012464 | 9.9537
1.6167 | -0.011856 | 9.9557
1.6333 | -0.010388 | 9.958
1.65 | -0.0096422 | 9.9606
1.6667 | -0.010401 | 9.9535
1.6833 | -0.01166 | 9.9601
1.7 | -0.011416 | 9.9627
1.7167 | -0.0094699 | 9.9621
1.7333 | -0.0082147 | 9.9558
1.75 | -0.0084014 | 9.957
1.7667 | -0.010389 | 9.9601
1.7833 | -0.011484 | 9.963
1.8 | -0.0099392 | 9.9619
1.8167 | -0.0089625 | 9.9577
1.8333 | -0.010151 | 9.9557
1.85 | -0.0097805 | 9.963
1.8667 | -0.0071225 | 9.9686
1.8833 | -0.0063488 | 9.9717
1.9 | -0.0068312 | 9.97
1.9167 | -0.0071031 | 9.9688
1.9333 | -0.0064677 | 9.9601
1.95 | -0.0051693 | 9.9578
1.9667 | -0.0054226 | 9.9554
1.9833 | -0.0061178 | 9.9551
2 | -0.0065028 | 9.9589
2.0167 | -0.0071292 | 9.956
2.0333 | -0.0080756 | 9.9583
2.05 | -0.009248 | 9.9583
2.0667 | -0.010535 | 9.9587
2.0833 | -0.010942 | 9.9561
2.1 | -0.010248 | 9.9644
2.1167 | -0.0094721 | 9.9659
2.1333 | -0.0079459 | 9.9599
2.15 | -0.0071495 | 9.9535
2.1667 | -0.0069702 | 9.9555
2.1833 | -0.006832 | 9.9451
2.2 | -0.0074926 | 9.9433
2.2167 | -0.0081084 | 9.9433
2.2333 | -0.0082548 | 9.9439
2.25 | -0.0074642 | 9.9447
2.2667 | -0.0074889 | 9.9468
2.2833 | -0.0059448 | 9.9453
2.3 | -0.0049052 | 9.9419
2.3167 | -0.007325 | 9.9424
2.3333 | -0.0087121 | 9.9438
2.35 | -0.0079206 | 9.9496
2.3667 | -0.0073323 | 9.9468
2.3833 | -0.0065822 | 9.9526
2.4 | -0.0062599 | 9.9511
2.4167 | -0.0067807 | 9.9509
2.4333 | -0.0057612 | 9.9491
2.45 | -0.0062278 | 9.9532
2.4667 | -0.0093671 | 9.9534
2.4833 | -0.010264 | 9.957
2.5 | -0.0087762 | 9.9578
2.5167 | -0.0072878 | 9.9577
2.5333 | -0.0060435 | 9.958
2.55 | -0.0057161 | 9.9625
2.5667 | -0.0056347 | 9.9612
2.5833 | -0.0049394 | 9.9644
2.6 | -0.0047904 | 9.9622
2.6167 | -0.0054624 | 9.9662
2.6333 | -0.0065074 | 9.9639
2.65 | -0.0079934 | 9.9683
2.6667 | -0.0097894 | 9.9731
2.6833 | -0.010349 | 9.9747
2.7 | -0.010069 | 9.9712
2.7167 | -0.0099856 | 9.9735
2.7333 | -0.0093811 | 9.9784
2.75 | -0.0091044 | 9.9802
2.7667 | -0.01089 | 9.9776
2.7833 | -0.013077 | 9.9744
2.8 | -0.012689 | 9.9772
2.8167 | -0.010497 | 9.9738
2.8333 | -0.0090859 | 9.9702
2.85 | -0.0081008 | 9.9725
2.8667 | -0.0080463 | 9.9767
2.8833 | -0.0085897 | 9.9718
2.9 | -0.0079156 | 9.9772
2.9167 | -0.0064826 | 9.9737
2.9333 | -0.0049916 | 9.9781
2.95 | -0.0055759 | 9.9813
2.9667 | -0.0065042 | 9.986
2.9833 | -0.0063315 | 9.988
3 | -0.0075891 | 9.9937
3.0167 | -0.0074169 | 9.9888
3.0333 | -0.0073591 | 9.9876
3.05 | -0.0087178 | 9.9792
3.0667 | -0.0086928 | 9.9885
3.0833 | -0.0090912 | 9.9905
3.1 | -0.0095157 | 9.994
3.1167 | -0.0096684 | 9.9955
3.1333 | -0.0097143 | 9.9947
3.15 | -0.011046 | 9.994
3.1667 | -0.012019 | 9.9955
3.1833 | -0.011045 | 9.9952
3.2 | -0.0096988 | 9.9966
3.2167 | -0.0097709 | 9.994
3.2333 | -0.011665 | 9.9879
3.25 | -0.011738 | 9.9943
3.2667 | -0.010992 | 9.9915
3.2833 | -0.010409 | 9.9853
3.3 | -0.007239 | 9.9821
3.3167 | -0.0059521 | 9.9824
3.3333 | -0.0085484 | 9.9732
3.35 | -0.011797 | 9.978
3.3667 | -0.013401 | 9.9784
3.3833 | -0.012686 | 9.9784
3.4 | -0.011225 | 9.9747
3.4167 | -0.0097 | 9.9705
3.4333 | -0.0096616 | 9.9705
3.45 | -0.010493 | 9.9734
3.4667 | -0.011574 | 9.9714
3.4833 | -0.010751 | 9.9749
3.5 | -0.0079951 | 9.9807
3.5167 | -0.0073597 | 9.9812
3.5333 | -0.0077509 | 9.981
3.55 | -0.0092544 | 9.977
3.5667 | -0.010798 | 9.9755
3.5833 | -0.010603 | 9.9839
3.6 | -0.0092829 | 9.9786
3.6167 | -0.0092436 | 9.974
3.6333 | -0.0093287 | 9.9732
3.65 | -0.0078817 | 9.9734
3.6667 | -0.0067774 | 9.9795
3.6833 | -0.0080575 | 9.9813
3.7 | -0.009976 | 9.9737
3.7167 | -0.0088051 | 9.9764
3.7333 | -0.0074907 | 9.9824
3.75 | -0.0092114 | 9.974
3.7667 | -0.0096278 | 9.9747
3.7833 | -0.0087807 | 9.9743
3.8 | -0.008852 | 9.9828
3.8167 | -0.0088553 | 9.9778
3.8333 | -0.0087895 | 9.977
3.85 | -0.0089122 | 9.9697
3.8667 | -0.0085745 | 9.9705
3.8833 | -0.0090614 | 9.9705
3.9 | -0.0090977 | 9.9784
3.9167 | -0.0082508 | 9.9769
3.9333 | -0.0079526 | 9.9657
3.95 | -0.0090838 | 9.9686
3.9667 | -0.0071634 | 9.9693
3.9833 | -0.0040234 | 9.9657
4 | -0.0048294 | 9.9677
4.0167 | -0.0073532 | 9.9644
4.0333 | -0.0079635 | 9.9665
4.05 | -0.00694 | 9.9664
4.0667 | -0.0054129 | 9.9589
4.0833 | -0.004526 | 9.9589
4.1 | -0.0038476 | 9.9589
4.1167 | -0.0034116 | 9.9628
4.1333 | -0.0048424 | 9.9638
4.15 | -0.0070015 | 9.959
4.1667 | -0.0061613 | 9.9574
4.1833 | -0.0046317 | 9.9522
4.2 | -0.0045253 | 9.9532
4.2167 | -0.0054643 | 9.9525
4.2333 | -0.0072016 | 9.9531
4.25 | -0.0064599 | 9.9543
4.2667 | -0.004839 | 9.9537
4.2833 | -0.0051567 | 9.9596
4.3 | -0.0064839 | 9.9554
4.3167 | -0.0055006 | 9.9564
4.3333 | -0.00509 | 9.9545
4.35 | -0.0064785 | 9.9561
4.3667 | -0.0064049 | 9.9516
4.3833 | -0.0052939 | 9.9467
4.4 | -0.0054827 | 9.9372
4.4167 | -0.0068078 | 9.9352
4.4333 | -0.0078116 | 9.9358
4.45 | -0.0090132 | 9.9377
4.4667 | -0.0095447 | 9.9372
4.4833 | -0.008752 | 9.9355
4.5 | -0.0079729 | 9.9485
4.5167 | -0.0087897 | 9.9502
4.5333 | -0.010205 | 9.9552
4.55 | -0.009499 | 9.9644
4.5667 | -0.0075137 | 9.9677
4.5833 | -0.007931 | 9.9654
4.6 | -0.0085925 | 9.9651
4.6167 | -0.0076793 | 9.9693
4.6333 | -0.0061044 | 9.9732
4.65 | -0.0036936 | 9.9686
4.6667 | -0.0032342 | 9.977
4.6833 | -0.0057463 | 9.9697
4.7 | -0.0082257 | 9.9642
4.7167 | -0.008049 | 9.9598
4.7333 | -0.0070209 | 9.9674
4.75 | -0.0069552 | 9.9642
4.7667 | -0.0056799 | 9.9702
4.7833 | -0.0049678 | 9.9715
4.8 | -0.0061764 | 9.9653
4.8167 | -0.0075225 | 9.9653
4.8333 | -0.0083838 | 9.97
4.85 | -0.0078407 | 9.9662
4.8667 | -0.0057223 | 9.9685
4.8833 | -0.0047939 | 9.9722
4.9 | -0.0056117 | 9.9798
4.9167 | -0.0068093 | 9.9763
4.9333 | -0.0076122 | 9.9805
4.95 | -0.0072412 | 9.9865
4.9667 | -0.0059878 | 9.9787
4.9833 | -0.0041738 | 9.9773
5 | -0.0016776 | 9.9792
5.0167 | -0.0023382 | 9.9837
5.0333 | -0.0043168 | 9.9853
5.05 | -0.0042211 | 9.9902
5.0667 | -0.0042314 | 9.9873
5.0833 | -0.0023324 | 9.9914
5.1 | -0.00091143 | 9.9897
5.1167 | -0.0024308 | 9.9924
5.1333 | -0.0037338 | 9.9854
5.15 | -0.0041755 | 9.9848
5.1667 | -0.0038089 | 9.9841
5.1833 | -0.0024806 | 9.9862
5.2 | -0.0025041 | 9.9825
5.2167 | -0.004045 | 9.987
5.2333 | -0.0033362 | 9.9825
5.25 | -0.0010766 | 9.9847
5.2667 | -0.00080137 | 9.9781
5.2833 | -0.0015146 | 9.9828
5.3 | -0.0028516 | 9.9905
5.3167 | -0.0033147 | 9.9886
5.3333 | -0.0023697 | 9.9882
5.35 | -0.0036446 | 9.9899
5.3667 | -0.0045712 | 9.979
5.3833 | -0.0040979 | 9.9723
5.4 | -0.0045073 | 9.9795
5.4167 | -0.0036497 | 9.981
5.4333 | -0.0032073 | 9.977
5.45 | -0.0054743 | 9.9784
5.4667 | -0.0069933 | 9.9747
5.4833 | -0.0055382 | 9.9738
5.5 | -0.0035013 | 9.9708
5.5167 | -0.0045699 | 9.9697
5.5333 | -0.0070898 | 9.9812
5.55 | -0.0081726 | 9.9778
5.5667 | -0.0080521 | 9.9778
5.5833 | -0.0064919 | 9.9798
5.6 | -0.0048759 | 9.9726
5.6167 | -0.0041324 | 9.9699
5.6333 | -0.0044739 | 9.9738
5.65 | -0.0046035 | 9.974
5.6667 | -0.0026015 | 9.9749
5.6833 | -0.0026192 | 9.9746
5.7 | -0.0041017 | 9.9665
5.7167 | -0.0042313 | 9.9714
5.7333 | -0.0038642 | 9.9697
5.75 | -0.0038143 | 9.9702
5.7667 | -0.004505 | 9.9723
5.7833 | -0.0050095 | 9.9764
5.8 | -0.0049162 | 9.9784
5.8167 | -0.0053984 | 9.9831
5.8333 | -0.0069348 | 9.9805
5.85 | -0.0066685 | 9.983
5.8667 | -0.0067744 | 9.9834
5.8833 | -0.0056481 | 9.9853
5.9 | -0.0037872 | 9.9837
5.9167 | -0.0056176 | 9.9862
5.9333 | -0.0090017 | 9.9824
5.95 | -0.0097426 | 9.9885
5.9667 | -0.008 | 9.9889
5.9833 | -0.006611 | 9.9856
6 | -0.0060775 | 9.981
6.0167 | -0.0058358 | 9.9773
6.0333 | -0.0059305 | 9.9743
6.05 | -0.0050818 | 9.9801
6.0667 | -0.0034399 | 9.9828
6.0833 | -0.0038812 | 9.9792
6.1 | -0.0058593 | 9.9786
6.1167 | -0.0060505 | 9.9799
6.1333 | -0.0052649 | 9.9784
6.15 | -0.0049072 | 9.9834
6.1667 | -0.0057317 | 9.9825
6.1833 | -0.0052991 | 9.9876
6.2 | -0.0042786 | 9.9848
6.2167 | -0.0043244 | 9.9874
6.2333 | -0.0045889 | 9.9833
6.25 | -0.005005 | 9.9818
6.2667 | -0.0060009 | 9.981
6.2833 | -0.0066259 | 9.9735
6.3 | -0.0064652 | 9.9744
6.3167 | -0.0061429 | 9.9732
6.3333 | -0.0058553 | 9.9714
6.35 | -0.0077044 | 9.9682
6.3667 | -0.010071 | 9.9667
6.3833 | -0.0086632 | 9.9635
6.4 | -0.0051343 | 9.9744
6.4167 | -0.0027028 | 9.9766
6.4333 | -0.0019579 | 9.9802
6.45 | -0.0025694 | 9.9824
6.4667 | -0.0042716 | 9.981
6.4833 | -0.0063331 | 9.9812
6.5 | -0.006976 | 9.9763
6.5167 | -0.0063727 | 9.9708
6.5333 | -0.0046984 | 9.9693
6.55 | -0.0029669 | 9.9689
6.5667 | -0.0030422 | 9.9744
6.5833 | -0.0047496 | 9.9805
6.6 | -0.0052481 | 9.9744
6.6167 | -0.0043469 | 9.9726
6.6333 | -0.0030253 | 9.9691
6.65 | -0.0022872 | 9.9751
6.6667 | -0.0020246 | 9.9812
6.6833 | -0.00088781 | 9.9751
6.7 | 0.00078129 | 9.9726
6.7167 | 0.0028706 | 9.9744
6.7333 | 0.0053788 | 9.9784
6.75 | 0.0084733 | 9.9847
6.7667 | 0.015836 | 9.9781
6.7833 | 0.027566 | 9.9757
6.8 | 0.04286 | 9.967
6.8167 | 0.060911 | 9.9714
6.8333 | 0.08077 | 9.9696
6.85 | 0.10761 | 9.977
6.8667 | 0.14347 | 9.9752
6.8833 | 0.1859 | 9.9778
6.9 | 0.23334 | 9.9792
6.9167 | 0.28635 | 9.981
6.9333 | 0.34759 | 9.983
6.95 | 0.4176 | 9.9831
6.9667 | 0.49319 | 9.9863
6.9833 | 0.57293 | 9.9812
7 | 0.65625 | 9.9796
7.0167 | 0.74322 | 9.9809
7.0333 | 0.83396 | 9.9799
7.05 | 0.92563 | 9.974
7.0667 | 1.0115 | 9.9784
7.0833 | 1.0929 | 9.9758
7.1 | 1.1725 | 9.978
7.1167 | 1.2475 | 9.9822
7.1333 | 1.3189 | 9.9854
7.15 | 1.385 | 9.983
7.1667 | 1.4442 | 9.9776
7.1833 | 1.4978 | 9.9813
7.2 | 1.5457 | 9.9866
7.2167 | 1.5861 | 9.9786
7.2333 | 1.6193 | 9.981
7.25 | 1.6491 | 9.9775
7.2667 | 1.676 | 9.9792
7.2833 | 1.6979 | 9.976
7.3 | 1.7151 | 9.9877
7.3167 | 1.7271 | 9.9924
7.3333 | 1.738 | 9.9931
7.35 | 1.7479 | 9.9862
7.3667 | 1.7531 | 9.9842
7.3833 | 1.7534 | 9.99
7.4 | 1.7514 | 9.9937
7.4167 | 1.7521 | 10.0013
7.4333 | 1.753 | 10.0123
7.45 | 1.7482 | 10.0082
7.4667 | 1.7397 | 10.0022
7.4833 | 1.7333 | 10.0018
7.5 | 1.7283 | 9.9992
7.5167 | 1.7222 | 10.0027
7.5333 | 1.7139 | 9.9955
7.55 | 1.704 | 9.9987
7.5667 | 1.695 | 9.9935
7.5833 | 1.6851 | 10.0001
7.6 | 1.6719 | 9.9934
7.6167 | 1.6597 | 9.9952
7.6333 | 1.6481 | 9.9981
7.65 | 1.6335 | 10.0051
7.6667 | 1.6194 | 10.0039
7.6833 | 1.6064 | 10.0106
7.7 | 1.5946 | 10.005
7.7167 | 1.5839 | 10.0033
7.7333 | 1.572 | 10.0043
7.75 | 1.559 | 9.9999
7.7667 | 1.5452 | 9.999
7.7833 | 1.5309 | 9.9955
7.8 | 1.5169 | 9.9911
7.8167 | 1.5047 | 9.9967
7.8333 | 1.4928 | 9.9937
7.85 | 1.4796 | 9.9921
7.8667 | 1.465 | 9.9961
7.8833 | 1.4502 | 9.988
7.9 | 1.4364 | 9.9836
7.9167 | 1.4228 | 9.9914
7.9333 | 1.4098 | 9.9885
7.95 | 1.3968 | 9.9931
7.9667 | 1.3837 | 9.9963
7.9833 | 1.3715 | 9.9877
8 | 1.3591 | 9.9929
8.0167 | 1.3446 | 9.9908
8.0333 | 1.3313 | 9.9914
8.05 | 1.3199 | 9.9889
8.0667 | 1.3073 | 9.9924
8.0833 | 1.2938 | 9.99
8.1 | 1.282 | 9.987
8.1167 | 1.2717 | 9.9873
8.1333 | 1.2609 | 9.9889
8.15 | 1.2482 | 9.9833
8.1667 | 1.2357 | 9.9831
8.1833 | 1.2252 | 9.9854
8.2 | 1.2115 | 9.9853
8.2167 | 1.1972 | 9.9847
8.2333 | 1.1871 | 9.9874
8.25 | 1.1775 | 9.9809
8.2667 | 1.1662 | 9.981
8.2833 | 1.1537 | 9.9841
8.3 | 1.1404 | 9.9879
8.3167 | 1.1275 | 9.9776
8.3333 | 1.1149 | 9.9725
8.35 | 1.1037 | 9.9796
8.3667 | 1.0932 | 9.9805
8.3833 | 1.0809 | 9.9763
8.4 | 1.0678 | 9.9725
8.4167 | 1.0565 | 9.9735
8.4333 | 1.0466 | 9.9735
8.45 | 1.0351 | 9.9894
8.4667 | 1.0232 | 9.9883
8.4833 | 1.0124 | 9.9894
8.5 | 1.002 | 9.9908
8.5167 | 0.9914 | 9.9851
8.5333 | 0.98067 | 9.9859
8.55 | 0.97066 | 9.9833
8.5667 | 0.9591 | 9.9784
8.5833 | 0.94505 | 9.9842
8.6 | 0.93153 | 9.9822
8.6167 | 0.91992 | 9.981
8.6333 | 0.91058 | 9.9776
8.65 | 0.90159 | 9.9845
8.6667 | 0.89048 | 9.9831
8.6833 | 0.87973 | 9.9856
8.7 | 0.87068 | 9.9738
8.7167 | 0.86042 | 9.9818
8.7333 | 0.84889 | 9.9859
8.75 | 0.84034 | 9.9946
8.7667 | 0.83293 | 9.9979
8.7833 | 0.82479 | 9.9946
8.8 | 0.81573 | 10.0021
8.8167 | 0.8062 | 9.9987
8.8333 | 0.79851 | 9.9961
8.85 | 0.79111 | 9.9978
8.8667 | 0.7853 | 9.9992
8.8833 | 0.77906 | 9.9944
8.9 | 0.77135 | 9.9912
8.9167 | 0.76571 | 9.9851
8.9333 | 0.76094 | 9.9888
8.95 | 0.75695 | 9.9792
8.9667 | 0.75557 | 9.9778
8.9833 | 0.75449 | 9.9937
9 | 0.75598 | 9.9973
9.0167 | 0.75884 | 9.9937
9.0333 | 0.76128 | 9.9996
9.05 | 0.76499 | 9.9909
9.0667 | 0.76878 | 9.9929
9.0833 | 0.77175 | 9.9819
9.1 | 0.77607 | 9.9799
9.1167 | 0.78262 | 9.9825
9.1333 | 0.78988 | 9.9911
9.15 | 0.79474 | 9.9894
9.1667 | 0.79674 | 9.9908
9.1833 | 0.79968 | 9.9924
9.2 | 0.80411 | 9.9903
9.2167 | 0.80566 | 9.9934
9.2333 | 0.80408 | 9.9999
9.25 | 0.80256 | 10.003
9.2667 | 0.80277 | 10.0007
9.2833 | 0.80177 | 10.0072
9.3 | 0.79867 | 9.9989
9.3167 | 0.79264 | 10.0025
9.3333 | 0.7857 | 9.9932
9.35 | 0.78059 | 9.9976
9.3667 | 0.77579 | 9.9911
9.3833 | 0.76953 | 9.9943
9.4 | 0.76084 | 9.9955
9.4167 | 0.74969 | 9.9891
9.4333 | 0.73828 | 9.9874
9.45 | 0.72932 | 9.9891
9.4667 | 0.72225 | 9.9947
9.4833 | 0.71396 | 9.9998
9.5 | 0.70332 | 10.0071
9.5167 | 0.69178 | 10.0126
9.5333 | 0.68078 | 10.0167
9.55 | 0.67154 | 10.014
9.5667 | 0.66266 | 10.0111
9.5833 | 0.6534 | 10.0062
9.6 | 0.64292 | 10.013
9.6167 | 0.63245 | 10.0111
9.6333 | 0.62344 | 10.0181
9.65 | 0.61335 | 10.0184
9.6667 | 0.60311 | 10.0138
9.6833 | 0.59372 | 10.014
9.7 | 0.58509 | 10.015
9.7167 | 0.577 | 10.0115
9.7333 | 0.5702 | 10.0091
9.75 | 0.56184 | 10.0018
9.7667 | 0.55238 | 10.0066
9.7833 | 0.54423 | 10.0042
9.8 | 0.53742 | 10.0033
9.8167 | 0.52994 | 9.9924
9.8333 | 0.52091 | 9.9918
9.85 | 0.51383 | 9.9949
9.8667 | 0.50858 | 9.9987
9.8833 | 0.50135 | 9.9981
9.9 | 0.49165 | 9.997
9.9167 | 0.48161 | 9.9941
9.9333 | 0.47546 | 9.9963
9.95 | 0.47098 | 9.9975
9.9667 | 0.46524 | 9.9975
9.9833 | 0.45971 | 10.0005
10 | 0.45259 | 10.001
10.0167 | 0.44502 | 9.9953
10.0333 | 0.43898 | 9.9897
10.05 | 0.43447 | 9.9902
10.0667 | 0.42949 | 9.9946
10.0833 | 0.42468 | 10.0001
10.1 | 0.42062 | 9.9891
10.1167 | 0.41341 | 9.9909
10.1333 | 0.40829 | 9.99
10.15 | 0.4072 | 9.9892
10.1667 | 0.40397 | 9.9847
10.1833 | 0.4002 | 9.9842
10.2 | 0.39585 | 9.9824
10.2167 | 0.38758 | 9.9891
10.2333 | 0.37966 | 9.99
10.25 | 0.3741 | 9.9903
10.2667 | 0.36994 | 9.9812
10.2833 | 0.36667 | 9.9766
10.3 | 0.36423 | 9.9689
10.3167 | 0.36163 | 9.9799
10.3333 | 0.35571 | 9.9807
10.35 | 0.35079 | 9.9866
10.3667 | 0.34779 | 9.983
10.3833 | 0.34318 | 9.985
10.4 | 0.33776 | 9.979
10.4167 | 0.33394 | 9.9866
10.4333 | 0.33187 | 9.9874
10.45 | 0.32809 | 9.9842
10.4667 | 0.32428 | 9.9802
10.4833 | 0.32251 | 9.9775
10.5 | 0.32028 | 9.9766
10.5167 | 0.31752 | 9.9725
10.5333 | 0.31431 | 9.9757
10.55 | 0.31035 | 9.9805
10.5667 | 0.30891 | 9.9957
10.5833 | 0.30936 | 9.9958
10.6 | 0.30725 | 9.992
10.6167 | 0.30159 | 9.9899
10.6333 | 0.29658 | 9.9934
10.65 | 0.29487 | 9.992
10.6667 | 0.29282 | 9.9987
10.6833 | 0.28918 | 10.0011
10.7 | 0.28581 | 10.003
10.7167 | 0.28238 | 9.9975
10.7333 | 0.27893 | 9.9889
10.75 | 0.2764 | 9.99
10.7667 | 0.27594 | 9.9903
10.7833 | 0.27601 | 9.992
10.8 | 0.2736 | 9.9868
10.8167 | 0.27037 | 9.9857
10.8333 | 0.26821 | 9.9812
10.85 | 0.26555 | 9.9824
10.8667 | 0.2613 | 9.9778
10.8833 | 0.25894 | 9.9856
10.9 | 0.25692 | 9.9865
10.9167 | 0.25389 | 9.9928
10.9333 | 0.25354 | 9.9876
10.95 | 0.25299 | 9.9839
10.9667 | 0.25104 | 9.9892
10.9833 | 0.24946 | 9.9906
11 | 0.247 | 9.9895
11.0167 | 0.24258 | 9.9934
11.0333 | 0.24157 | 9.9905
11.05 | 0.24223 | 9.9982
11.0667 | 0.2403 | 9.9987
11.0833 | 0.23796 | 9.9903
11.1 | 0.23713 | 9.9938
11.1167 | 0.23657 | 10.0024
11.1333 | 0.237 | 10.0059
11.15 | 0.23568 | 10.0047
11.1667 | 0.23105 | 10.0047
11.1833 | 0.22941 | 10.0118
11.2 | 0.23115 | 10.0076
11.2167 | 0.22947 | 10.0066
11.2333 | 0.22581 | 10.0019
11.25 | 0.22471 | 9.9924
11.2667 | 0.22403 | 10.0039
11.2833 | 0.2234 | 9.997
11.3 | 0.22317 | 9.9972
11.3167 | 0.22148 | 9.9979
11.3333 | 0.21954 | 10.0016
11.35 | 0.21929 | 9.9984
11.3667 | 0.21983 | 9.9921
11.3833 | 0.21826 | 9.9909
11.4 | 0.21436 | 10.006
11.4167 | 0.21128 | 10.0086
11.4333 | 0.21052 | 10.0095
11.45 | 0.21043 | 10.0033
11.4667 | 0.2105 | 10.013
11.4833 | 0.21068 | 10.0077
11.5 | 0.20938 | 10.0159
11.5167 | 0.20702 | 10.0106
11.5333 | 0.20442 | 10.0091
11.55 | 0.2043 | 10.0056
11.5667 | 0.20501 | 10.012
11.5833 | 0.20479 | 10.0016
11.6 | 0.20608 | 9.9986
11.6167 | 0.20515 | 9.9906
11.6333 | 0.2021 | 10.0043
11.65 | 0.20077 | 10.0071
11.6667 | 0.20109 | 10.0066
11.6833 | 0.20151 | 10.0065
11.7 | 0.19894 | 10.0047
11.7167 | 0.19642 | 9.9989
11.7333 | 0.19752 | 10.0008
11.75 | 0.19931 | 10.0004
11.7667 | 0.19951 | 10.0066
11.7833 | 0.19742 | 10.0059
11.8 | 0.19574 | 10.0033
11.8167 | 0.19289 | 10.0062
11.8333 | 0.18963 | 10.0074
11.85 | 0.18925 | 10.0095
11.8667 | 0.1884 | 10.0057
11.8833 | 0.18622 | 10.0108
11.9 | 0.18446 | 10.0056
11.9167 | 0.18397 | 10.0068
11.9333 | 0.1852 | 9.9966
11.95 | 0.18636 | 9.9961
11.9667 | 0.18605 | 9.9979
11.9833 | 0.18552 | 10.0016
12 | 0.18372 | 9.9993
12.0167 | 0.18204 | 10.0036
12.0333 | 0.1821 | 9.9953
12.05 | 0.18266 | 9.9921
12.0667 | 0.18302 | 9.9897
12.0833 | 0.18333 | 9.9937
12.1 | 0.18202 | 9.9929
12.1167 | 0.18065 | 10.0008
12.1333 | 0.18078 | 10.0018
12.15 | 0.18194 | 10.0057
12.1667 | 0.18168 | 10.0042
12.1833 | 0.17854 | 9.9981
12.2 | 0.17533 | 10.0069
12.2167 | 0.17241 | 10.0005
12.2333 | 0.17051 | 10.0031
12.25 | 0.17077 | 9.9982
12.2667 | 0.1714 | 10.0053
12.2833 | 0.17215 | 10.0037
12.3 | 0.17244 | 10.006
12.3167 | 0.1722 | 10.006
12.3333 | 0.17099 | 10.0155
12.35 | 0.17064 | 10.0138
12.3667 | 0.1719 | 10.0182
12.3833 | 0.17461 | 10.0111
12.4 | 0.17565 | 10.0037
12.4167 | 0.17226 | 9.9931
12.4333 | 0.16958 | 9.9892
12.45 | 0.16861 | 9.9903
12.4667 | 0.16787 | 9.9966
12.4833 | 0.16688 | 9.9987
12.5 | 0.16653 | 10.004
12.5167 | 0.16662 | 10.0042
12.5333 | 0.16747 | 10.0033
12.55 | 0.16726 | 9.9975
12.5667 | 0.16481 | 9.9938
12.5833 | 0.16268 | 9.9963
12.6 | 0.16189 | 10.0019
12.6167 | 0.16246 | 10.0065
12.6333 | 0.16296 | 10.0051
12.65 | 0.16338 | 10.0086
12.6667 | 0.16388 | 10.0103
12.6833 | 0.16418 | 10.0101
12.7 | 0.1649 | 10.0082
12.7167 | 0.16409 | 10.0121
12.7333 | 0.1612 | 10.0127
12.75 | 0.16009 | 10.0121
12.7667 | 0.16034 | 10.0089
12.7833 | 0.16066 | 10.0175
12.8 | 0.16181 | 10.0225
12.8167 | 0.16242 | 10.0265
12.8333 | 0.1631 | 10.019
12.85 | 0.16112 | 10.0172
12.8667 | 0.15996 | 10.019
12.8833 | 0.16204 | 10.0292
12.9 | 0.16113 | 10.0278
12.9167 | 0.16029 | 10.0198
12.9333 | 0.16203 | 10.0219
12.95 | 0.16354 | 10.0297
12.9667 | 0.16443 | 10.0314
12.9833 | 0.16322 | 10.0266
13 | 0.16349 | 10.0254
13.0167 | 0.16647 | 10.0277
13.0333 | 0.1669 | 10.0256
13.05 | 0.16541 | 10.0196
13.0667 | 0.16465 | 10.0259
13.0833 | 0.16463 | 10.0282
13.1 | 0.16427 | 10.0423
13.1167 | 0.16417 | 10.0465
13.1333 | 0.16565 | 10.0396
13.15 | 0.16602 | 10.0376
13.1667 | 0.16618 | 10.0388
13.1833 | 0.16714 | 10.0372
13.2 | 0.16646 | 10.0407
13.2167 | 0.16729 | 10.0352
13.2333 | 0.16821 | 10.0378
13.25 | 0.16678 | 10.0431
13.2667 | 0.16579 | 10.0428
13.2833 | 0.16543 | 10.0373
13.3 | 0.16531 | 10.0321
13.3167 | 0.16595 | 10.0295
13.3333 | 0.16624 | 10.0282
13.35 | 0.16597 | 10.0167
13.3667 | 0.16573 | 10.0192
13.3833 | 0.16693 | 10.0152
13.4 | 0.16873 | 10.0231
13.4167 | 0.16904 | 10.0309
13.4333 | 0.1696 | 10.0318
13.45 | 0.17024 | 10.0346
13.4667 | 0.16933 | 10.037
13.4833 | 0.16879 | 10.0303
13.5 | 0.17009 | 10.0285
13.5167 | 0.17185 | 10.0269
13.5333 | 0.17413 | 10.0282
13.55 | 0.17503 | 10.0361
13.5667 | 0.17465 | 10.0327
13.5833 | 0.17743 | 10.0251
13.6 | 0.18189 | 10.0225
13.6167 | 0.18377 | 10.0147
13.6333 | 0.18394 | 10.0123
13.65 | 0.18475 | 10.0123
13.6667 | 0.18672 | 10.0158
13.6833 | 0.19034 | 10.0214
13.7 | 0.19402 | 10.0216
13.7167 | 0.1958 | 10.0285
13.7333 | 0.19962 | 10.0245
13.75 | 0.20735 | 10.0304
13.7667 | 0.21576 | 10.0312
13.7833 | 0.2251 | 10.0292
13.8 | 0.23566 | 10.0315
13.8167 | 0.24448 | 10.0285
13.8333 | 0.25529 | 10.0213
13.85 | 0.27 | 10.0233
13.8667 | 0.28779 | 10.0246
13.8833 | 0.30769 | 10.0234
13.9 | 0.3283 | 10.0245
13.9167 | 0.352 | 10.0292
13.9333 | 0.38234 | 10.0344
13.95 | 0.41795 | 10.039
13.9667 | 0.45725 | 10.0465
13.9833 | 0.50156 | 10.0486
14 | 0.55239 | 10.0597
14.0167 | 0.61129 | 10.0608
14.0333 | 0.67948 | 10.0623
14.05 | 0.75899 | 10.0576
14.0667 | 0.85269 | 10.0597
14.0833 | 0.96356 | 10.0591
14.1 | 1.0943 | 10.0651
14.1167 | 1.2483 | 10.0697
14.1333 | 1.4316 | 10.0791
14.15 | 1.6509 | 10.0791
14.1667 | 1.9136 | 10.0881
14.1833 | 2.2259 | 10.1
14.2 | 2.5975 | 10.1226
14.2167 | 3.0368 | 10.1409
14.2333 | 3.5473 | 10.1597
14.25 | 4.1394 | 10.1832
14.2667 | 4.8219 | 10.2041
14.2833 | 5.5935 | 10.2335
14.3 | 6.4508 | 10.277
14.3167 | 7.3925 | 10.3298
14.3333 | 8.4101 | 10.386
14.35 | 9.4897 | 10.4484
14.3667 | 10.6164 | 10.5167
14.3833 | 11.7674 | 10.5997
14.4 | 12.9182 | 10.6986
14.4167 | 14.0439 | 10.8071
14.4333 | 15.116 | 10.9168
14.45 | 16.108 | 11.0345
14.4667 | 16.9938 | 11.1474
14.4833 | 17.7509 | 11.2719
14.5 | 18.3627 | 11.3902
14.5167 | 18.8175 | 11.4948
14.5333 | 19.107 | 11.5864
14.55 | 19.2276 | 11.679
14.5667 | 19.1864 | 11.7712
14.5833 | 18.9956 | 11.8439
14.6 | 18.6675 | 11.8938
14.6167 | 18.2202 | 11.9309
14.6333 | 17.6742 | 11.945
14.65 | 17.051 | 11.9498
14.6667 | 16.3721 | 11.9447
14.6833 | 15.6579 | 11.9167
14.7 | 14.9277 | 11.8801
14.7167 | 14.2001 | 11.8313
14.7333 | 13.4895 | 11.7789
14.75 | 12.8047 | 11.7213
14.7667 | 12.1534 | 11.6659
14.7833 | 11.5455 | 11.6006
14.8 | 10.9833 | 11.545
14.8167 | 10.4666 | 11.4896
14.8333 | 9.996 | 11.4387
14.85 | 9.5705 | 11.3894
14.8667 | 9.1864 | 11.3566
14.8833 | 8.8392 | 11.3273
14.9 | 8.5249 | 11.3065
14.9167 | 8.2402 | 11.2826
14.9333 | 7.9804 | 11.2788
14.95 | 7.7362 | 11.2562
14.9667 | 7.5035 | 11.2646
14.9833 | 7.2819 | 11.2658
15 | 7.0681 | 11.2719
15.0167 | 6.8567 | 11.2881
15.0333 | 6.6435 | 11.2986
15.05 | 6.4277 | 11.3131
15.0667 | 6.2101 | 11.32
15.0833 | 5.99 | 11.3284
15.1 | 5.7651 | 11.3357
15.1167 | 5.5364 | 11.334
15.1333 | 5.3042 | 11.3264
15.15 | 5.0686 | 11.3245
15.1667 | 4.8308 | 11.311
15.1833 | 4.5939 | 11.3052
15.2 | 4.3584 | 11.2859
15.2167 | 4.1258 | 11.2753
15.2333 | 3.8972 | 11.2453
15.25 | 3.6727 | 11.2127
15.2667 | 3.4576 | 11.1854
15.2833 | 3.2498 | 11.1459
15.3 | 3.0477 | 11.1079
15.3167 | 2.8564 | 11.0674
15.3333 | 2.6751 | 11.0297
15.35 | 2.5035 | 10.9939
15.3667 | 2.3436 | 10.9478
15.3833 | 2.194 | 10.9013
15.4 | 2.0529 | 10.8564
15.4167 | 1.9212 | 10.8173
15.4333 | 1.7995 | 10.7804
15.45 | 1.6884 | 10.7444
15.4667 | 1.5869 | 10.7056
15.4833 | 1.4932 | 10.662
15.5 | 1.4055 | 10.628
15.5167 | 1.3244 | 10.595
15.5333 | 1.2509 | 10.5602
15.55 | 1.1816 | 10.525
15.5667 | 1.1167 | 10.5041
15.5833 | 1.0569 | 10.4757
15.6 | 1.0002 | 10.4487
15.6167 | 0.94992 | 10.4269
15.6333 | 0.90549 | 10.4026
15.65 | 0.86472 | 10.3837
15.6667 | 0.82715 | 10.3681
15.6833 | 0.78925 | 10.3472
15.7 | 0.75264 | 10.3359
15.7167 | 0.71864 | 10.312
15.7333 | 0.68797 | 10.302
15.75 | 0.65972 | 10.2853
15.7667 | 0.6352 | 10.2743
15.7833 | 0.61248 | 10.2563
15.8 | 0.58879 | 10.2456
15.8167 | 0.5668 | 10.2326
15.8333 | 0.54681 | 10.2238
15.85 | 0.52696 | 10.2123
15.8667 | 0.50839 | 10.2055
15.8833 | 0.49284 | 10.1981
15.9 | 0.47718 | 10.1922
15.9167 | 0.46034 | 10.1871
15.9333 | 0.4431 | 10.1794
15.95 | 0.42801 | 10.1742
15.9667 | 0.41606 | 10.1659
15.9833 | 0.40485 | 10.1565
16 | 0.39358 | 10.1464
16.0167 | 0.38406 | 10.1478
16.0333 | 0.37414 | 10.1398
16.05 | 0.36352 | 10.1388
16.0667 | 0.35498 | 10.1327
16.0833 | 0.347 | 10.1307
16.1 | 0.33796 | 10.1237
16.1167 | 0.32851 | 10.1264
16.1333 | 0.31987 | 10.1159
16.15 | 0.3121 | 10.1121
16.1667 | 0.30498 | 10.1106
16.1833 | 0.2997 | 10.1073
16.2 | 0.29463 | 10.1028
16.2167 | 0.28742 | 10.0965
16.2333 | 0.2815 | 10.1
16.25 | 0.2778 | 10.0912
16.2667 | 0.27272 | 10.0837
16.2833 | 0.26696 | 10.0774
16.3 | 0.2616 | 10.0675
16.3167 | 0.25544 | 10.0628
16.3333 | 0.25093 | 10.0655
16.35 | 0.24929 | 10.0663
16.3667 | 0.24746 | 10.0687
16.3833 | 0.24491 | 10.0671
16.4 | 0.23981 | 10.0628
16.4167 | 0.23303 | 10.0637
16.4333 | 0.22831 | 10.0645
16.45 | 0.22643 | 10.0593
16.4667 | 0.22629 | 10.0532
16.4833 | 0.22647 | 10.0495
16.5 | 0.22644 | 10.0538
16.5167 | 0.22536 | 10.0507
16.5333 | 0.22372 | 10.0513
16.55 | 0.22223 | 10.0503
16.5667 | 0.22119 | 10.0507
16.5833 | 0.22037 | 10.0471
16.6 | 0.21781 | 10.0517
16.6167 | 0.21602 | 10.0413
16.6333 | 0.21565 | 10.0382
16.65 | 0.21544 | 10.0301
16.6667 | 0.2168 | 10.0349
16.6833 | 0.21868 | 10.0362
16.7 | 0.21844 | 10.0387
16.7167 | 0.21842 | 10.0373
16.7333 | 0.21887 | 10.043
16.75 | 0.22043 | 10.0361
16.7667 | 0.22246 | 10.0361
16.7833 | 0.22281 | 10.0266
16.8 | 0.22349 | 10.0314
16.8167 | 0.22496 | 10.0278
16.8333 | 0.22563 | 10.0243
16.85 | 0.22755 | 10.0222
16.8667 | 0.23069 | 10.0184
16.8833 | 0.23253 | 10.0243
16.9 | 0.23308 | 10.0202
16.9167 | 0.23576 | 10.0256
16.9333 | 0.23912 | 10.023
16.95 | 0.24228 | 10.0282
16.9667 | 0.24601 | 10.0271
16.9833 | 0.2504 | 10.028
17 | 0.25456 | 10.0237
17.0167 | 0.25901 | 10.026
17.0333 | 0.26466 | 10.0144
17.05 | 0.26923 | 10.0187
17.0667 | 0.27348 | 10.0262
17.0833 | 0.27983 | 10.0306
17.1 | 0.28569 | 10.0306
17.1167 | 0.29169 | 10.0362
17.1333 | 0.2975 | 10.0361
17.15 | 0.3021 | 10.0387
17.1667 | 0.3076 | 10.0294
17.1833 | 0.31509 | 10.0271
17.2 | 0.32259 | 10.0268
17.2167 | 0.3301 | 10.033
17.2333 | 0.33924 | 10.0373
17.25 | 0.34781 | 10.041
17.2667 | 0.35604 | 10.0455
17.2833 | 0.36435 | 10.0451
17.3 | 0.37408 | 10.0466
17.3167 | 0.38359 | 10.0385
17.3333 | 0.39152 | 10.0349
17.35 | 0.39996 | 10.0323
17.3667 | 0.40996 | 10.0372
17.3833 | 0.42162 | 10.0391
17.4 | 0.43493 | 10.0364
17.4167 | 0.44621 | 10.0404
17.4333 | 0.45624 | 10.0462
17.45 | 0.4678 | 10.0426
17.4667 | 0.48085 | 10.0434
17.4833 | 0.4954 | 10.0425
17.5 | 0.51183 | 10.0459
17.5167 | 0.52865 | 10.0459
17.5333 | 0.54407 | 10.0504
17.55 | 0.55939 | 10.0442
17.5667 | 0.57724 | 10.0388
17.5833 | 0.59733 | 10.0372
17.6 | 0.61826 | 10.0443
17.6167 | 0.63934 | 10.0478
17.6333 | 0.6596 | 10.053
17.65 | 0.67911 | 10.0443
17.6667 | 0.69977 | 10.048
17.6833 | 0.71967 | 10.0431
17.7 | 0.73931 | 10.0407
17.7167 | 0.75995 | 10.0436
17.7333 | 0.77875 | 10.0379
17.75 | 0.79728 | 10.0402
17.7667 | 0.81459 | 10.0457
17.7833 | 0.82907 | 10.0425
17.8 | 0.84348 | 10.0349
17.8167 | 0.86033 | 10.0448
17.8333 | 0.87648 | 10.0391
17.85 | 0.89082 | 10.0416
17.8667 | 0.90627 | 10.0327
17.8833 | 0.92224 | 10.0295
17.9 | 0.93879 | 10.0294
17.9167 | 0.95528 | 10.0358
17.9333 | 0.97091 | 10.0382
17.95 | 0.98673 | 10.0373
17.9667 | 1.0034 | 10.0318
17.9833 | 1.0225 | 10.0311
18 | 1.0418 | 10.0311
18.0167 | 1.0594 | 10.0341
18.0333 | 1.0772 | 10.0397
18.05 | 1.0992 | 10.0442
18.0667 | 1.1227 | 10.0434
18.0833 | 1.1463 | 10.0434
18.1 | 1.1693 | 10.0422
18.1167 | 1.1922 | 10.0494
18.1333 | 1.2183 | 10.0539
18.15 | 1.2459 | 10.0541
18.1667 | 1.2738 | 10.0727
18.1833 | 1.3033 | 10.089
18.2 | 1.335 | 10.1002
18.2167 | 1.3688 | 10.1159
18.2333 | 1.4071 | 10.1363
18.25 | 1.4478 | 10.1487
18.2667 | 1.4898 | 10.1632
18.2833 | 1.5365 | 10.1801
18.3 | 1.5873 | 10.2027
18.3167 | 1.6422 | 10.2103
18.3333 | 1.7013 | 10.2131
18.35 | 1.7607 | 10.2168
18.3667 | 1.8204 | 10.2215
18.3833 | 1.8839 | 10.2171
18.4 | 1.9461 | 10.2128
18.4167 | 1.9993 | 10.2018
18.4333 | 2.0454 | 10.1923
18.45 | 2.0884 | 10.1827
18.4667 | 2.1265 | 10.1698
18.4833 | 2.1561 | 10.1534
18.5 | 2.1777 | 10.1493
18.5167 | 2.1933 | 10.1376
18.5333 | 2.2068 | 10.1366
18.55 | 2.2214 | 10.1434
18.5667 | 2.2385 | 10.1426
18.5833 | 2.2607 | 10.1377
18.6 | 2.2936 | 10.1299
18.6167 | 2.3413 | 10.126
18.6333 | 2.4025 | 10.1234
18.65 | 2.4748 | 10.1272
18.6667 | 2.5596 | 10.1304
18.6833 | 2.6545 | 10.1406
18.7 | 2.7581 | 10.1502
18.7167 | 2.869 | 10.1705
18.7333 | 2.9776 | 10.1936
18.75 | 3.0765 | 10.2279
18.7667 | 3.1629 | 10.2639
18.7833 | 3.2331 | 10.3078
18.8 | 3.2816 | 10.3519
18.8167 | 3.3071 | 10.3959
18.8333 | 3.3087 | 10.4412
18.85 | 3.2889 | 10.4844
18.8667 | 3.2504 | 10.526
18.8833 | 3.1954 | 10.5643
18.9 | 3.1306 | 10.5874
18.9167 | 3.059 | 10.5979
18.9333 | 2.9847 | 10.5961
18.95 | 2.9145 | 10.5891
18.9667 | 2.8492 | 10.5692
18.9833 | 2.7854 | 10.5358
19 | 2.7235 | 10.4906
19.0167 | 2.6685 | 10.4499
19.0333 | 2.6171 | 10.4147
19.05 | 2.5624 | 10.3713
19.0667 | 2.5049 | 10.3284
19.0833 | 2.4414 | 10.2958
19.1 | 2.3637 | 10.2583
19.1167 | 2.2656 | 10.2294
19.1333 | 2.1403 | 10.2048
19.15 | 1.9833 | 10.1783
19.1667 | 1.7855 | 10.1614
19.1833 | 1.534 | 10.1517
19.2 | 1.2252 | 10.1348
19.2167 | 0.85601 | 10.1173
19.2333 | 0.42383 | 10.098
19.25 | -0.063562 | 10.0794
19.2667 | -0.59571 | 10.0628
19.2833 | -1.1601 | 10.0468
19.3 | -1.7293 | 10.0233
19.3167 | -2.2695 | 10.0031
19.3333 | -2.7527 | 9.997
19.35 | -3.1465 | 9.9992
19.3667 | -3.4185 | 10.0312
19.3833 | -3.5478 | 10.1026
19.4 | -3.5218 | 10.2413
19.4167 | -3.335 | 10.4791
19.4333 | -2.9932 | 10.8613
19.45 | -2.5167 | 11.4071
19.4667 | -1.9304 | 12.1661
19.4833 | -1.2647 | 13.1815
19.5 | -0.55087 | 14.475
19.5167 | 0.1768 | 16.0781
19.5333 | 0.88127 | 17.9456
19.55 | 1.5376 | 20.0497
19.5667 | 2.1253 | 22.3112
19.5833 | 2.6277 | 24.6278
19.6 | 3.0385 | 26.8664
19.6167 | 3.357 | 28.8995
19.6333 | 3.5879 | 30.5787
19.65 | 3.7414 | 31.8114
19.6667 | 3.8304 | 32.5169
19.6833 | 3.8676 | 32.6577
19.7 | 3.8669 | 32.2494
19.7167 | 3.839 | 31.3554
19.7333 | 3.791 | 30.0346
19.75 | 3.7306 | 28.4081
19.7667 | 3.6618 | 26.5881
19.7833 | 3.5887 | 24.6813
19.8 | 3.5122 | 22.7753
19.8167 | 3.4342 | 20.9711
19.8333 | 3.3564 | 19.3143
19.85 | 3.2832 | 17.8364
19.8667 | 3.2153 | 16.5493
19.8833 | 3.1499 | 15.449
19.9 | 3.0923 | 14.5243
19.9167 | 3.0459 | 13.7458
19.9333 | 3.0095 | 13.1136
19.95 | 2.9819 | 12.5797
19.9667 | 2.9641 | 12.1497
19.9833 | 2.9514 | 11.784
20 | 2.9409 | 11.5116
20.0167 | 2.9318 | 11.2441
20.0333 | 2.9207 | 11.0169
20.05 | 2.9029 | 10.7951
20.0667 | 2.8763 | 10.5909
20.0833 | 2.8391 | 10.3771
20.1 | 2.7873 | 10.1499
20.1167 | 2.7223 | 9.8968
20.1333 | 2.6464 | 9.5943
20.15 | 2.5591 | 9.2487
20.1667 | 2.4655 | 8.8386
20.1833 | 2.3695 | 8.3765
20.2 | 2.2685 | 7.8513
20.2167 | 2.1674 | 7.308
20.2333 | 2.0718 | 6.7448
20.25 | 1.9821 | 6.1945
20.2667 | 1.9001 | 5.6849
20.2833 | 1.8289 | 5.2412
20.3 | 1.768 | 4.9009
20.3167 | 1.715 | 4.6752
20.3333 | 1.6734 | 4.584
20.35 | 1.6467 | 4.6233
20.3667 | 1.636 | 4.7834
20.3833 | 1.6441 | 5.0675
20.4 | 1.677 | 5.4237
20.4167 | 1.7437 | 5.8459
20.4333 | 1.853 | 6.3116
20.45 | 2.0147 | 6.7901
20.4667 | 2.2363 | 7.25
20.4833 | 2.5224 | 7.6951
20.5 | 2.8819 | 8.1087
20.5167 | 3.319 | 8.4832
20.5333 | 3.8286 | 8.8125
20.55 | 4.4008 | 9.1038
20.5667 | 5.0202 | 9.3639
20.5833 | 5.664 | 9.5901
20.6 | 6.3039 | 9.8081
20.6167 | 6.9066 | 10.0097
20.6333 | 7.4351 | 10.2055
20.65 | 7.8551 | 10.4025
20.6667 | 8.1318 | 10.5994
20.6833 | 8.2297 | 10.8024
20.7 | 8.1191 | 11.0107
20.7167 | 7.7698 | 11.2128
20.7333 | 7.1523 | 11.4098
20.75 | 6.2323 | 11.5943
20.7667 | 4.9669 | 11.7663
20.7833 | 3.3095 | 11.9099
20.8 | 1.2089 | 12.0196
20.8167 | -1.3914 | 12.0971
20.8333 | -4.549 | 12.1308
20.85 | -8.3062 | 12.1166
20.8667 | -12.6816 | 12.0678
20.8833 | -17.663 | 11.9856
20.9 | -23.1896 | 11.8749
20.9167 | -29.1526 | 11.7312
20.9333 | -35.3917 | 11.5704
20.95 | -41.6949 | 11.3949
20.9667 | -47.8209 | 11.2275
20.9833 | -53.5069 | 11.0587
21 | -58.4897 | 10.8938
21.0167 | -62.538 | 10.7444
21.0333 | -65.4695 | 10.6017
21.05 | -67.1651 | 10.4769
21.0667 | -67.5765 | 10.3724
21.0833 | -66.738 | 10.2818
21.1 | -64.7538 | 10.2009
21.1167 | -61.7772 | 10.1333
21.1333 | -58.004 | 10.0809
21.15 | -53.6525 | 10.0419
21.1667 | -48.9428 | 10.0021
21.1833 | -44.074 | 9.9784
21.2 | -39.218 | 9.9606
21.2167 | -34.5217 | 9.9538
21.2333 | -30.0941 | 9.9337
21.25 | -26.0029 | 9.9238
21.2667 | -22.289 | 9.9184
21.2833 | -18.9736 | 9.9229
21.3 | -16.0534 | 9.9195
21.3167 | -13.51 | 9.9278
21.3333 | -11.3168 | 9.939
21.35 | -9.4408 | 9.9444
21.3667 | -7.8494 | 9.949
21.3833 | -6.5084 | 9.9531
21.4 | -5.3849 | 9.9541
21.4167 | -4.4496 | 9.9523
21.4333 | -3.6759 | 9.9577
21.45 | -3.0365 | 9.9668
21.4667 | -2.5095 | 9.9728
21.4833 | -2.0781 | 9.9673
21.5 | -1.7245 | 9.9659
21.5167 | -1.4338 | 9.961
21.5333 | -1.1964 | 9.9625
21.55 | -1.0027 | 9.9535
21.5667 | -0.84406 | 9.9456
21.5833 | -0.71623 | 9.9198
21.6 | -0.61471 | 9.9067
21.6167 | -0.53137 | 9.8904
21.6333 | -0.46165 | 9.866
21.65 | -0.40507 | 9.8191
21.6667 | -0.35768 | 9.766
21.6833 | -0.31653 | 9.6937
21.7 | -0.28173 | 9.5966
21.7167 | -0.25166 | 9.4836
21.7333 | -0.2263 | 9.3415
21.75 | -0.20548 | 9.161
21.7667 | -0.1881 | 8.9466
21.7833 | -0.1724 | 8.6945
21.8 | -0.15861 | 8.3967
21.8167 | -0.14835 | 8.0596
21.8333 | -0.14032 | 7.7009
21.85 | -0.13115 | 7.2952
21.8667 | -0.12285 | 6.8772
21.8833 | -0.11607 | 6.4455
21.9 | -0.10828 | 6.0169
21.9167 | -0.099693 | 5.6118
21.9333 | -0.091074 | 5.2334
21.95 | -0.08354 | 4.9047
21.9667 | -0.07804 | 4.6317
21.9833 | -0.075093 | 4.4367
22 | -0.072019 | 4.309
22.0167 | -0.066421 | 4.269
22.0333 | -0.060378 | 4.3147
22.05 | -0.055499 | 4.4494
22.0667 | -0.049664 | 4.6589
22.0833 | -0.044555 | 4.9265
22.1 | -0.04164 | 5.2393
22.1167 | -0.039908 | 5.6113
22.1333 | -0.034869 | 5.991
22.15 | -0.027674 | 6.3554
22.1667 | -0.020645 | 6.762
22.1833 | -0.011522 | 7.141
22.2 | 0.0017989 | 7.5097
22.2167 | 0.02109 | 7.8645
22.2333 | 0.047701 | 8.1863
22.25 | 0.085293 | 8.4663
22.2667 | 0.13684 | 8.7051
22.2833 | 0.20529 | 8.9271
22.3 | 0.29917 | 9.1155
22.3167 | 0.42688 | 9.2741
22.3333 | 0.59658 | 9.3996
22.35 | 0.81944 | 9.5106
22.3667 | 1.1078 | 9.5921
22.3833 | 1.47 | 9.6507
22.4 | 1.9166 | 9.7103
22.4167 | 2.4607 | 9.7442
22.4333 | 3.1091 | 9.7576
22.45 | 3.8703 | 9.7593
22.4667 | 4.7492 | 9.7536
22.4833 | 5.7429 | 9.7318
22.5 | 6.8425 | 9.6894
22.5167 | 8.0332 | 9.6331
22.5333 | 9.2979 | 9.573
22.55 | 10.6112 | 9.4912
22.5667 | 11.938 | 9.4024
22.5833 | 13.2422 | 9.2854
22.6 | 14.4848 | 9.1605
22.6167 | 15.6227 | 9.0246
22.6333 | 16.6185 | 8.8856
22.65 | 17.4393 | 8.7264
22.6667 | 18.053 | 8.5697
22.6833 | 18.4366 | 8.4159
22.7 | 18.5786 | 8.2699
22.7167 | 18.4749 | 8.1255
22.7333 | 18.1338 | 7.9987
22.75 | 17.5739 | 7.9009
22.7667 | 16.8181 | 7.8187
22.7833 | 15.8951 | 7.767
22.8 | 14.8392 | 7.7439
22.8167 | 13.687 | 7.7567
22.8333 | 12.4769 | 7.7984
22.85 | 11.2446 | 7.8638
22.8667 | 10.0186 | 7.9527
22.8833 | 8.8308 | 8.0592
22.9 | 7.7051 | 8.1759
22.9167 | 6.6545 | 8.3172
22.9333 | 5.6918 | 8.4628
22.95 | 4.8275 | 8.6063
22.9667 | 4.0631 | 8.7547
22.9833 | 3.395 | 8.9024
23 | 2.8175 | 9.0327
23.0167 | 2.3249 | 9.1637
23.0333 | 1.9099 | 9.2753
23.05 | 1.5626 | 9.3841
23.0667 | 1.2751 | 9.4843
23.0833 | 1.043 | 9.5663
23.1 | 0.85525 | 9.6297
23.1167 | 0.70148 | 9.6851
23.1333 | 0.57882 | 9.7288
23.15 | 0.483 | 9.7645
23.1667 | 0.40753 | 9.7982
23.1833 | 0.34657 | 9.8238
23.2 | 0.29623 | 9.8562
23.2167 | 0.25561 | 9.8791
23.2333 | 0.22447 | 9.8931
23.25 | 0.20014 | 9.8962
23.2667 | 0.17956 | 9.9113
23.2833 | 0.16327 | 9.9216
23.3 | 0.15 | 9.9306
23.3167 | 0.13871 | 9.9357
23.3333 | 0.13001 | 9.9424
23.35 | 0.12163 | 9.9381
23.3667 | 0.11452 | 9.941
23.3833 | 0.10838 | 9.9372
23.4 | 0.1017 | 9.9436
23.4167 | 0.096105 | 9.9445
23.4333 | 0.092062 | 9.9426
23.45 | 0.088523 | 9.9483
23.4667 | 0.084365 | 9.9416
23.4833 | 0.081162 | 9.9403
23.5 | 0.078607 | 9.9444
23.5167 | 0.075191 | 9.9506
23.5333 | 0.073514 | 9.9557
23.55 | 0.071657 | 9.9622
23.5667 | 0.06882 | 9.9657
23.5833 | 0.067086 | 9.9633
23.6 | 0.064378 | 9.9584
23.6167 | 0.062092 | 9.9636
23.6333 | 0.062014 | 9.9598
23.65 | 0.062086 | 9.9595
23.6667 | 0.059436 | 9.9586
23.6833 | 0.055045 | 9.9738
23.7 | 0.051227 | 9.9758
23.7167 | 0.048789 | 9.9769
23.7333 | 0.049665 | 9.977
23.75 | 0.051429 | 9.9725
23.7667 | 0.050166 | 9.9714
23.7833 | 0.049555 | 9.9735
23.8 | 0.050325 | 9.9706
23.8167 | 0.04803 | 9.9778
23.8333 | 0.045151 | 9.9776
23.85 | 0.045575 | 9.9882
23.8667 | 0.046377 | 9.985
23.8833 | 0.046825 | 9.9857
23.9 | 0.046511 | 9.9853
23.9167 | 0.04544 | 9.9943
23.9333 | 0.043432 | 9.9926
23.95 | 0.041779 | 9.9865
23.9667 | 0.040975 | 9.9877
23.9833 | 0.041314 | 9.9905
24 | 0.041191 | 9.9924
24.0167 | 0.039746 | 9.9824
24.0333 | 0.039286 | 9.9856
24.05 | 0.038924 | 9.9819
24.0667 | 0.038375 | 9.9879
24.0833 | 0.037859 | 9.987
24.1 | 0.035597 | 9.99
24.1167 | 0.033539 | 9.9889
24.1333 | 0.034275 | 9.992
24.15 | 0.036404 | 9.9923
24.1667 | 0.037675 | 9.9943
24.1833 | 0.037702 | 9.9912
24.2 | 0.036861 | 9.9955
24.2167 | 0.035783 | 9.9921
24.2333 | 0.035703 | 9.9866
24.25 | 0.035883 | 9.9837
24.2667 | 0.036408 | 9.985
24.2833 | 0.034495 | 9.9895
24.3 | 0.033618 | 9.9931
24.3167 | 0.033477 | 9.9909
24.3333 | 0.031751 | 9.9941
24.35 | 0.031691 | 9.9996
24.3667 | 0.031197 | 9.9949
24.3833 | 0.03015 | 9.9995
24.4 | 0.03021 | 10.0037
24.4167 | 0.028029 | 9.9992
24.4333 | 0.025719 | 9.9993
24.45 | 0.028011 | 9.9978
24.4667 | 0.030503 | 9.9964
24.4833 | 0.031445 | 9.9975
24.5 | 0.031832 | 9.9966
24.5167 | 0.031763 | 9.9953
24.5333 | 0.031743 | 9.9978
24.55 | 0.031078 | 9.9943
24.5667 | 0.030243 | 9.9931
24.5833 | 0.029884 | 9.9982
24.6 | 0.031642 | 9.9943
24.6167 | 0.03226 | 10.0001
24.6333 | 0.030369 | 9.9979
24.65 | 0.030697 | 10.0018
24.6667 | 0.031506 | 9.9979
24.6833 | 0.031414 | 10.0018
24.7 | 0.031446 | 10.0034
24.7167 | 0.031774 | 10.005
24.7333 | 0.031761 | 10.0062
24.75 | 0.032801 | 10.0095
24.7667 | 0.033692 | 10.0034
24.7833 | 0.033317 | 10.005
24.8 | 0.033086 | 9.9999
24.8167 | 0.032514 | 10.0033
24.8333 | 0.029456 | 10.001
24.85 | 0.025677 | 9.9996
24.8667 | 0.025842 | 9.9966
24.8833 | 0.028298 | 9.999
24.9 | 0.029931 | 10.0024
24.9167 | 0.030145 | 10.0008
24.9333 | 0.027665 | 10.0043
24.95 | 0.024979 | 10.004
24.9667 | 0.024764 | 10.0091
24.9833 | 0.02654 | 10.0083
25 | 0.028477 | 10.0053
25.0167 | 0.028513 | 10.0059
25.0333 | 0.02853 | 10.0149
25.05 | 0.028548 | 10.0094
25.0667 | 0.028133 | 10.0179
25.0833 | 0.02714 | 10.0143
25.1 | 0.026487 | 10.0077
25.1167 | 0.026283 | 10.0066
25.1333 | 0.02554 | 10.0057
25.15 | 0.02443 | 9.999
25.1667 | 0.022877 | 9.996
25.1833 | 0.02141 | 9.9895
25.2 | 0.021585 | 9.9882
25.2167 | 0.02152 | 9.9957
25.2333 | 0.021011 | 9.992
25.25 | 0.020676 | 9.9889
25.2667 | 0.021672 | 9.9899
25.2833 | 0.023355 | 9.9912
25.3 | 0.022134 | 9.988
25.3167 | 0.020133 | 9.9937
25.3333 | 0.019902 | 9.983
25.35 | 0.022253 | 9.9841
25.3667 | 0.023253 | 9.9899
25.3833 | 0.022465 | 9.9885
25.4 | 0.022112 | 9.9932
25.4167 | 0.020937 | 9.9928
25.4333 | 0.020226 | 9.9822
25.45 | 0.020843 | 9.9818
25.4667 | 0.02047 | 9.9754
25.4833 | 0.020416 | 9.976
25.5 | 0.022091 | 9.9786
25.5167 | 0.024339 | 9.9761
25.5333 | 0.0257 | 9.9691
25.55 | 0.025516 | 9.9746
25.5667 | 0.023772 | 9.9767
25.5833 | 0.021401 | 9.9845
25.6 | 0.020634 | 9.9795
25.6167 | 0.023056 | 9.9871
25.6333 | 0.024451 | 9.9885
25.65 | 0.022274 | 9.9888
25.6667 | 0.020221 | 9.9848
25.6833 | 0.020876 | 9.9841
25.7 | 0.020142 | 9.9871
25.7167 | 0.018755 | 9.9848
25.7333 | 0.021838 | 9.9894
25.75 | 0.024639 | 9.9953
25.7667 | 0.024099 | 10.0008
25.7833 | 0.023299 | 9.9992
25.8 | 0.022133 | 10.0027
25.8167 | 0.020709 | 9.9992
25.8333 | 0.019236 | 9.9952
25.85 | 0.019062 | 9.9888
25.8667 | 0.021573 | 9.988
25.8833 | 0.022787 | 9.9877
25.9 | 0.021347 | 9.9902
25.9167 | 0.022239 | 9.9949
25.9333 | 0.024526 | 9.9937
25.95 | 0.024371 | 9.9957
25.9667 | 0.024585 | 10.0004
25.9833 | 0.024679 | 9.9961
26 | 0.022987 | 9.997
26.0167 | 0.022442 | 10.0002
26.0333 | 0.022952 | 9.9921
26.05 | 0.023272 | 9.9998
26.0667 | 0.02548 | 10.0025
26.0833 | 0.026119 | 10.0037
26.1 | 0.023608 | 9.9976
26.1167 | 0.02253 | 9.9986
26.1333 | 0.022801 | 9.9969
26.15 | 0.023847 | 10.0047
26.1667 | 0.024988 | 9.9984
26.1833 | 0.025792 | 9.999
26.2 | 0.02557 | 10.0027
26.2167 | 0.025392 | 9.999
26.2333 | 0.025087 | 10.0074
26.25 | 0.024342 | 10.0181
26.2667 | 0.023487 | 10.0115
26.2833 | 0.022338 | 10.0066
26.3 | 0.023039 | 10.0079
26.3167 | 0.024993 | 10.0024
26.3333 | 0.025647 | 9.9982
26.35 | 0.023858 | 10.0008
26.3667 | 0.023054 | 10.0028
26.3833 | 0.024335 | 10.0007
26.4 | 0.024446 | 9.9982
26.4167 | 0.02218 | 10.0039
26.4333 | 0.020526 | 10.0031
26.45 | 0.020445 | 10.0076
26.4667 | 0.020353 | 10.0051
26.4833 | 0.019849 | 10.0068
26.5 | 0.018578 | 10.0028
26.5167 | 0.019654 | 9.9998
26.5333 | 0.020955 | 10.0025
26.55 | 0.020976 | 10.0063
26.5667 | 0.020898 | 10.0011
26.5833 | 0.019211 | 10.005
26.6 | 0.017836 | 9.9995
26.6167 | 0.017911 | 9.9973
26.6333 | 0.017457 | 10.004
26.65 | 0.017674 | 10.006
26.6667 | 0.017767 | 10.0053
26.6833 | 0.018216 | 9.9972
26.7 | 0.018574 | 9.995
26.7167 | 0.018117 | 9.9949
26.7333 | 0.018508 | 9.997
26.75 | 0.019383 | 10.0039
26.7667 | 0.019371 | 10.0053
26.7833 | 0.018655 | 10.0043
26.8 | 0.017767 | 10.0115
26.8167 | 0.016672 | 10.0085
26.8333 | 0.016969 | 10.0074
26.85 | 0.017132 | 10.0039
26.8667 | 0.016862 | 10.0074
26.8833 | 0.016629 | 10.0071
26.9 | 0.015906 | 10.0071
26.9167 | 0.015618 | 10.0129
26.9333 | 0.015374 | 10.0053
26.95 | 0.014623 | 10.006
26.9667 | 0.014247 | 10.0013
26.9833 | 0.014096 | 10.0057
27 | 0.014208 | 10.0013
27.0167 | 0.015729 | 10.0108
27.0333 | 0.015855 | 10.0117
27.05 | 0.014433 | 10.0159
27.0667 | 0.014931 | 10.0103
27.0833 | 0.01653 | 10.0089
27.1 | 0.016898 | 10.0127
27.1167 | 0.01705 | 10.0181
27.1333 | 0.016685 | 10.0114
27.15 | 0.016652 | 10.0112
27.1667 | 0.018041 | 10.0048
27.1833 | 0.018177 | 10.008
27.2 | 0.016609 | 10.0094
27.2167 | 0.016118 | 10.0134
27.2333 | 0.015042 | 10.0134
27.25 | 0.012192 | 10.022
27.2667 | 0.010532 | 10.0188
27.2833 | 0.011968 | 10.0161
27.3 | 0.012913 | 10.0126
27.3167 | 0.011943 | 10.0106
27.3333 | 0.011229 | 10.0079
27.35 | 0.01283 | 10.0071
27.3667 | 0.014678 | 10.0066
27.3833 | 0.015643 | 9.9981
27.4 | 0.016102 | 9.9895
27.4167 | 0.014622 | 9.9891
27.4333 | 0.012926 | 9.9877
27.45 | 0.011761 | 9.987
27.4667 | 0.010599 | 9.9853
27.4833 | 0.011144 | 9.9844
27.5 | 0.013133 | 9.9885
27.5167 | 0.013985 | 9.9822
27.5333 | 0.012692 | 9.9897
27.55 | 0.010179 | 9.9888
27.5667 | 0.010071 | 9.9946
27.5833 | 0.012689 | 9.9932
27.6 | 0.013781 | 10.0015
27.6167 | 0.012562 | 9.9952
27.6333 | 0.012451 | 10.0005
27.65 | 0.013211 | 9.9979
27.6667 | 0.012753 | 9.9953
27.6833 | 0.012158 | 9.9902
27.7 | 0.012953 | 9.992
27.7167 | 0.01284 | 9.9888
27.7333 | 0.013184 | 9.9947
27.75 | 0.013536 | 9.9979
27.7667 | 0.013414 | 9.9963
27.7833 | 0.01347 | 10.0013
27.8 | 0.013227 | 10.0022
27.8167 | 0.012454 | 9.9998
27.8333 | 0.011036 | 9.9993
27.85 | 0.011837 | 9.9975
27.8667 | 0.013523 | 9.9957
27.8833 | 0.01262 | 10.0002
27.9 | 0.012035 | 10.0005
27.9167 | 0.01197 | 10.0004
27.9333 | 0.012587 | 10.0024
27.95 | 0.011534 | 10.0088
27.9667 | 0.0085268 | 10.0086
27.9833 | 0.0082464 | 10.0181
28 | 0.0099685 | 10.0185
28.0167 | 0.01056 | 10.0219
28.0333 | 0.0095261 | 10.0227
28.05 | 0.0089378 | 10.0285
28.0667 | 0.0087341 | 10.0248
28.0833 | 0.0077301 | 10.0256
28.1 | 0.0081387 | 10.0176
28.1167 | 0.010143 | 10.0155
28.1333 | 0.010914 | 10.0179
28.15 | 0.009943 | 10.0172
28.1667 | 0.010082 | 10.0217
28.1833 | 0.0098394 | 10.0198
28.2 | 0.0081085 | 10.0208
28.2167 | 0.0082579 | 10.0184
28.2333 | 0.0097363 | 10.0239
28.25 | 0.0080926 | 10.0205
28.2667 | 0.0059648 | 10.0311
28.2833 | 0.0070508 | 10.0364
28.3 | 0.0081186 | 10.0359
28.3167 | 0.0073608 | 10.0341
28.3333 | 0.0055312 | 10.0321
28.35 | 0.0047876 | 10.0262
28.3667 | 0.0056734 | 10.0289
28.3833 | 0.0054531 | 10.0242
28.4 | 0.0048422 | 10.026
28.4167 | 0.0061469 | 10.0253
28.4333 | 0.0067393 | 10.0341
28.45 | 0.0060741 | 10.0388
28.4667 | 0.0066601 | 10.0376
28.4833 | 0.0062255 | 10.0346
28.5 | 0.0040014 | 10.0369
28.5167 | 0.0022416 | 10.0382
28.5333 | 0.0036257 | 10.0402
28.55 | 0.0055042 | 10.0367
28.5667 | 0.0048233 | 10.0443
28.5833 | 0.003626 | 10.044
28.6 | 0.0041418 | 10.043
28.6167 | 0.0055625 | 10.0434
28.6333 | 0.0047324 | 10.0356
28.65 | 0.0027555 | 10.0378
28.6667 | 0.0022006 | 10.03
28.6833 | 0.002202 | 10.0378
28.7 | 0.002904 | 10.0315
28.7167 | 0.0040323 | 10.0333
28.7333 | 0.0029091 | 10.0259
28.75 | 0.001834 | 10.035
28.7667 | 0.0020289 | 10.0349
28.7833 | 0.0013818 | 10.0369
28.8 | 0.0027591 | 10.0295
28.8167 | 0.0046702 | 10.0373
28.8333 | 0.0050384 | 10.039
28.85 | 0.0047366 | 10.0413
28.8667 | 0.0043768 | 10.0353
28.8833 | 0.0035358 | 10.0344
28.9 | 0.0034203 | 10.0336
28.9167 | 0.0067379 | 10.0364
28.9333 | 0.010414 | 10.0312
28.95 | 0.0090488 | 10.033
28.9667 | 0.0052649 | 10.0349
28.9833 | 0.0037673 | 10.0367
29 | 0.0045418 | 10.0364
29.0167 | 0.0045289 | 10.0372
29.0333 | 0.0049494 | 10.0365
29.05 | 0.0071034 | 10.0365
29.0667 | 0.0080533 | 10.0272
29.0833 | 0.0077793 | 10.0211
29.1 | 0.0081068 | 10.0188
29.1167 | 0.0094371 | 10.0121
29.1333 | 0.008375 | 10.012
29.15 | 0.0052535 | 10.0112
29.1667 | 0.0041032 | 10.0115
29.1833 | 0.005893 | 10.0106
29.2 | 0.0073021 | 10.0082
29.2167 | 0.0077503 | 10.0018
29.2333 | 0.007233 | 10.0072
29.25 | 0.0064551 | 10.013
29.2667 | 0.0064411 | 10.0158
29.2833 | 0.0057363 | 10.0163
29.3 | 0.0060101 | 10.0059
29.3167 | 0.0089417 | 10.0062
29.3333 | 0.0093618 | 10.0083
29.35 | 0.0070118 | 10.0114
29.3667 | 0.0063727 | 10.0149
29.3833 | 0.0070062 | 10.0105
29.4 | 0.0066757 | 10.0144
29.4167 | 0.0053456 | 10.0156
29.4333 | 0.0046999 | 10.0192
29.45 | 0.0051311 | 10.0204
29.4667 | 0.0058765 | 10.0216
29.4833 | 0.0066499 | 10.0184
29.5 | 0.0073927 | 10.0173
29.5167 | 0.0079053 | 10.0155
29.5333 | 0.0069892 | 10.0164
29.55 | 0.0070335 | 10.0179
29.5667 | 0.0076315 | 10.0259
29.5833 | 0.0076302 | 10.0234
29.6 | 0.0076968 | 10.0311
29.6167 | 0.0063017 | 10.0352
29.6333 | 0.0052711 | 10.0289
29.65 | 0.0049431 | 10.0314
29.6667 | 0.0043175 | 10.0352
29.6833 | 0.0044972 | 10.0349
29.7 | 0.005613 | 10.0419
29.7167 | 0.0056029 | 10.0445
29.7333 | 0.0045377 | 10.041
29.75 | 0.0065092 | 10.044
29.7667 | 0.0095582 | 10.0416
29.7833 | 0.010659 | 10.0399
29.8 | 0.0090364 | 10.0391
29.8167 | 0.0022266 | 10.0375

## MW Results
Administrative Information
File name | ICF_25_05_2022-0007.sample
Analysed by | Agilent GPC 1
Date of analysis | 25 May 2022 15:37:58
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 69431 | 38995 | 52997 | 65664 | 76848 | 51063 | 1.3591
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 6.3 | 11.7667
Baseline region 2 | 25.0167 | 29.8167
Peaks | Start (mins) | End (mins)
Peak 1 | 13.9667 | 16.5167
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 14.55 | 672.9077 | 18.74
| RI | 14.65 | 105.3408 | 1.9537
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.2833 | 20.1
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 25 May 2022 15:37:58
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6833
FRCF | 0.99238
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
13.9667 | -0.052339 | 0.051117 | 0.052175 | 0.00048501 | 1 | 170438 | 5.2316 | 0.051149 | No | 1
13.9833 | -0.0073954 | 0.053234 | 0.058793 | 0.0005051 | 0.9995 | 166681 | 5.2219 | 0.057688 | No | 1
14 | 0.044057 | 0.064353 | 0.064877 | 0.0006106 | 0.99895 | 163011 | 5.2122 | 0.063713 | No | 1
14.0167 | 0.10359 | 0.065402 | 0.066155 | 0.00062056 | 0.99833 | 159424 | 5.2026 | 0.065025 | No | 1
14.0333 | 0.17241 | 0.066908 | 0.064534 | 0.00063485 | 0.9977 | 155919 | 5.1929 | 0.063488 | No | 1
14.05 | 0.25255 | 0.062159 | 0.063217 | 0.00058978 | 0.99709 | 152495 | 5.1833 | 0.062247 | No | 1
14.0667 | 0.34687 | 0.064276 | 0.063961 | 0.00060987 | 0.99649 | 149148 | 5.1736 | 0.063035 | No | 1
14.0833 | 0.45838 | 0.063646 | 0.066612 | 0.0006039 | 0.99588 | 145878 | 5.164 | 0.065705 | No | 1
14.1 | 0.58977 | 0.069578 | 0.071857 | 0.00066018 | 0.99525 | 142682 | 5.1544 | 0.070941 | No | 1
14.1167 | 0.74441 | 0.074136 | 0.078857 | 0.00070343 | 0.99457 | 139559 | 5.1448 | 0.077919 | No | 1
14.1333 | 0.92825 | 0.083577 | 0.083568 | 0.00079301 | 0.99382 | 136507 | 5.1352 | 0.082647 | No | 1
14.15 | 1.1482 | 0.083558 | 0.08805 | 0.00079282 | 0.99303 | 133525 | 5.1256 | 0.087155 | No | 1
14.1667 | 1.4116 | 0.092541 | 0.098482 | 0.00087806 | 0.99219 | 130610 | 5.116 | 0.097568 | No | 1
14.1833 | 1.7245 | 0.10442 | 0.11571 | 0.00099081 | 0.99126 | 127761 | 5.1064 | 0.11473 | No | 1
14.2 | 2.0967 | 0.12699 | 0.13613 | 0.0012049 | 0.99016 | 124976 | 5.0968 | 0.1351 | No | 1
14.2167 | 2.5366 | 0.14528 | 0.15465 | 0.0013785 | 0.98886 | 122255 | 5.0873 | 0.15362 | No | 1
14.2333 | 3.0478 | 0.16403 | 0.17577 | 0.0015563 | 0.9874 | 119595 | 5.0777 | 0.17474 | No | 1
14.25 | 3.6405 | 0.18751 | 0.19795 | 0.0017791 | 0.98573 | 116995 | 5.0682 | 0.19697 | No | 1
14.2667 | 4.3236 | 0.20839 | 0.22311 | 0.0019773 | 0.98385 | 114455 | 5.0586 | 0.22219 | No | 1
14.2833 | 5.0959 | 0.23782 | 0.25956 | 0.0022565 | 0.98173 | 111971 | 5.0491 | 0.25872 | No | 1
14.3 | 5.9538 | 0.28129 | 0.30768 | 0.002669 | 0.97927 | 109543 | 5.0396 | 0.30695 | No | 1
14.3167 | 6.8961 | 0.33407 | 0.36213 | 0.0031697 | 0.97635 | 107170 | 5.0301 | 0.36159 | No | 1
14.3333 | 7.9143 | 0.3902 | 0.42139 | 0.0037023 | 0.97291 | 104850 | 5.0206 | 0.42112 | No | 1
14.35 | 8.9946 | 0.45259 | 0.48676 | 0.0042943 | 0.96891 | 102583 | 5.0111 | 0.48686 | No | 1
14.3667 | 10.1219 | 0.52093 | 0.56242 | 0.0049427 | 0.96429 | 100366 | 5.0016 | 0.56303 | No | 1
14.3833 | 11.2735 | 0.60392 | 0.65335 | 0.0057302 | 0.95895 | 98200 | 4.9921 | 0.65462 | No | 1
14.4 | 12.425 | 0.70277 | 0.75701 | 0.0066682 | 0.95275 | 96081 | 4.9826 | 0.75914 | No | 1
14.4167 | 13.5513 | 0.81125 | 0.86609 | 0.0076974 | 0.94556 | 94011 | 4.9732 | 0.86927 | No | 1
14.4333 | 14.624 | 0.92094 | 0.97975 | 0.0087382 | 0.93734 | 91986 | 4.9637 | 0.98419 | No | 1
14.45 | 15.6166 | 1.0386 | 1.095 | 0.0098542 | 0.92804 | 90007 | 4.9543 | 1.1009 | No | 1
14.4667 | 16.5031 | 1.1515 | 1.2137 | 0.010925 | 0.91764 | 88072 | 4.9448 | 1.2213 | No | 1
14.4833 | 17.2608 | 1.276 | 1.3351 | 0.012107 | 0.90612 | 86180 | 4.9354 | 1.3446 | No | 1
14.5 | 17.8732 | 1.3942 | 1.4465 | 0.013229 | 0.89345 | 84331 | 4.926 | 1.4581 | No | 1
14.5167 | 18.3287 | 1.4988 | 1.5446 | 0.014222 | 0.87972 | 82523 | 4.9166 | 1.5583 | No | 1
14.5333 | 18.6188 | 1.5904 | 1.6367 | 0.01509 | 0.86505 | 80755 | 4.9072 | 1.6526 | No | 1
14.55 | 18.74 | 1.683 | 1.7291 | 0.015969 | 0.84952 | 79026 | 4.8978 | 1.7473 | No | 1
14.5667 | 18.6995 | 1.7751 | 1.8115 | 0.016843 | 0.8331 | 77336 | 4.8884 | 1.8322 | No | 1
14.5833 | 18.5093 | 1.8479 | 1.8728 | 0.017533 | 0.8159 | 75683 | 4.879 | 1.8958 | No | 1
14.6 | 18.1818 | 1.8978 | 1.9163 | 0.018007 | 0.79813 | 74067 | 4.8696 | 1.9415 | No | 1
14.6167 | 17.7351 | 1.9348 | 1.9418 | 0.018358 | 0.77993 | 72487 | 4.8603 | 1.969 | No | 1
14.6333 | 17.1898 | 1.9488 | 1.9513 | 0.018491 | 0.7615 | 70942 | 4.8509 | 1.9803 | No | 1
14.65 | 16.5671 | 1.9537 | 1.9511 | 0.018537 | 0.74298 | 69431 | 4.8416 | 1.9818 | No | 1
14.6667 | 15.8889 | 1.9485 | 1.9345 | 0.018488 | 0.72446 | 67953 | 4.8322 | 1.9666 | No | 1
14.6833 | 15.1753 | 1.9206 | 1.9022 | 0.018223 | 0.70609 | 66508 | 4.8229 | 1.9354 | No | 1
14.7 | 14.4458 | 1.8839 | 1.8595 | 0.017875 | 0.68803 | 65095 | 4.8135 | 1.8935 | No | 1
14.7167 | 13.7188 | 1.8351 | 1.8089 | 0.017412 | 0.67038 | 63713 | 4.8042 | 1.8436 | No | 1
14.7333 | 13.0088 | 1.7827 | 1.7539 | 0.016915 | 0.65321 | 62362 | 4.7949 | 1.789 | No | 1
14.75 | 12.3246 | 1.725 | 1.6973 | 0.016368 | 0.63656 | 61040 | 4.7856 | 1.7328 | No | 1
14.7667 | 11.674 | 1.6696 | 1.6369 | 0.015842 | 0.62045 | 59748 | 4.7763 | 1.6725 | No | 1
14.7833 | 11.0667 | 1.6043 | 1.5765 | 0.015222 | 0.60491 | 58484 | 4.767 | 1.6121 | No | 1
14.8 | 10.5051 | 1.5487 | 1.521 | 0.014695 | 0.58994 | 57247 | 4.7578 | 1.5567 | No | 1
14.8167 | 9.9891 | 1.4933 | 1.4678 | 0.014169 | 0.5755 | 56038 | 4.7485 | 1.5035 | No | 1
14.8333 | 9.5191 | 1.4423 | 1.4177 | 0.013685 | 0.56157 | 54855 | 4.7392 | 1.4534 | No | 1
14.85 | 9.0942 | 1.393 | 1.3766 | 0.013217 | 0.54811 | 53699 | 4.73 | 1.4124 | No | 1
14.8667 | 8.7108 | 1.3602 | 1.3455 | 0.012906 | 0.53504 | 52567 | 4.7207 | 1.3817 | No | 1
14.8833 | 8.3641 | 1.3309 | 1.3205 | 0.012628 | 0.52227 | 51461 | 4.7115 | 1.3571 | No | 1
14.9 | 8.0505 | 1.3101 | 1.2981 | 0.012431 | 0.50973 | 50378 | 4.7022 | 1.3352 | No | 1
14.9167 | 7.7664 | 1.2861 | 1.2842 | 0.012203 | 0.49741 | 49319 | 4.693 | 1.322 | No | 1
14.9333 | 7.5073 | 1.2823 | 1.271 | 0.012167 | 0.48522 | 48284 | 4.6838 | 1.3095 | No | 1
14.95 | 7.2637 | 1.2597 | 1.2639 | 0.011952 | 0.47315 | 47270 | 4.6746 | 1.3033 | No | 1
14.9667 | 7.0316 | 1.2681 | 1.2687 | 0.012032 | 0.46116 | 46279 | 4.6654 | 1.3093 | No | 1
14.9833 | 6.8107 | 1.2693 | 1.2723 | 0.012043 | 0.44911 | 45310 | 4.6562 | 1.3141 | No | 1
15 | 6.5975 | 1.2754 | 1.2834 | 0.012101 | 0.43704 | 44361 | 4.647 | 1.3267 | No | 1
15.0167 | 6.3867 | 1.2915 | 1.2968 | 0.012254 | 0.42485 | 43434 | 4.6378 | 1.3416 | No | 1
15.0333 | 6.1742 | 1.302 | 1.3093 | 0.012354 | 0.41254 | 42526 | 4.6287 | 1.3556 | No | 1
15.05 | 5.9589 | 1.3165 | 1.3199 | 0.012491 | 0.40011 | 41638 | 4.6195 | 1.3678 | No | 1
15.0667 | 5.742 | 1.3233 | 1.3275 | 0.012556 | 0.38758 | 40769 | 4.6103 | 1.3768 | No | 1
15.0833 | 5.5225 | 1.3317 | 1.3354 | 0.012636 | 0.37498 | 39919 | 4.6012 | 1.3861 | No | 1
15.1 | 5.2983 | 1.339 | 1.3382 | 0.012705 | 0.3623 | 39088 | 4.592 | 1.3901 | No | 1
15.1167 | 5.0701 | 1.3373 | 1.3335 | 0.012689 | 0.3496 | 38274 | 4.5829 | 1.3864 | No | 1
15.1333 | 4.8386 | 1.3297 | 1.3287 | 0.012616 | 0.33694 | 37478 | 4.5738 | 1.3826 | No | 1
15.15 | 4.6037 | 1.3278 | 1.321 | 0.012599 | 0.32433 | 36700 | 4.5647 | 1.3757 | No | 1
15.1667 | 4.3665 | 1.3142 | 1.3113 | 0.01247 | 0.31179 | 35938 | 4.5556 | 1.3667 | No | 1
15.1833 | 4.1302 | 1.3084 | 1.2988 | 0.012415 | 0.29934 | 35192 | 4.5464 | 1.3548 | No | 1
15.2 | 3.8954 | 1.2892 | 1.2838 | 0.012232 | 0.28701 | 34463 | 4.5374 | 1.3402 | No | 1
15.2167 | 3.6634 | 1.2785 | 1.2635 | 0.01213 | 0.27482 | 33749 | 4.5283 | 1.3201 | No | 1
15.2333 | 3.4354 | 1.2485 | 1.2322 | 0.011846 | 0.26283 | 33050 | 4.5192 | 1.2884 | No | 1
15.25 | 3.2115 | 1.2159 | 1.2022 | 0.011536 | 0.25113 | 32367 | 4.5101 | 1.2581 | No | 1
15.2667 | 2.9971 | 1.1885 | 1.1688 | 0.011277 | 0.23972 | 31698 | 4.501 | 1.2241 | No | 1
15.2833 | 2.7899 | 1.149 | 1.13 | 0.010902 | 0.22862 | 31044 | 4.492 | 1.1844 | No | 1
15.3 | 2.5884 | 1.111 | 1.0907 | 0.010541 | 0.2179 | 30403 | 4.4829 | 1.1442 | No | 1
15.3167 | 2.3977 | 1.0705 | 1.0517 | 0.010157 | 0.20754 | 29777 | 4.4739 | 1.1041 | No | 1
15.3333 | 2.2171 | 1.0328 | 1.0149 | 0.0097996 | 0.19756 | 29163 | 4.4648 | 1.0664 | No | 1
15.35 | 2.0461 | 0.99693 | 0.97388 | 0.0094592 | 0.18793 | 28563 | 4.4558 | 1.0241 | No | 1
15.3667 | 1.8868 | 0.95083 | 0.92755 | 0.0090218 | 0.17868 | 27976 | 4.4468 | 0.97617 | No | 1
15.3833 | 1.7378 | 0.90427 | 0.88183 | 0.00858 | 0.16987 | 27401 | 4.4378 | 0.9288 | No | 1
15.4 | 1.5974 | 0.85939 | 0.83985 | 0.0081542 | 0.1615 | 26838 | 4.4288 | 0.88529 | No | 1
15.4167 | 1.4663 | 0.82031 | 0.80184 | 0.0077834 | 0.15353 | 26288 | 4.4198 | 0.8459 | No | 1
15.4333 | 1.3453 | 0.78336 | 0.76535 | 0.0074328 | 0.14592 | 25749 | 4.4108 | 0.80805 | No | 1
15.45 | 1.2348 | 0.74733 | 0.72795 | 0.007091 | 0.13865 | 25221 | 4.4018 | 0.76917 | No | 1
15.4667 | 1.1339 | 0.70856 | 0.68673 | 0.006723 | 0.13174 | 24705 | 4.3928 | 0.7262 | No | 1
15.4833 | 1.0408 | 0.6649 | 0.64787 | 0.0063088 | 0.12522 | 24200 | 4.3838 | 0.68566 | No | 1
15.5 | 0.95373 | 0.63085 | 0.61436 | 0.0059857 | 0.11907 | 23706 | 4.3749 | 0.65071 | No | 1
15.5167 | 0.87325 | 0.59787 | 0.58047 | 0.0056728 | 0.11324 | 23222 | 4.3659 | 0.6153 | No | 1
15.5333 | 0.80045 | 0.56306 | 0.54543 | 0.0053425 | 0.10773 | 22748 | 4.3569 | 0.57861 | No | 1
15.55 | 0.73174 | 0.5278 | 0.51733 | 0.0050079 | 0.10255 | 22284 | 4.348 | 0.54924 | No | 1
15.5667 | 0.66749 | 0.50687 | 0.49267 | 0.0048094 | 0.097643 | 21830 | 4.3391 | 0.52347 | No | 1
15.5833 | 0.60828 | 0.47847 | 0.46496 | 0.0045399 | 0.092966 | 21386 | 4.3301 | 0.49442 | No | 1
15.6 | 0.55222 | 0.45144 | 0.44052 | 0.0042835 | 0.088552 | 20951 | 4.3212 | 0.46881 | No | 1
15.6167 | 0.50257 | 0.42961 | 0.41746 | 0.0040762 | 0.08437 | 20525 | 4.3123 | 0.44461 | No | 1
15.6333 | 0.45877 | 0.40532 | 0.39585 | 0.0038459 | 0.080407 | 20108 | 4.3034 | 0.42193 | No | 1
15.65 | 0.41863 | 0.38638 | 0.37859 | 0.0036661 | 0.076649 | 19700 | 4.2945 | 0.40385 | No | 1
15.6667 | 0.38168 | 0.3708 | 0.36034 | 0.0035183 | 0.073055 | 19301 | 4.2856 | 0.38468 | No | 1
15.6833 | 0.34441 | 0.34988 | 0.34422 | 0.0033198 | 0.069634 | 18910 | 4.2767 | 0.36776 | No | 1
15.7 | 0.30843 | 0.33857 | 0.32658 | 0.0032124 | 0.066367 | 18527 | 4.2678 | 0.34918 | No | 1
15.7167 | 0.27506 | 0.31459 | 0.30962 | 0.0029849 | 0.063266 | 18152 | 4.2589 | 0.33131 | No | 1
15.7333 | 0.24502 | 0.30465 | 0.29625 | 0.0028906 | 0.060327 | 17785 | 4.2501 | 0.31725 | No | 1
15.75 | 0.2174 | 0.28785 | 0.28235 | 0.0027312 | 0.057515 | 17426 | 4.2412 | 0.30259 | No | 1
15.7667 | 0.19351 | 0.27684 | 0.26783 | 0.0026268 | 0.054835 | 17074 | 4.2323 | 0.28726 | No | 1
15.7833 | 0.17142 | 0.25882 | 0.25347 | 0.0024558 | 0.052292 | 16730 | 4.2235 | 0.27207 | No | 1
15.8 | 0.14836 | 0.24812 | 0.24162 | 0.0023542 | 0.049886 | 16393 | 4.2147 | 0.25955 | No | 1
15.8167 | 0.12699 | 0.23513 | 0.23069 | 0.002231 | 0.047592 | 16063 | 4.2058 | 0.24801 | No | 1
15.8333 | 0.10763 | 0.22626 | 0.22053 | 0.0021468 | 0.045402 | 15740 | 4.197 | 0.23726 | No | 1
15.85 | 0.088408 | 0.2148 | 0.21135 | 0.0020381 | 0.043309 | 15423 | 4.1882 | 0.22756 | No | 1
15.8667 | 0.070468 | 0.20791 | 0.20424 | 0.0019727 | 0.041302 | 15113 | 4.1794 | 0.22007 | No | 1
15.8833 | 0.055549 | 0.20057 | 0.19758 | 0.001903 | 0.039364 | 14810 | 4.1706 | 0.21306 | No | 1
15.9 | 0.040518 | 0.1946 | 0.19207 | 0.0018464 | 0.037488 | 14513 | 4.1618 | 0.20728 | No | 1
15.9167 | 0.024305 | 0.18954 | 0.18564 | 0.0017984 | 0.035665 | 14222 | 4.153 | 0.20049 | No | 1
15.9333 | 0.0076975 | 0.18174 | 0.17914 | 0.0017244 | 0.033902 | 13937 | 4.1442 | 0.19362 | No | 1
15.95 | -0.0067717 | 0.17653 | 0.1724 | 0.001675 | 0.032202 | 13658 | 4.1354 | 0.18648 | No | 1
15.9667 | -0.018092 | 0.16827 | 0.16353 | 0.0015966 | 0.030565 | 13385 | 4.1266 | 0.17702 | No | 1
15.9833 | -0.028671 | 0.15879 | 0.15375 | 0.0015067 | 0.029013 | 13118 | 4.1179 | 0.16656 | No | 1
16 | -0.03931 | 0.1487 | 0.14938 | 0.001411 | 0.027553 | 12856 | 4.1091 | 0.16195 | No | 1
16.0167 | -0.048203 | 0.15006 | 0.14608 | 0.0014238 | 0.026135 | 12599 | 4.1003 | 0.15849 | No | 1
16.0333 | -0.057496 | 0.1421 | 0.14156 | 0.0013483 | 0.024748 | 12348 | 4.0916 | 0.1537 | No | 1
16.05 | -0.067488 | 0.14102 | 0.13796 | 0.001338 | 0.023404 | 12102 | 4.0829 | 0.1499 | No | 1
16.0667 | -0.075398 | 0.13489 | 0.13389 | 0.0012799 | 0.022095 | 11861 | 4.0741 | 0.1456 | No | 1
16.0833 | -0.082747 | 0.13289 | 0.12937 | 0.0012609 | 0.020824 | 11625 | 4.0654 | 0.14079 | No | 1
16.1 | -0.091159 | 0.12585 | 0.12722 | 0.0011941 | 0.019596 | 11394 | 4.0567 | 0.13855 | No | 1
16.1167 | -0.099983 | 0.12858 | 0.12331 | 0.00122 | 0.018388 | 11168 | 4.048 | 0.13439 | No | 1
16.1333 | -0.108 | 0.11803 | 0.11611 | 0.0011199 | 0.017217 | 10946 | 4.0393 | 0.12665 | No | 1
16.15 | -0.11513 | 0.1142 | 0.11343 | 0.0010835 | 0.016115 | 10729 | 4.0306 | 0.12381 | No | 1
16.1667 | -0.12163 | 0.11265 | 0.11104 | 0.0010689 | 0.015038 | 10516 | 4.0219 | 0.12129 | No | 1
16.1833 | -0.12628 | 0.10943 | 0.10713 | 0.0010383 | 0.013984 | 10308 | 4.0132 | 0.11711 | No | 1
16.2 | -0.13072 | 0.10483 | 0.10169 | 0.00099468 | 0.012967 | 10104 | 4.0045 | 0.11125 | No | 1
16.2167 | -0.1373 | 0.098557 | 0.1003 | 0.00093514 | 0.012002 | 9904 | 3.9958 | 0.10981 | No | 1
16.2333 | -0.14259 | 0.10205 | 0.097612 | 0.00096826 | 0.01105 | 9709 | 3.9872 | 0.10694 | No | 1
16.25 | -0.14567 | 0.093177 | 0.089429 | 0.0008841 | 0.010123 | 9517 | 3.9785 | 0.09805 | No | 1
16.2667 | -0.15012 | 0.085681 | 0.082544 | 0.00081297 | 0.0092742 | 9329 | 3.9698 | 0.090568 | No | 1
16.2833 | -0.15524 | 0.079406 | 0.074437 | 0.00075343 | 0.0084906 | 9145 | 3.9612 | 0.081734 | No | 1
16.3 | -0.15997 | 0.069468 | 0.067094 | 0.00065914 | 0.007784 | 8965 | 3.9526 | 0.073725 | No | 1
16.3167 | -0.16551 | 0.064719 | 0.066082 | 0.00061407 | 0.0071471 | 8788 | 3.9439 | 0.072667 | No | 1
16.3333 | -0.16939 | 0.067446 | 0.067818 | 0.00063995 | 0.0065198 | 8616 | 3.9353 | 0.07463 | No | 1
16.35 | -0.1704 | 0.06819 | 0.069401 | 0.00064701 | 0.005876 | 8446 | 3.9267 | 0.076428 | No | 1
16.3667 | -0.1716 | 0.070612 | 0.069763 | 0.00066999 | 0.0052172 | 8280 | 3.918 | 0.076883 | No | 1
16.3833 | -0.17352 | 0.068914 | 0.066768 | 0.00065388 | 0.0045549 | 8118 | 3.9094 | 0.073637 | No | 1
16.4 | -0.17799 | 0.064622 | 0.06507 | 0.00061316 | 0.0039211 | 7958 | 3.9008 | 0.071817 | No | 1
16.4167 | -0.18414 | 0.065518 | 0.06589 | 0.00062166 | 0.0033034 | 7802 | 3.8922 | 0.072775 | No | 1
16.4333 | -0.18824 | 0.066262 | 0.063658 | 0.00062872 | 0.0026779 | 7650 | 3.8837 | 0.070361 | No | 1
16.45 | -0.18949 | 0.061055 | 0.057993 | 0.00057931 | 0.0020736 | 7500 | 3.8751 | 0.064146 | No | 1
16.4667 | -0.189 | 0.054932 | 0.053091 | 0.00052121 | 0.001523 | 7353 | 3.8665 | 0.058766 | No | 1
16.4833 | -0.18819 | 0.05125 | 0.053377 | 0.00048628 | 0.001019 | 7209 | 3.8579 | 0.059125 | No | 1
16.5 | -0.18759 | 0.055504 | 0.053968 | 0.00052664 | 0.00051232 | 7069 | 3.8494 | 0.059823 | No | 1
16.5167 | -0.18805 | 0.052432 | 0 | 0.0004975 | 0 | 6931 | 3.8408 | 0 | No | 1