## Sample Details
Administrative Information
Export date | 25 May 2022 15:45:24
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0006.sample
Creation date | 25 May 2022 12:01:11
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t5=90 min
Information
Sample type | Sample
Injection date | 25 May 2022
Vial number | P2-A-7
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 29.8333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1790
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 29.8333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1790
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.036324 | 10.0004
0.016667 | -0.038345 | 9.997
0.033333 | -0.037736 | 9.9371
0.05 | -0.031841 | 9.7024
0.066667 | -0.022323 | 9.6932
0.083333 | -0.019407 | 9.7381
0.1 | -0.02314 | 9.799
0.11667 | -0.025661 | 9.8527
0.13333 | -0.027404 | 9.8902
0.15 | -0.030214 | 9.9148
0.16667 | -0.031894 | 9.9255
0.18333 | -0.032073 | 9.9332
0.2 | -0.033121 | 9.9444
0.21667 | -0.035185 | 9.9471
0.23333 | -0.034409 | 9.9552
0.25 | -0.031909 | 9.9555
0.26667 | -0.03076 | 9.9587
0.28333 | -0.032284 | 9.9645
0.3 | -0.033493 | 9.9639
0.31667 | -0.031543 | 9.9622
0.33333 | -0.030534 | 9.9593
0.35 | -0.032456 | 9.9638
0.36667 | -0.032338 | 9.967
0.38333 | -0.031605 | 9.9696
0.4 | -0.033854 | 9.9676
0.41667 | -0.035837 | 9.9718
0.43333 | -0.035321 | 9.9688
0.45 | -0.033774 | 9.9679
0.46667 | -0.033759 | 9.9722
0.48333 | -0.036052 | 9.9749
0.5 | -0.037983 | 9.9728
0.51667 | -0.036979 | 9.9827
0.53333 | -0.034904 | 9.9825
0.55 | -0.034324 | 9.9819
0.56667 | -0.033853 | 9.9868
0.58333 | -0.034667 | 9.9874
0.6 | -0.037 | 9.9854
0.61667 | -0.038564 | 9.9871
0.63333 | -0.037523 | 9.9842
0.65 | -0.037219 | 9.9786
0.66667 | -0.039492 | 9.9773
0.68333 | -0.039928 | 9.9763
0.7 | -0.039208 | 9.9763
0.71667 | -0.039051 | 9.9731
0.73333 | -0.040204 | 9.9738
0.75 | -0.041557 | 9.9679
0.76667 | -0.04117 | 9.9668
0.78333 | -0.040396 | 9.9686
0.8 | -0.039435 | 9.9749
0.81667 | -0.038878 | 9.9734
0.83333 | -0.04069 | 9.9793
0.85 | -0.041839 | 9.9787
0.86667 | -0.040998 | 9.9862
0.88333 | -0.0417 | 9.9848
0.9 | -0.04365 | 9.983
0.91667 | -0.042931 | 9.9741
0.93333 | -0.040427 | 9.9802
0.95 | -0.038729 | 9.9833
0.96667 | -0.039191 | 9.9917
0.98333 | -0.040908 | 9.999
1 | -0.040686 | 9.9998
1.0167 | -0.039438 | 10.0021
1.0333 | -0.039108 | 10.0011
1.05 | -0.040509 | 10.004
1.0667 | -0.042097 | 10.0114
1.0833 | -0.041941 | 10.0123
1.1 | -0.040134 | 10.0088
1.1167 | -0.039047 | 10.0159
1.1333 | -0.039824 | 10.0132
1.15 | -0.039511 | 10.015
1.1667 | -0.039583 | 10.0144
1.1833 | -0.039448 | 10.0129
1.2 | -0.038857 | 10.0164
1.2167 | -0.038868 | 10.0233
1.2333 | -0.039287 | 10.0172
1.25 | -0.039772 | 10.0138
1.2667 | -0.040549 | 10.0129
1.2833 | -0.041511 | 10.0166
1.3 | -0.043247 | 10.0101
1.3167 | -0.04416 | 10.0069
1.3333 | -0.043072 | 10.0095
1.35 | -0.042557 | 10.0057
1.3667 | -0.042367 | 10.0016
1.3833 | -0.041898 | 10.008
1.4 | -0.042519 | 10.012
1.4167 | -0.043593 | 10.0121
1.4333 | -0.044217 | 10.0112
1.45 | -0.042578 | 10.0163
1.4667 | -0.041357 | 10.0068
1.4833 | -0.040993 | 10.004
1.5 | -0.040277 | 10.0071
1.5167 | -0.039374 | 10.0053
1.5333 | -0.038134 | 9.9979
1.55 | -0.037601 | 9.9999
1.5667 | -0.036643 | 9.9995
1.5833 | -0.036548 | 9.9894
1.6 | -0.03703 | 9.9926
1.6167 | -0.038236 | 9.9883
1.6333 | -0.039466 | 9.988
1.65 | -0.039392 | 9.9877
1.6667 | -0.039529 | 9.9902
1.6833 | -0.039941 | 9.9938
1.7 | -0.039932 | 9.9986
1.7167 | -0.039867 | 10.003
1.7333 | -0.038778 | 9.9966
1.75 | -0.037964 | 9.9975
1.7667 | -0.037533 | 10.001
1.7833 | -0.037146 | 9.9941
1.8 | -0.038408 | 9.9918
1.8167 | -0.038862 | 9.9912
1.8333 | -0.039479 | 9.9882
1.85 | -0.041034 | 9.9842
1.8667 | -0.041673 | 9.9877
1.8833 | -0.043018 | 9.9891
1.9 | -0.044519 | 9.9891
1.9167 | -0.042008 | 9.9874
1.9333 | -0.037895 | 9.9831
1.95 | -0.035706 | 9.9799
1.9667 | -0.037777 | 9.9813
1.9833 | -0.039102 | 9.9764
2 | -0.03936 | 9.9731
2.0167 | -0.040918 | 9.9712
2.0333 | -0.041541 | 9.9682
2.05 | -0.041549 | 9.9694
2.0667 | -0.041711 | 9.966
2.0833 | -0.040512 | 9.9766
2.1 | -0.04074 | 9.9815
2.1167 | -0.042027 | 9.9795
2.1333 | -0.041104 | 9.9781
2.15 | -0.039975 | 9.9784
2.1667 | -0.039154 | 9.9802
2.1833 | -0.039537 | 9.9815
2.2 | -0.040344 | 9.9776
2.2167 | -0.039565 | 9.9781
2.2333 | -0.03958 | 9.9773
2.25 | -0.039516 | 9.976
2.2667 | -0.039646 | 9.9799
2.2833 | -0.040122 | 9.9859
2.3 | -0.040657 | 9.985
2.3167 | -0.039841 | 9.9824
2.3333 | -0.038561 | 9.9778
2.35 | -0.039038 | 9.9732
2.3667 | -0.036955 | 9.9751
2.3833 | -0.035236 | 9.9722
2.4 | -0.037491 | 9.9688
2.4167 | -0.039963 | 9.9642
2.4333 | -0.040035 | 9.9667
2.45 | -0.03867 | 9.9723
2.4667 | -0.039563 | 9.9776
2.4833 | -0.041805 | 9.9767
2.5 | -0.041212 | 9.9712
2.5167 | -0.039362 | 9.9654
2.5333 | -0.037338 | 9.9668
2.55 | -0.036796 | 9.9615
2.5667 | -0.038106 | 9.9616
2.5833 | -0.038194 | 9.9525
2.6 | -0.038032 | 9.958
2.6167 | -0.038749 | 9.9537
2.6333 | -0.039356 | 9.9551
2.65 | -0.040616 | 9.9512
2.6667 | -0.041187 | 9.9506
2.6833 | -0.041065 | 9.9538
2.7 | -0.040952 | 9.9545
2.7167 | -0.0415 | 9.9514
2.7333 | -0.041535 | 9.9534
2.75 | -0.041376 | 9.9471
2.7667 | -0.041595 | 9.9482
2.7833 | -0.041124 | 9.9462
2.8 | -0.041002 | 9.939
2.8167 | -0.040473 | 9.9419
2.8333 | -0.041148 | 9.9483
2.85 | -0.041854 | 9.9491
2.8667 | -0.042507 | 9.9422
2.8833 | -0.042051 | 9.9482
2.9 | -0.040696 | 9.952
2.9167 | -0.04078 | 9.9551
2.9333 | -0.040018 | 9.9534
2.95 | -0.037702 | 9.961
2.9667 | -0.038306 | 9.9598
2.9833 | -0.040499 | 9.9596
3 | -0.041255 | 9.9586
3.0167 | -0.041921 | 9.9557
3.0333 | -0.04269 | 9.9517
3.05 | -0.043527 | 9.9552
3.0667 | -0.04319 | 9.9529
3.0833 | -0.04183 | 9.9522
3.1 | -0.041973 | 9.9519
3.1167 | -0.041952 | 9.9516
3.1333 | -0.041118 | 9.9531
3.15 | -0.041312 | 9.958
3.1667 | -0.041363 | 9.9638
3.1833 | -0.041249 | 9.9644
3.2 | -0.041677 | 9.9612
3.2167 | -0.042638 | 9.966
3.2333 | -0.043465 | 9.9674
3.25 | -0.043125 | 9.9598
3.2667 | -0.040841 | 9.9639
3.2833 | -0.039202 | 9.9624
3.3 | -0.037944 | 9.961
3.3167 | -0.03738 | 9.9566
3.3333 | -0.038276 | 9.9558
3.35 | -0.038511 | 9.9534
3.3667 | -0.038809 | 9.9552
3.3833 | -0.038681 | 9.9584
3.4 | -0.039621 | 9.9586
3.4167 | -0.042605 | 9.9578
3.4333 | -0.04356 | 9.9583
3.45 | -0.041982 | 9.957
3.4667 | -0.040148 | 9.9632
3.4833 | -0.040199 | 9.9673
3.5 | -0.041798 | 9.9728
3.5167 | -0.04184 | 9.9706
3.5333 | -0.042648 | 9.9708
3.55 | -0.044053 | 9.9665
3.5667 | -0.043316 | 9.9723
3.5833 | -0.043404 | 9.9757
3.6 | -0.043496 | 9.9755
3.6167 | -0.042728 | 9.9715
3.6333 | -0.04243 | 9.9751
3.65 | -0.0419 | 9.9773
3.6667 | -0.042834 | 9.9752
3.6833 | -0.044852 | 9.9744
3.7 | -0.045165 | 9.9708
3.7167 | -0.044463 | 9.9688
3.7333 | -0.045137 | 9.9641
3.75 | -0.045105 | 9.9613
3.7667 | -0.043982 | 9.9644
3.7833 | -0.044548 | 9.9705
3.8 | -0.045114 | 9.9673
3.8167 | -0.044707 | 9.976
3.8333 | -0.045555 | 9.9708
3.85 | -0.044761 | 9.9743
3.8667 | -0.040576 | 9.9761
3.8833 | -0.039618 | 9.9731
3.9 | -0.043465 | 9.9737
3.9167 | -0.045108 | 9.9763
3.9333 | -0.043805 | 9.9755
3.95 | -0.04541 | 9.9818
3.9667 | -0.047402 | 9.9831
3.9833 | -0.047744 | 9.978
4 | -0.046439 | 9.9822
4.0167 | -0.043848 | 9.9821
4.0333 | -0.044616 | 9.983
4.05 | -0.045476 | 9.9874
4.0667 | -0.045986 | 9.9947
4.0833 | -0.048197 | 9.9932
4.1 | -0.04923 | 9.9905
4.1167 | -0.047818 | 9.9932
4.1333 | -0.045335 | 9.9937
4.15 | -0.045997 | 9.9891
4.1667 | -0.048677 | 9.987
4.1833 | -0.049092 | 9.9824
4.2 | -0.046932 | 9.9873
4.2167 | -0.046138 | 9.9885
4.2333 | -0.046563 | 10.0054
4.25 | -0.047466 | 10.0045
4.2667 | -0.0484 | 10.0053
4.2833 | -0.047654 | 9.9952
4.3 | -0.046235 | 9.9943
4.3167 | -0.046383 | 9.9926
4.3333 | -0.046791 | 9.9972
4.35 | -0.047654 | 9.9928
4.3667 | -0.049617 | 9.9926
4.3833 | -0.049323 | 9.9921
4.4 | -0.047169 | 9.9886
4.4167 | -0.045204 | 9.9924
4.4333 | -0.0441 | 10.0059
4.45 | -0.044296 | 9.9976
4.4667 | -0.045008 | 9.9998
4.4833 | -0.044932 | 10.0062
4.5 | -0.043843 | 10.0069
4.5167 | -0.042347 | 10.006
4.5333 | -0.040993 | 10.0082
4.55 | -0.041267 | 10.012
4.5667 | -0.042273 | 10.0141
4.5833 | -0.042804 | 10.013
4.6 | -0.043345 | 10.0155
4.6167 | -0.043631 | 10.0155
4.6333 | -0.043383 | 10.0089
4.65 | -0.042842 | 10.0027
4.6667 | -0.042507 | 9.9993
4.6833 | -0.044218 | 10.0018
4.7 | -0.046262 | 10.0025
4.7167 | -0.045207 | 10.0088
4.7333 | -0.044111 | 10.0086
4.75 | -0.045397 | 10.0196
4.7667 | -0.047041 | 10.0211
4.7833 | -0.046713 | 10.0239
4.8 | -0.045948 | 10.0269
4.8167 | -0.045343 | 10.0185
4.8333 | -0.044826 | 10.0167
4.85 | -0.045865 | 10.019
4.8667 | -0.046544 | 10.0243
4.8833 | -0.045155 | 10.0248
4.9 | -0.045209 | 10.0259
4.9167 | -0.046803 | 10.0211
4.9333 | -0.046902 | 10.0199
4.95 | -0.046662 | 10.0161
4.9667 | -0.045443 | 10.0192
4.9833 | -0.04422 | 10.0178
5 | -0.045337 | 10.0213
5.0167 | -0.046488 | 10.0158
5.0333 | -0.045332 | 10.0127
5.05 | -0.044209 | 10.0071
5.0667 | -0.043507 | 10.0105
5.0833 | -0.04407 | 10.0097
5.1 | -0.045375 | 10.0138
5.1167 | -0.045785 | 10.0103
5.1333 | -0.046701 | 10.0147
5.15 | -0.049228 | 10.012
5.1667 | -0.051095 | 10.0129
5.1833 | -0.051016 | 10.0085
5.2 | -0.050464 | 10.0089
5.2167 | -0.049335 | 10.0111
5.2333 | -0.049367 | 10.0114
5.25 | -0.050073 | 10.0082
5.2667 | -0.049692 | 10.0134
5.2833 | -0.048987 | 10.0072
5.3 | -0.048877 | 10.0063
5.3167 | -0.04911 | 10.0057
5.3333 | -0.049057 | 10.0086
5.35 | -0.050037 | 10.0135
5.3667 | -0.051209 | 10.0176
5.3833 | -0.050011 | 10.0152
5.4 | -0.046623 | 10.0074
5.4167 | -0.046338 | 10.0054
5.4333 | -0.047697 | 10.006
5.45 | -0.047792 | 10.0088
5.4667 | -0.047254 | 10.0065
5.4833 | -0.047096 | 10.0068
5.5 | -0.048119 | 10.0132
5.5167 | -0.048697 | 10.0187
5.5333 | -0.048454 | 10.0173
5.55 | -0.047967 | 10.0181
5.5667 | -0.047201 | 10.0118
5.5833 | -0.048444 | 10.013
5.6 | -0.050808 | 10.0077
5.6167 | -0.050397 | 10.0015
5.6333 | -0.049599 | 10.0005
5.65 | -0.051368 | 10.0101
5.6667 | -0.05387 | 10.0047
5.6833 | -0.055443 | 9.997
5.7 | -0.055126 | 9.9972
5.7167 | -0.055635 | 9.9934
5.7333 | -0.055703 | 9.9989
5.75 | -0.053742 | 9.9961
5.7667 | -0.054023 | 9.9986
5.7833 | -0.054228 | 9.9993
5.8 | -0.053703 | 10.0001
5.8167 | -0.053325 | 9.9929
5.8333 | -0.051829 | 9.9908
5.85 | -0.052249 | 9.9924
5.8667 | -0.054504 | 9.9995
5.8833 | -0.053727 | 9.9972
5.9 | -0.052273 | 9.9931
5.9167 | -0.052761 | 9.9877
5.9333 | -0.053482 | 9.9918
5.95 | -0.054244 | 9.9912
5.9667 | -0.05344 | 9.9905
5.9833 | -0.052567 | 9.9857
6 | -0.052576 | 9.9863
6.0167 | -0.05312 | 9.9886
6.0333 | -0.053278 | 9.9821
6.05 | -0.052743 | 9.9728
6.0667 | -0.052949 | 9.9702
6.0833 | -0.054198 | 9.9679
6.1 | -0.053482 | 9.9628
6.1167 | -0.051665 | 9.9633
6.1333 | -0.053032 | 9.9694
6.15 | -0.054301 | 9.9744
6.1667 | -0.054431 | 9.9647
6.1833 | -0.055144 | 9.9589
6.2 | -0.054635 | 9.9566
6.2167 | -0.053632 | 9.9612
6.2333 | -0.053716 | 9.9574
6.25 | -0.054434 | 9.9641
6.2667 | -0.054401 | 9.9639
6.2833 | -0.05358 | 9.9755
6.3 | -0.053955 | 9.9737
6.3167 | -0.054061 | 9.9754
6.3333 | -0.05493 | 9.9752
6.35 | -0.056644 | 9.968
6.3667 | -0.057174 | 9.9557
6.3833 | -0.058676 | 9.9526
6.4 | -0.0582 | 9.9534
6.4167 | -0.056734 | 9.9552
6.4333 | -0.057106 | 9.9564
6.45 | -0.05722 | 9.9656
6.4667 | -0.057089 | 9.9639
6.4833 | -0.055941 | 9.9708
6.5 | -0.055068 | 9.9682
6.5167 | -0.05446 | 9.9726
6.5333 | -0.052645 | 9.9746
6.55 | -0.049759 | 9.9769
6.5667 | -0.044765 | 9.9778
6.5833 | -0.03771 | 9.974
6.6 | -0.028818 | 9.9744
6.6167 | -0.013027 | 9.9773
6.6333 | 0.010816 | 9.9725
6.65 | 0.041565 | 9.9755
6.6667 | 0.086185 | 9.985
6.6833 | 0.14872 | 9.9865
6.7 | 0.22799 | 9.9812
6.7167 | 0.33079 | 9.9831
6.7333 | 0.46215 | 9.985
6.75 | 0.62078 | 9.9871
6.7667 | 0.80737 | 9.9851
6.7833 | 1.0257 | 9.9761
6.8 | 1.2746 | 9.976
6.8167 | 1.546 | 9.9833
6.8333 | 1.8382 | 9.9883
6.85 | 2.1526 | 9.9813
6.8667 | 2.4805 | 9.9848
6.8833 | 2.8095 | 9.9906
6.9 | 3.1358 | 10.0002
6.9167 | 3.4531 | 10.0036
6.9333 | 3.7555 | 10.0079
6.95 | 4.0353 | 10.0143
6.9667 | 4.2855 | 10.0211
6.9833 | 4.5056 | 10.0242
7 | 4.6951 | 10.0243
7.0167 | 4.8527 | 10.0277
7.0333 | 4.978 | 10.0257
7.05 | 5.0695 | 10.0237
7.0667 | 5.1313 | 10.0343
7.0833 | 5.1674 | 10.0306
7.1 | 5.1773 | 10.033
7.1167 | 5.1625 | 10.0367
7.1333 | 5.13 | 10.0307
7.15 | 5.0835 | 10.0343
7.1667 | 5.0228 | 10.0314
7.1833 | 4.9507 | 10.0263
7.2 | 4.8714 | 10.0251
7.2167 | 4.7859 | 10.0234
7.2333 | 4.6983 | 10.0193
7.25 | 4.6114 | 10.0231
7.2667 | 4.5232 | 10.0245
7.2833 | 4.432 | 10.0315
7.3 | 4.3406 | 10.0362
7.3167 | 4.2524 | 10.0332
7.3333 | 4.1652 | 10.0277
7.35 | 4.0796 | 10.0208
7.3667 | 3.9983 | 10.0266
7.3833 | 3.9193 | 10.0271
7.4 | 3.8414 | 10.0228
7.4167 | 3.7657 | 10.0188
7.4333 | 3.6937 | 10.0259
7.45 | 3.6239 | 10.0314
7.4667 | 3.555 | 10.0282
7.4833 | 3.4904 | 10.0285
7.5 | 3.4284 | 10.0291
7.5167 | 3.3673 | 10.0213
7.5333 | 3.3086 | 10.0246
7.55 | 3.2493 | 10.0198
7.5667 | 3.19 | 10.0185
7.5833 | 3.1357 | 10.0097
7.6 | 3.0845 | 10.0082
7.6167 | 3.0342 | 10.0022
7.6333 | 2.984 | 10.0115
7.65 | 2.9335 | 10.0068
7.6667 | 2.8852 | 9.9993
7.6833 | 2.8408 | 9.9914
7.7 | 2.7973 | 9.9941
7.7167 | 2.7525 | 9.9963
7.7333 | 2.7097 | 9.988
7.75 | 2.6695 | 9.9851
7.7667 | 2.6294 | 9.9957
7.7833 | 2.5905 | 9.9924
7.8 | 2.5527 | 9.9906
7.8167 | 2.5136 | 9.9935
7.8333 | 2.4755 | 10.0019
7.85 | 2.4408 | 10.0039
7.8667 | 2.4095 | 9.997
7.8833 | 2.3756 | 9.9958
7.9 | 2.3388 | 9.9911
7.9167 | 2.3049 | 9.9941
7.9333 | 2.2717 | 9.9886
7.95 | 2.239 | 9.9914
7.9667 | 2.2108 | 9.9969
7.9833 | 2.1853 | 9.9964
8 | 2.158 | 9.9899
8.0167 | 2.1292 | 9.9892
8.0333 | 2.0997 | 9.9897
8.05 | 2.0711 | 9.9906
8.0667 | 2.0454 | 9.9876
8.0833 | 2.0202 | 9.9862
8.1 | 1.9939 | 9.9789
8.1167 | 1.9681 | 9.9845
8.1333 | 1.9439 | 9.9851
8.15 | 1.9198 | 9.9889
8.1667 | 1.8938 | 9.9876
8.1833 | 1.8677 | 9.9847
8.2 | 1.8438 | 9.986
8.2167 | 1.8209 | 9.9847
8.2333 | 1.7977 | 9.9784
8.25 | 1.7746 | 9.9827
8.2667 | 1.7513 | 9.9844
8.2833 | 1.7283 | 9.9793
8.3 | 1.7058 | 9.9874
8.3167 | 1.6834 | 9.9903
8.3333 | 1.6589 | 9.9979
8.35 | 1.6342 | 9.9911
8.3667 | 1.6117 | 9.9972
8.3833 | 1.5902 | 9.9924
8.4 | 1.5689 | 9.9961
8.4167 | 1.5482 | 9.9986
8.4333 | 1.5265 | 9.9979
8.45 | 1.5038 | 9.994
8.4667 | 1.4807 | 9.9932
8.4833 | 1.4582 | 9.9931
8.5 | 1.4386 | 10.0005
8.5167 | 1.4204 | 10.0085
8.5333 | 1.403 | 10.0182
8.55 | 1.3852 | 10.0132
8.5667 | 1.3665 | 10.0204
8.5833 | 1.3456 | 10.0309
8.6 | 1.3254 | 10.0329
8.6167 | 1.3083 | 10.0265
8.6333 | 1.2929 | 10.0326
8.65 | 1.2784 | 10.0375
8.6667 | 1.2617 | 10.0343
8.6833 | 1.2436 | 10.0266
8.7 | 1.2278 | 10.0272
8.7167 | 1.2124 | 10.0269
8.7333 | 1.1961 | 10.034
8.75 | 1.1806 | 10.0335
8.7667 | 1.1668 | 10.0294
8.7833 | 1.1547 | 10.0248
8.8 | 1.1437 | 10.0176
8.8167 | 1.1322 | 10.0196
8.8333 | 1.1218 | 10.0216
8.85 | 1.112 | 10.0275
8.8667 | 1.1022 | 10.028
8.8833 | 1.0933 | 10.0253
8.9 | 1.0845 | 10.0219
8.9167 | 1.0793 | 10.0207
8.9333 | 1.0763 | 10.0202
8.95 | 1.0715 | 10.0192
8.9667 | 1.069 | 10.021
8.9833 | 1.0724 | 10.024
9 | 1.0763 | 10.0315
9.0167 | 1.0803 | 10.0306
9.0333 | 1.0866 | 10.0344
9.05 | 1.0945 | 10.0275
9.0667 | 1.105 | 10.0204
9.0833 | 1.1174 | 10.0224
9.1 | 1.1313 | 10.0286
9.1167 | 1.1461 | 10.0268
9.1333 | 1.1575 | 10.0271
9.15 | 1.1662 | 10.026
9.1667 | 1.1763 | 10.0312
9.1833 | 1.1862 | 10.0312
9.2 | 1.1946 | 10.0317
9.2167 | 1.2008 | 10.0282
9.2333 | 1.2037 | 10.0266
9.25 | 1.2016 | 10.0253
9.2667 | 1.1987 | 10.024
9.2833 | 1.197 | 10.0227
9.3 | 1.1933 | 10.0246
9.3167 | 1.1867 | 10.0234
9.3333 | 1.1783 | 10.0111
9.35 | 1.1659 | 10.0021
9.3667 | 1.1528 | 10.0016
9.3833 | 1.1394 | 9.9999
9.4 | 1.1251 | 9.9947
9.4167 | 1.1123 | 9.9998
9.4333 | 1.098 | 9.9993
9.45 | 1.0807 | 9.9978
9.4667 | 1.063 | 10.0053
9.4833 | 1.0465 | 10.0054
9.5 | 1.0296 | 10.0066
9.5167 | 1.0102 | 10.0138
9.5333 | 0.99063 | 10.0118
9.55 | 0.97242 | 10.0129
9.5667 | 0.95582 | 10.0092
9.5833 | 0.93997 | 10.0066
9.6 | 0.92392 | 10.0002
9.6167 | 0.90649 | 10.0002
9.6333 | 0.88861 | 9.9935
9.65 | 0.87153 | 9.9911
9.6667 | 0.85759 | 9.9819
9.6833 | 0.8445 | 9.9815
9.7 | 0.82911 | 9.9792
9.7167 | 0.81471 | 9.9873
9.7333 | 0.80015 | 9.979
9.75 | 0.78581 | 9.9833
9.7667 | 0.77148 | 9.9897
9.7833 | 0.75623 | 9.9888
9.8 | 0.74292 | 9.9845
9.8167 | 0.73063 | 9.987
9.8333 | 0.71702 | 9.981
9.85 | 0.70395 | 9.9816
9.8667 | 0.69326 | 9.979
9.8833 | 0.6844 | 9.9851
9.9 | 0.67536 | 9.9824
9.9167 | 0.6629 | 9.9879
9.9333 | 0.64958 | 9.9873
9.95 | 0.63847 | 9.9885
9.9667 | 0.62861 | 9.99
9.9833 | 0.621 | 9.9921
10 | 0.61263 | 9.9934
10.0167 | 0.60332 | 9.9915
10.0333 | 0.59359 | 9.9938
10.05 | 0.5828 | 9.9908
10.0667 | 0.57299 | 9.9924
10.0833 | 0.56498 | 9.9863
10.1 | 0.55824 | 9.9906
10.1167 | 0.54954 | 9.9935
10.1333 | 0.53819 | 9.9926
10.15 | 0.52892 | 9.9894
10.1667 | 0.52274 | 9.995
10.1833 | 0.51598 | 9.9955
10.2 | 0.50876 | 9.9995
10.2167 | 0.50071 | 10.0027
10.2333 | 0.49366 | 10.0025
10.25 | 0.48842 | 10.0018
10.2667 | 0.48255 | 10.0019
10.2833 | 0.47513 | 9.9952
10.3 | 0.46674 | 10.0048
10.3167 | 0.46097 | 10.0053
10.3333 | 0.45684 | 10.0103
10.35 | 0.45116 | 10.0089
10.3667 | 0.44605 | 10.0043
10.3833 | 0.44042 | 10.001
10.4 | 0.43336 | 9.9963
10.4167 | 0.42617 | 9.9934
10.4333 | 0.42011 | 9.9966
10.45 | 0.41587 | 9.9929
10.4667 | 0.4149 | 9.9967
10.4833 | 0.41237 | 9.9931
10.5 | 0.40578 | 9.9963
10.5167 | 0.39998 | 10.0028
10.5333 | 0.39636 | 10.006
10.55 | 0.39186 | 10.0016
10.5667 | 0.3857 | 10.0019
10.5833 | 0.3805 | 9.9967
10.6 | 0.37626 | 9.9934
10.6167 | 0.37204 | 9.9966
10.6333 | 0.36865 | 10.0005
10.65 | 0.36501 | 10.0021
10.6667 | 0.36173 | 10.0008
10.6833 | 0.35625 | 10.0079
10.7 | 0.35003 | 10.0066
10.7167 | 0.3471 | 10.0101
10.7333 | 0.3442 | 10.0068
10.75 | 0.34004 | 10.0072
10.7667 | 0.33732 | 9.9995
10.7833 | 0.33463 | 9.996
10.8 | 0.33232 | 10.005
10.8167 | 0.3309 | 10.0053
10.8333 | 0.32836 | 10.0054
10.85 | 0.32485 | 9.9995
10.8667 | 0.32112 | 10.0002
10.8833 | 0.31544 | 10.0092
10.9 | 0.31313 | 10.0021
10.9167 | 0.31663 | 9.9923
10.9333 | 0.31643 | 9.997
10.95 | 0.31134 | 10.0024
10.9667 | 0.30738 | 9.9999
10.9833 | 0.30516 | 9.995
11 | 0.30578 | 10.003
11.0167 | 0.30285 | 10.0062
11.0333 | 0.29631 | 10.0106
11.05 | 0.29323 | 10.0089
11.0667 | 0.29141 | 10.005
11.0833 | 0.28851 | 10.0008
11.1 | 0.28802 | 9.9982
11.1167 | 0.28762 | 9.9963
11.1333 | 0.28467 | 9.9958
11.15 | 0.28096 | 9.9943
11.1667 | 0.27784 | 9.9917
11.1833 | 0.27697 | 9.9859
11.2 | 0.27556 | 9.9854
11.2167 | 0.27251 | 9.9908
11.2333 | 0.26917 | 9.9908
11.25 | 0.26621 | 9.9868
11.2667 | 0.26358 | 9.9865
11.2833 | 0.2614 | 9.9856
11.3 | 0.26064 | 9.9746
11.3167 | 0.25992 | 9.9686
11.3333 | 0.25975 | 9.9644
11.35 | 0.25809 | 9.9647
11.3667 | 0.25364 | 9.968
11.3833 | 0.24902 | 9.9625
11.4 | 0.247 | 9.9586
11.4167 | 0.24792 | 9.965
11.4333 | 0.2483 | 9.9598
11.45 | 0.2466 | 9.9676
11.4667 | 0.24373 | 9.9647
11.4833 | 0.24046 | 9.968
11.5 | 0.23981 | 9.9624
11.5167 | 0.24173 | 9.9683
11.5333 | 0.24142 | 9.9725
11.55 | 0.23915 | 9.9818
11.5667 | 0.23682 | 9.9784
11.5833 | 0.23451 | 9.9862
11.6 | 0.23433 | 9.9827
11.6167 | 0.2352 | 9.9833
11.6333 | 0.23398 | 9.9923
11.65 | 0.23354 | 9.9908
11.6667 | 0.2345 | 9.9815
11.6833 | 0.23366 | 9.9784
11.7 | 0.22946 | 9.9844
11.7167 | 0.22739 | 9.9845
11.7333 | 0.2285 | 9.9804
11.75 | 0.22979 | 9.9871
11.7667 | 0.2289 | 9.995
11.7833 | 0.22689 | 9.9986
11.8 | 0.22594 | 9.999
11.8167 | 0.22408 | 10.0027
11.8333 | 0.22422 | 9.996
11.85 | 0.22731 | 9.9895
11.8667 | 0.22704 | 9.9856
11.8833 | 0.22295 | 9.9824
11.9 | 0.21862 | 9.9888
11.9167 | 0.2158 | 9.9883
11.9333 | 0.21586 | 9.9967
11.95 | 0.21788 | 9.9949
11.9667 | 0.21777 | 9.9955
11.9833 | 0.21548 | 9.9992
12 | 0.21287 | 9.9967
12.0167 | 0.21256 | 9.9862
12.0333 | 0.21388 | 9.9894
12.05 | 0.21482 | 9.9952
12.0667 | 0.21431 | 9.9989
12.0833 | 0.21258 | 9.9892
12.1 | 0.21146 | 9.9841
12.1167 | 0.21032 | 9.9865
12.1333 | 0.21018 | 9.9973
12.15 | 0.21126 | 9.9986
12.1667 | 0.21146 | 9.9946
12.1833 | 0.20952 | 9.9932
12.2 | 0.20673 | 9.9873
12.2167 | 0.20564 | 9.9915
12.2333 | 0.20631 | 9.9917
12.25 | 0.20683 | 9.9947
12.2667 | 0.20639 | 9.9917
12.2833 | 0.2041 | 9.9897
12.3 | 0.20221 | 9.9928
12.3167 | 0.2009 | 9.9984
12.3333 | 0.19992 | 9.9914
12.35 | 0.2012 | 9.9889
12.3667 | 0.20267 | 9.9883
12.3833 | 0.20252 | 9.9899
12.4 | 0.20101 | 9.9865
12.4167 | 0.19996 | 9.9859
12.4333 | 0.19905 | 9.9845
12.45 | 0.19707 | 9.986
12.4667 | 0.19531 | 9.9821
12.4833 | 0.19571 | 9.9857
12.5 | 0.19732 | 9.9876
12.5167 | 0.19868 | 9.9842
12.5333 | 0.1979 | 9.9802
12.55 | 0.19455 | 9.974
12.5667 | 0.19368 | 9.9706
12.5833 | 0.19522 | 9.9772
12.6 | 0.1955 | 9.976
12.6167 | 0.19501 | 9.9786
12.6333 | 0.19307 | 9.9845
12.65 | 0.19059 | 10.0007
12.6667 | 0.19021 | 10.0033
12.6833 | 0.19098 | 10.0092
12.7 | 0.19128 | 10.0124
12.7167 | 0.19188 | 10.0141
12.7333 | 0.19206 | 10.0123
12.75 | 0.19272 | 10.0126
12.7667 | 0.19288 | 10.0164
12.7833 | 0.19314 | 10.008
12.8 | 0.19433 | 10.0034
12.8167 | 0.19515 | 10.0072
12.8333 | 0.19447 | 9.9998
12.85 | 0.19402 | 9.9955
12.8667 | 0.1948 | 10.0007
12.8833 | 0.19472 | 9.9961
12.9 | 0.19468 | 9.9946
12.9167 | 0.19508 | 9.9941
12.9333 | 0.19509 | 9.9953
12.95 | 0.19514 | 10.0008
12.9667 | 0.19367 | 10.0066
12.9833 | 0.19265 | 10.0074
13 | 0.19515 | 9.9978
13.0167 | 0.19737 | 9.9972
13.0333 | 0.19636 | 9.9976
13.05 | 0.19552 | 10.0079
13.0667 | 0.19794 | 10.0077
13.0833 | 0.19902 | 10.0057
13.1 | 0.19916 | 10.0043
13.1167 | 0.20015 | 10.0085
13.1333 | 0.19936 | 9.9982
13.15 | 0.19965 | 9.9957
13.1667 | 0.20144 | 9.9859
13.1833 | 0.20261 | 9.9877
13.2 | 0.20307 | 9.985
13.2167 | 0.20204 | 9.9871
13.2333 | 0.20252 | 9.9886
13.25 | 0.20631 | 9.996
13.2667 | 0.21047 | 9.9979
13.2833 | 0.21373 | 9.9935
13.3 | 0.21512 | 9.9924
13.3167 | 0.21425 | 9.9932
13.3333 | 0.21289 | 9.9928
13.35 | 0.21336 | 9.9979
13.3667 | 0.21594 | 10.0068
13.3833 | 0.21801 | 10.0043
13.4 | 0.22023 | 9.9998
13.4167 | 0.22321 | 10.0018
13.4333 | 0.22571 | 10.0054
13.45 | 0.22857 | 9.9999
13.4667 | 0.22928 | 10.0045
13.4833 | 0.2278 | 10.0129
13.5 | 0.2299 | 10.0179
13.5167 | 0.23285 | 10.0163
13.5333 | 0.23447 | 10.0251
13.55 | 0.23766 | 10.0205
13.5667 | 0.24109 | 10.0101
13.5833 | 0.24303 | 10.0051
13.6 | 0.24448 | 9.9993
13.6167 | 0.24735 | 10.0054
13.6333 | 0.25096 | 10.0074
13.65 | 0.25617 | 9.9982
13.6667 | 0.26035 | 10.0085
13.6833 | 0.26329 | 10.0004
13.7 | 0.26845 | 10.0034
13.7167 | 0.27447 | 10.0021
13.7333 | 0.28086 | 10.0063
13.75 | 0.2871 | 10.0036
13.7667 | 0.29149 | 10.0051
13.7833 | 0.29721 | 9.9961
13.8 | 0.30675 | 9.9845
13.8167 | 0.31728 | 9.9889
13.8333 | 0.32638 | 9.9863
13.85 | 0.33633 | 9.9834
13.8667 | 0.35017 | 9.9897
13.8833 | 0.36752 | 9.9963
13.9 | 0.38776 | 9.9953
13.9167 | 0.40906 | 9.9987
13.9333 | 0.43298 | 9.9999
13.95 | 0.46057 | 10.0007
13.9667 | 0.49166 | 9.9946
13.9833 | 0.52786 | 10.0024
14 | 0.56838 | 10.0053
14.0167 | 0.61832 | 10.0097
14.0333 | 0.67996 | 10.0092
14.05 | 0.75019 | 10.0166
14.0667 | 0.82815 | 10.0169
14.0833 | 0.91943 | 10.0224
14.1 | 1.031 | 10.0242
14.1167 | 1.1669 | 10.0311
14.1333 | 1.3301 | 10.0404
14.15 | 1.5245 | 10.0483
14.1667 | 1.7599 | 10.0556
14.1833 | 2.0442 | 10.0733
14.2 | 2.3802 | 10.0895
14.2167 | 2.7776 | 10.1046
14.2333 | 3.2452 | 10.1218
14.25 | 3.7878 | 10.1461
14.2667 | 4.4097 | 10.1701
14.2833 | 5.1161 | 10.1894
14.3 | 5.9082 | 10.2259
14.3167 | 6.7782 | 10.261
14.3333 | 7.7189 | 10.3103
14.35 | 8.7211 | 10.3631
14.3667 | 9.7699 | 10.4389
14.3833 | 10.8454 | 10.5067
14.4 | 11.9264 | 10.5903
14.4167 | 12.9886 | 10.6828
14.4333 | 14.0065 | 10.7838
14.45 | 14.9543 | 10.8978
14.4667 | 15.81 | 11.005
14.4833 | 16.5515 | 11.1115
14.5 | 17.1594 | 11.2205
14.5167 | 17.6242 | 11.3175
14.5333 | 17.9443 | 11.4155
14.55 | 18.1141 | 11.5011
14.5667 | 18.1341 | 11.5853
14.5833 | 18.0162 | 11.6582
14.6 | 17.774 | 11.7187
14.6167 | 17.4221 | 11.7594
14.6333 | 16.9791 | 11.7904
14.65 | 16.465 | 11.8038
14.6667 | 15.9013 | 11.8011
14.6833 | 15.3102 | 11.795
14.7 | 14.7017 | 11.7707
14.7167 | 14.0909 | 11.7359
14.7333 | 13.4967 | 11.6944
14.75 | 12.9276 | 11.654
14.7667 | 12.3929 | 11.6001
14.7833 | 11.8988 | 11.5554
14.8 | 11.4487 | 11.507
14.8167 | 11.044 | 11.4735
14.8333 | 10.6788 | 11.4382
14.85 | 10.3509 | 11.4082
14.8667 | 10.0603 | 11.3869
14.8833 | 9.8036 | 11.3769
14.9 | 9.574 | 11.357
14.9167 | 9.3672 | 11.3577
14.9333 | 9.1774 | 11.3529
14.95 | 8.9952 | 11.3612
14.9667 | 8.8196 | 11.365
14.9833 | 8.6462 | 11.3807
15 | 8.4681 | 11.3955
15.0167 | 8.2847 | 11.417
15.0333 | 8.0932 | 11.4465
15.05 | 7.8893 | 11.4741
15.0667 | 7.6733 | 11.4915
15.0833 | 7.4446 | 11.5096
15.1 | 7.2056 | 11.5202
15.1167 | 6.9563 | 11.5212
15.1333 | 6.6948 | 11.5241
15.15 | 6.4241 | 11.527
15.1667 | 6.1491 | 11.5118
15.1833 | 5.8703 | 11.4991
15.2 | 5.589 | 11.4777
15.2167 | 5.3087 | 11.45
15.2333 | 5.032 | 11.421
15.25 | 4.7598 | 11.3831
15.2667 | 4.4931 | 11.349
15.2833 | 4.235 | 11.303
15.3 | 3.9874 | 11.254
15.3167 | 3.7504 | 11.2028
15.3333 | 3.5237 | 11.157
15.35 | 3.3076 | 11.112
15.3667 | 3.1038 | 11.0625
15.3833 | 2.916 | 11.0069
15.4 | 2.7394 | 10.9557
15.4167 | 2.5725 | 10.9077
15.4333 | 2.4192 | 10.862
15.45 | 2.2766 | 10.8108
15.4667 | 2.144 | 10.7693
15.4833 | 2.0219 | 10.7325
15.5 | 1.9094 | 10.703
15.5167 | 1.8046 | 10.6721
15.5333 | 1.7058 | 10.6446
15.55 | 1.6145 | 10.6242
15.5667 | 1.5314 | 10.5917
15.5833 | 1.454 | 10.5589
15.6 | 1.3803 | 10.5257
15.6167 | 1.3139 | 10.5004
15.6333 | 1.2514 | 10.4749
15.65 | 1.1895 | 10.4462
15.6667 | 1.1344 | 10.4173
15.6833 | 1.0849 | 10.4009
15.7 | 1.0381 | 10.3788
15.7167 | 0.99247 | 10.3611
15.7333 | 0.94928 | 10.3408
15.75 | 0.9104 | 10.3255
15.7667 | 0.87139 | 10.3117
15.7833 | 0.83277 | 10.2995
15.8 | 0.79882 | 10.2784
15.8167 | 0.76773 | 10.265
15.8333 | 0.73758 | 10.2518
15.85 | 0.70854 | 10.2386
15.8667 | 0.68267 | 10.2244
15.8833 | 0.6576 | 10.2189
15.9 | 0.63096 | 10.2021
15.9167 | 0.60814 | 10.1939
15.9333 | 0.58876 | 10.1846
15.95 | 0.56788 | 10.1739
15.9667 | 0.54844 | 10.1649
15.9833 | 0.53119 | 10.155
16 | 0.51485 | 10.1446
16.0167 | 0.49841 | 10.1305
16.0333 | 0.483 | 10.1252
16.05 | 0.46913 | 10.1185
16.0667 | 0.45493 | 10.1147
16.0833 | 0.44039 | 10.1092
16.1 | 0.42677 | 10.1066
16.1167 | 0.41549 | 10.1051
16.1333 | 0.40492 | 10.1086
16.15 | 0.39311 | 10.1077
16.1667 | 0.3829 | 10.1096
16.1833 | 0.37336 | 10.106
16.2 | 0.36378 | 10.1043
16.2167 | 0.35619 | 10.0945
16.2333 | 0.34956 | 10.0959
16.25 | 0.34175 | 10.0907
16.2667 | 0.33505 | 10.0831
16.2833 | 0.33012 | 10.0787
16.3 | 0.32511 | 10.0777
16.3167 | 0.31998 | 10.0733
16.3333 | 0.31449 | 10.0655
16.35 | 0.3089 | 10.061
16.3667 | 0.30506 | 10.0663
16.3833 | 0.30138 | 10.0628
16.4 | 0.29485 | 10.0509
16.4167 | 0.28949 | 10.0481
16.4333 | 0.28728 | 10.0474
16.45 | 0.28772 | 10.0422
16.4667 | 0.28639 | 10.0369
16.4833 | 0.28252 | 10.0352
16.5 | 0.28116 | 10.0307
16.5167 | 0.28152 | 10.033
16.5333 | 0.28083 | 10.0309
16.55 | 0.27897 | 10.0359
16.5667 | 0.27688 | 10.0321
16.5833 | 0.27561 | 10.0336
16.6 | 0.27659 | 10.0314
16.6167 | 0.27747 | 10.0353
16.6333 | 0.27839 | 10.0214
16.65 | 0.28065 | 10.0239
16.6667 | 0.28084 | 10.0195
16.6833 | 0.28046 | 10.0246
16.7 | 0.28252 | 10.021
16.7167 | 0.28642 | 10.0219
16.7333 | 0.29039 | 10.0204
16.75 | 0.29258 | 10.023
16.7667 | 0.29509 | 10.0138
16.7833 | 0.29728 | 10.0172
16.8 | 0.29908 | 10.0256
16.8167 | 0.3029 | 10.0225
16.8333 | 0.30959 | 10.0242
16.85 | 0.31478 | 10.0234
16.8667 | 0.31689 | 10.0208
16.8833 | 0.32018 | 10.0176
16.9 | 0.32694 | 10.0094
16.9167 | 0.33257 | 10.0016
16.9333 | 0.33844 | 10.0045
16.95 | 0.34491 | 10.0019
16.9667 | 0.35023 | 10.0074
16.9833 | 0.35735 | 9.9995
17 | 0.36424 | 9.9949
17.0167 | 0.37138 | 9.996
17.0333 | 0.38057 | 9.999
17.05 | 0.38814 | 9.9961
17.0667 | 0.39449 | 9.9929
17.0833 | 0.40495 | 9.9998
17.1 | 0.41703 | 10.0001
17.1167 | 0.42676 | 10.0077
17.1333 | 0.43682 | 10.0086
17.15 | 0.45028 | 10.0076
17.1667 | 0.46403 | 10.0132
17.1833 | 0.4769 | 10.0164
17.2 | 0.48941 | 10.0159
17.2167 | 0.5015 | 10.0193
17.2333 | 0.51324 | 10.0167
17.25 | 0.52543 | 10.0192
17.2667 | 0.54008 | 10.0123
17.2833 | 0.55636 | 10.0114
17.3 | 0.57305 | 10.0045
17.3167 | 0.58968 | 10.0091
17.3333 | 0.60559 | 10.0043
17.35 | 0.62322 | 10.0005
17.3667 | 0.64235 | 10.0033
17.3833 | 0.66095 | 10.0045
17.4 | 0.68046 | 10.0077
17.4167 | 0.70007 | 10.0028
17.4333 | 0.72012 | 10.0039
17.45 | 0.74208 | 10.0074
17.4667 | 0.76413 | 10.0011
17.4833 | 0.78717 | 10.0051
17.5 | 0.81131 | 10.0025
17.5167 | 0.83608 | 10.0085
17.5333 | 0.86287 | 10.0077
17.55 | 0.88962 | 10.0051
17.5667 | 0.91757 | 10.0094
17.5833 | 0.94812 | 10.0158
17.6 | 0.98021 | 10.0245
17.6167 | 1.012 | 10.0233
17.6333 | 1.0444 | 10.0175
17.65 | 1.0798 | 10.0134
17.6667 | 1.1159 | 10.0112
17.6833 | 1.1502 | 10.0091
17.7 | 1.1832 | 10.0056
17.7167 | 1.2165 | 10.0025
17.7333 | 1.247 | 10.0047
17.75 | 1.2747 | 10.0065
17.7667 | 1.3028 | 10.0112
17.7833 | 1.33 | 10.0047
17.8 | 1.3556 | 10.0043
17.8167 | 1.3813 | 9.9982
17.8333 | 1.4085 | 10.0011
17.85 | 1.4352 | 10.0069
17.8667 | 1.4591 | 10.0127
17.8833 | 1.4815 | 10.012
17.9 | 1.507 | 10.0219
17.9167 | 1.5358 | 10.0231
17.9333 | 1.5631 | 10.0315
17.95 | 1.5893 | 10.0268
17.9667 | 1.6171 | 10.0239
17.9833 | 1.6472 | 10.0304
18 | 1.6767 | 10.0399
18.0167 | 1.7067 | 10.0359
18.0333 | 1.7401 | 10.0358
18.05 | 1.7743 | 10.0428
18.0667 | 1.8071 | 10.0411
18.0833 | 1.8403 | 10.0478
18.1 | 1.877 | 10.0419
18.1167 | 1.918 | 10.0478
18.1333 | 1.9569 | 10.0466
18.15 | 1.9934 | 10.048
18.1667 | 2.0346 | 10.0605
18.1833 | 2.0806 | 10.0697
18.2 | 2.129 | 10.08
18.2167 | 2.1788 | 10.0951
18.2333 | 2.2318 | 10.1089
18.25 | 2.2893 | 10.1269
18.2667 | 2.3508 | 10.1388
18.2833 | 2.4172 | 10.1498
18.3 | 2.4907 | 10.1698
18.3167 | 2.5687 | 10.1754
18.3333 | 2.6497 | 10.1823
18.35 | 2.7344 | 10.1856
18.3667 | 2.8222 | 10.1801
18.3833 | 2.9106 | 10.1798
18.4 | 2.9941 | 10.1756
18.4167 | 3.0707 | 10.1604
18.4333 | 3.1413 | 10.142
18.45 | 3.2041 | 10.1337
18.4667 | 3.2549 | 10.1235
18.4833 | 3.293 | 10.118
18.5 | 3.3235 | 10.1167
18.5167 | 3.3486 | 10.1122
18.5333 | 3.3695 | 10.1099
18.55 | 3.3903 | 10.1107
18.5667 | 3.4122 | 10.109
18.5833 | 3.4407 | 10.1109
18.6 | 3.4807 | 10.116
18.6167 | 3.5317 | 10.1112
18.6333 | 3.5953 | 10.1191
18.65 | 3.6741 | 10.1131
18.6667 | 3.768 | 10.1159
18.6833 | 3.8716 | 10.1121
18.7 | 3.9811 | 10.1243
18.7167 | 4.0958 | 10.1414
18.7333 | 4.2107 | 10.1563
18.75 | 4.3177 | 10.1751
18.7667 | 4.4158 | 10.2161
18.7833 | 4.5006 | 10.2499
18.8 | 4.5652 | 10.2935
18.8167 | 4.6081 | 10.3403
18.8333 | 4.6321 | 10.3835
18.85 | 4.6359 | 10.4203
18.8667 | 4.6181 | 10.4508
18.8833 | 4.5856 | 10.4781
18.9 | 4.5458 | 10.5088
18.9167 | 4.5011 | 10.5248
18.9333 | 4.4521 | 10.5308
18.95 | 4.4008 | 10.5273
18.9667 | 4.3501 | 10.5044
18.9833 | 4.3031 | 10.4856
19 | 4.2589 | 10.4514
19.0167 | 4.2165 | 10.416
19.0333 | 4.175 | 10.3786
19.05 | 4.1324 | 10.3432
19.0667 | 4.0863 | 10.3065
19.0833 | 4.0341 | 10.2798
19.1 | 3.9739 | 10.2462
19.1167 | 3.903 | 10.2178
19.1333 | 3.8173 | 10.1864
19.15 | 3.7122 | 10.1748
19.1667 | 3.5843 | 10.1608
19.1833 | 3.432 | 10.1495
19.2 | 3.25 | 10.1331
19.2167 | 3.0321 | 10.125
19.2333 | 2.7812 | 10.1072
19.25 | 2.5021 | 10.0913
19.2667 | 2.1981 | 10.0744
19.2833 | 1.8782 | 10.0599
19.3 | 1.5607 | 10.0498
19.3167 | 1.2646 | 10.0341
19.3333 | 1.009 | 10.0297
19.35 | 0.81148 | 10.0397
19.3667 | 0.68752 | 10.0687
19.3833 | 0.64898 | 10.1191
19.4 | 0.70543 | 10.227
19.4167 | 0.86152 | 10.3936
19.4333 | 1.1095 | 10.6647
19.45 | 1.4354 | 11.0416
19.4667 | 1.8259 | 11.5711
19.4833 | 2.2653 | 12.2611
19.5 | 2.7345 | 13.1335
19.5167 | 3.2108 | 14.1869
19.5333 | 3.6751 | 15.4243
19.55 | 4.1114 | 16.7879
19.5667 | 4.5061 | 18.2522
19.5833 | 4.8536 | 19.7153
19.6 | 5.1496 | 21.119
19.6167 | 5.3903 | 22.3589
19.6333 | 5.5815 | 23.2792
19.65 | 5.7295 | 24.0157
19.6667 | 5.8382 | 24.4184
19.6833 | 5.9113 | 24.4572
19.7 | 5.9542 | 24.1441
19.7167 | 5.975 | 23.5252
19.7333 | 5.9759 | 22.6456
19.75 | 5.9533 | 21.5755
19.7667 | 5.9061 | 20.3953
19.7833 | 5.8449 | 19.1743
19.8 | 5.7762 | 17.9708
19.8167 | 5.694 | 16.8337
19.8333 | 5.5988 | 15.789
19.85 | 5.5032 | 14.862
19.8667 | 5.4096 | 14.0575
19.8833 | 5.3182 | 13.377
19.9 | 5.2369 | 12.7982
19.9167 | 5.1703 | 12.315
19.9333 | 5.1191 | 11.9134
19.95 | 5.0828 | 11.5894
19.9667 | 5.0579 | 11.3154
19.9833 | 5.0422 | 11.0902
20 | 5.0338 | 10.8982
20.0167 | 5.0277 | 10.7198
20.0333 | 5.0187 | 10.5647
20.05 | 5.0018 | 10.4139
20.0667 | 4.9716 | 10.2505
20.0833 | 4.9236 | 10.0652
20.1 | 4.8558 | 9.8598
20.1167 | 4.7661 | 9.6169
20.1333 | 4.6538 | 9.3174
20.15 | 4.5222 | 8.9664
20.1667 | 4.3771 | 8.5471
20.1833 | 4.2207 | 8.0677
20.2 | 4.056 | 7.5491
20.2167 | 3.8911 | 7.0004
20.2333 | 3.7286 | 6.4321
20.25 | 3.5692 | 5.8848
20.2667 | 3.4175 | 5.3951
20.2833 | 3.2778 | 4.9717
20.3 | 3.1523 | 4.6622
20.3167 | 3.0417 | 4.4694
20.3333 | 2.9498 | 4.4074
20.35 | 2.8825 | 4.4723
20.3667 | 2.8441 | 4.6737
20.3833 | 2.843 | 4.9775
20.4 | 2.893 | 5.3716
20.4167 | 3.0062 | 5.8154
20.4333 | 3.1989 | 6.2937
20.45 | 3.4857 | 6.7739
20.4667 | 3.8814 | 7.248
20.4833 | 4.4052 | 7.6994
20.5 | 5.0652 | 8.1011
20.5167 | 5.8589 | 8.455
20.5333 | 6.7814 | 8.7635
20.55 | 7.8158 | 9.0475
20.5667 | 8.9286 | 9.2977
20.5833 | 10.0765 | 9.5112
20.6 | 11.2104 | 9.6995
20.6167 | 12.2694 | 9.8884
20.6333 | 13.192 | 10.0771
20.65 | 13.9208 | 10.2551
20.6667 | 14.4028 | 10.4319
20.6833 | 14.5919 | 10.6124
20.7 | 14.4523 | 10.7731
20.7167 | 13.9576 | 10.9438
20.7333 | 13.0868 | 11.1175
20.75 | 11.8163 | 11.2742
20.7667 | 10.1216 | 11.4152
20.7833 | 7.9797 | 11.5432
20.8 | 5.3531 | 11.6271
20.8167 | 2.2014 | 11.6807
20.8333 | -1.5111 | 11.7027
20.85 | -5.8135 | 11.6962
20.8667 | -10.7123 | 11.6503
20.8833 | -16.1806 | 11.5778
20.9 | -22.1522 | 11.4681
20.9167 | -28.508 | 11.3589
20.9333 | -35.0761 | 11.229
20.95 | -41.6391 | 11.0873
20.9667 | -47.949 | 10.9399
20.9833 | -53.7464 | 10.8013
21 | -58.777 | 10.6702
21.0167 | -62.8131 | 10.5488
21.0333 | -65.6787 | 10.4366
21.05 | -67.2684 | 10.335
21.0667 | -67.5527 | 10.2393
21.0833 | -66.5762 | 10.1608
21.1 | -64.4553 | 10.1061
21.1167 | -61.3558 | 10.0576
21.1333 | -57.4811 | 10.0098
21.15 | -53.052 | 9.9688
21.1667 | -48.2862 | 9.9444
21.1833 | -43.3877 | 9.9194
21.2 | -38.5306 | 9.9044
21.2167 | -33.8482 | 9.8934
21.2333 | -29.4427 | 9.8852
21.25 | -25.3872 | 9.8847
21.2667 | -21.7194 | 9.8917
21.2833 | -18.4495 | 9.8905
21.3 | -15.5732 | 9.8981
21.3167 | -13.0752 | 9.9012
21.3333 | -10.9255 | 9.9114
21.35 | -9.0898 | 9.9151
21.3667 | -7.5352 | 9.9271
21.3833 | -6.2297 | 9.9348
21.4 | -5.1385 | 9.9458
21.4167 | -4.2311 | 9.9502
21.4333 | -3.4795 | 9.947
21.45 | -2.8584 | 9.9461
21.4667 | -2.3514 | 9.9418
21.4833 | -1.9378 | 9.9426
21.5 | -1.5989 | 9.9447
21.5167 | -1.3225 | 9.9418
21.5333 | -1.0991 | 9.9311
21.55 | -0.9175 | 9.9319
21.5667 | -0.76835 | 9.9207
21.5833 | -0.64938 | 9.9064
21.6 | -0.55443 | 9.8846
21.6167 | -0.47549 | 9.8606
21.6333 | -0.41153 | 9.8254
21.65 | -0.36137 | 9.788
21.6667 | -0.31935 | 9.7239
21.6833 | -0.28366 | 9.6551
21.7 | -0.25552 | 9.5452
21.7167 | -0.231 | 9.4267
21.7333 | -0.20847 | 9.2695
21.75 | -0.19093 | 9.078
21.7667 | -0.17688 | 8.8808
21.7833 | -0.16295 | 8.6097
21.8 | -0.15171 | 8.3038
21.8167 | -0.14385 | 7.9499
21.8333 | -0.13433 | 7.5721
21.85 | -0.12546 | 7.1564
21.8667 | -0.11959 | 6.7214
21.8833 | -0.11477 | 6.2778
21.9 | -0.10986 | 5.8398
21.9167 | -0.10353 | 5.4139
21.9333 | -0.09785 | 5.0269
21.95 | -0.094655 | 4.6774
21.9667 | -0.09106 | 4.399
21.9833 | -0.08707 | 4.1947
22 | -0.082768 | 4.0688
22.0167 | -0.078674 | 4.0279
22.0333 | -0.07551 | 4.071
22.05 | -0.072005 | 4.2078
22.0667 | -0.070012 | 4.4207
22.0833 | -0.067637 | 4.6941
22.1 | -0.062355 | 5.0227
22.1167 | -0.057398 | 5.3904
22.1333 | -0.055524 | 5.7998
22.15 | -0.052283 | 6.206
22.1667 | -0.04367 | 6.629
22.1833 | -0.03238 | 7.0403
22.2 | -0.019021 | 7.4171
22.2167 | 0.00051148 | 7.7738
22.2333 | 0.029542 | 8.1112
22.25 | 0.068801 | 8.4007
22.2667 | 0.12265 | 8.6524
22.2833 | 0.19595 | 8.8873
22.3 | 0.29489 | 9.0723
22.3167 | 0.43338 | 9.2329
22.3333 | 0.61978 | 9.3678
22.35 | 0.85766 | 9.4688
22.3667 | 1.1607 | 9.5589
22.3833 | 1.5424 | 9.6239
22.4 | 2.0135 | 9.679
22.4167 | 2.5848 | 9.7068
22.4333 | 3.2678 | 9.7204
22.45 | 4.0695 | 9.7355
22.4667 | 4.9935 | 9.7207
22.4833 | 6.0352 | 9.6972
22.5 | 7.1829 | 9.6578
22.5167 | 8.4255 | 9.607
22.5333 | 9.7418 | 9.5411
22.55 | 11.0982 | 9.4689
22.5667 | 12.4631 | 9.3694
22.5833 | 13.8021 | 9.2548
22.6 | 15.0717 | 9.1175
22.6167 | 16.2296 | 8.9793
22.6333 | 17.2347 | 8.8267
22.65 | 18.0529 | 8.6718
22.6667 | 18.6545 | 8.5088
22.6833 | 19.017 | 8.3399
22.7 | 19.1299 | 8.1849
22.7167 | 18.9904 | 8.046
22.7333 | 18.6073 | 7.9227
22.75 | 18.0001 | 7.8243
22.7667 | 17.1927 | 7.7512
22.7833 | 16.2179 | 7.698
22.8 | 15.1133 | 7.681
22.8167 | 13.9129 | 7.6908
22.8333 | 12.6567 | 7.7265
22.85 | 11.3857 | 7.7905
22.8667 | 10.1291 | 7.8815
22.8833 | 8.911 | 7.9868
22.9 | 7.757 | 8.12
22.9167 | 6.6863 | 8.2619
22.9333 | 5.7087 | 8.4153
22.95 | 4.8303 | 8.5613
22.9667 | 4.0517 | 8.715
22.9833 | 3.3725 | 8.8589
23 | 2.787 | 8.9951
23.0167 | 2.2897 | 9.1186
23.0333 | 1.8733 | 9.241
23.05 | 1.5257 | 9.3493
23.0667 | 1.2399 | 9.4479
23.0833 | 1.0064 | 9.5298
23.1 | 0.81515 | 9.6099
23.1167 | 0.66284 | 9.674
23.1333 | 0.54319 | 9.7219
23.15 | 0.44598 | 9.764
23.1667 | 0.36698 | 9.7956
23.1833 | 0.30481 | 9.8281
23.2 | 0.25626 | 9.8489
23.2167 | 0.21633 | 9.8606
23.2333 | 0.18358 | 9.8736
23.25 | 0.15887 | 9.8959
23.2667 | 0.13924 | 9.9059
23.2833 | 0.12092 | 9.9224
23.3 | 0.10616 | 9.9226
23.3167 | 0.095418 | 9.9314
23.3333 | 0.085904 | 9.9364
23.35 | 0.078314 | 9.9404
23.3667 | 0.071945 | 9.9348
23.3833 | 0.065864 | 9.9488
23.4 | 0.059241 | 9.947
23.4167 | 0.053694 | 9.9427
23.4333 | 0.051278 | 9.9494
23.45 | 0.048146 | 9.9526
23.4667 | 0.044344 | 9.9514
23.4833 | 0.041932 | 9.9615
23.5 | 0.040181 | 9.9598
23.5167 | 0.036391 | 9.9618
23.5333 | 0.03207 | 9.9648
23.55 | 0.030576 | 9.9691
23.5667 | 0.029815 | 9.9607
23.5833 | 0.025836 | 9.9599
23.6 | 0.022004 | 9.9604
23.6167 | 0.020426 | 9.9545
23.6333 | 0.018104 | 9.963
23.65 | 0.013274 | 9.9708
23.6667 | 0.011323 | 9.9717
23.6833 | 0.011253 | 9.9682
23.7 | 0.010664 | 9.9773
23.7167 | 0.010663 | 9.9752
23.7333 | 0.00932 | 9.9847
23.75 | 0.0075447 | 9.9789
23.7667 | 0.0062312 | 9.9863
23.7833 | 0.0052434 | 9.9783
23.8 | 0.0052944 | 9.9812
23.8167 | 0.0031054 | 9.9795
23.8333 | 0.00149 | 9.9767
23.85 | 0.002587 | 9.9787
23.8667 | 0.0024176 | 9.9807
23.8833 | 0.00074598 | 9.9789
23.9 | 0.00023728 | 9.9818
23.9167 | 0.00010582 | 9.9801
23.9333 | -0.0015846 | 9.9903
23.95 | -0.0036111 | 9.976
23.9667 | -0.0053912 | 9.9769
23.9833 | -0.006448 | 9.9792
24 | -0.0072975 | 9.9738
24.0167 | -0.0090896 | 9.9715
24.0333 | -0.0089762 | 9.9641
24.05 | -0.0087223 | 9.9654
24.0667 | -0.0098438 | 9.9712
24.0833 | -0.0095965 | 9.9751
24.1 | -0.010765 | 9.9743
24.1167 | -0.012852 | 9.9825
24.1333 | -0.01376 | 9.9767
24.15 | -0.01249 | 9.9657
24.1667 | -0.01291 | 9.9657
24.1833 | -0.014917 | 9.9657
24.2 | -0.013782 | 9.9638
24.2167 | -0.012094 | 9.9691
24.2333 | -0.013578 | 9.972
24.25 | -0.014882 | 9.9734
24.2667 | -0.01204 | 9.9731
24.2833 | -0.011116 | 9.9729
24.3 | -0.013642 | 9.9685
24.3167 | -0.015769 | 9.9709
24.3333 | -0.017491 | 9.968
24.35 | -0.018419 | 9.9686
24.3667 | -0.018236 | 9.972
24.3833 | -0.018984 | 9.9688
24.4 | -0.020215 | 9.9706
24.4167 | -0.019523 | 9.9653
24.4333 | -0.018651 | 9.9693
24.45 | -0.019402 | 9.9625
24.4667 | -0.020832 | 9.9636
24.4833 | -0.021698 | 9.9697
24.5 | -0.0212 | 9.9647
24.5167 | -0.019699 | 9.9667
24.5333 | -0.017979 | 9.9651
24.55 | -0.018711 | 9.9639
24.5667 | -0.022107 | 9.9653
24.5833 | -0.022868 | 9.9702
24.6 | -0.021864 | 9.9798
24.6167 | -0.022259 | 9.9691
24.6333 | -0.024115 | 9.9677
24.65 | -0.024226 | 9.9639
24.6667 | -0.021779 | 9.9642
24.6833 | -0.021362 | 9.9548
24.7 | -0.023089 | 9.9586
24.7167 | -0.022798 | 9.9578
24.7333 | -0.020649 | 9.958
24.75 | -0.019858 | 9.9609
24.7667 | -0.021504 | 9.959
24.7833 | -0.023007 | 9.9552
24.8 | -0.021477 | 9.961
24.8167 | -0.020334 | 9.9616
24.8333 | -0.02203 | 9.9699
24.85 | -0.02306 | 9.967
24.8667 | -0.022038 | 9.9638
24.8833 | -0.021884 | 9.966
24.9 | -0.022245 | 9.9674
24.9167 | -0.023955 | 9.9659
24.9333 | -0.027169 | 9.965
24.95 | -0.027819 | 9.9642
24.9667 | -0.026072 | 9.9584
24.9833 | -0.024544 | 9.9593
25 | -0.025129 | 9.9538
25.0167 | -0.026786 | 9.9523
25.0333 | -0.027492 | 9.9575
25.05 | -0.027943 | 9.967
25.0667 | -0.025937 | 9.9645
25.0833 | -0.024566 | 9.9595
25.1 | -0.026134 | 9.9635
25.1167 | -0.027133 | 9.9702
25.1333 | -0.028087 | 9.9676
25.15 | -0.027752 | 9.9647
25.1667 | -0.027133 | 9.9642
25.1833 | -0.028268 | 9.9639
25.2 | -0.027439 | 9.9572
25.2167 | -0.025549 | 9.957
25.2333 | -0.026194 | 9.9537
25.25 | -0.027366 | 9.9552
25.2667 | -0.027545 | 9.961
25.2833 | -0.028635 | 9.9607
25.3 | -0.029513 | 9.9653
25.3167 | -0.029191 | 9.9642
25.3333 | -0.02861 | 9.9699
25.35 | -0.029213 | 9.9751
25.3667 | -0.02803 | 9.9702
25.3833 | -0.02603 | 9.9645
25.4 | -0.026606 | 9.9621
25.4167 | -0.0278 | 9.9609
25.4333 | -0.029725 | 9.9659
25.45 | -0.031363 | 9.9627
25.4667 | -0.031037 | 9.9613
25.4833 | -0.030141 | 9.958
25.5 | -0.028644 | 9.961
25.5167 | -0.028638 | 9.9664
25.5333 | -0.030122 | 9.9633
25.55 | -0.031253 | 9.9575
25.5667 | -0.031708 | 9.957
25.5833 | -0.031354 | 9.9567
25.6 | -0.032388 | 9.9613
25.6167 | -0.032524 | 9.9612
25.6333 | -0.031159 | 9.966
25.65 | -0.032047 | 9.963
25.6667 | -0.033995 | 9.9569
25.6833 | -0.033968 | 9.9598
25.7 | -0.034476 | 9.9592
25.7167 | -0.035101 | 9.9534
25.7333 | -0.034258 | 9.9523
25.75 | -0.0341 | 9.9558
25.7667 | -0.033715 | 9.9564
25.7833 | -0.032777 | 9.9519
25.8 | -0.033459 | 9.9458
25.8167 | -0.034704 | 9.9517
25.8333 | -0.034553 | 9.9557
25.85 | -0.034163 | 9.9624
25.8667 | -0.035319 | 9.957
25.8833 | -0.036552 | 9.9674
25.9 | -0.036282 | 9.9586
25.9167 | -0.0357 | 9.9656
25.9333 | -0.035879 | 9.957
25.95 | -0.035209 | 9.9485
25.9667 | -0.034257 | 9.9377
25.9833 | -0.033175 | 9.9464
26 | -0.032173 | 9.9479
26.0167 | -0.03282 | 9.9444
26.0333 | -0.035386 | 9.9462
26.05 | -0.035864 | 9.943
26.0667 | -0.035487 | 9.9416
26.0833 | -0.0374 | 9.9397
26.1 | -0.037156 | 9.9416
26.1167 | -0.035023 | 9.9464
26.1333 | -0.035319 | 9.95
26.15 | -0.036474 | 9.9459
26.1667 | -0.034826 | 9.9468
26.1833 | -0.033996 | 9.9451
26.2 | -0.036031 | 9.949
26.2167 | -0.036289 | 9.956
26.2333 | -0.036929 | 9.9601
26.25 | -0.03826 | 9.966
26.2667 | -0.035881 | 9.9699
26.2833 | -0.033547 | 9.9635
26.3 | -0.034292 | 9.9686
26.3167 | -0.034131 | 9.9606
26.3333 | -0.033447 | 9.9738
26.35 | -0.034774 | 9.9802
26.3667 | -0.035346 | 9.9839
26.3833 | -0.035101 | 9.9792
26.4 | -0.035236 | 9.9824
26.4167 | -0.035331 | 9.9821
26.4333 | -0.033693 | 9.9857
26.45 | -0.031931 | 9.9877
26.4667 | -0.032452 | 9.9821
26.4833 | -0.033813 | 9.9866
26.5 | -0.034399 | 9.9892
26.5167 | -0.035305 | 9.9899
26.5333 | -0.035445 | 9.9905
26.55 | -0.034193 | 9.9915
26.5667 | -0.033732 | 9.9992
26.5833 | -0.033566 | 10.003
26.6 | -0.035464 | 9.9995
26.6167 | -0.038731 | 10.0039
26.6333 | -0.039992 | 10.0016
26.65 | -0.039941 | 9.9996
26.6667 | -0.039918 | 9.9979
26.6833 | -0.038356 | 10.0047
26.7 | -0.038349 | 10.0066
26.7167 | -0.039779 | 10.0039
26.7333 | -0.04085 | 9.9987
26.75 | -0.041056 | 10.0022
26.7667 | -0.040286 | 10.0037
26.7833 | -0.039988 | 10.0039
26.8 | -0.03946 | 9.9973
26.8167 | -0.04032 | 9.9993
26.8333 | -0.042055 | 10.0018
26.85 | -0.043208 | 10.0013
26.8667 | -0.041065 | 9.9987
26.8833 | -0.039168 | 10.0037
26.9 | -0.040739 | 10.005
26.9167 | -0.040937 | 10.0048
26.9333 | -0.040656 | 10.001
26.95 | -0.040571 | 10.0091
26.9667 | -0.039635 | 10.0045
26.9833 | -0.041429 | 10.0071
27 | -0.044381 | 10.0037
27.0167 | -0.04493 | 10.0082
27.0333 | -0.04366 | 10.0005
27.05 | -0.041189 | 9.9989
27.0667 | -0.038103 | 9.9975
27.0833 | -0.037325 | 10.0016
27.1 | -0.038842 | 10.0028
27.1167 | -0.040674 | 9.9958
27.1333 | -0.041743 | 9.9944
27.15 | -0.043125 | 9.9961
27.1667 | -0.045039 | 10.003
27.1833 | -0.046617 | 9.9981
27.2 | -0.045325 | 10.0015
27.2167 | -0.044459 | 10.0027
27.2333 | -0.043159 | 10.0057
27.25 | -0.040066 | 10.0043
27.2667 | -0.038738 | 10.0066
27.2833 | -0.039562 | 10.0076
27.3 | -0.042985 | 10.0079
27.3167 | -0.045498 | 10.0031
27.3333 | -0.045718 | 10.0021
27.35 | -0.045908 | 9.9953
27.3667 | -0.04687 | 9.9949
27.3833 | -0.047444 | 9.99
27.4 | -0.046598 | 9.9815
27.4167 | -0.047123 | 9.9789
27.4333 | -0.04938 | 9.9755
27.45 | -0.049326 | 9.9778
27.4667 | -0.047466 | 9.9757
27.4833 | -0.045756 | 9.9775
27.5 | -0.045861 | 9.9758
27.5167 | -0.047296 | 9.9839
27.5333 | -0.0481 | 9.9804
27.55 | -0.047299 | 9.9827
27.5667 | -0.046303 | 9.9786
27.5833 | -0.046938 | 9.9747
27.6 | -0.048175 | 9.9699
27.6167 | -0.04853 | 9.976
27.6333 | -0.050291 | 9.9712
27.65 | -0.051921 | 9.9728
27.6667 | -0.050439 | 9.9757
27.6833 | -0.048805 | 9.9752
27.7 | -0.048879 | 9.9709
27.7167 | -0.04832 | 9.978
27.7333 | -0.047246 | 9.9752
27.75 | -0.046918 | 9.9786
27.7667 | -0.04801 | 9.9816
27.7833 | -0.049432 | 9.9862
27.8 | -0.049205 | 9.9828
27.8167 | -0.047362 | 9.978
27.8333 | -0.047709 | 9.9761
27.85 | -0.048954 | 9.9804
27.8667 | -0.050322 | 9.9822
27.8833 | -0.049543 | 9.9775
27.9 | -0.047013 | 9.9766
27.9167 | -0.048637 | 9.9796
27.9333 | -0.05079 | 9.9818
27.95 | -0.049695 | 9.9807
27.9667 | -0.050338 | 9.9789
27.9833 | -0.050936 | 9.9718
28 | -0.048291 | 9.9773
28.0167 | -0.047146 | 9.978
28.0333 | -0.046341 | 9.981
28.05 | -0.04425 | 9.9854
28.0667 | -0.043336 | 9.9863
28.0833 | -0.044374 | 9.9786
28.1 | -0.046046 | 9.9868
28.1167 | -0.04753 | 9.976
28.1333 | -0.048343 | 9.9729
28.15 | -0.048272 | 9.9691
28.1667 | -0.047237 | 9.9673
28.1833 | -0.046444 | 9.9749
28.2 | -0.048885 | 9.9761
28.2167 | -0.051523 | 9.9787
28.2333 | -0.052107 | 9.9871
28.25 | -0.052762 | 9.9886
28.2667 | -0.052805 | 9.9906
28.2833 | -0.052826 | 9.9917
28.3 | -0.053778 | 9.9885
28.3167 | -0.053002 | 9.9903
28.3333 | -0.050203 | 9.986
28.35 | -0.049971 | 9.9929
28.3667 | -0.050902 | 9.9986
28.3833 | -0.05017 | 9.997
28.4 | -0.049647 | 9.9941
28.4167 | -0.049295 | 9.9906
28.4333 | -0.050648 | 9.9903
28.45 | -0.052957 | 9.9964
28.4667 | -0.052156 | 9.9921
28.4833 | -0.048963 | 9.9926
28.5 | -0.050006 | 9.9929
28.5167 | -0.052098 | 10.0015
28.5333 | -0.050504 | 10.0011
28.55 | -0.049598 | 10.006
28.5667 | -0.050065 | 10.0033
28.5833 | -0.049401 | 10.004
28.6 | -0.049976 | 9.9984
28.6167 | -0.05127 | 9.9928
28.6333 | -0.051263 | 9.9873
28.65 | -0.051932 | 9.9816
28.6667 | -0.052508 | 9.9837
28.6833 | -0.051783 | 9.9833
28.7 | -0.051936 | 9.9842
28.7167 | -0.053555 | 9.981
28.7333 | -0.054726 | 9.9749
28.75 | -0.054162 | 9.97
28.7667 | -0.053095 | 9.9731
28.7833 | -0.052126 | 9.9758
28.8 | -0.050711 | 9.9728
28.8167 | -0.051349 | 9.9706
28.8333 | -0.05258 | 9.9772
28.85 | -0.051881 | 9.9738
28.8667 | -0.049989 | 9.9772
28.8833 | -0.050891 | 9.9787
28.9 | -0.053993 | 9.9795
28.9167 | -0.055492 | 9.9792
28.9333 | -0.054503 | 9.9813
28.95 | -0.052848 | 9.9751
28.9667 | -0.052145 | 9.9706
28.9833 | -0.051058 | 9.9694
29 | -0.050797 | 9.9751
29.0167 | -0.051995 | 9.9752
29.0333 | -0.052388 | 9.9757
29.05 | -0.05227 | 9.9686
29.0667 | -0.052525 | 9.9743
29.0833 | -0.053852 | 9.9735
29.1 | -0.054288 | 9.9781
29.1167 | -0.052773 | 9.9766
29.1333 | -0.050875 | 9.9688
29.15 | -0.050553 | 9.9699
29.1667 | -0.051023 | 9.9758
29.1833 | -0.05134 | 9.9841
29.2 | -0.052647 | 9.9776
29.2167 | -0.052498 | 9.9831
29.2333 | -0.051979 | 9.9831
29.25 | -0.052276 | 9.988
29.2667 | -0.051977 | 9.981
29.2833 | -0.05309 | 9.9859
29.3 | -0.055714 | 9.9897
29.3167 | -0.05612 | 9.9876
29.3333 | -0.05347 | 9.9842
29.35 | -0.052092 | 9.9851
29.3667 | -0.052282 | 9.9831
29.3833 | -0.053321 | 9.9868
29.4 | -0.054528 | 9.9873
29.4167 | -0.052768 | 9.9853
29.4333 | -0.052113 | 9.9827
29.45 | -0.052557 | 9.9799
29.4667 | -0.050557 | 9.9731
29.4833 | -0.04949 | 9.9764
29.5 | -0.052039 | 9.9746
29.5167 | -0.054263 | 9.9694
29.5333 | -0.054966 | 9.9673
29.55 | -0.055678 | 9.9693
29.5667 | -0.055847 | 9.9657
29.5833 | -0.055173 | 9.9732
29.6 | -0.054228 | 9.9761
29.6167 | -0.054308 | 9.9752
29.6333 | -0.054415 | 9.9795
29.65 | -0.053502 | 9.9796
29.6667 | -0.053306 | 9.9809
29.6833 | -0.055112 | 9.9784
29.7 | -0.055777 | 9.9868
29.7167 | -0.055072 | 9.9895
29.7333 | -0.055743 | 9.9889
29.75 | -0.055276 | 9.9894
29.7667 | -0.053692 | 9.9923
29.7833 | -0.054256 | 9.992
29.8 | -0.054529 | 9.9844
29.8167 | -0.055423 | 9.9914

## MW Results
Administrative Information
File name | ICF_25_05_2022-0006.sample
Analysed by | Agilent GPC 1
Date of analysis | 25 May 2022 15:37:28
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 69431 | 36896 | 50021 | 61835 | 71916 | 48210 | 1.3557
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 4.4 | 12.1
Baseline region 2 | 25.1167 | 29.3
Peaks | Start (mins) | End (mins)
Peak 1 | 14.0167 | 16.6667
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 14.5667 | 685.8348 | 17.5156
| RI | 14.65 | 107.8705 | 1.8111
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.3 | 20.1167
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 25 May 2022 15:37:28
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6833
FRCF | 0.99238
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.0167 | -0.027994 | 0.016329 | 0.016109 | 0.00015134 | 1 | 159424 | 5.2026 | 0.015463 | No | 1
14.0333 | 0.034495 | 0.015889 | 0.01956 | 0.00014727 | 0.99985 | 155919 | 5.1929 | 0.018792 | No | 1
14.05 | 0.10556 | 0.023232 | 0.023393 | 0.00021532 | 0.99967 | 152495 | 5.1833 | 0.022494 | No | 1
14.0667 | 0.18437 | 0.023555 | 0.026311 | 0.00021832 | 0.99945 | 149148 | 5.1736 | 0.025321 | No | 1
14.0833 | 0.27649 | 0.029066 | 0.029991 | 0.0002694 | 0.99921 | 145878 | 5.164 | 0.028889 | No | 1
14.1 | 0.38892 | 0.030915 | 0.034358 | 0.00028654 | 0.99893 | 142682 | 5.1544 | 0.033124 | No | 1
14.1167 | 0.52566 | 0.0378 | 0.042463 | 0.00035035 | 0.99861 | 139559 | 5.1448 | 0.040974 | No | 1
14.1333 | 0.68964 | 0.047126 | 0.051103 | 0.00043679 | 0.99822 | 136507 | 5.1352 | 0.049354 | No | 1
14.15 | 0.88492 | 0.055079 | 0.05875 | 0.00051049 | 0.99774 | 133525 | 5.1256 | 0.05679 | No | 1
14.1667 | 1.1211 | 0.062421 | 0.07128 | 0.00057855 | 0.9972 | 130610 | 5.116 | 0.068962 | No | 1
14.1833 | 1.4063 | 0.08014 | 0.088236 | 0.00074277 | 0.99654 | 127761 | 5.1064 | 0.085441 | No | 1
14.2 | 1.7431 | 0.096332 | 0.10389 | 0.00089285 | 0.99572 | 124976 | 5.0968 | 0.10069 | No | 1
14.2167 | 2.1413 | 0.11146 | 0.12009 | 0.001033 | 0.99476 | 122255 | 5.0873 | 0.11649 | No | 1
14.2333 | 2.6098 | 0.12872 | 0.14086 | 0.001193 | 0.99364 | 119595 | 5.0777 | 0.13675 | No | 1
14.25 | 3.1533 | 0.153 | 0.16498 | 0.001418 | 0.99234 | 116995 | 5.0682 | 0.16031 | No | 1
14.2667 | 3.776 | 0.17697 | 0.18667 | 0.0016402 | 0.99081 | 114455 | 5.0586 | 0.18154 | No | 1
14.2833 | 4.4832 | 0.19637 | 0.21461 | 0.00182 | 0.98908 | 111971 | 5.0491 | 0.2089 | No | 1
14.3 | 5.2762 | 0.23285 | 0.25041 | 0.0021582 | 0.98709 | 109543 | 5.0396 | 0.24396 | No | 1
14.3167 | 6.1471 | 0.26797 | 0.29262 | 0.0024836 | 0.98477 | 107170 | 5.0301 | 0.28533 | No | 1
14.3333 | 7.0885 | 0.31727 | 0.34368 | 0.0029406 | 0.98206 | 104850 | 5.0206 | 0.3354 | No | 1
14.35 | 8.0916 | 0.37009 | 0.40801 | 0.0034301 | 0.97887 | 102583 | 5.0111 | 0.39853 | No | 1
14.3667 | 9.1413 | 0.44594 | 0.47982 | 0.0041332 | 0.97509 | 100366 | 5.0016 | 0.46908 | No | 1
14.3833 | 10.2176 | 0.51371 | 0.55553 | 0.0047613 | 0.97064 | 98200 | 4.9921 | 0.54355 | No | 1
14.4 | 11.2995 | 0.59734 | 0.64359 | 0.0055364 | 0.96549 | 96081 | 4.9826 | 0.63026 | No | 1
14.4167 | 12.3625 | 0.68983 | 0.74035 | 0.0063936 | 0.95952 | 94011 | 4.9732 | 0.72564 | No | 1
14.4333 | 13.3813 | 0.79086 | 0.84786 | 0.00733 | 0.95266 | 91986 | 4.9637 | 0.83173 | No | 1
14.45 | 14.3298 | 0.90486 | 0.95851 | 0.0083867 | 0.9448 | 90007 | 4.9543 | 0.94108 | No | 1
14.4667 | 15.1864 | 1.0122 | 1.0654 | 0.009381 | 0.93591 | 88072 | 4.9448 | 1.0469 | No | 1
14.4833 | 15.9288 | 1.1187 | 1.1732 | 0.010368 | 0.92604 | 86180 | 4.9354 | 1.1538 | No | 1
14.5 | 16.5374 | 1.2276 | 1.2762 | 0.011378 | 0.91516 | 84331 | 4.926 | 1.2562 | No | 1
14.5167 | 17.0031 | 1.3247 | 1.3737 | 0.012278 | 0.90333 | 82523 | 4.9166 | 1.3533 | No | 1
14.5333 | 17.324 | 1.4227 | 1.4655 | 0.013186 | 0.8906 | 80755 | 4.9072 | 1.445 | No | 1
14.55 | 17.4947 | 1.5083 | 1.5504 | 0.01398 | 0.87701 | 79026 | 4.8978 | 1.5301 | No | 1
14.5667 | 17.5156 | 1.5926 | 1.629 | 0.01476 | 0.86264 | 77336 | 4.8884 | 1.609 | No | 1
14.5833 | 17.3985 | 1.6655 | 1.6957 | 0.015437 | 0.84754 | 75683 | 4.879 | 1.6763 | No | 1
14.6 | 17.1572 | 1.7259 | 1.7463 | 0.015997 | 0.83182 | 74067 | 4.8696 | 1.7278 | No | 1
14.6167 | 16.8061 | 1.7667 | 1.7822 | 0.016375 | 0.81563 | 72487 | 4.8603 | 1.7648 | No | 1
14.6333 | 16.3639 | 1.7977 | 1.8044 | 0.016662 | 0.7991 | 70942 | 4.8509 | 1.7883 | No | 1
14.65 | 15.8507 | 1.8111 | 1.8098 | 0.016786 | 0.78238 | 69431 | 4.8416 | 1.7951 | No | 1
14.6667 | 15.2878 | 1.8084 | 1.8054 | 0.016761 | 0.7656 | 67953 | 4.8322 | 1.7923 | No | 1
14.6833 | 14.6975 | 1.8023 | 1.7902 | 0.016705 | 0.74886 | 66508 | 4.8229 | 1.7787 | No | 1
14.7 | 14.0899 | 1.7781 | 1.7607 | 0.01648 | 0.73227 | 65095 | 4.8135 | 1.7509 | No | 1
14.7167 | 13.4799 | 1.7433 | 1.7226 | 0.016158 | 0.71594 | 63713 | 4.8042 | 1.7144 | No | 1
14.7333 | 12.8866 | 1.7018 | 1.6816 | 0.015773 | 0.69998 | 62362 | 4.7949 | 1.6751 | No | 1
14.75 | 12.3183 | 1.6614 | 1.6345 | 0.015399 | 0.68439 | 61040 | 4.7856 | 1.6295 | No | 1
14.7667 | 11.7844 | 1.6076 | 1.5852 | 0.0149 | 0.66923 | 59748 | 4.7763 | 1.5817 | No | 1
14.7833 | 11.2911 | 1.5629 | 1.5387 | 0.014485 | 0.65454 | 58484 | 4.767 | 1.5366 | No | 1
14.8 | 10.8419 | 1.5145 | 1.4978 | 0.014037 | 0.64027 | 57247 | 4.7578 | 1.4969 | No | 1
14.8167 | 10.438 | 1.481 | 1.4634 | 0.013726 | 0.62639 | 56038 | 4.7485 | 1.4638 | No | 1
14.8333 | 10.0737 | 1.4457 | 1.4307 | 0.0134 | 0.61282 | 54855 | 4.7392 | 1.4323 | No | 1
14.85 | 9.7467 | 1.4157 | 1.4051 | 0.013121 | 0.59956 | 53699 | 4.73 | 1.4079 | No | 1
14.8667 | 9.4569 | 1.3945 | 1.3895 | 0.012925 | 0.58653 | 52567 | 4.7207 | 1.3934 | No | 1
14.8833 | 9.201 | 1.3845 | 1.3746 | 0.012832 | 0.57365 | 51461 | 4.7115 | 1.3796 | No | 1
14.9 | 8.9722 | 1.3646 | 1.365 | 0.012648 | 0.56091 | 50378 | 4.7022 | 1.3711 | No | 1
14.9167 | 8.7663 | 1.3653 | 1.3629 | 0.012654 | 0.54826 | 49319 | 4.693 | 1.3702 | No | 1
14.9333 | 8.5774 | 1.3606 | 1.3647 | 0.01261 | 0.53562 | 48284 | 4.6838 | 1.3731 | No | 1
14.95 | 8.396 | 1.3688 | 1.3707 | 0.012687 | 0.52297 | 47270 | 4.6746 | 1.3803 | No | 1
14.9667 | 8.2212 | 1.3727 | 1.3805 | 0.012722 | 0.51026 | 46279 | 4.6654 | 1.3913 | No | 1
14.9833 | 8.0487 | 1.3884 | 1.3958 | 0.012868 | 0.49747 | 45310 | 4.6562 | 1.4079 | No | 1
15 | 7.8714 | 1.4032 | 1.414 | 0.013006 | 0.48453 | 44361 | 4.647 | 1.4274 | No | 1
15.0167 | 7.6888 | 1.4247 | 1.4395 | 0.013205 | 0.47142 | 43434 | 4.6378 | 1.4543 | No | 1
15.0333 | 7.4982 | 1.4542 | 1.468 | 0.013478 | 0.45807 | 42526 | 4.6287 | 1.4844 | No | 1
15.05 | 7.2952 | 1.4818 | 1.4905 | 0.013734 | 0.44446 | 41638 | 4.6195 | 1.5084 | No | 1
15.0667 | 7.0799 | 1.4993 | 1.5083 | 0.013896 | 0.43065 | 40769 | 4.6103 | 1.5277 | No | 1
15.0833 | 6.8522 | 1.5174 | 1.5227 | 0.014064 | 0.41666 | 39919 | 4.6012 | 1.5435 | No | 1
15.1 | 6.614 | 1.528 | 1.5285 | 0.014162 | 0.40255 | 39088 | 4.592 | 1.5507 | No | 1
15.1167 | 6.3655 | 1.5291 | 1.5305 | 0.014172 | 0.38838 | 38274 | 4.5829 | 1.554 | No | 1
15.1333 | 6.1048 | 1.532 | 1.5334 | 0.014199 | 0.37419 | 37478 | 4.5738 | 1.5582 | No | 1
15.15 | 5.8349 | 1.5349 | 1.5273 | 0.014226 | 0.35997 | 36700 | 4.5647 | 1.5532 | No | 1
15.1667 | 5.5608 | 1.5197 | 1.5133 | 0.014085 | 0.34582 | 35938 | 4.5556 | 1.5403 | No | 1
15.1833 | 5.2829 | 1.507 | 1.4963 | 0.013968 | 0.33179 | 35192 | 4.5464 | 1.5242 | No | 1
15.2 | 5.0024 | 1.4857 | 1.4718 | 0.01377 | 0.31791 | 34463 | 4.5374 | 1.5004 | No | 1
15.2167 | 4.7229 | 1.4579 | 1.4434 | 0.013513 | 0.30427 | 33749 | 4.5283 | 1.4727 | No | 1
15.2333 | 4.4471 | 1.4289 | 1.41 | 0.013244 | 0.29089 | 33050 | 4.5192 | 1.4398 | No | 1
15.25 | 4.1758 | 1.3911 | 1.374 | 0.012893 | 0.27782 | 32367 | 4.5101 | 1.4042 | No | 1
15.2667 | 3.9098 | 1.357 | 1.334 | 0.012577 | 0.26508 | 31698 | 4.501 | 1.3644 | No | 1
15.2833 | 3.6526 | 1.311 | 1.2866 | 0.012151 | 0.25271 | 31044 | 4.492 | 1.3169 | No | 1
15.3 | 3.4059 | 1.2621 | 1.2365 | 0.011698 | 0.24079 | 30403 | 4.4829 | 1.2667 | No | 1
15.3167 | 3.1697 | 1.2108 | 1.188 | 0.011223 | 0.22932 | 29777 | 4.4739 | 1.218 | No | 1
15.3333 | 2.9439 | 1.1651 | 1.1426 | 0.010798 | 0.21831 | 29163 | 4.4648 | 1.1724 | No | 1
15.35 | 2.7286 | 1.1201 | 1.0954 | 0.010381 | 0.20772 | 28563 | 4.4558 | 1.1248 | No | 1
15.3667 | 2.5256 | 1.0707 | 1.0428 | 0.0099233 | 0.19756 | 27976 | 4.4468 | 1.0717 | No | 1
15.3833 | 2.3386 | 1.015 | 0.98943 | 0.0094073 | 0.1879 | 27401 | 4.4378 | 1.0177 | No | 1
15.4 | 2.1629 | 0.96388 | 0.93986 | 0.0089337 | 0.17872 | 26838 | 4.4288 | 0.96748 | No | 1
15.4167 | 1.9968 | 0.91584 | 0.89303 | 0.0084884 | 0.17001 | 26288 | 4.4198 | 0.92001 | No | 1
15.4333 | 1.8444 | 0.87023 | 0.8446 | 0.0080657 | 0.16173 | 25749 | 4.4108 | 0.87082 | No | 1
15.45 | 1.7026 | 0.81898 | 0.79824 | 0.0075906 | 0.1539 | 25221 | 4.4018 | 0.82366 | No | 1
15.4667 | 1.5708 | 0.77749 | 0.75912 | 0.0072061 | 0.1465 | 24705 | 4.3928 | 0.78392 | No | 1
15.4833 | 1.4496 | 0.74074 | 0.72602 | 0.0068655 | 0.13947 | 24200 | 4.3838 | 0.75034 | No | 1
15.5 | 1.338 | 0.71131 | 0.69583 | 0.0065927 | 0.13274 | 23706 | 4.3749 | 0.71971 | No | 1
15.5167 | 1.234 | 0.68035 | 0.66663 | 0.0063058 | 0.12628 | 23222 | 4.3659 | 0.69005 | No | 1
15.5333 | 1.136 | 0.6529 | 0.64269 | 0.0060514 | 0.12011 | 22748 | 4.3569 | 0.6658 | No | 1
15.55 | 1.0456 | 0.63247 | 0.61623 | 0.005862 | 0.11415 | 22284 | 4.348 | 0.6389 | No | 1
15.5667 | 0.96332 | 0.59999 | 0.5836 | 0.005561 | 0.10843 | 21830 | 4.3391 | 0.60554 | No | 1
15.5833 | 0.88675 | 0.5672 | 0.55065 | 0.0052571 | 0.10302 | 21386 | 4.3301 | 0.57181 | No | 1
15.6 | 0.81389 | 0.53411 | 0.52145 | 0.0049503 | 0.09792 | 20951 | 4.3212 | 0.54191 | No | 1
15.6167 | 0.7483 | 0.5088 | 0.49606 | 0.0047157 | 0.093085 | 20525 | 4.3123 | 0.51594 | No | 1
15.6333 | 0.68668 | 0.48333 | 0.469 | 0.0044797 | 0.088487 | 20108 | 4.3034 | 0.48817 | No | 1
15.65 | 0.62565 | 0.45466 | 0.44018 | 0.004214 | 0.084139 | 19700 | 4.2945 | 0.45853 | No | 1
15.6667 | 0.57133 | 0.42569 | 0.41754 | 0.0039455 | 0.080058 | 19301 | 4.2856 | 0.43529 | No | 1
15.6833 | 0.52271 | 0.40938 | 0.39833 | 0.0037943 | 0.076188 | 18910 | 4.2767 | 0.41559 | No | 1
15.7 | 0.47673 | 0.38728 | 0.37843 | 0.0035894 | 0.072495 | 18527 | 4.2678 | 0.39514 | No | 1
15.7167 | 0.43194 | 0.36959 | 0.35946 | 0.0034255 | 0.068987 | 18152 | 4.2589 | 0.37561 | No | 1
15.7333 | 0.38959 | 0.34932 | 0.3417 | 0.0032376 | 0.065654 | 17785 | 4.2501 | 0.35734 | No | 1
15.75 | 0.35155 | 0.33408 | 0.32714 | 0.0030964 | 0.062487 | 17426 | 4.2412 | 0.34238 | No | 1
15.7667 | 0.31338 | 0.32021 | 0.31411 | 0.0029678 | 0.059454 | 17074 | 4.2323 | 0.329 | No | 1
15.7833 | 0.2756 | 0.30802 | 0.2975 | 0.0028549 | 0.056542 | 16730 | 4.2235 | 0.31184 | No | 1
15.8 | 0.24249 | 0.28698 | 0.28028 | 0.0026599 | 0.053784 | 16393 | 4.2147 | 0.29402 | No | 1
15.8167 | 0.21225 | 0.27357 | 0.26702 | 0.0025356 | 0.051186 | 16063 | 4.2058 | 0.28032 | No | 1
15.8333 | 0.18294 | 0.26047 | 0.25384 | 0.0024141 | 0.048711 | 15740 | 4.197 | 0.26669 | No | 1
15.85 | 0.15474 | 0.24721 | 0.24012 | 0.0022913 | 0.046357 | 15423 | 4.1882 | 0.25248 | No | 1
15.8667 | 0.12971 | 0.23304 | 0.2303 | 0.0021599 | 0.044131 | 15113 | 4.1794 | 0.24234 | No | 1
15.8833 | 0.10548 | 0.22756 | 0.21918 | 0.0021092 | 0.041996 | 14810 | 4.1706 | 0.23081 | No | 1
15.9 | 0.079683 | 0.2108 | 0.20669 | 0.0019538 | 0.039964 | 14513 | 4.1618 | 0.21782 | No | 1
15.9167 | 0.057696 | 0.20257 | 0.19793 | 0.0018776 | 0.038048 | 14222 | 4.153 | 0.20875 | No | 1
15.9333 | 0.039161 | 0.19329 | 0.18795 | 0.0017915 | 0.036213 | 13937 | 4.1442 | 0.19838 | No | 1
15.95 | 0.019121 | 0.18262 | 0.17813 | 0.0016926 | 0.034471 | 13658 | 4.1354 | 0.18816 | No | 1
15.9667 | 0.00052743 | 0.17364 | 0.16869 | 0.0016093 | 0.03282 | 13385 | 4.1266 | 0.17832 | No | 1
15.9833 | -0.01589 | 0.16374 | 0.15856 | 0.0015176 | 0.031256 | 13118 | 4.1179 | 0.16774 | No | 1
16 | -0.031379 | 0.15338 | 0.14637 | 0.0014216 | 0.029786 | 12856 | 4.1091 | 0.15496 | No | 1
16.0167 | -0.046985 | 0.13936 | 0.1367 | 0.0012916 | 0.028429 | 12599 | 4.1003 | 0.14483 | No | 1
16.0333 | -0.061552 | 0.13404 | 0.13069 | 0.0012423 | 0.027162 | 12348 | 4.0916 | 0.13857 | No | 1
16.05 | -0.074579 | 0.12734 | 0.12544 | 0.0011803 | 0.02595 | 12102 | 4.0829 | 0.13311 | No | 1
16.0667 | -0.08794 | 0.12355 | 0.12081 | 0.0011451 | 0.024787 | 11861 | 4.0741 | 0.12829 | No | 1
16.0833 | -0.10164 | 0.11807 | 0.11678 | 0.0010943 | 0.023668 | 11625 | 4.0654 | 0.12411 | No | 1
16.1 | -0.11442 | 0.11549 | 0.11474 | 0.0010705 | 0.022585 | 11394 | 4.0567 | 0.12203 | No | 1
16.1167 | -0.12485 | 0.11399 | 0.11575 | 0.0010565 | 0.021521 | 11168 | 4.048 | 0.1232 | No | 1
16.1333 | -0.13459 | 0.11751 | 0.11707 | 0.0010892 | 0.020448 | 10946 | 4.0393 | 0.12469 | No | 1
16.15 | -0.14555 | 0.11662 | 0.11762 | 0.0010809 | 0.019363 | 10729 | 4.0306 | 0.12537 | No | 1
16.1667 | -0.15492 | 0.11862 | 0.1168 | 0.0010994 | 0.018273 | 10516 | 4.0219 | 0.12459 | No | 1
16.1833 | -0.16363 | 0.11498 | 0.11415 | 0.0010656 | 0.01719 | 10308 | 4.0132 | 0.12185 | No | 1
16.2 | -0.17236 | 0.11331 | 0.10844 | 0.0010503 | 0.016132 | 10104 | 4.0045 | 0.11585 | No | 1
16.2167 | -0.17911 | 0.10357 | 0.10426 | 0.00095991 | 0.015126 | 9904 | 3.9958 | 0.11147 | No | 1
16.2333 | -0.1849 | 0.10496 | 0.10237 | 0.0009728 | 0.01416 | 9709 | 3.9872 | 0.10953 | No | 1
16.25 | -0.19187 | 0.099789 | 0.095984 | 0.00092489 | 0.013211 | 9517 | 3.9785 | 0.10277 | No | 1
16.2667 | -0.19772 | 0.092178 | 0.089974 | 0.00085434 | 0.012321 | 9329 | 3.9698 | 0.096406 | No | 1
16.2833 | -0.20182 | 0.087771 | 0.087322 | 0.0008135 | 0.011487 | 9145 | 3.9612 | 0.093633 | No | 1
16.3 | -0.20599 | 0.086874 | 0.08467 | 0.00080518 | 0.010677 | 8965 | 3.9526 | 0.090857 | No | 1
16.3167 | -0.21028 | 0.082467 | 0.078585 | 0.00076434 | 0.0098924 | 8788 | 3.9439 | 0.084389 | No | 1
16.3333 | -0.21493 | 0.074703 | 0.072423 | 0.00069238 | 0.0091639 | 8616 | 3.9353 | 0.077829 | No | 1
16.35 | -0.21968 | 0.070144 | 0.072823 | 0.00065012 | 0.0084925 | 8446 | 3.9267 | 0.078316 | No | 1
16.3667 | -0.22267 | 0.075502 | 0.073757 | 0.00069979 | 0.0078174 | 8280 | 3.918 | 0.079378 | No | 1
16.3833 | -0.22551 | 0.072011 | 0.066069 | 0.00066743 | 0.0071336 | 8118 | 3.9094 | 0.071157 | No | 1
16.4 | -0.2312 | 0.060127 | 0.058763 | 0.00055729 | 0.0065211 | 7958 | 3.9008 | 0.063335 | No | 1
16.4167 | -0.23572 | 0.057399 | 0.057027 | 0.000532 | 0.0059764 | 7802 | 3.8922 | 0.061508 | No | 1
16.4333 | -0.23709 | 0.056654 | 0.054069 | 0.0005251 | 0.0054477 | 7650 | 3.8837 | 0.05836 | No | 1
16.45 | -0.2358 | 0.051484 | 0.048823 | 0.00047718 | 0.0049465 | 7500 | 3.8751 | 0.052736 | No | 1
16.4667 | -0.23629 | 0.046162 | 0.045332 | 0.00042785 | 0.0044939 | 7353 | 3.8665 | 0.049001 | No | 1
16.4833 | -0.23932 | 0.044502 | 0.042298 | 0.00041246 | 0.0040736 | 7209 | 3.8579 | 0.045755 | No | 1
16.5 | -0.23985 | 0.040095 | 0.041248 | 0.00037162 | 0.0036815 | 7069 | 3.8494 | 0.044651 | No | 1
16.5167 | -0.23865 | 0.042402 | 0.041343 | 0.000393 | 0.0032991 | 6931 | 3.8408 | 0.044786 | No | 1
16.5333 | -0.23849 | 0.040284 | 0.042811 | 0.00037337 | 0.0029159 | 6795 | 3.8322 | 0.046409 | No | 1
16.55 | -0.23951 | 0.045337 | 0.043439 | 0.00042021 | 0.002519 | 6663 | 3.8237 | 0.047124 | No | 1
16.5667 | -0.24076 | 0.041541 | 0.042313 | 0.00038502 | 0.0021163 | 6533 | 3.8151 | 0.045935 | No | 1
16.5833 | -0.24119 | 0.043085 | 0.04195 | 0.00039933 | 0.001724 | 6406 | 3.8066 | 0.045574 | No | 1
16.6 | -0.23936 | 0.040814 | 0.042807 | 0.00037828 | 0.0013352 | 6281 | 3.798 | 0.046538 | No | 1
16.6167 | -0.23765 | 0.0448 | 0.037866 | 0.00041522 | 0.00093832 | 6159 | 3.7895 | 0.041196 | No | 1
16.6333 | -0.23589 | 0.030932 | 0.032162 | 0.00028669 | 0.00058729 | 6040 | 3.781 | 0.035016 | No | 1
16.65 | -0.23278 | 0.033392 | 0.031189 | 0.00030949 | 0.00028913 | 5923 | 3.7725 | 0.03398 | No | 1
16.6667 | -0.23176 | 0.028985 | 0 | 0.00026865 | 0 | 5808 | 3.764 | 0 | No | 1