## Sample Details
Administrative Information
Export date | 25 May 2022 15:45:57
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0004.sample
Creation date | 25 May 2022 10:57:58
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t7=150 min
Information
Sample type | Sample
Injection date | 25 May 2022
Vial number | P2-A-5
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.010305 | 10.0597
0.016667 | -0.013774 | 10.0597
0.033333 | -0.013228 | 9.9787
0.05 | -0.0080519 | 9.7547
0.066667 | 0.0012221 | 9.753
0.083333 | 0.0070164 | 9.8116
0.1 | 0.0052865 | 9.8769
0.11667 | -0.00065776 | 9.9441
0.13333 | -0.0044323 | 9.9831
0.15 | -0.005851 | 10.0101
0.16667 | -0.0063336 | 10.0233
0.18333 | -0.0057504 | 10.032
0.2 | -0.0053037 | 10.042
0.21667 | -0.0055339 | 10.0462
0.23333 | -0.0048349 | 10.0481
0.25 | -0.0039093 | 10.0571
0.26667 | -0.0057382 | 10.0559
0.28333 | -0.0076941 | 10.0571
0.3 | -0.0086859 | 10.0541
0.31667 | -0.0074491 | 10.0611
0.33333 | -0.005106 | 10.0649
0.35 | -0.0052229 | 10.0594
0.36667 | -0.0048811 | 10.0599
0.38333 | -0.0041027 | 10.0591
0.4 | -0.0048489 | 10.0651
0.41667 | -0.0053661 | 10.0645
0.43333 | -0.0048812 | 10.0614
0.45 | -0.0045067 | 10.0645
0.46667 | -0.0054554 | 10.0654
0.48333 | -0.0047982 | 10.0625
0.5 | -0.0028454 | 10.0628
0.51667 | -0.0037173 | 10.0634
0.53333 | -0.0052053 | 10.0655
0.55 | -0.0027196 | 10.0576
0.56667 | -0.00063686 | 10.0614
0.58333 | -0.0029122 | 10.0643
0.6 | -0.0044212 | 10.0677
0.61667 | -0.0033844 | 10.0631
0.63333 | -0.0029229 | 10.0687
0.65 | -0.0032323 | 10.0629
0.66667 | -0.0053859 | 10.0576
0.68333 | -0.0087684 | 10.0613
0.7 | -0.010498 | 10.066
0.71667 | -0.011683 | 10.0727
0.73333 | -0.012627 | 10.0692
0.75 | -0.011496 | 10.0649
0.76667 | -0.0087815 | 10.0713
0.78333 | -0.0082986 | 10.0727
0.8 | -0.0095041 | 10.0674
0.81667 | -0.0093279 | 10.0677
0.83333 | -0.0086494 | 10.0652
0.85 | -0.0095476 | 10.0637
0.86667 | -0.012281 | 10.0654
0.88333 | -0.010993 | 10.068
0.9 | -0.0081732 | 10.0729
0.91667 | -0.0078544 | 10.0768
0.93333 | -0.0084211 | 10.068
0.95 | -0.0091567 | 10.0706
0.96667 | -0.0090879 | 10.0576
0.98333 | -0.0082919 | 10.0603
1 | -0.01006 | 10.0622
1.0167 | -0.012024 | 10.0605
1.0333 | -0.011533 | 10.0657
1.05 | -0.011242 | 10.0661
1.0667 | -0.010065 | 10.0626
1.0833 | -0.0096672 | 10.0648
1.1 | -0.011868 | 10.0585
1.1167 | -0.013673 | 10.0507
1.1333 | -0.013734 | 10.0504
1.15 | -0.012987 | 10.0513
1.1667 | -0.011981 | 10.0558
1.1833 | -0.012807 | 10.057
1.2 | -0.013595 | 10.0626
1.2167 | -0.012875 | 10.0626
1.2333 | -0.011503 | 10.0613
1.25 | -0.010947 | 10.0581
1.2667 | -0.01188 | 10.0542
1.2833 | -0.013101 | 10.057
1.3 | -0.014751 | 10.0585
1.3167 | -0.013876 | 10.0541
1.3333 | -0.012115 | 10.0584
1.35 | -0.012446 | 10.0584
1.3667 | -0.012387 | 10.0636
1.3833 | -0.013735 | 10.0652
1.4 | -0.015363 | 10.0707
1.4167 | -0.015101 | 10.0658
1.4333 | -0.014629 | 10.0697
1.45 | -0.013915 | 10.0697
1.4667 | -0.014728 | 10.0687
1.4833 | -0.018152 | 10.0661
1.5 | -0.020356 | 10.0593
1.5167 | -0.019526 | 10.0582
1.5333 | -0.01681 | 10.0565
1.55 | -0.013999 | 10.0547
1.5667 | -0.012551 | 10.0512
1.5833 | -0.015041 | 10.0547
1.6 | -0.017452 | 10.05
1.6167 | -0.015964 | 10.0518
1.6333 | -0.014149 | 10.0504
1.65 | -0.014067 | 10.0411
1.6667 | -0.013508 | 10.0454
1.6833 | -0.01244 | 10.055
1.7 | -0.01142 | 10.043
1.7167 | -0.010355 | 10.0494
1.7333 | -0.0099837 | 10.0416
1.75 | -0.011112 | 10.0353
1.7667 | -0.010906 | 10.0379
1.7833 | -0.0094699 | 10.0324
1.8 | -0.0089163 | 10.0324
1.8167 | -0.010342 | 10.0426
1.8333 | -0.011842 | 10.0439
1.85 | -0.011227 | 10.0355
1.8667 | -0.0096674 | 10.0355
1.8833 | -0.011253 | 10.0369
1.9 | -0.013824 | 10.0376
1.9167 | -0.014258 | 10.0481
1.9333 | -0.013296 | 10.0471
1.95 | -0.012163 | 10.0471
1.9667 | -0.013512 | 10.0483
1.9833 | -0.014224 | 10.0465
2 | -0.013251 | 10.0523
2.0167 | -0.013249 | 10.0471
2.0333 | -0.011884 | 10.0491
2.05 | -0.011294 | 10.0446
2.0667 | -0.011985 | 10.0492
2.0833 | -0.011961 | 10.0495
2.1 | -0.012671 | 10.0497
2.1167 | -0.013184 | 10.0483
2.1333 | -0.015364 | 10.0492
2.15 | -0.017758 | 10.0407
2.1667 | -0.018598 | 10.0472
2.1833 | -0.017994 | 10.0393
2.2 | -0.017275 | 10.0414
2.2167 | -0.017863 | 10.0343
2.2333 | -0.017269 | 10.0414
2.25 | -0.016689 | 10.0436
2.2667 | -0.016436 | 10.0455
2.2833 | -0.015131 | 10.0335
2.3 | -0.014831 | 10.0266
2.3167 | -0.014741 | 10.0277
2.3333 | -0.014259 | 10.0289
2.35 | -0.014716 | 10.0263
2.3667 | -0.016783 | 10.0262
2.3833 | -0.017672 | 10.0204
2.4 | -0.015947 | 10.0208
2.4167 | -0.014051 | 10.0199
2.4333 | -0.014472 | 10.0175
2.45 | -0.015461 | 10.0263
2.4667 | -0.013299 | 10.0286
2.4833 | -0.011847 | 10.0271
2.5 | -0.013336 | 10.0254
2.5167 | -0.014357 | 10.0309
2.5333 | -0.014916 | 10.0295
2.55 | -0.016432 | 10.0336
2.5667 | -0.017897 | 10.0387
2.5833 | -0.017971 | 10.0416
2.6 | -0.017239 | 10.0425
2.6167 | -0.017439 | 10.0365
2.6333 | -0.017274 | 10.0396
2.65 | -0.015945 | 10.0437
2.6667 | -0.016753 | 10.0426
2.6833 | -0.018965 | 10.0477
2.7 | -0.019596 | 10.0448
2.7167 | -0.020124 | 10.0451
2.7333 | -0.020343 | 10.0425
2.75 | -0.019092 | 10.0472
2.7667 | -0.017671 | 10.0597
2.7833 | -0.017796 | 10.0546
2.8 | -0.018391 | 10.0483
2.8167 | -0.019199 | 10.0382
2.8333 | -0.020469 | 10.0463
2.85 | -0.020311 | 10.0445
2.8667 | -0.019066 | 10.0401
2.8833 | -0.018036 | 10.0405
2.9 | -0.01792 | 10.0419
2.9167 | -0.019051 | 10.0358
2.9333 | -0.021233 | 10.0431
2.95 | -0.022823 | 10.0462
2.9667 | -0.021572 | 10.0463
2.9833 | -0.018547 | 10.0507
3 | -0.01693 | 10.0501
3.0167 | -0.017453 | 10.0451
3.0333 | -0.016756 | 10.0436
3.05 | -0.015727 | 10.0484
3.0667 | -0.01736 | 10.0581
3.0833 | -0.019267 | 10.0553
3.1 | -0.019056 | 10.0568
3.1167 | -0.018066 | 10.0546
3.1333 | -0.018561 | 10.0477
3.15 | -0.01884 | 10.0477
3.1667 | -0.018861 | 10.0558
3.1833 | -0.020184 | 10.0611
3.2 | -0.021393 | 10.0582
3.2167 | -0.020756 | 10.0533
3.2333 | -0.01831 | 10.0509
3.25 | -0.016392 | 10.0558
3.2667 | -0.017826 | 10.0607
3.2833 | -0.01716 | 10.0617
3.3 | -0.014257 | 10.0587
3.3167 | -0.011165 | 10.0542
3.3333 | -0.0095198 | 10.0607
3.35 | -0.01133 | 10.0593
3.3667 | -0.014014 | 10.0584
3.3833 | -0.01621 | 10.0607
3.4 | -0.017018 | 10.0571
3.4167 | -0.017948 | 10.0594
3.4333 | -0.018993 | 10.0663
3.45 | -0.01876 | 10.069
3.4667 | -0.017029 | 10.0661
3.4833 | -0.015345 | 10.0643
3.5 | -0.016362 | 10.0652
3.5167 | -0.01747 | 10.0704
3.5333 | -0.0166 | 10.0671
3.55 | -0.017259 | 10.0581
3.5667 | -0.018883 | 10.0544
3.5833 | -0.017667 | 10.0546
3.6 | -0.017116 | 10.0573
3.6167 | -0.018672 | 10.0565
3.6333 | -0.019237 | 10.057
3.65 | -0.019066 | 10.0614
3.6667 | -0.016804 | 10.0573
3.6833 | -0.015375 | 10.0579
3.7 | -0.01599 | 10.051
3.7167 | -0.017492 | 10.0524
3.7333 | -0.019441 | 10.0477
3.75 | -0.019245 | 10.0439
3.7667 | -0.018856 | 10.0484
3.7833 | -0.020493 | 10.0434
3.8 | -0.020836 | 10.0399
3.8167 | -0.020423 | 10.0449
3.8333 | -0.021271 | 10.0442
3.85 | -0.02043 | 10.0431
3.8667 | -0.020175 | 10.0507
3.8833 | -0.020972 | 10.0526
3.9 | -0.021226 | 10.0559
3.9167 | -0.02052 | 10.0542
3.9333 | -0.018429 | 10.0581
3.95 | -0.01799 | 10.0515
3.9667 | -0.01779 | 10.0486
3.9833 | -0.017562 | 10.0475
4 | -0.018496 | 10.0477
4.0167 | -0.019228 | 10.048
4.0333 | -0.019343 | 10.0388
4.05 | -0.017907 | 10.044
4.0667 | -0.016424 | 10.0367
4.0833 | -0.016139 | 10.0274
4.1 | -0.016095 | 10.0251
4.1167 | -0.016472 | 10.0272
4.1333 | -0.01813 | 10.0274
4.15 | -0.02089 | 10.0269
4.1667 | -0.020992 | 10.0275
4.1833 | -0.020404 | 10.024
4.2 | -0.02185 | 10.0277
4.2167 | -0.020986 | 10.0335
4.2333 | -0.020039 | 10.0227
4.25 | -0.019476 | 10.0201
4.2667 | -0.018408 | 10.0245
4.2833 | -0.017439 | 10.0333
4.3 | -0.017425 | 10.0343
4.3167 | -0.018338 | 10.0472
4.3333 | -0.018134 | 10.0369
4.35 | -0.01823 | 10.0423
4.3667 | -0.018276 | 10.0408
4.3833 | -0.019445 | 10.0471
4.4 | -0.019486 | 10.0529
4.4167 | -0.018649 | 10.0497
4.4333 | -0.01938 | 10.0506
4.45 | -0.020736 | 10.0546
4.4667 | -0.021652 | 10.0552
4.4833 | -0.019575 | 10.0544
4.5 | -0.016335 | 10.051
4.5167 | -0.014034 | 10.0457
4.5333 | -0.012968 | 10.0407
4.55 | -0.014804 | 10.0283
4.5667 | -0.015835 | 10.0341
4.5833 | -0.014287 | 10.033
4.6 | -0.015042 | 10.0378
4.6167 | -0.017023 | 10.0292
4.6333 | -0.016379 | 10.0304
4.65 | -0.015623 | 10.0231
4.6667 | -0.015834 | 10.0304
4.6833 | -0.016654 | 10.0254
4.7 | -0.016945 | 10.0292
4.7167 | -0.015965 | 10.0349
4.7333 | -0.015687 | 10.0408
4.75 | -0.017618 | 10.0318
4.7667 | -0.018087 | 10.0359
4.7833 | -0.017206 | 10.0385
4.8 | -0.016371 | 10.0376
4.8167 | -0.015969 | 10.0224
4.8333 | -0.015843 | 10.0225
4.85 | -0.014527 | 10.0175
4.8667 | -0.015092 | 10.0208
4.8833 | -0.018177 | 10.0167
4.9 | -0.019331 | 10.0243
4.9167 | -0.018293 | 10.0217
4.9333 | -0.017635 | 10.0211
4.95 | -0.018426 | 10.019
4.9667 | -0.019305 | 10.0137
4.9833 | -0.019034 | 10.0175
5 | -0.018561 | 10.0149
5.0167 | -0.018723 | 10.0271
5.0333 | -0.020733 | 10.0172
5.05 | -0.019946 | 10.0213
5.0667 | -0.016206 | 10.022
5.0833 | -0.01612 | 10.0207
5.1 | -0.018392 | 10.0155
5.1167 | -0.019019 | 10.0184
5.1333 | -0.019255 | 10.0239
5.15 | -0.021101 | 10.0291
5.1667 | -0.021474 | 10.0211
5.1833 | -0.020932 | 10.0213
5.2 | -0.020745 | 10.0192
5.2167 | -0.021256 | 10.0187
5.2333 | -0.02086 | 10.0127
5.25 | -0.019688 | 10.0144
5.2667 | -0.020121 | 10.0121
5.2833 | -0.02034 | 10.017
5.3 | -0.020188 | 10.0196
5.3167 | -0.02045 | 10.0135
5.3333 | -0.019765 | 10.0202
5.35 | -0.019907 | 10.0161
5.3667 | -0.021817 | 10.0105
5.3833 | -0.022042 | 10.0124
5.4 | -0.020786 | 10.0135
5.4167 | -0.020442 | 10.0195
5.4333 | -0.020435 | 10.0182
5.45 | -0.020934 | 10.0138
5.4667 | -0.022551 | 10.0184
5.4833 | -0.024662 | 10.0228
5.5 | -0.02469 | 10.03
5.5167 | -0.022767 | 10.0356
5.5333 | -0.022215 | 10.0365
5.55 | -0.023295 | 10.0303
5.5667 | -0.024494 | 10.0228
5.5833 | -0.022948 | 10.0192
5.6 | -0.020783 | 10.0262
5.6167 | -0.020724 | 10.0219
5.6333 | -0.021092 | 10.0269
5.65 | -0.021041 | 10.0306
5.6667 | -0.021184 | 10.0294
5.6833 | -0.022646 | 10.0222
5.7 | -0.023591 | 10.0234
5.7167 | -0.023719 | 10.017
5.7333 | -0.023346 | 10.0176
5.75 | -0.022204 | 10.0257
5.7667 | -0.022048 | 10.0332
5.7833 | -0.02217 | 10.0379
5.8 | -0.021983 | 10.0321
5.8167 | -0.019899 | 10.0318
5.8333 | -0.018585 | 10.0347
5.85 | -0.019518 | 10.0384
5.8667 | -0.01974 | 10.0332
5.8833 | -0.020046 | 10.0243
5.9 | -0.020799 | 10.0216
5.9167 | -0.019545 | 10.0227
5.9333 | -0.016227 | 10.0309
5.95 | -0.014654 | 10.0312
5.9667 | -0.016432 | 10.0362
5.9833 | -0.019453 | 10.0407
6 | -0.020469 | 10.0416
6.0167 | -0.019148 | 10.0411
6.0333 | -0.017853 | 10.0379
6.05 | -0.018241 | 10.0355
6.0667 | -0.020069 | 10.0355
6.0833 | -0.021268 | 10.0356
6.1 | -0.021232 | 10.0307
6.1167 | -0.020769 | 10.0321
6.1333 | -0.020275 | 10.0372
6.15 | -0.020377 | 10.0347
6.1667 | -0.020039 | 10.0387
6.1833 | -0.020123 | 10.0378
6.2 | -0.019891 | 10.0405
6.2167 | -0.019009 | 10.041
6.2333 | -0.0204 | 10.039
6.25 | -0.02214 | 10.0355
6.2667 | -0.021967 | 10.0405
6.2833 | -0.021931 | 10.0347
6.3 | -0.023337 | 10.0442
6.3167 | -0.022202 | 10.0419
6.3333 | -0.020882 | 10.044
6.35 | -0.021359 | 10.0401
6.3667 | -0.022265 | 10.0419
6.3833 | -0.022251 | 10.0494
6.4 | -0.0225 | 10.0553
6.4167 | -0.022704 | 10.0524
6.4333 | -0.02044 | 10.053
6.45 | -0.019185 | 10.0426
6.4667 | -0.019954 | 10.0375
6.4833 | -0.018382 | 10.0379
6.5 | -0.015393 | 10.0469
6.5167 | -0.014263 | 10.0488
6.5333 | -0.010491 | 10.0546
6.55 | -0.0013967 | 10.0521
6.5667 | 0.011683 | 10.0471
6.5833 | 0.030461 | 10.0475
6.6 | 0.062189 | 10.0448
6.6167 | 0.11132 | 10.0497
6.6333 | 0.18105 | 10.0578
6.65 | 0.27759 | 10.0556
6.6667 | 0.40686 | 10.0526
6.6833 | 0.57559 | 10.0617
6.7 | 0.79164 | 10.0671
6.7167 | 1.0613 | 10.0588
6.7333 | 1.3912 | 10.0582
6.75 | 1.7831 | 10.0614
6.7667 | 2.2311 | 10.051
6.7833 | 2.7336 | 10.0521
6.8 | 3.2904 | 10.0498
6.8167 | 3.8886 | 10.0584
6.8333 | 4.5157 | 10.0593
6.85 | 5.1594 | 10.0663
6.8667 | 5.8066 | 10.0643
6.8833 | 6.4445 | 10.0712
6.9 | 7.0604 | 10.0694
6.9167 | 7.6416 | 10.0713
6.9333 | 8.1762 | 10.0718
6.95 | 8.6577 | 10.0857
6.9667 | 9.0836 | 10.0796
6.9833 | 9.4494 | 10.082
7 | 9.7532 | 10.0817
7.0167 | 9.9946 | 10.0867
7.0333 | 10.1741 | 10.0922
7.05 | 10.295 | 10.0993
7.0667 | 10.3642 | 10.1035
7.0833 | 10.3883 | 10.1098
7.1 | 10.371 | 10.1167
7.1167 | 10.3181 | 10.1147
7.1333 | 10.2361 | 10.1162
7.15 | 10.1279 | 10.1112
7.1667 | 9.9981 | 10.1118
7.1833 | 9.8519 | 10.1098
7.2 | 9.6943 | 10.1106
7.2167 | 9.5285 | 10.1096
7.2333 | 9.354 | 10.1121
7.25 | 9.1757 | 10.1089
7.2667 | 8.9968 | 10.1157
7.2833 | 8.8169 | 10.1258
7.3 | 8.636 | 10.1167
7.3167 | 8.4561 | 10.1159
7.3333 | 8.2806 | 10.113
7.35 | 8.1108 | 10.1066
7.3667 | 7.9456 | 10.1067
7.3833 | 7.7812 | 10.102
7.4 | 7.6175 | 10.1005
7.4167 | 7.4578 | 10.1002
7.4333 | 7.3051 | 10.1008
7.45 | 7.1564 | 10.0965
7.4667 | 7.0095 | 10.0929
7.4833 | 6.8671 | 10.0948
7.5 | 6.7299 | 10.0959
7.5167 | 6.5956 | 10.0881
7.5333 | 6.4656 | 10.0863
7.55 | 6.3381 | 10.0872
7.5667 | 6.2121 | 10.0822
7.5833 | 6.0913 | 10.0806
7.6 | 5.976 | 10.078
7.6167 | 5.8654 | 10.0788
7.6333 | 5.7566 | 10.0755
7.65 | 5.6477 | 10.0817
7.6667 | 5.5417 | 10.0837
7.6833 | 5.44 | 10.0816
7.7 | 5.3405 | 10.0819
7.7167 | 5.2433 | 10.0848
7.7333 | 5.1485 | 10.0816
7.75 | 5.0561 | 10.0837
7.7667 | 4.9657 | 10.0863
7.7833 | 4.8769 | 10.0898
7.8 | 4.7903 | 10.0944
7.8167 | 4.7057 | 10.0912
7.8333 | 4.6237 | 10.0964
7.85 | 4.5442 | 10.0941
7.8667 | 4.4672 | 10.0932
7.8833 | 4.3913 | 10.0938
7.9 | 4.3176 | 10.0912
7.9167 | 4.247 | 10.0942
7.9333 | 4.1771 | 10.0976
7.95 | 4.1086 | 10.0947
7.9667 | 4.0417 | 10.0986
7.9833 | 3.976 | 10.0997
8 | 3.9132 | 10.1022
8.0167 | 3.8536 | 10.0988
8.0333 | 3.7949 | 10.0976
8.05 | 3.7357 | 10.0922
8.0667 | 3.6791 | 10.0945
8.0833 | 3.6236 | 10.09
8.1 | 3.5694 | 10.0918
8.1167 | 3.5174 | 10.0834
8.1333 | 3.465 | 10.086
8.15 | 3.4133 | 10.0845
8.1667 | 3.3623 | 10.088
8.1833 | 3.3113 | 10.0947
8.2 | 3.2631 | 10.0999
8.2167 | 3.2178 | 10.0954
8.2333 | 3.1711 | 10.0982
8.25 | 3.1227 | 10.0976
8.2667 | 3.0756 | 10.097
8.2833 | 3.0278 | 10.0956
8.3 | 2.9813 | 10.0922
8.3167 | 2.9376 | 10.0886
8.3333 | 2.8929 | 10.0904
8.35 | 2.8482 | 10.0848
8.3667 | 2.805 | 10.08
8.3833 | 2.762 | 10.0768
8.4 | 2.7199 | 10.0803
8.4167 | 2.6803 | 10.0829
8.4333 | 2.6413 | 10.0851
8.45 | 2.6009 | 10.0817
8.4667 | 2.5614 | 10.0802
8.4833 | 2.5231 | 10.0872
8.5 | 2.4872 | 10.0893
8.5167 | 2.4515 | 10.0887
8.5333 | 2.4153 | 10.0912
8.55 | 2.3799 | 10.0913
8.5667 | 2.3446 | 10.0848
8.5833 | 2.308 | 10.0884
8.6 | 2.2742 | 10.0907
8.6167 | 2.2445 | 10.0904
8.6333 | 2.2143 | 10.1008
8.65 | 2.1825 | 10.1054
8.6667 | 2.1527 | 10.0993
8.6833 | 2.1259 | 10.0974
8.7 | 2.0994 | 10.1017
8.7167 | 2.0723 | 10.1054
8.7333 | 2.0465 | 10.0932
8.75 | 2.0216 | 10.0919
8.7667 | 1.9954 | 10.0961
8.7833 | 1.9706 | 10.0999
8.8 | 1.9487 | 10.0936
8.8167 | 1.9292 | 10.0916
8.8333 | 1.9105 | 10.0898
8.85 | 1.8934 | 10.0927
8.8667 | 1.8761 | 10.09
8.8833 | 1.8581 | 10.0881
8.9 | 1.8423 | 10.0896
8.9167 | 1.8282 | 10.0945
8.9333 | 1.8166 | 10.0959
8.95 | 1.8104 | 10.0895
8.9667 | 1.8103 | 10.0877
8.9833 | 1.8121 | 10.0884
9 | 1.8148 | 10.0935
9.0167 | 1.8195 | 10.0973
9.0333 | 1.8289 | 10.0912
9.05 | 1.8408 | 10.0854
9.0667 | 1.8536 | 10.0851
9.0833 | 1.8685 | 10.0814
9.1 | 1.8844 | 10.078
9.1167 | 1.9007 | 10.0777
9.1333 | 1.9169 | 10.0855
9.15 | 1.9317 | 10.0831
9.1667 | 1.9444 | 10.0785
9.1833 | 1.9549 | 10.0822
9.2 | 1.9647 | 10.0881
9.2167 | 1.9719 | 10.0863
9.2333 | 1.9757 | 10.0803
9.25 | 1.9768 | 10.0912
9.2667 | 1.9734 | 10.0904
9.2833 | 1.9664 | 10.0904
9.3 | 1.9592 | 10.0892
9.3167 | 1.9518 | 10.0887
9.3333 | 1.9424 | 10.0861
9.35 | 1.9283 | 10.09
9.3667 | 1.9082 | 10.0805
9.3833 | 1.8873 | 10.0831
9.4 | 1.8661 | 10.0828
9.4167 | 1.8438 | 10.088
9.4333 | 1.8212 | 10.0854
9.45 | 1.7968 | 10.0901
9.4667 | 1.7706 | 10.0892
9.4833 | 1.7438 | 10.086
9.5 | 1.7182 | 10.0883
9.5167 | 1.6917 | 10.095
9.5333 | 1.6631 | 10.0889
9.55 | 1.6355 | 10.0854
9.5667 | 1.6084 | 10.0832
9.5833 | 1.5824 | 10.0858
9.6 | 1.5564 | 10.0811
9.6167 | 1.5293 | 10.0822
9.6333 | 1.5047 | 10.0785
9.65 | 1.4808 | 10.0745
9.6667 | 1.4552 | 10.071
9.6833 | 1.4303 | 10.071
9.7 | 1.4079 | 10.0697
9.7167 | 1.3855 | 10.0738
9.7333 | 1.3621 | 10.0779
9.75 | 1.34 | 10.0727
9.7667 | 1.3184 | 10.0762
9.7833 | 1.2975 | 10.0777
9.8 | 1.2794 | 10.0793
9.8167 | 1.2609 | 10.0813
9.8333 | 1.24 | 10.0835
9.85 | 1.2207 | 10.0823
9.8667 | 1.203 | 10.0852
9.8833 | 1.1837 | 10.09
9.9 | 1.1639 | 10.0881
9.9167 | 1.1474 | 10.089
9.9333 | 1.1332 | 10.0974
9.95 | 1.118 | 10.0913
9.9667 | 1.1023 | 10.0957
9.9833 | 1.0857 | 10.093
10 | 1.069 | 10.0973
10.0167 | 1.0552 | 10.1017
10.0333 | 1.041 | 10.1044
10.05 | 1.0264 | 10.1073
10.0667 | 1.0127 | 10.1118
10.0833 | 0.99909 | 10.1119
10.1 | 0.98566 | 10.0988
10.1167 | 0.97292 | 10.1011
10.1333 | 0.96126 | 10.0968
10.15 | 0.9495 | 10.0965
10.1667 | 0.93677 | 10.0878
10.1833 | 0.92412 | 10.0938
10.2 | 0.91188 | 10.0907
10.2167 | 0.90093 | 10.0877
10.2333 | 0.89249 | 10.0864
10.25 | 0.88452 | 10.0843
10.2667 | 0.87397 | 10.0793
10.2833 | 0.8621 | 10.0843
10.3 | 0.85047 | 10.0874
10.3167 | 0.8391 | 10.0957
10.3333 | 0.82936 | 10.0881
10.35 | 0.8215 | 10.089
10.3667 | 0.81357 | 10.0916
10.3833 | 0.80429 | 10.0861
10.4 | 0.79634 | 10.0787
10.4167 | 0.78863 | 10.0822
10.4333 | 0.78065 | 10.0893
10.45 | 0.77459 | 10.0811
10.4667 | 0.7672 | 10.078
10.4833 | 0.75818 | 10.0802
10.5 | 0.75043 | 10.0756
10.5167 | 0.74361 | 10.0741
10.5333 | 0.7375 | 10.0811
10.55 | 0.73179 | 10.0793
10.5667 | 0.72565 | 10.0777
10.5833 | 0.71967 | 10.0767
10.6 | 0.71198 | 10.0779
10.6167 | 0.70502 | 10.0765
10.6333 | 0.69966 | 10.0826
10.65 | 0.69294 | 10.0753
10.6667 | 0.68518 | 10.0776
10.6833 | 0.6786 | 10.0748
10.7 | 0.67331 | 10.0788
10.7167 | 0.66608 | 10.0793
10.7333 | 0.65875 | 10.0748
10.75 | 0.65439 | 10.0733
10.7667 | 0.65039 | 10.0712
10.7833 | 0.6471 | 10.0681
10.8 | 0.64279 | 10.0629
10.8167 | 0.6367 | 10.0652
10.8333 | 0.63265 | 10.0646
10.85 | 0.62934 | 10.0694
10.8667 | 0.6229 | 10.0758
10.8833 | 0.61556 | 10.0704
10.9 | 0.61118 | 10.0642
10.9167 | 0.60978 | 10.0628
10.9333 | 0.6079 | 10.059
10.95 | 0.60235 | 10.061
10.9667 | 0.59709 | 10.0623
10.9833 | 0.59489 | 10.0655
11 | 0.59172 | 10.062
11.0167 | 0.58569 | 10.0622
11.0333 | 0.57851 | 10.0619
11.05 | 0.57381 | 10.066
11.0667 | 0.57172 | 10.0623
11.0833 | 0.56768 | 10.069
11.1 | 0.56283 | 10.0683
11.1167 | 0.55993 | 10.0619
11.1333 | 0.55631 | 10.0582
11.15 | 0.55155 | 10.062
11.1667 | 0.54814 | 10.0584
11.1833 | 0.54737 | 10.0642
11.2 | 0.54624 | 10.0692
11.2167 | 0.54351 | 10.0665
11.2333 | 0.54004 | 10.0639
11.25 | 0.53768 | 10.0622
11.2667 | 0.53461 | 10.0666
11.2833 | 0.52919 | 10.0674
11.3 | 0.52386 | 10.0637
11.3167 | 0.52246 | 10.0623
11.3333 | 0.52257 | 10.0654
11.35 | 0.51856 | 10.069
11.3667 | 0.51441 | 10.0713
11.3833 | 0.51362 | 10.0788
11.4 | 0.5123 | 10.0797
11.4167 | 0.50834 | 10.0767
11.4333 | 0.50395 | 10.0759
11.45 | 0.50326 | 10.0735
11.4667 | 0.50343 | 10.0723
11.4833 | 0.50036 | 10.0687
11.5 | 0.49743 | 10.0721
11.5167 | 0.49563 | 10.07
11.5333 | 0.49384 | 10.0668
11.55 | 0.49232 | 10.07
11.5667 | 0.49134 | 10.0692
11.5833 | 0.49071 | 10.0689
11.6 | 0.48898 | 10.0716
11.6167 | 0.48681 | 10.071
11.6333 | 0.4856 | 10.069
11.65 | 0.48288 | 10.0727
11.6667 | 0.48063 | 10.079
11.6833 | 0.47989 | 10.078
11.7 | 0.47726 | 10.0727
11.7167 | 0.47528 | 10.0715
11.7333 | 0.47392 | 10.0716
11.75 | 0.47275 | 10.0665
11.7667 | 0.47244 | 10.0678
11.7833 | 0.47175 | 10.0707
11.8 | 0.47079 | 10.0756
11.8167 | 0.46963 | 10.0715
11.8333 | 0.4674 | 10.0703
11.85 | 0.46567 | 10.073
11.8667 | 0.46454 | 10.0663
11.8833 | 0.46113 | 10.0629
11.9 | 0.45875 | 10.0571
11.9167 | 0.45844 | 10.0631
11.9333 | 0.45759 | 10.0594
11.95 | 0.45599 | 10.0623
11.9667 | 0.45545 | 10.06
11.9833 | 0.45688 | 10.0661
12 | 0.45635 | 10.0654
12.0167 | 0.45417 | 10.0669
12.0333 | 0.45208 | 10.062
12.05 | 0.44953 | 10.0596
12.0667 | 0.44806 | 10.0555
12.0833 | 0.44879 | 10.0568
12.1 | 0.44842 | 10.0559
12.1167 | 0.44614 | 10.0549
12.1333 | 0.44443 | 10.0574
12.15 | 0.44491 | 10.0526
12.1667 | 0.44487 | 10.0524
12.1833 | 0.44391 | 10.0556
12.2 | 0.44341 | 10.0558
12.2167 | 0.44283 | 10.0541
12.2333 | 0.44174 | 10.0541
12.25 | 0.43957 | 10.0538
12.2667 | 0.43786 | 10.0536
12.2833 | 0.43899 | 10.0469
12.3 | 0.43921 | 10.0451
12.3167 | 0.43807 | 10.0484
12.3333 | 0.43817 | 10.0532
12.35 | 0.43921 | 10.0512
12.3667 | 0.43779 | 10.0504
12.3833 | 0.43217 | 10.0509
12.4 | 0.42769 | 10.0538
12.4167 | 0.42811 | 10.0579
12.4333 | 0.43012 | 10.0619
12.45 | 0.4304 | 10.0637
12.4667 | 0.43074 | 10.0657
12.4833 | 0.43123 | 10.0684
12.5 | 0.43142 | 10.0721
12.5167 | 0.43087 | 10.0694
12.5333 | 0.42979 | 10.0709
12.55 | 0.42875 | 10.061
12.5667 | 0.42657 | 10.059
12.5833 | 0.42576 | 10.0553
12.6 | 0.42764 | 10.0559
12.6167 | 0.42873 | 10.0509
12.6333 | 0.42802 | 10.0501
12.65 | 0.42673 | 10.0574
12.6667 | 0.42716 | 10.0488
12.6833 | 0.42684 | 10.0565
12.7 | 0.42515 | 10.0608
12.7167 | 0.42456 | 10.0536
12.7333 | 0.42494 | 10.0414
12.75 | 0.42639 | 10.0417
12.7667 | 0.42731 | 10.0434
12.7833 | 0.42679 | 10.0481
12.8 | 0.42674 | 10.0419
12.8167 | 0.42781 | 10.0361
12.8333 | 0.42821 | 10.0291
12.85 | 0.42735 | 10.0364
12.8667 | 0.4272 | 10.0333
12.8833 | 0.42853 | 10.0343
12.9 | 0.42767 | 10.0338
12.9167 | 0.4276 | 10.0384
12.9333 | 0.42945 | 10.0346
12.95 | 0.43024 | 10.0384
12.9667 | 0.43164 | 10.0364
12.9833 | 0.43349 | 10.0436
13 | 0.43521 | 10.0474
13.0167 | 0.437 | 10.0486
13.0333 | 0.43863 | 10.0564
13.05 | 0.43985 | 10.0616
13.0667 | 0.44032 | 10.0608
13.0833 | 0.4387 | 10.06
13.1 | 0.43599 | 10.0607
13.1167 | 0.43758 | 10.0596
13.1333 | 0.44094 | 10.0613
13.15 | 0.4414 | 10.0652
13.1667 | 0.44111 | 10.0687
13.1833 | 0.44319 | 10.0713
13.2 | 0.44679 | 10.0716
13.2167 | 0.44915 | 10.0687
13.2333 | 0.45075 | 10.0776
13.25 | 0.45121 | 10.0745
13.2667 | 0.45397 | 10.0748
13.2833 | 0.45582 | 10.0762
13.3 | 0.4548 | 10.0767
13.3167 | 0.45647 | 10.0765
13.3333 | 0.46094 | 10.0826
13.35 | 0.4657 | 10.0767
13.3667 | 0.46831 | 10.0768
13.3833 | 0.46877 | 10.077
13.4 | 0.47003 | 10.0799
13.4167 | 0.4749 | 10.082
13.4333 | 0.48004 | 10.0813
13.45 | 0.48173 | 10.0799
13.4667 | 0.48401 | 10.082
13.4833 | 0.48789 | 10.0817
13.5 | 0.49118 | 10.0791
13.5167 | 0.4949 | 10.0759
13.5333 | 0.49846 | 10.0721
13.55 | 0.50098 | 10.0721
13.5667 | 0.50428 | 10.0619
13.5833 | 0.50808 | 10.0631
13.6 | 0.51211 | 10.0597
13.6167 | 0.51635 | 10.0628
13.6333 | 0.52118 | 10.0666
13.65 | 0.52648 | 10.0709
13.6667 | 0.52987 | 10.0678
13.6833 | 0.53322 | 10.0729
13.7 | 0.53799 | 10.0718
13.7167 | 0.54362 | 10.0675
13.7333 | 0.54987 | 10.0643
13.75 | 0.55617 | 10.0648
13.7667 | 0.56379 | 10.0718
13.7833 | 0.57261 | 10.0744
13.8 | 0.58143 | 10.0825
13.8167 | 0.59293 | 10.0767
13.8333 | 0.60505 | 10.0723
13.85 | 0.61549 | 10.0683
13.8667 | 0.62729 | 10.0611
13.8833 | 0.64151 | 10.0677
13.9 | 0.65764 | 10.0759
13.9167 | 0.67562 | 10.0787
13.9333 | 0.69627 | 10.0797
13.95 | 0.71941 | 10.0777
13.9667 | 0.74317 | 10.0848
13.9833 | 0.77195 | 10.0913
14 | 0.80752 | 10.0954
14.0167 | 0.84758 | 10.0927
14.0333 | 0.89194 | 10.0961
14.05 | 0.94301 | 10.099
14.0667 | 1.0036 | 10.0983
14.0833 | 1.077 | 10.1015
14.1 | 1.1666 | 10.1122
14.1167 | 1.2724 | 10.1125
14.1333 | 1.3981 | 10.1174
14.15 | 1.551 | 10.1215
14.1667 | 1.7376 | 10.1208
14.1833 | 1.9646 | 10.1232
14.2 | 2.2372 | 10.1272
14.2167 | 2.5607 | 10.1418
14.2333 | 2.9433 | 10.153
14.25 | 3.3913 | 10.1644
14.2667 | 3.9068 | 10.1824
14.2833 | 4.4919 | 10.2082
14.3 | 5.1516 | 10.2374
14.3167 | 5.8842 | 10.2779
14.3333 | 6.6808 | 10.3214
14.35 | 7.5338 | 10.3707
14.3667 | 8.4328 | 10.4211
14.3833 | 9.3619 | 10.485
14.4 | 10.3034 | 10.5538
14.4167 | 11.2358 | 10.6249
14.4333 | 12.1383 | 10.7063
14.45 | 12.9924 | 10.7958
14.4667 | 13.7781 | 10.886
14.4833 | 14.4741 | 10.9846
14.5 | 15.0687 | 11.0726
14.5167 | 15.5529 | 11.1597
14.5333 | 15.9149 | 11.2418
14.55 | 16.1537 | 11.3329
14.5667 | 16.2714 | 11.4031
14.5833 | 16.2762 | 11.4733
14.6 | 16.1785 | 11.5299
14.6167 | 15.9887 | 11.5726
14.6333 | 15.7215 | 11.6062
14.65 | 15.3961 | 11.625
14.6667 | 15.0305 | 11.6276
14.6833 | 14.6388 | 11.6276
14.7 | 14.2358 | 11.6183
14.7167 | 13.8342 | 11.6071
14.7333 | 13.4474 | 11.5882
14.75 | 13.0862 | 11.5716
14.7667 | 12.7552 | 11.5452
14.7833 | 12.4582 | 11.5241
14.8 | 12.1988 | 11.5083
14.8167 | 11.9781 | 11.4872
14.8333 | 11.7951 | 11.4812
14.85 | 11.6449 | 11.4704
14.8667 | 11.5229 | 11.4764
14.8833 | 11.4235 | 11.4825
14.9 | 11.341 | 11.5002
14.9167 | 11.2687 | 11.5139
14.9333 | 11.2014 | 11.535
14.95 | 11.1335 | 11.564
14.9667 | 11.0567 | 11.6
14.9833 | 10.967 | 11.6279
15 | 10.861 | 11.6648
15.0167 | 10.735 | 11.6967
15.0333 | 10.5839 | 11.7338
15.05 | 10.4066 | 11.766
15.0667 | 10.2036 | 11.7959
15.0833 | 9.975 | 11.8197
15.1 | 9.723 | 11.8407
15.1167 | 9.4482 | 11.8491
15.1333 | 9.1502 | 11.8578
15.15 | 8.831 | 11.8531
15.1667 | 8.498 | 11.8459
15.1833 | 8.1586 | 11.8273
15.2 | 7.8144 | 11.8046
15.2167 | 7.4659 | 11.78
15.2333 | 7.1146 | 11.7429
15.25 | 6.766 | 11.7045
15.2667 | 6.424 | 11.6535
15.2833 | 6.091 | 11.6151
15.3 | 5.7705 | 11.565
15.3167 | 5.4627 | 11.5035
15.3333 | 5.1678 | 11.4462
15.35 | 4.8866 | 11.3886
15.3667 | 4.6208 | 11.3268
15.3833 | 4.3704 | 11.2608
15.4 | 4.1347 | 11.1939
15.4167 | 3.9143 | 11.1407
15.4333 | 3.7079 | 11.0932
15.45 | 3.5147 | 11.0416
15.4667 | 3.3349 | 10.9832
15.4833 | 3.1684 | 10.9362
15.5 | 3.014 | 10.886
15.5167 | 2.8676 | 10.8352
15.5333 | 2.7297 | 10.7937
15.55 | 2.603 | 10.7505
15.5667 | 2.4846 | 10.7081
15.5833 | 2.3716 | 10.673
15.6 | 2.2662 | 10.6391
15.6167 | 2.168 | 10.6048
15.6333 | 2.0757 | 10.584
15.65 | 1.9877 | 10.5477
15.6667 | 1.9048 | 10.5257
15.6833 | 1.827 | 10.5036
15.7 | 1.7526 | 10.4836
15.7167 | 1.6814 | 10.4525
15.7333 | 1.614 | 10.436
15.75 | 1.551 | 10.4162
15.7667 | 1.4933 | 10.3999
15.7833 | 1.4388 | 10.3757
15.8 | 1.386 | 10.3651
15.8167 | 1.3353 | 10.3506
15.8333 | 1.2854 | 10.342
15.85 | 1.2392 | 10.3266
15.8667 | 1.1982 | 10.3236
15.8833 | 1.1582 | 10.312
15.9 | 1.1197 | 10.2973
15.9167 | 1.0828 | 10.2778
15.9333 | 1.0487 | 10.2674
15.95 | 1.0182 | 10.2558
15.9667 | 0.9882 | 10.2436
15.9833 | 0.9578 | 10.2389
16 | 0.92854 | 10.2352
16.0167 | 0.90173 | 10.2232
16.0333 | 0.87457 | 10.2082
16.05 | 0.84996 | 10.2044
16.0667 | 0.82978 | 10.1994
16.0833 | 0.80874 | 10.1994
16.1 | 0.78665 | 10.1894
16.1167 | 0.76591 | 10.1907
16.1333 | 0.74689 | 10.1871
16.15 | 0.7306 | 10.1788
16.1667 | 0.71481 | 10.173
16.1833 | 0.69992 | 10.1696
16.2 | 0.68818 | 10.1603
16.2167 | 0.67715 | 10.1557
16.2333 | 0.66483 | 10.1583
16.25 | 0.65272 | 10.1559
16.2667 | 0.64061 | 10.1461
16.2833 | 0.62972 | 10.1437
16.3 | 0.62183 | 10.1315
16.3167 | 0.61587 | 10.1406
16.3333 | 0.60877 | 10.1417
16.35 | 0.60217 | 10.14
16.3667 | 0.59861 | 10.1327
16.3833 | 0.596 | 10.1417
16.4 | 0.59317 | 10.1418
16.4167 | 0.59055 | 10.1412
16.4333 | 0.585 | 10.1405
16.45 | 0.58006 | 10.1351
16.4667 | 0.57919 | 10.1283
16.4833 | 0.57858 | 10.1258
16.5 | 0.5766 | 10.1278
16.5167 | 0.57463 | 10.1278
16.5333 | 0.57508 | 10.1293
16.55 | 0.57862 | 10.126
16.5667 | 0.58262 | 10.1292
16.5833 | 0.58472 | 10.1278
16.6 | 0.58587 | 10.1153
16.6167 | 0.5871 | 10.1093
16.6333 | 0.58906 | 10.109
16.65 | 0.59299 | 10.1019
16.6667 | 0.59638 | 10.108
16.6833 | 0.59805 | 10.1044
16.7 | 0.60161 | 10.1115
16.7167 | 0.60672 | 10.1157
16.7333 | 0.61302 | 10.1235
16.75 | 0.61988 | 10.1159
16.7667 | 0.62474 | 10.1173
16.7833 | 0.63061 | 10.1115
16.8 | 0.63863 | 10.111
16.8167 | 0.6473 | 10.1136
16.8333 | 0.65427 | 10.1112
16.85 | 0.65929 | 10.1139
16.8667 | 0.66668 | 10.1127
16.8833 | 0.67637 | 10.1066
16.9 | 0.68492 | 10.0991
16.9167 | 0.69693 | 10.098
16.9333 | 0.71071 | 10.0997
16.95 | 0.72266 | 10.0982
16.9667 | 0.73518 | 10.0929
16.9833 | 0.74813 | 10.0901
17 | 0.76157 | 10.0893
17.0167 | 0.77765 | 10.0864
17.0333 | 0.79374 | 10.0767
17.05 | 0.80959 | 10.08
17.0667 | 0.82839 | 10.0784
17.0833 | 0.84936 | 10.0819
17.1 | 0.86872 | 10.0802
17.1167 | 0.88647 | 10.0831
17.1333 | 0.9069 | 10.0784
17.15 | 0.93111 | 10.0764
17.1667 | 0.95647 | 10.0694
17.1833 | 0.98081 | 10.0726
17.2 | 1.0063 | 10.0759
17.2167 | 1.0331 | 10.0735
17.2333 | 1.0576 | 10.0686
17.25 | 1.0831 | 10.0661
17.2667 | 1.1116 | 10.0694
17.2833 | 1.1408 | 10.0713
17.3 | 1.1719 | 10.0732
17.3167 | 1.2053 | 10.0762
17.3333 | 1.2366 | 10.0745
17.35 | 1.2664 | 10.0703
17.3667 | 1.2982 | 10.0756
17.3833 | 1.3307 | 10.0826
17.4 | 1.3661 | 10.0834
17.4167 | 1.403 | 10.0826
17.4333 | 1.4417 | 10.0898
17.45 | 1.4814 | 10.0889
17.4667 | 1.5219 | 10.0883
17.4833 | 1.5638 | 10.0871
17.5 | 1.6067 | 10.0938
17.5167 | 1.6515 | 10.0938
17.5333 | 1.696 | 10.0961
17.55 | 1.742 | 10.082
17.5667 | 1.792 | 10.0889
17.5833 | 1.8427 | 10.0851
17.6 | 1.8938 | 10.0857
17.6167 | 1.9471 | 10.0864
17.6333 | 2.0036 | 10.0852
17.65 | 2.0606 | 10.0895
17.6667 | 2.1144 | 10.0906
17.6833 | 2.169 | 10.0959
17.7 | 2.2271 | 10.0951
17.7167 | 2.2838 | 10.095
17.7333 | 2.339 | 10.0944
17.75 | 2.3943 | 10.0933
17.7667 | 2.4499 | 10.0932
17.7833 | 2.5051 | 10.0938
17.8 | 2.558 | 10.0959
17.8167 | 2.6094 | 10.0983
17.8333 | 2.6617 | 10.0977
17.85 | 2.7152 | 10.1049
17.8667 | 2.7686 | 10.1096
17.8833 | 2.8217 | 10.1205
17.9 | 2.8752 | 10.1188
17.9167 | 2.9303 | 10.1112
17.9333 | 2.9868 | 10.1229
17.95 | 3.0431 | 10.1351
17.9667 | 3.0995 | 10.1339
17.9833 | 3.1568 | 10.136
18 | 3.2149 | 10.1339
18.0167 | 3.2752 | 10.1301
18.0333 | 3.336 | 10.1254
18.05 | 3.3955 | 10.1235
18.0667 | 3.4558 | 10.1258
18.0833 | 3.519 | 10.1252
18.1 | 3.5849 | 10.1344
18.1167 | 3.651 | 10.1388
18.1333 | 3.7159 | 10.1504
18.15 | 3.7832 | 10.1568
18.1667 | 3.8531 | 10.1731
18.1833 | 3.924 | 10.189
18.2 | 3.9981 | 10.2106
18.2167 | 4.0748 | 10.2183
18.2333 | 4.1528 | 10.2334
18.25 | 4.2347 | 10.2407
18.2667 | 4.3215 | 10.2544
18.2833 | 4.4133 | 10.2697
18.3 | 4.5088 | 10.2825
18.3167 | 4.6095 | 10.2807
18.3333 | 4.7164 | 10.2888
18.35 | 4.8244 | 10.294
18.3667 | 4.9335 | 10.3001
18.3833 | 5.0438 | 10.2999
18.4 | 5.152 | 10.2984
18.4167 | 5.2571 | 10.2836
18.4333 | 5.3555 | 10.274
18.45 | 5.4424 | 10.2657
18.4667 | 5.5211 | 10.263
18.4833 | 5.5943 | 10.2555
18.5 | 5.6612 | 10.2464
18.5167 | 5.7233 | 10.239
18.5333 | 5.779 | 10.2297
18.55 | 5.832 | 10.2215
18.5667 | 5.8911 | 10.2203
18.5833 | 5.9583 | 10.2152
18.6 | 6.0318 | 10.2103
18.6167 | 6.1148 | 10.2018
18.6333 | 6.2091 | 10.196
18.65 | 6.3152 | 10.1978
18.6667 | 6.434 | 10.2015
18.6833 | 6.5636 | 10.2135
18.7 | 6.7004 | 10.2184
18.7167 | 6.8389 | 10.229
18.7333 | 6.9733 | 10.2465
18.75 | 7.0999 | 10.2737
18.7667 | 7.2141 | 10.3072
18.7833 | 7.3136 | 10.3416
18.8 | 7.3959 | 10.3788
18.8167 | 7.4573 | 10.4243
18.8333 | 7.4973 | 10.4597
18.85 | 7.5188 | 10.4948
18.8667 | 7.5263 | 10.5289
18.8833 | 7.5219 | 10.5528
18.9 | 7.5089 | 10.5618
18.9167 | 7.4913 | 10.5611
18.9333 | 7.4735 | 10.5566
18.95 | 7.4585 | 10.541
18.9667 | 7.4465 | 10.5212
18.9833 | 7.4372 | 10.4888
19 | 7.4307 | 10.4636
19.0167 | 7.4268 | 10.4366
19.0333 | 7.424 | 10.4197
19.05 | 7.418 | 10.3948
19.0667 | 7.402 | 10.3651
19.0833 | 7.3737 | 10.3324
19.1 | 7.3295 | 10.3027
19.1167 | 7.2627 | 10.285
19.1333 | 7.1672 | 10.2645
19.15 | 7.0349 | 10.2407
19.1667 | 6.8547 | 10.2285
19.1833 | 6.6207 | 10.2193
19.2 | 6.3281 | 10.2117
19.2167 | 5.9699 | 10.1983
19.2333 | 5.5469 | 10.1839
19.25 | 5.067 | 10.1629
19.2667 | 4.5408 | 10.1382
19.2833 | 3.9908 | 10.1122
19.3 | 3.446 | 10.0942
19.3167 | 2.9353 | 10.086
19.3333 | 2.4911 | 10.0777
19.35 | 2.1482 | 10.0968
19.3667 | 1.9361 | 10.144
19.3833 | 1.8751 | 10.2544
19.4 | 1.9779 | 10.4317
19.4167 | 2.2455 | 10.7218
19.4333 | 2.6664 | 11.1687
19.45 | 3.2237 | 11.8131
19.4667 | 3.8917 | 12.7
19.4833 | 4.6388 | 13.8537
19.5 | 5.4333 | 15.3053
19.5167 | 6.2406 | 17.0623
19.5333 | 7.028 | 19.0887
19.55 | 7.7713 | 21.3424
19.5667 | 8.4528 | 23.7168
19.5833 | 9.0589 | 26.101
19.6 | 9.5819 | 28.3552
19.6167 | 10.0223 | 30.3382
19.6333 | 10.3835 | 31.9271
19.65 | 10.6742 | 33.0091
19.6667 | 10.901 | 33.5235
19.6833 | 11.0704 | 33.4499
19.7 | 11.1884 | 32.8307
19.7167 | 11.2601 | 31.7348
19.7333 | 11.2862 | 30.2314
19.75 | 11.2686 | 28.4641
19.7667 | 11.2113 | 26.5336
19.7833 | 11.1157 | 24.5585
19.8 | 10.9865 | 22.6238
19.8167 | 10.8304 | 20.635
19.8333 | 10.6561 | 19.0127
19.85 | 10.4743 | 17.5721
19.8667 | 10.2958 | 16.3192
19.8833 | 10.1275 | 15.2724
19.9 | 9.9774 | 14.4819
19.9167 | 9.855 | 13.7362
19.9333 | 9.7631 | 13.1287
19.95 | 9.7013 | 12.6296
19.9667 | 9.6682 | 12.2039
19.9833 | 9.6565 | 11.8404
20 | 9.6629 | 11.5473
20.0167 | 9.6797 | 11.289
20.0333 | 9.6918 | 11.0686
20.05 | 9.6904 | 10.8518
20.0667 | 9.6657 | 10.6417
20.0833 | 9.6109 | 10.4208
20.1 | 9.5199 | 10.176
20.1167 | 9.3855 | 9.8896
20.1333 | 9.2075 | 9.5687
20.15 | 8.9928 | 9.1958
20.1667 | 8.7478 | 8.7637
20.1833 | 8.4749 | 8.2865
20.2 | 8.1809 | 7.7621
20.2167 | 7.8767 | 7.2193
20.2333 | 7.5727 | 6.6706
20.25 | 7.2761 | 6.1481
20.2667 | 6.9872 | 5.6698
20.2833 | 6.711 | 5.2744
20.3 | 6.4585 | 4.9844
20.3167 | 6.2359 | 4.8148
20.3333 | 6.0509 | 4.7724
20.35 | 5.9153 | 4.8693
20.3667 | 5.8426 | 5.079
20.3833 | 5.8544 | 5.3915
20.4 | 5.9752 | 5.78
20.4167 | 6.2359 | 6.2136
20.4333 | 6.6699 | 6.6694
20.45 | 7.3117 | 7.1366
20.4667 | 8.1962 | 7.5797
20.4833 | 9.3499 | 8.0009
20.5 | 10.7874 | 8.3782
20.5167 | 12.5089 | 8.7177
20.5333 | 14.4948 | 9.0241
20.55 | 16.6971 | 9.3031
20.5667 | 19.0443 | 9.5416
20.5833 | 21.4462 | 9.7507
20.6 | 23.7898 | 9.9537
20.6167 | 25.9523 | 10.153
20.6333 | 27.8134 | 10.3393
20.65 | 29.258 | 10.5341
20.6667 | 30.1902 | 10.727
20.6833 | 30.5446 | 10.9246
20.7 | 30.2825 | 11.1164
20.7167 | 29.3891 | 11.309
20.7333 | 27.8687 | 11.5022
20.75 | 25.7428 | 11.6706
20.7667 | 23.0393 | 11.8299
20.7833 | 19.7803 | 11.9552
20.8 | 15.9831 | 12.0402
20.8167 | 11.6555 | 12.0916
20.8333 | 6.7946 | 12.1015
20.85 | 1.4043 | 12.0713
20.8667 | -4.4959 | 12.015
20.8833 | -10.8614 | 11.9213
20.9 | -17.6139 | 11.805
20.9167 | -24.632 | 11.6489
20.9333 | -31.7429 | 11.4936
20.95 | -38.7312 | 11.3227
20.9667 | -45.3537 | 11.1585
20.9833 | -51.3585 | 11.0072
21 | -56.5061 | 10.8569
21.0167 | -60.5878 | 10.7104
21.0333 | -63.447 | 10.5805
21.05 | -64.9972 | 10.4697
21.0667 | -65.2256 | 10.378
21.0833 | -64.1945 | 10.3005
21.1 | -62.0306 | 10.2247
21.1167 | -58.9102 | 10.173
21.1333 | -55.0451 | 10.1252
21.15 | -50.6566 | 10.0887
21.1667 | -45.9594 | 10.057
21.1833 | -41.1524 | 10.0399
21.2 | -36.4032 | 10.0251
21.2167 | -31.8454 | 10.0036
21.2333 | -27.5756 | 10.0033
21.25 | -23.6541 | 10.0057
21.2667 | -20.1154 | 10.0013
21.2833 | -16.9713 | 10.0004
21.3 | -14.2142 | 10.0021
21.3167 | -11.825 | 10.0147
21.3333 | -9.7741 | 10.0211
21.35 | -8.0312 | 10.0283
21.3667 | -6.5596 | 10.0338
21.3833 | -5.3252 | 10.0484
21.4 | -4.302 | 10.059
21.4167 | -3.458 | 10.0719
21.4333 | -2.7628 | 10.0706
21.45 | -2.1938 | 10.078
21.4667 | -1.7321 | 10.0838
21.4833 | -1.3588 | 10.0915
21.5 | -1.0557 | 10.0863
21.5167 | -0.81476 | 10.086
21.5333 | -0.62402 | 10.0744
21.55 | -0.46823 | 10.0629
21.5667 | -0.34309 | 10.0488
21.5833 | -0.24695 | 10.0307
21.6 | -0.17224 | 10.0076
21.6167 | -0.11284 | 9.9697
21.6333 | -0.066386 | 9.9355
21.65 | -0.029915 | 9.8887
21.6667 | -0.00046318 | 9.8338
21.6833 | 0.020992 | 9.7507
21.7 | 0.036682 | 9.652
21.7167 | 0.049858 | 9.526
21.7333 | 0.06006 | 9.3665
21.75 | 0.067654 | 9.1688
21.7667 | 0.07434 | 8.9416
21.7833 | 0.079597 | 8.6706
21.8 | 0.081995 | 8.3602
21.8167 | 0.083423 | 8.0012
21.8333 | 0.083398 | 7.6141
21.85 | 0.084154 | 7.2041
21.8667 | 0.085449 | 6.7735
21.8833 | 0.085326 | 6.3328
21.9 | 0.084691 | 5.9054
21.9167 | 0.085753 | 5.5024
21.9333 | 0.086564 | 5.1376
21.95 | 0.085669 | 4.8212
21.9667 | 0.085767 | 4.5768
21.9833 | 0.085367 | 4.4132
22 | 0.085989 | 4.3156
22.0167 | 0.08765 | 4.3118
22.0333 | 0.087151 | 4.3938
22.05 | 0.085653 | 4.5397
22.0667 | 0.08466 | 4.7588
22.0833 | 0.085476 | 5.0434
22.1 | 0.08902 | 5.3756
22.1167 | 0.091103 | 5.7504
22.1333 | 0.092597 | 6.1387
22.15 | 0.097666 | 6.549
22.1667 | 0.10361 | 6.9506
22.1833 | 0.11179 | 7.3438
22.2 | 0.12343 | 7.7096
22.2167 | 0.14177 | 8.055
22.2333 | 0.17038 | 8.3675
22.25 | 0.20801 | 8.6428
22.2667 | 0.2606 | 8.8869
22.2833 | 0.33731 | 9.0914
22.3 | 0.44305 | 9.2689
22.3167 | 0.58308 | 9.4169
22.3333 | 0.76785 | 9.5327
22.35 | 1.0084 | 9.6296
22.3667 | 1.3159 | 9.7063
22.3833 | 1.7022 | 9.7561
22.4 | 2.1786 | 9.8083
22.4167 | 2.7559 | 9.8344
22.4333 | 3.4427 | 9.8469
22.45 | 4.2445 | 9.8435
22.4667 | 5.1632 | 9.827
22.4833 | 6.1956 | 9.7897
22.5 | 7.3333 | 9.7466
22.5167 | 8.5588 | 9.6815
22.5333 | 9.8483 | 9.6049
22.55 | 11.175 | 9.5097
22.5667 | 12.5047 | 9.4111
22.5833 | 13.7973 | 9.2895
22.6 | 15.0138 | 9.1651
22.6167 | 16.1158 | 9.02
22.6333 | 17.0621 | 8.8732
22.65 | 17.8171 | 8.7116
22.6667 | 18.3574 | 8.5682
22.6833 | 18.6649 | 8.4086
22.7 | 18.7264 | 8.263
22.7167 | 18.5441 | 8.126
22.7333 | 18.1268 | 8.0125
22.75 | 17.4934 | 7.9205
22.7667 | 16.675 | 7.857
22.7833 | 15.6989 | 7.812
22.8 | 14.5981 | 7.8071
22.8167 | 13.4142 | 7.8207
22.8333 | 12.1862 | 7.8613
22.85 | 10.9486 | 7.9446
22.8667 | 9.7292 | 8.0405
22.8833 | 8.5541 | 8.1605
22.9 | 7.4453 | 8.2868
22.9167 | 6.4182 | 8.4223
22.9333 | 5.4817 | 8.5664
22.95 | 4.644 | 8.7156
22.9667 | 3.9052 | 8.8627
22.9833 | 3.2597 | 9.0116
23 | 2.7066 | 9.1373
23.0167 | 2.2373 | 9.2715
23.0333 | 1.8436 | 9.387
23.05 | 1.518 | 9.4852
23.0667 | 1.2504 | 9.5716
23.0833 | 1.031 | 9.6539
23.1 | 0.85377 | 9.7234
23.1167 | 0.7131 | 9.7698
23.1333 | 0.59993 | 9.8159
23.15 | 0.50845 | 9.853
23.1667 | 0.43355 | 9.8896
23.1833 | 0.37535 | 9.9158
23.2 | 0.33155 | 9.9355
23.2167 | 0.29687 | 9.9479
23.2333 | 0.2687 | 9.9574
23.25 | 0.24431 | 9.9706
23.2667 | 0.22306 | 9.9723
23.2833 | 0.20538 | 9.9763
23.3 | 0.19144 | 9.9877
23.3167 | 0.18095 | 9.9944
23.3333 | 0.1721 | 10.0054
23.35 | 0.16383 | 10.006
23.3667 | 0.15643 | 10.0178
23.3833 | 0.1491 | 10.022
23.4 | 0.14194 | 10.0317
23.4167 | 0.13668 | 10.0265
23.4333 | 0.13255 | 10.0301
23.45 | 0.12949 | 10.0347
23.4667 | 0.12805 | 10.0433
23.4833 | 0.12483 | 10.0399
23.5 | 0.12078 | 10.0362
23.5167 | 0.11781 | 10.033
23.5333 | 0.11339 | 10.0404
23.55 | 0.11028 | 10.0411
23.5667 | 0.10894 | 10.0426
23.5833 | 0.10784 | 10.0414
23.6 | 0.10506 | 10.0439
23.6167 | 0.099087 | 10.0443
23.6333 | 0.09525 | 10.0489
23.65 | 0.094633 | 10.0578
23.6667 | 0.092813 | 10.0542
23.6833 | 0.089791 | 10.0567
23.7 | 0.086821 | 10.0579
23.7167 | 0.08538 | 10.0571
23.7333 | 0.085117 | 10.0535
23.75 | 0.084719 | 10.0532
23.7667 | 0.0854 | 10.0524
23.7833 | 0.086275 | 10.0523
23.8 | 0.084215 | 10.043
23.8167 | 0.082139 | 10.0466
23.8333 | 0.080918 | 10.0474
23.85 | 0.080376 | 10.0475
23.8667 | 0.07899 | 10.0364
23.8833 | 0.077802 | 10.0333
23.9 | 0.077184 | 10.0353
23.9167 | 0.075565 | 10.0338
23.9333 | 0.075176 | 10.0336
23.95 | 0.074274 | 10.0311
23.9667 | 0.073595 | 10.0188
23.9833 | 0.074527 | 10.0237
24 | 0.075155 | 10.0239
24.0167 | 0.074848 | 10.0248
24.0333 | 0.073332 | 10.0301
24.05 | 0.071441 | 10.0338
24.0667 | 0.069084 | 10.0327
24.0833 | 0.0663 | 10.0373
24.1 | 0.065665 | 10.0405
24.1167 | 0.065899 | 10.0393
24.1333 | 0.064211 | 10.0401
24.15 | 0.06312 | 10.0428
24.1667 | 0.063666 | 10.0474
24.1833 | 0.06443 | 10.0466
24.2 | 0.062773 | 10.0495
24.2167 | 0.060193 | 10.0503
24.2333 | 0.060891 | 10.053
24.25 | 0.062782 | 10.0578
24.2667 | 0.062357 | 10.0701
24.2833 | 0.060243 | 10.0689
24.3 | 0.057819 | 10.0793
24.3167 | 0.05543 | 10.0745
24.3333 | 0.05473 | 10.0726
24.35 | 0.05387 | 10.0732
24.3667 | 0.053527 | 10.0724
24.3833 | 0.053027 | 10.0675
24.4 | 0.053065 | 10.0645
24.4167 | 0.054117 | 10.0678
24.4333 | 0.05283 | 10.0675
24.45 | 0.051497 | 10.0625
24.4667 | 0.052796 | 10.0658
24.4833 | 0.054045 | 10.0631
24.5 | 0.053789 | 10.0594
24.5167 | 0.053148 | 10.0581
24.5333 | 0.051915 | 10.0492
24.55 | 0.050698 | 10.0517
24.5667 | 0.050476 | 10.0422
24.5833 | 0.050607 | 10.0462
24.6 | 0.049717 | 10.0431
24.6167 | 0.047485 | 10.0481
24.6333 | 0.045857 | 10.0486
24.65 | 0.04605 | 10.0451
24.6667 | 0.04587 | 10.0391
24.6833 | 0.044953 | 10.0405
24.7 | 0.045213 | 10.039
24.7167 | 0.045378 | 10.0437
24.7333 | 0.044332 | 10.046
24.75 | 0.043925 | 10.0452
24.7667 | 0.043617 | 10.0422
24.7833 | 0.042094 | 10.046
24.8 | 0.040905 | 10.0436
24.8167 | 0.041387 | 10.0407
24.8333 | 0.042011 | 10.0353
24.85 | 0.041899 | 10.0361
24.8667 | 0.041809 | 10.0364
24.8833 | 0.040779 | 10.0288
24.9 | 0.039411 | 10.0314
24.9167 | 0.037572 | 10.0359
24.9333 | 0.036134 | 10.0422
24.95 | 0.036606 | 10.0472
24.9667 | 0.037429 | 10.0457
24.9833 | 0.036916 | 10.0333
25 | 0.037093 | 10.0343
25.0167 | 0.037455 | 10.0268
25.0333 | 0.036608 | 10.0234
25.05 | 0.036764 | 10.0224
25.0667 | 0.03673 | 10.0228
25.0833 | 0.036647 | 10.0231
25.1 | 0.036393 | 10.0292
25.1167 | 0.035324 | 10.0314
25.1333 | 0.035469 | 10.0336
25.15 | 0.036726 | 10.0312
25.1667 | 0.036611 | 10.033
25.1833 | 0.034266 | 10.0372
25.2 | 0.031972 | 10.0413
25.2167 | 0.031405 | 10.0379
25.2333 | 0.034553 | 10.0411
25.25 | 0.037807 | 10.0475
25.2667 | 0.036553 | 10.0509
25.2833 | 0.033746 | 10.06
25.3 | 0.033533 | 10.0631
25.3167 | 0.03304 | 10.0591
25.3333 | 0.030452 | 10.0608
25.35 | 0.028968 | 10.0636
25.3667 | 0.029153 | 10.0645
25.3833 | 0.02824 | 10.0584
25.4 | 0.027495 | 10.0631
25.4167 | 0.026969 | 10.0611
25.4333 | 0.027012 | 10.0593
25.45 | 0.02909 | 10.0611
25.4667 | 0.030701 | 10.0631
25.4833 | 0.028926 | 10.0649
25.5 | 0.026068 | 10.064
25.5167 | 0.025706 | 10.0689
25.5333 | 0.026231 | 10.0661
25.55 | 0.025256 | 10.0687
25.5667 | 0.025199 | 10.0697
25.5833 | 0.025399 | 10.0762
25.6 | 0.024713 | 10.0729
25.6167 | 0.023653 | 10.0678
25.6333 | 0.022401 | 10.0645
25.65 | 0.02187 | 10.0729
25.6667 | 0.022344 | 10.0704
25.6833 | 0.021904 | 10.0663
25.7 | 0.021499 | 10.0677
25.7167 | 0.021979 | 10.0639
25.7333 | 0.022319 | 10.0619
25.75 | 0.023571 | 10.0672
25.7667 | 0.022837 | 10.0668
25.7833 | 0.022973 | 10.0677
25.8 | 0.0255 | 10.0715
25.8167 | 0.025228 | 10.0596
25.8333 | 0.023141 | 10.0574
25.85 | 0.022003 | 10.0552
25.8667 | 0.022825 | 10.062
25.8833 | 0.023763 | 10.0643
25.9 | 0.023286 | 10.062
25.9167 | 0.022647 | 10.0547
25.9333 | 0.023147 | 10.053
25.95 | 0.023247 | 10.0472
25.9667 | 0.021135 | 10.0593
25.9833 | 0.021126 | 10.0607
26 | 0.022815 | 10.0649
26.0167 | 0.021594 | 10.0603
26.0333 | 0.021501 | 10.0629
26.05 | 0.024029 | 10.0581
26.0667 | 0.025885 | 10.0558
26.0833 | 0.025942 | 10.0573
26.1 | 0.02535 | 10.0559
26.1167 | 0.025767 | 10.0636
26.1333 | 0.025977 | 10.073
26.15 | 0.024541 | 10.066
26.1667 | 0.024964 | 10.0593
26.1833 | 0.026184 | 10.0594
26.2 | 0.024272 | 10.0518
26.2167 | 0.022195 | 10.0526
26.2333 | 0.022965 | 10.0492
26.25 | 0.022934 | 10.0483
26.2667 | 0.021897 | 10.05
26.2833 | 0.022083 | 10.0539
26.3 | 0.021972 | 10.0562
26.3167 | 0.020732 | 10.0587
26.3333 | 0.020262 | 10.0579
26.35 | 0.019878 | 10.0559
26.3667 | 0.019592 | 10.0532
26.3833 | 0.020527 | 10.0628
26.4 | 0.021374 | 10.0666
26.4167 | 0.021802 | 10.062
26.4333 | 0.022055 | 10.0581
26.45 | 0.02136 | 10.0562
26.4667 | 0.019917 | 10.0552
26.4833 | 0.020425 | 10.0552
26.5 | 0.019405 | 10.0539
26.5167 | 0.018094 | 10.055
26.5333 | 0.017267 | 10.0544
26.55 | 0.01751 | 10.0564
26.5667 | 0.019306 | 10.0602
26.5833 | 0.017209 | 10.0596
26.6 | 0.014231 | 10.0561
26.6167 | 0.015372 | 10.0533
26.6333 | 0.018669 | 10.0521
26.65 | 0.019209 | 10.0506
26.6667 | 0.016494 | 10.048
26.6833 | 0.015657 | 10.044
26.7 | 0.016149 | 10.0501
26.7167 | 0.016705 | 10.0515
26.7333 | 0.017419 | 10.0481
26.75 | 0.016529 | 10.0426
26.7667 | 0.017344 | 10.0413
26.7833 | 0.017792 | 10.0332
26.8 | 0.016679 | 10.0253
26.8167 | 0.015901 | 10.0204
26.8333 | 0.01476 | 10.0253
26.85 | 0.01462 | 10.0199
26.8667 | 0.01537 | 10.0172
26.8833 | 0.014824 | 10.0117
26.9 | 0.013481 | 10.0201
26.9167 | 0.012338 | 10.0282
26.9333 | 0.013677 | 10.0233
26.95 | 0.015167 | 10.023
26.9667 | 0.015378 | 10.0202
26.9833 | 0.015122 | 10.0144
27 | 0.01356 | 10.0163
27.0167 | 0.011953 | 10.0126
27.0333 | 0.012108 | 10.0124
27.05 | 0.01314 | 10.0134
27.0667 | 0.013122 | 10.0155
27.0833 | 0.013616 | 10.0207
27.1 | 0.013554 | 10.0306
27.1167 | 0.010616 | 10.0329
27.1333 | 0.0096095 | 10.0231
27.15 | 0.011313 | 10.032
27.1667 | 0.012237 | 10.0291
27.1833 | 0.013076 | 10.0353
27.2 | 0.013263 | 10.0361
27.2167 | 0.012747 | 10.0442
27.2333 | 0.013222 | 10.0463
27.25 | 0.012377 | 10.0472
27.2667 | 0.010049 | 10.0443
27.2833 | 0.011153 | 10.039
27.3 | 0.012978 | 10.0372
27.3167 | 0.012502 | 10.0401
27.3333 | 0.011528 | 10.0405
27.35 | 0.010998 | 10.0419
27.3667 | 0.010193 | 10.0394
27.3833 | 0.0084621 | 10.0344
27.4 | 0.0087968 | 10.0388
27.4167 | 0.010099 | 10.0385
27.4333 | 0.0080402 | 10.0367
27.45 | 0.0065197 | 10.0282
27.4667 | 0.0055462 | 10.0309
27.4833 | 0.0044862 | 10.0234
27.5 | 0.0045246 | 10.0298
27.5167 | 0.0046709 | 10.0306
27.5333 | 0.0064097 | 10.0338
27.55 | 0.0073071 | 10.0262
27.5667 | 0.0062268 | 10.035
27.5833 | 0.007225 | 10.0387
27.6 | 0.0092587 | 10.0394
27.6167 | 0.0086012 | 10.043
27.6333 | 0.0073709 | 10.0419
27.65 | 0.0064367 | 10.0401
27.6667 | 0.0048871 | 10.0445
27.6833 | 0.0049459 | 10.0356
27.7 | 0.0064998 | 10.039
27.7167 | 0.0071813 | 10.0402
27.7333 | 0.0079221 | 10.0417
27.75 | 0.0071215 | 10.0361
27.7667 | 0.0049421 | 10.0372
27.7833 | 0.004908 | 10.0346
27.8 | 0.0051637 | 10.0373
27.8167 | 0.003495 | 10.0315
27.8333 | 0.0018693 | 10.032
27.85 | 0.002763 | 10.0317
27.8667 | 0.005158 | 10.0271
27.8833 | 0.0054341 | 10.0303
27.9 | 0.0042845 | 10.0387
27.9167 | 0.0060426 | 10.0446
27.9333 | 0.0065995 | 10.0399
27.95 | 0.0060583 | 10.0491
27.9667 | 0.0075967 | 10.0396
27.9833 | 0.0092115 | 10.0375
28 | 0.0080992 | 10.0358
28.0167 | 0.0052659 | 10.0359
28.0333 | 0.0049577 | 10.0356
28.05 | 0.0063837 | 10.0419
28.0667 | 0.0066446 | 10.0422
28.0833 | 0.0054147 | 10.0501
28.1 | 0.0044082 | 10.044
28.1167 | 0.0020576 | 10.0489
28.1333 | -0.00021849 | 10.0471
28.15 | 0.00071438 | 10.051
28.1667 | 0.0014951 | 10.0527
28.1833 | 0.00055969 | 10.0501
28.2 | -0.001191 | 10.0512
28.2167 | -0.0016851 | 10.0471
28.2333 | -0.00086347 | 10.0497
28.25 | 0.0025486 | 10.0463
28.2667 | 0.0045949 | 10.0494
28.2833 | 0.00084688 | 10.046
28.3 | -0.0017683 | 10.043
28.3167 | -0.0014568 | 10.0382
28.3333 | -0.00099672 | 10.0443
28.35 | -0.0015314 | 10.0411
28.3667 | -0.0011566 | 10.0439
28.3833 | -0.0018246 | 10.0402
28.4 | -0.0035493 | 10.039
28.4167 | -0.0030353 | 10.0405
28.4333 | -0.0012251 | 10.0452
28.45 | 0.0016058 | 10.0448
28.4667 | 0.0033144 | 10.0413
28.4833 | 0.003622 | 10.037
28.5 | 0.0037099 | 10.0388
28.5167 | 0.0034583 | 10.0408
28.5333 | 0.0025941 | 10.0445
28.55 | 0.0003023 | 10.0385
28.5667 | 0.001024 | 10.0436
28.5833 | 0.0032989 | 10.0372
28.6 | 0.0028135 | 10.0401
28.6167 | 0.0007597 | 10.0324
28.6333 | -0.0013785 | 10.0326
28.65 | -0.0011911 | 10.0321
28.6667 | -0.00029496 | 10.0304
28.6833 | -0.00072887 | 10.0268
28.7 | -0.002081 | 10.0228
28.7167 | -0.0030519 | 10.0187
28.7333 | -0.0017575 | 10.0257
28.75 | -0.00031283 | 10.0323
28.7667 | -0.00062476 | 10.0364
28.7833 | -0.0012852 | 10.0382
28.8 | -0.002032 | 10.0278
28.8167 | -0.0033297 | 10.0347
28.8333 | -0.0046626 | 10.0356
28.85 | -0.0057345 | 10.0378
28.8667 | -0.0064935 | 10.0263
28.8833 | -0.0056154 | 10.0283
28.9 | -0.0036048 | 10.0286
28.9167 | -0.0020467 | 10.033
28.9333 | -0.0022117 | 10.0249
28.95 | -0.00070131 | 10.0338
28.9667 | 0.00031025 | 10.0397
28.9833 | -0.0033893 | 10.0361
29 | -0.0061076 | 10.0335
29.0167 | -0.0059903 | 10.0352
29.0333 | -0.0050563 | 10.0449
29.05 | -0.0046787 | 10.0463
29.0667 | -0.0069335 | 10.0411
29.0833 | -0.010005 | 10.0385
29.1 | -0.0094583 | 10.0384
29.1167 | -0.0070565 | 10.0376
29.1333 | -0.0056111 | 10.0391
29.15 | -0.0033928 | 10.0433
29.1667 | -0.0016785 | 10.0365
29.1833 | -0.0024685 | 10.0463
29.2 | -0.0019349 | 10.0448
29.2167 | 7.1663e-05 | 10.0428
29.2333 | 4.0254e-05 | 10.0416
29.25 | -0.0011716 | 10.0407
29.2667 | -0.0028583 | 10.0428
29.2833 | -0.0037136 | 10.0384
29.3 | -0.0047391 | 10.0401
29.3167 | -0.0040963 | 10.0393
29.3333 | -0.001619 | 10.0404
29.35 | -0.0016575 | 10.044
29.3667 | -0.003668 | 10.042
29.3833 | -0.0052512 | 10.0396
29.4 | -0.006605 | 10.0488
29.4167 | -0.0080695 | 10.0413
29.4333 | -0.0082988 | 10.0442
29.45 | -0.0078789 | 10.0401
29.4667 | -0.0077516 | 10.0361
29.4833 | -0.0075269 | 10.0376
29.5 | -0.0065033 | 10.0442
29.5167 | -0.0050389 | 10.0387
29.5333 | -0.0054779 | 10.0385
29.55 | -0.007045 | 10.0353
29.5667 | -0.007017 | 10.0295
29.5833 | -0.0052137 | 10.0283
29.6 | -0.0043125 | 10.0301
29.6167 | -0.0063167 | 10.0246
29.6333 | -0.0085723 | 10.0256
29.65 | -0.010396 | 10.0239
29.6667 | -0.012366 | 10.0201
29.6833 | -0.011818 | 10.0318
29.7 | -0.0096363 | 10.0336
29.7167 | -0.0077298 | 10.0373
29.7333 | -0.00757 | 10.0291
29.75 | -0.0069109 | 10.0359
29.7667 | -0.0057633 | 10.0298
29.7833 | -0.0050347 | 10.0355
29.8 | -0.0050337 | 10.0373
29.8167 | -0.0066997 | 10.0376
29.8333 | -0.0089744 | 10.0253
29.85 | -0.0095158 | 10.0269
29.8667 | -0.007568 | 10.0265
29.8833 | -0.0055874 | 10.0123
29.9 | -0.0058572 | 10.0158
29.9167 | -0.0063374 | 10.0147
29.9333 | -0.0059996 | 10.0256
29.95 | -0.007549 | 10.0216
29.9667 | -0.0088705 | 10.0166
29.9833 | -0.0082944 | 10.0123
30 | -0.0065779 | 10.0201
30.0167 | -0.0064834

## MW Results
Administrative Information
File name | ICF_25_05_2022-0004.sample
Analysed by | Agilent GPC 1
Date of analysis | 25 May 2022 15:36:18
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 36878 | 35481 | 46498 | 57297 | 67031 | 44893 | 1.3105
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 3.5667 | 12.4167
Baseline region 2 | 25.4167 | 28.8667
Peaks | Start (mins) | End (mins)
Peak 1 | 14.1333 | 16.4333
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 14.5833 | 695.7213 | 15.2064
| RI | 15.1333 | 110.4496 | 1.7998
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.3167 | 20.0667
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 25 May 2022 15:36:18
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6667
FRCF | 0.99322
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.1333 | 0.29418 | 0.058668 | 0.060733 | 0.00053083 | 1 | 134357 | 5.1283 | 0.057273 | No | 1
14.15 | 0.4483 | 0.062799 | 0.062423 | 0.00056821 | 0.99945 | 131420 | 5.1187 | 0.058919 | No | 1
14.1667 | 0.63621 | 0.062048 | 0.063274 | 0.00056141 | 0.99888 | 128551 | 5.1091 | 0.059774 | No | 1
14.1833 | 0.86446 | 0.064501 | 0.06649 | 0.00058361 | 0.99831 | 125746 | 5.0995 | 0.062867 | No | 1
14.2 | 1.1383 | 0.06848 | 0.07581 | 0.00061961 | 0.99771 | 123005 | 5.0899 | 0.071741 | No | 1
14.2167 | 1.4631 | 0.08314 | 0.088715 | 0.00075225 | 0.99702 | 120326 | 5.0804 | 0.084026 | No | 1
14.2333 | 1.847 | 0.09429 | 0.10002 | 0.00085314 | 0.99622 | 117708 | 5.0708 | 0.094815 | No | 1
14.25 | 2.2962 | 0.10575 | 0.11475 | 0.0009568 | 0.99531 | 115149 | 5.0613 | 0.10888 | No | 1
14.2667 | 2.8129 | 0.12376 | 0.13666 | 0.0011198 | 0.99428 | 112647 | 5.0517 | 0.12978 | No | 1
14.2833 | 3.3993 | 0.14956 | 0.16414 | 0.0013532 | 0.99304 | 110202 | 5.0422 | 0.15601 | No | 1
14.3 | 4.0603 | 0.17872 | 0.19902 | 0.0016171 | 0.99155 | 107812 | 5.0327 | 0.18932 | No | 1
14.3167 | 4.7942 | 0.21932 | 0.24107 | 0.0019844 | 0.98975 | 105476 | 5.0232 | 0.22952 | No | 1
14.3333 | 5.592 | 0.26282 | 0.28747 | 0.002378 | 0.98757 | 103193 | 5.0137 | 0.27393 | No | 1
14.35 | 6.4463 | 0.31211 | 0.3373 | 0.002824 | 0.98497 | 100961 | 5.0042 | 0.3217 | No | 1
14.3667 | 7.3466 | 0.36248 | 0.39445 | 0.0032797 | 0.98191 | 98779 | 4.9947 | 0.37653 | No | 1
14.3833 | 8.277 | 0.42643 | 0.46084 | 0.0038583 | 0.97834 | 96646 | 4.9852 | 0.44028 | No | 1
14.4 | 9.2197 | 0.49525 | 0.53081 | 0.0044811 | 0.97417 | 94561 | 4.9757 | 0.50757 | No | 1
14.4167 | 10.1533 | 0.56637 | 0.60704 | 0.0051246 | 0.96936 | 92522 | 4.9662 | 0.58096 | No | 1
14.4333 | 11.0571 | 0.64771 | 0.6925 | 0.0058606 | 0.96387 | 90529 | 4.9568 | 0.66332 | No | 1
14.45 | 11.9125 | 0.73729 | 0.78239 | 0.0066711 | 0.9576 | 88581 | 4.9473 | 0.75006 | No | 1
14.4667 | 12.6995 | 0.82748 | 0.87678 | 0.0074872 | 0.95051 | 86677 | 4.9379 | 0.84127 | No | 1
14.4833 | 13.3967 | 0.92607 | 0.9701 | 0.0083791 | 0.94257 | 84814 | 4.9285 | 0.93161 | No | 1
14.5 | 13.9926 | 1.0141 | 1.0577 | 0.0091759 | 0.93379 | 82994 | 4.919 | 1.0166 | No | 1
14.5167 | 14.4781 | 1.1013 | 1.1423 | 0.0099643 | 0.92421 | 81214 | 4.9096 | 1.0989 | No | 1
14.5333 | 14.8413 | 1.1834 | 1.2289 | 0.010707 | 0.91387 | 79473 | 4.9002 | 1.1832 | No | 1
14.55 | 15.0814 | 1.2745 | 1.3096 | 0.011532 | 0.90275 | 77772 | 4.8908 | 1.2619 | No | 1
14.5667 | 15.2003 | 1.3447 | 1.3798 | 0.012167 | 0.89089 | 76108 | 4.8814 | 1.3307 | No | 1
14.5833 | 15.2064 | 1.4149 | 1.4432 | 0.012802 | 0.8784 | 74481 | 4.872 | 1.393 | No | 1
14.6 | 15.11 | 1.4715 | 1.4929 | 0.013314 | 0.86533 | 72890 | 4.8627 | 1.4422 | No | 1
14.6167 | 14.9214 | 1.5142 | 1.531 | 0.013701 | 0.85181 | 71335 | 4.8533 | 1.4803 | No | 1
14.6333 | 14.6555 | 1.5478 | 1.5572 | 0.014005 | 0.83795 | 69814 | 4.8439 | 1.5069 | No | 1
14.65 | 14.3314 | 1.5666 | 1.5679 | 0.014175 | 0.82385 | 68327 | 4.8346 | 1.5186 | No | 1
14.6667 | 13.967 | 1.5692 | 1.5692 | 0.014198 | 0.80966 | 66872 | 4.8252 | 1.5211 | No | 1
14.6833 | 13.5766 | 1.5692 | 1.5646 | 0.014198 | 0.79545 | 65450 | 4.8159 | 1.5179 | No | 1
14.7 | 13.1748 | 1.5599 | 1.5544 | 0.014114 | 0.78128 | 64059 | 4.8066 | 1.5093 | No | 1
14.7167 | 12.7745 | 1.5488 | 1.5393 | 0.014014 | 0.76721 | 62699 | 4.7973 | 1.4959 | No | 1
14.7333 | 12.389 | 1.5299 | 1.5216 | 0.013842 | 0.75327 | 61369 | 4.7879 | 1.4799 | No | 1
14.75 | 12.0291 | 1.5133 | 1.5001 | 0.013692 | 0.7395 | 60068 | 4.7786 | 1.4602 | No | 1
14.7667 | 11.6993 | 1.4869 | 1.4763 | 0.013453 | 0.72592 | 58796 | 4.7693 | 1.4384 | No | 1
14.7833 | 11.4036 | 1.4658 | 1.4579 | 0.013263 | 0.71255 | 57552 | 4.7601 | 1.4216 | No | 1
14.8 | 11.1455 | 1.45 | 1.4394 | 0.013119 | 0.69935 | 56335 | 4.7508 | 1.4048 | No | 1
14.8167 | 10.926 | 1.4289 | 1.426 | 0.012929 | 0.68632 | 55145 | 4.7415 | 1.3928 | No | 1
14.8333 | 10.7442 | 1.423 | 1.4176 | 0.012875 | 0.67341 | 53981 | 4.7322 | 1.3857 | No | 1
14.85 | 10.5954 | 1.4122 | 1.4151 | 0.012777 | 0.66057 | 52842 | 4.723 | 1.3845 | No | 1
14.8667 | 10.4746 | 1.4181 | 1.4212 | 0.012831 | 0.64776 | 51728 | 4.7137 | 1.3916 | No | 1
14.8833 | 10.3764 | 1.4242 | 1.4331 | 0.012887 | 0.63489 | 50639 | 4.7045 | 1.4044 | No | 1
14.9 | 10.2952 | 1.442 | 1.4488 | 0.013047 | 0.62192 | 49574 | 4.6953 | 1.421 | No | 1
14.9167 | 10.2242 | 1.4557 | 1.4662 | 0.013171 | 0.6088 | 48532 | 4.686 | 1.4393 | No | 1
14.9333 | 10.1581 | 1.4768 | 1.4913 | 0.013362 | 0.59553 | 47512 | 4.6768 | 1.4651 | No | 1
14.95 | 10.0915 | 1.5058 | 1.5238 | 0.013624 | 0.58202 | 46515 | 4.6676 | 1.4983 | No | 1
14.9667 | 10.016 | 1.5418 | 1.5558 | 0.01395 | 0.56823 | 45540 | 4.6584 | 1.531 | No | 1
14.9833 | 9.9276 | 1.5697 | 1.5882 | 0.014203 | 0.55414 | 44585 | 4.6492 | 1.5642 | No | 1
15 | 9.8229 | 1.6067 | 1.6226 | 0.014537 | 0.53976 | 43652 | 4.64 | 1.5994 | No | 1
15.0167 | 9.698 | 1.6386 | 1.6571 | 0.014826 | 0.52507 | 42739 | 4.6308 | 1.6348 | No | 1
15.0333 | 9.5483 | 1.6757 | 1.6918 | 0.015161 | 0.51007 | 41845 | 4.6216 | 1.6703 | No | 1
15.05 | 9.3722 | 1.7079 | 1.7228 | 0.015453 | 0.49475 | 40972 | 4.6125 | 1.7024 | No | 1
15.0667 | 9.1704 | 1.7378 | 1.7497 | 0.015724 | 0.47915 | 40117 | 4.6033 | 1.7304 | No | 1
15.0833 | 8.9431 | 1.7616 | 1.7721 | 0.015939 | 0.46331 | 39280 | 4.5942 | 1.754 | No | 1
15.1 | 8.6925 | 1.7827 | 1.7869 | 0.01613 | 0.44727 | 38462 | 4.585 | 1.77 | No | 1
15.1167 | 8.4189 | 1.7911 | 1.7954 | 0.016206 | 0.43109 | 37661 | 4.5759 | 1.78 | No | 1
15.1333 | 8.1222 | 1.7998 | 1.7974 | 0.016285 | 0.41483 | 36878 | 4.5668 | 1.7834 | No | 1
15.15 | 7.8042 | 1.7951 | 1.7915 | 0.016242 | 0.39856 | 36111 | 4.5576 | 1.779 | No | 1
15.1667 | 7.4725 | 1.7879 | 1.7786 | 0.016177 | 0.38234 | 35361 | 4.5485 | 1.7676 | No | 1
15.1833 | 7.1343 | 1.7693 | 1.7579 | 0.016009 | 0.36624 | 34628 | 4.5394 | 1.7485 | No | 1
15.2 | 6.7914 | 1.7466 | 1.7343 | 0.015803 | 0.35032 | 33910 | 4.5303 | 1.7264 | No | 1
15.2167 | 6.4441 | 1.722 | 1.7035 | 0.015581 | 0.33462 | 33207 | 4.5212 | 1.6971 | No | 1
15.2333 | 6.0941 | 1.685 | 1.6657 | 0.015246 | 0.31919 | 32520 | 4.5122 | 1.6608 | No | 1
15.25 | 5.7468 | 1.6465 | 1.621 | 0.014898 | 0.30411 | 31847 | 4.5031 | 1.6176 | No | 1
15.2667 | 5.4061 | 1.5956 | 1.5763 | 0.014437 | 0.28944 | 31189 | 4.494 | 1.5743 | No | 1
15.2833 | 5.0743 | 1.5571 | 1.5321 | 0.014089 | 0.27516 | 30545 | 4.4849 | 1.5313 | No | 1
15.3 | 4.7551 | 1.5071 | 1.4763 | 0.013636 | 0.26129 | 29915 | 4.4759 | 1.4768 | No | 1
15.3167 | 4.4485 | 1.4456 | 1.4169 | 0.01308 | 0.24793 | 29298 | 4.4668 | 1.4185 | No | 1
15.3333 | 4.1549 | 1.3882 | 1.3595 | 0.012561 | 0.2351 | 28694 | 4.4578 | 1.3621 | No | 1
15.35 | 3.875 | 1.3307 | 1.2998 | 0.01204 | 0.22279 | 28104 | 4.4488 | 1.3034 | No | 1
15.3667 | 3.6104 | 1.2689 | 1.2359 | 0.011481 | 0.21102 | 27526 | 4.4397 | 1.2403 | No | 1
15.3833 | 3.3613 | 1.2029 | 1.1695 | 0.010884 | 0.19983 | 26960 | 4.4307 | 1.1745 | No | 1
15.4 | 3.1268 | 1.1361 | 1.1094 | 0.010279 | 0.18924 | 26406 | 4.4217 | 1.1151 | No | 1
15.4167 | 2.9078 | 1.0828 | 1.0591 | 0.0097974 | 0.1792 | 25864 | 4.4127 | 1.0654 | No | 1
15.4333 | 2.7026 | 1.0354 | 1.0096 | 0.0093681 | 0.16961 | 25334 | 4.4037 | 1.0164 | No | 1
15.45 | 2.5107 | 0.98381 | 0.95459 | 0.0089016 | 0.16047 | 24815 | 4.3947 | 0.96179 | No | 1
15.4667 | 2.3322 | 0.92538 | 0.90188 | 0.0083729 | 0.15183 | 24307 | 4.3857 | 0.90941 | No | 1
15.4833 | 2.1669 | 0.87839 | 0.8533 | 0.0079478 | 0.14366 | 23810 | 4.3768 | 0.8611 | No | 1
15.5 | 2.0138 | 0.8282 | 0.8028 | 0.0074936 | 0.13593 | 23323 | 4.3678 | 0.81079 | No | 1
15.5167 | 1.8686 | 0.7774 | 0.75666 | 0.007034 | 0.12867 | 22847 | 4.3588 | 0.76479 | No | 1
15.5333 | 1.732 | 0.73591 | 0.71432 | 0.0066586 | 0.12182 | 22381 | 4.3499 | 0.72257 | No | 1
15.55 | 1.6066 | 0.69274 | 0.67153 | 0.006268 | 0.11535 | 21924 | 4.3409 | 0.67983 | No | 1
15.5667 | 1.4894 | 0.65033 | 0.63279 | 0.0058842 | 0.10927 | 21478 | 4.332 | 0.64111 | No | 1
15.5833 | 1.3777 | 0.61525 | 0.59832 | 0.0055668 | 0.10354 | 21040 | 4.323 | 0.60666 | No | 1
15.6 | 1.2735 | 0.58138 | 0.56422 | 0.0052604 | 0.098122 | 20612 | 4.3141 | 0.57254 | No | 1
15.6167 | 1.1767 | 0.54706 | 0.53669 | 0.0049499 | 0.093013 | 20193 | 4.3052 | 0.54504 | No | 1
15.6333 | 1.0856 | 0.52632 | 0.50817 | 0.0047622 | 0.088154 | 19783 | 4.2963 | 0.51648 | No | 1
15.65 | 0.99882 | 0.49002 | 0.47904 | 0.0044337 | 0.083553 | 19382 | 4.2874 | 0.48725 | No | 1
15.6667 | 0.91718 | 0.46806 | 0.457 | 0.004235 | 0.079216 | 18989 | 4.2785 | 0.4652 | No | 1
15.6833 | 0.8407 | 0.44594 | 0.43596 | 0.0040349 | 0.075078 | 18604 | 4.2696 | 0.44412 | No | 1
15.7 | 0.76758 | 0.42597 | 0.41041 | 0.0038542 | 0.071131 | 18227 | 4.2607 | 0.41842 | No | 1
15.7167 | 0.69757 | 0.39485 | 0.38662 | 0.0035726 | 0.067416 | 17858 | 4.2518 | 0.39447 | No | 1
15.7333 | 0.63151 | 0.37838 | 0.36847 | 0.0034236 | 0.063915 | 17497 | 4.243 | 0.37625 | No | 1
15.75 | 0.56971 | 0.35856 | 0.3504 | 0.0032443 | 0.060579 | 17144 | 4.2341 | 0.35808 | No | 1
15.7667 | 0.51331 | 0.34224 | 0.33019 | 0.0030966 | 0.057407 | 16798 | 4.2253 | 0.33769 | No | 1
15.7833 | 0.46009 | 0.31814 | 0.31281 | 0.0028786 | 0.054417 | 16459 | 4.2164 | 0.32016 | No | 1
15.8 | 0.4085 | 0.30748 | 0.30023 | 0.0027821 | 0.051585 | 16127 | 4.2076 | 0.30753 | No | 1
15.8167 | 0.35905 | 0.29299 | 0.28872 | 0.002651 | 0.048867 | 15802 | 4.1987 | 0.29597 | No | 1
15.8333 | 0.31042 | 0.28446 | 0.27676 | 0.0025738 | 0.046253 | 15484 | 4.1899 | 0.28392 | No | 1
15.85 | 0.26554 | 0.26906 | 0.26754 | 0.0024345 | 0.043747 | 15173 | 4.1811 | 0.27467 | No | 1
15.8667 | 0.22578 | 0.26602 | 0.26022 | 0.0024069 | 0.041325 | 14868 | 4.1723 | 0.26737 | No | 1
15.8833 | 0.18709 | 0.25443 | 0.24711 | 0.0023021 | 0.038969 | 14570 | 4.1635 | 0.25409 | No | 1
15.9 | 0.14981 | 0.2398 | 0.23004 | 0.0021697 | 0.036731 | 14277 | 4.1546 | 0.23671 | No | 1
15.9167 | 0.11418 | 0.22028 | 0.21509 | 0.0019931 | 0.034648 | 13991 | 4.1458 | 0.22151 | No | 1
15.9333 | 0.081353 | 0.20991 | 0.20412 | 0.0018993 | 0.032701 | 13711 | 4.1371 | 0.21037 | No | 1
15.95 | 0.052125 | 0.19833 | 0.19223 | 0.0017945 | 0.030853 | 13436 | 4.1283 | 0.19826 | No | 1
15.9667 | 0.023371 | 0.18613 | 0.18377 | 0.0016841 | 0.029113 | 13168 | 4.1195 | 0.18969 | No | 1
15.9833 | -0.0057647 | 0.18141 | 0.17959 | 0.0016414 | 0.027449 | 12904 | 4.1107 | 0.18551 | No | 1
16 | -0.033762 | 0.17776 | 0.17174 | 0.0016084 | 0.025823 | 12647 | 4.102 | 0.17754 | No | 1
16.0167 | -0.059305 | 0.16572 | 0.15825 | 0.0014994 | 0.024268 | 12394 | 4.0932 | 0.16371 | No | 1
16.0333 | -0.085205 | 0.15078 | 0.14888 | 0.0013642 | 0.022835 | 12147 | 4.0845 | 0.15413 | No | 1
16.05 | -0.10855 | 0.14697 | 0.14446 | 0.0013298 | 0.021487 | 11905 | 4.0757 | 0.14968 | No | 1
16.0667 | -0.12746 | 0.14195 | 0.14196 | 0.0012844 | 0.020179 | 11668 | 4.067 | 0.14719 | No | 1
16.0833 | -0.14724 | 0.14196 | 0.13701 | 0.0012845 | 0.018894 | 11436 | 4.0583 | 0.14217 | No | 1
16.1 | -0.16806 | 0.13205 | 0.13267 | 0.0011948 | 0.017653 | 11208 | 4.0495 | 0.13777 | No | 1
16.1167 | -0.18754 | 0.13329 | 0.13154 | 0.001206 | 0.016452 | 10986 | 4.0408 | 0.1367 | No | 1
16.1333 | -0.2053 | 0.12979 | 0.1256 | 0.0011743 | 0.015261 | 10768 | 4.0321 | 0.13062 | No | 1
16.15 | -0.22032 | 0.12141 | 0.11851 | 0.0010985 | 0.014124 | 10554 | 4.0234 | 0.12335 | No | 1
16.1667 | -0.23484 | 0.11562 | 0.11395 | 0.0010462 | 0.013051 | 10345 | 4.0147 | 0.11868 | No | 1
16.1833 | -0.24847 | 0.11228 | 0.10763 | 0.0010159 | 0.01202 | 10140 | 4.006 | 0.11218 | No | 1
16.2 | -0.25895 | 0.10298 | 0.1007 | 0.00093177 | 0.011045 | 9939 | 3.9973 | 0.10504 | No | 1
16.2167 | -0.26871 | 0.098414 | 0.099717 | 0.00089046 | 0.010133 | 9743 | 3.9887 | 0.10409 | No | 1
16.2333 | -0.27976 | 0.10102 | 0.099804 | 0.00091403 | 0.0092305 | 9550 | 3.98 | 0.10426 | No | 1
16.25 | -0.29061 | 0.09859 | 0.093712 | 0.00089205 | 0.0083269 | 9361 | 3.9713 | 0.097971 | No | 1
16.2667 | -0.30146 | 0.088835 | 0.087621 | 0.00080379 | 0.0074784 | 9177 | 3.9627 | 0.09167 | No | 1
16.2833 | -0.31109 | 0.086406 | 0.080308 | 0.00078181 | 0.0066851 | 8996 | 3.954 | 0.084081 | No | 1
16.3 | -0.31771 | 0.07421 | 0.078794 | 0.00067146 | 0.005958 | 8818 | 3.9454 | 0.082557 | No | 1
16.3167 | -0.3224 | 0.083377 | 0.083917 | 0.0007544 | 0.0052446 | 8645 | 3.9368 | 0.087989 | No | 1
16.3333 | -0.32824 | 0.084457 | 0.083623 | 0.00076417 | 0.0044849 | 8475 | 3.9281 | 0.087746 | No | 1
16.35 | -0.33358 | 0.08279 | 0.079133 | 0.00074909 | 0.0037278 | 8308 | 3.9195 | 0.083096 | No | 1
16.3667 | -0.33587 | 0.075477 | 0.079984 | 0.00068292 | 0.0030113 | 8145 | 3.9109 | 0.084051 | No | 1
16.3833 | -0.33722 | 0.084491 | 0.084574 | 0.00076449 | 0.0022871 | 7985 | 3.9023 | 0.088938 | No | 1
16.4 | -0.33878 | 0.084656 | 0.084356 | 0.00076597 | 0.0015214 | 7828 | 3.8937 | 0.088774 | No | 1
16.4167 | -0.34014 | 0.084057 | 0.083681 | 0.00076055 | 0.00075764 | 7675 | 3.8851 | 0.088128 | No | 1
16.4333 | -0.34442 | 0.083305 | 0 | 0.00075375 | 0 | 7524 | 3.8764 | 0 | No | 1