## Sample Details
Administrative Information
Export date | 25 May 2022 15:46:20
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0003.sample
Creation date | 25 May 2022 10:26:21
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t8=180 min
Information
Sample type | Sample
Injection date | 25 May 2022
Vial number | P2-A-4
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 29.8333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1790
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 29.8333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1790
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.02502 | 10.0078
0.016667 | -0.027487 | 10.0111
0.033333 | -0.027866 | 9.9323
0.05 | -0.024738 | 9.7077
0.066667 | -0.016457 | 9.6984
0.083333 | -0.0094077 | 9.7576
0.1 | -0.0089915 | 9.8277
0.11667 | -0.011879 | 9.8849
0.13333 | -0.014639 | 9.9279
0.15 | -0.016806 | 9.9526
0.16667 | -0.018308 | 9.9613
0.18333 | -0.020369 | 9.972
0.2 | -0.022375 | 9.9763
0.21667 | -0.02188 | 9.9804
0.23333 | -0.019436 | 9.9888
0.25 | -0.019087 | 9.9894
0.26667 | -0.020205 | 9.9966
0.28333 | -0.019569 | 10.0057
0.3 | -0.020035 | 10.0152
0.31667 | -0.021425 | 10.0069
0.33333 | -0.022086 | 10.0153
0.35 | -0.022144 | 10.0156
0.36667 | -0.019943 | 10.0127
0.38333 | -0.01762 | 10.0137
0.4 | -0.017441 | 10.015
0.41667 | -0.018498 | 10.0083
0.43333 | -0.019472 | 10.0085
0.45 | -0.019612 | 10.0045
0.46667 | -0.019214 | 10.0126
0.48333 | -0.018842 | 10.0103
0.5 | -0.019063 | 10.005
0.51667 | -0.019189 | 9.9999
0.53333 | -0.020032 | 9.9966
0.55 | -0.021954 | 9.9986
0.56667 | -0.022536 | 9.9955
0.58333 | -0.022292 | 10.0016
0.6 | -0.022636 | 10.0033
0.61667 | -0.022886 | 10.0016
0.63333 | -0.022267 | 10.0037
0.65 | -0.021689 | 10.0068
0.66667 | -0.022835 | 10.0037
0.68333 | -0.024287 | 10.0037
0.7 | -0.024637 | 10.0091
0.71667 | -0.023253 | 10.0112
0.73333 | -0.021271 | 10.0188
0.75 | -0.019983 | 10.0225
0.76667 | -0.020164 | 10.0208
0.78333 | -0.021719 | 10.0249
0.8 | -0.021846 | 10.019
0.81667 | -0.021374 | 10.0199
0.83333 | -0.023404 | 10.0198
0.85 | -0.024747 | 10.0233
0.86667 | -0.022734 | 10.0182
0.88333 | -0.02087 | 10.024
0.9 | -0.022335 | 10.0213
0.91667 | -0.02406 | 10.0176
0.93333 | -0.024249 | 10.0126
0.95 | -0.024333 | 10.0132
0.96667 | -0.023728 | 10.0193
0.98333 | -0.024891 | 10.0275
1 | -0.028103 | 10.0253
1.0167 | -0.029678 | 10.0193
1.0333 | -0.028834 | 10.0173
1.05 | -0.027174 | 10.014
1.0667 | -0.025837 | 10.0193
1.0833 | -0.025108 | 10.0208
1.1 | -0.024635 | 10.0275
1.1167 | -0.024201 | 10.0196
1.1333 | -0.024872 | 10.0222
1.15 | -0.026472 | 10.0111
1.1667 | -0.027597 | 10.0199
1.1833 | -0.026956 | 10.0187
1.2 | -0.027774 | 10.0269
1.2167 | -0.028879 | 10.03
1.2333 | -0.0261 | 10.0277
1.25 | -0.023341 | 10.026
1.2667 | -0.02332 | 10.0275
1.2833 | -0.025157 | 10.0251
1.3 | -0.026164 | 10.023
1.3167 | -0.026948 | 10.0207
1.3333 | -0.028424 | 10.0275
1.35 | -0.027126 | 10.0278
1.3667 | -0.025646 | 10.0292
1.3833 | -0.025282 | 10.0312
1.4 | -0.024972 | 10.0278
1.4167 | -0.025193 | 10.0344
1.4333 | -0.026393 | 10.0396
1.45 | -0.028885 | 10.0394
1.4667 | -0.030612 | 10.0285
1.4833 | -0.030715 | 10.0262
1.5 | -0.029939 | 10.0262
1.5167 | -0.029848 | 10.0256
1.5333 | -0.03039 | 10.0214
1.55 | -0.030678 | 10.0219
1.5667 | -0.031506 | 10.017
1.5833 | -0.031281 | 10.0266
1.6 | -0.029253 | 10.0205
1.6167 | -0.028497 | 10.0259
1.6333 | -0.028491 | 10.0192
1.65 | -0.028707 | 10.0256
1.6667 | -0.030045 | 10.0283
1.6833 | -0.031348 | 10.0234
1.7 | -0.030996 | 10.022
1.7167 | -0.031955 | 10.0254
1.7333 | -0.032225 | 10.0272
1.75 | -0.030209 | 10.0291
1.7667 | -0.03001 | 10.0254
1.7833 | -0.03075 | 10.0256
1.8 | -0.030872 | 10.0301
1.8167 | -0.031542 | 10.0343
1.8333 | -0.03339 | 10.0393
1.85 | -0.033486 | 10.0469
1.8667 | -0.031284 | 10.0422
1.8833 | -0.030894 | 10.0533
1.9 | -0.032889 | 10.0478
1.9167 | -0.034879 | 10.0437
1.9333 | -0.035866 | 10.0474
1.95 | -0.035557 | 10.0462
1.9667 | -0.033474 | 10.0442
1.9833 | -0.030009 | 10.0419
2 | -0.028663 | 10.0423
2.0167 | -0.029652 | 10.0465
2.0333 | -0.029704 | 10.0455
2.05 | -0.029712 | 10.0388
2.0667 | -0.0318 | 10.0376
2.0833 | -0.033991 | 10.0336
2.1 | -0.03434 | 10.032
2.1167 | -0.033814 | 10.0294
2.1333 | -0.033441 | 10.0335
2.15 | -0.03316 | 10.0335
2.1667 | -0.032383 | 10.0381
2.1833 | -0.03278 | 10.0352
2.2 | -0.035385 | 10.0332
2.2167 | -0.036715 | 10.0352
2.2333 | -0.036304 | 10.0381
2.25 | -0.036298 | 10.0417
2.2667 | -0.036018 | 10.0332
2.2833 | -0.035192 | 10.0309
2.3 | -0.034926 | 10.0332
2.3167 | -0.035113 | 10.0387
2.3333 | -0.034434 | 10.0452
2.35 | -0.033051 | 10.0451
2.3667 | -0.032726 | 10.0471
2.3833 | -0.031352 | 10.0381
2.4 | -0.029932 | 10.0283
2.4167 | -0.029934 | 10.0245
2.4333 | -0.029328 | 10.0268
2.45 | -0.03052 | 10.0324
2.4667 | -0.031215 | 10.0237
2.4833 | -0.029077 | 10.0272
2.5 | -0.02999 | 10.0271
2.5167 | -0.034002 | 10.0341
2.5333 | -0.035464 | 10.0324
2.55 | -0.035164 | 10.0321
2.5667 | -0.036461 | 10.0204
2.5833 | -0.038671 | 10.0185
2.6 | -0.036715 | 10.0086
2.6167 | -0.032809 | 10.0173
2.6333 | -0.032031 | 10.019
2.65 | -0.033693 | 10.0132
2.6667 | -0.033941 | 10.0098
2.6833 | -0.032529 | 10.0094
2.7 | -0.031772 | 10.0109
2.7167 | -0.031947 | 10.0143
2.7333 | -0.031608 | 10.0056
2.75 | -0.031012 | 10.0028
2.7667 | -0.031037 | 10.0011
2.7833 | -0.031464 | 9.9921
2.8 | -0.031191 | 9.9937
2.8167 | -0.031446 | 9.992
2.8333 | -0.031619 | 9.9906
2.85 | -0.029912 | 9.9871
2.8667 | -0.029539 | 9.986
2.8833 | -0.03027 | 9.9915
2.9 | -0.030172 | 9.99
2.9167 | -0.030196 | 9.9886
2.9333 | -0.03132 | 9.9891
2.95 | -0.032165 | 9.9828
2.9667 | -0.032774 | 9.994
2.9833 | -0.032514 | 9.9958
3 | -0.031495 | 10.0051
3.0167 | -0.031506 | 10.0028
3.0333 | -0.032751 | 10.0105
3.05 | -0.033475 | 10.0097
3.0667 | -0.034755 | 10.0127
3.0833 | -0.035819 | 10.0156
3.1 | -0.034797 | 10.0192
3.1167 | -0.033418 | 10.0134
3.1333 | -0.032101 | 10.0153
3.15 | -0.031807 | 10.0106
3.1667 | -0.033198 | 10.0149
3.1833 | -0.034668 | 10.0126
3.2 | -0.034094 | 10.0121
3.2167 | -0.032118 | 10.0126
3.2333 | -0.031592 | 10.0214
3.25 | -0.030413 | 10.0198
3.2667 | -0.029 | 10.0175
3.2833 | -0.031625 | 10.0153
3.3 | -0.031842 | 10.01
3.3167 | -0.029766 | 10.0155
3.3333 | -0.030238 | 10.0121
3.35 | -0.030752 | 10.0205
3.3667 | -0.031824 | 10.0184
3.3833 | -0.033374 | 10.0185
3.4 | -0.032119 | 10.0147
3.4167 | -0.031467 | 10.0124
3.4333 | -0.031649 | 10.0138
3.45 | -0.031919 | 10.0175
3.4667 | -0.033439 | 10.015
3.4833 | -0.034744 | 10.0181
3.5 | -0.033745 | 10.0124
3.5167 | -0.031862 | 10.0169
3.5333 | -0.032246 | 10.0173
3.55 | -0.033885 | 10.0115
3.5667 | -0.034042 | 10.0181
3.5833 | -0.034087 | 10.0176
3.6 | -0.034041 | 10.0283
3.6167 | -0.033484 | 10.0152
3.6333 | -0.031472 | 10.0219
3.65 | -0.030345 | 10.0187
3.6667 | -0.031171 | 10.0167
3.6833 | -0.033499 | 10.0187
3.7 | -0.03367 | 10.0178
3.7167 | -0.032858 | 10.0147
3.7333 | -0.036124 | 10.0155
3.75 | -0.038132 | 10.0124
3.7667 | -0.037928 | 10.0178
3.7833 | -0.037095 | 10.0147
3.8 | -0.037123 | 10.0056
3.8167 | -0.037325 | 10.0037
3.8333 | -0.036459 | 10.0082
3.85 | -0.034971 | 10.0042
3.8667 | -0.034099 | 10.0112
3.8833 | -0.034375 | 10.0103
3.9 | -0.034354 | 10.0094
3.9167 | -0.033456 | 10.0042
3.9333 | -0.033299 | 10.0068
3.95 | -0.034518 | 10.0056
3.9667 | -0.036224 | 10.0077
3.9833 | -0.034841 | 10.0077
4 | -0.031824 | 10.0033
4.0167 | -0.031888 | 10.0092
4.0333 | -0.033822 | 10.0074
4.05 | -0.033537 | 10.0144
4.0667 | -0.032626 | 10.0159
4.0833 | -0.031628 | 10.0198
4.1 | -0.030637 | 10.0181
4.1167 | -0.031542 | 10.0224
4.1333 | -0.032261 | 10.0178
4.15 | -0.03144 | 10.0199
4.1667 | -0.030718 | 10.0204
4.1833 | -0.030214 | 10.0289
4.2 | -0.030785 | 10.0242
4.2167 | -0.031346 | 10.0115
4.2333 | -0.031186 | 10.0138
4.25 | -0.030809 | 10.0234
4.2667 | -0.031788 | 10.0269
4.2833 | -0.032756 | 10.0347
4.3 | -0.033528 | 10.0266
4.3167 | -0.033369 | 10.0239
4.3333 | -0.031742 | 10.0225
4.35 | -0.031797 | 10.0149
4.3667 | -0.033152 | 10.0094
4.3833 | -0.034869 | 10.012
4.4 | -0.036626 | 10.0152
4.4167 | -0.036496 | 10.0159
4.4333 | -0.035957 | 10.014
4.45 | -0.034637 | 10.0103
4.4667 | -0.033035 | 10.0091
4.4833 | -0.03347 | 10.0034
4.5 | -0.033621 | 10.0065
4.5167 | -0.033615 | 10.0097
4.5333 | -0.033465 | 10.0079
4.55 | -0.032272 | 10.0121
4.5667 | -0.032889 | 10.0192
4.5833 | -0.035864 | 10.017
4.6 | -0.036345 | 10.0214
4.6167 | -0.034388 | 10.0134
4.6333 | -0.033495 | 10.023
4.65 | -0.034129 | 10.0268
4.6667 | -0.034558 | 10.0266
4.6833 | -0.034639 | 10.0242
4.7 | -0.033509 | 10.0303
4.7167 | -0.030951 | 10.0291
4.7333 | -0.029009 | 10.0315
4.75 | -0.028197 | 10.0272
4.7667 | -0.028417 | 10.0307
4.7833 | -0.028775 | 10.0306
4.8 | -0.029192 | 10.0253
4.8167 | -0.029879 | 10.0239
4.8333 | -0.031538 | 10.0211
4.85 | -0.032416 | 10.0289
4.8667 | -0.032488 | 10.0231
4.8833 | -0.031919 | 10.021
4.9 | -0.030457 | 10.0144
4.9167 | -0.029049 | 10.0172
4.9333 | -0.029588 | 10.0216
4.95 | -0.02972 | 10.026
4.9667 | -0.028221 | 10.0254
4.9833 | -0.029182 | 10.024
5 | -0.03228 | 10.0251
5.0167 | -0.033843 | 10.0253
5.0333 | -0.033398 | 10.0274
5.05 | -0.03302 | 10.0341
5.0667 | -0.032961 | 10.0323
5.0833 | -0.032574 | 10.032
5.1 | -0.031955 | 10.034
5.1167 | -0.032125 | 10.0361
5.1333 | -0.031616 | 10.0356
5.15 | -0.031232 | 10.0343
5.1667 | -0.031246 | 10.0309
5.1833 | -0.030983 | 10.0344
5.2 | -0.032585 | 10.0311
5.2167 | -0.034106 | 10.0327
5.2333 | -0.032213 | 10.0321
5.25 | -0.029918 | 10.0324
5.2667 | -0.028453 | 10.0356
5.2833 | -0.028631 | 10.0381
5.3 | -0.029842 | 10.0321
5.3167 | -0.028907 | 10.0312
5.3333 | -0.027613 | 10.0266
5.35 | -0.027935 | 10.0219
5.3667 | -0.027641 | 10.0306
5.3833 | -0.026138 | 10.034
5.4 | -0.026252 | 10.035
5.4167 | -0.027274 | 10.035
5.4333 | -0.027771 | 10.0416
5.45 | -0.027778 | 10.0369
5.4667 | -0.027645 | 10.0364
5.4833 | -0.028916 | 10.0297
5.5 | -0.029748 | 10.0294
5.5167 | -0.029841 | 10.0251
5.5333 | -0.029836 | 10.0344
5.55 | -0.027881 | 10.0379
5.5667 | -0.027404 | 10.0376
5.5833 | -0.027999 | 10.042
5.6 | -0.028407 | 10.0387
5.6167 | -0.028963 | 10.0413
5.6333 | -0.028187 | 10.0446
5.65 | -0.026712 | 10.0468
5.6667 | -0.027493 | 10.055
5.6833 | -0.028928 | 10.0593
5.7 | -0.029451 | 10.0538
5.7167 | -0.028934 | 10.0512
5.7333 | -0.028335 | 10.0593
5.75 | -0.027155 | 10.0517
5.7667 | -0.027075 | 10.0559
5.7833 | -0.029257 | 10.0639
5.8 | -0.030005 | 10.064
5.8167 | -0.028363 | 10.0622
5.8333 | -0.02794 | 10.0544
5.85 | -0.02804 | 10.0558
5.8667 | -0.026872 | 10.0535
5.8833 | -0.025301 | 10.0547
5.9 | -0.025589 | 10.0497
5.9167 | -0.027134 | 10.0474
5.9333 | -0.028496 | 10.0462
5.95 | -0.030906 | 10.0527
5.9667 | -0.032647 | 10.0436
5.9833 | -0.031941 | 10.037
6 | -0.030444 | 10.0379
6.0167 | -0.029292 | 10.0419
6.0333 | -0.029295 | 10.0428
6.05 | -0.030081 | 10.0446
6.0667 | -0.030576 | 10.0477
6.0833 | -0.030357 | 10.055
6.1 | -0.030194 | 10.0472
6.1167 | -0.031936 | 10.0417
6.1333 | -0.033595 | 10.041
6.15 | -0.033797 | 10.0404
6.1667 | -0.033227 | 10.0375
6.1833 | -0.03227 | 10.0375
6.2 | -0.032296 | 10.0419
6.2167 | -0.032094 | 10.0355
6.2333 | -0.031455 | 10.0285
6.25 | -0.033128 | 10.0301
6.2667 | -0.035186 | 10.0379
6.2833 | -0.035416 | 10.0326
6.3 | -0.034984 | 10.0362
6.3167 | -0.035568 | 10.0298
6.3333 | -0.035993 | 10.0347
6.35 | -0.036621 | 10.0373
6.3667 | -0.037776 | 10.0385
6.3833 | -0.037121 | 10.0343
6.4 | -0.036129 | 10.0352
6.4167 | -0.035907 | 10.0271
6.4333 | -0.033679 | 10.0333
6.45 | -0.028667 | 10.032
6.4667 | -0.023962 | 10.0309
6.4833 | -0.018956 | 10.0298
6.5 | -0.0080149 | 10.0333
6.5167 | 0.0096853 | 10.0294
6.5333 | 0.03793 | 10.0266
6.55 | 0.081105 | 10.0294
6.5667 | 0.1438 | 10.0282
6.5833 | 0.23349 | 10.0254
6.6 | 0.35934 | 10.0147
6.6167 | 0.53496 | 10.0147
6.6333 | 0.7719 | 10.0155
6.65 | 1.0813 | 10.0172
6.6667 | 1.474 | 10.0158
6.6833 | 1.9576 | 10.0178
6.7 | 2.5361 | 10.0123
6.7167 | 3.209 | 10.0164
6.7333 | 3.9736 | 10.0192
6.75 | 4.822 | 10.0277
6.7667 | 5.7386 | 10.0324
6.7833 | 6.7008 | 10.0402
6.8 | 7.6883 | 10.0443
6.8167 | 8.6812 | 10.055
6.8333 | 9.6567 | 10.068
6.85 | 10.5957 | 10.0771
6.8667 | 11.4827 | 10.0825
6.8833 | 12.2936 | 10.0921
6.9 | 13.0145 | 10.1002
6.9167 | 13.6439 | 10.0973
6.9333 | 14.177 | 10.1005
6.95 | 14.6076 | 10.1086
6.9667 | 14.9371 | 10.1136
6.9833 | 15.1718 | 10.1171
7 | 15.3157 | 10.1205
7.0167 | 15.3754 | 10.1249
7.0333 | 15.3597 | 10.1293
7.05 | 15.2776 | 10.1273
7.0667 | 15.1407 | 10.1313
7.0833 | 14.9591 | 10.1353
7.1 | 14.7356 | 10.1386
7.1167 | 14.4794 | 10.1434
7.1333 | 14.2019 | 10.1446
7.15 | 13.9062 | 10.1481
7.1667 | 13.5961 | 10.1449
7.1833 | 13.2796 | 10.1429
7.2 | 12.9585 | 10.144
7.2167 | 12.6352 | 10.1429
7.2333 | 12.3167 | 10.1389
7.25 | 12.0038 | 10.1319
7.2667 | 11.6953 | 10.1308
7.2833 | 11.3936 | 10.1254
7.3 | 11.0985 | 10.1275
7.3167 | 10.8103 | 10.1305
7.3333 | 10.5326 | 10.135
7.35 | 10.2659 | 10.1307
7.3667 | 10.0038 | 10.127
7.3833 | 9.7481 | 10.1225
7.4 | 9.5025 | 10.116
7.4167 | 9.2655 | 10.1121
7.4333 | 9.0369 | 10.107
7.45 | 8.816 | 10.1118
7.4667 | 8.6039 | 10.111
7.4833 | 8.3984 | 10.1138
7.5 | 8.199 | 10.1064
7.5167 | 8.0065 | 10.1075
7.5333 | 7.8206 | 10.0983
7.55 | 7.6414 | 10.1044
7.5667 | 7.4676 | 10.1031
7.5833 | 7.2989 | 10.0983
7.6 | 7.1369 | 10.091
7.6167 | 6.9804 | 10.0901
7.6333 | 6.828 | 10.0947
7.65 | 6.6816 | 10.0889
7.6667 | 6.5397 | 10.0875
7.6833 | 6.4018 | 10.0929
7.7 | 6.2672 | 10.0866
7.7167 | 6.1337 | 10.095
7.7333 | 6.0039 | 10.0871
7.75 | 5.8807 | 10.0878
7.7667 | 5.7625 | 10.0866
7.7833 | 5.6487 | 10.0872
7.8 | 5.5378 | 10.0851
7.8167 | 5.4293 | 10.0828
7.8333 | 5.3229 | 10.0779
7.85 | 5.2196 | 10.0631
7.8667 | 5.1208 | 10.066
7.8833 | 5.0256 | 10.0654
7.9 | 4.9338 | 10.0745
7.9167 | 4.8422 | 10.0733
7.9333 | 4.7505 | 10.0674
7.95 | 4.6631 | 10.0683
7.9667 | 4.581 | 10.0683
7.9833 | 4.5014 | 10.0724
8 | 4.4217 | 10.0661
8.0167 | 4.344 | 10.0636
8.0333 | 4.2701 | 10.0636
8.05 | 4.1994 | 10.0564
8.0667 | 4.1309 | 10.0579
8.0833 | 4.064 | 10.0561
8.1 | 3.9977 | 10.0614
8.1167 | 3.9323 | 10.0607
8.1333 | 3.8673 | 10.0571
8.15 | 3.8038 | 10.0552
8.1667 | 3.7434 | 10.0574
8.1833 | 3.6846 | 10.0517
8.2 | 3.6257 | 10.0546
8.2167 | 3.5649 | 10.0568
8.2333 | 3.5047 | 10.0497
8.25 | 3.446 | 10.0468
8.2667 | 3.3887 | 10.0425
8.2833 | 3.3339 | 10.0369
8.3 | 3.2784 | 10.0388
8.3167 | 3.223 | 10.0498
8.3333 | 3.169 | 10.0517
8.35 | 3.1151 | 10.0587
8.3667 | 3.0625 | 10.0558
8.3833 | 3.0127 | 10.0573
8.4 | 2.9634 | 10.0585
8.4167 | 2.9132 | 10.0587
8.4333 | 2.8656 | 10.0585
8.45 | 2.8177 | 10.0568
8.4667 | 2.7707 | 10.0518
8.4833 | 2.7274 | 10.0501
8.5 | 2.6845 | 10.0459
8.5167 | 2.6423 | 10.0491
8.5333 | 2.6014 | 10.0491
8.55 | 2.5616 | 10.0541
8.5667 | 2.523 | 10.0517
8.5833 | 2.4841 | 10.0616
8.6 | 2.4469 | 10.0579
8.6167 | 2.4124 | 10.0602
8.6333 | 2.3765 | 10.0594
8.65 | 2.34 | 10.0616
8.6667 | 2.307 | 10.0651
8.6833 | 2.278 | 10.0674
8.7 | 2.2523 | 10.0642
8.7167 | 2.2243 | 10.062
8.7333 | 2.1934 | 10.0603
8.75 | 2.165 | 10.0614
8.7667 | 2.1396 | 10.0639
8.7833 | 2.114 | 10.0616
8.8 | 2.0901 | 10.0639
8.8167 | 2.069 | 10.0658
8.8333 | 2.0467 | 10.071
8.85 | 2.025 | 10.0658
8.8667 | 2.0063 | 10.0613
8.8833 | 1.9903 | 10.0594
8.9 | 1.9747 | 10.0597
8.9167 | 1.961 | 10.0568
8.9333 | 1.9527 | 10.0539
8.95 | 1.9481 | 10.0573
8.9667 | 1.9455 | 10.0542
8.9833 | 1.9457 | 10.0428
9 | 1.9489 | 10.0407
9.0167 | 1.956 | 10.0378
9.0333 | 1.969 | 10.0382
9.05 | 1.9846 | 10.0405
9.0667 | 2.0001 | 10.0445
9.0833 | 2.0187 | 10.0526
9.1 | 2.0392 | 10.0564
9.1167 | 2.0576 | 10.0596
9.1333 | 2.0755 | 10.0561
9.15 | 2.0928 | 10.0559
9.1667 | 2.108 | 10.0512
9.1833 | 2.1212 | 10.0454
9.2 | 2.1333 | 10.0521
9.2167 | 2.1425 | 10.0526
9.2333 | 2.1485 | 10.0526
9.25 | 2.1507 | 10.0529
9.2667 | 2.149 | 10.0556
9.2833 | 2.1458 | 10.0625
9.3 | 2.1388 | 10.0556
9.3167 | 2.1281 | 10.0542
9.3333 | 2.1153 | 10.055
9.35 | 2.0982 | 10.0632
9.3667 | 2.078 | 10.057
9.3833 | 2.0563 | 10.0504
9.4 | 2.0335 | 10.044
9.4167 | 2.01 | 10.0527
9.4333 | 1.984 | 10.0578
9.45 | 1.953 | 10.061
9.4667 | 1.9221 | 10.0666
9.4833 | 1.8938 | 10.0648
9.5 | 1.8653 | 10.0565
9.5167 | 1.8354 | 10.0527
9.5333 | 1.8062 | 10.0585
9.55 | 1.7762 | 10.0574
9.5667 | 1.7459 | 10.0573
9.5833 | 1.7175 | 10.0518
9.6 | 1.6893 | 10.0556
9.6167 | 1.658 | 10.0546
9.6333 | 1.6272 | 10.0527
9.65 | 1.6001 | 10.057
9.6667 | 1.5743 | 10.0581
9.6833 | 1.5463 | 10.0645
9.7 | 1.5197 | 10.0703
9.7167 | 1.497 | 10.0649
9.7333 | 1.4737 | 10.0683
9.75 | 1.4503 | 10.0651
9.7667 | 1.4278 | 10.0622
9.7833 | 1.4044 | 10.0614
9.8 | 1.3814 | 10.0616
9.8167 | 1.36 | 10.0527
9.8333 | 1.3382 | 10.0535
9.85 | 1.3167 | 10.0472
9.8667 | 1.2954 | 10.0546
9.8833 | 1.2752 | 10.051
9.9 | 1.2558 | 10.0547
9.9167 | 1.2372 | 10.0539
9.9333 | 1.22 | 10.0498
9.95 | 1.2017 | 10.0509
9.9667 | 1.1848 | 10.0506
9.9833 | 1.1694 | 10.0495
10 | 1.154 | 10.0599
10.0167 | 1.1374 | 10.0622
10.0333 | 1.1211 | 10.0613
10.05 | 1.1046 | 10.0587
10.0667 | 1.0883 | 10.0588
10.0833 | 1.0729 | 10.0594
10.1 | 1.0585 | 10.0593
10.1167 | 1.0457 | 10.0617
10.1333 | 1.0334 | 10.0614
10.15 | 1.0208 | 10.0639
10.1667 | 1.0085 | 10.0611
10.1833 | 0.99599 | 10.0692
10.2 | 0.98292 | 10.0694
10.2167 | 0.97158 | 10.0718
10.2333 | 0.96152 | 10.0724
10.25 | 0.94955 | 10.0762
10.2667 | 0.9362 | 10.0852
10.2833 | 0.92433 | 10.0895
10.3 | 0.91438 | 10.0869
10.3167 | 0.90594 | 10.0855
10.3333 | 0.89711 | 10.0921
10.35 | 0.8865 | 10.0858
10.3667 | 0.8751 | 10.0831
10.3833 | 0.86464 | 10.0849
10.4 | 0.85463 | 10.086
10.4167 | 0.84522 | 10.0797
10.4333 | 0.83755 | 10.078
10.45 | 0.83011 | 10.0794
10.4667 | 0.82283 | 10.0785
10.4833 | 0.8153 | 10.0739
10.5 | 0.80569 | 10.0768
10.5167 | 0.79634 | 10.0687
10.5333 | 0.78845 | 10.0739
10.55 | 0.78054 | 10.0724
10.5667 | 0.77259 | 10.0747
10.5833 | 0.7661 | 10.075
10.6 | 0.76023 | 10.0797
10.6167 | 0.75202 | 10.0791
10.6333 | 0.7437 | 10.0837
10.65 | 0.73939 | 10.0826
10.6667 | 0.73386 | 10.0785
10.6833 | 0.72537 | 10.0761
10.7 | 0.71738 | 10.0788
10.7167 | 0.71237 | 10.0773
10.7333 | 0.70954 | 10.0729
10.75 | 0.70375 | 10.0716
10.7667 | 0.69627 | 10.0704
10.7833 | 0.69061 | 10.071
10.8 | 0.68574 | 10.0683
10.8167 | 0.67924 | 10.0666
10.8333 | 0.67263 | 10.07
10.85 | 0.66873 | 10.0683
10.8667 | 0.66617 | 10.0642
10.8833 | 0.66164 | 10.0663
10.9 | 0.65431 | 10.0573
10.9167 | 0.64994 | 10.0579
10.9333 | 0.64726 | 10.0591
10.95 | 0.64127 | 10.066
10.9667 | 0.63516 | 10.0608
10.9833 | 0.6327 | 10.0616
11 | 0.62974 | 10.0629
11.0167 | 0.62494 | 10.0611
11.0333 | 0.61987 | 10.0568
11.05 | 0.61624 | 10.06
11.0667 | 0.61609 | 10.0571
11.0833 | 0.61366 | 10.06
11.1 | 0.60882 | 10.0529
11.1167 | 0.60573 | 10.0574
11.1333 | 0.6021 | 10.0643
11.15 | 0.59623 | 10.0611
11.1667 | 0.59111 | 10.0655
11.1833 | 0.58829 | 10.0532
11.2 | 0.58652 | 10.0571
11.2167 | 0.58272 | 10.0626
11.2333 | 0.57861 | 10.0584
11.25 | 0.57667 | 10.0549
11.2667 | 0.57389 | 10.0587
11.2833 | 0.56849 | 10.0544
11.3 | 0.5646 | 10.0582
11.3167 | 0.56187 | 10.0642
11.3333 | 0.55876 | 10.0605
11.35 | 0.55592 | 10.0613
11.3667 | 0.55279 | 10.05
11.3833 | 0.55085 | 10.0483
11.4 | 0.54959 | 10.0515
11.4167 | 0.54858 | 10.0474
11.4333 | 0.54672 | 10.0472
11.45 | 0.54223 | 10.0481
11.4667 | 0.53708 | 10.0518
11.4833 | 0.53578 | 10.0495
11.5 | 0.53547 | 10.0463
11.5167 | 0.53287 | 10.0393
11.5333 | 0.52925 | 10.0307
11.55 | 0.52783 | 10.0309
11.5667 | 0.5262 | 10.0375
11.5833 | 0.52422 | 10.0414
11.6 | 0.52204 | 10.039
11.6167 | 0.51947 | 10.0315
11.6333 | 0.51669 | 10.0269
11.65 | 0.51358 | 10.0257
11.6667 | 0.51156 | 10.0365
11.6833 | 0.51134 | 10.0399
11.7 | 0.51205 | 10.0483
11.7167 | 0.5121 | 10.0532
11.7333 | 0.51002 | 10.0553
11.75 | 0.50718 | 10.0584
11.7667 | 0.50579 | 10.0526
11.7833 | 0.50386 | 10.0616
11.8 | 0.5014 | 10.0675
11.8167 | 0.4992 | 10.0761
11.8333 | 0.49698 | 10.0652
11.85 | 0.49503 | 10.062
11.8667 | 0.49205 | 10.0597
11.8833 | 0.49112 | 10.0625
11.9 | 0.49195 | 10.0597
11.9167 | 0.49266 | 10.0597
11.9333 | 0.49362 | 10.0533
11.95 | 0.49357 | 10.0546
11.9667 | 0.49192 | 10.0512
11.9833 | 0.4904 | 10.0558
12 | 0.48949 | 10.062
12.0167 | 0.48839 | 10.0587
12.0333 | 0.48626 | 10.0584
12.05 | 0.48575 | 10.0547
12.0667 | 0.48715 | 10.0562
12.0833 | 0.48883 | 10.0465
12.1 | 0.48903 | 10.0498
12.1167 | 0.48665 | 10.0454
12.1333 | 0.48342 | 10.0581
12.15 | 0.48139 | 10.0489
12.1667 | 0.48193 | 10.0509
12.1833 | 0.48244 | 10.046
12.2 | 0.48176 | 10.0506
12.2167 | 0.48056 | 10.0585
12.2333 | 0.48035 | 10.0544
12.25 | 0.47986 | 10.0521
12.2667 | 0.47838 | 10.0535
12.2833 | 0.47696 | 10.0498
12.3 | 0.47475 | 10.055
12.3167 | 0.47338 | 10.0507
12.3333 | 0.47377 | 10.0533
12.35 | 0.47433 | 10.0501
12.3667 | 0.47399 | 10.0536
12.3833 | 0.47429 | 10.0591
12.4 | 0.47563 | 10.0607
12.4167 | 0.47468 | 10.0549
12.4333 | 0.4738 | 10.0509
12.45 | 0.47326 | 10.0555
12.4667 | 0.47083 | 10.0637
12.4833 | 0.46957 | 10.0697
12.5 | 0.46955 | 10.0668
12.5167 | 0.4706 | 10.0651
12.5333 | 0.47041 | 10.0661
12.55 | 0.46701 | 10.0668
12.5667 | 0.46401 | 10.061
12.5833 | 0.46392 | 10.0549
12.6 | 0.46524 | 10.0483
12.6167 | 0.46625 | 10.0472
12.6333 | 0.46695 | 10.0457
12.65 | 0.46586 | 10.0544
12.6667 | 0.46469 | 10.0472
12.6833 | 0.46474 | 10.0491
12.7 | 0.46434 | 10.0501
12.7167 | 0.46344 | 10.052
12.7333 | 0.46352 | 10.0538
12.75 | 0.46492 | 10.0536
12.7667 | 0.46621 | 10.0402
12.7833 | 0.4654 | 10.0411
12.8 | 0.46414 | 10.044
12.8167 | 0.46613 | 10.0401
12.8333 | 0.46818 | 10.0344
12.85 | 0.46779 | 10.0361
12.8667 | 0.46844 | 10.0388
12.8833 | 0.46962 | 10.046
12.9 | 0.46844 | 10.0501
12.9167 | 0.46702 | 10.0513
12.9333 | 0.46786 | 10.0494
12.95 | 0.46879 | 10.0512
12.9667 | 0.46827 | 10.042
12.9833 | 0.46948 | 10.0425
13 | 0.47248 | 10.0466
13.0167 | 0.47314 | 10.0512
13.0333 | 0.47301 | 10.0517
13.05 | 0.47386 | 10.0561
13.0667 | 0.47598 | 10.0582
13.0833 | 0.47839 | 10.0513
13.1 | 0.47979 | 10.0439
13.1167 | 0.48033 | 10.0359
13.1333 | 0.48155 | 10.0312
13.15 | 0.48335 | 10.0259
13.1667 | 0.4845 | 10.0172
13.1833 | 0.48567 | 10.013
13.2 | 0.48722 | 10.0153
13.2167 | 0.48853 | 10.0164
13.2333 | 0.49075 | 10.0204
13.25 | 0.49413 | 10.0188
13.2667 | 0.49738 | 10.0199
13.2833 | 0.49942 | 10.022
13.3 | 0.50219 | 10.0198
13.3167 | 0.50546 | 10.0199
13.3333 | 0.50869 | 10.0201
13.35 | 0.51078 | 10.0176
13.3667 | 0.51193 | 10.014
13.3833 | 0.51533 | 10.0103
13.4 | 0.51939 | 10.0152
13.4167 | 0.52344 | 10.0211
13.4333 | 0.52706 | 10.021
13.45 | 0.52939 | 10.0207
13.4667 | 0.53256 | 10.0173
13.4833 | 0.53713 | 10.0201
13.5 | 0.54117 | 10.0201
13.5167 | 0.54376 | 10.0141
13.5333 | 0.54619 | 10.0231
13.55 | 0.5499 | 10.0315
13.5667 | 0.55447 | 10.0277
13.5833 | 0.55946 | 10.0292
13.6 | 0.56574 | 10.0225
13.6167 | 0.57187 | 10.0254
13.6333 | 0.57596 | 10.024
13.65 | 0.58033 | 10.0242
13.6667 | 0.58586 | 10.0282
13.6833 | 0.59136 | 10.0306
13.7 | 0.59556 | 10.0318
13.7167 | 0.60156 | 10.0376
13.7333 | 0.61125 | 10.0375
13.75 | 0.61812 | 10.0335
13.7667 | 0.62373 | 10.0343
13.7833 | 0.63171 | 10.0381
13.8 | 0.64162 | 10.0391
13.8167 | 0.65143 | 10.0474
13.8333 | 0.66071 | 10.0521
13.85 | 0.67161 | 10.044
13.8667 | 0.68492 | 10.0442
13.8833 | 0.70144 | 10.0396
13.9 | 0.71792 | 10.05
13.9167 | 0.73409 | 10.046
13.9333 | 0.75244 | 10.0474
13.95 | 0.77309 | 10.0463
13.9667 | 0.79706 | 10.0556
13.9833 | 0.82433 | 10.0651
14 | 0.85377 | 10.0729
14.0167 | 0.88708 | 10.0715
14.0333 | 0.92688 | 10.0712
14.05 | 0.97377 | 10.0694
14.0667 | 1.0298 | 10.0686
14.0833 | 1.096 | 10.0753
14.1 | 1.1746 | 10.0846
14.1167 | 1.2688 | 10.0907
14.1333 | 1.3828 | 10.0904
14.15 | 1.5217 | 10.0903
14.1667 | 1.6908 | 10.0947
14.1833 | 1.895 | 10.0999
14.2 | 2.139 | 10.1066
14.2167 | 2.4304 | 10.1098
14.2333 | 2.7768 | 10.1205
14.25 | 3.1823 | 10.1421
14.2667 | 3.6502 | 10.1562
14.2833 | 4.1834 | 10.1704
14.3 | 4.7836 | 10.1841
14.3167 | 5.4478 | 10.2143
14.3333 | 6.1743 | 10.2468
14.35 | 6.9574 | 10.2938
14.3667 | 7.7833 | 10.3397
14.3833 | 8.6383 | 10.3953
14.4 | 9.5062 | 10.4632
14.4167 | 10.3696 | 10.539
14.4333 | 11.2126 | 10.619
14.45 | 12.015 | 10.6965
14.4667 | 12.7571 | 10.7758
14.4833 | 13.4229 | 10.8665
14.5 | 13.9987 | 10.9473
14.5167 | 14.473 | 11.0465
14.5333 | 14.8374 | 11.1213
14.55 | 15.0936 | 11.1918
14.5667 | 15.2449 | 11.2588
14.5833 | 15.2926 | 11.3264
14.6 | 15.2492 | 11.3786
14.6167 | 15.1242 | 11.4207
14.6333 | 14.9281 | 11.4643
14.65 | 14.6799 | 11.4806
14.6667 | 14.3938 | 11.496
14.6833 | 14.0854 | 11.4942
14.7 | 13.7702 | 11.495
14.7167 | 13.462 | 11.4828
14.7333 | 13.169 | 11.4707
14.75 | 12.8966 | 11.4524
14.7667 | 12.6536 | 11.439
14.7833 | 12.446 | 11.4219
14.8 | 12.2723 | 11.4062
14.8167 | 12.1327 | 11.3932
14.8333 | 12.0279 | 11.3972
14.85 | 11.9532 | 11.4046
14.8667 | 11.9039 | 11.4199
14.8833 | 11.873 | 11.4346
14.9 | 11.8531 | 11.4652
14.9167 | 11.8426 | 11.4909
14.9333 | 11.8327 | 11.5226
14.95 | 11.8128 | 11.5635
14.9667 | 11.7799 | 11.6029
14.9833 | 11.7286 | 11.6509
15 | 11.6539 | 11.7022
15.0167 | 11.5518 | 11.7397
15.0333 | 11.4189 | 11.7788
15.05 | 11.2563 | 11.8148
15.0667 | 11.0636 | 11.8484
15.0833 | 10.8411 | 11.8777
15.1 | 10.5866 | 11.8919
15.1167 | 10.3009 | 11.9054
15.1333 | 9.9919 | 11.9051
15.15 | 9.6634 | 11.9059
15.1667 | 9.3166 | 11.8974
15.1833 | 8.9567 | 11.8818
15.2 | 8.5895 | 11.8542
15.2167 | 8.2175 | 11.8252
15.2333 | 7.8444 | 11.7956
15.25 | 7.4741 | 11.7599
15.2667 | 7.1088 | 11.7103
15.2833 | 6.7521 | 11.661
15.3 | 6.4053 | 11.5998
15.3167 | 6.0698 | 11.5456
15.3333 | 5.7512 | 11.4783
15.35 | 5.4495 | 11.4196
15.3667 | 5.1639 | 11.3592
15.3833 | 4.8926 | 11.2911
15.4 | 4.6351 | 11.2255
15.4167 | 4.3944 | 11.1658
15.4333 | 4.1708 | 11.1121
15.45 | 3.961 | 11.0484
15.4667 | 3.7641 | 11.003
15.4833 | 3.58 | 10.9476
15.5 | 3.4071 | 10.9003
15.5167 | 3.2467 | 10.8552
15.5333 | 3.0971 | 10.8144
15.55 | 2.9566 | 10.7713
15.5667 | 2.8242 | 10.7357
15.5833 | 2.6985 | 10.702
15.6 | 2.5802 | 10.6672
15.6167 | 2.4694 | 10.63
15.6333 | 2.3644 | 10.6068
15.65 | 2.2657 | 10.5639
15.6667 | 2.1726 | 10.5318
15.6833 | 2.0829 | 10.4957
15.7 | 1.9988 | 10.4791
15.7167 | 1.9181 | 10.4607
15.7333 | 1.841 | 10.4417
15.75 | 1.7697 | 10.4232
15.7667 | 1.7015 | 10.4031
15.7833 | 1.6372 | 10.3748
15.8 | 1.5757 | 10.3558
15.8167 | 1.5167 | 10.344
15.8333 | 1.4618 | 10.3181
15.85 | 1.4125 | 10.3017
15.8667 | 1.3642 | 10.2903
15.8833 | 1.3154 | 10.2808
15.9 | 1.2686 | 10.2692
15.9167 | 1.2258 | 10.2499
15.9333 | 1.1872 | 10.245
15.95 | 1.1494 | 10.2367
15.9667 | 1.1107 | 10.2258
15.9833 | 1.0739 | 10.22
16 | 1.0407 | 10.2096
16.0167 | 1.009 | 10.2027
16.0333 | 0.97862 | 10.1914
16.05 | 0.95006 | 10.1911
16.0667 | 0.92394 | 10.1806
16.0833 | 0.89964 | 10.1821
16.1 | 0.87619 | 10.1757
16.1167 | 0.85369 | 10.1708
16.1333 | 0.83293 | 10.167
16.15 | 0.81463 | 10.1614
16.1667 | 0.79688 | 10.1551
16.1833 | 0.77893 | 10.1499
16.2 | 0.76172 | 10.1487
16.2167 | 0.7465 | 10.1415
16.2333 | 0.73394 | 10.1389
16.25 | 0.72098 | 10.1311
16.2667 | 0.70816 | 10.1177
16.2833 | 0.69731 | 10.12
16.3 | 0.68592 | 10.1218
16.3167 | 0.67651 | 10.1113
16.3333 | 0.66996 | 10.1064
16.35 | 0.66385 | 10.0922
16.3667 | 0.65688 | 10.0954
16.3833 | 0.65075 | 10.088
16.4 | 0.64628 | 10.08
16.4167 | 0.64435 | 10.0745
16.4333 | 0.64309 | 10.0782
16.45 | 0.6399 | 10.078
16.4667 | 0.63667 | 10.0755
16.4833 | 0.63446 | 10.0718
16.5 | 0.63453 | 10.0822
16.5167 | 0.63501 | 10.084
16.5333 | 0.63723 | 10.0843
16.55 | 0.6412 | 10.0843
16.5667 | 0.64281 | 10.0828
16.5833 | 0.64374 | 10.0808
16.6 | 0.64592 | 10.0816
16.6167 | 0.64825 | 10.0826
16.6333 | 0.65168 | 10.0871
16.65 | 0.65744 | 10.0904
16.6667 | 0.66198 | 10.093
16.6833 | 0.66593 | 10.0889
16.7 | 0.67207 | 10.0848
16.7167 | 0.67827 | 10.0785
16.7333 | 0.68246 | 10.0767
16.75 | 0.68797 | 10.0713
16.7667 | 0.69654 | 10.0645
16.7833 | 0.70565 | 10.0636
16.8 | 0.71194 | 10.0591
16.8167 | 0.71749 | 10.0665
16.8333 | 0.7258 | 10.0652
16.85 | 0.7362 | 10.0654
16.8667 | 0.74703 | 10.071
16.8833 | 0.75925 | 10.0697
16.9 | 0.7721 | 10.062
16.9167 | 0.78407 | 10.0698
16.9333 | 0.79725 | 10.0684
16.95 | 0.8117 | 10.0721
16.9667 | 0.82664 | 10.0758
16.9833 | 0.84044 | 10.0776
17 | 0.85753 | 10.0755
17.0167 | 0.87624 | 10.071
17.0333 | 0.89327 | 10.0681
17.05 | 0.91272 | 10.0687
17.0667 | 0.93433 | 10.0694
17.0833 | 0.95638 | 10.0652
17.1 | 0.97878 | 10.0719
17.1167 | 1.0021 | 10.0738
17.1333 | 1.0288 | 10.0777
17.15 | 1.0579 | 10.0771
17.1667 | 1.086 | 10.0784
17.1833 | 1.1133 | 10.0692
17.2 | 1.1408 | 10.0692
17.2167 | 1.1694 | 10.0729
17.2333 | 1.2007 | 10.0715
17.25 | 1.2329 | 10.0677
17.2667 | 1.2654 | 10.0661
17.2833 | 1.2998 | 10.059
17.3 | 1.334 | 10.0594
17.3167 | 1.3688 | 10.0599
17.3333 | 1.4068 | 10.0578
17.35 | 1.4478 | 10.0605
17.3667 | 1.4882 | 10.0605
17.3833 | 1.5285 | 10.0585
17.4 | 1.571 | 10.0637
17.4167 | 1.6134 | 10.0599
17.4333 | 1.6563 | 10.0582
17.45 | 1.7035 | 10.0565
17.4667 | 1.7537 | 10.0671
17.4833 | 1.8015 | 10.0665
17.5 | 1.848 | 10.0675
17.5167 | 1.898 | 10.0687
17.5333 | 1.9505 | 10.0626
17.55 | 2.0064 | 10.0663
17.5667 | 2.0641 | 10.075
17.5833 | 2.121 | 10.0802
17.6 | 2.1785 | 10.0851
17.6167 | 2.2377 | 10.0794
17.6333 | 2.2992 | 10.0687
17.65 | 2.3619 | 10.0729
17.6667 | 2.4255 | 10.0715
17.6833 | 2.4883 | 10.0719
17.7 | 2.5506 | 10.0747
17.7167 | 2.6151 | 10.0748
17.7333 | 2.681 | 10.0756
17.75 | 2.7464 | 10.0816
17.7667 | 2.8094 | 10.0855
17.7833 | 2.8728 | 10.089
17.8 | 2.9378 | 10.0797
17.8167 | 3.0014 | 10.0797
17.8333 | 3.0645 | 10.0832
17.85 | 3.1283 | 10.0809
17.8667 | 3.1928 | 10.0773
17.8833 | 3.2577 | 10.0759
17.9 | 3.3229 | 10.0806
17.9167 | 3.389 | 10.0799
17.9333 | 3.4576 | 10.0829
17.95 | 3.5268 | 10.0825
17.9667 | 3.5939 | 10.0837
17.9833 | 3.6618 | 10.0921
18 | 3.7327 | 10.0941
18.0167 | 3.806 | 10.0904
18.0333 | 3.8791 | 10.0924
18.05 | 3.9522 | 10.0829
18.0667 | 4.027 | 10.0871
18.0833 | 4.1047 | 10.0924
18.1 | 4.1849 | 10.1057
18.1167 | 4.2641 | 10.1138
18.1333 | 4.3462 | 10.1226
18.15 | 4.4317 | 10.1351
18.1667 | 4.517 | 10.1543
18.1833 | 4.6018 | 10.156
18.2 | 4.6869 | 10.1751
18.2167 | 4.7745 | 10.1954
18.2333 | 4.8654 | 10.223
18.25 | 4.9592 | 10.2387
18.2667 | 5.0564 | 10.2587
18.2833 | 5.154 | 10.2752
18.3 | 5.2543 | 10.2915
18.3167 | 5.3592 | 10.2976
18.3333 | 5.4628 | 10.3008
18.35 | 5.5635 | 10.3031
18.3667 | 5.6662 | 10.2961
18.3833 | 5.7704 | 10.2883
18.4 | 5.8731 | 10.281
18.4167 | 5.9724 | 10.2685
18.4333 | 6.0668 | 10.2608
18.45 | 6.1566 | 10.2494
18.4667 | 6.2435 | 10.2404
18.4833 | 6.3281 | 10.2271
18.5 | 6.41 | 10.2126
18.5167 | 6.4901 | 10.1977
18.5333 | 6.5706 | 10.1809
18.55 | 6.6553 | 10.1864
18.5667 | 6.7435 | 10.1743
18.5833 | 6.8383 | 10.1658
18.6 | 6.9433 | 10.16
18.6167 | 7.0588 | 10.1667
18.6333 | 7.1849 | 10.1646
18.65 | 7.3216 | 10.1717
18.6667 | 7.4686 | 10.1751
18.6833 | 7.6229 | 10.1852
18.7 | 7.7819 | 10.1939
18.7167 | 7.9442 | 10.214
18.7333 | 8.1022 | 10.2412
18.75 | 8.2492 | 10.2726
18.7667 | 8.3837 | 10.3036
18.7833 | 8.5053 | 10.3378
18.8 | 8.6089 | 10.3732
18.8167 | 8.6887 | 10.4134
18.8333 | 8.7467 | 10.4453
18.85 | 8.7875 | 10.4841
18.8667 | 8.8158 | 10.5206
18.8833 | 8.8329 | 10.5338
18.9 | 8.8409 | 10.5482
18.9167 | 8.8441 | 10.5531
18.9333 | 8.8455 | 10.5499
18.95 | 8.8473 | 10.5302
18.9667 | 8.848 | 10.5088
18.9833 | 8.8497 | 10.4842
19 | 8.8563 | 10.4571
19.0167 | 8.862 | 10.4157
19.0333 | 8.8632 | 10.3877
19.05 | 8.8598 | 10.3483
19.0667 | 8.8497 | 10.3194
19.0833 | 8.8266 | 10.285
19.1 | 8.7836 | 10.2599
19.1167 | 8.7159 | 10.2352
19.1333 | 8.617 | 10.2125
19.15 | 8.4806 | 10.1943
19.1667 | 8.2964 | 10.1795
19.1833 | 8.0556 | 10.1603
19.2 | 7.7544 | 10.1476
19.2167 | 7.3872 | 10.1286
19.2333 | 6.9534 | 10.1133
19.25 | 6.46 | 10.0964
19.2667 | 5.9221 | 10.0837
19.2833 | 5.3616 | 10.0594
19.3 | 4.8071 | 10.0437
19.3167 | 4.2929 | 10.0292
19.3333 | 3.8531 | 10.028
19.35 | 3.5207 | 10.0509
19.3667 | 3.3263 | 10.1107
19.3833 | 3.2912 | 10.2431
19.4 | 3.4282 | 10.4563
19.4167 | 3.7366 | 10.7938
19.4333 | 4.205 | 11.2896
19.45 | 4.8143 | 11.9987
19.4667 | 5.5371 | 12.9678
19.4833 | 6.3415 | 14.2286
19.5 | 7.193 | 15.7952
19.5167 | 8.0573 | 17.4783
19.5333 | 8.9027 | 19.6102
19.55 | 9.7038 | 21.9646
19.5667 | 10.4418 | 24.4317
19.5833 | 11.1036 | 26.8935
19.6 | 11.6825 | 29.201
19.6167 | 12.1777 | 31.2223
19.6333 | 12.5925 | 32.8054
19.65 | 12.9352 | 33.8664
19.6667 | 13.2115 | 34.3401
19.6833 | 13.4251 | 34.2144
19.7 | 13.5814 | 33.5197
19.7167 | 13.6831 | 32.3237
19.7333 | 13.7315 | 30.7351
19.75 | 13.7251 | 28.8746
19.7667 | 13.6656 | 26.8641
19.7833 | 13.559 | 24.8081
19.8 | 13.4116 | 22.8162
19.8167 | 13.2304 | 20.9524
19.8333 | 13.0251 | 19.2704
19.85 | 12.8109 | 17.7769
19.8667 | 12.6017 | 16.5046
19.8833 | 12.4097 | 15.4151
19.9 | 12.2427 | 14.5145
19.9167 | 12.1078 | 13.754
19.9333 | 12.0117 | 13.1319
19.95 | 11.9558 | 12.6153
19.9667 | 11.9386 | 12.1918
19.9833 | 11.9528 | 11.827
20 | 11.9888 | 11.5304
20.0167 | 12.0326 | 11.267
20.0333 | 12.0704 | 11.0346
20.05 | 12.0912 | 10.8152
20.0667 | 12.0812 | 10.6081
20.0833 | 12.0278 | 10.3843
20.1 | 11.9265 | 10.1369
20.1167 | 11.7732 | 9.8371
20.1333 | 11.564 | 9.4939
20.15 | 11.3036 | 9.1019
20.1667 | 11.0021 | 8.6553
20.1833 | 10.668 | 8.1484
20.2 | 10.3082 | 7.5977
20.2167 | 9.9334 | 7.021
20.2333 | 9.5544 | 6.4381
20.25 | 9.1808 | 5.8904
20.2667 | 8.8205 | 5.3982
20.2833 | 8.4811 | 4.999
20.3 | 8.1695 | 4.7042
20.3167 | 7.8958 | 4.5545
20.3333 | 7.6732 | 4.5263
20.35 | 7.5171 | 4.6342
20.3667 | 7.449 | 4.8669
20.3833 | 7.4997 | 5.2122
20.4 | 7.703 | 5.6184
20.4167 | 8.0978 | 6.0853
20.4333 | 8.7305 | 6.5641
20.45 | 9.6509 | 7.0457
20.4667 | 10.905 | 7.515
20.4833 | 12.5247 | 7.9485
20.5 | 14.5276 | 8.3382
20.5167 | 16.9127 | 8.6977
20.5333 | 19.6503 | 9.0147
20.55 | 22.6725 | 9.2886
20.5667 | 25.8763 | 9.5324
20.5833 | 29.1301 | 9.7358
20.6 | 32.2828 | 9.949
20.6167 | 35.1699 | 10.1579
20.6333 | 37.6278 | 10.3564
20.65 | 39.5076 | 10.563
20.6667 | 40.692 | 10.77
20.6833 | 41.103 | 10.9716
20.7 | 40.6982 | 11.1712
20.7167 | 39.4765 | 11.3715
20.7333 | 37.4677 | 11.5664
20.75 | 34.7234 | 11.7484
20.7667 | 31.3039 | 11.9035
20.7833 | 27.2668 | 12.0329
20.8 | 22.6628 | 12.1317
20.8167 | 17.5255 | 12.1877
20.8333 | 11.8758 | 12.2045
20.85 | 5.7389 | 12.172
20.8667 | -0.85013 | 12.1041
20.8833 | -7.8366 | 12.004
20.9 | -15.1339 | 11.8784
20.9167 | -22.6154 | 11.7248
20.9333 | -30.106 | 11.5539
20.95 | -37.3899 | 11.3697
20.9667 | -44.2293 | 11.1892
20.9833 | -50.3804 | 11.0299
21 | -55.6085 | 10.8672
21.0167 | -59.7162 | 10.7253
21.0333 | -62.5627 | 10.59
21.05 | -64.0729 | 10.4704
21.0667 | -64.2444 | 10.371
21.0833 | -63.1518 | 10.2834
21.1 | -60.9337 | 10.2035
21.1167 | -57.773 | 10.1403
21.1333 | -53.8851 | 10.0909
21.15 | -49.4954 | 10.0547
21.1667 | -44.8193 | 10.0228
21.1833 | -40.0498 | 9.9928
21.2 | -35.3524 | 9.9718
21.2167 | -30.8567 | 9.9545
21.2333 | -26.6524 | 9.9479
21.25 | -22.7973 | 9.9459
21.2667 | -19.328 | 9.9456
21.2833 | -16.2562 | 9.9587
21.3 | -13.5673 | 9.9621
21.3167 | -11.2406 | 9.97
21.3333 | -9.2504 | 9.9693
21.35 | -7.5608 | 9.9761
21.3667 | -6.1374 | 9.9787
21.3833 | -4.9478 | 9.9876
21.4 | -3.9618 | 9.9975
21.4167 | -3.1503 | 10.0013
21.4333 | -2.4853 | 10.0135
21.45 | -1.9431 | 10.0161
21.4667 | -1.5043 | 10.0196
21.4833 | -1.1512 | 10.0147
21.5 | -0.86952 | 10.0149
21.5167 | -0.64444 | 10.0103
21.5333 | -0.46543 | 10.0085
21.55 | -0.32653 | 10.0043
21.5667 | -0.21966 | 9.9944
21.5833 | -0.13481 | 9.9732
21.6 | -0.067395 | 9.9541
21.6167 | -0.016287 | 9.9168
21.6333 | 0.023519 | 9.8821
21.65 | 0.053715 | 9.8377
21.6667 | 0.073143 | 9.7775
21.6833 | 0.086844 | 9.698
21.7 | 0.099699 | 9.5925
21.7167 | 0.11005 | 9.4524
21.7333 | 0.11732 | 9.2875
21.75 | 0.12093 | 9.0873
21.7667 | 0.12274 | 8.8422
21.7833 | 0.12391 | 8.5595
21.8 | 0.1237 | 8.2421
21.8167 | 0.12327 | 7.8788
21.8333 | 0.12293 | 7.4813
21.85 | 0.1215 | 7.0623
21.8667 | 0.11808 | 6.6259
21.8833 | 0.11499 | 6.1901
21.9 | 0.11267 | 5.7584
21.9167 | 0.10999 | 5.3501
21.9333 | 0.10822 | 4.9718
21.95 | 0.10615 | 4.6569
21.9667 | 0.10142 | 4.4039
21.9833 | 0.097824 | 4.2278
22 | 0.095681 | 4.1395
22.0167 | 0.093284 | 4.1433
22.0333 | 0.092058 | 4.2249
22.05 | 0.091111 | 4.385
22.0667 | 0.09037 | 4.6246
22.0833 | 0.090752 | 4.9215
22.1 | 0.090708 | 5.2596
22.1167 | 0.088455 | 5.6345
22.1333 | 0.088047 | 6.0368
22.15 | 0.091222 | 6.4414
22.1667 | 0.098066 | 6.8446
22.1833 | 0.10865 | 7.2408
22.2 | 0.1212 | 7.6206
22.2167 | 0.13963 | 7.9624
22.2333 | 0.16805 | 8.2769
22.25 | 0.20682 | 8.5601
22.2667 | 0.26202 | 8.7995
22.2833 | 0.3423 | 9.0255
22.3 | 0.45352 | 9.2052
22.3167 | 0.60037 | 9.3499
22.3333 | 0.79408 | 9.4654
22.35 | 1.0465 | 9.555
22.3667 | 1.3675 | 9.6339
22.3833 | 1.7694 | 9.6885
22.4 | 2.2659 | 9.7291
22.4167 | 2.866 | 9.7569
22.4333 | 3.5763 | 9.77
22.45 | 4.4036 | 9.7578
22.4667 | 5.3516 | 9.7443
22.4833 | 6.4147 | 9.7099
22.5 | 7.5817 | 9.665
22.5167 | 8.8349 | 9.6069
22.5333 | 10.1514 | 9.5293
22.55 | 11.5013 | 9.4378
22.5667 | 12.8501 | 9.3307
22.5833 | 14.1591 | 9.1981
22.6 | 15.3856 | 9.0664
22.6167 | 16.4873 | 8.9225
22.6333 | 17.4272 | 8.7699
22.65 | 18.1751 | 8.6088
22.6667 | 18.7015 | 8.4484
22.6833 | 18.9836 | 8.2899
22.7 | 19.0163 | 8.1486
22.7167 | 18.8051 | 8.0248
22.7333 | 18.3582 | 7.9073
22.75 | 17.6916 | 7.8205
22.7667 | 16.8369 | 7.7502
22.7833 | 15.8278 | 7.7114
22.8 | 14.6974 | 7.7082
22.8167 | 13.4859 | 7.728
22.8333 | 12.2329 | 7.7822
22.85 | 10.9727 | 7.8515
22.8667 | 9.7361 | 7.9488
22.8833 | 8.5472 | 8.0785
22.9 | 7.4259 | 8.2177
22.9167 | 6.3897 | 8.3703
22.9333 | 5.4496 | 8.5136
22.95 | 4.6098 | 8.6701
22.9667 | 3.8693 | 8.8084
22.9833 | 3.2244 | 8.9568
23 | 2.6705 | 9.083
23.0167 | 2.2028 | 9.2146
23.0333 | 1.8126 | 9.3252
23.05 | 1.4894 | 9.4257
23.0667 | 1.2224 | 9.5171
23.0833 | 1.0047 | 9.5985
23.1 | 0.82832 | 9.6699
23.1167 | 0.68634 | 9.7205
23.1333 | 0.57344 | 9.7605
23.15 | 0.4822 | 9.8013
23.1667 | 0.40781 | 9.8356
23.1833 | 0.34867 | 9.8643
23.2 | 0.30406 | 9.8824
23.2167 | 0.26923 | 9.9006
23.2333 | 0.24194 | 9.9093
23.25 | 0.21725 | 9.9198
23.2667 | 0.19507 | 9.9339
23.2833 | 0.18002 | 9.9404
23.3 | 0.1692 | 9.9433
23.3167 | 0.15808 | 9.9462
23.3333 | 0.14597 | 9.95
23.35 | 0.13602 | 9.9538
23.3667 | 0.12879 | 9.9516
23.3833 | 0.12123 | 9.9406
23.4 | 0.11529 | 9.9455
23.4167 | 0.11109 | 9.9418
23.4333 | 0.10481 | 9.9393
23.45 | 0.099074 | 9.9468
23.4667 | 0.095303 | 9.9461
23.4833 | 0.091714 | 9.9488
23.5 | 0.089466 | 9.9494
23.5167 | 0.086444 | 9.9503
23.5333 | 0.081436 | 9.9488
23.55 | 0.078495 | 9.957
23.5667 | 0.076833 | 9.9592
23.5833 | 0.074134 | 9.9694
23.6 | 0.070046 | 9.9708
23.6167 | 0.066658 | 9.9633
23.6333 | 0.064157 | 9.9737
23.65 | 0.062416 | 9.978
23.6667 | 0.062758 | 9.9758
23.6833 | 0.061759 | 9.9746
23.7 | 0.059562 | 9.959
23.7167 | 0.056793 | 9.9584
23.7333 | 0.053027 | 9.965
23.75 | 0.051444 | 9.9639
23.7667 | 0.051175 | 9.9676
23.7833 | 0.049113 | 9.9683
23.8 | 0.048896 | 9.968
23.8167 | 0.049333 | 9.9657
23.8333 | 0.046595 | 9.9574
23.85 | 0.044145 | 9.9554
23.8667 | 0.043906 | 9.9589
23.8833 | 0.044699 | 9.9628
23.9 | 0.043918 | 9.9592
23.9167 | 0.042918 | 9.9586
23.9333 | 0.04365 | 9.9587
23.95 | 0.043863 | 9.9622
23.9667 | 0.040373 | 9.9668
23.9833 | 0.037167 | 9.9694
24 | 0.037297 | 9.9679
24.0167 | 0.037371 | 9.9641
24.0333 | 0.037601 | 9.9615
24.05 | 0.037905 | 9.9622
24.0667 | 0.037806 | 9.9659
24.0833 | 0.037196 | 9.9512
24.1 | 0.037812 | 9.9636
24.1167 | 0.037555 | 9.9603
24.1333 | 0.034479 | 9.9659
24.15 | 0.032845 | 9.9644
24.1667 | 0.032918 | 9.9647
24.1833 | 0.031985 | 9.9685
24.2 | 0.031371 | 9.9657
24.2167 | 0.029943 | 9.9636
24.2333 | 0.026788 | 9.961
24.25 | 0.025431 | 9.9615
24.2667 | 0.027001 | 9.9636
24.2833 | 0.027803 | 9.9598
24.3 | 0.026049 | 9.958
24.3167 | 0.024687 | 9.9622
24.3333 | 0.024786 | 9.963
24.35 | 0.024425 | 9.9644
24.3667 | 0.022349 | 9.9586
24.3833 | 0.022013 | 9.9636
24.4 | 0.023749 | 9.97
24.4167 | 0.023356 | 9.9647
24.4333 | 0.021848 | 9.9664
24.45 | 0.02051 | 9.9686
24.4667 | 0.018065 | 9.9743
24.4833 | 0.01728 | 9.9766
24.5 | 0.01691 | 9.9679
24.5167 | 0.015301 | 9.9651
24.5333 | 0.015456 | 9.9653
24.55 | 0.016459 | 9.9689
24.5667 | 0.015016 | 9.9723
24.5833 | 0.014229 | 9.965
24.6 | 0.014069 | 9.9548
24.6167 | 0.010116 | 9.9627
24.6333 | 0.0066978 | 9.9632
24.65 | 0.0080888 | 9.9664
24.6667 | 0.00958 | 9.9676
24.6833 | 0.010006 | 9.9746
24.7 | 0.010093 | 9.9729
24.7167 | 0.0092716 | 9.9752
24.7333 | 0.007829 | 9.9761
24.75 | 0.0039662 | 9.9795
24.7667 | 0.00067858 | 9.9735
24.7833 | 0.001446 | 9.9622
24.8 | 0.0021419 | 9.9682
24.8167 | 0.0020765 | 9.9651
24.8333 | 0.0025557 | 9.9676
24.85 | 0.0017313 | 9.9711
24.8667 | -0.00038187 | 9.9731
24.8833 | -0.00020797 | 9.9746
24.9 | -0.00030944 | 9.9749
24.9167 | -0.0025639 | 9.9781
24.9333 | -0.0033009 | 9.9743
24.95 | -0.0017922 | 9.9731
24.9667 | -0.00027466 | 9.9775
24.9833 | 0.0001471 | 9.9836
25 | -0.0017616 | 9.9845
25.0167 | -0.0039013 | 9.9818
25.0333 | -0.0044616 | 9.9871
25.05 | -0.0050963 | 9.9859
25.0667 | -0.0064545 | 9.9847
25.0833 | -0.0073255 | 9.986
25.1 | -0.0071625 | 9.9865
25.1167 | -0.0067676 | 9.9845
25.1333 | -0.0050665 | 9.9863
25.15 | -0.0044281 | 9.9831
25.1667 | -0.0069878 | 9.9839
25.1833 | -0.009451 | 9.9805
25.2 | -0.0086448 | 9.9833
25.2167 | -0.0070017 | 9.9837
25.2333 | -0.0071732 | 9.9888
25.25 | -0.0085563 | 9.9853
25.2667 | -0.0077561 | 9.9885
25.2833 | -0.0064182 | 9.9885
25.3 | -0.008227 | 9.986
25.3167 | -0.008836 | 9.9906
25.3333 | -0.0085186 | 9.9911
25.35 | -0.0089711 | 9.9964
25.3667 | -0.010147 | 9.9944
25.3833 | -0.011203 | 9.9938
25.4 | -0.011037 | 9.9807
25.4167 | -0.011187 | 9.9821
25.4333 | -0.011167 | 9.9809
25.45 | -0.010084 | 9.9793
25.4667 | -0.011246 | 9.9763
25.4833 | -0.013717 | 9.9824
25.5 | -0.013801 | 9.9802
25.5167 | -0.012775 | 9.9799
25.5333 | -0.012802 | 9.9752
25.55 | -0.013562 | 9.9773
25.5667 | -0.014508 | 9.9731
25.5833 | -0.015143 | 9.9668
25.6 | -0.014285 | 9.9723
25.6167 | -0.013405 | 9.9792
25.6333 | -0.014884 | 9.9781
25.65 | -0.016726 | 9.9783
25.6667 | -0.016698 | 9.9789
25.6833 | -0.017978 | 9.9728
25.7 | -0.020529 | 9.9764
25.7167 | -0.019957 | 9.9868
25.7333 | -0.019576 | 9.9842
25.75 | -0.020511 | 9.9839
25.7667 | -0.019969 | 9.9821
25.7833 | -0.020877 | 9.9842
25.8 | -0.021747 | 9.9868
25.8167 | -0.022151 | 9.9801
25.8333 | -0.022138 | 9.9804
25.85 | -0.021119 | 9.981
25.8667 | -0.020859 | 9.9853
25.8833 | -0.021755 | 9.9828
25.9 | -0.024474 | 9.9906
25.9167 | -0.025439 | 9.9917
25.9333 | -0.022795 | 9.9926
25.95 | -0.021723 | 9.9781
25.9667 | -0.023652 | 9.9845
25.9833 | -0.02445 | 9.9836
26 | -0.023454 | 9.9871
26.0167 | -0.022842 | 9.9874
26.0333 | -0.022637 | 9.9885
26.05 | -0.024183 | 9.9914
26.0667 | -0.025907 | 9.9909
26.0833 | -0.025975 | 9.9873
26.1 | -0.026461 | 9.9842
26.1167 | -0.025688 | 9.9883
26.1333 | -0.023933 | 9.9935
26.15 | -0.024614 | 9.987
26.1667 | -0.027217 | 9.9876
26.1833 | -0.028451 | 9.9894
26.2 | -0.026935 | 9.9957
26.2167 | -0.02673 | 9.9961
26.2333 | -0.027433 | 9.9934
26.25 | -0.026643 | 9.9998
26.2667 | -0.027717 | 10.0054
26.2833 | -0.028793 | 10.0098
26.3 | -0.027932 | 10.0115
26.3167 | -0.027397 | 10.0047
26.3333 | -0.02835 | 9.9978
26.35 | -0.028101 | 9.9892
26.3667 | -0.028328 | 9.9824
26.3833 | -0.029927 | 9.9833
26.4 | -0.031425 | 9.99
26.4167 | -0.032635 | 9.9953
26.4333 | -0.033859 | 9.9891
26.45 | -0.035727 | 9.9809
26.4667 | -0.035967 | 9.9734
26.4833 | -0.034973 | 9.9744
26.5 | -0.033155 | 9.9809
26.5167 | -0.030868 | 9.9786
26.5333 | -0.03032 | 9.9877
26.55 | -0.031377 | 9.9889
26.5667 | -0.031777 | 9.9883
26.5833 | -0.031769 | 9.9882
26.6 | -0.031381 | 9.9842
26.6167 | -0.031245 | 9.9769
26.6333 | -0.034463 | 9.9728
26.65 | -0.036092 | 9.976
26.6667 | -0.033972 | 9.9879
26.6833 | -0.033467 | 9.9854
26.7 | -0.034485 | 9.9792
26.7167 | -0.035595 | 9.966
26.7333 | -0.036868 | 9.963
26.75 | -0.037016 | 9.963
26.7667 | -0.037797 | 9.9656
26.7833 | -0.038874 | 9.9622
26.8 | -0.036826 | 9.9679
26.8167 | -0.033905 | 9.9673
26.8333 | -0.033254 | 9.9749
26.85 | -0.034283 | 9.9685
26.8667 | -0.036175 | 9.9642
26.8833 | -0.037413 | 9.9593
26.9 | -0.037769 | 9.9519
26.9167 | -0.039096 | 9.9574
26.9333 | -0.040979 | 9.9569
26.95 | -0.040851 | 9.949
26.9667 | -0.040014 | 9.9474
26.9833 | -0.038731 | 9.9538
27 | -0.037321 | 9.9491
27.0167 | -0.038893 | 9.9503
27.0333 | -0.041281 | 9.9496
27.05 | -0.040686 | 9.9525
27.0667 | -0.040339 | 9.956
27.0833 | -0.041266 | 9.9618
27.1 | -0.0427 | 9.9694
27.1167 | -0.043556 | 9.9622
27.1333 | -0.044384 | 9.9525
27.15 | -0.044547 | 9.9512
27.1667 | -0.043313 | 9.9618
27.1833 | -0.042384 | 9.9654
27.2 | -0.042888 | 9.9644
27.2167 | -0.043562 | 9.9712
27.2333 | -0.043577 | 9.9685
27.25 | -0.043294 | 9.9712
27.2667 | -0.042804 | 9.9628
27.2833 | -0.042677 | 9.97
27.3 | -0.042949 | 9.9726
27.3167 | -0.044681 | 9.978
27.3333 | -0.046814 | 9.9767
27.35 | -0.04593 | 9.9815
27.3667 | -0.042193 | 9.9819
27.3833 | -0.040689 | 9.9734
27.4 | -0.042328 | 9.9789
27.4167 | -0.043711 | 9.9802
27.4333 | -0.044517 | 9.979
27.45 | -0.043558 | 9.9795
27.4667 | -0.042271 | 9.981
27.4833 | -0.042768 | 9.9735
27.5 | -0.043273 | 9.9726
27.5167 | -0.04293 | 9.9722
27.5333 | -0.042738 | 9.9818
27.55 | -0.042908 | 9.9723
27.5667 | -0.04331 | 9.9728
27.5833 | -0.044372 | 9.9694
27.6 | -0.045555 | 9.9644
27.6167 | -0.047106 | 9.9644
27.6333 | -0.04742 | 9.9728
27.65 | -0.046154 | 9.9664
27.6667 | -0.047145 | 9.9728
27.6833 | -0.047963 | 9.972
27.7 | -0.045655 | 9.965
27.7167 | -0.045775 | 9.9554
27.7333 | -0.047588 | 9.9531
27.75 | -0.048164 | 9.9479
27.7667 | -0.047103 | 9.9491
27.7833 | -0.044 | 9.947
27.8 | -0.043919 | 9.9532
27.8167 | -0.04655 | 9.9587
27.8333 | -0.04664 | 9.9598
27.85 | -0.045506 | 9.9583
27.8667 | -0.044733 | 9.9592
27.8833 | -0.043559 | 9.9618
27.9 | -0.042158 | 9.9586
27.9167 | -0.043097 | 9.9625
27.9333 | -0.044176 | 9.954
27.95 | -0.042773 | 9.9633
27.9667 | -0.042875 | 9.9673
27.9833 | -0.044428 | 9.9696
28 | -0.045225 | 9.9715
28.0167 | -0.045476 | 9.9697
28.0333 | -0.04587 | 9.9767
28.05 | -0.047164 | 9.9824
28.0667 | -0.047924 | 9.9929
28.0833 | -0.046559 | 10.0005
28.1 | -0.044723 | 9.988
28.1167 | -0.045586 | 9.985
28.1333 | -0.047751 | 9.985
28.15 | -0.048132 | 9.9874
28.1667 | -0.046318 | 9.9917
28.1833 | -0.044547 | 9.9928
28.2 | -0.045231 | 9.9903
28.2167 | -0.048293 | 9.9834
28.2333 | -0.050796 | 9.9857
28.25 | -0.050426 | 9.9815
28.2667 | -0.048386 | 9.9778
28.2833 | -0.0482 | 9.9778
28.3 | -0.049317 | 9.9824
28.3167 | -0.04911 | 9.9763
28.3333 | -0.046732 | 9.9725
28.35 | -0.046124 | 9.9691
28.3667 | -0.045882 | 9.9702
28.3833 | -0.044243 | 9.9711
28.4 | -0.045511 | 9.9723
28.4167 | -0.048504 | 9.97
28.4333 | -0.049759 | 9.9697
28.45 | -0.050397 | 9.9682
28.4667 | -0.050349 | 9.9662
28.4833 | -0.048101 | 9.9662
28.5 | -0.047945 | 9.9662
28.5167 | -0.047858 | 9.9665
28.5333 | -0.045631 | 9.9644
28.55 | -0.0461 | 9.9622
28.5667 | -0.046001 | 9.9662
28.5833 | -0.045199 | 9.9752
28.6 | -0.048272 | 9.9711
28.6167 | -0.051451 | 9.9714
28.6333 | -0.051425 | 9.9694
28.65 | -0.049089 | 9.9639
28.6667 | -0.045814 | 9.9636
28.6833 | -0.044491 | 9.9622
28.7 | -0.047366 | 9.9567
28.7167 | -0.051358 | 9.9581
28.7333 | -0.051554 | 9.9546
28.75 | -0.049746 | 9.9514
28.7667 | -0.050016 | 9.9552
28.7833 | -0.051586 | 9.9569
28.8 | -0.052311 | 9.9583
28.8167 | -0.053272 | 9.9522
28.8333 | -0.052066 | 9.9557
28.85 | -0.050129 | 9.9557
28.8667 | -0.050838 | 9.9622
28.8833 | -0.04981 | 9.9628
28.9 | -0.049635 | 9.9548
28.9167 | -0.049781 | 9.9618
28.9333 | -0.04913 | 9.9722
28.95 | -0.049336 | 9.9787
28.9667 | -0.050603 | 9.9804
28.9833 | -0.052684 | 9.9804
29 | -0.054159 | 9.9747
29.0167 | -0.054198 | 9.9688
29.0333 | -0.05388 | 9.9653
29.05 | -0.054221 | 9.9644
29.0667 | -0.054722 | 9.9606
29.0833 | -0.053645 | 9.9561
29.1 | -0.05172 | 9.9552
29.1167 | -0.051078 | 9.9485
29.1333 | -0.052268 | 9.9502
29.15 | -0.054166 | 9.9479
29.1667 | -0.052841 | 9.9458
29.1833 | -0.050011 | 9.9485
29.2 | -0.049107 | 9.9508
29.2167 | -0.0502 | 9.9494
29.2333 | -0.051038 | 9.9526
29.25 | -0.049923 | 9.9485
29.2667 | -0.050077 | 9.9517
29.2833 | -0.052379 | 9.9505
29.3 | -0.053867 | 9.9529
29.3167 | -0.053561 | 9.9483
29.3333 | -0.051521 | 9.9485
29.35 | -0.049779 | 9.9451
29.3667 | -0.050735 | 9.9509
29.3833 | -0.051964 | 9.9429
29.4 | -0.051411 | 9.948
29.4167 | -0.050722 | 9.9459
29.4333 | -0.051333 | 9.941
29.45 | -0.05322 | 9.9438
29.4667 | -0.054752 | 9.9474
29.4833 | -0.055075 | 9.9485
29.5 | -0.054523 | 9.9538
29.5167 | -0.052622 | 9.9567
29.5333 | -0.052748 | 9.9627
29.55 | -0.056028 | 9.9612
29.5667 | -0.058513 | 9.9622
29.5833 | -0.058079 | 9.9607
29.6 | -0.058146 | 9.9564
29.6167 | -0.058152 | 9.9535
29.6333 | -0.056934 | 9.9514
29.65 | -0.05734 | 9.9529
29.6667 | -0.055487 | 9.9502
29.6833 | -0.052594 | 9.9512
29.7 | -0.05358 | 9.9622
29.7167 | -0.054715 | 9.9686
29.7333 | -0.054184 | 9.957
29.75 | -0.055863 | 9.9612
29.7667 | -0.058559 | 9.9581
29.7833 | -0.058383 | 9.9654
29.8 | -0.058035 | 9.9706
29.8167 | -0.059119 | 9.9664

## MW Results
Administrative Information
File name | ICF_25_05_2022-0003.sample
Analysed by | Agilent GPC 1
Date of analysis | 25 May 2022 15:35:45
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 36111 | 34946 | 45358 | 56008 | 66048 | 43804 | 1.2979
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 6.35 | 12.95
Baseline region 2 | 24.2833 | 29.4667
Peaks | Start (mins) | End (mins)
Peak 1 | 14.1 | 16.3833
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 14.5833 | 609.6118 | 13.2258
| RI | 15.15 | 110.0582 | 1.8712
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.3 | 20.1167
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 25 May 2022 15:35:45
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6667
FRCF | 0.99322
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.1 | -0.98494 | 0.044402 | 0.047498 | 0.00040325 | 1 | 140436 | 5.1475 | 0.044872 | No | 1
14.1167 | -0.88753 | 0.050594 | 0.050485 | 0.00045948 | 0.99957 | 137361 | 5.1379 | 0.047736 | No | 1
14.1333 | -0.77029 | 0.050376 | 0.050344 | 0.00045751 | 0.99911 | 134357 | 5.1283 | 0.047645 | No | 1
14.15 | -0.62819 | 0.050312 | 0.052569 | 0.00045692 | 0.99865 | 131420 | 5.1187 | 0.049794 | No | 1
14.1667 | -0.45591 | 0.054825 | 0.057463 | 0.00049791 | 0.99817 | 128551 | 5.1091 | 0.054477 | No | 1
14.1833 | -0.24854 | 0.060101 | 0.063502 | 0.00054583 | 0.99765 | 125746 | 5.0995 | 0.060255 | No | 1
14.2 | -0.0012974 | 0.066903 | 0.068549 | 0.0006076 | 0.99708 | 123005 | 5.0899 | 0.065101 | No | 1
14.2167 | 0.29329 | 0.070196 | 0.07558 | 0.0006375 | 0.99645 | 120326 | 5.0804 | 0.071841 | No | 1
14.2333 | 0.6429 | 0.080965 | 0.091843 | 0.00073531 | 0.99577 | 117708 | 5.0708 | 0.087375 | No | 1
14.25 | 1.0516 | 0.10272 | 0.10978 | 0.00093289 | 0.99493 | 115149 | 5.0613 | 0.10453 | No | 1
14.2667 | 1.5226 | 0.11685 | 0.12399 | 0.0010612 | 0.99393 | 112647 | 5.0517 | 0.11816 | No | 1
14.2833 | 2.059 | 0.13113 | 0.13804 | 0.0011909 | 0.99281 | 110202 | 5.0422 | 0.13166 | No | 1
14.3 | 2.6624 | 0.14495 | 0.1601 | 0.0013164 | 0.99155 | 107812 | 5.0327 | 0.15284 | No | 1
14.3167 | 3.3299 | 0.17525 | 0.19154 | 0.0015916 | 0.9901 | 105476 | 5.0232 | 0.18302 | No | 1
14.3333 | 4.0595 | 0.20784 | 0.23138 | 0.0018875 | 0.98836 | 103193 | 5.0137 | 0.22127 | No | 1
14.35 | 4.8458 | 0.25492 | 0.27793 | 0.0023151 | 0.98626 | 100961 | 5.0042 | 0.26602 | No | 1
14.3667 | 5.675 | 0.30094 | 0.32875 | 0.0027331 | 0.98373 | 98779 | 4.9947 | 0.31493 | No | 1
14.3833 | 6.5331 | 0.35657 | 0.39056 | 0.0032383 | 0.98074 | 96646 | 4.9852 | 0.37447 | No | 1
14.4 | 7.4042 | 0.42456 | 0.46252 | 0.0038558 | 0.97719 | 94561 | 4.9757 | 0.44384 | No | 1
14.4167 | 8.2707 | 0.50048 | 0.5405 | 0.0045453 | 0.97299 | 92522 | 4.9662 | 0.51912 | No | 1
14.4333 | 9.117 | 0.58053 | 0.61933 | 0.0052722 | 0.96808 | 90529 | 4.9568 | 0.59534 | No | 1
14.45 | 9.9226 | 0.65813 | 0.69785 | 0.005977 | 0.96245 | 88581 | 4.9473 | 0.67139 | No | 1
14.4667 | 10.6679 | 0.73756 | 0.78293 | 0.0066984 | 0.95611 | 86677 | 4.9379 | 0.75389 | No | 1
14.4833 | 11.3368 | 0.82829 | 0.86877 | 0.0075224 | 0.949 | 84814 | 4.9285 | 0.83727 | No | 1
14.5 | 11.9158 | 0.90925 | 0.95888 | 0.0082576 | 0.94111 | 82994 | 4.919 | 0.92491 | No | 1
14.5167 | 12.3934 | 1.0085 | 1.0459 | 0.0091592 | 0.93239 | 81214 | 4.9096 | 1.0097 | No | 1
14.5333 | 12.7609 | 1.0834 | 1.1187 | 0.009839 | 0.92289 | 79473 | 4.9002 | 1.0809 | No | 1
14.55 | 13.0204 | 1.154 | 1.1875 | 0.01048 | 0.91273 | 77772 | 4.8908 | 1.1484 | No | 1
14.5667 | 13.1748 | 1.221 | 1.2549 | 0.011089 | 0.90194 | 76108 | 4.8814 | 1.2146 | No | 1
14.5833 | 13.2258 | 1.2887 | 1.3149 | 0.011704 | 0.89053 | 74481 | 4.872 | 1.2737 | No | 1
14.6 | 13.1855 | 1.341 | 1.3621 | 0.012179 | 0.87859 | 72890 | 4.8627 | 1.3206 | No | 1
14.6167 | 13.0637 | 1.3832 | 1.4051 | 0.012562 | 0.86621 | 71335 | 4.8533 | 1.3634 | No | 1
14.6333 | 12.8708 | 1.4269 | 1.4351 | 0.012959 | 0.85344 | 69814 | 4.8439 | 1.3937 | No | 1
14.65 | 12.6258 | 1.4433 | 1.4511 | 0.013108 | 0.8404 | 68327 | 4.8346 | 1.4104 | No | 1
14.6667 | 12.3429 | 1.4588 | 1.458 | 0.013249 | 0.82722 | 66872 | 4.8252 | 1.4183 | No | 1
14.6833 | 12.0377 | 1.4571 | 1.4575 | 0.013233 | 0.81397 | 65450 | 4.8159 | 1.4191 | No | 1
14.7 | 11.7257 | 1.4579 | 1.4519 | 0.013241 | 0.80073 | 64059 | 4.8066 | 1.4148 | No | 1
14.7167 | 11.4207 | 1.4458 | 1.4398 | 0.013131 | 0.78754 | 62699 | 4.7973 | 1.4042 | No | 1
14.7333 | 11.1309 | 1.4339 | 1.4247 | 0.013022 | 0.77445 | 61369 | 4.7879 | 1.3907 | No | 1
14.75 | 10.8617 | 1.4156 | 1.409 | 0.012857 | 0.76151 | 60068 | 4.7786 | 1.3764 | No | 1
14.7667 | 10.6219 | 1.4023 | 1.3938 | 0.012735 | 0.74871 | 58796 | 4.7693 | 1.3628 | No | 1
14.7833 | 10.4174 | 1.3853 | 1.3775 | 0.012581 | 0.73604 | 57552 | 4.7601 | 1.3479 | No | 1
14.8 | 10.247 | 1.3697 | 1.3632 | 0.012439 | 0.72353 | 56335 | 4.7508 | 1.3351 | No | 1
14.8167 | 10.1106 | 1.3568 | 1.3588 | 0.012322 | 0.71114 | 55145 | 4.7415 | 1.3319 | No | 1
14.8333 | 10.009 | 1.3608 | 1.3646 | 0.012359 | 0.69879 | 53981 | 4.7322 | 1.3387 | No | 1
14.85 | 9.9374 | 1.3684 | 1.3761 | 0.012428 | 0.6864 | 52842 | 4.723 | 1.3511 | No | 1
14.8667 | 9.8913 | 1.3838 | 1.3911 | 0.012567 | 0.67389 | 51728 | 4.7137 | 1.367 | No | 1
14.8833 | 9.8636 | 1.3985 | 1.4139 | 0.012701 | 0.66125 | 50639 | 4.7045 | 1.3905 | No | 1
14.9 | 9.8469 | 1.4292 | 1.4421 | 0.01298 | 0.64841 | 49574 | 4.6953 | 1.4195 | No | 1
14.9167 | 9.8396 | 1.455 | 1.4709 | 0.013214 | 0.6353 | 48532 | 4.686 | 1.449 | No | 1
14.9333 | 9.833 | 1.4868 | 1.5073 | 0.013503 | 0.62194 | 47512 | 4.6768 | 1.4861 | No | 1
14.95 | 9.8163 | 1.5278 | 1.5475 | 0.013875 | 0.60824 | 46515 | 4.6676 | 1.527 | No | 1
14.9667 | 9.7866 | 1.5672 | 1.5913 | 0.014233 | 0.59418 | 45540 | 4.6584 | 1.5715 | No | 1
14.9833 | 9.7384 | 1.6154 | 1.6411 | 0.014671 | 0.57972 | 44585 | 4.6492 | 1.622 | No | 1
15 | 9.6669 | 1.6667 | 1.6856 | 0.015137 | 0.56481 | 43652 | 4.64 | 1.6674 | No | 1
15.0167 | 9.568 | 1.7044 | 1.7239 | 0.015479 | 0.5495 | 42739 | 4.6308 | 1.7067 | No | 1
15.0333 | 9.4383 | 1.7435 | 1.7616 | 0.015834 | 0.53383 | 41845 | 4.6216 | 1.7454 | No | 1
15.05 | 9.2789 | 1.7796 | 1.7964 | 0.016162 | 0.51783 | 40972 | 4.6125 | 1.7815 | No | 1
15.0667 | 9.0894 | 1.8133 | 1.828 | 0.016468 | 0.5015 | 40117 | 4.6033 | 1.8142 | No | 1
15.0833 | 8.8701 | 1.8427 | 1.8498 | 0.016735 | 0.4849 | 39280 | 4.5942 | 1.8374 | No | 1
15.1 | 8.6188 | 1.8569 | 1.8638 | 0.016864 | 0.46809 | 38462 | 4.585 | 1.8528 | No | 1
15.1167 | 8.3363 | 1.8706 | 1.8705 | 0.016988 | 0.45115 | 37661 | 4.5759 | 1.861 | No | 1
15.1333 | 8.0305 | 1.8704 | 1.8708 | 0.016987 | 0.43416 | 36878 | 4.5668 | 1.8628 | No | 1
15.15 | 7.7051 | 1.8712 | 1.867 | 0.016994 | 0.41716 | 36111 | 4.5576 | 1.8606 | No | 1
15.1667 | 7.3616 | 1.8628 | 1.855 | 0.016917 | 0.4002 | 35361 | 4.5485 | 1.8501 | No | 1
15.1833 | 7.0048 | 1.8473 | 1.8335 | 0.016777 | 0.38334 | 34628 | 4.5394 | 1.8302 | No | 1
15.2 | 6.6408 | 1.8198 | 1.8053 | 0.016527 | 0.36668 | 33910 | 4.5303 | 1.8035 | No | 1
15.2167 | 6.272 | 1.7909 | 1.7761 | 0.016264 | 0.35028 | 33207 | 4.5212 | 1.7758 | No | 1
15.2333 | 5.9021 | 1.7614 | 1.7436 | 0.015996 | 0.33414 | 32520 | 4.5122 | 1.7446 | No | 1
15.25 | 5.5351 | 1.7257 | 1.701 | 0.015673 | 0.3183 | 31847 | 4.5031 | 1.7034 | No | 1
15.2667 | 5.1729 | 1.6762 | 1.6516 | 0.015223 | 0.30284 | 31189 | 4.494 | 1.6553 | No | 1
15.2833 | 4.8194 | 1.627 | 1.5965 | 0.014776 | 0.28783 | 30545 | 4.4849 | 1.6013 | No | 1
15.3 | 4.4758 | 1.5659 | 1.5389 | 0.014222 | 0.27333 | 29915 | 4.4759 | 1.5448 | No | 1
15.3167 | 4.1435 | 1.5119 | 1.4783 | 0.01373 | 0.25935 | 29298 | 4.4668 | 1.4851 | No | 1
15.3333 | 3.8281 | 1.4447 | 1.4153 | 0.01312 | 0.24591 | 28694 | 4.4578 | 1.4231 | No | 1
15.35 | 3.5296 | 1.386 | 1.3558 | 0.012587 | 0.23305 | 28104 | 4.4488 | 1.3643 | No | 1
15.3667 | 3.2472 | 1.3257 | 1.2917 | 0.012039 | 0.22074 | 27526 | 4.4397 | 1.3008 | No | 1
15.3833 | 2.9791 | 1.2577 | 1.2249 | 0.011422 | 0.209 | 26960 | 4.4307 | 1.2346 | No | 1
15.4 | 2.7248 | 1.1922 | 1.1624 | 0.010827 | 0.19787 | 26406 | 4.4217 | 1.1725 | No | 1
15.4167 | 2.4873 | 1.1326 | 1.1058 | 0.010286 | 0.18731 | 25864 | 4.4127 | 1.1163 | No | 1
15.4333 | 2.2669 | 1.079 | 1.0471 | 0.0097991 | 0.17726 | 25334 | 4.4037 | 1.0579 | No | 1
15.45 | 2.0602 | 1.0153 | 0.99267 | 0.0092206 | 0.16775 | 24815 | 4.3947 | 1.0037 | No | 1
15.4667 | 1.8665 | 0.97005 | 0.9424 | 0.0088098 | 0.15873 | 24307 | 4.3857 | 0.95364 | No | 1
15.4833 | 1.6857 | 0.91475 | 0.89115 | 0.0083076 | 0.15016 | 23810 | 4.3768 | 0.90249 | No | 1
15.5 | 1.5159 | 0.86754 | 0.845 | 0.0078788 | 0.14207 | 23323 | 4.3678 | 0.85644 | No | 1
15.5167 | 1.3587 | 0.82246 | 0.80213 | 0.0074694 | 0.13439 | 22847 | 4.3588 | 0.81364 | No | 1
15.5333 | 1.2123 | 0.78181 | 0.76026 | 0.0071002 | 0.1271 | 22381 | 4.3499 | 0.77178 | No | 1
15.55 | 1.075 | 0.73871 | 0.72098 | 0.0067089 | 0.12019 | 21924 | 4.3409 | 0.73248 | No | 1
15.5667 | 0.94584 | 0.70325 | 0.68643 | 0.0063868 | 0.11364 | 21478 | 4.332 | 0.69793 | No | 1
15.5833 | 0.82336 | 0.66961 | 0.65226 | 0.0060813 | 0.10741 | 21040 | 4.323 | 0.66371 | No | 1
15.6 | 0.70817 | 0.63491 | 0.61634 | 0.0057662 | 0.10148 | 20612 | 4.3141 | 0.62765 | No | 1
15.6167 | 0.60065 | 0.59777 | 0.58622 | 0.0054288 | 0.095878 | 20193 | 4.3052 | 0.59745 | No | 1
15.6333 | 0.49876 | 0.57466 | 0.55327 | 0.005219 | 0.090552 | 19783 | 4.2963 | 0.56431 | No | 1
15.65 | 0.40328 | 0.53188 | 0.5159 | 0.0048304 | 0.085525 | 19382 | 4.2874 | 0.52661 | No | 1
15.6667 | 0.31339 | 0.49992 | 0.48188 | 0.0045402 | 0.080837 | 18989 | 4.2785 | 0.49227 | No | 1
15.6833 | 0.22684 | 0.46384 | 0.45557 | 0.0042125 | 0.076459 | 18604 | 4.2696 | 0.46576 | No | 1
15.7 | 0.14601 | 0.4473 | 0.43819 | 0.0040623 | 0.07232 | 18227 | 4.2607 | 0.44834 | No | 1
15.7167 | 0.068437 | 0.42908 | 0.41959 | 0.0038968 | 0.068338 | 17858 | 4.2518 | 0.42964 | No | 1
15.7333 | -0.0053864 | 0.41009 | 0.40091 | 0.0037244 | 0.064526 | 17497 | 4.243 | 0.41083 | No | 1
15.75 | -0.073543 | 0.39172 | 0.38169 | 0.0035575 | 0.060883 | 17144 | 4.2341 | 0.39144 | No | 1
15.7667 | -0.13852 | 0.37166 | 0.35759 | 0.0033754 | 0.057415 | 16798 | 4.2253 | 0.36701 | No | 1
15.7833 | -0.19964 | 0.34352 | 0.33403 | 0.0031198 | 0.054166 | 16459 | 4.2164 | 0.3431 | No | 1
15.8 | -0.25791 | 0.32454 | 0.31871 | 0.0029474 | 0.051131 | 16127 | 4.2076 | 0.32761 | No | 1
15.8167 | -0.31376 | 0.31288 | 0.29995 | 0.0028415 | 0.048235 | 15802 | 4.1987 | 0.30857 | No | 1
15.8333 | -0.36545 | 0.28703 | 0.27891 | 0.0026067 | 0.04551 | 15484 | 4.1899 | 0.28714 | No | 1
15.85 | -0.41161 | 0.27079 | 0.26511 | 0.0024592 | 0.042975 | 15173 | 4.1811 | 0.27315 | No | 1
15.8667 | -0.45666 | 0.25943 | 0.25474 | 0.0023561 | 0.040567 | 14868 | 4.1723 | 0.26267 | No | 1
15.8833 | -0.50231 | 0.25006 | 0.2443 | 0.002271 | 0.038252 | 14570 | 4.1635 | 0.2521 | No | 1
15.9 | -0.54589 | 0.23855 | 0.2289 | 0.0021665 | 0.036032 | 14277 | 4.1546 | 0.23639 | No | 1
15.9167 | -0.58545 | 0.21926 | 0.21686 | 0.0019913 | 0.033952 | 13991 | 4.1458 | 0.22412 | No | 1
15.9333 | -0.62085 | 0.21446 | 0.21039 | 0.0019477 | 0.031982 | 13711 | 4.1371 | 0.2176 | No | 1
15.95 | -0.65554 | 0.20631 | 0.20086 | 0.0018737 | 0.03007 | 13436 | 4.1283 | 0.20791 | No | 1
15.9667 | -0.69097 | 0.19541 | 0.19256 | 0.0017747 | 0.028245 | 13168 | 4.1195 | 0.19946 | No | 1
15.9833 | -0.72465 | 0.1897 | 0.18456 | 0.0017229 | 0.026496 | 12904 | 4.1107 | 0.19132 | No | 1
16 | -0.75463 | 0.17942 | 0.17603 | 0.0016294 | 0.024819 | 12647 | 4.102 | 0.18262 | No | 1
16.0167 | -0.78312 | 0.17264 | 0.16704 | 0.0015679 | 0.023219 | 12394 | 4.0932 | 0.17342 | No | 1
16.0333 | -0.81031 | 0.16143 | 0.16133 | 0.0014661 | 0.021702 | 12147 | 4.0845 | 0.16762 | No | 1
16.05 | -0.83567 | 0.16122 | 0.156 | 0.0014641 | 0.020236 | 11905 | 4.0757 | 0.1622 | No | 1
16.0667 | -0.8586 | 0.15078 | 0.15158 | 0.0013693 | 0.018818 | 11668 | 4.067 | 0.15773 | No | 1
16.0833 | -0.8797 | 0.15239 | 0.14923 | 0.001384 | 0.017441 | 11436 | 4.0583 | 0.1554 | No | 1
16.1 | -0.89996 | 0.14607 | 0.14367 | 0.0013266 | 0.016085 | 11208 | 4.0495 | 0.14973 | No | 1
16.1167 | -0.91927 | 0.14128 | 0.13941 | 0.001283 | 0.01478 | 10986 | 4.0408 | 0.1454 | No | 1
16.1333 | -0.93683 | 0.13755 | 0.13477 | 0.0012492 | 0.013513 | 10768 | 4.0321 | 0.14066 | No | 1
16.15 | -0.95194 | 0.13199 | 0.12891 | 0.0011987 | 0.012288 | 10554 | 4.0234 | 0.13464 | No | 1
16.1667 | -0.96649 | 0.12582 | 0.12327 | 0.0011427 | 0.011117 | 10345 | 4.0147 | 0.12885 | No | 1
16.1833 | -0.98125 | 0.12072 | 0.12016 | 0.0010964 | 0.0099971 | 10140 | 4.006 | 0.12569 | No | 1
16.2 | -0.99526 | 0.11959 | 0.11605 | 0.0010861 | 0.0089054 | 9939 | 3.9973 | 0.12148 | No | 1
16.2167 | -1.0073 | 0.11251 | 0.11125 | 0.0010218 | 0.0078509 | 9743 | 3.9887 | 0.11655 | No | 1
16.2333 | -1.0167 | 0.11 | 0.10616 | 0.00099902 | 0.00684 | 9550 | 3.98 | 0.11129 | No | 1
16.25 | -1.0264 | 0.10231 | 0.095638 | 0.00092914 | 0.0058755 | 9361 | 3.9713 | 0.10034 | No | 1
16.2667 | -1.036 | 0.088969 | 0.090157 | 0.00080799 | 0.0050065 | 9177 | 3.9627 | 0.094659 | No | 1
16.2833 | -1.0437 | 0.091345 | 0.092305 | 0.00082958 | 0.0041874 | 8996 | 3.954 | 0.096986 | No | 1
16.3 | -1.0519 | 0.093265 | 0.088044 | 0.00084701 | 0.0033487 | 8818 | 3.9454 | 0.092577 | No | 1
16.3167 | -1.0581 | 0.082824 | 0.080427 | 0.00075219 | 0.0025487 | 8645 | 3.9368 | 0.08463 | No | 1
16.3333 | -1.0615 | 0.07803 | 0.070978 | 0.00070865 | 0.0018179 | 8475 | 3.9281 | 0.074742 | No | 1
16.35 | -1.0644 | 0.063927 | 0.065573 | 0.00058057 | 0.001173 | 8308 | 3.9195 | 0.069101 | No | 1
16.3667 | -1.0682 | 0.067219 | 0.063525 | 0.00061047 | 0.0005772 | 8145 | 3.9109 | 0.066992 | No | 1
16.3833 | -1.0711 | 0.059831 | 0 | 0.00054337 | 0 | 7985 | 3.9023 | 0 | No | 1