## Sample Details
Administrative Information
Export date | 25 May 2022 15:46:40
Culture name | en-GB
Decimal separator | .
Workspace name | New workspace name
Workspace path | C:\ProgramData\Agilent Technologies\GPC\Workspaces\New workspace name\
File name | ICF_25_05_2022-0002.sample
Creation date | 25 May 2022 09:54:45
Created by | Agilent GPC 1
Comments | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Software version | Agilent GPC/SEC Software - 2.2.281.39672
Sample Information
Sample name | GDB KS0282 t9=210 min
Information
Sample type | Sample
Injection date | 25 May 2022
Vial number | P2-A-3
Injection number | 1
Injection volume (µL) | 50
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
Mp (g/mol) | 100000
IV (dL/g) | 0.5
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Analysed | Yes
Sample Instrument Conditions
Eluent | THF (100.0%)
Eluent refractive index | 1
Set flow rate (mL/min) | 1
LS wavelength (nm) | 650
Laser power (%) | 0
Set detector temperature (°C) | 40
Actual detector temperature (°C) | 0
Actual flow rate (mL/min) | 0
Column information
Data origin | Collected by Agilent GPC/SEC Software Version 2.2.281.39672
Instrument name | GPC1
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV

## Raw Data
Sample Collection Parameters
Collected by | Agilent GPC 1
Number of channels | 2
Run length (mins) | 30.0333
Delay time (secs) | 0
Sampling interval (secs) | 1
Number of data points | 1802
Sample DLS Parameters
Eluent refractive index | 1
Eluent viscosity (P) | 0.0089
DLS correlator run time (secs) | 5
DLS Clip Time (µs) | 100
DLS R² | 0.4
Sample Channel Information
Channel ID | Detector type | Detector name | Detector units | Channel Information
1 | UV 254nm | VWD: Signal A, 254 nm | mAU
2 | RI | RI: Signal | mV
Raw Data
RT (mins) | Response Trace 1 | Response Trace 2
0 | -0.0050468 | 10.0133
0.016667 | -0.0086638 | 10.0079
0.033333 | -0.0069746 | 9.9401
0.05 | -0.001331 | 9.7076
0.066667 | 0.0060108 | 9.7051
0.083333 | 0.0095462 | 9.7584
0.1 | 0.0087429 | 9.8202
0.11667 | 0.0063441 | 9.8795
0.13333 | 0.0037033 | 9.921
0.15 | 0.0023299 | 9.95
0.16667 | 0.0024144 | 9.9664
0.18333 | 0.0012634 | 9.974
0.2 | -0.0017981 | 9.9796
0.21667 | -0.0019341 | 9.981
0.23333 | -0.00096002 | 9.9876
0.25 | -0.00062962 | 9.983
0.26667 | -0.00025957 | 9.9747
0.28333 | 0.0010566 | 9.9731
0.3 | 0.003619 | 9.9644
0.31667 | 0.0054519 | 9.9628
0.33333 | 0.0046287 | 9.9593
0.35 | 0.0010669 | 9.9613
0.36667 | -0.00077203 | 9.9732
0.38333 | 0.0010948 | 9.9772
0.4 | 0.002118 | 9.9696
0.41667 | 0.00071759 | 9.9749
0.43333 | 0.0018574 | 9.9697
0.45 | 0.0057866 | 9.9737
0.46667 | 0.0058656 | 9.9744
0.48333 | 0.0034457 | 9.9728
0.5 | 0.0028953 | 9.9735
0.51667 | 0.0034649 | 9.9738
0.53333 | 0.0029905 | 9.9708
0.55 | 0.0023495 | 9.9714
0.56667 | 0.002204 | 9.9723
0.58333 | 0.0019834 | 9.9723
0.6 | 0.0015165 | 9.9712
0.61667 | 0.0021579 | 9.9729
0.63333 | 0.0042818 | 9.9665
0.65 | 0.0049995 | 9.9645
0.66667 | 0.0037964 | 9.9702
0.68333 | 0.0041849 | 9.9632
0.7 | 0.0059831 | 9.9705
0.71667 | 0.0046102 | 9.9703
0.73333 | 0.0014428 | 9.9726
0.75 | 0.0017273 | 9.9712
0.76667 | 0.0030989 | 9.9752
0.78333 | 0.0035601 | 9.967
0.8 | 0.004318 | 9.9694
0.81667 | 0.0057031 | 9.9671
0.83333 | 0.0066049 | 9.9741
0.85 | 0.0073494 | 9.9682
0.86667 | 0.0075309 | 9.9656
0.88333 | 0.006902 | 9.9671
0.9 | 0.0083641 | 9.9607
0.91667 | 0.0096637 | 9.9644
0.93333 | 0.0088268 | 9.9723
0.95 | 0.0092372 | 9.9686
0.96667 | 0.010262 | 9.9747
0.98333 | 0.0091862 | 9.97
1 | 0.0076144 | 9.9705
1.0167 | 0.0071628 | 9.974
1.0333 | 0.0078606 | 9.9792
1.05 | 0.0094009 | 9.9834
1.0667 | 0.0095318 | 9.9944
1.0833 | 0.0087316 | 9.9921
1.1 | 0.010447 | 9.9894
1.1167 | 0.011263 | 9.9909
1.1333 | 0.010133 | 9.9877
1.15 | 0.010265 | 9.9931
1.1667 | 0.0090541 | 9.9857
1.1833 | 0.0076508 | 9.979
1.2 | 0.0084872 | 9.9712
1.2167 | 0.0075832 | 9.9731
1.2333 | 0.0046817 | 9.9653
1.25 | 0.0059619 | 9.966
1.2667 | 0.010748 | 9.9688
1.2833 | 0.012904 | 9.9772
1.3 | 0.010677 | 9.9685
1.3167 | 0.0094972 | 9.9718
1.3333 | 0.010183 | 9.9702
1.35 | 0.011046 | 9.9696
1.3667 | 0.011549 | 9.9757
1.3833 | 0.0098588 | 9.9778
1.4 | 0.0074143 | 9.9805
1.4167 | 0.0067706 | 9.9815
1.4333 | 0.0062291 | 9.9725
1.45 | 0.00462 | 9.9718
1.4667 | 0.003703 | 9.9784
1.4833 | 0.0049734 | 9.978
1.5 | 0.0062286 | 9.9839
1.5167 | 0.0059902 | 9.9798
1.5333 | 0.0061461 | 9.9819
1.55 | 0.0072507 | 9.9781
1.5667 | 0.0066762 | 9.9772
1.5833 | 0.0051436 | 9.967
1.6 | 0.0043154 | 9.9757
1.6167 | 0.0052272 | 9.9755
1.6333 | 0.0070588 | 9.9783
1.65 | 0.0073272 | 9.9888
1.6667 | 0.0076542 | 9.9885
1.6833 | 0.0068084 | 9.9827
1.7 | 0.0051252 | 9.9886
1.7167 | 0.0058438 | 9.9836
1.7333 | 0.0075824 | 9.9894
1.75 | 0.0082746 | 9.9866
1.7667 | 0.0074985 | 9.9905
1.7833 | 0.0067293 | 9.9917
1.8 | 0.0056242 | 9.9921
1.8167 | 0.0046802 | 9.9892
1.8333 | 0.0052597 | 9.999
1.85 | 0.005818 | 10.0037
1.8667 | 0.0053359 | 10.012
1.8833 | 0.0054927 | 10.0097
1.9 | 0.0063955 | 10.0079
1.9167 | 0.006783 | 10.0066
1.9333 | 0.0065523 | 10.0068
1.95 | 0.0066931 | 10.0137
1.9667 | 0.0070991 | 10.0188
1.9833 | 0.0086786 | 10.0179
2 | 0.0093487 | 10.0103
2.0167 | 0.0063172 | 10.0169
2.0333 | 0.004254 | 10.0155
2.05 | 0.0063818 | 10.0152
2.0667 | 0.0080047 | 10.0167
2.0833 | 0.0068508 | 10.0156
2.1 | 0.0066648 | 10.0095
2.1167 | 0.0090038 | 10.0042
2.1333 | 0.0089842 | 10.0095
2.15 | 0.0066608 | 10.0091
2.1667 | 0.0041757 | 10.0057
2.1833 | 0.0012629 | 10.0056
2.2 | 0.0012054 | 10.0051
2.2167 | 0.0037963 | 10.0114
2.2333 | 0.0055607 | 10.0105
2.25 | 0.0061712 | 10.0098
2.2667 | 0.0056286 | 10.0085
2.2833 | 0.0046725 | 10.0082
2.3 | 0.0049711 | 10.0071
2.3167 | 0.0051877 | 10.001
2.3333 | 0.0049034 | 10.006
2.35 | 0.0038712 | 10.0098
2.3667 | 0.003233 | 10.0083
2.3833 | 0.0042773 | 10.0022
2.4 | 0.0048509 | 9.9989
2.4167 | 0.0051479 | 9.992
2.4333 | 0.004857 | 9.9989
2.45 | 0.0034408 | 10.0007
2.4667 | 0.0039125 | 10.0001
2.4833 | 0.0060907 | 10.0018
2.5 | 0.0061914 | 9.9998
2.5167 | 0.0057683 | 9.9967
2.5333 | 0.0063918 | 9.9989
2.55 | 0.0050132 | 9.9987
2.5667 | 0.0041927 | 10.0002
2.5833 | 0.0067056 | 9.9946
2.6 | 0.0088189 | 9.9982
2.6167 | 0.0085753 | 9.9944
2.6333 | 0.0076722 | 9.9923
2.65 | 0.0068799 | 9.9947
2.6667 | 0.0051321 | 9.994
2.6833 | 0.0035787 | 9.9897
2.7 | 0.0053891 | 9.9958
2.7167 | 0.0065407 | 10.0002
2.7333 | 0.0057312 | 10.0027
2.75 | 0.0056017 | 10.0008
2.7667 | 0.0053305 | 10.0022
2.7833 | 0.0057513 | 10.0007
2.8 | 0.0071995 | 10.0018
2.8167 | 0.0077764 | 10.0019
2.8333 | 0.0061924 | 10.0005
2.85 | 0.004087 | 9.9982
2.8667 | 0.0046702 | 9.9943
2.8833 | 0.006847 | 10.0001
2.9 | 0.0086876 | 9.9963
2.9167 | 0.0083735 | 9.9937
2.9333 | 0.007097 | 9.9967
2.95 | 0.0071172 | 10.0045
2.9667 | 0.0073825 | 10.0086
2.9833 | 0.0083673 | 10.0147
3 | 0.0095924 | 10.0141
3.0167 | 0.0072517 | 10.0179
3.0333 | 0.0063429 | 10.0188
3.05 | 0.0076631 | 10.019
3.0667 | 0.0059824 | 10.0127
3.0833 | 0.0056656 | 10.0129
3.1 | 0.0065291 | 10.0082
3.1167 | 0.0064995 | 10.0121
3.1333 | 0.006953 | 10.015
3.15 | 0.0076105 | 10.0185
3.1667 | 0.0064067 | 10.0245
3.1833 | 0.0056383 | 10.0301
3.2 | 0.0074895 | 10.0297
3.2167 | 0.0091557 | 10.0298
3.2333 | 0.0086128 | 10.0286
3.25 | 0.0078402 | 10.0268
3.2667 | 0.0076922 | 10.0338
3.2833 | 0.0078586 | 10.0344
3.3 | 0.0083729 | 10.0413
3.3167 | 0.0083584 | 10.0472
3.3333 | 0.0075289 | 10.0446
3.35 | 0.0073148 | 10.0307
3.3667 | 0.008752 | 10.034
3.3833 | 0.0087091 | 10.026
3.4 | 0.007188 | 10.0251
3.4167 | 0.0072013 | 10.0282
3.4333 | 0.0079384 | 10.0286
3.45 | 0.0096566 | 10.0294
3.4667 | 0.010611 | 10.0318
3.4833 | 0.00912 | 10.0289
3.5 | 0.0093876 | 10.0307
3.5167 | 0.010338 | 10.0272
3.5333 | 0.010495 | 10.0268
3.55 | 0.010151 | 10.0341
3.5667 | 0.010077 | 10.0417
3.5833 | 0.011062 | 10.041
3.6 | 0.010388 | 10.0452
3.6167 | 0.0099376 | 10.0468
3.6333 | 0.010846 | 10.0492
3.65 | 0.010714 | 10.0481
3.6667 | 0.010016 | 10.0454
3.6833 | 0.010199 | 10.0445
3.7 | 0.011427 | 10.0539
3.7167 | 0.012083 | 10.0651
3.7333 | 0.011652 | 10.06
3.75 | 0.011706 | 10.0547
3.7667 | 0.011474 | 10.05
3.7833 | 0.0098935 | 10.0578
3.8 | 0.0093956 | 10.059
3.8167 | 0.0099445 | 10.0651
3.8333 | 0.010014 | 10.0614
3.85 | 0.0099287 | 10.0686
3.8667 | 0.0094685 | 10.0629
3.8833 | 0.008488 | 10.0585
3.9 | 0.009361 | 10.0622
3.9167 | 0.01168 | 10.0733
3.9333 | 0.011447 | 10.0668
3.95 | 0.010108 | 10.0655
3.9667 | 0.010462 | 10.0629
3.9833 | 0.013467 | 10.0701
4 | 0.014404 | 10.0669
4.0167 | 0.012744 | 10.0741
4.0333 | 0.011649 | 10.0806
4.05 | 0.010002 | 10.0724
4.0667 | 0.0080166 | 10.0726
4.0833 | 0.0082379 | 10.0761
4.1 | 0.0087634 | 10.0596
4.1167 | 0.0083603 | 10.0649
4.1333 | 0.0074699 | 10.0744
4.15 | 0.0069105 | 10.0701
4.1667 | 0.0069812 | 10.0634
4.1833 | 0.0072149 | 10.0591
4.2 | 0.0082666 | 10.0611
4.2167 | 0.008972 | 10.0539
4.2333 | 0.008693 | 10.0498
4.25 | 0.0095222 | 10.0486
4.2667 | 0.011734 | 10.06
4.2833 | 0.011866 | 10.0657
4.3 | 0.01199 | 10.0657
4.3167 | 0.012556 | 10.0652
4.3333 | 0.011603 | 10.0616
4.35 | 0.010778 | 10.0564
4.3667 | 0.0098799 | 10.0603
4.3833 | 0.0098633 | 10.055
4.4 | 0.011834 | 10.0623
4.4167 | 0.012336 | 10.0637
4.4333 | 0.01106 | 10.0654
4.45 | 0.010997 | 10.0661
4.4667 | 0.011082 | 10.0695
4.4833 | 0.010805 | 10.0677
4.5 | 0.0099886 | 10.0683
4.5167 | 0.0087207 | 10.0681
4.5333 | 0.00779 | 10.0649
4.55 | 0.0070665 | 10.064
4.5667 | 0.0074973 | 10.0655
4.5833 | 0.0091788 | 10.0698
4.6 | 0.01032 | 10.0709
4.6167 | 0.011345 | 10.068
4.6333 | 0.012048 | 10.0695
4.65 | 0.011625 | 10.0748
4.6667 | 0.012095 | 10.0713
4.6833 | 0.012596 | 10.0732
4.7 | 0.0094715 | 10.0764
4.7167 | 0.0083103 | 10.0794
4.7333 | 0.010434 | 10.0707
4.75 | 0.011555 | 10.0716
4.7667 | 0.011656 | 10.0738
4.7833 | 0.010947 | 10.0765
4.8 | 0.010508 | 10.0651
4.8167 | 0.01079 | 10.0668
4.8333 | 0.010314 | 10.06
4.85 | 0.010272 | 10.0494
4.8667 | 0.010635 | 10.0484
4.8833 | 0.01117 | 10.046
4.9 | 0.01306 | 10.0446
4.9167 | 0.015153 | 10.044
4.9333 | 0.015517 | 10.0434
4.95 | 0.01461 | 10.046
4.9667 | 0.014308 | 10.0498
4.9833 | 0.013595 | 10.0474
5 | 0.011593 | 10.0462
5.0167 | 0.010037 | 10.0471
5.0333 | 0.0091043 | 10.0509
5.05 | 0.010364 | 10.0431
5.0667 | 0.011738 | 10.0445
5.0833 | 0.010602 | 10.0347
5.1 | 0.0096183 | 10.044
5.1167 | 0.0083998 | 10.0497
5.1333 | 0.0077818 | 10.0617
5.15 | 0.009368 | 10.0602
5.1667 | 0.010051 | 10.0599
5.1833 | 0.0097169 | 10.0578
5.2 | 0.0091489 | 10.0555
5.2167 | 0.0083365 | 10.0535
5.2333 | 0.0092594 | 10.0481
5.25 | 0.0090929 | 10.052
5.2667 | 0.0082116 | 10.0504
5.2833 | 0.0095049 | 10.0488
5.3 | 0.01011 | 10.0457
5.3167 | 0.008253 | 10.0428
5.3333 | 0.0074419 | 10.0396
5.35 | 0.0074083 | 10.0407
5.3667 | 0.0064142 | 10.0397
5.3833 | 0.0062625 | 10.0494
5.4 | 0.0071526 | 10.0512
5.4167 | 0.0065597 | 10.0565
5.4333 | 0.005369 | 10.0521
5.45 | 0.0052407 | 10.0532
5.4667 | 0.00591 | 10.0527
5.4833 | 0.0084823 | 10.0539
5.5 | 0.0091699 | 10.0552
5.5167 | 0.0065922 | 10.0529
5.5333 | 0.0051938 | 10.0538
5.55 | 0.0062599 | 10.0477
5.5667 | 0.0075309 | 10.0442
5.5833 | 0.0075086 | 10.052
5.6 | 0.005782 | 10.0591
5.6167 | 0.0048546 | 10.0571
5.6333 | 0.006331 | 10.0574
5.65 | 0.0062286 | 10.0579
5.6667 | 0.0028751 | 10.044
5.6833 | 0.0022747 | 10.0379
5.7 | 0.0048341 | 10.0355
5.7167 | 0.0056866 | 10.0295
5.7333 | 0.0061061 | 10.0294
5.75 | 0.0055444 | 10.0277
5.7667 | 0.0041145 | 10.026
5.7833 | 0.0037356 | 10.0327
5.8 | 0.0033695 | 10.0355
5.8167 | 0.0036597 | 10.0373
5.8333 | 0.0039981 | 10.0426
5.85 | 0.0041746 | 10.0457
5.8667 | 0.0052438 | 10.0509
5.8833 | 0.0058289 | 10.0488
5.9 | 0.0049503 | 10.0428
5.9167 | 0.0050573 | 10.0367
5.9333 | 0.0051869 | 10.0314
5.95 | 0.0030846 | 10.0278
5.9667 | 0.0011733 | 10.0275
5.9833 | 0.00091294 | 10.0208
6 | 0.0012195 | 10.0274
6.0167 | 0.00080093 | 10.0332
6.0333 | -0.00011143 | 10.0373
6.05 | 0.00094142 | 10.0288
6.0667 | 0.00074277 | 10.0288
6.0833 | 0.00027841 | 10.0327
6.1 | 0.00149 | 10.0314
6.1167 | 0.0010103 | 10.0288
6.1333 | 0.00033588 | 10.0274
6.15 | 0.0014786 | 10.0347
6.1667 | 0.0022201 | 10.0388
6.1833 | 0.0017379 | 10.0419
6.2 | 0.0010484 | 10.0465
6.2167 | 0.0011356 | 10.0484
6.2333 | 0.00072382 | 10.0475
6.25 | 0.00061672 | 10.0475
6.2667 | 0.0010795 | 10.0387
6.2833 | 0.0026687 | 10.043
6.3 | 0.0047204 | 10.0407
6.3167 | 0.0050068 | 10.0442
6.3333 | 0.0038508 | 10.0397
6.35 | 0.0031252 | 10.042
6.3667 | 0.0017836 | 10.048
6.3833 | 0.0013764 | 10.0518
6.4 | 0.0027422 | 10.0489
6.4167 | 0.004231 | 10.0451
6.4333 | 0.0063763 | 10.0481
6.45 | 0.010019 | 10.0504
6.4667 | 0.014985 | 10.0484
6.4833 | 0.023357 | 10.048
6.5 | 0.040846 | 10.0426
6.5167 | 0.070213 | 10.0472
6.5333 | 0.11371 | 10.0497
6.55 | 0.17997 | 10.0483
6.5667 | 0.28043 | 10.0414
6.5833 | 0.42574 | 10.0433
6.6 | 0.62618 | 10.0491
6.6167 | 0.89762 | 10.0532
6.6333 | 1.2569 | 10.0594
6.65 | 1.7178 | 10.0526
6.6667 | 2.2892 | 10.0463
6.6833 | 2.9763 | 10.0471
6.7 | 3.7807 | 10.0449
6.7167 | 4.6966 | 10.0416
6.7333 | 5.7126 | 10.0481
6.75 | 6.8125 | 10.0571
6.7667 | 7.9715 | 10.0713
6.7833 | 9.1647 | 10.0713
6.8 | 10.3679 | 10.0785
6.8167 | 11.5529 | 10.0829
6.8333 | 12.6969 | 10.1
6.85 | 13.7781 | 10.1052
6.8667 | 14.777 | 10.1095
6.8833 | 15.6768 | 10.1173
6.9 | 16.4645 | 10.1218
6.9167 | 17.1344 | 10.1267
6.9333 | 17.6827 | 10.1377
6.95 | 18.1122 | 10.1423
6.9667 | 18.4282 | 10.1504
6.9833 | 18.6348 | 10.1467
7 | 18.7392 | 10.1527
7.0167 | 18.7505 | 10.1586
7.0333 | 18.6767 | 10.1611
7.05 | 18.5308 | 10.1699
7.0667 | 18.3245 | 10.1698
7.0833 | 18.0666 | 10.174
7.1 | 17.7666 | 10.1702
7.1167 | 17.4308 | 10.172
7.1333 | 17.0661 | 10.1646
7.15 | 16.684 | 10.1661
7.1667 | 16.2897 | 10.1719
7.1833 | 15.8867 | 10.1736
7.2 | 15.4817 | 10.1664
7.2167 | 15.0765 | 10.1688
7.2333 | 14.6729 | 10.1763
7.25 | 14.2757 | 10.1829
7.2667 | 13.887 | 10.1788
7.2833 | 13.5043 | 10.1751
7.3 | 13.1312 | 10.1687
7.3167 | 12.7711 | 10.1656
7.3333 | 12.4201 | 10.1586
7.35 | 12.078 | 10.1553
7.3667 | 11.7474 | 10.1432
7.3833 | 11.4266 | 10.1373
7.4 | 11.1145 | 10.1417
7.4167 | 10.8139 | 10.1437
7.4333 | 10.5237 | 10.1505
7.45 | 10.2429 | 10.1383
7.4667 | 9.9734 | 10.1331
7.4833 | 9.7135 | 10.131
7.5 | 9.4609 | 10.1321
7.5167 | 9.218 | 10.1286
7.5333 | 8.9838 | 10.1301
7.55 | 8.757 | 10.1264
7.5667 | 8.5411 | 10.127
7.5833 | 8.331 | 10.124
7.6 | 8.1257 | 10.1223
7.6167 | 7.9306 | 10.1141
7.6333 | 7.7441 | 10.1119
7.65 | 7.5636 | 10.1077
7.6667 | 7.3888 | 10.1131
7.6833 | 7.2193 | 10.1017
7.7 | 7.0566 | 10.1009
7.7167 | 6.8989 | 10.0918
7.7333 | 6.7428 | 10.0857
7.75 | 6.5928 | 10.086
7.7667 | 6.4515 | 10.0784
7.7833 | 6.3124 | 10.0739
7.8 | 6.1763 | 10.0742
7.8167 | 6.0463 | 10.0759
7.8333 | 5.9207 | 10.0735
7.85 | 5.7985 | 10.0727
7.8667 | 5.6767 | 10.0761
7.8833 | 5.5599 | 10.084
7.9 | 5.4503 | 10.0736
7.9167 | 5.3453 | 10.0741
7.9333 | 5.2424 | 10.0707
7.95 | 5.1412 | 10.0677
7.9667 | 5.0441 | 10.0681
7.9833 | 4.9511 | 10.0719
8 | 4.8609 | 10.0715
8.0167 | 4.7731 | 10.0748
8.0333 | 4.6876 | 10.0716
8.05 | 4.6046 | 10.0663
8.0667 | 4.5239 | 10.0694
8.0833 | 4.4456 | 10.0791
8.1 | 4.3676 | 10.0852
8.1167 | 4.2906 | 10.0851
8.1333 | 4.2176 | 10.0861
8.15 | 4.1465 | 10.0817
8.1667 | 4.0765 | 10.082
8.1833 | 4.0093 | 10.0767
8.2 | 3.943 | 10.0721
8.2167 | 3.8754 | 10.0748
8.2333 | 3.8084 | 10.0669
8.25 | 3.7436 | 10.0692
8.2667 | 3.6806 | 10.0675
8.2833 | 3.6194 | 10.0636
8.3 | 3.5591 | 10.0727
8.3167 | 3.498 | 10.0726
8.3333 | 3.4377 | 10.0796
8.35 | 3.3775 | 10.0686
8.3667 | 3.3186 | 10.0768
8.3833 | 3.2632 | 10.0793
8.4 | 3.2089 | 10.0886
8.4167 | 3.1565 | 10.0838
8.4333 | 3.1068 | 10.0819
8.45 | 3.0568 | 10.0832
8.4667 | 3.0067 | 10.0872
8.4833 | 2.9576 | 10.0814
8.5 | 2.9088 | 10.0907
8.5167 | 2.8607 | 10.091
8.5333 | 2.8155 | 10.0831
8.55 | 2.7727 | 10.0819
8.5667 | 2.7315 | 10.0898
8.5833 | 2.6913 | 10.0793
8.6 | 2.6509 | 10.0857
8.6167 | 2.612 | 10.082
8.6333 | 2.575 | 10.0816
8.65 | 2.5395 | 10.0747
8.6667 | 2.5049 | 10.0762
8.6833 | 2.4708 | 10.0727
8.7 | 2.4387 | 10.0803
8.7167 | 2.4084 | 10.0823
8.7333 | 2.3777 | 10.0796
8.75 | 2.3462 | 10.0845
8.7667 | 2.3161 | 10.0787
8.7833 | 2.2912 | 10.0767
8.8 | 2.2657 | 10.0681
8.8167 | 2.2391 | 10.068
8.8333 | 2.2168 | 10.0639
8.85 | 2.196 | 10.0681
8.8667 | 2.176 | 10.0712
8.8833 | 2.1571 | 10.0756
8.9 | 2.1398 | 10.0665
8.9167 | 2.1274 | 10.0675
8.9333 | 2.1184 | 10.064
8.95 | 2.1101 | 10.0642
8.9667 | 2.1061 | 10.0581
8.9833 | 2.1095 | 10.06
9 | 2.1167 | 10.061
9.0167 | 2.1248 | 10.0596
9.0333 | 2.1359 | 10.0637
9.05 | 2.1509 | 10.0657
9.0667 | 2.1668 | 10.0603
9.0833 | 2.1826 | 10.0584
9.1 | 2.2002 | 10.0558
9.1167 | 2.2206 | 10.057
9.1333 | 2.2411 | 10.0626
9.15 | 2.2592 | 10.0639
9.1667 | 2.2756 | 10.0631
9.1833 | 2.291 | 10.0674
9.2 | 2.305 | 10.0661
9.2167 | 2.3163 | 10.0608
9.2333 | 2.324 | 10.0706
9.25 | 2.3272 | 10.0626
9.2667 | 2.3275 | 10.0573
9.2833 | 2.3253 | 10.0549
9.3 | 2.3187 | 10.0605
9.3167 | 2.3068 | 10.0636
9.3333 | 2.2922 | 10.0694
9.35 | 2.2775 | 10.0692
9.3667 | 2.2604 | 10.071
9.3833 | 2.2391 | 10.07
9.4 | 2.2147 | 10.071
9.4167 | 2.1884 | 10.0657
9.4333 | 2.1615 | 10.0661
9.45 | 2.1334 | 10.0694
9.4667 | 2.1054 | 10.0729
9.4833 | 2.0783 | 10.0677
9.5 | 2.0479 | 10.0726
9.5167 | 2.0159 | 10.0709
9.5333 | 1.9864 | 10.0703
9.55 | 1.9558 | 10.0666
9.5667 | 1.9235 | 10.0634
9.5833 | 1.892 | 10.0605
9.6 | 1.8617 | 10.0565
9.6167 | 1.8325 | 10.057
9.6333 | 1.8045 | 10.0515
9.65 | 1.7768 | 10.0559
9.6667 | 1.7481 | 10.0477
9.6833 | 1.7198 | 10.0475
9.7 | 1.6921 | 10.0472
9.7167 | 1.6661 | 10.0503
9.7333 | 1.6411 | 10.0478
9.75 | 1.6144 | 10.0517
9.7667 | 1.5872 | 10.0439
9.7833 | 1.5616 | 10.0477
9.8 | 1.5369 | 10.0446
9.8167 | 1.5145 | 10.051
9.8333 | 1.4936 | 10.0503
9.85 | 1.4721 | 10.0546
9.8667 | 1.4504 | 10.0428
9.8833 | 1.4275 | 10.0407
9.9 | 1.4065 | 10.0391
9.9167 | 1.3874 | 10.0358
9.9333 | 1.3672 | 10.0404
9.95 | 1.3486 | 10.0433
9.9667 | 1.3315 | 10.0397
9.9833 | 1.3133 | 10.0349
10 | 1.294 | 10.0381
10.0167 | 1.2748 | 10.0301
10.0333 | 1.2582 | 10.0376
10.05 | 1.2424 | 10.0341
10.0667 | 1.2255 | 10.0317
10.0833 | 1.2074 | 10.0408
10.1 | 1.1886 | 10.0504
10.1167 | 1.1728 | 10.053
10.1333 | 1.1593 | 10.0547
10.15 | 1.1448 | 10.0457
10.1667 | 1.1298 | 10.0451
10.1833 | 1.1157 | 10.0391
10.2 | 1.1035 | 10.0401
10.2167 | 1.0926 | 10.0327
10.2333 | 1.0792 | 10.0318
10.25 | 1.0645 | 10.0365
10.2667 | 1.052 | 10.0355
10.2833 | 1.0411 | 10.0326
10.3 | 1.0293 | 10.0369
10.3167 | 1.0172 | 10.0385
10.3333 | 1.0056 | 10.044
10.35 | 0.99481 | 10.0446
10.3667 | 0.98534 | 10.0422
10.3833 | 0.97488 | 10.0372
10.4 | 0.96362 | 10.035
10.4167 | 0.95432 | 10.0387
10.4333 | 0.94544 | 10.0433
10.45 | 0.93656 | 10.043
10.4667 | 0.9293 | 10.0355
10.4833 | 0.92167 | 10.0361
10.5 | 0.90995 | 10.035
10.5167 | 0.89881 | 10.0381
10.5333 | 0.89279 | 10.0455
10.55 | 0.88668 | 10.0512
10.5667 | 0.8782 | 10.0448
10.5833 | 0.86981 | 10.0498
10.6 | 0.86201 | 10.0452
10.6167 | 0.85412 | 10.0527
10.6333 | 0.84779 | 10.055
10.65 | 0.84253 | 10.0603
10.6667 | 0.83619 | 10.0585
10.6833 | 0.82845 | 10.0541
10.7 | 0.82016 | 10.0544
10.7167 | 0.81099 | 10.0549
10.7333 | 0.80329 | 10.0489
10.75 | 0.79693 | 10.0425
10.7667 | 0.79001 | 10.0488
10.7833 | 0.78351 | 10.0486
10.8 | 0.77853 | 10.0472
10.8167 | 0.77296 | 10.0462
10.8333 | 0.76685 | 10.0416
10.85 | 0.76176 | 10.0416
10.8667 | 0.75614 | 10.0434
10.8833 | 0.75107 | 10.0388
10.9 | 0.74859 | 10.0379
10.9167 | 0.74376 | 10.0463
10.9333 | 0.73705 | 10.0503
10.95 | 0.73193 | 10.0445
10.9667 | 0.72796 | 10.0442
10.9833 | 0.72434 | 10.0524
11 | 0.71955 | 10.0529
11.0167 | 0.71479 | 10.0436
11.0333 | 0.71089 | 10.0472
11.05 | 0.70677 | 10.0462
11.0667 | 0.70145 | 10.0407
11.0833 | 0.69639 | 10.0393
11.1 | 0.69326 | 10.0375
11.1167 | 0.68997 | 10.0411
11.1333 | 0.68594 | 10.0404
11.15 | 0.68291 | 10.0483
11.1667 | 0.68019 | 10.052
11.1833 | 0.67635 | 10.0478
11.2 | 0.67266 | 10.0445
11.2167 | 0.6692 | 10.0397
11.2333 | 0.66513 | 10.0401
11.25 | 0.66178 | 10.0393
11.2667 | 0.65724 | 10.0259
11.2833 | 0.65413 | 10.0236
11.3 | 0.65209 | 10.0155
11.3167 | 0.64838 | 10.0193
11.3333 | 0.64498 | 10.021
11.35 | 0.64216 | 10.0185
11.3667 | 0.63987 | 10.015
11.3833 | 0.6376 | 10.0175
11.4 | 0.63384 | 10.0178
11.4167 | 0.63003 | 10.0155
11.4333 | 0.62812 | 10.0082
11.45 | 0.62608 | 10.0137
11.4667 | 0.62315 | 10.0163
11.4833 | 0.62039 | 10.0167
11.5 | 0.61768 | 10.0123
11.5167 | 0.61472 | 10.0146
11.5333 | 0.61304 | 10.0138
11.55 | 0.6119 | 10.0155
11.5667 | 0.60871 | 10.0143
11.5833 | 0.60608 | 10.0082
11.6 | 0.60319 | 10.0077
11.6167 | 0.60136 | 9.9998
11.6333 | 0.60067 | 9.9969
11.65 | 0.59909 | 9.9973
11.6667 | 0.59753 | 9.9943
11.6833 | 0.59611 | 9.9973
11.7 | 0.59557 | 9.9989
11.7167 | 0.59336 | 9.9906
11.7333 | 0.59071 | 9.9914
11.75 | 0.58905 | 9.9905
11.7667 | 0.58742 | 9.9931
11.7833 | 0.58642 | 9.987
11.8 | 0.58432 | 9.9931
11.8167 | 0.58313 | 9.9943
11.8333 | 0.58348 | 9.9969
11.85 | 0.58266 | 9.9975
11.8667 | 0.58153 | 9.9972
11.8833 | 0.5796 | 9.9999
11.9 | 0.57799 | 10.0074
11.9167 | 0.57718 | 10.0043
11.9333 | 0.57685 | 10.0101
11.95 | 0.58061 | 10.014
11.9667 | 0.58212 | 10.0146
11.9833 | 0.57802 | 10.0105
12 | 0.5754 | 10.0101
12.0167 | 0.57467 | 10.0109
12.0333 | 0.57276 | 10.0105
12.05 | 0.57202 | 10.0062
12.0667 | 0.57371 | 9.9999
12.0833 | 0.57352 | 9.9984
12.1 | 0.57001 | 9.9912
12.1167 | 0.56686 | 9.9889
12.1333 | 0.56624 | 9.9859
12.15 | 0.56602 | 9.9873
12.1667 | 0.56538 | 9.992
12.1833 | 0.56501 | 9.994
12.2 | 0.56432 | 9.9976
12.2167 | 0.56323 | 10.0018
12.2333 | 0.56199 | 9.9993
12.25 | 0.56143 | 10.0039
12.2667 | 0.5607 | 10.0004
12.2833 | 0.55817 | 10.0056
12.3 | 0.55483 | 10.0043
12.3167 | 0.55413 | 10.0065
12.3333 | 0.55464 | 10.0056
12.35 | 0.55405 | 10.0091
12.3667 | 0.55376 | 10.001
12.3833 | 0.55342 | 9.995
12.4 | 0.55363 | 9.9877
12.4167 | 0.55291 | 9.9932
12.4333 | 0.55072 | 9.9888
12.45 | 0.54934 | 9.9915
12.4667 | 0.54768 | 9.9946
12.4833 | 0.54579 | 9.9946
12.5 | 0.54454 | 9.9992
12.5167 | 0.54342 | 10.0068
12.5333 | 0.54155 | 10.006
12.55 | 0.5418 | 10.0011
12.5667 | 0.54458 | 10.0088
12.5833 | 0.54563 | 10.0112
12.6 | 0.545 | 10.0166
12.6167 | 0.54374 | 10.0137
12.6333 | 0.54257 | 10.0204
12.65 | 0.54156 | 10.0143
12.6667 | 0.54046 | 10.0182
12.6833 | 0.53906 | 10.0149
12.7 | 0.53796 | 10.0144
12.7167 | 0.53841 | 10.0106
12.7333 | 0.5398 | 10.0149
12.75 | 0.54001 | 10.0106
12.7667 | 0.54016 | 10.0079
12.7833 | 0.54068 | 9.9999
12.8 | 0.54166 | 9.9986
12.8167 | 0.54243 | 9.9996
12.8333 | 0.54265 | 10.0109
12.85 | 0.54346 | 10.0033
12.8667 | 0.54443 | 10.0028
12.8833 | 0.5443 | 10.0079
12.9 | 0.54299 | 10.0091
12.9167 | 0.54266 | 10.0091
12.9333 | 0.54492 | 10.0103
12.95 | 0.5468 | 10.0095
12.9667 | 0.54735 | 10.0114
12.9833 | 0.54761 | 10.0192
13 | 0.54802 | 10.0181
13.0167 | 0.54887 | 10.0172
13.0333 | 0.552 | 10.0204
13.05 | 0.55392 | 10.0297
13.0667 | 0.55334 | 10.0289
13.0833 | 0.55371 | 10.0317
13.1 | 0.55583 | 10.0249
13.1167 | 0.55798 | 10.0236
13.1333 | 0.55811 | 10.0214
13.15 | 0.55867 | 10.0246
13.1667 | 0.56112 | 10.0146
13.1833 | 0.56413 | 10.0159
13.2 | 0.56734 | 10.0144
13.2167 | 0.57055 | 10.0153
13.2333 | 0.5729 | 10.0198
13.25 | 0.57528 | 10.0224
13.2667 | 0.57807 | 10.0282
13.2833 | 0.58008 | 10.0271
13.3 | 0.58179 | 10.0256
13.3167 | 0.58485 | 10.0254
13.3333 | 0.5885 | 10.0237
13.35 | 0.59156 | 10.0227
13.3667 | 0.59375 | 10.0343
13.3833 | 0.59572 | 10.037
13.4 | 0.59859 | 10.0311
13.4167 | 0.60023 | 10.017
13.4333 | 0.60181 | 10.0228
13.45 | 0.60667 | 10.0274
13.4667 | 0.61197 | 10.0251
13.4833 | 0.61606 | 10.0289
13.5 | 0.61998 | 10.0311
13.5167 | 0.62239 | 10.0327
13.5333 | 0.62542 | 10.0333
13.55 | 0.63078 | 10.0333
13.5667 | 0.63555 | 10.0359
13.5833 | 0.63946 | 10.0269
13.6 | 0.64296 | 10.0239
13.6167 | 0.6462 | 10.0196
13.6333 | 0.65128 | 10.0208
13.65 | 0.65885 | 10.0138
13.6667 | 0.66655 | 10.0181
13.6833 | 0.67131 | 10.0124
13.7 | 0.67619 | 10.0161
13.7167 | 0.68192 | 10.0163
13.7333 | 0.6879 | 10.0179
13.75 | 0.69502 | 10.021
13.7667 | 0.70087 | 10.0236
13.7833 | 0.7065 | 10.0256
13.8 | 0.7151 | 10.028
13.8167 | 0.72575 | 10.0289
13.8333 | 0.73885 | 10.0257
13.85 | 0.7519 | 10.0318
13.8667 | 0.76398 | 10.0224
13.8833 | 0.77635 | 10.0253
13.9 | 0.79014 | 10.0192
13.9167 | 0.80651 | 10.0207
13.9333 | 0.82366 | 10.0231
13.95 | 0.84288 | 10.0213
13.9667 | 0.86424 | 10.019
13.9833 | 0.88745 | 10.021
14 | 0.91515 | 10.0219
14.0167 | 0.94541 | 10.0222
14.0333 | 0.98077 | 10.0263
14.05 | 1.0229 | 10.0282
14.0667 | 1.0716 | 10.0242
14.0833 | 1.1305 | 10.0318
14.1 | 1.2003 | 10.0352
14.1167 | 1.283 | 10.0364
14.1333 | 1.3848 | 10.041
14.15 | 1.5072 | 10.0504
14.1667 | 1.6534 | 10.0584
14.1833 | 1.833 | 10.0632
14.2 | 2.052 | 10.0568
14.2167 | 2.311 | 10.0657
14.2333 | 2.617 | 10.0738
14.25 | 2.9772 | 10.0826
14.2667 | 3.395 | 10.097
14.2833 | 3.8734 | 10.1157
14.3 | 4.4135 | 10.1453
14.3167 | 5.0155 | 10.1693
14.3333 | 5.6735 | 10.2091
14.35 | 6.3816 | 10.248
14.3667 | 7.1315 | 10.2926
14.3833 | 7.9123 | 10.3324
14.4 | 8.7102 | 10.3922
14.4167 | 9.5058 | 10.4432
14.4333 | 10.2854 | 10.518
14.45 | 11.0338 | 10.5885
14.4667 | 11.7303 | 10.6716
14.4833 | 12.361 | 10.7417
14.5 | 12.9162 | 10.8219
14.5167 | 13.3834 | 10.897
14.5333 | 13.7551 | 10.9719
14.55 | 14.0306 | 11.0322
14.5667 | 14.2099 | 11.0969
14.5833 | 14.297 | 11.1614
14.6 | 14.3035 | 11.213
14.6167 | 14.2415 | 11.2551
14.6333 | 14.1197 | 11.283
14.65 | 13.9488 | 11.31
14.6667 | 13.7446 | 11.3288
14.6833 | 13.5236 | 11.3471
14.7 | 13.298 | 11.3505
14.7167 | 13.0765 | 11.3567
14.7333 | 12.8694 | 11.3413
14.75 | 12.6857 | 11.3363
14.7667 | 12.5311 | 11.3287
14.7833 | 12.4076 | 11.3238
14.8 | 12.3176 | 11.3148
14.8167 | 12.2614 | 11.3203
14.8333 | 12.2356 | 11.3207
14.85 | 12.2368 | 11.3285
14.8667 | 12.2593 | 11.3427
14.8833 | 12.2951 | 11.3702
14.9 | 12.3399 | 11.3981
14.9167 | 12.3888 | 11.4349
14.9333 | 12.4328 | 11.4783
14.95 | 12.4652 | 11.5255
14.9667 | 12.4793 | 11.576
14.9833 | 12.4679 | 11.62
15 | 12.4289 | 11.6639
15.0167 | 12.3585 | 11.7068
15.0333 | 12.2514 | 11.753
15.05 | 12.1084 | 11.796
15.0667 | 11.9304 | 11.8348
15.0833 | 11.7143 | 11.8664
15.1 | 11.4608 | 11.8931
15.1167 | 11.1759 | 11.9096
15.1333 | 10.8625 | 11.9144
15.15 | 10.5245 | 11.9176
15.1667 | 10.1667 | 11.9198
15.1833 | 9.7941 | 11.9082
15.2 | 9.4108 | 11.8822
15.2167 | 9.0207 | 11.8478
15.2333 | 8.6274 | 11.8214
15.25 | 8.2362 | 11.7783
15.2667 | 7.8506 | 11.7379
15.2833 | 7.4735 | 11.6846
15.3 | 7.1087 | 11.63
15.3167 | 6.7562 | 11.5696
15.3333 | 6.417 | 11.5005
15.35 | 6.0923 | 11.4304
15.3667 | 5.7851 | 11.3696
15.3833 | 5.4961 | 11.3096
15.4 | 5.223 | 11.2524
15.4167 | 4.9673 | 11.1903
15.4333 | 4.7278 | 11.1257
15.45 | 4.5026 | 11.0722
15.4667 | 4.2917 | 11.018
15.4833 | 4.0921 | 10.966
15.5 | 3.9031 | 10.9104
15.5167 | 3.7272 | 10.8625
15.5333 | 3.5616 | 10.8183
15.55 | 3.4059 | 10.7775
15.5667 | 3.2601 | 10.742
15.5833 | 3.1216 | 10.709
15.6 | 2.9908 | 10.6619
15.6167 | 2.8684 | 10.6368
15.6333 | 2.7507 | 10.5999
15.65 | 2.6364 | 10.5671
15.6667 | 2.5285 | 10.5373
15.6833 | 2.4286 | 10.5088
15.7 | 2.3351 | 10.4884
15.7167 | 2.2447 | 10.4745
15.7333 | 2.1543 | 10.4418
15.75 | 2.0679 | 10.4237
15.7667 | 1.99 | 10.4035
15.7833 | 1.9175 | 10.3803
15.8 | 1.847 | 10.359
15.8167 | 1.7777 | 10.3471
15.8333 | 1.7118 | 10.3304
15.85 | 1.6514 | 10.3225
15.8667 | 1.5944 | 10.3004
15.8833 | 1.5391 | 10.2802
15.9 | 1.4848 | 10.2666
15.9167 | 1.4346 | 10.2608
15.9333 | 1.3871 | 10.2604
15.95 | 1.3427 | 10.2546
15.9667 | 1.3025 | 10.2462
15.9833 | 1.2625 | 10.236
16 | 1.2222 | 10.2323
16.0167 | 1.185 | 10.2192
16.0333 | 1.1499 | 10.2192
16.05 | 1.1159 | 10.2122
16.0667 | 1.0849 | 10.2023
16.0833 | 1.0563 | 10.1952
16.1 | 1.0273 | 10.1911
16.1167 | 1.0005 | 10.19
16.1333 | 0.97686 | 10.1833
16.15 | 0.95337 | 10.1725
16.1667 | 0.93185 | 10.1727
16.1833 | 0.91138 | 10.1611
16.2 | 0.89219 | 10.1623
16.2167 | 0.87497 | 10.1582
16.2333 | 0.85745 | 10.1507
16.25 | 0.84183 | 10.1411
16.2667 | 0.82897 | 10.1392
16.2833 | 0.81885 | 10.1299
16.3 | 0.81071 | 10.1267
16.3167 | 0.80102 | 10.1234
16.3333 | 0.79146 | 10.116
16.35 | 0.78415 | 10.1183
16.3667 | 0.77717 | 10.117
16.3833 | 0.77093 | 10.1128
16.4 | 0.7672 | 10.1078
16.4167 | 0.7639 | 10.1072
16.4333 | 0.76034 | 10.1121
16.45 | 0.75727 | 10.1115
16.4667 | 0.75443 | 10.1121
16.4833 | 0.75405 | 10.1163
16.5 | 0.75411 | 10.1148
16.5167 | 0.75321 | 10.1159
16.5333 | 0.75432 | 10.1124
16.55 | 0.75775 | 10.1083
16.5667 | 0.76063 | 10.0985
16.5833 | 0.76397 | 10.1006
16.6 | 0.76977 | 10.0942
16.6167 | 0.77551 | 10.093
16.6333 | 0.78058 | 10.0848
16.65 | 0.78577 | 10.0893
16.6667 | 0.79203 | 10.0896
16.6833 | 0.79811 | 10.0974
16.7 | 0.8043 | 10.0962
16.7167 | 0.81114 | 10.0997
16.7333 | 0.81852 | 10.0901
16.75 | 0.82726 | 10.0854
16.7667 | 0.83799 | 10.0849
16.7833 | 0.84796 | 10.0851
16.8 | 0.85703 | 10.0831
16.8167 | 0.86848 | 10.0852
16.8333 | 0.88055 | 10.0857
16.85 | 0.89351 | 10.0852
16.8667 | 0.90769 | 10.0802
16.8833 | 0.92281 | 10.0814
16.9 | 0.93944 | 10.0837
16.9167 | 0.95608 | 10.08
16.9333 | 0.97235 | 10.0816
16.95 | 0.99032 | 10.0779
16.9667 | 1.0117 | 10.0755
16.9833 | 1.0333 | 10.0716
17 | 1.0553 | 10.0744
17.0167 | 1.0779 | 10.0715
17.0333 | 1.1011 | 10.0721
17.05 | 1.1255 | 10.0675
17.0667 | 1.1527 | 10.0765
17.0833 | 1.1813 | 10.0689
17.1 | 1.2095 | 10.0698
17.1167 | 1.2387 | 10.0752
17.1333 | 1.27 | 10.0779
17.15 | 1.3026 | 10.0733
17.1667 | 1.3391 | 10.0726
17.1833 | 1.3783 | 10.073
17.2 | 1.4153 | 10.0707
17.2167 | 1.454 | 10.0718
17.2333 | 1.4949 | 10.066
17.25 | 1.5351 | 10.0683
17.2667 | 1.5774 | 10.0602
17.2833 | 1.6219 | 10.0539
17.3 | 1.6678 | 10.0504
17.3167 | 1.7145 | 10.0486
17.3333 | 1.7621 | 10.0475
17.35 | 1.8117 | 10.0555
17.3667 | 1.8611 | 10.0565
17.3833 | 1.9124 | 10.0596
17.4 | 1.9661 | 10.0587
17.4167 | 2.0206 | 10.0658
17.4333 | 2.0769 | 10.0703
17.45 | 2.1354 | 10.0622
17.4667 | 2.1948 | 10.0565
17.4833 | 2.2552 | 10.0541
17.5 | 2.3174 | 10.0579
17.5167 | 2.3826 | 10.0639
17.5333 | 2.4526 | 10.0654
17.55 | 2.5246 | 10.0681
17.5667 | 2.5973 | 10.0712
17.5833 | 2.6716 | 10.0755
17.6 | 2.7469 | 10.0777
17.6167 | 2.8239 | 10.0762
17.6333 | 2.9016 | 10.0787
17.65 | 2.9821 | 10.0765
17.6667 | 3.0637 | 10.0819
17.6833 | 3.1446 | 10.0747
17.7 | 3.2277 | 10.0791
17.7167 | 3.3117 | 10.0852
17.7333 | 3.395 | 10.0864
17.75 | 3.4794 | 10.0797
17.7667 | 3.5631 | 10.0871
17.7833 | 3.646 | 10.0845
17.8 | 3.731 | 10.0878
17.8167 | 3.8158 | 10.0861
17.8333 | 3.8994 | 10.0884
17.85 | 3.9844 | 10.0854
17.8667 | 4.0721 | 10.0898
17.8833 | 4.1601 | 10.0828
17.9 | 4.2457 | 10.0809
17.9167 | 4.3318 | 10.0784
17.9333 | 4.4223 | 10.0849
17.95 | 4.5148 | 10.0768
17.9667 | 4.6052 | 10.086
17.9833 | 4.6964 | 10.0848
18 | 4.7902 | 10.0918
18.0167 | 4.886 | 10.0849
18.0333 | 4.9828 | 10.0831
18.05 | 5.0812 | 10.0846
18.0667 | 5.1815 | 10.0802
18.0833 | 5.2818 | 10.0854
18.1 | 5.3835 | 10.0932
18.1167 | 5.4885 | 10.0927
18.1333 | 5.5938 | 10.0991
18.15 | 5.6995 | 10.111
18.1667 | 5.8081 | 10.1231
18.1833 | 5.9173 | 10.1334
18.2 | 6.0278 | 10.1405
18.2167 | 6.1427 | 10.1537
18.2333 | 6.2601 | 10.1612
18.25 | 6.379 | 10.178
18.2667 | 6.5015 | 10.1934
18.2833 | 6.6269 | 10.2061
18.3 | 6.7556 | 10.2093
18.3167 | 6.8898 | 10.21
18.3333 | 7.0262 | 10.2172
18.35 | 7.1629 | 10.2187
18.3667 | 7.3007 | 10.2099
18.3833 | 7.4386 | 10.202
18.4 | 7.5751 | 10.2016
18.4167 | 7.7055 | 10.1923
18.4333 | 7.8289 | 10.1925
18.45 | 7.9506 | 10.1815
18.4667 | 8.0689 | 10.178
18.4833 | 8.1822 | 10.1698
18.5 | 8.2918 | 10.1588
18.5167 | 8.4 | 10.1524
18.5333 | 8.5107 | 10.1601
18.55 | 8.6248 | 10.158
18.5667 | 8.7431 | 10.1514
18.5833 | 8.8701 | 10.1565
18.6 | 9.0051 | 10.162
18.6167 | 9.1481 | 10.1588
18.6333 | 9.3023 | 10.1568
18.65 | 9.4688 | 10.1577
18.6667 | 9.6466 | 10.1638
18.6833 | 9.8312 | 10.1714
18.7 | 10.0195 | 10.1902
18.7167 | 10.2076 | 10.203
18.7333 | 10.3924 | 10.2277
18.75 | 10.5695 | 10.2546
18.7667 | 10.7318 | 10.2955
18.7833 | 10.8755 | 10.3196
18.8 | 11.001 | 10.3561
18.8167 | 11.109 | 10.3957
18.8333 | 11.1979 | 10.4354
18.85 | 11.2686 | 10.4687
18.8667 | 11.3247 | 10.4995
18.8833 | 11.3713 | 10.5271
18.9 | 11.4119 | 10.5404
18.9167 | 11.449 | 10.5387
18.9333 | 11.4857 | 10.5285
18.95 | 11.5231 | 10.5184
18.9667 | 11.5619 | 10.4946
18.9833 | 11.6024 | 10.4768
19 | 11.6457 | 10.4523
19.0167 | 11.6892 | 10.4211
19.0333 | 11.7297 | 10.3934
19.05 | 11.7657 | 10.3513
19.0667 | 11.7931 | 10.323
19.0833 | 11.8055 | 10.295
19.1 | 11.7997 | 10.2671
19.1167 | 11.7673 | 10.2518
19.1333 | 11.6993 | 10.2248
19.15 | 11.5897 | 10.2145
19.1667 | 11.4304 | 10.1972
19.1833 | 11.2112 | 10.1847
19.2 | 10.9269 | 10.176
19.2167 | 10.5791 | 10.1635
19.2333 | 10.166 | 10.1429
19.25 | 9.6928 | 10.1276
19.2667 | 9.1767 | 10.1119
19.2833 | 8.639 | 10.09
19.3 | 8.1098 | 10.0727
19.3167 | 7.6247 | 10.0594
19.3333 | 7.2163 | 10.0613
19.35 | 6.9163 | 10.078
19.3667 | 6.7544 | 10.136
19.3833 | 6.752 | 10.247
19.4 | 6.9207 | 10.453
19.4167 | 7.2588 | 10.783
19.4333 | 7.7564 | 11.2693
19.45 | 8.3933 | 11.9645
19.4667 | 9.143 | 12.9093
19.4833 | 9.9763 | 14.1369
19.5 | 10.8589 | 15.668
19.5167 | 11.7585 | 17.4966
19.5333 | 12.6459 | 19.6078
19.55 | 13.4948 | 21.9135
19.5667 | 14.2894 | 24.3374
19.5833 | 15.0188 | 26.7361
19.6 | 15.6747 | 28.9829
19.6167 | 16.257 | 30.9177
19.6333 | 16.7676 | 32.4245
19.65 | 17.2095 | 33.4054
19.6667 | 17.5841 | 33.8024
19.6833 | 17.891 | 33.6268
19.7 | 18.1313 | 32.8896
19.7167 | 18.306 | 31.6813
19.7333 | 18.4097 | 30.0924
19.75 | 18.4373 | 28.2629
19.7667 | 18.3912 | 26.2931
19.7833 | 18.2797 | 24.2944
19.8 | 18.1105 | 22.3566
19.8167 | 17.8942 | 20.5543
19.8333 | 17.6494 | 18.9263
19.85 | 17.3941 | 17.4889
19.8667 | 17.1463 | 16.2521
19.8833 | 16.9216 | 15.216
19.9 | 16.735 | 14.3397
19.9167 | 16.5997 | 13.6253
19.9333 | 16.5188 | 13.025
19.95 | 16.4939 | 12.53
19.9667 | 16.5205 | 12.1209
19.9833 | 16.5913 | 11.7806
20 | 16.6926 | 11.4919
20.0167 | 16.8061 | 11.2475
20.0333 | 16.9112 | 11.0235
20.05 | 16.9875 | 10.8198
20.0667 | 17.0184 | 10.6048
20.0833 | 16.9899 | 10.3748
20.1 | 16.8888 | 10.1153
20.1167 | 16.7093 | 9.8306
20.1333 | 16.4513 | 9.4868
20.15 | 16.1199 | 9.0905
20.1667 | 15.7286 | 8.6391
20.1833 | 15.2875 | 8.1988
20.2 | 14.8048 | 7.674
20.2167 | 14.2987 | 7.1145
20.2333 | 13.7851 | 6.5607
20.25 | 13.276 | 6.0264
20.2667 | 12.7803 | 5.5492
20.2833 | 12.3095 | 5.1594
20.3 | 11.8798 | 4.8885
20.3167 | 11.5082 | 4.7282
20.3333 | 11.2119 | 4.7132
20.35 | 11.0162 | 4.8214
20.3667 | 10.9592 | 5.0503
20.3833 | 11.0856 | 5.3707
20.4 | 11.45 | 5.7789
20.4167 | 12.1203 | 6.2238
20.4333 | 13.1686 | 6.6918
20.45 | 14.6634 | 7.1583
20.4667 | 16.6697 | 7.6118
20.4833 | 19.2426 | 8.0279
20.5 | 22.4081 | 8.4109
20.5167 | 26.1536 | 8.7598
20.5333 | 30.4236 | 9.0658
20.55 | 35.1076 | 9.3371
20.5667 | 40.0445 | 9.613
20.5833 | 45.0301 | 9.8392
20.6 | 49.8266 | 10.0469
20.6167 | 54.1829 | 10.2473
20.6333 | 57.8547 | 10.4484
20.65 | 60.6257 | 10.6643
20.6667 | 62.3311 | 10.8822
20.6833 | 62.8636 | 11.0928
20.7 | 62.1844 | 11.3047
20.7167 | 60.3207 | 11.5154
20.7333 | 57.3487 | 11.7072
20.75 | 53.3834 | 11.8925
20.7667 | 48.5521 | 12.0446
20.7833 | 42.9825 | 12.1694
20.8 | 36.7926 | 12.2494
20.8167 | 30.076 | 12.2894
20.8333 | 22.9035 | 12.29
20.85 | 15.3327 | 12.2569
20.8667 | 7.4227 | 12.174
20.8833 | -0.75449 | 12.0634
20.9 | -9.1041 | 11.9224
20.9167 | -17.4957 | 11.7529
20.9333 | -25.7581 | 11.5826
20.95 | -33.6854 | 11.3966
20.9667 | -41.047 | 11.2122
20.9833 | -47.6081 | 11.0389
21 | -53.148 | 10.8758
21.0167 | -57.4846 | 10.7305
21.0333 | -60.4898 | 10.5956
21.05 | -62.1052 | 10.4704
21.0667 | -62.3499 | 10.3687
21.0833 | -61.3066 | 10.286
21.1 | -59.1237 | 10.2154
21.1167 | -55.9982 | 10.1516
21.1333 | -52.1481 | 10.116
21.15 | -47.8012 | 10.0755
21.1667 | -43.1764 | 10.0506
21.1833 | -38.4687 | 10.0304
21.2 | -33.8384 | 10.019
21.2167 | -29.4124 | 10.0068
21.2333 | -25.2839 | 10.0034
21.25 | -21.5101 | 9.999
21.2667 | -18.1202 | 9.994
21.2833 | -15.1214 | 9.9899
21.3 | -12.5039 | 9.9973
21.3167 | -10.2462 | 9.9986
21.3333 | -8.3184 | 10.0068
21.35 | -6.6879 | 10.0108
21.3667 | -5.3197 | 10.0249
21.3833 | -4.1824 | 10.0327
21.4 | -3.2462 | 10.0411
21.4167 | -2.4794 | 10.0495
21.4333 | -1.8559 | 10.0603
21.45 | -1.3546 | 10.0616
21.4667 | -0.95379 | 10.0629
21.4833 | -0.63667 | 10.0625
21.5 | -0.38808 | 10.0671
21.5167 | -0.1924 | 10.0697
21.5333 | -0.04097 | 10.0553
21.55 | 0.074138 | 10.048
21.5667 | 0.15994 | 10.0362
21.5833 | 0.22364 | 10.0291
21.6 | 0.26969 | 10.0117
21.6167 | 0.30208 | 9.9839
21.6333 | 0.32377 | 9.9545
21.65 | 0.33625 | 9.9015
21.6667 | 0.34398 | 9.8449
21.6833 | 0.34741 | 9.7627
21.7 | 0.34605 | 9.6592
21.7167 | 0.34187 | 9.529
21.7333 | 0.33594 | 9.3655
21.75 | 0.32765 | 9.1621
21.7667 | 0.32139 | 8.9204
21.7833 | 0.31545 | 8.6399
21.8 | 0.30547 | 8.3265
21.8167 | 0.29525 | 7.9728
21.8333 | 0.28692 | 7.5901
21.85 | 0.27794 | 7.1735
21.8667 | 0.26882 | 6.7423
21.8833 | 0.26256 | 6.3061
21.9 | 0.25656 | 5.8805
21.9167 | 0.24695 | 5.4919
21.9333 | 0.23711 | 5.1406
21.95 | 0.23158 | 4.8331
21.9667 | 0.2265 | 4.6037
21.9833 | 0.21922 | 4.4497
22 | 0.21445 | 4.3729
22.0167 | 0.21105 | 4.378
22.0333 | 0.2051 | 4.4674
22.05 | 0.1999 | 4.6268
22.0667 | 0.19749 | 4.8696
22.0833 | 0.19273 | 5.1643
22.1 | 0.18801 | 5.5141
22.1167 | 0.18729 | 5.8895
22.1333 | 0.18782 | 6.2882
22.15 | 0.1888 | 6.6911
22.1667 | 0.1897 | 7.085
22.1833 | 0.19363 | 7.4635
22.2 | 0.20461 | 7.8197
22.2167 | 0.22275 | 8.1513
22.2333 | 0.24934 | 8.455
22.25 | 0.28846 | 8.7218
22.2667 | 0.34339 | 8.9506
22.2833 | 0.42089 | 9.1558
22.3 | 0.52992 | 9.3211
22.3167 | 0.67741 | 9.4642
22.3333 | 0.86932 | 9.564
22.35 | 1.1165 | 9.6615
22.3667 | 1.4338 | 9.7363
22.3833 | 1.8332 | 9.7832
22.4 | 2.3236 | 9.8173
22.4167 | 2.915 | 9.8513
22.4333 | 3.6175 | 9.8583
22.45 | 4.4363 | 9.8614
22.4667 | 5.371 | 9.8414
22.4833 | 6.4167 | 9.8165
22.5 | 7.5632 | 9.766
22.5167 | 8.794 | 9.7073
22.5333 | 10.0829 | 9.6404
22.55 | 11.4007 | 9.5428
22.5667 | 12.7176 | 9.4263
22.5833 | 13.9921 | 9.3124
22.6 | 15.1796 | 9.172
22.6167 | 16.2431 | 9.0392
22.6333 | 17.1504 | 8.8853
22.65 | 17.8649 | 8.7164
22.6667 | 18.3564 | 8.5586
22.6833 | 18.6116 | 8.3985
22.7 | 18.6249 | 8.256
22.7167 | 18.3971 | 8.1254
22.7333 | 17.9387 | 8.016
22.75 | 17.2711 | 7.9319
22.7667 | 16.4216 | 7.8657
22.7833 | 15.4228 | 7.8391
22.8 | 14.3119 | 7.8352
22.8167 | 13.1237 | 7.8593
22.8333 | 11.896 | 7.9128
22.85 | 10.6655 | 7.9948
22.8667 | 9.4583 | 8.0949
22.8833 | 8.2995 | 8.2131
22.9 | 7.214 | 8.3413
22.9167 | 6.2124 | 8.4786
22.9333 | 5.2999 | 8.6262
22.95 | 4.4844 | 8.7754
22.9667 | 3.7689 | 8.919
22.9833 | 3.1487 | 9.0511
23 | 2.6159 | 9.1824
23.0167 | 2.1659 | 9.3026
23.0333 | 1.7922 | 9.4184
23.05 | 1.4813 | 9.517
23.0667 | 1.2242 | 9.6049
23.0833 | 1.0146 | 9.6766
23.1 | 0.84311 | 9.7382
23.1167 | 0.70436 | 9.7996
23.1333 | 0.59641 | 9.8487
23.15 | 0.51044 | 9.892
23.1667 | 0.44013 | 9.9239
23.1833 | 0.38575 | 9.9468
23.2 | 0.34313 | 9.9743
23.2167 | 0.30695 | 9.9909
23.2333 | 0.27606 | 9.9973
23.25 | 0.25054 | 10.0045
23.2667 | 0.22966 | 10.0079
23.2833 | 0.21323 | 10.0224
23.3 | 0.20106 | 10.0222
23.3167 | 0.19142 | 10.0277
23.3333 | 0.18238 | 10.0285
23.35 | 0.17376 | 10.035
23.3667 | 0.16708 | 10.0362
23.3833 | 0.1615 | 10.0391
23.4 | 0.15463 | 10.0436
23.4167 | 0.14752 | 10.0393
23.4333 | 0.14193 | 10.0413
23.45 | 0.13883 | 10.0449
23.4667 | 0.13686 | 10.0452
23.4833 | 0.13391 | 10.051
23.5 | 0.12876 | 10.0446
23.5167 | 0.12369 | 10.0436
23.5333 | 0.1205 | 10.0411
23.55 | 0.11841 | 10.0426
23.5667 | 0.11597 | 10.0475
23.5833 | 0.11187 | 10.0506
23.6 | 0.10861 | 10.0478
23.6167 | 0.10656 | 10.0558
23.6333 | 0.10354 | 10.0631
23.65 | 0.10185 | 10.0649
23.6667 | 0.10063 | 10.071
23.6833 | 0.097806 | 10.0631
23.7 | 0.094749 | 10.0671
23.7167 | 0.09177 | 10.0608
23.7333 | 0.090448 | 10.0565
23.75 | 0.090764 | 10.0527
23.7667 | 0.090609 | 10.06
23.7833 | 0.087432 | 10.0582
23.8 | 0.083771 | 10.0603
23.8167 | 0.083126 | 10.0625
23.8333 | 0.083603 | 10.062
23.85 | 0.082685 | 10.0603
23.8667 | 0.08067 | 10.0602
23.8833 | 0.079333 | 10.0509
23.9 | 0.078261 | 10.0561
23.9167 | 0.077772 | 10.0579
23.9333 | 0.076244 | 10.0507
23.95 | 0.074396 | 10.0491
23.9667 | 0.073828 | 10.0474
23.9833 | 0.073888 | 10.0465
24 | 0.074878 | 10.0384
24.0167 | 0.074668 | 10.0347
24.0333 | 0.071521 | 10.0404
24.05 | 0.069054 | 10.0408
24.0667 | 0.069108 | 10.0387
24.0833 | 0.068386 | 10.0387
24.1 | 0.065954 | 10.0373
24.1167 | 0.064986 | 10.0451
24.1333 | 0.065376 | 10.0404
24.15 | 0.064376 | 10.0478
24.1667 | 0.063249 | 10.0492
24.1833 | 0.062951 | 10.0526
24.2 | 0.062067 | 10.0507
24.2167 | 0.061405 | 10.0578
24.2333 | 0.062309 | 10.0556
24.25 | 0.062607 | 10.0517
24.2667 | 0.061318 | 10.0494
24.2833 | 0.059623 | 10.0552
24.3 | 0.05909 | 10.0515
24.3167 | 0.057989 | 10.0501
24.3333 | 0.057321 | 10.0481
24.35 | 0.057757 | 10.0481
24.3667 | 0.057292 | 10.0442
24.3833 | 0.057037 | 10.0364
24.4 | 0.057423 | 10.039
24.4167 | 0.057576 | 10.0378
24.4333 | 0.055896 | 10.0376
24.45 | 0.054013 | 10.0397
24.4667 | 0.053878 | 10.0367
24.4833 | 0.053884 | 10.0277
24.5 | 0.051797 | 10.0217
24.5167 | 0.050411 | 10.0146
24.5333 | 0.04984 | 10.0233
24.55 | 0.049004 | 10.0173
24.5667 | 0.048721 | 10.0204
24.5833 | 0.048183 | 10.0184
24.6 | 0.045243 | 10.0192
24.6167 | 0.044227 | 10.0185
24.6333 | 0.045094 | 10.0224
24.65 | 0.04429 | 10.0196
24.6667 | 0.043015 | 10.0175
24.6833 | 0.043157 | 10.0143
24.7 | 0.04414 | 10.0159
24.7167 | 0.043113 | 10.0149
24.7333 | 0.041162 | 10.0278
24.75 | 0.040664 | 10.0243
24.7667 | 0.039393 | 10.0249
24.7833 | 0.036933 | 10.0242
24.8 | 0.034709 | 10.0285
24.8167 | 0.033824 | 10.0262
24.8333 | 0.034368 | 10.0282
24.85 | 0.035751 | 10.032
24.8667 | 0.035435 | 10.0405
24.8833 | 0.032292 | 10.0413
24.9 | 0.029693 | 10.0419
24.9167 | 0.031662 | 10.0449
24.9333 | 0.034562 | 10.0353
24.95 | 0.033559 | 10.0362
24.9667 | 0.030696 | 10.0324
24.9833 | 0.030079 | 10.0335
25 | 0.030705 | 10.0312
25.0167 | 0.030566 | 10.0341
25.0333 | 0.030761 | 10.0341
25.05 | 0.029602 | 10.0369
25.0667 | 0.027841 | 10.0323
25.0833 | 0.026309 | 10.0361
25.1 | 0.026175 | 10.033
25.1167 | 0.026765 | 10.0295
25.1333 | 0.026523 | 10.0294
25.15 | 0.027069 | 10.0349
25.1667 | 0.028257 | 10.0295
25.1833 | 0.028584 | 10.0321
25.2 | 0.025929 | 10.0266
25.2167 | 0.023308 | 10.0193
25.2333 | 0.023478 | 10.0115
25.25 | 0.023371 | 10.0196
25.2667 | 0.02199 | 10.0246
25.2833 | 0.022711 | 10.0295
25.3 | 0.023831 | 10.0396
25.3167 | 0.023795 | 10.0426
25.3333 | 0.022864 | 10.0423
25.35 | 0.022366 | 10.0391
25.3667 | 0.021419 | 10.034
25.3833 | 0.0206 | 10.0338
25.4 | 0.020061 | 10.0384
25.4167 | 0.01851 | 10.0367
25.4333 | 0.018223 | 10.0413
25.45 | 0.017307 | 10.0422
25.4667 | 0.017415 | 10.0411
25.4833 | 0.01918 | 10.0397
25.5 | 0.017969 | 10.0356
25.5167 | 0.017044 | 10.0323
25.5333 | 0.016724 | 10.0314
25.55 | 0.015021 | 10.0346
25.5667 | 0.015296 | 10.0318
25.5833 | 0.015652 | 10.0346
25.6 | 0.013816 | 10.032
25.6167 | 0.013892 | 10.0312
25.6333 | 0.01501 | 10.0292
25.65 | 0.01522 | 10.0338
25.6667 | 0.015601 | 10.0282
25.6833 | 0.013827 | 10.0318
25.7 | 0.012249 | 10.0359
25.7167 | 0.013987 | 10.0396
25.7333 | 0.013888 | 10.0426
25.75 | 0.012696 | 10.0462
25.7667 | 0.014744 | 10.0483
25.7833 | 0.017194 | 10.0515
25.8 | 0.016568 | 10.0553
25.8167 | 0.015441 | 10.0585
25.8333 | 0.015116 | 10.0567
25.85 | 0.014468 | 10.0553
25.8667 | 0.01188 | 10.0585
25.8833 | 0.010276 | 10.0494
25.9 | 0.010067 | 10.0517
25.9167 | 0.0087135 | 10.0518
25.9333 | 0.008898 | 10.0497
25.95 | 0.011236 | 10.0504
25.9667 | 0.012697 | 10.0512
25.9833 | 0.012731 | 10.0524
26 | 0.01243 | 10.0443
26.0167 | 0.011676 | 10.0497
26.0333 | 0.010954 | 10.0494
26.05 | 0.011884 | 10.0459
26.0667 | 0.013709 | 10.0488
26.0833 | 0.014346 | 10.0503
26.1 | 0.013256 | 10.0512
26.1167 | 0.011158 | 10.048
26.1333 | 0.011323 | 10.0581
26.15 | 0.012268 | 10.0588
26.1667 | 0.010961 | 10.0532
26.1833 | 0.01023 | 10.0488
26.2 | 0.011369 | 10.0515
26.2167 | 0.012274 | 10.0529
26.2333 | 0.011604 | 10.0562
26.25 | 0.0097059 | 10.0552
26.2667 | 0.0098319 | 10.0556
26.2833 | 0.010658 | 10.0564
26.3 | 0.0097346 | 10.0526
26.3167 | 0.009311 | 10.0573
26.3333 | 0.010727 | 10.0657
26.35 | 0.012217 | 10.0584
26.3667 | 0.011664 | 10.0695
26.3833 | 0.011775 | 10.077
26.4 | 0.012362 | 10.0787
26.4167 | 0.011306 | 10.077
26.4333 | 0.011196 | 10.0886
26.45 | 0.011404 | 10.0866
26.4667 | 0.0094964 | 10.0866
26.4833 | 0.0072994 | 10.0849
26.5 | 0.0081372 | 10.0878
26.5167 | 0.0091661 | 10.093
26.5333 | 0.0084881 | 10.0887
26.55 | 0.0091161 | 10.0906
26.5667 | 0.010548 | 10.0916
26.5833 | 0.012144 | 10.0936
26.6 | 0.01233 | 10.0848
26.6167 | 0.010758 | 10.0855
26.6333 | 0.0094232 | 10.0814
26.65 | 0.0095082 | 10.0883
26.6667 | 0.0095764 | 10.0886
26.6833 | 0.0099051 | 10.0918
26.7 | 0.010411 | 10.0918
26.7167 | 0.0078952 | 10.0968
26.7333 | 0.0054893 | 10.0895
26.75 | 0.0052615 | 10.0909
26.7667 | 0.0057547 | 10.0842
26.7833 | 0.0055977 | 10.0919
26.8 | 0.0068429 | 10.0867
26.8167 | 0.0078163 | 10.0889
26.8333 | 0.0053539 | 10.0877
26.85 | 0.0034767 | 10.0918
26.8667 | 0.0023307 | 10.0883
26.8833 | 0.0013002 | 10.0835
26.9 | 0.0021896 | 10.0861
26.9167 | 0.0031929 | 10.0864
26.9333 | 0.0030265 | 10.0884
26.95 | 0.0027424 | 10.0805
26.9667 | 0.0049184 | 10.0761
26.9833 | 0.0058628 | 10.0694
27 | 0.0047916 | 10.0716
27.0167 | 0.0048486 | 10.0729
27.0333 | 0.0032119 | 10.0756
27.05 | 0.0027665 | 10.0805
27.0667 | 0.0067147 | 10.0779
27.0833 | 0.01008 | 10.0704
27.1 | 0.0096595 | 10.0684
27.1167 | 0.0084685 | 10.0546
27.1333 | 0.0084328 | 10.0556
27.15 | 0.0081608 | 10.0568
27.1667 | 0.0068485 | 10.0642
27.1833 | 0.0060072 | 10.0565
27.2 | 0.0066944 | 10.0509
27.2167 | 0.0063389 | 10.0486
27.2333 | 0.0056752 | 10.0484
27.25 | 0.0065937 | 10.0542
27.2667 | 0.0055158 | 10.0623
27.2833 | 0.0043546 | 10.0652
27.3 | 0.0056451 | 10.0639
27.3167 | 0.00592 | 10.0623
27.3333 | 0.0050688 | 10.0658
27.35 | 0.0046849 | 10.0651
27.3667 | 0.0043315 | 10.0655
27.3833 | 0.0038803 | 10.0643
27.4 | 0.0037227 | 10.0616
27.4167 | 0.003844 | 10.0695
27.4333 | 0.0021942 | 10.07
27.45 | 0.00080074 | 10.0622
27.4667 | 0.0013261 | 10.0658
27.4833 | 0.0021605 | 10.0674
27.5 | 0.0030612 | 10.0654
27.5167 | 0.003173 | 10.0637
27.5333 | 0.0026138 | 10.0587
27.55 | 0.0031702 | 10.0622
27.5667 | 0.003739 | 10.06
27.5833 | 0.0029471 | 10.064
27.6 | 0.0018973 | 10.0669
27.6167 | 0.002929 | 10.0608
27.6333 | 0.0032855 | 10.0526
27.65 | 0.00099434 | 10.0546
27.6667 | -0.00091411 | 10.0562
27.6833 | -0.0010453 | 10.061
27.7 | 0.0010527 | 10.0666
27.7167 | 0.0032771 | 10.0739
27.7333 | 0.0026599 | 10.0652
27.75 | -0.00046876 | 10.0661
27.7667 | -0.0019365 | 10.0655
27.7833 | -0.0015617 | 10.0603
27.8 | -0.0009055 | 10.0607
27.8167 | -0.00016837 | 10.064
27.8333 | 0.0010279 | 10.0726
27.85 | 0.0011477 | 10.0632
27.8667 | 0.00064625 | 10.0669
27.8833 | 0.00080748 | 10.069
27.9 | 0.0005953 | 10.0745
27.9167 | 0.0012072 | 10.0756
27.9333 | 0.001859 | 10.0727
27.95 | 0.00089755 | 10.0681
27.9667 | -0.00026859 | 10.0678
27.9833 | -0.00054222 | 10.0683
28 | -0.0020127 | 10.0704
28.0167 | -0.0023465 | 10.0718
28.0333 | -0.0018628 | 10.0718
28.05 | -0.0024205 | 10.0733
28.0667 | -0.0024266 | 10.0735
28.0833 | -0.002368 | 10.0654
28.1 | -0.0035633 | 10.0694
28.1167 | -0.0036483 | 10.0678
28.1333 | -0.0021756 | 10.0723
28.15 | -0.0025533 | 10.0674
28.1667 | -0.0035954 | 10.0594
28.1833 | -0.0020937 | 10.0544
28.2 | -0.00055673 | 10.0526
28.2167 | -0.0012821 | 10.0549
28.2333 | -0.0032321 | 10.0524
28.25 | -0.0049255 | 10.0503
28.2667 | -0.0040581 | 10.0451
28.2833 | -0.002302 | 10.0498
28.3 | -0.00088205 | 10.0481
28.3167 | -0.00072097 | 10.0472
28.3333 | -0.00026341 | 10.0394
28.35 | 0.00089421 | 10.0407
28.3667 | 0.00045758 | 10.0375
28.3833 | -4.2848e-05 | 10.0397
28.4 | 0.00022542 | 10.0449
28.4167 | -0.0011133 | 10.0333
28.4333 | -0.0033888 | 10.0352
28.45 | -0.0044563 | 10.0396
28.4667 | -0.0037406 | 10.0332
28.4833 | -0.00269 | 10.0318
28.5 | -0.0011063 | 10.0288
28.5167 | -0.0019448 | 10.0315
28.5333 | -0.0044926 | 10.0353
28.55 | -0.0060238 | 10.034
28.5667 | -0.0063588 | 10.0315
28.5833 | -0.0072589 | 10.0309
28.6 | -0.0059972 | 10.0294
28.6167 | -0.0037066 | 10.0256
28.6333 | -0.0041858 | 10.0312
28.65 | -0.0062878 | 10.0314
28.6667 | -0.0067557 | 10.0336
28.6833 | -0.0063314 | 10.0362
28.7 | -0.0074527 | 10.0376
28.7167 | -0.0086348 | 10.0393
28.7333 | -0.0093475 | 10.0437
28.75 | -0.0098751 | 10.0332
28.7667 | -0.0088179 | 10.0352
28.7833 | -0.0080834 | 10.0362
28.8 | -0.0074165 | 10.0372
28.8167 | -0.0062078 | 10.0353
28.8333 | -0.006101 | 10.0367
28.85 | -0.00619 | 10.0378
28.8667 | -0.0072632 | 10.0401
28.8833 | -0.0083973 | 10.0384
28.9 | -0.0065397 | 10.0369
28.9167 | -0.0051528 | 10.0286
28.9333 | -0.006119 | 10.037
28.95 | -0.0088869 | 10.0333
28.9667 | -0.010771 | 10.0428
28.9833 | -0.010178 | 10.0494
29 | -0.0077072 | 10.0489
29.0167 | -0.0060536 | 10.0375
29.0333 | -0.0052874 | 10.0381
29.05 | -0.0034966 | 10.0431
29.0667 | -0.0038599 | 10.0408
29.0833 | -0.0042519 | 10.0413
29.1 | -0.003421 | 10.0483
29.1167 | -0.0039695 | 10.0448
29.1333 | -0.0048824 | 10.0445
29.15 | -0.0039342 | 10.0478
29.1667 | -0.0031572 | 10.0359
29.1833 | -0.0035841 | 10.0311
29.2 | -0.0045549 | 10.0266
29.2167 | -0.0058564 | 10.0323
29.2333 | -0.0064361 | 10.0286
29.25 | -0.0064193 | 10.0289
29.2667 | -0.0055955 | 10.0192
29.2833 | -0.0032046 | 10.0166
29.3 | -0.0015933 | 10.0108
29.3167 | -0.0028946 | 10.019
29.3333 | -0.0033113 | 10.0158
29.35 | -0.0017658 | 10.0213
29.3667 | -0.00047591 | 10.0217
29.3833 | -0.0009137 | 10.0306
29.4 | -0.0028766 | 10.0327
29.4167 | -0.0035212 | 10.0335
29.4333 | -0.0035343 | 10.0332
29.45 | -0.0044384 | 10.0369
29.4667 | -0.0044845 | 10.042
29.4833 | -0.0040084 | 10.0455
29.5 | -0.0049708 | 10.0419
29.5167 | -0.0042495 | 10.0353
29.5333 | -0.0022756 | 10.0397
29.55 | -0.0017719 | 10.0445
29.5667 | -0.0016182 | 10.042
29.5833 | -0.0024526 | 10.0417
29.6 | -0.0026148 | 10.043
29.6167 | -0.0014937 | 10.0396
29.6333 | -0.0017356 | 10.0422
29.65 | -0.0024491 | 10.0459
29.6667 | -0.0016913 | 10.0584
29.6833 | -0.00081768 | 10.0553
29.7 | -0.0017718 | 10.0518
29.7167 | -0.0026748 | 10.051
29.7333 | -0.0040977 | 10.0571
29.75 | -0.0058474 | 10.0492
29.7667 | -0.0049195 | 10.0486
29.7833 | -0.0035994 | 10.0433
29.8 | -0.0039067 | 10.0449
29.8167 | -0.0032362 | 10.0396
29.8333 | -0.0013248 | 10.0422
29.85 | -0.0014594 | 10.0452
29.8667 | -0.0029032 | 10.0498
29.8833 | -0.0040138 | 10.0492
29.9 | -0.0038879 | 10.0486
29.9167 | -0.001432 | 10.0536
29.9333 | 0.0012875 | 10.0521
29.95 | 0.0017318 | 10.0542
29.9667 | 0.00010876 | 10.0542
29.9833 | -0.0011074 | 10.0576
30 | -0.002526 | 10.0541
30.0167 | -0.0028434

## MW Results
Administrative Information
File name | ICF_25_05_2022-0002.sample
Analysed by | Agilent GPC 1
Date of analysis | 25 May 2022 15:34:23
Analysis comments
Analysis Module | GPC Analysis
MW Averages
Peaks | Mp (g/mol) | Mn (g/mol) | Mw (g/mol) | Mz (g/mol) | Mz+1 (g/mol) | Mv (g/mol) | PD
Peak 1 | 35361 | 34296 | 43733 | 53224 | 61955 | 42335 | 1.2752
Sample Parameters
Injection volume (µL) | 50
Concentration options | Undefined
Concentration (mg/mL) | 1
dn/dc (mL/g) | 0.1
Use entered dn/dc value for UV/ELSD trace | No
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 1
ELSD QF | 1
Mark-Houwink K ((10e-5) dL/g) | 14.1
Mark-Houwink Alpha | 0.7
Concentration Detector Used in Analysis | RI
Baseline regions | Start (mins) | End (mins)
Baseline region 1 | 4.1 | 12.3667
Baseline region 2 | 25.75 | 29.25
Peaks | Start (mins) | End (mins)
Peak 1 | 14.1833 | 16.4
| Trace | Peak Max RT (mins) | Peak Area (mV.s) | Peak Height (mV)
| UV 254nm | 14.6 | 650.9421 | 12.569
| RI | 15.1667 | 103.0345 | 1.8618
Flowrate region | Start (mins) | End (mins)
Flowrate marker region 1 | 19.2833 | 20.1333
IDD
Reference detector | Undefined
IDD Undefined (secs) | 0
Last modified by | Agilent GPC 1
Last modified date | 25 May 2022 15:34:23
Comments
System Calibration
Detector Constants
Entered Parameters For Concentration
Concentration (mg/mL) | 0
Injection volume (µL) | 0
dn/dc (mL/g) | 0
UV extinction coefficient [(mg/mL)-¹][cm-¹] | 0
Eluent refractive index | 0
Flow rate (mL/min) | 0
Comments
Entered Parameters For LS
Mp | 0
LS wavelength (nm) | 0
Comments
Entered Parameters For Viscometer
Known IV (dL/g) | 0
Use Constant Inlet Pressure | No
Comments
System Calibration Information
Created by | Agilent GPC 1
Creation date | 04 November 2021 09:58:24
Last modified by | Agilent GPC 1
Last modified date | 04 November 2021 09:58:24
Information
Sample file used for calibration
Concentration Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
LS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
VS Regions
Baseline regions | Start (mins) | End (mins)
Peaks | Start (mins) | End (mins)
Flowrate region | Start (mins) | End (mins)
System Calibration Peak Information
Channel | Peak Max RT (mins) | Peak Height (mV) | Peak Area (mV.s)
Flowrate Information
FRM Name | Dodecane
FRM RT (mins) | 19.6667
FRCF | 0.99322
Column Calibration
Name | PS MEDIUM WITH FM
Created By | Agilent GPC 1
Creation Date | 11/03/2022 12:19:42
Last Modified By | Agilent GPC 1
Last Modified | 11/03/2022 12:33:11
High Limit RT (mins) | 13.3
Low Limit RT (mins) | 18.9667
High Limit MW | 366921
Low Limit MW | 374
K (Input) ((10e-5) dL/g) | 14.1
Alpha (Input) | 0.7
Calibration Flow Marker Name | Dodecane
Calibration Flow Marker RT (mins) | 19.5333
Calibration Comments | GPC Column Calibration created 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1 GPC Column Calibration amended 11 March 2022 by Agilent GPC 1
Calibration Type | GPC Narrow Standard
Concentration Detector Used | RI
Curve Fit Type | Polynomial
Order Of Curve Fit | 3
Number Of Points | 12
Curve Fit Equation | y = - 0.000575x^3 + 0.03954x^2 - 1.35x + 17.88
Coeff a | 17.8804
Coeff b | -1.3502
Coeff c | 0.039543
Coeff d | -0.00057505
Residual Sum Of Squares | 0.00028225
Corrected Sum Of Squares | 9.8137
Coefficient Of Determination | 0.99997
Standard Y Error Estimate | 0.00635
Linear Correlation Coefficient | -0.9994

## Slice Table
Slice Table
RT (mins) | UV 254nm | RI | Area (mV.s) | Norm Ht | Cum Ht | Mw (g/mol) | LogM | dW/dLogM | Outside Calib | Peak
14.1833 | 0.042649 | 0.0049453 | 0.0024727 | 4.7984e-05 | 1 | 125746 | 5.0995 | 0.0025062 | No | 1
14.2 | 0.26392 | -0.0014579 | 0.0036988 | 0 | 0.99998 | 123005 | 5.0899 | 0.0037522 | No | 1
14.2167 | 0.52515 | 0.0073976 | 0.011444 | 7.1778e-05 | 0.99994 | 120326 | 5.0804 | 0.011619 | No | 1
14.2333 | 0.83338 | 0.01549 | 0.019918 | 0.0001503 | 0.99983 | 117708 | 5.0708 | 0.020241 | No | 1
14.25 | 1.1958 | 0.024346 | 0.03152 | 0.00023622 | 0.99964 | 115149 | 5.0613 | 0.032059 | No | 1
14.2667 | 1.6158 | 0.038694 | 0.048081 | 0.00037545 | 0.99933 | 112647 | 5.0517 | 0.048945 | No | 1
14.2833 | 2.0965 | 0.057468 | 0.072272 | 0.00055761 | 0.99886 | 110202 | 5.0422 | 0.073634 | No | 1
14.3 | 2.6388 | 0.087076 | 0.099057 | 0.00084489 | 0.99816 | 107812 | 5.0327 | 0.10101 | No | 1
14.3167 | 3.243 | 0.11104 | 0.13095 | 0.0010774 | 0.9972 | 105476 | 5.0232 | 0.13365 | No | 1
14.3333 | 3.9033 | 0.15087 | 0.17033 | 0.0014639 | 0.99593 | 103193 | 5.0137 | 0.17399 | No | 1
14.35 | 4.6136 | 0.18978 | 0.21206 | 0.0018415 | 0.99428 | 100961 | 5.0042 | 0.21681 | No | 1
14.3667 | 5.3657 | 0.23434 | 0.25426 | 0.0022738 | 0.99222 | 98779 | 4.9947 | 0.26018 | No | 1
14.3833 | 6.1488 | 0.27418 | 0.30409 | 0.0026603 | 0.98975 | 96646 | 4.9852 | 0.31143 | No | 1
14.4 | 6.9489 | 0.334 | 0.35948 | 0.0032407 | 0.9868 | 94561 | 4.9757 | 0.36848 | No | 1
14.4167 | 7.7467 | 0.38497 | 0.42235 | 0.0037353 | 0.98331 | 92522 | 4.9662 | 0.4333 | No | 1
14.4333 | 8.5286 | 0.45974 | 0.49499 | 0.0044608 | 0.97921 | 90529 | 4.9568 | 0.50825 | No | 1
14.45 | 9.2792 | 0.53024 | 0.57182 | 0.0051449 | 0.97441 | 88581 | 4.9473 | 0.58765 | No | 1
14.4667 | 9.9779 | 0.61341 | 0.64843 | 0.0059518 | 0.96886 | 86677 | 4.9379 | 0.66695 | No | 1
14.4833 | 10.6109 | 0.68345 | 0.72358 | 0.0066314 | 0.96256 | 84814 | 4.9285 | 0.74488 | No | 1
14.5 | 11.1684 | 0.76372 | 0.80126 | 0.0074103 | 0.95554 | 82994 | 4.919 | 0.82555 | No | 1
14.5167 | 11.6378 | 0.83879 | 0.87626 | 0.0081387 | 0.94776 | 81214 | 4.9096 | 0.9036 | No | 1
14.5333 | 12.0117 | 0.91372 | 0.94386 | 0.0088657 | 0.93926 | 79473 | 4.9002 | 0.97414 | No | 1
14.55 | 12.2895 | 0.974 | 1.0063 | 0.0094506 | 0.9301 | 77772 | 4.8908 | 1.0395 | No | 1
14.5667 | 12.471 | 1.0387 | 1.071 | 0.010078 | 0.92033 | 76108 | 4.8814 | 1.1072 | No | 1
14.5833 | 12.5603 | 1.1033 | 1.129 | 0.010705 | 0.90994 | 74481 | 4.872 | 1.1682 | No | 1
14.6 | 12.569 | 1.1548 | 1.1759 | 0.011205 | 0.89898 | 72890 | 4.8627 | 1.2178 | No | 1
14.6167 | 12.5093 | 1.197 | 1.2109 | 0.011614 | 0.88757 | 71335 | 4.8533 | 1.2551 | No | 1
14.6333 | 12.3898 | 1.2249 | 1.2384 | 0.011885 | 0.87581 | 69814 | 4.8439 | 1.2847 | No | 1
14.65 | 12.2211 | 1.2519 | 1.2613 | 0.012147 | 0.8638 | 68327 | 4.8346 | 1.3095 | No | 1
14.6667 | 12.0191 | 1.2707 | 1.2798 | 0.012329 | 0.85155 | 66872 | 4.8252 | 1.3299 | No | 1
14.6833 | 11.8003 | 1.289 | 1.2907 | 0.012507 | 0.83913 | 65450 | 4.8159 | 1.3423 | No | 1
14.7 | 11.5769 | 1.2923 | 1.2955 | 0.012539 | 0.82661 | 64059 | 4.8066 | 1.3484 | No | 1
14.7167 | 11.3577 | 1.2986 | 1.2909 | 0.0126 | 0.81403 | 62699 | 4.7973 | 1.3448 | No | 1
14.7333 | 11.1528 | 1.2832 | 1.2807 | 0.012451 | 0.8015 | 61369 | 4.7879 | 1.3353 | No | 1
14.75 | 10.9714 | 1.2782 | 1.2744 | 0.012402 | 0.78907 | 60068 | 4.7786 | 1.3298 | No | 1
14.7667 | 10.819 | 1.2705 | 1.2681 | 0.012328 | 0.77671 | 58796 | 4.7693 | 1.3244 | No | 1
14.7833 | 10.6977 | 1.2657 | 1.2612 | 0.012281 | 0.7644 | 57552 | 4.7601 | 1.3183 | No | 1
14.8 | 10.61 | 1.2567 | 1.2594 | 0.012193 | 0.75216 | 56335 | 4.7508 | 1.3175 | No | 1
14.8167 | 10.556 | 1.2622 | 1.2624 | 0.012247 | 0.73994 | 55145 | 4.7415 | 1.3218 | No | 1
14.8333 | 10.5324 | 1.2626 | 1.2665 | 0.012251 | 0.72768 | 53981 | 4.7322 | 1.3272 | No | 1
14.85 | 10.5359 | 1.2704 | 1.2775 | 0.012327 | 0.71539 | 52842 | 4.723 | 1.3398 | No | 1
14.8667 | 10.5606 | 1.2846 | 1.2984 | 0.012465 | 0.70299 | 51728 | 4.7137 | 1.3628 | No | 1
14.8833 | 10.5987 | 1.3121 | 1.3261 | 0.012731 | 0.69039 | 50639 | 4.7045 | 1.393 | No | 1
14.9 | 10.6457 | 1.34 | 1.3584 | 0.013002 | 0.67752 | 49574 | 4.6953 | 1.4282 | No | 1
14.9167 | 10.6968 | 1.3768 | 1.3985 | 0.013359 | 0.66434 | 48532 | 4.686 | 1.4716 | No | 1
14.9333 | 10.7431 | 1.4203 | 1.4439 | 0.013781 | 0.65076 | 47512 | 4.6768 | 1.5206 | No | 1
14.95 | 10.7777 | 1.4674 | 1.4927 | 0.014238 | 0.63675 | 46515 | 4.6676 | 1.5733 | No | 1
14.9667 | 10.794 | 1.518 | 1.5399 | 0.014729 | 0.62226 | 45540 | 4.6584 | 1.6245 | No | 1
14.9833 | 10.7849 | 1.5619 | 1.5839 | 0.015155 | 0.60732 | 44585 | 4.6492 | 1.6722 | No | 1
15 | 10.748 | 1.6059 | 1.6273 | 0.015581 | 0.59194 | 43652 | 4.64 | 1.7195 | No | 1
15.0167 | 10.6799 | 1.6487 | 1.6719 | 0.015998 | 0.57615 | 42739 | 4.6308 | 1.768 | No | 1
15.0333 | 10.5751 | 1.695 | 1.7165 | 0.016446 | 0.55992 | 41845 | 4.6216 | 1.8167 | No | 1
15.05 | 10.4342 | 1.738 | 1.7574 | 0.016864 | 0.54326 | 40972 | 4.6125 | 1.8615 | No | 1
15.0667 | 10.2585 | 1.7768 | 1.7926 | 0.01724 | 0.52621 | 40117 | 4.6033 | 1.9004 | No | 1
15.0833 | 10.0446 | 1.8084 | 1.8217 | 0.017546 | 0.50881 | 39280 | 4.5942 | 1.9328 | No | 1
15.1 | 9.7934 | 1.8351 | 1.8433 | 0.017806 | 0.49113 | 38462 | 4.585 | 1.9574 | No | 1
15.1167 | 9.5107 | 1.8516 | 1.854 | 0.017966 | 0.47324 | 37661 | 4.5759 | 1.9703 | No | 1
15.1333 | 9.1996 | 1.8565 | 1.8581 | 0.018013 | 0.45525 | 36878 | 4.5668 | 1.9762 | No | 1
15.15 | 8.8638 | 1.8597 | 1.8607 | 0.018044 | 0.43721 | 36111 | 4.5576 | 1.9807 | No | 1
15.1667 | 8.5082 | 1.8618 | 1.856 | 0.018065 | 0.41915 | 35361 | 4.5485 | 1.9773 | No | 1
15.1833 | 8.1379 | 1.8502 | 1.8372 | 0.017952 | 0.40114 | 34628 | 4.5394 | 1.9589 | No | 1
15.2 | 7.7568 | 1.8243 | 1.807 | 0.017701 | 0.38331 | 33910 | 4.5303 | 1.9283 | No | 1
15.2167 | 7.3689 | 1.7898 | 1.7766 | 0.017366 | 0.36577 | 33207 | 4.5212 | 1.8973 | No | 1
15.2333 | 6.9779 | 1.7634 | 1.7419 | 0.01711 | 0.34853 | 32520 | 4.5122 | 1.8618 | No | 1
15.25 | 6.5889 | 1.7204 | 1.7002 | 0.016693 | 0.33162 | 31847 | 4.5031 | 1.8186 | No | 1
15.2667 | 6.2056 | 1.68 | 1.6533 | 0.0163 | 0.31512 | 31189 | 4.494 | 1.77 | No | 1
15.2833 | 5.8307 | 1.6267 | 1.5994 | 0.015784 | 0.29907 | 30545 | 4.4849 | 1.7136 | No | 1
15.3 | 5.4681 | 1.5721 | 1.5419 | 0.015254 | 0.28355 | 29915 | 4.4759 | 1.6533 | No | 1
15.3167 | 5.1178 | 1.5117 | 1.4771 | 0.014668 | 0.26859 | 29298 | 4.4668 | 1.5851 | No | 1
15.3333 | 4.7808 | 1.4425 | 1.4075 | 0.013997 | 0.25425 | 28694 | 4.4578 | 1.5117 | No | 1
15.35 | 4.4584 | 1.3725 | 1.3421 | 0.013317 | 0.24059 | 28104 | 4.4488 | 1.4426 | No | 1
15.3667 | 4.1534 | 1.3116 | 1.2817 | 0.012727 | 0.22756 | 27526 | 4.4397 | 1.3787 | No | 1
15.3833 | 3.8667 | 1.2517 | 1.2231 | 0.012145 | 0.21512 | 26960 | 4.4307 | 1.3168 | No | 1
15.4 | 3.5959 | 1.1945 | 1.1634 | 0.01159 | 0.20325 | 26406 | 4.4217 | 1.2535 | No | 1
15.4167 | 3.3424 | 1.1324 | 1.1001 | 0.010987 | 0.19196 | 25864 | 4.4127 | 1.1863 | No | 1
15.4333 | 3.105 | 1.0678 | 1.041 | 0.010361 | 0.18129 | 25334 | 4.4037 | 1.1235 | No | 1
15.45 | 2.8821 | 1.0143 | 0.98719 | 0.0098414 | 0.17118 | 24815 | 4.3947 | 1.0662 | No | 1
15.4667 | 2.6734 | 0.96011 | 0.93409 | 0.0093158 | 0.1616 | 24307 | 4.3857 | 1.0097 | No | 1
15.4833 | 2.4761 | 0.90808 | 0.88031 | 0.008811 | 0.15253 | 23810 | 4.3768 | 0.95229 | No | 1
15.5 | 2.2894 | 0.85254 | 0.82859 | 0.0082721 | 0.14399 | 23323 | 4.3678 | 0.89706 | No | 1
15.5167 | 2.1157 | 0.80464 | 0.78251 | 0.0078073 | 0.13595 | 22847 | 4.3588 | 0.84784 | No | 1
15.5333 | 1.9523 | 0.76039 | 0.74002 | 0.007378 | 0.12835 | 22381 | 4.3499 | 0.80244 | No | 1
15.55 | 1.7988 | 0.71966 | 0.70188 | 0.0069827 | 0.12117 | 21924 | 4.3409 | 0.76169 | No | 1
15.5667 | 1.6553 | 0.68411 | 0.66763 | 0.0066378 | 0.11436 | 21478 | 4.332 | 0.72509 | No | 1
15.5833 | 1.519 | 0.65115 | 0.62758 | 0.0063181 | 0.10788 | 21040 | 4.323 | 0.68213 | No | 1
15.6 | 1.3905 | 0.60401 | 0.5915 | 0.0058606 | 0.10179 | 20612 | 4.3141 | 0.64342 | No | 1
15.6167 | 1.2702 | 0.57899 | 0.56053 | 0.0056179 | 0.096049 | 20193 | 4.3052 | 0.61021 | No | 1
15.6333 | 1.1548 | 0.54207 | 0.52567 | 0.0052597 | 0.090608 | 19783 | 4.2963 | 0.57271 | No | 1
15.65 | 1.0427 | 0.50927 | 0.4944 | 0.0049414 | 0.085506 | 19382 | 4.2874 | 0.53906 | No | 1
15.6667 | 0.93708 | 0.47952 | 0.46526 | 0.0046527 | 0.080708 | 18989 | 4.2785 | 0.50769 | No | 1
15.6833 | 0.83942 | 0.45099 | 0.44077 | 0.0043759 | 0.076193 | 18604 | 4.2696 | 0.48134 | No | 1
15.7 | 0.74817 | 0.43055 | 0.42361 | 0.0041776 | 0.071915 | 18227 | 4.2607 | 0.46296 | No | 1
15.7167 | 0.66002 | 0.41667 | 0.40035 | 0.0040429 | 0.067803 | 17858 | 4.2518 | 0.43788 | No | 1
15.7333 | 0.57176 | 0.38402 | 0.37495 | 0.0037261 | 0.063918 | 17497 | 4.243 | 0.41042 | No | 1
15.75 | 0.48765 | 0.36587 | 0.3558 | 0.00355 | 0.060279 | 17144 | 4.2341 | 0.38977 | No | 1
15.7667 | 0.41197 | 0.34573 | 0.33414 | 0.0033546 | 0.056825 | 16798 | 4.2253 | 0.36632 | No | 1
15.7833 | 0.34175 | 0.32255 | 0.31187 | 0.0031296 | 0.053582 | 16459 | 4.2164 | 0.34217 | No | 1
15.8 | 0.27347 | 0.30119 | 0.29524 | 0.0029224 | 0.050556 | 16127 | 4.2076 | 0.32418 | No | 1
15.8167 | 0.20638 | 0.28929 | 0.28098 | 0.002807 | 0.04769 | 15802 | 4.1987 | 0.30876 | No | 1
15.8333 | 0.1427 | 0.27267 | 0.2687 | 0.0026456 | 0.044963 | 15484 | 4.1899 | 0.29549 | No | 1
15.85 | 0.084596 | 0.26474 | 0.25368 | 0.0025687 | 0.042355 | 15173 | 4.1811 | 0.27918 | No | 1
15.8667 | 0.029841 | 0.24262 | 0.23255 | 0.0023541 | 0.039893 | 14868 | 4.1723 | 0.25613 | No | 1
15.8833 | -0.023275 | 0.22248 | 0.21569 | 0.0021587 | 0.037636 | 14570 | 4.1635 | 0.23775 | No | 1
15.9 | -0.075325 | 0.20891 | 0.20601 | 0.002027 | 0.035543 | 14277 | 4.1546 | 0.22725 | No | 1
15.9167 | -0.12334 | 0.20311 | 0.20289 | 0.0019708 | 0.033543 | 13991 | 4.1458 | 0.22397 | No | 1
15.9333 | -0.16852 | 0.20266 | 0.19976 | 0.0019664 | 0.031574 | 13711 | 4.1371 | 0.2207 | No | 1
15.95 | -0.21076 | 0.19687 | 0.19267 | 0.0019102 | 0.029635 | 13436 | 4.1283 | 0.21302 | No | 1
15.9667 | -0.24869 | 0.18848 | 0.18337 | 0.0018288 | 0.027765 | 13168 | 4.1195 | 0.20289 | No | 1
15.9833 | -0.28643 | 0.17826 | 0.17643 | 0.0017297 | 0.025986 | 12904 | 4.1107 | 0.19537 | No | 1
16 | -0.32451 | 0.17461 | 0.16805 | 0.0016942 | 0.024273 | 12647 | 4.102 | 0.18622 | No | 1
16.0167 | -0.35954 | 0.16149 | 0.16149 | 0.0015669 | 0.022642 | 12394 | 4.0932 | 0.17909 | No | 1
16.0333 | -0.39238 | 0.16149 | 0.15799 | 0.001567 | 0.021075 | 12147 | 4.0845 | 0.17534 | No | 1
16.05 | -0.42417 | 0.15448 | 0.14952 | 0.0014989 | 0.019542 | 11905 | 4.0757 | 0.16607 | No | 1
16.0667 | -0.45286 | 0.14457 | 0.14106 | 0.0014027 | 0.01809 | 11668 | 4.067 | 0.15679 | No | 1
16.0833 | -0.47925 | 0.13755 | 0.1355 | 0.0013347 | 0.016721 | 11436 | 4.0583 | 0.15072 | No | 1
16.1 | -0.50605 | 0.13344 | 0.13291 | 0.0012948 | 0.015406 | 11208 | 4.0495 | 0.14795 | No | 1
16.1167 | -0.53055 | 0.13238 | 0.12902 | 0.0012844 | 0.014116 | 10986 | 4.0408 | 0.14373 | No | 1
16.1333 | -0.55199 | 0.12567 | 0.12026 | 0.0012194 | 0.012864 | 10768 | 4.0321 | 0.13407 | No | 1
16.15 | -0.57324 | 0.11484 | 0.11492 | 0.0011143 | 0.011697 | 10554 | 4.0234 | 0.12821 | No | 1
16.1667 | -0.59253 | 0.115 | 0.1092 | 0.0011158 | 0.010582 | 10345 | 4.0147 | 0.12193 | No | 1
16.1833 | -0.61077 | 0.10341 | 0.10402 | 0.0010034 | 0.0095217 | 10140 | 4.006 | 0.11623 | No | 1
16.2 | -0.62772 | 0.10463 | 0.10258 | 0.0010153 | 0.0085122 | 9939 | 3.9973 | 0.1147 | No | 1
16.2167 | -0.6427 | 0.10052 | 0.096784 | 0.00097533 | 0.0075166 | 9743 | 3.9887 | 0.1083 | No | 1
16.2333 | -0.65799 | 0.093048 | 0.088244 | 0.00090284 | 0.0065773 | 9550 | 3.98 | 0.09882 | No | 1
16.25 | -0.67137 | 0.08344 | 0.082528 | 0.00080961 | 0.0057208 | 9361 | 3.9713 | 0.092487 | No | 1
16.2667 | -0.682 | 0.081615 | 0.076964 | 0.0007919 | 0.0049198 | 9177 | 3.9627 | 0.086315 | No | 1
16.2833 | -0.68988 | 0.072312 | 0.070713 | 0.00070164 | 0.0041729 | 8996 | 3.954 | 0.079364 | No | 1
16.3 | -0.6958 | 0.069114 | 0.067438 | 0.0006706 | 0.0034866 | 8818 | 3.9454 | 0.075744 | No | 1
16.3167 | -0.70325 | 0.065762 | 0.062103 | 0.00063808 | 0.0028321 | 8645 | 3.9368 | 0.069803 | No | 1
16.3333 | -0.71057 | 0.058443 | 0.05959 | 0.00056707 | 0.0022293 | 8475 | 3.9281 | 0.067028 | No | 1
16.35 | -0.71565 | 0.060738 | 0.060054 | 0.00058933 | 0.001651 | 8308 | 3.9195 | 0.067599 | No | 1
16.3667 | -0.72039 | 0.05937 | 0.057312 | 0.00057606 | 0.0010681 | 8145 | 3.9109 | 0.064561 | No | 1
16.3833 | -0.72439 | 0.055255 | 0.05274 | 0.00053614 | 0.00051187 | 7985 | 3.9023 | 0.059454 | No | 1
16.4 | -0.72589 | 0.050225 | 0 | 0.00048733 | 0 | 7828 | 3.8937 | 0 | No | 1